## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-01 00:00:00 | 2.209 | 81.317 | 1.991 | 74.814 | 2.094 | 77.667 | 2.494 | 74.5 | -13.484 | 889.867 | 76.32 | 0.25438
2019-01-01 00:15:00 | 1.828 | 77.46 | 1.698 | 75.048 | 1.757 | 88.733 | 1.882 | 74.367 | -13.691 | 889.575 | 76.757 | 0.3297
2019-01-01 00:30:00 | 2.193 | 86.7 | 2.313 | 84.688 | 2.344 | 89.1 | 2.35 | 89 | -13.766 | 889.942 | 76.981 | 0.29631
2019-01-01 00:45:00 | 2.654 | 78.16 | 2.494 | 74.939 | 2.574 | 87.267 | 2.808 | 82.733 | -13.691 | 889.675 | 76.821 | 0.18759
2019-01-01 01:00:00 | 2.249 | 94.297 | 2.192 | 91.14 | 2.558 | 96.9 | 2.924 | 92.967 | -13.447 | 890.025 | 74.571 | 0.081005
2019-01-01 01:15:00 | 1.974 | 92.933 | 1.98 | 91.921 | 2.049 | 97 | 2.137 | 100.133 | -13.983 | 889.692 | 71.808 | 0.18972
2019-01-01 01:30:00 | 2.22 | 105.19 | 2.336 | 98.886 | 2.408 | 110.533 | 2.506 | 103 | -14.014 | 889.967 | 70.816 | 0.26504
2019-01-01 01:45:00 | 1.953 | 104.733 | 2.287 | 98.843 | 2.507 | 104.5 | 2.868 | 103.7 | -14.149 | 889.45 | 69.525 | 0.24159
2019-01-01 02:00:00 | 2.276 | 87.833 | 2.407 | 84.094 | 2.541 | 94.3 | 2.657 | 100 | -14.116 | 890 | 69.824 | 0.18404
2019-01-01 02:15:00 | 2.583 | 62.593 | 2.718 | 65.815 | 2.781 | 76.333 | 2.841 | 82.167 | -14.183 | 889.808 | 75.029 | 0.11937
2019-01-01 02:30:00 | 2.125 | 83.333 | 2.957 | 79.623 | 2.737 | 91.3 | 1.968 | 85.633 | -14.166 | 889.542 | 77.312 | 0.30128
2019-01-01 02:45:00 | 2.238 | 98.3 | 2.113 | 98.282 | 1.753 | 105.3 | 2.203 | 103.467 | -14.149 | 890.05 | 77.035 | 0.50806
2019-01-01 03:00:00 | 2.576 | 105.067 | 2.352 | 99.336 | 2.099 | 104.2 | 2.332 | 103.9 | -14.266 | 889.683 | 74.261 | 1.0822
2019-01-01 03:15:00 | 2.552 | 109.367 | 2.137 | 100.764 | 1.811 | 108.8 | 1.957 | 102.967 | -14.099 | 889.358 | 71.36 | 0.53719
2019-01-01 03:30:00 | 2.258 | 107.533 | 2.036 | 98.808 | 1.884 | 106.2 | 1.868 | 99.7 | -14.116 | 888.7 | 69.643 | 0.15632
2019-01-01 03:45:00 | 2.544 | 106.833 | 2.012 | 100.042 | 1.784 | 105.567 | 2.227 | 100.5 | -13.899 | 889.95 | 68.501 | 0.72478
2019-01-01 04:00:00 | 1.838 | 103.367 | 1.317 | 98.583 | 1.229 | 101.6 | 1.555 | 107.2 | -14.233 | 890.483 | 67.467 | 0.22667
2019-01-01 04:15:00 | 2.051 | 76.767 | 1.977 | 77.711 | 1.923 | 79 | 1.822 | 80 | -14.249 | 889.858 | 67.328 | 0.21885
2019-01-01 04:30:00 | 1.576 | 64.407 | 1.633 | 66.143 | 1.793 | 72 | 1.692 | 74.667 | -14.133 | 890.133 | 68.075 | 0.36665
2019-01-01 04:45:00 | 1.531 | 94.38 | 1.792 | 91.502 | 1.917 | 99 | 2.013 | 84.433 | -14.278 | 889.933 | 68.384 | 0.33397
2019-01-01 05:00:00 | 1.44 | 94.28 | 1.744 | 92.199 | 1.678 | 101.133 | 2.049 | 88.4 | -14.641 | 890.217 | 68.011 | 0.32828
2019-01-01 05:15:00 | 2.174 | 75.353 | 2.274 | 75.561 | 2.444 | 82 | 2.163 | 88.5 | -14.828 | 889.917 | 69.024 | 0.30199
2019-01-01 05:30:00 | 2.261 | 97.527 | 3.04 | 91.358 | 2.721 | 101.367 | 3.054 | 104.033 | -14.599 | 890.258 | 69.717 | 0.29702
2019-01-01 05:45:00 | 1.376 | 70.308 | 1.588 | 67.462 | 1.987 | 74.733 | 2.144 | 73.667 | -14.481 | 890.033 | 70.784 | 0.26717
2019-01-01 06:00:00 | 1.473 | 75.58 | 1.699 | 71.661 | 2.187 | 79 | 2.567 | 72.333 | -14.433 | 889.85 | 71.168 | 0.15348
2019-01-01 06:15:00 | 2.057 | 34.532 | 2.056 | 34.496 | 2.297 | 46.7 | 2.348 | 57.4 | -14.724 | 889.842 | 71.189 | 0.26646
2019-01-01 06:30:00 | 1.834 | 46.267 | 1.677 | 46.142 | 2.186 | 56.833 | 2.579 | 56.167 | -14.474 | 889.8 | 70.4 | 0.04974
2019-01-01 06:45:00 | 1.917 | 97.82 | 2.332 | 94.707 | 2.974 | 99.7 | 3.361 | 90.567 | -14.291 | 889.975 | 68.48 | 0.67433
2019-01-01 07:00:00 | 1.122 | 110 | 1.073 | 105.682 | 1.806 | 97.7 | 2.432 | 94.733 | -14.266 | 889.767 | 66.549 | 1.2271
2019-01-01 07:15:00 | 0.977 | 116.36 | 1.313 | 96.23 | 1.662 | 96.533 | 1.908 | 95.867 | -13.841 | 889.75 | 64.821 | 0.50877
2019-01-01 07:30:00 | 2.694 | 113.333 | 2.717 | 102.112 | 2.784 | 106.233 | 3.076 | 102.467 | -13.983 | 889.9 | 63.947 | 0.95358
2019-01-01 07:45:00 | 2.499 | 95.043 | 2.598 | 91.68 | 2.671 | 96.933 | 2.725 | 92.8 | -13.68 | 889.867 | 62.859 | 0.54216
2019-01-01 08:00:00 | 1.913 | 87.733 | 1.867 | 88.837 | 1.797 | 97.967 | 1.925 | 97.133 | -13.916 | 889.383 | 61.984 | 0.24159
2019-01-01 08:15:00 | 1.297 | 88.65 | 1.214 | 85.23 | 1.263 | 90 | 1.477 | 86 | -13.722 | 889.417 | 61.365 | 0.35244
2019-01-01 08:30:00 | 1.643 | 78.28 | 1.513 | 80.258 | 1.634 | 81.467 | 1.795 | 86.033 | -13.812 | 889.725 | 61.675 | 0.36239
2019-01-01 08:45:00 | 1.814 | 107.503 | 1.81 | 104.098 | 2.113 | 110.367 | 2.667 | 107.7 | -13.81 | 889.908 | 61.611 | 0.28707
2019-01-01 09:00:00 | 2.227 | 103.157 | 2.336 | 102.96 | 2.407 | 111.2 | 2.809 | 108.2 | -13.56 | 889.792 | 61.696 | 0.28423
2019-01-01 09:15:00 | 1.81 | 96.757 | 1.762 | 90.972 | 1.941 | 99.167 | 2.39 | 99.9 | -13.747 | 889.658 | 62.251 | 0.18191
2019-01-01 09:30:00 | 2.619 | 73.693 | 2.358 | 71.625 | 2.366 | 78.2 | 2.441 | 86 | -13.503 | 889.925 | 62.144 | 0.13145
2019-01-01 09:45:00 | 2.729 | 69.217 | 2.628 | 62.084 | 2.481 | 68.767 | 2.835 | 68.067 | -13.71 | 889.942 | 67.787 | 0.12151
2019-01-01 10:00:00 | 2.26 | 56.47 | 2.121 | 52.95 | 2.224 | 61.467 | 2.408 | 56.867 | -13.728 | 889.767 | 76.192 | 0.26575
2019-01-01 10:15:00 | 3.067 | 77.577 | 2.988 | 72.836 | 3.049 | 77.867 | 3.252 | 72.567 | -13.597 | 889.854 | 82.315 | 0.79583
2019-01-01 10:30:00 | 2.638 | 84.273 | 2.55 | 79.24 | 2.563 | 84.467 | 2.58 | 77.467 | -13.466 | 889.854 | 84.117 | 0.58835
2019-01-01 10:45:00 | 2.635 | 92.683 | 2.274 | 89.67 | 2.234 | 89.7 | 2.063 | 86.267 | -13.672 | 889.988 | 84.203 | 0.55353
2019-01-01 11:00:00 | 1.958 | 94.503 | 1.6 | 87.088 | 1.596 | 91.2 | 1.589 | 98.567 | -13.334 | 889.871 | 81.781 | 0.2757
2019-01-01 11:15:00 | 1.269 | 107.687 | 1.133 | 100.618 | 1.149 | 102.767 | 1.102 | 106.067 | -13.19 | 889.525 | 79.573 | 0.24515
2019-01-01 11:30:00 | 1.636 | 66.913 | 1.564 | 65.456 | 1.379 | 75.333 | 1.448 | 75.167 | -13.203 | 889.933 | 76.939 | 0.35102
2019-01-01 11:45:00 | 2.378 | 82.067 | 2.393 | 78.007 | 2.45 | 82.3 | 2.461 | 77 | -12.72 | 889.858 | 74.912 | 0.33965
2019-01-01 12:00:00 | 2.687 | 103.5 | 2.601 | 93.356 | 2.503 | 94.767 | 2.75 | 93.067 | -12.703 | 890.075 | 72.96 | 0.29915
2019-01-01 12:15:00 | 2.888 | 89.933 | 3.071 | 85.013 | 3.092 | 89.2 | 3.205 | 86.6 | -12.57 | 889.533 | 69.973 | 0.46329
2019-01-01 12:30:00 | 3.177 | 84.7 | 3.245 | 78.421 | 3.372 | 82.567 | 3.719 | 77.433 | -12.536 | 889.392 | 67.189 | 2.0706
2019-01-01 12:45:00 | 3.314 | 81.132 | 3.459 | 71.387 | 3.522 | 74.433 | 3.59 | 69.667 | -12.386 | 890.192 | 64.469 | 1.792
2019-01-01 13:00:00 | 2.756 | 78.667 | 2.813 | 72.492 | 3.078 | 78.6 | 3.388 | 73.4 | -12.316 | 889.683 | 65.824 | 1.2733
2019-01-01 13:15:00 | 2.487 | 70.896 | 2.357 | 64.337 | 2.459 | 72.267 | 2.563 | 67.2 | -11.899 | 889.825 | 64.352 | 0.43984
2019-01-01 13:30:00 | 3.21 | 67.422 | 3.388 | 65.041 | 3.68 | 70.633 | 3.571 | 67.7 | -11.278 | 889.825 | 63.627 | 1.0339
2019-01-01 13:45:00 | 1.993 | 80.812 | 2.157 | 71.813 | 2.3 | 80.233 | 2.365 | 79.8 | -11.411 | 890.125 | 62.496 | 0.97206
2019-01-01 14:00:00 | 2.14 | 64.878 | 2.3 | 57.521 | 2.526 | 63.033 | 2.805 | 57.233 | -11.378 | 889.917 | 66.133 | 0.34036
2019-01-01 14:15:00 | 2.943 | 68.45 | 3.031 | 59.744 | 3.013 | 68.033 | 2.905 | 63.233 | -11.445 | 889.983 | 66.837 | 0.54856
2019-01-01 14:30:00 | 2.37 | 62.478 | 2.374 | 57.272 | 2.713 | 70.067 | 2.957 | 72.067 | -11.511 | 889.75 | 67.925 | 0.16911
2019-01-01 14:45:00 | 1.907 | 63.694 | 1.902 | 60.296 | 1.91 | 61.933 | 2.013 | 62.9 | -11.445 | 890.133 | 68.416 | 0.1549
2019-01-01 15:00:00 | 3.155 | 53.78 | 2.893 | 45.962 | 3.026 | 52.533 | 3.104 | 53.833 | -11.174 | 889.792 | 69.088 | 0.059688
2019-01-01 15:15:00 | 3.432 | 35.913 | 3.31 | 34.052 | 3.203 | 39.733 | 3.086 | 39 | -11.878 | 889.975 | 72.853 | 0.18262
2019-01-01 15:30:00 | 3.228 | 24.594 | 3.24 | 23.524 | 3.197 | 29.967 | 3.306 | 27.767 | -12.236 | 889.867 | 74.443 | 0.63809
2019-01-01 15:45:00 | 3.24 | 25.227 | 3.138 | 21.696 | 3.328 | 25.367 | 3.412 | 23.167 | -12.386 | 889.758 | 76.341 | 0.96069
2019-01-01 16:00:00 | 3.127 | 35.976 | 3.037 | 28.008 | 3.027 | 32 | 3.058 | 28.567 | -12.636 | 890 | 77.067 | 0.81857
2019-01-01 16:15:00 | 3.281 | 29.437 | 3.044 | 19.921 | 3.159 | 25 | 3.168 | 19.7 | -12.67 | 889.925 | 78.603 | 0.16272
2019-01-01 16:30:00 | 2.557 | 12.549 | 2.407 | 9.637 | 2.531 | 13.333 | 2.593 | 12.333 | -12.72 | 889.808 | 78.645 | 0.07461
2019-01-01 16:45:00 | 2.477 | 48.083 | 2.372 | 41.368 | 2.575 | 43.167 | 2.479 | 32.633 | -12.62 | 889.983 | 79.403 | 0.28565
2019-01-01 17:00:00 | 1.564 | 48.717 | 1.496 | 48.241 | 1.55 | 52.533 | 1.586 | 49 | -12.486 | 890 | 79.115 | 0.36381
2019-01-01 17:15:00 | 0 | 39.05 | 0 | 48.116 | 0 | 55.8 | 0 | 49 | -12.62 | 890.042 | 78.944 | 0.34107
2019-01-01 17:30:00 | 0.056 | 39.05 | 0 | 48.134 | 0 | 55.967 | 0 | 48.867 | -12.686 | 890.008 | 78.144 | 0.34107
2019-01-01 17:45:00 | 0.073 | 39.05 | 0 | 48.129 | 0 | 55.933 | 0.04 | 49 | -12.67 | 889.867 | 78.101 | 0.34107
2019-01-01 18:00:00 | 0 | 39.05 | 0 | 48.13 | 0 | 56 | 0 | 49 | -12.853 | 889.875 | 79.029 | 0.34107
2019-01-01 18:15:00 | 0 | 39.05 | 0 | 48.122 | 0 | 55.9 | 0 | 49 | -12.67 | 889.758 | 80.149 | 0.34107
2019-01-01 18:30:00 | 0 | 39.05 | 0 | 48.135 | 0 | 55.967 | 0 | 49 | -12.786 | 889.583 | 81.237 | 0.34107
2019-01-01 18:45:00 | 0.48 | 39.05 | 0.276 | 48.126 | 0.213 | 55.933 | 0 | 49 | -12.703 | 889.946 | 82.219 | 0.34107
2019-01-01 19:00:00 | 0.712 | 39.683 | 0.233 | 48.109 | 0 | 62.567 | 0.39 | 48.867 | -13.086 | 889.692 | 83.328 | 0.34107
2019-01-01 19:15:00 | 0.379 | 33.539 | 0.19 | 48.124 | 0.063 | 55.9 | 0 | 49 | -13.186 | 890.154 | 83.712 | 0.34107
2019-01-01 19:30:00 | 1.52 | 56.05 | 1.273 | 47.252 | 1.314 | 57.033 | 1.293 | 49 | -12.97 | 889.608 | 84.16 | 0.33681
2019-01-01 19:45:00 | 0.867 | 45.055 | 0.443 | 42.136 | 0.379 | 55 | 0.322 | 49 | -13.122 | 890.104 | 84.736 | 0.32828
2019-01-01 20:00:00 | 1.069 | 72.135 | 0.91 | 50.079 | 0.503 | 81.667 | 1.102 | 49.067 | -13.484 | 889.858 | 85.205 | 0.33539
2019-01-01 20:15:00 | 1.452 | 75.23 | 1.265 | 79.923 | 1.058 | 92.433 | 1.234 | 49 | -13.447 | 889.804 | 86.869 | 0.33965
2019-01-01 20:30:00 | 1.708 | 65.483 | 1.652 | 62.124 | 1.6 | 80.067 | 1.537 | 79.033 | -13.672 | 889.483 | 87.339 | 0.34107
2019-01-01 20:45:00 | 1.152 | 62.2 | 1.445 | 59.141 | 1.564 | 78 | 1.592 | 79 | -14.049 | 890.379 | 86.485 | 0.33823
2019-01-01 21:00:00 | 0.987 | 63.173 | 1.281 | 66.264 | 1.329 | 92.433 | 1.302 | 79.033 | -14.099 | 889.746 | 87.616 | 0.34107
2019-01-01 21:15:00 | 0 | 69.387 | 0.04 | 63.076 | 0.475 | 86.067 | 0.188 | 79.033 | -14.516 | 889.55 | 87.381 | 0.34107
2019-01-01 21:30:00 | 0 | 68.2 | 0 | 62.112 | 0 | 82.967 | 0 | 79 | -14.891 | 889.883 | 86.293 | 0.33965
2019-01-01 21:45:00 | 0 | 68.293 | 0 | 62.609 | 0 | 82.867 | 0 | 79 | -14.599 | 889.742 | 87.339 | 0.32828
2019-01-01 22:00:00 | 0 | 68.2 | 0 | 62.479 | 0 | 82.867 | 0 | 81.233 | -14.891 | 889.996 | 87.488 | 0.33539
2019-01-01 22:15:00 | 0 | 153.047 | 0 | 62.966 | 0 | 83 | 0.723 | 83 | -14.787 | 889.817 | 87.424 | 0.34249
2019-01-01 22:30:00 | 0.646 | 182.347 | 0 | 75.036 | 0 | 83.8 | 1.4 | 83.2 | -14.558 | 889.979 | 86.827 | 0.34391
2019-01-01 22:45:00 | 0.472 | 181.007 | 0 | 107.248 | 0 | 124.933 | 1.807 | 84.8 | -14.499 | 889.738 | 86.635 | 0.33539
2019-01-01 23:00:00 | 0.555 | 180.307 | 0 | 107.252 | 0 | 125 | 1.453 | 85.033 | -14.362 | 890.033 | 86.101 | 0.34107
2019-01-01 23:15:00 | 0 | 179.867 | 0 | 107.229 | 0 | 124.933 | 1.51 | 85 | -14.266 | 889.779 | 85.568 | 0.34249
2019-01-01 23:30:00 | 0 | 180.64 | 0 | 107.265 | 0 | 125 | 1.374 | 84.9 | -14.62 | 889.708 | 85.995 | 0.34249
2019-01-01 23:45:00 | 0 | 180.747 | 0 | 107.271 | 0 | 125 | 1.334 | 85 | -14.249 | 889.817 | 85.973 | 0.34249