## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-02 00:00:00 | 0 | 180.8 | 0 | 107.273 | 0 | 125 | 1.382 | 85 | -14.116 | 890.112 | 85.717 | 0.34107
2019-01-02 00:15:00 | 0 | 180.8 | 0 | 107.295 | 0 | 124 | 0.813 | 85.033 | -14.049 | 890.171 | 85.675 | 0.34249
2019-01-02 00:30:00 | 0 | 180.653 | 0 | 107.237 | 0 | 123.867 | 1.235 | 85 | -14.495 | 890.133 | 85.483 | 0.34107
2019-01-02 00:45:00 | 0 | 180.56 | 0 | 107.345 | 0 | 124.1 | 1.084 | 84.833 | -14.641 | 889.908 | 85.888 | 0.34107
2019-01-02 01:00:00 | 0 | 180.467 | 0 | 107.337 | 0 | 124 | 0.104 | 84.9 | -14.891 | 889.867 | 85.781 | 0.34107
2019-01-02 01:15:00 | 0 | 180.6 | 0 | 107.279 | 0 | 124.033 | 0 | 85 | -14.749 | 890.35 | 85.419 | 0.34249
2019-01-02 01:30:00 | 0 | 207.4 | 0 | 111.769 | 0 | 124.967 | 0.85 | 84.9 | -15.141 | 889.879 | 85.867 | 0.34107
2019-01-02 01:45:00 | 0.958 | 197.627 | 0 | 162.12 | 0 | 125 | 1.133 | 137 | -15.083 | 890.092 | 85.525 | 0.34107
2019-01-02 02:00:00 | 0.027 | 210.5 | 0 | 166.535 | 0 | 125.067 | 0 | 136.867 | -15.091 | 890.004 | 85.525 | 0.34107
2019-01-02 02:15:00 | 0.978 | 227.333 | 0 | 166.5 | 0 | 125.067 | 0 | 136.867 | -15.424 | 889.996 | 84.779 | 0.34107
2019-01-02 02:30:00 | 1.613 | 226.387 | 0 | 171.082 | 0 | 125.2 | 0 | 137.067 | -16.339 | 889.833 | 84.224 | 0.34249
2019-01-02 02:45:00 | 1.145 | 235.187 | 0 | 192.448 | 0 | 125.333 | 0 | 137.433 | -15.862 | 890.183 | 84.843 | 0.34107
2019-01-02 03:00:00 | 1.534 | 219.6 | 0 | 192.364 | 0 | 131.8 | 0.208 | 138.733 | -15.808 | 890.017 | 84.949 | 0.34391
2019-01-02 03:15:00 | 1.793 | 226.533 | 0 | 195.53 | 0 | 203.5 | 0 | 179 | -15.341 | 890.271 | 85.184 | 0.34249
2019-01-02 03:30:00 | 1.679 | 224.333 | 0 | 195.482 | 0 | 203.7 | 0 | 179 | -15.174 | 890.3 | 84.608 | 0.34249
2019-01-02 03:45:00 | 1.304 | 217.767 | 0 | 195.576 | 0 | 203.567 | 0 | 179 | -15.474 | 889.883 | 84.928 | 0.34107
2019-01-02 04:00:00 | 1.257 | 219.9 | 0 | 195.53 | 0 | 203.6 | 0 | 178.967 | -14.991 | 890.242 | 85.504 | 0.34391
2019-01-02 04:15:00 | 0.156 | 217.333 | 0 | 195.595 | 0 | 203.267 | 0 | 179 | -15.274 | 889.929 | 85.269 | 0.34249
2019-01-02 04:30:00 | 0.143 | 212.8 | 0 | 195.525 | 0 | 203.033 | 0 | 179 | -15.391 | 889.921 | 84.672 | 0.34107
2019-01-02 04:45:00 | 0.482 | 212.8 | 0 | 193.448 | 0 | 203.1 | 0 | 179 | -15.574 | 890.017 | 84.011 | 0.34249
2019-01-02 05:00:00 | 0 | 206.4 | 0 | 149.81 | 0 | 130.933 | 0.44 | 178.933 | -15.308 | 889.367 | 84.843 | 0.34391
2019-01-02 05:15:00 | 1.411 | 165.833 | 0 | 125.221 | 0.549 | 118 | 0 | 178 | -15.241 | 889.888 | 85.184 | 0.34818
2019-01-02 05:30:00 | 1.205 | 174.567 | 0 | 125.209 | 0 | 118.267 | 0.379 | 178 | -15.574 | 889.842 | 84.757 | 0.34818
2019-01-02 05:45:00 | 1.378 | 166.467 | 0 | 125.263 | 0.073 | 118.2 | 0.04 | 176 | -15.741 | 889.992 | 84.757 | 0.34676
2019-01-02 06:00:00 | 0.465 | 160.033 | 0 | 124.766 | 0.27 | 108 | 0.48 | 176 | -15.708 | 889.933 | 85.547 | 0.35244
2019-01-02 06:15:00 | 1.173 | 168.2 | 0 | 125.22 | 0.127 | 113 | 1.156 | 175.633 | -15.691 | 889.8 | 85.397 | 0.3567
2019-01-02 06:30:00 | 0.389 | 188.267 | 0 | 147.526 | 0 | 112.867 | 0 | 175.133 | -15.558 | 889.904 | 85.419 | 0.34107
2019-01-02 06:45:00 | 0 | 202.4 | 0 | 147.498 | 0 | 112.967 | 0 | 175.2 | -15.641 | 889.729 | 85.419 | 0.34534
2019-01-02 07:00:00 | 0.12 | 231.067 | 0 | 147.68 | 0 | 113 | 0 | 175.1 | -15.824 | 889.825 | 84.928 | 0.34391
2019-01-02 07:15:00 | 0.406 | 219.667 | 0 | 147.484 | 0 | 112.933 | 0 | 175.1 | -15.558 | 890.121 | 85.013 | 0.34534
2019-01-02 07:30:00 | 1.08 | 234 | 0 | 147.429 | 0 | 112.9 | 0 | 175.067 | -15.891 | 889.533 | 84.715 | 0.34391
2019-01-02 07:45:00 | 0.958 | 237.367 | 0 | 147.568 | 0 | 113 | 0 | 175.167 | -15.914 | 889.938 | 84.629 | 0.34534
2019-01-02 08:00:00 | 1.556 | 237.367 | 0 | 147.552 | 0 | 113.033 | 0 | 174.967 | -15.674 | 889.733 | 85.355 | 0.34534
2019-01-02 08:15:00 | 1.886 | 216.7 | 0 | 164.002 | 0.83 | 167.1 | 1.344 | 174.9 | -14.891 | 890.275 | 86.08 | 0.34534
2019-01-02 08:30:00 | 2.15 | 230.647 | 0 | 193.949 | 0.13 | 171.967 | 0 | 175.1 | -14.937 | 890.112 | 85.013 | 0.34818
2019-01-02 08:45:00 | 1.558 | 224.1 | 0 | 195.523 | 0 | 172 | 0 | 175 | -15.358 | 889.904 | 84.971 | 0.34391
2019-01-02 09:00:00 | 1.196 | 219.933 | 0 | 195.465 | 0 | 172 | 0 | 175.233 | -14.891 | 889.542 | 85.44 | 0.34107
2019-01-02 09:15:00 | 1.04 | 219.72 | 0 | 195.453 | 0 | 172 | 0 | 175.1 | -14.891 | 889.775 | 84.949 | 0.34534
2019-01-02 09:30:00 | 0.898 | 219.56 | 0 | 195.465 | 0 | 172 | 0 | 175.133 | -14.624 | 890.012 | 85.717 | 0.34534
2019-01-02 09:45:00 | 0.093 | 220.6 | 0 | 195.441 | 0 | 172 | 0.285 | 175.033 | -13.595 | 890.042 | 85.504 | 0.34534
2019-01-02 10:00:00 | 0 | 220.8 | 0 | 195.396 | 0 | 172.033 | 0 | 175 | -14.183 | 889.933 | 84.821 | 0.34391
2019-01-02 10:15:00 | 0 | 220.2 | 0 | 195.496 | 0 | 172 | 0 | 174.867 | -13.086 | 889.754 | 85.461 | 0.34391
2019-01-02 10:30:00 | 0.835 | 217.5 | 0 | 193.348 | 0 | 171.4 | 1.017 | 174.967 | -11.261 | 889.962 | 85.141 | 0.34391
2019-01-02 10:45:00 | 1.154 | 207.34 | 0 | 188.646 | 0 | 170.767 | 0.423 | 175.133 | -10.834 | 890.029 | 84.501 | 0.34107
2019-01-02 11:00:00 | 0.974 | 207.08 | 0 | 188.636 | 0 | 170.8 | 0 | 175.1 | -9.891 | 890.038 | 84.373 | 0.34534
2019-01-02 11:15:00 | 1.942 | 212.213 | 0 | 188.728 | 0 | 171 | 0.047 | 175.033 | -9.683 | 890.262 | 83.712 | 0.34249
2019-01-02 11:30:00 | 1.304 | 214.4 | 0 | 188.716 | 0 | 171 | 0 | 175 | -9.291 | 889.804 | 83.307 | 0.34249
2019-01-02 11:45:00 | 0.14 | 214.593 | 0 | 188.542 | 0 | 170.967 | 0 | 175.033 | -7.294 | 889.767 | 78.165 | 0.34107
2019-01-02 12:00:00 | 0 | 215 | 0 | 188.413 | 0 | 171 | 0 | 174.933 | -6.445 | 889.567 | 69.451 | 0.34107
2019-01-02 12:15:00 | 0 | 214.067 | 0 | 188.593 | 0 | 170.833 | 0 | 175.1 | -3.723 | 889.633 | 68.48 | 0.34107
2019-01-02 12:30:00 | 0 | 213.973 | 0 | 188.597 | 0 | 170.9 | 0 | 175.1 | -3.875 | 889.8 | 61.227 | 0.34107
2019-01-02 12:45:00 | 0 | 214.2 | 0 | 188.464 | 0 | 171 | 0 | 175 | -2.818 | 889.975 | 53.099 | 0.34107
2019-01-02 13:00:00 | 0 | 214.107 | 0 | 188.597 | 0.077 | 171 | 0 | 175 | -3.097 | 889.475 | 51.712 | 0.34107
2019-01-02 13:15:00 | 0 | 214 | 0 | 188.85 | 0 | 171 | 0 | 175 | -3.606 | 889.55 | 48.064 | 0.3297
2019-01-02 13:30:00 | 0 | 214 | 0 | 188.611 | 0 | 171 | 0 | 175.067 | -3.823 | 889.792 | 47.285 | 0.32828
2019-01-02 13:45:00 | 0 | 214.333 | 0 | 188.449 | 0 | 171 | 0 | 175.1 | -3.656 | 890.517 | 47.456 | 0.34107
2019-01-02 14:00:00 | 0 | 214.073 | 0 | 188.354 | 0 | 171.067 | 0 | 175.067 | -3.742 | 889.758 | 47.2 | 0.34107
2019-01-02 14:15:00 | 0 | 214.353 | 0 | 188.519 | 0 | 170.9 | 0 | 175.067 | -6.123 | 889.583 | 49.013 | 0.33965
2019-01-02 14:30:00 | 0.323 | 99.41 | 0 | 143.905 | 0 | 170.367 | 0 | 175.233 | -8.13 | 889.85 | 52.277 | 0.34107
2019-01-02 14:45:00 | 1.228 | 77.513 | 0.506 | 84.356 | 0.537 | 109.133 | 0.39 | 174.933 | -9.595 | 890.158 | 58.251 | 0.34107
2019-01-02 15:00:00 | 1.523 | 102.84 | 1.31 | 87.356 | 1.206 | 94 | 1.392 | 157.533 | -10.095 | 890.683 | 63.413 | 0.33681
2019-01-02 15:15:00 | 1.31 | 87.333 | 0.912 | 81.578 | 0.943 | 92.533 | 1.512 | 101.1 | -10.166 | 889.975 | 66.912 | 0.33965
2019-01-02 15:30:00 | 1.353 | 93 | 1.294 | 92.782 | 1.414 | 101.833 | 1.649 | 106.867 | -10.333 | 889.767 | 68.523 | 0.33539
2019-01-02 15:45:00 | 1.45 | 91.56 | 1.113 | 98.314 | 1.279 | 111.7 | 1.606 | 108.833 | -10.766 | 889.85 | 70.037 | 0.34107
2019-01-02 16:00:00 | 1.936 | 68.117 | 1.619 | 69.326 | 1.08 | 83 | 1.188 | 106.733 | -10.816 | 889.583 | 70.112 | 0.34107
2019-01-02 16:15:00 | 2.45 | 58.832 | 2.194 | 53.463 | 2.003 | 59.6 | 1.45 | 78.7 | -11.395 | 890.142 | 70.4 | 0.34107
2019-01-02 16:30:00 | 2.348 | 58.482 | 2.195 | 60.227 | 2.085 | 66 | 1.479 | 71.967 | -12.103 | 889.833 | 71.787 | 0.34391
2019-01-02 16:45:00 | 2.158 | 65.567 | 1.995 | 62.922 | 2.26 | 74.433 | 2.106 | 71.867 | -12.67 | 889.817 | 73.269 | 0.29631
2019-01-02 17:00:00 | 1.85 | 82.067 | 1.767 | 73.503 | 2.084 | 80 | 1.972 | 72.033 | -13.036 | 889.683 | 76.288 | 0.34107
2019-01-02 17:15:00 | 1.196 | 83.1 | 0.944 | 85.815 | 1.164 | 93.567 | 1.41 | 73 | -12.886 | 889.792 | 78.432 | 0.34107
2019-01-02 17:30:00 | 1.309 | 105.63 | 1.381 | 102.493 | 1.681 | 118.867 | 1.835 | 119.233 | -13.447 | 889.967 | 79.509 | 0.34107
2019-01-02 17:45:00 | 1.025 | 133.013 | 1.322 | 128.551 | 1.676 | 146.5 | 2.149 | 137.933 | -13.635 | 890.012 | 82.731 | 0.34249
2019-01-02 18:00:00 | 1.446 | 136.733 | 1.594 | 142.572 | 2.071 | 149.5 | 1.991 | 138.067 | -13.756 | 889.692 | 84.395 | 0.34534
2019-01-02 18:15:00 | 1.36 | 141.833 | 1.83 | 142.582 | 2.356 | 154 | 2.379 | 139.333 | -14.016 | 889.733 | 85.781 | 0.35528
2019-01-02 18:30:00 | 0.087 | 142.8 | 1.42 | 157.578 | 2.238 | 155.1 | 2.304 | 148.967 | -14.016 | 889.579 | 85.355 | 0.35102
2019-01-02 18:45:00 | 2.004 | 183.467 | 1.599 | 153.229 | 1.646 | 155.067 | 1.068 | 149 | -14.083 | 889.408 | 84.928 | 0.34107
2019-01-02 19:00:00 | 2.991 | 196.973 | 2.028 | 166.894 | 1.385 | 161.667 | 0 | 148.867 | -14.828 | 889.75 | 83.349 | 0.33965
2019-01-02 19:15:00 | 3.133 | 182.867 | 2.143 | 155.682 | 1.769 | 154.533 | 1.452 | 149 | -13.672 | 890.412 | 85.696 | 0.34534
2019-01-02 19:30:00 | 3.014 | 186.2 | 1.855 | 151.464 | 1.466 | 143.8 | 1.437 | 135 | -12.953 | 890.121 | 84.224 | 0.34107
2019-01-02 19:45:00 | 2.096 | 183.467 | 1.406 | 142.04 | 1.384 | 135.867 | 1.517 | 134.8 | -12.686 | 890.062 | 84.288 | 0.34107
2019-01-02 20:00:00 | 1.858 | 182.233 | 1.762 | 138.513 | 1.745 | 125.367 | 1.757 | 128.567 | -12.686 | 889.867 | 82.816 | 0.34107
2019-01-02 20:15:00 | 1.472 | 185.44 | 1.139 | 124.251 | 1.169 | 116 | 1.371 | 121 | -13.428 | 890 | 82.571 | 0.34107
2019-01-02 20:30:00 | 2.163 | 179.647 | 1.346 | 123.272 | 1.361 | 116 | 1.57 | 121 | -13.449 | 889.858 | 83.883 | 0.3567
2019-01-02 20:45:00 | 2.409 | 179.2 | 1.689 | 123.241 | 1.774 | 116 | 1.885 | 120 | -13.003 | 889.654 | 84.288 | 0.34249
2019-01-02 21:00:00 | 2.325 | 171.267 | 2.041 | 115.95 | 2.343 | 110 | 2.402 | 120 | -13.136 | 889.933 | 83.243 | 0.34249
2019-01-02 21:15:00 | 2.301 | 170.1 | 2.03 | 129.024 | 1.941 | 124.633 | 1.975 | 119.6 | -13.922 | 890.396 | 82.261 | 0.34391
2019-01-02 21:30:00 | 2.209 | 173.9 | 1.858 | 143.758 | 1.975 | 126.933 | 2.224 | 125.067 | -13.983 | 889.767 | 83.221 | 0.34534
2019-01-02 21:45:00 | 1.988 | 184.833 | 0.544 | 137.429 | 1.704 | 134.067 | 1.838 | 125 | -14.099 | 890.125 | 84.416 | 0.34107
2019-01-02 22:00:00 | 2.657 | 196.933 | 1.4 | 140.836 | 1.481 | 133.933 | 1.801 | 127 | -13.983 | 890.062 | 85.717 | 0.34107
2019-01-02 22:15:00 | 2.147 | 209.107 | 0 | 142.482 | 1.236 | 139.533 | 1.385 | 127.1 | -13.605 | 890.121 | 85.931 | 0.34107
2019-01-02 22:30:00 | 1.753 | 218.567 | 0 | 142.635 | 0 | 140.033 | 0.457 | 127 | -13.933 | 889.712 | 84.971 | 0.34107
2019-01-02 22:45:00 | 2.37 | 212.927 | 0.14 | 149.417 | 0 | 140 | 0.309 | 127.033 | -13.868 | 889.758 | 85.376 | 0.34249
2019-01-02 23:00:00 | 2.194 | 214.9 | 0 | 149.492 | 0 | 139.7 | 0 | 127 | -13.983 | 889.912 | 85.013 | 0.34391
2019-01-02 23:15:00 | 1.646 | 219.827 | 0 | 149.546 | 0 | 140 | 0 | 127.1 | -13.728 | 889.767 | 85.44 | 0.34107
2019-01-02 23:30:00 | 0.402 | 220.9 | 0.106 | 72.928 | 0.899 | 92.167 | 0.087 | 125.467 | -13.916 | 890.129 | 84.331 | 0.34107
2019-01-02 23:45:00 | 0 | 231.473 | 0 | 59.104 | 0.445 | 65.233 | 0 | 125.1 | -14.845 | 890.279 | 83.072 | 0.34676