## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-03 00:00:00 | 0 | 221.9 | 0.146 | 59.117 | 0.329 | 65.133 | 0.208 | 125 | -15.274 | 889.567 | 83.84 | 0.35813
2019-01-03 00:15:00 | 0.948 | 197.367 | 0 | 59.502 | 0 | 65.767 | 0.245 | 125 | -15.641 | 889.696 | 85.291 | 0.34107
2019-01-03 00:30:00 | 0.894 | 192.567 | 0 | 59.927 | 0.667 | 75 | 1.455 | 106 | -15.624 | 889.688 | 86.635 | 0.34534
2019-01-03 00:45:00 | 1.423 | 169.213 | 0.884 | 103.148 | 1.403 | 114 | 2.357 | 106.2 | -14.87 | 889.738 | 88.427 | 0.36097
2019-01-03 01:00:00 | 2.027 | 167.647 | 1.822 | 128.689 | 2.268 | 118.7 | 2.85 | 107.2 | -14.662 | 889.888 | 88.149 | 0.34676
2019-01-03 01:15:00 | 2.77 | 181.793 | 2.267 | 150.367 | 2.374 | 145.267 | 3.043 | 141 | -14.883 | 889.625 | 86.144 | 0.35813
2019-01-03 01:30:00 | 3.277 | 195.04 | 2.532 | 165.038 | 2.332 | 158.6 | 2.083 | 139.633 | -14.828 | 890.375 | 85.781 | 0.34676
2019-01-03 01:45:00 | 3.115 | 195 | 2.767 | 171.142 | 1.952 | 149.667 | 1.941 | 124 | -14.924 | 890.083 | 86.229 | 0.34534
2019-01-03 02:00:00 | 2.404 | 200.787 | 1.908 | 164.865 | 1.471 | 135 | 1.726 | 116 | -14.808 | 889.667 | 86.4 | 0.34391
2019-01-03 02:15:00 | 2.299 | 209.087 | 1.229 | 163.916 | 0.974 | 145 | 1.368 | 115.867 | -14.704 | 889.771 | 85.589 | 0.34676
2019-01-03 02:30:00 | 2.283 | 218.613 | 1.323 | 195.421 | 0.11 | 145.1 | 0.759 | 115.833 | -14.766 | 890.212 | 85.739 | 0.34534
2019-01-03 02:45:00 | 1.047 | 215.8 | 0 | 195.522 | 0 | 145.167 | 1.005 | 116 | -14.166 | 890.138 | 86.229 | 0.35386
2019-01-03 03:00:00 | 0.947 | 221.44 | 0 | 195.57 | 0 | 145.067 | 0 | 116 | -14.62 | 889.767 | 85.141 | 0.34676
2019-01-03 03:15:00 | 0.212 | 217.4 | 0 | 195.46 | 0.456 | 119.033 | 2.22 | 95.667 | -15.108 | 889.692 | 85.376 | 0.36523
2019-01-03 03:30:00 | 1.304 | 223.133 | 0 | 195.475 | 0.47 | 96 | 2.2 | 83 | -15.241 | 890.012 | 85.035 | 0.37234
2019-01-03 03:45:00 | 1.004 | 229.3 | 0 | 195.426 | 1.573 | 96 | 2.14 | 83 | -15.374 | 889.696 | 85.397 | 0.35813
2019-01-03 04:00:00 | 0 | 231.427 | 0 | 104.256 | 1.851 | 93.133 | 2.396 | 83 | -14.999 | 889.708 | 85.483 | 0.28849
2019-01-03 04:15:00 | 0 | 231 | 0.24 | 104.241 | 2.213 | 94.9 | 3.066 | 89.067 | -15.291 | 889.967 | 85.269 | 0.19754
2019-01-03 04:30:00 | 0 | 231.3 | 0.027 | 104.257 | 1.22 | 100.033 | 2.538 | 101.533 | -15.341 | 890.188 | 85.461 | 0.2352
2019-01-03 04:45:00 | 0.133 | 231.033 | 0.03 | 104.21 | 1.032 | 109.033 | 1.901 | 100.933 | -15.274 | 889.967 | 85.419 | 0.37092
2019-01-03 05:00:00 | 0 | 226.467 | 0 | 106.347 | 0.702 | 138.3 | 1.861 | 121.6 | -15.058 | 890.121 | 85.568 | 0.29631
2019-01-03 05:15:00 | 0.896 | 225.2 | 0.671 | 159.929 | 1.754 | 137.933 | 2.786 | 122.7 | -15.241 | 889.95 | 85.952 | 0.17267
2019-01-03 05:30:00 | 1.896 | 235.933 | 1.199 | 199.48 | 1.357 | 180.733 | 1.317 | 130.233 | -15.124 | 890.1 | 85.589 | 0.31478
2019-01-03 05:45:00 | 1.875 | 243.933 | 1.257 | 215.439 | 0.864 | 179.533 | 1.191 | 136.867 | -15.274 | 889.733 | 85.589 | 0.36807
2019-01-03 06:00:00 | 1.927 | 243 | 0.213 | 220.493 | 0 | 182 | 0.568 | 136.867 | -15.824 | 889.95 | 84.992 | 0.3496
2019-01-03 06:15:00 | 2.871 | 238.127 | 1.303 | 231.215 | 0.504 | 186.733 | 0 | 137.033 | -15.788 | 889.954 | 84.608 | 0.3496
2019-01-03 06:30:00 | 2.95 | 239.2 | 1.121 | 245.54 | 0 | 211.967 | 0 | 137 | -16.681 | 889.721 | 84.245 | 0.34818
2019-01-03 06:45:00 | 2.279 | 245.327 | 0.868 | 248.484 | 0 | 212 | 0 | 137.033 | -15.955 | 889.988 | 84.907 | 0.3567
2019-01-03 07:00:00 | 2.469 | 242.367 | 1.35 | 282.269 | 0.546 | 244.4 | 0 | 82.175 | -16.424 | 890.412 | 83.712 | 0.35955
2019-01-03 07:15:00 | 2.867 | 245.133 | 1.427 | 285.439 | 0.38 | 280.067 | 0 | 82.342 | -15.874 | 890.05 | 84.619 | 0.35102
2019-01-03 07:30:00 | 2.512 | 248.273 | 1.368 | 286.222 | 0.493 | 280 | 0 | 82.35 | -16.467 | 889.975 | 83.552 | 0.34534
2019-01-03 07:45:00 | 2.31 | 236.753 | 0 | 288.926 | 0 | 280 | 0 | 82.25 | -16.446 | 890.029 | 83.627 | 0.3496
2019-01-03 08:00:00 | 2.358 | 229.04 | 0 | 288.904 | 0 | 280 | 0 | 82.283 | -16.254 | 889.688 | 83.392 | 0.35102
2019-01-03 08:15:00 | 2.26 | 213.233 | 0 | 288.656 | 0 | 278.8 | 0.144 | 82.717 | -15.608 | 889.8 | 84.267 | 0.35528
2019-01-03 08:30:00 | 1.387 | 199.967 | 0.073 | 180.513 | 0.207 | 179 | 0.56 | 83 | -15.241 | 890.338 | 84.331 | 0.37802
2019-01-03 08:45:00 | 2.105 | 220.32 | 0 | 180.463 | 0 | 179 | 0.245 | 82.867 | -15.969 | 890.25 | 83.371 | 0.35244
2019-01-03 09:00:00 | 2.773 | 220.207 | 0 | 180.425 | 0.027 | 179.033 | 1.424 | 169.2 | -15.934 | 889.792 | 83.221 | 0.34818
2019-01-03 09:15:00 | 2.779 | 209.227 | 0.777 | 212.474 | 1.389 | 189.333 | 2.726 | 158.667 | -15.955 | 890.388 | 83.008 | 0.3695
2019-01-03 09:30:00 | 3.292 | 211.9 | 1.574 | 193.02 | 2.368 | 173.667 | 2.822 | 155.7 | -14.974 | 889.792 | 83.968 | 0.30554
2019-01-03 09:45:00 | 2.811 | 210.38 | 1.126 | 191.216 | 2.263 | 171.7 | 1.868 | 147.2 | -14.887 | 889.975 | 82.645 | 0.20891
2019-01-03 10:00:00 | 2.084 | 210.14 | 2.215 | 169.518 | 2.336 | 143.467 | 2.289 | 120.367 | -15.534 | 889.917 | 80.128 | 0.20251
2019-01-03 10:15:00 | 0.523 | 243.633 | 0 | 116.639 | 0.253 | 113.033 | 0.843 | 85.367 | -17.398 | 889.825 | 74.624 | 0.12932
2019-01-03 10:30:00 | 0 | 309.133 | 2.115 | 39.122 | 1.799 | 56.679 | 1.696 | 71.8 | -15.008 | 889.892 | 80.757 | 0.13501
2019-01-03 10:45:00 | 0.95 | 39.733 | 2.567 | 35.111 | 2.311 | 54.167 | 2.783 | 65.533 | -14.066 | 889.65 | 80.192 | 0.27002
2019-01-03 11:00:00 | 0.393 | 20.279 | 2.117 | 33.85 | 2.24 | 53.833 | 2.709 | 69.933 | -13.945 | 889.558 | 76.672 | 0.53932
2019-01-03 11:15:00 | 0.623 | 21.324 | 2.055 | 43.729 | 2.285 | 68.3 | 2.847 | 73.133 | -13.981 | 889.658 | 75.2 | 0.83918
2019-01-03 11:30:00 | 0.717 | 75 | 2.168 | 82.068 | 2.712 | 103.567 | 3.251 | 101 | -13.186 | 889.575 | 73.739 | 0.76954
2019-01-03 11:45:00 | 1.533 | 102.3 | 1.724 | 100.097 | 2.316 | 103.1 | 2.324 | 95.533 | -12.97 | 890.1 | 70.112 | 0.43487
2019-01-03 12:00:00 | 1.313 | 105.033 | 1.554 | 99.722 | 2.009 | 101.667 | 2.496 | 93 | -13.103 | 889.5 | 69.333 | 0.14922
2019-01-03 12:15:00 | 1.797 | 88.073 | 1.814 | 91.4 | 1.869 | 99.033 | 2.111 | 92 | -12.266 | 889.808 | 68.331 | 0.25438
2019-01-03 12:30:00 | 2.19 | 85.827 | 2.278 | 83.678 | 2.342 | 90.167 | 2.311 | 84.733 | -12.016 | 889.983 | 67.979 | 0.38228
2019-01-03 12:45:00 | 2.796 | 87.7 | 2.757 | 87.724 | 2.664 | 98.1 | 2.586 | 97.6 | -12.266 | 889.775 | 70.091 | 0.36807
2019-01-03 13:00:00 | 2.592 | 69.315 | 2.499 | 65.448 | 2.468 | 74.967 | 2.245 | 72.567 | -11.932 | 889.783 | 68.939 | 0.37944
2019-01-03 13:15:00 | 2.033 | 80.967 | 2.107 | 74.235 | 2.108 | 81.4 | 2.102 | 72.467 | -11.545 | 890.133 | 68.789 | 0.37092
2019-01-03 13:30:00 | 1.54 | 85.493 | 1.436 | 78.144 | 1.67 | 85.6 | 1.874 | 83.9 | -11.582 | 889.675 | 68.885 | 0.34391
2019-01-03 13:45:00 | 1.561 | 78.933 | 1.602 | 72.225 | 1.814 | 75.8 | 2.029 | 67.6 | -11.545 | 890.042 | 67.296 | 0.34107
2019-01-03 14:00:00 | 2.259 | 63.728 | 2.176 | 60.74 | 2.226 | 69 | 2.304 | 70.5 | -11.345 | 890.058 | 68.203 | 0.34107
2019-01-03 14:15:00 | 1.87 | 69.133 | 1.681 | 66.346 | 1.743 | 80.3 | 1.643 | 72.867 | -11.495 | 889.608 | 69.312 | 0.34107
2019-01-03 14:30:00 | 1.817 | 88.333 | 1.862 | 84.202 | 1.967 | 90.533 | 1.889 | 76 | -11.361 | 890.025 | 70.443 | 0.34107
2019-01-03 14:45:00 | 1.571 | 90.687 | 1.493 | 91.398 | 1.602 | 93.9 | 1.596 | 90 | -11.64 | 889.525 | 71.787 | 0.34107
2019-01-03 15:00:00 | 1.349 | 100.733 | 1.206 | 95.752 | 1.371 | 97.2 | 1.384 | 90 | -11.736 | 890.158 | 71.221 | 0.34107
2019-01-03 15:15:00 | 0.812 | 103.407 | 0.96 | 94.935 | 0.92 | 100.067 | 0.826 | 89.9 | -11.661 | 889.567 | 70.037 | 0.33539
2019-01-03 15:30:00 | 1.233 | 73.5 | 1.166 | 76.582 | 1.06 | 83.367 | 0.906 | 89 | -11.411 | 890.183 | 69.291 | 0.33112
2019-01-03 15:45:00 | 0.513 | 71.428 | 0.402 | 70.945 | 0.336 | 79.933 | 0.423 | 89 | -11.445 | 889.625 | 68.939 | 0.32828
2019-01-03 16:00:00 | 0.44 | 80.567 | 0.186 | 67.251 | 0.31 | 85.833 | 0.366 | 89 | -11.428 | 889.85 | 68.437 | 0.33254
2019-01-03 16:15:00 | 0.226 | 83.433 | 0.143 | 72.237 | 0.057 | 102 | 0.312 | 89 | -11.445 | 889.642 | 69.536 | 0.33397
2019-01-03 16:30:00 | 0 | 93.247 | 0 | 72.244 | 0 | 102 | 0 | 89 | -11.711 | 889.642 | 71.2 | 0.33965
2019-01-03 16:45:00 | 0 | 93.207 | 0 | 72.285 | 0 | 102 | 0 | 88.9 | -11.836 | 890.142 | 71.264 | 0.34107
2019-01-03 17:00:00 | 0 | 93.24 | 0 | 72.298 | 0 | 102 | 0 | 89.033 | -11.766 | 889.967 | 71.531 | 0.34107
2019-01-03 17:15:00 | 0 | 93.127 | 0 | 72.205 | 0 | 102 | 0.057 | 89 | -12.12 | 889.9 | 73.163 | 0.34107
2019-01-03 17:30:00 | 0 | 117.1 | 0 | 89.236 | 0 | 116.067 | 0 | 88.833 | -12.486 | 889.75 | 75.232 | 0.34107
2019-01-03 17:45:00 | 1.031 | 148.507 | 0.827 | 102.885 | 1.043 | 140.4 | 1.35 | 89 | -12.593 | 890.225 | 77.141 | 0.34107
2019-01-03 18:00:00 | 0 | 149.2 | 0.13 | 142.392 | 0.26 | 158.4 | 0.521 | 89.1 | -12.536 | 889.95 | 79.488 | 0.34107
2019-01-03 18:15:00 | 0.821 | 148.6 | 1.27 | 141.929 | 1.338 | 158.267 | 1.259 | 89.9 | -12.686 | 889.829 | 82.112 | 0.34107
2019-01-03 18:30:00 | 0 | 147.7 | 0.266 | 141.55 | 0.313 | 158.233 | 0 | 89 | -12.67 | 889.708 | 83.584 | 0.34107
2019-01-03 18:45:00 | 0 | 148.2 | 0.319 | 141.52 | 0 | 158.233 | 0 | 89.133 | -12.87 | 889.725 | 84.523 | 0.34107
2019-01-03 19:00:00 | 0 | 148.2 | 0 | 141.298 | 0 | 158.1 | 0 | 88.833 | -13.036 | 889.825 | 83.968 | 0.34107
2019-01-03 19:15:00 | 0 | 148.76 | 0 | 141.394 | 0.738 | 139.967 | 0.473 | 89 | -14.212 | 890.358 | 83.157 | 0.34107
2019-01-03 19:30:00 | 0 | 147.627 | 0 | 82.239 | 0.096 | 86 | 0.53 | 89 | -14.52 | 889.854 | 83.968 | 0.34107
2019-01-03 19:45:00 | 0 | 148.353 | 0 | 82.332 | 0.385 | 86.133 | 0 | 89 | -14.874 | 889.838 | 83.925 | 0.34107
2019-01-03 20:00:00 | 0.714 | 147.82 | 0 | 82.27 | 0.721 | 86.1 | 0.476 | 89.2 | -14.495 | 890.092 | 85.803 | 0.34107
2019-01-03 20:15:00 | 0 | 147.587 | 0 | 82.26 | 0.239 | 86 | 1.005 | 88.867 | -14.599 | 890.042 | 84.693 | 0.34107
2019-01-03 20:30:00 | 0.303 | 146.167 | 0.922 | 82.262 | 0.629 | 91.667 | 1.194 | 89 | -14.787 | 890.021 | 84.437 | 0.34107
2019-01-03 20:45:00 | 0 | 140.4 | 0.916 | 104.595 | 1.202 | 124 | 0.538 | 89 | -15.491 | 890.196 | 83.008 | 0.34107
2019-01-03 21:00:00 | 1.076 | 154.24 | 1.435 | 134.81 | 1.17 | 135 | 1.02 | 89.033 | -14.878 | 889.704 | 84.117 | 0.33965
2019-01-03 21:15:00 | 1.395 | 159.033 | 0.056 | 142.538 | 0 | 135.033 | 0.091 | 89 | -15.008 | 890.112 | 84.075 | 0.34107
2019-01-03 21:30:00 | 2.1 | 168.52 | 0.886 | 142.476 | 0.493 | 134.9 | 0.978 | 89 | -14.704 | 890.05 | 84.245 | 0.34107
2019-01-03 21:45:00 | 1.855 | 168.107 | 0.13 | 142.435 | 0 | 131.3 | 0.124 | 89 | -14.724 | 890.062 | 85.696 | 0.34107
2019-01-03 22:00:00 | 1.284 | 175.093 | 0.26 | 142.491 | 0.324 | 147.033 | 0.893 | 89 | -14.999 | 889.879 | 85.163 | 0.34107
2019-01-03 22:15:00 | 0 | 161.467 | 0.193 | 140.566 | 0.362 | 149 | 0.473 | 89.1 | -14.92 | 889.988 | 84.288 | 0.34107
2019-01-03 22:30:00 | 0.253 | 154.9 | 0.26 | 140.405 | 0 | 149 | 0.42 | 89 | -15.491 | 890.029 | 83.115 | 0.34107
2019-01-03 22:45:00 | 0.712 | 164.467 | 0 | 140.492 | 0.14 | 149 | 1.175 | 89 | -14.804 | 889.808 | 85.056 | 0.34391
2019-01-03 23:00:00 | 1.051 | 162 | 0 | 140.495 | 0.76 | 144.933 | 1.211 | 89 | -14.683 | 890.388 | 85.035 | 0.34107
2019-01-03 23:15:00 | 1.056 | 158.987 | 0.51 | 120.176 | 1.27 | 114.4 | 1.491 | 89.033 | -14.599 | 890.021 | 85.099 | 0.34534
2019-01-03 23:30:00 | 0.621 | 166.933 | 1.234 | 116.996 | 1.516 | 111.8 | 1.602 | 88.867 | -15.124 | 889.783 | 83.584 | 0.34249
2019-01-03 23:45:00 | 0.594 | 168.4 | 1.139 | 115.07 | 1.728 | 111.067 | 1.473 | 97 | -15.091 | 889.958 | 84.181 | 0.34391