## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-04 00:00:00 | 1.099 | 169.56 | 1.404 | 111.524 | 1.556 | 111.067 | 1.659 | 96.4 | -14.641 | 889.712 | 86.229 | 0.34107
2019-01-04 00:15:00 | 1.408 | 167.607 | 1.676 | 117.408 | 1.976 | 113.967 | 2 | 96.967 | -14.516 | 889.683 | 86.656 | 0.3496
2019-01-04 00:30:00 | 1.688 | 161.913 | 1.674 | 116.709 | 2.137 | 111.833 | 2.29 | 96.8 | -14.558 | 889.471 | 87.339 | 0.34534
2019-01-04 00:45:00 | 2.126 | 175.32 | 1.91 | 130.509 | 2.077 | 124.2 | 2.439 | 101.933 | -14.599 | 890.092 | 84.885 | 0.36665
2019-01-04 01:00:00 | 1.952 | 173.013 | 2.134 | 134.275 | 2.412 | 128 | 2.824 | 115.767 | -14.766 | 889.792 | 83.819 | 0.36523
2019-01-04 01:15:00 | 2.045 | 174.667 | 1.954 | 141.164 | 2.101 | 136.367 | 2.431 | 127 | -14.787 | 889.658 | 83.072 | 0.36097
2019-01-04 01:30:00 | 2.101 | 187.2 | 2.09 | 149.113 | 2.026 | 140 | 2.422 | 124.933 | -15.091 | 890.079 | 81.163 | 0.36523
2019-01-04 01:45:00 | 1.716 | 176.72 | 1.972 | 148.496 | 2.094 | 131 | 2.521 | 120.1 | -14.808 | 889.583 | 81.12 | 0.34249
2019-01-04 02:00:00 | 1.813 | 196.033 | 1.517 | 148.554 | 1.997 | 130 | 2.458 | 120 | -15.358 | 889.975 | 78.763 | 0.36239
2019-01-04 02:15:00 | 1.07 | 203.4 | 0.9 | 148.508 | 1.689 | 123.033 | 2.141 | 119.933 | -15.274 | 889.875 | 79.072 | 0.35528
2019-01-04 02:30:00 | 1.069 | 203.4 | 0.07 | 135.481 | 1.788 | 117 | 1.938 | 118 | -15.274 | 889.85 | 78.933 | 0.36523
2019-01-04 02:45:00 | 0.333 | 196.733 | 0.969 | 130.529 | 1.984 | 114.067 | 2.546 | 107.933 | -15.108 | 890.05 | 78.603 | 0.36665
2019-01-04 03:00:00 | 0.183 | 195.333 | 0.579 | 130.469 | 1.734 | 114.133 | 2.489 | 106 | -15.391 | 889.825 | 78.112 | 0.34818
2019-01-04 03:15:00 | 0.33 | 174 | 1.356 | 117.585 | 1.738 | 104 | 2.607 | 104.167 | -15.374 | 889.758 | 78.549 | 0.35528
2019-01-04 03:30:00 | 0.067 | 139.413 | 1.505 | 81.559 | 1.827 | 93.533 | 2.207 | 97.267 | -15.024 | 890.067 | 78.603 | 0.30696
2019-01-04 03:45:00 | 0.466 | 129.54 | 1.494 | 83.887 | 2.529 | 92.8 | 3.333 | 84.533 | -15.558 | 890.117 | 79.936 | 0.35102
2019-01-04 04:00:00 | 0.947 | 137.747 | 2.542 | 87.766 | 1.886 | 97.5 | 2.617 | 90.233 | -16.066 | 889.85 | 80.203 | 2.3029
2019-01-04 04:15:00 | 0.78 | 139.4 | 1.68 | 92.809 | 1.603 | 96.267 | 2.167 | 97.133 | -16.531 | 890.462 | 82.88 | 3.2011
2019-01-04 04:30:00 | 0.24 | 150.613 | 2.253 | 96.739 | 1.991 | 102.633 | 2.533 | 97.533 | -16.296 | 890.079 | 84.395 | 4.1902
2019-01-04 04:45:00 | 0.863 | 141.7 | 3.27 | 104.395 | 3.352 | 106.5 | 3.34 | 98.433 | -16.36 | 890.021 | 85.781 | 5.2852
2019-01-04 05:00:00 | 1.089 | 141.96 | 3.437 | 104.67 | 3.803 | 107.8 | 4.097 | 103.167 | -15.981 | 889.654 | 85.931 | 4.279
2019-01-04 05:15:00 | 0.804 | 153.693 | 2.396 | 103.293 | 2.308 | 103.2 | 3.098 | 102.4 | -16.382 | 890.212 | 85.589 | 2.6078
2019-01-04 05:30:00 | 1.603 | 187.793 | 1.32 | 138.605 | 2.29 | 107.3 | 2.881 | 102.6 | -16.275 | 889.938 | 85.995 | 1.1355
2019-01-04 05:45:00 | 1.669 | 206.753 | 0.88 | 154.669 | 1.479 | 119.2 | 2.293 | 97.567 | -16.981 | 889.692 | 83.861 | 0.52014
2019-01-04 06:00:00 | 0.14 | 209.427 | 0 | 152.463 | 0.392 | 103 | 1.122 | 88.7 | -17.298 | 889.671 | 84.992 | 0.33183
2019-01-04 06:15:00 | 0 | 199.22 | 0 | 152.537 | 1.231 | 110.333 | 1.834 | 107 | -16.446 | 890.462 | 87.04 | 0.15632
2019-01-04 06:30:00 | 0 | 209.147 | 0 | 149.508 | 1.263 | 110.867 | 1.452 | 92.7 | -16.296 | 889.838 | 86.528 | 0.49029
2019-01-04 06:45:00 | 0 | 209.12 | 0.14 | 116.149 | 1.277 | 100.2 | 1.727 | 92.233 | -16.339 | 889.467 | 85.717 | 1.3771
2019-01-04 07:00:00 | 0 | 209 | 0.893 | 104.508 | 1.654 | 95.3 | 2.012 | 94.1 | -16.531 | 890.046 | 84.949 | 1.9725
2019-01-04 07:15:00 | 0 | 202.113 | 1.644 | 88.336 | 1.949 | 95.567 | 2.174 | 91.567 | -16.33 | 890.325 | 84.672 | 2.6753
2019-01-04 07:30:00 | 0 | 127.5 | 1.834 | 89.755 | 2.077 | 95.133 | 2.365 | 94.433 | -16.814 | 889.971 | 84.459 | 2.4721
2019-01-04 07:45:00 | 0 | 114 | 1.434 | 95.876 | 1.828 | 96.533 | 2.089 | 99.2 | -16.931 | 889.283 | 84.843 | 1.2307
2019-01-04 08:00:00 | 0 | 114.053 | 0.877 | 97.992 | 1.514 | 96.733 | 1.803 | 96 | -17.098 | 889.975 | 85.504 | 0.30483
2019-01-04 08:15:00 | 0 | 114 | 0.78 | 105.51 | 1.65 | 103.867 | 2.18 | 101.733 | -16.831 | 890.321 | 86.549 | 0.22028
2019-01-04 08:30:00 | 0 | 116 | 0.326 | 110.247 | 1.484 | 103.667 | 2.194 | 94.9 | -16.931 | 890.583 | 86.912 | 0.94221
2019-01-04 08:45:00 | 0 | 178.767 | 1.29 | 110.191 | 1.785 | 104.167 | 2.398 | 100.733 | -16.881 | 890.05 | 87.125 | 0.94079
2019-01-04 09:00:00 | 0 | 178.033 | 1.087 | 106.428 | 1.383 | 102.467 | 2.162 | 102.167 | -16.731 | 890.35 | 87.381 | 0.2622
2019-01-04 09:15:00 | 0 | 178.06 | 0.51 | 96.98 | 1.437 | 89.567 | 1.754 | 88.2 | -16.605 | 889.671 | 87.083 | 0.36381
2019-01-04 09:30:00 | 0 | 166.067 | 1.613 | 76.037 | 2.059 | 91.233 | 2.545 | 93.867 | -16.467 | 889.896 | 86.443 | 0.29631
2019-01-04 09:45:00 | 0 | 111.033 | 1.169 | 85.254 | 1.428 | 94.833 | 1.886 | 101.233 | -16.424 | 889.879 | 86.656 | 0.3567
2019-01-04 10:00:00 | 0 | 111 | 0 | 80.242 | 0.916 | 94.067 | 2.146 | 107.4 | -16.424 | 889.854 | 85.419 | 0.30057
2019-01-04 10:15:00 | 0 | 194.22 | 0 | 80.245 | 0 | 104 | 1.686 | 112.467 | -15.896 | 890.254 | 84.971 | 0.33041
2019-01-04 10:30:00 | 0.133 | 215.933 | 0 | 80.277 | 0 | 104 | 1.697 | 107.1 | -15.824 | 889.817 | 84.096 | 0.34107
2019-01-04 10:45:00 | 0 | 219.413 | 0 | 80.25 | 0 | 104 | 1.771 | 101.833 | -14.937 | 889.996 | 83.776 | 0.36665
2019-01-04 11:00:00 | 0 | 164.833 | 0.183 | 74.597 | 0.658 | 88.9 | 2.016 | 88.2 | -14.408 | 890.221 | 82.197 | 0.28352
2019-01-04 11:15:00 | 1.026 | 99.307 | 0.546 | 87.781 | 0.716 | 96.8 | 2.018 | 96.433 | -14.558 | 889.508 | 80.555 | 1.2783
2019-01-04 11:30:00 | 2.509 | 108.467 | 2.002 | 103.038 | 2.075 | 107.9 | 3.318 | 104.033 | -14.891 | 889.662 | 81.515 | 1.9342
2019-01-04 11:45:00 | 2.858 | 103.313 | 2.003 | 98.496 | 1.725 | 101.1 | 2.576 | 91.5 | -14.504 | 889.792 | 82.88 | 1.5505
2019-01-04 12:00:00 | 2.585 | 100.467 | 1.937 | 95.938 | 1.511 | 100.267 | 2.223 | 97.4 | -14.149 | 890.033 | 82.677 | 0.98413
2019-01-04 12:15:00 | 2.873 | 106.8 | 1.918 | 98.906 | 1.818 | 103.933 | 2.437 | 95.933 | -14.216 | 889.921 | 82.261 | 1.3607
2019-01-04 12:30:00 | 2.699 | 78.733 | 1.738 | 75.232 | 1.718 | 81.8 | 2.059 | 84.833 | -14.183 | 889.954 | 81.675 | 0.94292
2019-01-04 12:45:00 | 2.722 | 78.533 | 1.801 | 72.393 | 1.677 | 78.333 | 2.009 | 77.333 | -14.149 | 889.667 | 81.184 | 0.23733
2019-01-04 13:00:00 | 2.789 | 84.433 | 1.773 | 79.122 | 1.681 | 84.733 | 2.191 | 79.5 | -14.116 | 889.767 | 81.12 | 0.29204
2019-01-04 13:15:00 | 4.132 | 75.56 | 2.767 | 71.954 | 2.642 | 76.9 | 3.144 | 73.533 | -14.183 | 889.967 | 81.835 | 0.7532
2019-01-04 13:30:00 | 3.75 | 78 | 2.518 | 73.613 | 2.74 | 79.533 | 3.062 | 76.967 | -14.266 | 889.833 | 83.584 | 1.5547
2019-01-04 13:45:00 | 2.234 | 97.57 | 1.374 | 88.93 | 1.434 | 91.033 | 1.729 | 82.633 | -13.71 | 889.858 | 83.307 | 1.3259
2019-01-04 14:00:00 | 3.565 | 84.837 | 2.315 | 82.165 | 2.329 | 87.5 | 2.461 | 81.967 | -13.522 | 889.433 | 82.155 | 0.7866
2019-01-04 14:15:00 | 3.121 | 87.8 | 2.183 | 87.13 | 2.104 | 93.633 | 1.978 | 87.067 | -13.086 | 889.779 | 81.525 | 1.9349
2019-01-04 14:30:00 | 3.115 | 78.263 | 2.365 | 72.686 | 2.559 | 78.667 | 2.453 | 76.733 | -13.086 | 889.95 | 80.096 | 0.49313
2019-01-04 14:45:00 | 2.4 | 99.067 | 2.318 | 93.288 | 2.209 | 95.533 | 2.566 | 87.067 | -13.003 | 889.45 | 78.955 | 0.23875
2019-01-04 15:00:00 | 2.671 | 68.785 | 2.731 | 68.998 | 2.707 | 74.267 | 2.842 | 71.967 | -12.936 | 889.917 | 79.072 | 0.10161
2019-01-04 15:15:00 | 3.266 | 85.967 | 3.337 | 79.115 | 3.317 | 85.267 | 3.379 | 80.133 | -12.82 | 889.742 | 78.048 | 0.10587
2019-01-04 15:30:00 | 2.766 | 78.298 | 2.935 | 72.845 | 2.933 | 76.933 | 3.007 | 71.833 | -13.02 | 890.325 | 79.52 | 0.42776
2019-01-04 15:45:00 | 2.62 | 69.29 | 2.697 | 64.065 | 2.645 | 70.1 | 2.633 | 65.767 | -12.62 | 889.658 | 77.653 | 0.25154
2019-01-04 16:00:00 | 1.2 | 67.617 | 1.056 | 65.517 | 1.296 | 65.2 | 1.575 | 57.3 | -12.82 | 890.125 | 77.387 | 0.27854
2019-01-04 16:15:00 | 2.083 | 60.76 | 2.087 | 56.754 | 1.95 | 61.7 | 2.019 | 54.2 | -12.82 | 889.717 | 75.467 | 0.33965
2019-01-04 16:30:00 | 3.466 | 65.597 | 3.262 | 65.02 | 3.233 | 77.667 | 3.44 | 76.167 | -13.174 | 890 | 76.704 | 0.32686
2019-01-04 16:45:00 | 2.583 | 78.76 | 2.654 | 73.56 | 2.797 | 78.167 | 2.821 | 73.167 | -13.357 | 889.892 | 79.691 | 0.20677
2019-01-04 17:00:00 | 2.398 | 79.237 | 2.338 | 77.813 | 2.367 | 80.633 | 2.254 | 77.767 | -13.284 | 889.833 | 80.16 | 0.13856
2019-01-04 17:15:00 | 1.992 | 69.29 | 2.07 | 64.626 | 2.121 | 73.7 | 2.214 | 76.833 | -13.597 | 889.908 | 81.152 | 0.31336
2019-01-04 17:30:00 | 2.36 | 72.967 | 2.576 | 69.089 | 2.65 | 72.767 | 2.634 | 72.233 | -13.966 | 889.483 | 81.696 | 0.33183
2019-01-04 17:45:00 | 2.573 | 75.527 | 2.685 | 70.744 | 2.732 | 74.5 | 2.713 | 72.167 | -14.154 | 890.175 | 83.157 | 0.27215
2019-01-04 18:00:00 | 2.342 | 96.913 | 2.616 | 85.941 | 2.513 | 97.067 | 2.734 | 89.967 | -14.849 | 889.708 | 84.267 | 0.1883
2019-01-04 18:15:00 | 2.467 | 85.973 | 2.912 | 81.363 | 3.076 | 89.367 | 2.794 | 90 | -15.054 | 890.154 | 85.269 | 0.30057
2019-01-04 18:30:00 | 2.873 | 87.767 | 3.022 | 85.177 | 2.936 | 93.5 | 3.187 | 89.1 | -15.341 | 889.858 | 85.504 | 0.22596
2019-01-04 18:45:00 | 2.063 | 71.333 | 2.307 | 73.917 | 1.981 | 83.867 | 2.092 | 89 | -15.791 | 890.025 | 86.635 | 0.29489
2019-01-04 19:00:00 | 0 | 66.027 | 0.12 | 71.245 | 0.093 | 79.867 | 1.276 | 89 | -16.446 | 889.979 | 86.037 | 0.33254
2019-01-04 19:15:00 | 1.456 | 100.153 | 1.86 | 89.587 | 2.283 | 100 | 2.398 | 89 | -16.467 | 889.692 | 86.571 | 0.33397
2019-01-04 19:30:00 | 0.233 | 123.2 | 1.331 | 99.043 | 1.315 | 110 | 1.784 | 118.067 | -16.798 | 890.033 | 87.125 | 0.34534
2019-01-04 19:45:00 | 0 | 123 | 0 | 99.224 | 0 | 109.967 | 0.521 | 118 | -16.714 | 889.421 | 86.251 | 0.33112
2019-01-04 20:00:00 | 0 | 123.007 | 0 | 97.283 | 0 | 98.833 | 1.235 | 104 | -16.51 | 889.917 | 86.677 | 0.3297
2019-01-04 20:15:00 | 0 | 185.167 | 0 | 97.268 | 0 | 98.933 | 0 | 104.067 | -16.914 | 890.188 | 86.421 | 0.33254
2019-01-04 20:30:00 | 0.505 | 235.127 | 0 | 97.211 | 0 | 99 | 0 | 104 | -17.214 | 889.812 | 86.293 | 0.33539
2019-01-04 20:45:00 | 0 | 237.067 | 0 | 97.18 | 0 | 98.767 | 0 | 86.1 | -16.898 | 889.475 | 86.635 | 0.34534
2019-01-04 21:00:00 | 0 | 237.767 | 0 | 97.253 | 0.04 | 65.233 | 1.3 | 69.633 | -16.781 | 890.071 | 86.464 | 0.35528
2019-01-04 21:15:00 | 0 | 237 | 0.04 | 97.256 | 1.421 | 69.1 | 2.385 | 72.733 | -16.798 | 889.817 | 85.739 | 0.3226
2019-01-04 21:30:00 | 0 | 237.033 | 0 | 97.29 | 0.326 | 72 | 1.357 | 72.033 | -16.524 | 890.296 | 85.483 | 0.3496
2019-01-04 21:45:00 | 0.775 | 271 | 0.48 | 34.362 | 1.123 | 52.021 | 1.845 | 65.233 | -16.831 | 890.292 | 85.653 | 0.1208
2019-01-04 22:00:00 | 0.805 | 305.867 | 0.08 | 25.19 | 1.229 | 54.05 | 2.113 | 72.767 | -16.898 | 890.246 | 85.44 | 0.12861
2019-01-04 22:15:00 | 0 | 318.933 | 0.097 | 77.448 | 1.576 | 90.1 | 2.792 | 88.733 | -16.964 | 890.017 | 84.992 | 0.20606
2019-01-04 22:30:00 | 0.213 | 289.467 | 0.034 | 87.316 | 0.502 | 76.921 | 2.07 | 82 | -16.998 | 890.017 | 85.291 | 0.23378
2019-01-04 22:45:00 | 0 | 272.12 | 0 | 87.222 | 0 | 80.05 | 0.944 | 87.767 | -16.572 | 890.125 | 85.205 | 0.36807
2019-01-04 23:00:00 | 0 | 237.733 | 0.113 | 94.608 | 0.978 | 119.867 | 2.33 | 110.633 | -16.831 | 890.338 | 84.843 | 0.35528
2019-01-04 23:15:00 | 0.17 | 186.433 | 1.167 | 126.556 | 2.391 | 118.267 | 3.27 | 112.267 | -16.798 | 890.15 | 85.184 | 0.2622
2019-01-04 23:30:00 | 0.776 | 210.9 | 0.367 | 162.966 | 1.255 | 139.567 | 2.465 | 120.6 | -17.271 | 884.45 | 85.141 | 0.27996
2019-01-04 23:45:00 | 1.397 | 231.707 | 0 | 173.464 | 0.257 | 117 | 1.472 | 102 | -17.521 | 884.075 | 84.843 | 0.35386