## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-05 00:00:00 | 1.681 | 255.247 | 1.061 | 236.651 | 0 | 117.083 | 0 | 102 | -17.171 | 883.912 | 85.333 | 0.34534
2019-01-05 00:15:00 | 1.538 | 256.887 | 0.339 | 255.044 | 0 | 117.15 | 0.034 | 99.967 | -17.522 | 883.471 | 84.651 | 0.34534
2019-01-05 00:30:00 | 1.207 | 278.267 | 0.027 | 308.98 | 0 | 336.7 | 0.571 | 68.467 | -17.026 | 879.708 | 85.781 | 0.35102
2019-01-05 00:45:00 | 1.724 | 267.18 | 0.483 | 309.092 | 0.027 | 337.7 | 0.688 | 68 | -17.521 | 884.238 | 84.416 | 0.33326
2019-01-05 01:00:00 | 0.296 | 267.3 | 0 | 313.675 | 0.442 | 67.958 | 1.978 | 84.8 | -17.098 | 875.029 | 84.875 | 0.36239
2019-01-05 01:15:00 | 0 | 279.68 | 0 | 71.21 | 1.273 | 86.367 | 2.193 | 89.1 | -17.175 | 865.333 | 84.331 | 0.32473
2019-01-05 01:30:00 | 0 | 267.333 | 0 | 71.27 | 0.559 | 86.925 | 1.801 | 89.367 | -17.304 | 869.679 | 84.245 | 0.31336
2019-01-05 01:45:00 | 0 | 267.867 | 0 | 118.264 | 1.094 | 108.033 | 2.049 | 102.767 | -17.209 | 865.671 | 84.288 | 0.14069
2019-01-05 02:00:00 | 0.183 | 254.167 | 0 | 118.214 | 0.066 | 97.033 | 1.66 | 94.567 | -17.225 | 865.675 | 84.288 | 0.23378
2019-01-05 02:15:00 | 0 | 256.973 | 0 | 118.225 | 0.738 | 103.083 | 2.15 | 103.6 | -17.373 | 867.529 | 84.651 | 0.26859
2019-01-05 02:30:00 | 0.356 | 252.933 | 0 | 113.237 | 0 | 97 | 0.45 | 94.2 | -17.384 | 873.35 | 84.16 | 0.3361
2019-01-05 02:45:00 | 1.789 | 279.787 | 0.542 | 281.4 | 0 | 318.7 | 0 | 68.242 | -16.84 | 887.633 | 84.864 | 0.35102
2019-01-05 03:00:00 | 0.902 | 296.933 | 0.17 | 292.749 | 0 | 318.633 | 0 | 68.079 | -16.531 | 890.354 | 84.523 | 0.34107
2019-01-05 03:15:00 | 1.17 | 257.773 | 0 | 293.13 | 0 | 318.267 | 0.279 | 68.179 | -16.505 | 889.908 | 84.416 | 0.34107
2019-01-05 03:30:00 | 1.646 | 262.16 | 0.133 | 292.873 | 0 | 318.5 | 0.622 | 92.05 | -17.318 | 887.362 | 83.861 | 0.34249
2019-01-05 03:45:00 | 1.915 | 256.753 | 0.92 | 287.2 | 0 | 318.367 | 0 | 83.25 | -17.354 | 884.396 | 83.541 | 0.34107
2019-01-05 04:00:00 | 2.013 | 260.88 | 0.912 | 287.11 | 0 | 318.433 | 0.735 | 95.017 | -17.471 | 884.725 | 83.968 | 0.34107
2019-01-05 04:15:00 | 2.194 | 256.08 | 0.862 | 284.772 | 0 | 0 | 0 | 79.867 | -17.6 | 887.888 | 83.563 | 0.34391
2019-01-05 04:30:00 | 2.196 | 255.387 | 1.182 | 284.86 | 0 | 0 | 0 | 79.733 | -17.531 | 890.2 | 83.776 | 0.34107
2019-01-05 04:45:00 | 2.496 | 257.06 | 2.139 | 301.034 | 1.656 | 311.567 | 0.416 | 321.267 | -17.735 | 886.162 | 83.317 | 0.34249
2019-01-05 05:00:00 | 2.315 | 260.787 | 2.522 | 289.049 | 1.636 | 284.9 | 0 | 356.8 | -17.597 | 876.046 | 83.328 | 0.34249
2019-01-05 05:15:00 | 2.461 | 258.04 | 2.715 | 278.226 | 1.769 | 276.367 | 0.124 | 300.2 | -17.502 | 886.546 | 83.968 | 0.34391
2019-01-05 05:30:00 | 2.507 | 264.547 | 3.094 | 285.171 | 2.317 | 277.2 | 1.371 | 253.2 | -17.166 | 873.671 | 84.011 | 0.34534
2019-01-05 05:45:00 | 2.055 | 266.313 | 2.639 | 292.652 | 1.136 | 273.267 | 0 | 214.133 | -17.209 | 880.317 | 83.264 | 0.35102
2019-01-05 06:00:00 | 1.68 | 250.753 | 1.318 | 283.848 | 0.196 | 255.717 | 0.595 | 147.433 | -17.227 | 878.646 | 83.499 | 0.3496
2019-01-05 06:15:00 | 1.566 | 264.247 | 0 | 287.139 | 0 | 278.167 | 0.299 | 121.317 | -17.108 | 880.442 | 83.328 | 0.34676
2019-01-05 06:30:00 | 1.982 | 254.213 | 0.296 | 292.913 | 0 | 278.2 | 0 | 121.108 | -17.512 | 877.717 | 83.349 | 0.34249
2019-01-05 06:45:00 | 1.739 | 244.773 | 0 | 223.478 | 0 | 177.833 | 0.185 | 142.7 | -17.447 | 876.008 | 83.541 | 0.34818
2019-01-05 07:00:00 | 1.925 | 242.86 | 0 | 223.484 | 0 | 144.833 | 0 | 131 | -17.307 | 881.346 | 83.435 | 0.34249
2019-01-05 07:15:00 | 1.937 | 229.84 | 0 | 220.899 | 0.843 | 123.033 | 1.388 | 123.4 | -17.202 | 871.704 | 83.285 | 0.3496
2019-01-05 07:30:00 | 3.085 | 231.127 | 0.4 | 216.464 | 0.717 | 142.033 | 2.14 | 126.267 | -17.021 | 884.454 | 83.2 | 0.36523
2019-01-05 07:45:00 | 2.182 | 245.453 | 0.19 | 233.9 | 0.067 | 137.167 | 1.132 | 133.1 | -17.064 | 890.033 | 83.563 | 0.35244
2019-01-05 08:00:00 | 2.382 | 244.667 | 0.103 | 235.981 | 0.564 | 52.333 | 1.273 | 102.4 | -17.865 | 888.821 | 82.08 | 0.35102
2019-01-05 08:15:00 | 3.142 | 250.56 | 1.525 | 285.819 | 0.083 | 240.033 | 0.41 | 82.133 | -17.914 | 890.196 | 82.848 | 0.35244
2019-01-05 08:30:00 | 1.986 | 262.827 | 1.174 | 336.314 | 1.669 | 24.029 | 1.706 | 78.867 | -17.564 | 890.446 | 83.541 | 0.35244
2019-01-05 08:45:00 | 1.79 | 250.78 | 0.033 | 338.92 | 1.76 | 49.875 | 1.868 | 68 | -17.914 | 890.158 | 83.093 | 0.35386
2019-01-05 09:00:00 | 3.502 | 223.06 | 0.46 | 237.152 | 0 | 45.1 | 1.488 | 68.1 | -18.468 | 889.95 | 81.461 | 0.35102
2019-01-05 09:15:00 | 3.194 | 231.9 | 1.42 | 237.596 | 0 | 44.033 | 0 | 68 | -17.481 | 890.021 | 83.477 | 0.3496
2019-01-05 09:30:00 | 2.906 | 249.587 | 1.717 | 266.715 | 1.43 | 310.133 | 0.161 | 68.054 | -17.148 | 890.221 | 83.285 | 0.3496
2019-01-05 09:45:00 | 3.248 | 246.153 | 1.824 | 270.506 | 1.49 | 298 | 0.316 | 68.25 | -17.481 | 889.908 | 82.245 | 0.35102
2019-01-05 10:00:00 | 2.903 | 246.78 | 2.079 | 261.906 | 1.256 | 289.667 | 0 | 67.825 | -16.743 | 889.912 | 82.891 | 0.3496
2019-01-05 10:15:00 | 3.633 | 243.467 | 2.766 | 260.417 | 2.226 | 272.533 | 1.265 | 316.467 | -16.714 | 890.25 | 81.376 | 0.3496
2019-01-05 10:30:00 | 3.384 | 248.613 | 2.413 | 266.023 | 2.073 | 274 | 1.801 | 292.933 | -16.296 | 889.692 | 80.896 | 0.3695
2019-01-05 10:45:00 | 2.724 | 259.013 | 2.194 | 285.35 | 2.116 | 290.433 | 2.087 | 292.167 | -15.191 | 889.892 | 81.579 | 0.36807
2019-01-05 11:00:00 | 3.527 | 251.847 | 2.586 | 280.755 | 2.306 | 290.1 | 1.879 | 291.733 | -14.724 | 889.7 | 80.379 | 0.35813
2019-01-05 11:15:00 | 3.285 | 244.833 | 3.69 | 268.676 | 2.783 | 285.733 | 2.55 | 292.1 | -14.233 | 890.292 | 78.139 | 0.32544
2019-01-05 11:30:00 | 3.037 | 256.827 | 4.352 | 265.057 | 3.802 | 281.767 | 3.326 | 292.367 | -13.07 | 889.6 | 76.971 | 0.20891
2019-01-05 11:45:00 | 2.926 | 284.16 | 3.746 | 284.304 | 3.982 | 295 | 3.549 | 292.8 | -13.67 | 889.983 | 75.035 | 0.13501
2019-01-05 12:00:00 | 2.242 | 291.267 | 2.699 | 289.443 | 3.142 | 297.1 | 3.089 | 292.067 | -14.116 | 889.758 | 75.28 | 0.21601
2019-01-05 12:15:00 | 3.29 | 296.173 | 3.557 | 292.692 | 3.727 | 298.533 | 3.672 | 292.4 | -14.199 | 890.025 | 74.928 | 0.1144
2019-01-05 12:30:00 | 4.48 | 294.6 | 4.624 | 289.519 | 4.705 | 293.033 | 4.491 | 292.633 | -14.033 | 889.875 | 75.035 | 0.8811
2019-01-05 12:45:00 | 4.705 | 305.92 | 4.959 | 298.504 | 5.011 | 303.6 | 5.122 | 301.567 | -14.078 | 889.958 | 74.085 | 3.221
2019-01-05 13:00:00 | 4.531 | 303.267 | 4.658 | 298.327 | 4.809 | 302.267 | 5.09 | 298.6 | -13.883 | 889.583 | 73.792 | 3.5045
2019-01-05 13:15:00 | 4.365 | 303.32 | 4.554 | 297.33 | 4.448 | 302.5 | 4.572 | 297.833 | -13.728 | 890.042 | 73.36 | 2.288
2019-01-05 13:30:00 | 4.278 | 298.853 | 4.481 | 294.222 | 4.522 | 300.067 | 4.663 | 296.833 | -13.524 | 889.85 | 73.413 | 1.5689
2019-01-05 13:45:00 | 4.358 | 298.773 | 4.622 | 294.331 | 4.59 | 298.3 | 4.609 | 293.067 | -13.122 | 890.192 | 72.965 | 2.465
2019-01-05 14:00:00 | 4.315 | 306.96 | 4.568 | 299.547 | 4.586 | 304.3 | 4.686 | 299.067 | -12.949 | 890.125 | 73.195 | 2.7371
2019-01-05 14:15:00 | 4.057 | 302.667 | 4.262 | 299.644 | 4.255 | 304.567 | 4.314 | 303.867 | -13.12 | 890.1 | 72.656 | 2.6241
2019-01-05 14:30:00 | 3.541 | 313.067 | 3.71 | 306.943 | 3.767 | 310.2 | 3.814 | 307.167 | -12.586 | 889.658 | 71.909 | 1.9015
2019-01-05 14:45:00 | 2.949 | 294.533 | 3.075 | 287.886 | 3.172 | 289.7 | 3.349 | 283.5 | -12.62 | 889.708 | 71.248 | 0.68996
2019-01-05 15:00:00 | 3.186 | 294.733 | 3.472 | 290.775 | 3.497 | 292.567 | 3.568 | 289.667 | -12.553 | 889.65 | 70.763 | 1.441
2019-01-05 15:15:00 | 3.535 | 309.227 | 3.79 | 302.304 | 3.886 | 307.6 | 3.907 | 306.467 | -11.974 | 890.117 | 69.957 | 1.6386
2019-01-05 15:30:00 | 3.193 | 306.467 | 3.361 | 299.836 | 3.522 | 306.2 | 3.606 | 303.933 | -11.786 | 889.825 | 70.069 | 2.0763
2019-01-05 15:45:00 | 3.697 | 324.04 | 3.875 | 315.12 | 3.94 | 317.1 | 4.01 | 314.367 | -12.016 | 889.692 | 70.907 | 3.0668
2019-01-05 16:00:00 | 3.194 | 301.867 | 3.397 | 297.593 | 3.495 | 301.033 | 3.794 | 298.1 | -12.436 | 889.633 | 72.267 | 1.7778
2019-01-05 16:15:00 | 2.822 | 291.573 | 2.949 | 288.147 | 3.185 | 290.967 | 3.371 | 291.5 | -11.911 | 889.875 | 72.363 | 1.2492
2019-01-05 16:30:00 | 2.56 | 285.6 | 2.949 | 283.46 | 2.999 | 287.533 | 3.283 | 288.233 | -12.436 | 889.942 | 73.627 | 0.53292
2019-01-05 16:45:00 | 1.413 | 270.413 | 1.504 | 261.087 | 1.628 | 263.467 | 1.768 | 263.967 | -11.62 | 889.608 | 72.395 | 0.25083
2019-01-05 17:00:00 | 1.689 | 295.72 | 2.152 | 293.223 | 2.689 | 303.3 | 3.263 | 303 | -11.611 | 889.475 | 71.632 | 0.18617
2019-01-05 17:15:00 | 2.272 | 304.547 | 2.525 | 298.455 | 2.75 | 305.233 | 3.22 | 306.367 | -12.036 | 889.742 | 73.605 | 0.76173
2019-01-05 17:30:00 | 2.095 | 280.067 | 2.625 | 284.083 | 2.983 | 289.3 | 3.251 | 292.633 | -12.336 | 890.017 | 74.816 | 0.98627
2019-01-05 17:45:00 | 1.865 | 250.82 | 2.502 | 267.301 | 3.039 | 277.833 | 3.687 | 282.633 | -12.157 | 889.692 | 75.536 | 1.3167
2019-01-05 18:00:00 | 2.237 | 236.433 | 2.502 | 247.693 | 2.897 | 263.867 | 3.151 | 267.2 | -12.52 | 889.758 | 77.941 | 0.60185
2019-01-05 18:15:00 | 2.685 | 222.547 | 2.809 | 234.593 | 2.924 | 249.5 | 3.028 | 253.033 | -12.195 | 889.517 | 78.283 | 0.65727
2019-01-05 18:30:00 | 2.956 | 220.153 | 2.611 | 224.439 | 2.568 | 237.867 | 2.699 | 244.533 | -11.911 | 889.708 | 77.653 | 0.58622
2019-01-05 18:45:00 | 2.443 | 234.993 | 2.505 | 231.532 | 2.629 | 244.867 | 2.599 | 248.133 | -11.595 | 889.692 | 75.968 | 0.53008
2019-01-05 19:00:00 | 3.076 | 232.733 | 3.256 | 246.222 | 3.169 | 255.333 | 3.171 | 258.133 | -12.436 | 889.567 | 75.264 | 0.6857
2019-01-05 19:15:00 | 3.453 | 223.08 | 3.375 | 231.979 | 3.363 | 238.467 | 3.271 | 236.633 | -12.195 | 889.65 | 76.363 | 1.6244
2019-01-05 19:30:00 | 3.658 | 224.62 | 3.527 | 231.428 | 3.534 | 237.367 | 3.404 | 234.633 | -11.636 | 889.842 | 74.816 | 1.8603
2019-01-05 19:45:00 | 3.606 | 230.933 | 3.841 | 235.021 | 3.876 | 240.6 | 3.764 | 236.1 | -11.495 | 889.325 | 75.445 | 3.1592
2019-01-05 20:00:00 | 2.88 | 251.56 | 3.237 | 258.022 | 3.266 | 264.3 | 3.375 | 264.517 | -11.411 | 889.992 | 75.435 | 2.4245
2019-01-05 20:15:00 | 3.132 | 271.147 | 3.405 | 278.24 | 3.621 | 282.3 | 3.8 | 277.567 | -10.576 | 889.775 | 72.443 | 2.6966
2019-01-05 20:30:00 | 2.345 | 272.587 | 3.267 | 280.842 | 3.43 | 289.9 | 3.736 | 290.667 | -10.632 | 889.908 | 73.088 | 2.536
2019-01-05 20:45:00 | 2.411 | 284.8 | 3.091 | 288.666 | 3.284 | 291.5 | 3.648 | 288.2 | -10.466 | 890.05 | 75.701 | 1.9327
2019-01-05 21:00:00 | 3.559 | 304.4 | 4.509 | 308.317 | 4.635 | 313.1 | 4.546 | 309.2 | -10.67 | 890.167 | 74.768 | 2.9346
2019-01-05 21:15:00 | 2.156 | 310.933 | 2.871 | 308.709 | 2.917 | 311.1 | 3.065 | 303.767 | -11.566 | 890.217 | 75.947 | 3.6232
2019-01-05 21:30:00 | 2.1 | 305.213 | 3.275 | 302.939 | 3.215 | 298.3 | 3.093 | 292.933 | -11.69 | 889.525 | 77.675 | 0.74609
2019-01-05 21:45:00 | 2.427 | 300.24 | 3.472 | 303.256 | 3.553 | 303.867 | 3.574 | 292.2 | -12.12 | 889.658 | 78.219 | 0.59403
2019-01-05 22:00:00 | 1.921 | 308 | 3.453 | 311.907 | 3.392 | 315.267 | 3.192 | 312.367 | -12.253 | 889.5 | 78.939 | 2.3371
2019-01-05 22:15:00 | 2.275 | 281.4 | 3.765 | 289.852 | 3.642 | 293.6 | 3.524 | 288.8 | -12.67 | 890.033 | 80.987 | 2.9865
2019-01-05 22:30:00 | 3.275 | 263.073 | 3.926 | 273.269 | 3.893 | 274.033 | 3.905 | 268.867 | -12.52 | 890.229 | 82.123 | 2.666
2019-01-05 22:45:00 | 2.585 | 258.327 | 3.437 | 268.198 | 3.208 | 271.267 | 2.96 | 260.8 | -12.786 | 889.954 | 82.24 | 2.163
2019-01-05 23:00:00 | 2.095 | 245.233 | 2.087 | 261.152 | 2.036 | 264 | 1.979 | 254.233 | -12.62 | 890.058 | 83.307 | 1.8077
2019-01-05 23:15:00 | 2.052 | 280.667 | 2.286 | 288.594 | 2.42 | 285.3 | 3.886 | 279.8 | -12.703 | 889.988 | 84.64 | 2.1779
2019-01-05 23:30:00 | 0.76 | 212.867 | 0.84 | 255.629 | 1.704 | 276.667 | 2.356 | 285.733 | -12.986 | 889.754 | 84.096 | 2.7172
2019-01-05 23:45:00 | 1.198 | 304.067 | 1.018 | 300.212 | 1.08 | 300.9 | 1.31 | 299.1 | -13.036 | 889.75 | 84.853 | 2.3562