## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-06 00:00:00 | 1.233 | 272.96 | 1.009 | 282.376 | 0.733 | 298.267 | 2.126 | 295.667 | -13.56 | 889.846 | 84.544 | 2.8956
2019-01-06 00:15:00 | 2.145 | 235.967 | 1.765 | 263.134 | 2.094 | 281.333 | 2.892 | 289.567 | -14.066 | 889.912 | 84.757 | 7.5221
2019-01-06 00:30:00 | 3.056 | 230.787 | 3.308 | 244.691 | 3.904 | 270.067 | 4.564 | 277.033 | -13.597 | 890.117 | 86.251 | 12.5962
2019-01-06 00:45:00 | 4.57 | 245.773 | 4.75 | 249.547 | 4.686 | 261.8 | 4.729 | 266.933 | -13.207 | 889.829 | 82.731 | 12.3674
2019-01-06 01:00:00 | 4.583 | 247.967 | 4.805 | 256.854 | 5.202 | 274 | 5.779 | 279.2 | -13.053 | 889.875 | 80.416 | 13.6081
2019-01-06 01:15:00 | 4.866 | 245.773 | 4.843 | 260.708 | 4.999 | 274.2 | 5.491 | 274.967 | -13.312 | 889.917 | 76.512 | 11.9397
2019-01-06 01:30:00 | 5.098 | 244.967 | 5.08 | 263.165 | 5.391 | 277.933 | 6.09 | 274.267 | -13.689 | 889.717 | 76.667 | 15.9707
2019-01-06 01:45:00 | 4.288 | 255.687 | 4.192 | 274.974 | 4.95 | 277.567 | 5.725 | 270.8 | -13.24 | 889.742 | 78.773 | 19.9186
2019-01-06 02:00:00 | 3.428 | 253.613 | 3.297 | 273.653 | 4.04 | 278.6 | 4.636 | 271.9 | -13.186 | 889.892 | 75.899 | 11.3975
2019-01-06 02:15:00 | 3.307 | 240.127 | 3.634 | 269.649 | 3.859 | 271.2 | 4.129 | 263.983 | -13.878 | 889.867 | 76.117 | 7.4474
2019-01-06 02:30:00 | 4.2 | 232.2 | 4.115 | 247.016 | 4.184 | 259.933 | 4.667 | 257.083 | -13.036 | 889.858 | 77.248 | 7.5682
2019-01-06 02:45:00 | 5.542 | 223.48 | 6.28 | 234.108 | 5.934 | 241.8 | 5.377 | 240.5 | -14.42 | 889.692 | 73.6 | 15.8989
2019-01-06 03:00:00 | 6.392 | 225.367 | 6.867 | 233.033 | 6.965 | 240.7 | 6.75 | 237.233 | -13.799 | 890.075 | 75.413 | 29.723
2019-01-06 03:15:00 | 5.939 | 225.92 | 7.528 | 235.563 | 7.647 | 243.733 | 7.395 | 240.467 | -13.691 | 890.05 | 74.795 | 36.1266
2019-01-06 03:30:00 | 7.35 | 234.433 | 8.119 | 239.372 | 8.375 | 246.867 | 8.249 | 243.633 | -12.77 | 890.008 | 74.965 | 35.3791
2019-01-06 03:45:00 | 6.791 | 220.533 | 8.291 | 233.396 | 8.507 | 243.633 | 8.128 | 239.5 | -12.77 | 889.925 | 71.232 | 31.444
2019-01-06 04:00:00 | 6.719 | 218.8 | 7.929 | 229.82 | 8.098 | 243.067 | 7.72 | 243.267 | -13.357 | 890.167 | 72.651 | 28.9726
2019-01-06 04:15:00 | 7.26 | 222.807 | 7.904 | 230.999 | 8.109 | 239.867 | 8.036 | 238.633 | -13.428 | 889.642 | 73.771 | 29.4246
2019-01-06 04:30:00 | 7.006 | 216.267 | 7.164 | 223.066 | 7.158 | 234.467 | 6.949 | 236.533 | -12.436 | 890.158 | 72.203 | 30.9892
2019-01-06 04:45:00 | 6.067 | 229.933 | 8.714 | 241.168 | 9.169 | 249.933 | 9.239 | 247.067 | -12.503 | 890.05 | 71.029 | 32.0814
2019-01-06 05:00:00 | 5.326 | 241.027 | 8.219 | 247.51 | 8.976 | 254.367 | 9.08 | 252 | -11.953 | 889.675 | 71.744 | 31.3395
2019-01-06 05:15:00 | 5.337 | 237.553 | 6.282 | 235.227 | 7.053 | 242.2 | 7.464 | 240.067 | -12.016 | 889.65 | 73.323 | 30.948
2019-01-06 05:30:00 | 4.757 | 229 | 7.396 | 237.706 | 8.054 | 249.533 | 7.773 | 247.083 | -12.37 | 890.325 | 70.709 | 32.8019
2019-01-06 05:45:00 | 6.004 | 228.2 | 7.246 | 231.152 | 7.983 | 241.233 | 7.894 | 240.033 | -12.77 | 889.75 | 72.427 | 33.16
2019-01-06 06:00:00 | 6.2 | 230.1 | 7.806 | 236.128 | 8.004 | 243.7 | 7.711 | 240.767 | -12.903 | 889.875 | 72.277 | 32.9788
2019-01-06 06:15:00 | 6.399 | 228.993 | 7.453 | 229.54 | 7.538 | 235.667 | 7.196 | 233.5 | -12.161 | 889.55 | 71.787 | 31.7346
2019-01-06 06:30:00 | 6.675 | 226.607 | 7.406 | 226.59 | 7.454 | 235 | 7.17 | 234.7 | -12.036 | 889.842 | 71.36 | 31.024
2019-01-06 06:45:00 | 5.982 | 225.42 | 7.113 | 228.522 | 8.03 | 238.233 | 7.803 | 239.233 | -11.67 | 890.167 | 70.016 | 31.3786
2019-01-06 07:00:00 | 5.485 | 221.6 | 7.361 | 230.916 | 9.371 | 242 | 10.279 | 243.733 | -12.011 | 889.467 | 70.869 | 33.236
2019-01-06 07:15:00 | 8.775 | 233.633 | 11.351 | 237.382 | 11.928 | 248.367 | 12.019 | 247.633 | -12.653 | 890.075 | 72.747 | 34.6771
2019-01-06 07:30:00 | 8.657 | 231.527 | 10.335 | 233.238 | 10.974 | 239.933 | 11.034 | 235.8 | -11.107 | 889.75 | 69.835 | 32.9262
2019-01-06 07:45:00 | 8.715 | 230.36 | 10.144 | 229.938 | 10.769 | 235.667 | 10.487 | 232 | -11.54 | 890.075 | 68.032 | 32.7315
2019-01-06 08:00:00 | 7.05 | 227.4 | 9.553 | 231.795 | 10.224 | 239.567 | 10.23 | 236.567 | -12.986 | 889.558 | 70.176 | 32.048
2019-01-06 08:15:00 | 6.774 | 224.107 | 8.444 | 223.248 | 8.657 | 229.633 | 8.468 | 227.367 | -13.174 | 889.658 | 70.688 | 35.5163
2019-01-06 08:30:00 | 7.125 | 222.267 | 8.359 | 227.938 | 8.601 | 235.5 | 8.532 | 233.133 | -13.203 | 890.325 | 70.464 | 35.5681
2019-01-06 08:45:00 | 6.025 | 215.68 | 7.781 | 223.171 | 7.891 | 230.433 | 7.77 | 227.4 | -13.87 | 890.342 | 70.645 | 37.9499
2019-01-06 09:00:00 | 4.98 | 229.1 | 7.599 | 232.252 | 8.138 | 238.567 | 8.025 | 235.1 | -13.999 | 889.333 | 71.893 | 47.3252
2019-01-06 09:15:00 | 5.639 | 234.18 | 7.844 | 236.626 | 8.245 | 244.6 | 8.13 | 243.1 | -13.653 | 889.708 | 72.224 | 39.3668
2019-01-06 09:30:00 | 5.402 | 231.193 | 7.058 | 234.64 | 7.138 | 245 | 6.923 | 241.433 | -13.353 | 889.55 | 71.307 | 27.3014
2019-01-06 09:45:00 | 5.423 | 233.153 | 6.223 | 236.977 | 6.345 | 244.567 | 6.238 | 241.267 | -13.155 | 889.958 | 70.187 | 22.7701
2019-01-06 10:00:00 | 5.827 | 223.4 | 6.193 | 225.222 | 6.145 | 233.9 | 6.066 | 232.233 | -12.686 | 889.933 | 68.331 | 20.7848
2019-01-06 10:15:00 | 5.445 | 216.06 | 6.212 | 221.81 | 5.905 | 230.633 | 5.522 | 229.667 | -12.057 | 889.467 | 66.869 | 19.1498
2019-01-06 10:30:00 | 5.153 | 218.133 | 5.925 | 221.52 | 5.752 | 227.3 | 5.499 | 224.333 | -11.145 | 889.775 | 65.739 | 21.2218
2019-01-06 10:45:00 | 4.596 | 216.327 | 5.796 | 220.133 | 6.064 | 226.633 | 5.86 | 224.367 | -10.191 | 889.9 | 63.712 | 21.8577
2019-01-06 11:00:00 | 4.26 | 225.507 | 6.055 | 223.768 | 7.103 | 227.033 | 6.931 | 222.833 | -9.537 | 889.858 | 63.019 | 24.6766
2019-01-06 11:15:00 | 5.5 | 231 | 6.781 | 228.011 | 7.26 | 233.933 | 7.153 | 232.267 | -8.724 | 889.65 | 61.685 | 30.0683
2019-01-06 11:30:00 | 5.665 | 222.56 | 6.804 | 222.82 | 7.237 | 227.467 | 7.212 | 224.733 | -7.809 | 890.075 | 59.872 | 31.1896
2019-01-06 11:45:00 | 5.58 | 236.9 | 6.246 | 234.089 | 6.627 | 245.433 | 6.564 | 245.8 | -7.289 | 890.308 | 58.891 | 30.6332
2019-01-06 12:00:00 | 6.663 | 256.22 | 7.433 | 262.033 | 7.673 | 266.4 | 7.763 | 261.433 | -5.997 | 890.2 | 56.16 | 19.4049
2019-01-06 12:15:00 | 7.199 | 257.9 | 7.906 | 263.03 | 8.137 | 268.467 | 8.247 | 262.9 | -6.478 | 889.7 | 56.843 | 19.7559
2019-01-06 12:30:00 | 5.675 | 260.04 | 6.556 | 261.672 | 6.904 | 265.833 | 6.864 | 261.583 | -5.592 | 889.867 | 55.131 | 25.12
2019-01-06 12:45:00 | 6.611 | 257.26 | 7.159 | 265.59 | 7.337 | 271.217 | 7.491 | 266.767 | -5.644 | 889.858 | 54.491 | 29.421
2019-01-06 13:00:00 | 7.531 | 259.367 | 8.182 | 262.718 | 8.348 | 267.75 | 8.477 | 263.767 | -6.216 | 889.908 | 57.083 | 39.3384
2019-01-06 13:15:00 | 8.921 | 266.167 | 9.572 | 267.878 | 9.632 | 273.933 | 9.657 | 270.667 | -6.363 | 889.783 | 57.616 | 49.6558
2019-01-06 13:30:00 | 7.151 | 262.787 | 7.942 | 263.899 | 8.532 | 269.133 | 8.9 | 265.317 | -6.037 | 889.692 | 57.397 | 54.7151
2019-01-06 13:45:00 | 7.27 | 263.86 | 7.99 | 267.13 | 8.309 | 269.333 | 8.462 | 265.017 | -6.076 | 889.558 | 57.131 | 51.6824
2019-01-06 14:00:00 | 7.51 | 258.887 | 8.272 | 261.864 | 8.445 | 266.283 | 8.238 | 261.3 | -5.628 | 889.642 | 55.872 | 41.4566
2019-01-06 14:15:00 | 7.018 | 259.947 | 7.932 | 263.42 | 8.351 | 268.9 | 8.211 | 263.4 | -5.747 | 889.35 | 56.96 | 39.6368
2019-01-06 14:30:00 | 6.807 | 271.413 | 7.709 | 271.35 | 7.982 | 275.2 | 7.901 | 271.567 | -6.478 | 890.142 | 59.269 | 38.5525
2019-01-06 14:45:00 | 6.803 | 273.687 | 7.621 | 273.726 | 7.99 | 278.5 | 8.203 | 272.55 | -6.645 | 889.967 | 60.501 | 36.7882
2019-01-06 15:00:00 | 6.91 | 275.373 | 7.756 | 278.416 | 7.963 | 282.967 | 8.208 | 277.9 | -6.495 | 889.775 | 59.605 | 35.9199
2019-01-06 15:15:00 | 6.39 | 276.567 | 6.681 | 276.309 | 6.84 | 279.7 | 6.919 | 273.7 | -6.041 | 890.15 | 59.984 | 31.8021
2019-01-06 15:30:00 | 5.826 | 267.313 | 6.365 | 266.567 | 6.63 | 271.933 | 6.872 | 267.567 | -6.076 | 889.8 | 60.181 | 29.3059
2019-01-06 15:45:00 | 7.189 | 261.827 | 7.762 | 267.201 | 7.963 | 272.967 | 7.888 | 269.267 | -6.037 | 889.883 | 59.173 | 39.3768
2019-01-06 16:00:00 | 6.712 | 258.793 | 7.414 | 262.842 | 7.431 | 267.383 | 7.578 | 264.733 | -5.997 | 889.767 | 58.843 | 44.0892
2019-01-06 16:15:00 | 6.624 | 258.2 | 7.36 | 261.602 | 7.591 | 265.8 | 7.769 | 259.633 | -5.8 | 890.075 | 58.144 | 41.4161
2019-01-06 16:30:00 | 6.799 | 258.08 | 7.465 | 264.167 | 7.798 | 268.833 | 7.912 | 263.8 | -6.416 | 890.125 | 59.691 | 40.1619
2019-01-06 16:45:00 | 5.829 | 259.313 | 6.427 | 263.809 | 6.754 | 266.9 | 6.86 | 259.817 | -6.612 | 890.142 | 60.085 | 27.5245
2019-01-06 17:00:00 | 5.77 | 260.493 | 6.716 | 262.396 | 6.875 | 266.433 | 7.091 | 260.233 | -6.512 | 889.792 | 60.155 | 23.5077
2019-01-06 17:15:00 | 4.8 | 270.98 | 5.786 | 272.5 | 5.994 | 275.467 | 6.123 | 269.533 | -7.091 | 889.758 | 63.115 | 19.9797
2019-01-06 17:30:00 | 5.365 | 272 | 6.416 | 274.848 | 6.725 | 279.8 | 6.94 | 276.4 | -7.384 | 889.958 | 64.379 | 24.0399
2019-01-06 17:45:00 | 5.91 | 273.513 | 6.968 | 275.639 | 7.328 | 279.267 | 7.613 | 275.533 | -7.539 | 890.075 | 64.8 | 24.0882
2019-01-06 18:00:00 | 4.318 | 274.713 | 6.051 | 277.3 | 6.468 | 280.7 | 6.794 | 277.067 | -7.913 | 889.775 | 65.413 | 19.9094
2019-01-06 18:15:00 | 3.715 | 268.173 | 4.956 | 269.769 | 5.214 | 274.167 | 5.437 | 270.467 | -8.464 | 890.442 | 65.84 | 14.9169
2019-01-06 18:30:00 | 3.893 | 256.38 | 5.317 | 263.176 | 5.523 | 267.2 | 5.605 | 261.633 | -8.991 | 890.45 | 67.269 | 11.3151
2019-01-06 18:45:00 | 4.443 | 248.587 | 5.406 | 257.698 | 5.63 | 263.2 | 5.773 | 258.883 | -9.508 | 889.825 | 68.603 | 9.8861
2019-01-06 19:00:00 | 3.045 | 209.993 | 4.048 | 246.543 | 4.492 | 255.533 | 4.637 | 252.383 | -10.599 | 889.533 | 69.696 | 13.8035
2019-01-06 19:15:00 | 4.364 | 227.087 | 4.616 | 242.854 | 5.097 | 258.5 | 5.11 | 258.25 | -10.351 | 889.967 | 71.584 | 15.1251
2019-01-06 19:30:00 | 5.238 | 227.253 | 5.221 | 236.226 | 5.123 | 249.2 | 5.408 | 248.433 | -11.466 | 889.675 | 72.416 | 14.2092
2019-01-06 19:45:00 | 4.811 | 238.493 | 5.626 | 244.168 | 5.646 | 251.2 | 5.451 | 249.467 | -11.14 | 889.767 | 72.309 | 14.0223
2019-01-06 20:00:00 | 4.846 | 220.333 | 5.67 | 236.995 | 6.072 | 245.467 | 6.1 | 241.9 | -12.47 | 889.858 | 71.669 | 17.4195
2019-01-06 20:15:00 | 5.184 | 228.7 | 6.132 | 239.482 | 6.347 | 246 | 6.276 | 242.433 | -12.636 | 890.017 | 73.472 | 21.1308
2019-01-06 20:30:00 | 5.479 | 224.1 | 6.422 | 236.164 | 6.439 | 244.3 | 6.338 | 241.667 | -12.52 | 890.117 | 73.355 | 22.3971
2019-01-06 20:45:00 | 4.955 | 221.9 | 6.31 | 235.017 | 6.584 | 242.733 | 6.46 | 239.633 | -12.57 | 889.767 | 73.717 | 22.5669
2019-01-06 21:00:00 | 4.463 | 216.633 | 5.93 | 231.485 | 5.842 | 242.133 | 5.808 | 240.1 | -12.436 | 890.008 | 73.003 | 18.2644
2019-01-06 21:15:00 | 5.968 | 214.633 | 6.348 | 219.651 | 6.069 | 227.467 | 5.648 | 226.133 | -12.636 | 890.083 | 73.483 | 18.2779
2019-01-06 21:30:00 | 5.922 | 223.267 | 6.143 | 226.48 | 6.099 | 232.033 | 5.788 | 230.467 | -12.586 | 889.908 | 72.64 | 18.1528
2019-01-06 21:45:00 | 6.578 | 219.533 | 6.492 | 223.154 | 6.351 | 228.533 | 6.023 | 225.067 | -12.436 | 889.658 | 72.757 | 17.8679
2019-01-06 22:00:00 | 5.335 | 219.4 | 6.272 | 223.766 | 6.126 | 231.667 | 5.714 | 229.967 | -12.47 | 889.683 | 72.021 | 14.7315
2019-01-06 22:15:00 | 5.771 | 217.067 | 5.82 | 224.979 | 5.419 | 235.767 | 4.961 | 234.833 | -13.103 | 889.592 | 72.661 | 12.6474
2019-01-06 22:30:00 | 5.848 | 221.967 | 6.306 | 228.974 | 6.051 | 238.967 | 5.692 | 236.5 | -13.103 | 890.058 | 73.483 | 14.1182
2019-01-06 22:45:00 | 6.236 | 222.227 | 6.391 | 224.652 | 6.088 | 232.633 | 5.736 | 232 | -13.635 | 889.817 | 73.973 | 15.2523
2019-01-06 23:00:00 | 4.941 | 219.767 | 6.101 | 223.139 | 5.762 | 229.8 | 5.266 | 228.167 | -13.17 | 889.617 | 74.165 | 13.6571
2019-01-06 23:15:00 | 5.925 | 212.947 | 6.414 | 218.158 | 5.834 | 222.533 | 5.336 | 221.1 | -13.372 | 889.867 | 74.816 | 15.4889
2019-01-06 23:30:00 | 6.212 | 218.167 | 5.952 | 222.716 | 5.722 | 230.167 | 5.222 | 227.633 | -13.203 | 889.958 | 74.208 | 14.114
2019-01-06 23:45:00 | 6.221 | 225.567 | 6.172 | 231.256 | 5.881 | 240.467 | 5.425 | 238.7 | -13.136 | 889.892 | 73.888 | 12.9138