## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-07 00:00:00 | 5.969 | 216.933 | 6.3 | 220.439 | 5.943 | 227.833 | 5.493 | 226.433 | -13.484 | 889.708 | 74.112 | 14.3726
2019-01-07 00:15:00 | 6.146 | 215.807 | 7.135 | 219.768 | 6.274 | 224.433 | 5.58 | 221.233 | -13.76 | 889.758 | 74.891 | 14.3513
2019-01-07 00:30:00 | 6.063 | 215.3 | 6.876 | 213.991 | 6.526 | 219.7 | 6.105 | 219.133 | -13.578 | 889.717 | 74.389 | 14.8594
2019-01-07 00:45:00 | 5.955 | 219.153 | 6.607 | 217.923 | 6.006 | 223.233 | 5.527 | 222 | -13.503 | 889.933 | 73.387 | 13.6244
2019-01-07 01:00:00 | 6.245 | 219.407 | 6.54 | 216.687 | 5.913 | 223.167 | 5.084 | 222.667 | -13.71 | 889.842 | 73.952 | 10.6571
2019-01-07 01:15:00 | 6.319 | 217.14 | 6.31 | 212.864 | 5.761 | 217.967 | 5.041 | 217.5 | -13.428 | 889.775 | 73.28 | 10.117
2019-01-07 01:30:00 | 6.42 | 216.113 | 6.519 | 212.894 | 5.855 | 216.767 | 5.005 | 214.2 | -13.372 | 890.017 | 72.757 | 10.4922
2019-01-07 01:45:00 | 6.64 | 217.233 | 6.343 | 216.783 | 5.994 | 220.367 | 5.449 | 218.3 | -13.578 | 890.208 | 72.181 | 10.8582
2019-01-07 02:00:00 | 6.535 | 218.2 | 6.272 | 216.336 | 5.874 | 221.533 | 5.455 | 220.333 | -14.066 | 890.075 | 72.96 | 12.0711
2019-01-07 02:15:00 | 6.802 | 217.167 | 6.915 | 213.386 | 6.328 | 217.7 | 5.718 | 215.767 | -13.916 | 889.742 | 73.397 | 11.6576
2019-01-07 02:30:00 | 5.58 | 216.6 | 6.263 | 219.194 | 5.558 | 224.7 | 4.923 | 222.633 | -14.049 | 889.833 | 73.131 | 9.9735
2019-01-07 02:45:00 | 5.946 | 220.4 | 6.018 | 221.59 | 5.319 | 226.067 | 4.503 | 223.533 | -14.199 | 889.875 | 73.813 | 8.7208
2019-01-07 03:00:00 | 6.612 | 216.867 | 6.409 | 215.241 | 5.63 | 221.933 | 4.762 | 220.3 | -14.133 | 889.692 | 73.888 | 8.8807
2019-01-07 03:15:00 | 6.534 | 216.433 | 5.755 | 211.611 | 5.254 | 214 | 4.8 | 213.367 | -13.578 | 889.533 | 73.173 | 8.4039
2019-01-07 03:30:00 | 5.7 | 213.233 | 5.966 | 206.808 | 5.623 | 209.633 | 5.231 | 205.8 | -14.149 | 890.3 | 72.789 | 8.1424
2019-01-07 03:45:00 | 5.859 | 211.633 | 6.731 | 204.997 | 6.054 | 209.567 | 5.386 | 203.7 | -14.016 | 889.842 | 74.453 | 8.1573
2019-01-07 04:00:00 | 6.428 | 218.947 | 5.936 | 212.276 | 5.363 | 214.2 | 4.707 | 212.433 | -14.454 | 889.9 | 73.664 | 8.5019
2019-01-07 04:15:00 | 6.518 | 220.393 | 6.2 | 216.513 | 5.51 | 223.133 | 4.79 | 224.067 | -14.537 | 890.3 | 72.885 | 6.7433
2019-01-07 04:30:00 | 6.654 | 217.653 | 6.364 | 214.219 | 5.708 | 221.5 | 4.588 | 220.833 | -14.341 | 890.017 | 72.757 | 7.7189
2019-01-07 04:45:00 | 6.326 | 219.553 | 6.394 | 215.14 | 5.619 | 221.533 | 4.602 | 218.933 | -14.374 | 889.942 | 72.075 | 6.2473
2019-01-07 05:00:00 | 6.593 | 220.96 | 6.186 | 220.408 | 5.615 | 226.733 | 4.529 | 222.9 | -14.849 | 890.008 | 72.661 | 4.694
2019-01-07 05:15:00 | 5.955 | 214.68 | 5.697 | 217.494 | 5.23 | 223.6 | 4.188 | 220.067 | -14.87 | 889.95 | 72.149 | 5.9794
2019-01-07 05:30:00 | 6.767 | 214.133 | 6.884 | 213.85 | 6.092 | 219.7 | 5.427 | 217.033 | -15.474 | 889.967 | 74.027 | 8.153
2019-01-07 05:45:00 | 6.495 | 218.067 | 6.223 | 212.425 | 5.667 | 219.133 | 5.225 | 216.767 | -15.291 | 889.6 | 73.067 | 7.1966
2019-01-07 06:00:00 | 6.427 | 216.367 | 6.055 | 210.466 | 5.344 | 215.933 | 4.846 | 216.933 | -15.374 | 889.758 | 74.037 | 5.3996
2019-01-07 06:15:00 | 5.792 | 215.1 | 6.073 | 206.188 | 5.788 | 209.9 | 4.962 | 206.767 | -15.391 | 889.775 | 73.909 | 5.1701
2019-01-07 06:30:00 | 6.379 | 217.433 | 5.171 | 211.849 | 4.555 | 213.233 | 4.139 | 208.533 | -15.291 | 890.033 | 73.963 | 3.7376
2019-01-07 06:45:00 | 5.989 | 220.133 | 4.585 | 212.539 | 4.397 | 216.733 | 4.137 | 214 | -14.683 | 890.225 | 72.832 | 2.6952
2019-01-07 07:00:00 | 5.856 | 224.167 | 6.154 | 222.069 | 5.236 | 231.167 | 4.372 | 229.533 | -15.424 | 889.533 | 72.853 | 1.7068
2019-01-07 07:15:00 | 4.546 | 227.3 | 5.327 | 228.114 | 4.531 | 238.7 | 3.793 | 237.233 | -15.658 | 889.9 | 73.333 | 1.4538
2019-01-07 07:30:00 | 4.642 | 229.473 | 5.311 | 228.557 | 4.182 | 238.733 | 3.394 | 235.433 | -16.36 | 889.783 | 74.699 | 0.72904
2019-01-07 07:45:00 | 5.252 | 227.973 | 4.979 | 228.982 | 3.99 | 239.767 | 3.189 | 236.867 | -16 | 889.958 | 74.699 | 0.24799
2019-01-07 08:00:00 | 6.352 | 222.933 | 5.022 | 222.64 | 4.433 | 227.267 | 3.762 | 226.9 | -15.524 | 889.475 | 74.251 | 0.87187
2019-01-07 08:15:00 | 6.069 | 221.633 | 5.588 | 219.926 | 4.717 | 225.9 | 3.549 | 227.8 | -15.608 | 889.767 | 72.853 | 1.7558
2019-01-07 08:30:00 | 6.382 | 220.5 | 5.441 | 214.284 | 4.667 | 215.933 | 3.689 | 216.1 | -15.224 | 889.917 | 73.408 | 1.6585
2019-01-07 08:45:00 | 4.596 | 219.633 | 5.253 | 220.234 | 4.058 | 220.933 | 3.007 | 212.567 | -15.914 | 889.958 | 70.496 | 1.2229
2019-01-07 09:00:00 | 3.66 | 227.387 | 5.438 | 216.46 | 4.547 | 215.333 | 3.687 | 212 | -16.372 | 890.242 | 73.024 | 0.73188
2019-01-07 09:15:00 | 5.236 | 227.2 | 4.204 | 210.168 | 3.298 | 198.767 | 2.754 | 189.133 | -16.764 | 890.058 | 74.837 | 0.21601
2019-01-07 09:30:00 | 5.23 | 223.867 | 3.186 | 195.27 | 1.728 | 181.433 | 1.351 | 155.3 | -15.841 | 889.9 | 73.333 | 0.31123
2019-01-07 09:45:00 | 3.596 | 202.213 | 2.634 | 166.238 | 2.357 | 147.4 | 2.301 | 131.133 | -13.191 | 889.683 | 74.848 | 0.34107
2019-01-07 10:00:00 | 3.404 | 205.993 | 2.084 | 154.131 | 2.154 | 130.833 | 2.256 | 109.9 | -11.678 | 889.675 | 64.8 | 0.26646
2019-01-07 10:15:00 | 3.119 | 164.147 | 2.055 | 153.123 | 2.109 | 123.567 | 2.881 | 106.2 | -13.482 | 889.625 | 60.629 | 0.27286
2019-01-07 10:30:00 | 3.781 | 193.167 | 3.394 | 165.303 | 2.308 | 153.467 | 2.123 | 123.633 | -12.536 | 889.892 | 64.949 | 0.44979
2019-01-07 10:45:00 | 3.688 | 190.46 | 3.44 | 158.086 | 2.71 | 158.2 | 2.073 | 135.233 | -10.853 | 890.008 | 63.648 | 1.6109
2019-01-07 11:00:00 | 3.319 | 179.633 | 3.659 | 157.283 | 3.14 | 157.1 | 3.158 | 143.467 | -10.316 | 889.85 | 60.907 | 3.6566
2019-01-07 11:15:00 | 2.769 | 171.607 | 3.652 | 157.251 | 4.028 | 152.133 | 3.526 | 136.8 | -9.954 | 889.35 | 59.307 | 5.9453
2019-01-07 11:30:00 | 3.163 | 156.073 | 3.869 | 149.73 | 3.889 | 150.467 | 4.041 | 142.7 | -9.399 | 889.575 | 57.856 | 5.8103
2019-01-07 11:45:00 | 2.88 | 143.42 | 3.501 | 141.32 | 3.584 | 145.933 | 3.356 | 138.167 | -8.33 | 889.975 | 55.381 | 4.1533
2019-01-07 12:00:00 | 2.808 | 138.55 | 2.714 | 131.003 | 2.564 | 135.8 | 2.584 | 130.133 | -7.973 | 889.842 | 53.077 | 2.6746
2019-01-07 12:15:00 | 2.111 | 132 | 2.186 | 128.639 | 2.181 | 133.1 | 2.382 | 127.833 | -7.516 | 889.6 | 51.392 | 1.9178
2019-01-07 12:30:00 | 2.895 | 120.543 | 2.982 | 117.651 | 3.066 | 126.367 | 3.108 | 123.9 | -7.281 | 889.85 | 51.861 | 2.067
2019-01-07 12:45:00 | 2.772 | 126.047 | 2.858 | 120.454 | 2.914 | 121.767 | 3.112 | 119.367 | -7.416 | 889.617 | 51.744 | 1.8134
2019-01-07 13:00:00 | 3.399 | 111.71 | 3.354 | 104.106 | 3.478 | 110.733 | 3.554 | 104.933 | -7.15 | 889.608 | 52.171 | 2.4728
2019-01-07 13:15:00 | 3.706 | 95.057 | 3.689 | 93.52 | 3.282 | 99.6 | 3.054 | 97.467 | -7.032 | 889.858 | 54.037 | 3.0696
2019-01-07 13:30:00 | 3.174 | 97.077 | 2.839 | 95.369 | 2.842 | 98.433 | 3.112 | 97 | -7.15 | 889.708 | 55.179 | 3.1364
2019-01-07 13:45:00 | 3.548 | 106.687 | 3.273 | 99.514 | 3.262 | 101.167 | 3.334 | 99.333 | -7.376 | 890.008 | 56.971 | 3.8413
2019-01-07 14:00:00 | 3.045 | 106.657 | 2.613 | 100.586 | 2.583 | 104 | 2.771 | 98.333 | -7.032 | 890.133 | 57.707 | 2.9894
2019-01-07 14:15:00 | 3.402 | 103.66 | 3.032 | 98.362 | 3.153 | 105.767 | 3.005 | 99.767 | -7.012 | 889.942 | 60.597 | 3.0959
2019-01-07 14:30:00 | 3.796 | 83.26 | 3.864 | 75.388 | 3.889 | 80.833 | 3.924 | 76.433 | -7.399 | 889.767 | 63.264 | 4.2762
2019-01-07 14:45:00 | 3.501 | 75.145 | 3.574 | 70.808 | 3.626 | 75.7 | 3.547 | 74.3 | -7.662 | 889.742 | 66.912 | 4.9946
2019-01-07 15:00:00 | 4.11 | 87.167 | 3.983 | 82.39 | 3.721 | 86.7 | 3.713 | 83.833 | -7.522 | 890.208 | 65.461 | 6.1237
2019-01-07 15:15:00 | 4.378 | 74.978 | 4.445 | 71.03 | 4.57 | 75.133 | 4.629 | 73.333 | -7.583 | 889.767 | 67.488 | 5.8224
2019-01-07 15:30:00 | 4.035 | 70.598 | 4.094 | 64.488 | 4.132 | 70 | 4.199 | 68.3 | -7.522 | 890.108 | 67.744 | 6.9337
2019-01-07 15:45:00 | 4.504 | 75.527 | 4.363 | 71.952 | 4.49 | 77.7 | 4.587 | 73.7 | -8.07 | 889.592 | 69.504 | 7.9114
2019-01-07 16:00:00 | 4.228 | 83.547 | 3.96 | 78.762 | 3.71 | 86.967 | 3.787 | 85.533 | -7.876 | 889.858 | 69.707 | 7.3451
2019-01-07 16:15:00 | 4.528 | 81.947 | 4.518 | 76.008 | 4.17 | 84.033 | 3.808 | 85.967 | -8.127 | 889.7 | 71.008 | 7.8013
2019-01-07 16:30:00 | 4.105 | 87.617 | 3.951 | 89.034 | 3.62 | 93.433 | 3.305 | 95.433 | -8.291 | 889.95 | 70.549 | 10.5647
2019-01-07 16:45:00 | 5.231 | 83.283 | 5.283 | 78.424 | 4.918 | 85.367 | 4.443 | 83.067 | -8.09 | 890.167 | 67.552 | 12.8577
2019-01-07 17:00:00 | 3.988 | 85.667 | 3.418 | 87.96 | 3.126 | 97.533 | 3.245 | 94.167 | -8.624 | 889.975 | 68.693 | 9.7596
2019-01-07 17:15:00 | 3.604 | 82.533 | 3.276 | 82.87 | 2.819 | 90.9 | 2.829 | 94.7 | -8.758 | 889.825 | 69.76 | 7.0403
2019-01-07 17:30:00 | 3.234 | 83.96 | 2.948 | 88.744 | 2.365 | 99.133 | 2.885 | 100.733 | -9.178 | 889.95 | 72.939 | 5.2674
2019-01-07 17:45:00 | 2.753 | 87.993 | 2.784 | 91.485 | 2.414 | 102.467 | 2.791 | 98.967 | -9.828 | 890.233 | 72.843 | 4.8596
2019-01-07 18:00:00 | 2.963 | 86.033 | 2.923 | 88.627 | 2.463 | 98.667 | 2.452 | 101.3 | -10.299 | 890 | 74.741 | 4.1248
2019-01-07 18:15:00 | 2.849 | 75.83 | 3.154 | 78.293 | 2.666 | 88.5 | 2.173 | 88.033 | -10.76 | 890.008 | 77.067 | 3.3262
2019-01-07 18:30:00 | 2.874 | 79.023 | 3.2 | 76.693 | 2.719 | 86.933 | 2.17 | 84.5 | -11.243 | 889.667 | 78.453 | 1.8311
2019-01-07 18:45:00 | 0.544 | 76.48 | 3.022 | 79.435 | 2.802 | 89.9 | 2.119 | 90.967 | -11.711 | 889.7 | 73.909 | 0.53008
2019-01-07 19:00:00 | 0.253 | 63.575 | 2.331 | 69.796 | 2.953 | 80.467 | 2.432 | 81.967 | -12.636 | 889.975 | 78.507 | 0.099479
2019-01-07 19:15:00 | 0 | 59.05 | 1.214 | 63.084 | 2.994 | 73 | 2.856 | 78.067 | -13.12 | 889.442 | 81.035 | 0.28423
2019-01-07 19:30:00 | 0.124 | 71.99 | 0.916 | 76.231 | 2.19 | 88.433 | 1.73 | 90.5 | -13.222 | 889.796 | 83.008 | 0.21388
2019-01-07 19:45:00 | 1.081 | 189.893 | 0 | 94.179 | 0.837 | 108.067 | 1.595 | 94.233 | -13.303 | 890.15 | 83.179 | 0.51516
2019-01-07 20:00:00 | 1.063 | 137.02 | 1.656 | 90.232 | 1.664 | 96.3 | 1.881 | 83.267 | -13.316 | 890.233 | 81.931 | 0.88892
2019-01-07 20:15:00 | 0 | 142.72 | 1.244 | 90.272 | 2.103 | 89.167 | 1.619 | 84.333 | -13.691 | 889.983 | 81.813 | 1.1142
2019-01-07 20:30:00 | 0.036 | 142.6 | 0.466 | 97.277 | 1.906 | 90.033 | 2.191 | 84.967 | -13.578 | 890.221 | 83.115 | 1.3948
2019-01-07 20:45:00 | 0 | 147.8 | 0.26 | 80.537 | 2.018 | 82.867 | 3.667 | 72.9 | -14.166 | 889.621 | 84.608 | 3.3624
2019-01-07 21:00:00 | 0.133 | 166.667 | 1.043 | 88.623 | 2.792 | 88.533 | 2.937 | 88.5 | -14.216 | 890.212 | 85.184 | 5.3392
2019-01-07 21:15:00 | 0.526 | 152.833 | 2.203 | 92.134 | 2.565 | 94.5 | 2.644 | 93.433 | -14.116 | 890.025 | 85.504 | 5.4557
2019-01-07 21:30:00 | 1.433 | 195.193 | 0.777 | 140.815 | 1.34 | 110.133 | 2.286 | 88 | -14.641 | 889.542 | 84.437 | 3.0775
2019-01-07 21:45:00 | 1.227 | 178 | 1.459 | 117.666 | 2.342 | 113.9 | 2.845 | 101.067 | -14.099 | 890.158 | 84.821 | 1.5853
2019-01-07 22:00:00 | 0.792 | 185.6 | 0.643 | 118.885 | 1.39 | 105.7 | 1.787 | 90.267 | -14.133 | 889.762 | 84.181 | 1.2065
2019-01-07 22:15:00 | 0 | 180.9 | 0.253 | 81.098 | 1.862 | 85.733 | 2.242 | 82.7 | -14.033 | 889.562 | 84.416 | 0.53008
2019-01-07 22:30:00 | 0 | 178.733 | 0.193 | 79.456 | 1.27 | 94.567 | 1.65 | 100.1 | -14.049 | 890.208 | 84.416 | 0.13359
2019-01-07 22:45:00 | 0 | 178.64 | 0.034 | 90.238 | 0.888 | 106.967 | 1.636 | 100.933 | -14.516 | 889.862 | 85.12 | 0.21459
2019-01-07 23:00:00 | 0 | 176.787 | 1.411 | 117.713 | 2.303 | 114 | 2.801 | 101.3 | -14.254 | 889.954 | 85.696 | 0.13288
2019-01-07 23:15:00 | 0 | 176.48 | 0 | 90.486 | 1.806 | 83.633 | 2.29 | 87.033 | -14.833 | 889.888 | 85.035 | 0.071057
2019-01-07 23:30:00 | 0.309 | 218.967 | 0.043 | 86.24 | 1.109 | 69.8 | 2.112 | 85.7 | -15.291 | 889.679 | 84.693 | 0.15419
2019-01-07 23:45:00 | 0.971 | 238.3 | 0 | 51.14 | 0.027 | 64.833 | 1.865 | 74.1 | -15.691 | 889.646 | 83.627 | 0.18404