## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-08 00:00:00 | 1.284 | 238.133 | 0 | 41.124 | 0.403 | 79.5 | 2.613 | 72.067 | -15.808 | 889.954 | 84.032 | 1.3742
2019-01-08 00:15:00 | 0.592 | 240 | 0 | 43.502 | 1.622 | 93.633 | 2.251 | 86.167 | -15.591 | 889.75 | 84.437 | 2.2944
2019-01-08 00:30:00 | 1.873 | 216.76 | 0.027 | 96.908 | 0.87 | 113.633 | 1.733 | 91.7 | -16.168 | 889.867 | 82.923 | 2.1111
2019-01-08 00:45:00 | 1.769 | 221.447 | 0 | 142.326 | 1.024 | 124.3 | 2.127 | 94 | -17.414 | 890 | 79.029 | 1.1568
2019-01-08 01:00:00 | 0.166 | 167.253 | 1.854 | 85.57 | 2.077 | 90.5 | 2.064 | 91.1 | -16.255 | 888.975 | 84.8 | 1.3096
2019-01-08 01:15:00 | 0.223 | 214.04 | 0.46 | 86.386 | 1.907 | 93.633 | 2.197 | 92.1 | -16.467 | 889.908 | 84.309 | 1.208
2019-01-08 01:30:00 | 0.263 | 214 | 0.514 | 86.455 | 2.197 | 92.3 | 2.48 | 94.1 | -16.681 | 889.579 | 84.139 | 1.7736
2019-01-08 01:45:00 | 1.563 | 213.967 | 0.09 | 114.914 | 2.012 | 110.967 | 2.656 | 100.3 | -16.931 | 889.875 | 84.651 | 3.054
2019-01-08 02:00:00 | 1.621 | 206 | 0.146 | 151.058 | 1.244 | 121.333 | 2.049 | 97.5 | -16.648 | 890.271 | 85.077 | 2.2319
2019-01-08 02:15:00 | 0.319 | 219.353 | 0 | 127.23 | 0.925 | 113.4 | 1.796 | 88.533 | -17.148 | 890.121 | 83.968 | 1.8901
2019-01-08 02:30:00 | 1.2 | 211.56 | 0 | 148.643 | 1.24 | 121.167 | 3.452 | 108.433 | -16.382 | 889.854 | 86.357 | 1.3956
2019-01-08 02:45:00 | 2.957 | 213.22 | 1.234 | 186.184 | 1.297 | 155.133 | 2.566 | 121.667 | -16.446 | 889.433 | 86.144 | 0.74752
2019-01-08 03:00:00 | 2.482 | 223.533 | 0.207 | 188.436 | 0.436 | 159.8 | 2.156 | 111.233 | -15.774 | 889.767 | 85.781 | 0.061819
2019-01-08 03:15:00 | 0.376 | 238.233 | 0 | 186.94 | 0.326 | 100.667 | 1.73 | 81.467 | -15.641 | 889.808 | 84.843 | 0.11085
2019-01-08 03:30:00 | 0 | 238.367 | 0 | 173.463 | 0.043 | 80 | 2.01 | 78.1 | -15.741 | 890.375 | 84.907 | 0.1073
2019-01-08 03:45:00 | 0.167 | 299.667 | 0.743 | 37.037 | 2.033 | 63.175 | 3.044 | 67.867 | -15.391 | 889.683 | 85.632 | 0.46116
2019-01-08 04:00:00 | 0.456 | 312.8 | 0.1 | 42.841 | 1.624 | 63.575 | 2.402 | 72.767 | -15.391 | 890.121 | 85.44 | 0.96992
2019-01-08 04:15:00 | 1.771 | 281.973 | 0.17 | 17.262 | 0.337 | 68.25 | 1.845 | 72.167 | -16.002 | 889.8 | 83.968 | 0.16343
2019-01-08 04:30:00 | 2.364 | 249.9 | 0.31 | 302.468 | 0.896 | 49.125 | 1.424 | 80.5 | -17.098 | 890.558 | 82.389 | 0.3496
2019-01-08 04:45:00 | 2.219 | 254.933 | 0 | 348.963 | 0.134 | 78.85 | 1.69 | 105.933 | -17.031 | 890.108 | 84.096 | 0.34534
2019-01-08 05:00:00 | 2.007 | 257.133 | 0 | 348.745 | 0.127 | 99.658 | 2.462 | 105.867 | -16.864 | 890 | 84.416 | 0.20251
2019-01-08 05:15:00 | 2.217 | 251.693 | 0 | 302.981 | 0 | 96.167 | 0.437 | 80.4 | -17.131 | 889.375 | 84.352 | 0.10943
2019-01-08 05:30:00 | 1.84 | 271.56 | 0.03 | 304.604 | 0.697 | 61.958 | 2.258 | 75.433 | -16.593 | 889.288 | 84.885 | 0.092374
2019-01-08 05:45:00 | 1.419 | 303.813 | 0.63 | 228.392 | 1.455 | 47.402 | 2.689 | 66.2 | -15.9 | 890.133 | 85.493 | 0.42918
2019-01-08 06:00:00 | 1.284 | 287.293 | 0 | 4.981 | 1.581 | 70.396 | 3.132 | 75 | -17.081 | 889.908 | 82.645 | 1.0055
2019-01-08 06:15:00 | 0.907 | 233.54 | 0 | 18.069 | 0.943 | 94.633 | 2.133 | 85.833 | -18.185 | 889.75 | 81.92 | 0.30412
2019-01-08 06:30:00 | 2.825 | 213.247 | 1.149 | 187.458 | 1.57 | 171.8 | 2.171 | 137.467 | -17.481 | 889.512 | 85.013 | 0.15561
2019-01-08 06:45:00 | 3.483 | 217.1 | 1.915 | 203.922 | 1.771 | 188.9 | 2.005 | 152.9 | -17.198 | 889.925 | 85.163 | 0.11085
2019-01-08 07:00:00 | 3.232 | 234.967 | 1.587 | 210.61 | 1.121 | 201.733 | 1.182 | 158.333 | -17.731 | 889.738 | 81.717 | 0.27286
2019-01-08 07:15:00 | 3.729 | 230.34 | 0.91 | 200.779 | 1.317 | 152.667 | 2.392 | 119.5 | -18.202 | 889.804 | 82.165 | 0.24586
2019-01-08 07:30:00 | 3.279 | 221.107 | 1.293 | 193.722 | 1.197 | 168.1 | 1.68 | 134.3 | -18.731 | 889.571 | 80.939 | 0.16698
2019-01-08 07:45:00 | 2.503 | 191.007 | 1.82 | 147.264 | 2.168 | 135.833 | 2.863 | 120.233 | -17.448 | 889.825 | 84.373 | 0.59261
2019-01-08 08:00:00 | 2.438 | 158.647 | 2.78 | 121.789 | 3.166 | 118 | 3.451 | 110 | -16.643 | 889.925 | 83.243 | 2.7499
2019-01-08 08:15:00 | 1.3 | 142.847 | 2.321 | 110.368 | 2.35 | 108.233 | 2.656 | 100.133 | -16.543 | 889.9 | 83.584 | 1.8667
2019-01-08 08:30:00 | 1.882 | 162.4 | 2.866 | 117.764 | 2.989 | 111.8 | 3.337 | 104.767 | -16.914 | 889.721 | 82.923 | 1.7146
2019-01-08 08:45:00 | 1.806 | 180.8 | 2.164 | 123.386 | 2.758 | 118.133 | 3.057 | 105.9 | -16.731 | 889.946 | 83.435 | 2.1978
2019-01-08 09:00:00 | 1.758 | 198.8 | 1.657 | 148.699 | 2.648 | 118.133 | 3.403 | 102.9 | -16.548 | 889.783 | 84.203 | 1.9398
2019-01-08 09:15:00 | 2.45 | 219.86 | 0.47 | 164.408 | 1.367 | 131.967 | 2.525 | 112.8 | -16.522 | 889.942 | 83.051 | 0.24728
2019-01-08 09:30:00 | 2.902 | 222.967 | 0.073 | 168.664 | 0.153 | 145.833 | 1.132 | 101.133 | -16.531 | 889.846 | 82.176 | 0.35955
2019-01-08 09:45:00 | 2.6 | 229.833 | 0 | 212.392 | 0 | 148 | 1.313 | 100 | -15.391 | 889.571 | 81.557 | 0.35528
2019-01-08 10:00:00 | 1.964 | 229.073 | 0 | 212.477 | 0.31 | 114.367 | 1.552 | 92.4 | -14.828 | 890.017 | 79.413 | 0.21814
2019-01-08 10:15:00 | 0 | 227.74 | 1.544 | 57.349 | 2.86 | 65.633 | 3.721 | 72.467 | -13.776 | 889.9 | 77.696 | 1.5185
2019-01-08 10:30:00 | 0 | 103.4 | 2.343 | 81.888 | 2.551 | 93.8 | 2.57 | 93.8 | -13.849 | 889.683 | 76.565 | 2.9233
2019-01-08 10:45:00 | 0.18 | 121.203 | 3.077 | 98.744 | 3.665 | 103.1 | 4.54 | 100.867 | -13.635 | 889.85 | 73.493 | 6.3965
2019-01-08 11:00:00 | 1.733 | 120.083 | 3.144 | 106.675 | 3.949 | 111.8 | 4.742 | 105.733 | -13.409 | 889.958 | 72.875 | 9.0036
2019-01-08 11:15:00 | 0.21 | 128.71 | 1.811 | 101.599 | 2.716 | 107.1 | 3.488 | 103.6 | -13.036 | 890.133 | 72.608 | 8.6682
2019-01-08 11:30:00 | 2.861 | 102.937 | 2.94 | 98.492 | 3.282 | 102.5 | 4.071 | 98.6 | -12.203 | 890.033 | 71.552 | 8.4039
2019-01-08 11:45:00 | 5.365 | 108.623 | 5.606 | 100.398 | 5.502 | 100.567 | 5.71 | 97.033 | -12.036 | 890.267 | 70.251 | 11.718
2019-01-08 12:00:00 | 6.17 | 91.933 | 5.683 | 87.896 | 5.552 | 93.633 | 5.512 | 91.067 | -11.411 | 889.925 | 70.048 | 21.938
2019-01-08 12:15:00 | 4.832 | 81.373 | 4.799 | 75.424 | 4.885 | 82 | 4.938 | 79.567 | -11.732 | 889.75 | 70.283 | 15.4456
2019-01-08 12:30:00 | 3.63 | 77.568 | 3.707 | 70.449 | 3.747 | 79.7 | 4.183 | 76.267 | -11.661 | 890.133 | 69.685 | 7.7864
2019-01-08 12:45:00 | 3.092 | 93.2 | 3.058 | 91.879 | 2.86 | 98.5 | 3.104 | 96.767 | -11.378 | 889.992 | 67.669 | 7.1995
2019-01-08 13:00:00 | 3.494 | 103.127 | 3.452 | 101.291 | 3.225 | 102.867 | 3.38 | 99.9 | -11.003 | 890.025 | 66.293 | 10.2833
2019-01-08 13:15:00 | 3.59 | 84.133 | 3.468 | 86.382 | 3.287 | 92.767 | 3.539 | 88.1 | -10.149 | 890.117 | 65.269 | 15.0633
2019-01-08 13:30:00 | 4.712 | 74.627 | 5.027 | 70.606 | 5.134 | 78.6 | 5.122 | 73.8 | -9.933 | 890.283 | 65.131 | 13.1341
2019-01-08 13:45:00 | 4.253 | 76.873 | 4.215 | 72.39 | 4.366 | 80.067 | 4.308 | 76.6 | -10.778 | 889.408 | 68.384 | 9.2814
2019-01-08 14:00:00 | 3.543 | 76.293 | 3.658 | 69.119 | 3.702 | 73.567 | 3.573 | 73.633 | -11.136 | 889.95 | 69.92 | 5.3022
2019-01-08 14:15:00 | 3.859 | 78.178 | 3.814 | 72.327 | 3.96 | 79 | 3.87 | 76.2 | -10.984 | 889.558 | 71.659 | 6.6232
2019-01-08 14:30:00 | 4.052 | 93.46 | 3.77 | 88.184 | 3.905 | 94.5 | 4.347 | 92.367 | -10.562 | 889.875 | 69.888 | 10.0503
2019-01-08 14:45:00 | 4.408 | 94.6 | 4.289 | 90.756 | 4.153 | 91.833 | 4.394 | 86.633 | -10.433 | 889.4 | 68.384 | 19.4717
2019-01-08 15:00:00 | 6.136 | 110.62 | 6.402 | 104.834 | 6.402 | 108.133 | 6.304 | 104.967 | -9.766 | 889.883 | 64.725 | 21.5778
2019-01-08 15:15:00 | 5.482 | 94.727 | 4.973 | 90.338 | 4.624 | 93.167 | 4.811 | 89.867 | -9.724 | 889.675 | 64.512 | 19.7651
2019-01-08 15:30:00 | 6.212 | 105.307 | 6.076 | 100.444 | 5.883 | 105.3 | 6.212 | 102.7 | -9.649 | 890.25 | 62.72 | 28.5996
2019-01-08 15:45:00 | 6.627 | 113.16 | 6.782 | 109.246 | 6.846 | 113.4 | 6.723 | 110.733 | -9.42 | 890.092 | 62.496 | 35.0942
2019-01-08 16:00:00 | 7.794 | 113.067 | 7.755 | 104.312 | 7.579 | 112.9 | 7.662 | 106.367 | -9.241 | 889.875 | 60.864 | 33.754
2019-01-08 16:15:00 | 6.998 | 110 | 6.968 | 103.703 | 6.831 | 112.467 | 6.729 | 104.7 | -9.191 | 889.775 | 61.451 | 32.3834
2019-01-08 16:30:00 | 5.604 | 81.86 | 5.368 | 79.936 | 5.302 | 86.233 | 5.017 | 81.967 | -9.758 | 889.758 | 68.117 | 19.9342
2019-01-08 16:45:00 | 3.514 | 84.767 | 3.337 | 82.232 | 3.06 | 92.267 | 3.162 | 92.833 | -10.266 | 889.908 | 70.272 | 8.239
2019-01-08 17:00:00 | 3.431 | 96.727 | 3.336 | 100.263 | 3.649 | 109.967 | 4.494 | 106.7 | -10.612 | 890.5 | 70.336 | 6.896
2019-01-08 17:15:00 | 4.277 | 78.687 | 4.245 | 76.111 | 3.93 | 87.867 | 3.455 | 90.333 | -10.758 | 889.858 | 71.925 | 6.1656
2019-01-08 17:30:00 | 3.801 | 82.947 | 3.374 | 81.322 | 2.886 | 89.867 | 2.549 | 90.167 | -11.849 | 889.958 | 74.72 | 5.8664
2019-01-08 17:45:00 | 3.116 | 92.333 | 2.541 | 89.279 | 2.013 | 97.133 | 2.391 | 97.733 | -12.786 | 890.108 | 77.003 | 3.9031
2019-01-08 18:00:00 | 1.6 | 88.663 | 1.131 | 89.866 | 1.129 | 89.733 | 1.223 | 88.267 | -13.243 | 889.917 | 79.381 | 3.0313
2019-01-08 18:15:00 | 1.317 | 90.05 | 0.957 | 86.331 | 1.853 | 107.867 | 2.946 | 109.933 | -13.706 | 890.175 | 80.928 | 3.0881
2019-01-08 18:30:00 | 2.054 | 80.833 | 1.733 | 86.809 | 1.577 | 105.6 | 2.744 | 107.1 | -14.183 | 889.888 | 82.944 | 1.7139
2019-01-08 18:45:00 | 1.629 | 71.247 | 2.004 | 72.248 | 1.477 | 90 | 2.732 | 103.233 | -14.745 | 889.75 | 83.648 | 0.44979
2019-01-08 19:00:00 | 0 | 164.4 | 0.04 | 78.76 | 1.504 | 93.133 | 2.304 | 101.133 | -15.741 | 890.633 | 81.963 | 0.59688
2019-01-08 19:15:00 | 0 | 164.4 | 0 | 82.228 | 0.077 | 75 | 1.337 | 93.733 | -15.741 | 889.642 | 83.925 | 0.33681
2019-01-08 19:30:00 | 0.213 | 196.4 | 0 | 82.24 | 0 | 74.9 | 1.522 | 94.133 | -15.724 | 889.688 | 85.312 | 0.33397
2019-01-08 19:45:00 | 0 | 196.4 | 0 | 82.284 | 1.46 | 78.8 | 2.478 | 86.9 | -15.691 | 890.204 | 86.187 | 0.23449
2019-01-08 20:00:00 | 0 | 196.4 | 0 | 82.254 | 0.722 | 97.433 | 1.599 | 103.5 | -15.474 | 889.629 | 86.059 | 0.80152
2019-01-08 20:15:00 | 1.475 | 235.873 | 0.223 | 169.37 | 0.676 | 141.267 | 2.2 | 110.133 | -15.934 | 889.721 | 86.357 | 0.6928
2019-01-08 20:30:00 | 1.563 | 228.167 | 0.03 | 137.509 | 0.724 | 117.667 | 2.099 | 98.467 | -15.158 | 889.892 | 87.68 | 0.19683
2019-01-08 20:45:00 | 0.685 | 234.733 | 0 | 137.187 | 0.755 | 98.167 | 2.492 | 85.767 | -15.291 | 890.05 | 87.637 | 0.56206
2019-01-08 21:00:00 | 0.995 | 227.267 | 0.213 | 113.124 | 1.633 | 101.5 | 2.64 | 88.6 | -15.308 | 890.071 | 86.165 | 3.0355
2019-01-08 21:15:00 | 0.1 | 134.407 | 1.751 | 97.432 | 1.948 | 97.333 | 2.294 | 90.433 | -15.558 | 890.058 | 84.715 | 4.3742
2019-01-08 21:30:00 | 0.883 | 141.5 | 2.26 | 105.948 | 2.269 | 99.167 | 2.762 | 87.067 | -15.124 | 889.871 | 83.904 | 5.0798
2019-01-08 21:45:00 | 1.31 | 138.373 | 2.623 | 105.552 | 2.646 | 100.167 | 3.042 | 89.933 | -15.27 | 889.725 | 81.557 | 5.9204
2019-01-08 22:00:00 | 2.733 | 129.367 | 3.607 | 110.9 | 3.755 | 107.867 | 3.286 | 97.6 | -14.516 | 890.267 | 80.949 | 6.7937
2019-01-08 22:15:00 | 2.416 | 160.987 | 3.397 | 124.912 | 3.396 | 114.967 | 3.388 | 103.433 | -14.187 | 890.142 | 78.069 | 5.5318
2019-01-08 22:30:00 | 2.661 | 164.067 | 3.596 | 125.841 | 3.768 | 123.6 | 4.052 | 114.7 | -14.266 | 889.875 | 77.429 | 5.7535
2019-01-08 22:45:00 | 2.798 | 149.567 | 3.578 | 121.758 | 3.947 | 116.967 | 4.352 | 107.4 | -14.37 | 890.317 | 77.408 | 5.1843
2019-01-08 23:00:00 | 2.393 | 163.833 | 3.359 | 123.315 | 3.741 | 118.667 | 4.246 | 112.467 | -14.149 | 889.558 | 75.307 | 5.7186
2019-01-08 23:15:00 | 2.87 | 184.967 | 2.746 | 146.349 | 3.013 | 137.8 | 3.42 | 124.567 | -14.787 | 889.825 | 75.339 | 3.582
2019-01-08 23:30:00 | 2.667 | 190.267 | 2.422 | 142.864 | 2.51 | 130.833 | 3.1 | 120.1 | -15.108 | 889.65 | 75.808 | 1.8276
2019-01-08 23:45:00 | 2.749 | 192.12 | 2.2 | 153.256 | 2.452 | 133.067 | 3.32 | 115.8 | -14.824 | 889.758 | 78.027 | 0.8676