## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-09 00:00:00 | 3.302 | 206.067 | 2.111 | 169.279 | 1.995 | 151.667 | 2.308 | 120.1 | -15.058 | 890.292 | 76.437 | 0.17551
2019-01-09 00:15:00 | 3.115 | 219.007 | 1.613 | 192.868 | 1.563 | 168.267 | 1.742 | 139.967 | -14.62 | 889.958 | 77.941 | 0.32046
2019-01-09 00:30:00 | 3.604 | 225.9 | 1.661 | 206.323 | 0.848 | 176.767 | 0.853 | 129.433 | -14.974 | 890 | 76.235 | 0.36381
2019-01-09 00:45:00 | 2.876 | 225.68 | 0.99 | 202.815 | 0.397 | 170.5 | 1.26 | 133.267 | -14.454 | 890.683 | 78.389 | 0.33539
2019-01-09 01:00:00 | 2.967 | 230.8 | 0 | 200.434 | 0 | 149.1 | 0.43 | 120.033 | -14.854 | 889.683 | 76.341 | 0.32686
2019-01-09 01:15:00 | 3.148 | 235.96 | 0 | 200.483 | 0 | 102 | 0.255 | 94 | -15.185 | 889.633 | 76.491 | 0.33112
2019-01-09 01:30:00 | 2.912 | 234.8 | 0 | 200.443 | 0 | 102 | 1.294 | 88.733 | -15.608 | 889.708 | 76.832 | 0.33539
2019-01-09 01:45:00 | 2.751 | 241.533 | 0 | 200.662 | 0 | 102.1 | 0.212 | 83 | -15.558 | 890.017 | 77.856 | 0.32686
2019-01-09 02:00:00 | 2.848 | 239.167 | 0 | 243.476 | 0 | 102 | 0.862 | 82 | -15.424 | 889.767 | 77.653 | 0.33397
2019-01-09 02:15:00 | 2.664 | 236.567 | 0 | 227.474 | 0 | 51.033 | 0.8 | 82.667 | -15.774 | 889.992 | 77.856 | 0.33823
2019-01-09 02:30:00 | 2.97 | 243.12 | 0 | 234.458 | 0 | 19.9 | 0.326 | 63 | -16.019 | 890.167 | 77.579 | 0.34391
2019-01-09 02:45:00 | 3.683 | 245.333 | 1.344 | 269.426 | 0 | 17.033 | 0.07 | 63 | -16.898 | 889.925 | 76.875 | 0.34818
2019-01-09 03:00:00 | 4.528 | 245.667 | 1.634 | 280.07 | 0.203 | 324.533 | 0 | 63.108 | -17.831 | 889.892 | 76.203 | 0.34107
2019-01-09 03:15:00 | 4.276 | 240.767 | 1.633 | 280.483 | 0 | 320 | 0 | 63.125 | -17.748 | 889.567 | 78.645 | 0.34107
2019-01-09 03:30:00 | 5.006 | 233.087 | 2.066 | 265.013 | 0 | 320 | 0 | 63.125 | -17.889 | 889.517 | 77.061 | 0.33397
2019-01-09 03:45:00 | 5.047 | 235.227 | 2.211 | 259.885 | 0.952 | 286.4 | 0.034 | 198.35 | -18.468 | 889.625 | 77.088 | 0.33539
2019-01-09 04:00:00 | 5.301 | 235.4 | 2.793 | 269.226 | 1.868 | 285.4 | 0.954 | 339 | -19.289 | 889.967 | 75.531 | 0.33112
2019-01-09 04:15:00 | 4.58 | 237.2 | 2.523 | 282.07 | 2.005 | 312.933 | 1.613 | 338.2 | -18.873 | 889.667 | 78.683 | 0.33539
2019-01-09 04:30:00 | 5.091 | 234.5 | 2.854 | 271.632 | 2.031 | 316.2 | 1.66 | 334.067 | -18.739 | 890.017 | 79.381 | 0.33823
2019-01-09 04:45:00 | 5.908 | 229.7 | 3.446 | 252.965 | 2.01 | 294 | 1.225 | 334.933 | -19.389 | 889.875 | 76.16 | 0.33254
2019-01-09 05:00:00 | 5.567 | 231.033 | 3.23 | 244.534 | 1.953 | 263.2 | 0.141 | 334.033 | -19.339 | 889.975 | 78.496 | 0.34818
2019-01-09 05:15:00 | 5.754 | 231.867 | 3.506 | 244.531 | 2.535 | 259.467 | 1.754 | 276.667 | -19.71 | 889.725 | 76.491 | 0.36665
2019-01-09 05:30:00 | 5.22 | 234.367 | 3.678 | 247.621 | 2.666 | 263 | 1.958 | 276.067 | -19.473 | 889.475 | 77.419 | 0.32118
2019-01-09 05:45:00 | 5.583 | 234.833 | 4.018 | 250.496 | 3.477 | 260.8 | 2.737 | 269.067 | -19.623 | 889.842 | 76.171 | 0.22738
2019-01-09 06:00:00 | 5.172 | 236.9 | 4.116 | 252.517 | 3.232 | 258 | 2.666 | 264.167 | -19.656 | 889.492 | 77.301 | 0.42776
2019-01-09 06:15:00 | 5.336 | 235.4 | 4.337 | 255.242 | 3.658 | 265.267 | 3.255 | 264.5 | -19.306 | 890.1 | 78.112 | 1.1142
2019-01-09 06:30:00 | 4.798 | 225.793 | 4.325 | 253.295 | 3.707 | 262.6 | 3.18 | 264.2 | -19.885 | 889.917 | 77.557 | 1.8262
2019-01-09 06:45:00 | 4.799 | 233.067 | 3.792 | 254.764 | 3.268 | 267.667 | 2.818 | 265.467 | -19.539 | 890 | 79.067 | 0.31691
2019-01-09 07:00:00 | 4.554 | 233.8 | 3.673 | 259.145 | 3.157 | 269.8 | 2.642 | 266.933 | -19.356 | 890.117 | 77.648 | 0.34178
2019-01-09 07:15:00 | 5.352 | 230.347 | 4.133 | 256.222 | 3.674 | 265.8 | 3.085 | 266.167 | -19.877 | 889.85 | 76.443 | 0.54216
2019-01-09 07:30:00 | 5.628 | 230.333 | 4.353 | 251.464 | 4.054 | 259.067 | 3.569 | 263.2 | -19.656 | 890.175 | 76.843 | 1.0644
2019-01-09 07:45:00 | 5.741 | 232.467 | 4.761 | 249.067 | 4.374 | 255.733 | 3.976 | 255.283 | -19.589 | 890.008 | 75.445 | 2.1722
2019-01-09 08:00:00 | 5.712 | 229.267 | 4.698 | 246.384 | 4.144 | 255.467 | 3.462 | 251.367 | -19.656 | 889.958 | 76.448 | 2.2873
2019-01-09 08:15:00 | 6.075 | 224.8 | 4.204 | 238.31 | 3.784 | 247.967 | 3.133 | 248.7 | -19.656 | 889.508 | 76.747 | 1.8418
2019-01-09 08:30:00 | 5.831 | 223.167 | 4.345 | 233.439 | 3.982 | 241.467 | 3.498 | 240.167 | -19.473 | 890.117 | 75.669 | 1.6727
2019-01-09 08:45:00 | 5.756 | 222.033 | 4.05 | 234.713 | 3.759 | 241.067 | 3.255 | 234 | -19.539 | 890 | 76.011 | 0.91379
2019-01-09 09:00:00 | 5.249 | 227.853 | 3.686 | 241.464 | 3.334 | 250.167 | 3.048 | 247 | -19.698 | 890.125 | 75.339 | 0.14211
2019-01-09 09:15:00 | 5.136 | 227.133 | 4.018 | 251.675 | 3.675 | 260.133 | 3.346 | 252.483 | -20.431 | 889.925 | 74.805 | 0.10872
2019-01-09 09:30:00 | 5.405 | 232.96 | 3.704 | 253.488 | 3.262 | 260.733 | 3.045 | 257.417 | -20.198 | 889.9 | 75.403 | 0.051871
2019-01-09 09:45:00 | 5.036 | 232.867 | 2.911 | 254.432 | 2.252 | 262.467 | 1.892 | 264.033 | -19.589 | 889.908 | 73.547 | 0.34605
2019-01-09 10:00:00 | 5.254 | 228.967 | 2.952 | 254.457 | 2.218 | 264 | 1.586 | 264 | -18.706 | 889.717 | 72.021 | 0.33823
2019-01-09 10:15:00 | 4.463 | 225.967 | 2.779 | 249.415 | 1.91 | 264 | 1.385 | 260.2 | -17.731 | 889.292 | 71.339 | 0.34249
2019-01-09 10:30:00 | 4.391 | 228.58 | 2.926 | 248.405 | 1.965 | 251.033 | 1.673 | 241.167 | -16.743 | 889.683 | 72.011 | 0.33397
2019-01-09 10:45:00 | 3.55 | 227.7 | 3.106 | 252.27 | 2.568 | 264 | 1.921 | 244.967 | -14.924 | 889.983 | 71.008 | 0.33397
2019-01-09 11:00:00 | 2.208 | 227.56 | 3.134 | 238.03 | 2.859 | 255.167 | 2.071 | 250.233 | -13.259 | 889.858 | 69.291 | 0.33681
2019-01-09 11:15:00 | 1.597 | 250.187 | 1.89 | 253.473 | 2.302 | 273.8 | 2.392 | 268.033 | -11.016 | 889.8 | 66.923 | 0.3091
2019-01-09 11:30:00 | 1.77 | 264.067 | 1.791 | 262.849 | 1.891 | 276.433 | 1.32 | 268.4 | -10.154 | 889.683 | 62.24 | 0.31691
2019-01-09 11:45:00 | 2.082 | 276.187 | 2.165 | 275.426 | 2.058 | 278.467 | 1.86 | 268.6 | -10.422 | 889.975 | 59.163 | 0.32828
2019-01-09 12:00:00 | 0.363 | 305.48 | 0.422 | 303.657 | 0.433 | 308.767 | 0.078 | 268.533 | -10.554 | 890 | 57.899 | 0.32828
2019-01-09 12:15:00 | 0.027 | 306.64 | 0 | 322.981 | 0 | 316.967 | 0.044 | 268.133 | -9.233 | 889.6 | 54.208 | 0.29346
2019-01-09 12:30:00 | 0 | 347.107 | 0 | 311.023 | 0 | 299.4 | 0.03 | 268.3 | -6.969 | 890.208 | 47.595 | 0.32686
2019-01-09 12:45:00 | 0 | 154.587 | 0 | 148.315 | 0 | 114 | 0.155 | 162.1 | -7.399 | 890 | 42.891 | 0.33254
2019-01-09 13:00:00 | 0 | 66.237 | 0 | 115.331 | 0.053 | 161.267 | 0.044 | 163.233 | -5.984 | 889.6 | 39.872 | 0.33112
2019-01-09 13:15:00 | 0.765 | 61.731 | 0.87 | 137.366 | 0.954 | 157.767 | 1.045 | 205.271 | -7.572 | 889.8 | 40.184 | 0.32544
2019-01-09 13:30:00 | 1.34 | 123.476 | 0.976 | 70.56 | 0.979 | 63.433 | 1.098 | 26.473 | -8.434 | 889.9 | 43.936 | 0.33112
2019-01-09 13:45:00 | 1.173 | 38.278 | 1.023 | 43.674 | 1.326 | 56.9 | 1.481 | 59.033 | -7.94 | 889.883 | 44.672 | 0.33823
2019-01-09 14:00:00 | 1.779 | 118.16 | 1.825 | 112.502 | 2.011 | 119.367 | 1.943 | 107.4 | -7.88 | 890.15 | 43.819 | 0.33965
2019-01-09 14:15:00 | 0.762 | 77.779 | 0.41 | 53.12 | 0.544 | 96.267 | 0.346 | 67.933 | -7.406 | 889.983 | 44.875 | 0.35386
2019-01-09 14:30:00 | 2.224 | 30.74 | 2.041 | 38.745 | 2.143 | 31.904 | 2.098 | 20.568 | -8.708 | 889.925 | 50.149 | 0.3297
2019-01-09 14:45:00 | 1.79 | 50.981 | 1.452 | 33.017 | 1.323 | 26.8 | 1.424 | 31.633 | -8.758 | 889.8 | 51.893 | 0.33965
2019-01-09 15:00:00 | 1.98 | 69.387 | 2.033 | 66.801 | 2.222 | 25.334 | 2.153 | 22.1 | -8.774 | 889.95 | 52.933 | 0.33965
2019-01-09 15:15:00 | 2.226 | 19.548 | 2.129 | 18.88 | 2.167 | 33.833 | 2.085 | 34 | -8.608 | 889.825 | 54.165 | 0.33254
2019-01-09 15:30:00 | 2.42 | 27.994 | 2.424 | 25.673 | 2.599 | 33.267 | 2.673 | 25.667 | -8.674 | 889.883 | 55.392 | 0.35528
2019-01-09 15:45:00 | 1.888 | 103.235 | 1.683 | 145.424 | 1.657 | 66.234 | 1.241 | 244.9 | -8.674 | 890.033 | 56.037 | 0.34107
2019-01-09 16:00:00 | 1.724 | 96.792 | 1.603 | 111.031 | 1.811 | 52.102 | 1.676 | 52.667 | -8.891 | 890.017 | 56.491 | 0.33539
2019-01-09 16:15:00 | 2.348 | 174.678 | 2.059 | 217.626 | 2.138 | 246.8 | 2.053 | 291.8 | -8.991 | 889.717 | 56.752 | 0.30981
2019-01-09 16:30:00 | 1.211 | 20.779 | 1.216 | 191.028 | 1.63 | 192.367 | 1.556 | 130.333 | -9.291 | 889.733 | 57.835 | 0.3027
2019-01-09 16:45:00 | 0.522 | 275.733 | 0 | 262.255 | 0 | 280.133 | 0 | 316.9 | -8.841 | 889.833 | 57.243 | 0.30696
2019-01-09 17:00:00 | 0.856 | 188.44 | 0.55 | 190.98 | 0.939 | 209.9 | 1.081 | 182.033 | -8.371 | 890.017 | 55.797 | 0.31265
2019-01-09 17:15:00 | 2.055 | 158.573 | 2.065 | 156.426 | 2.263 | 163.933 | 2.451 | 157.733 | -8.688 | 889.942 | 56.715 | 0.35386
2019-01-09 17:30:00 | 2.077 | 127.63 | 1.885 | 129.361 | 2.209 | 140.433 | 2.478 | 144.467 | -8.621 | 889.567 | 60.341 | 0.21388
2019-01-09 17:45:00 | 2.529 | 27.465 | 2.216 | 158.803 | 1.904 | 113.367 | 1.789 | 101.633 | -8.841 | 889.817 | 60.997 | 0.66012
2019-01-09 18:00:00 | 2.056 | 106.148 | 2.085 | 349.542 | 2.175 | 199.733 | 1.947 | 215.367 | -9.558 | 889.833 | 63.76 | 0.35813
2019-01-09 18:15:00 | 2.394 | 283.6 | 2.478 | 350.833 | 2.478 | 354.1 | 2.012 | 59.533 | -10.333 | 889.675 | 67.237 | 0.32402
2019-01-09 18:30:00 | 2.656 | 8.032 | 1.287 | 4.017 | 1.72 | 1.167 | 2.058 | 352 | -11.018 | 889.85 | 68.395 | 0.34818
2019-01-09 18:45:00 | 0 | 17.06 | 0 | 0 | 0 | 0 | 0.06 | 352.067 | -11.716 | 889.742 | 71.029 | 0.34676
2019-01-09 19:00:00 | 0.648 | 120.113 | 0 | 0 | 0 | 23.733 | 0 | 352 | -12.162 | 889.208 | 73.76 | 0.31265
2019-01-09 19:15:00 | 0 | 120.1 | 0 | 0 | 0 | 11.867 | 0 | 351.933 | -12.553 | 889.675 | 75.957 | 0.31976
2019-01-09 19:30:00 | 1.593 | 201.433 | 0 | 0 | 0 | 0 | 0 | 352 | -12.553 | 890.158 | 78.283 | 0.31691
2019-01-09 19:45:00 | 2.488 | 221.727 | 1.578 | 211.642 | 0.027 | 262.433 | 0.521 | 300.633 | -12.445 | 889.825 | 78.293 | 0.32828
2019-01-09 20:00:00 | 3.102 | 229.44 | 2.279 | 214.445 | 1.487 | 221 | 1.457 | 260.167 | -12.157 | 889.825 | 77.269 | 0.3297
2019-01-09 20:15:00 | 2.573 | 230.4 | 1.739 | 214.608 | 1.64 | 221.167 | 1.761 | 226 | -11.89 | 890.167 | 75.797 | 0.33254
2019-01-09 20:30:00 | 2.073 | 219.427 | 2.105 | 223.13 | 2.087 | 223.5 | 2.172 | 227.2 | -11.745 | 889.858 | 75.776 | 0.33823
2019-01-09 20:45:00 | 2.895 | 229.9 | 1.828 | 241.08 | 1.754 | 250.967 | 1.784 | 244.033 | -12.953 | 889.675 | 73.205 | 0.34818
2019-01-09 21:00:00 | 3.711 | 218.933 | 2.313 | 254.466 | 1.38 | 258 | 1.007 | 244.05 | -12.57 | 890.075 | 71.723 | 0.36097
2019-01-09 21:15:00 | 3.141 | 233 | 1.431 | 257.842 | 0.731 | 258 | 0.943 | 244.117 | -13.484 | 889.933 | 70.843 | 0.34107
2019-01-09 21:30:00 | 3.286 | 198.673 | 0.176 | 244.985 | 0 | 258 | 0 | 244.017 | -14.416 | 889.883 | 71.541 | 0.34249
2019-01-09 21:45:00 | 4.999 | 212.773 | 2.844 | 198.641 | 1.646 | 203.667 | 0 | 244 | -14.412 | 889.542 | 66.325 | 0.33397
2019-01-09 22:00:00 | 4.761 | 216.867 | 3.629 | 226.962 | 1.794 | 241 | 1.239 | 219.533 | -15.358 | 889.9 | 67.947 | 0.33539
2019-01-09 22:15:00 | 4.019 | 208.867 | 2.884 | 189.152 | 2.295 | 212.2 | 2.566 | 229.567 | -13.999 | 889.683 | 76.181 | 0.33254
2019-01-09 22:30:00 | 4.645 | 201.473 | 3.053 | 180.979 | 2.878 | 195.3 | 2.738 | 204.9 | -13.428 | 889.817 | 72.427 | 0.34107
2019-01-09 22:45:00 | 4.754 | 217.793 | 3.256 | 199.845 | 2.864 | 214.767 | 3.38 | 220.267 | -12.278 | 889.558 | 74.197 | 0.30767
2019-01-09 23:00:00 | 5.588 | 224.98 | 3.733 | 216.086 | 3.321 | 224.633 | 3.315 | 224.333 | -13.653 | 889.6 | 65.451 | 0.22596
2019-01-09 23:15:00 | 5.435 | 220.92 | 3.709 | 220.248 | 3.045 | 232.2 | 2.69 | 231.867 | -13.597 | 890.183 | 65.92 | 0.046897
2019-01-09 23:30:00 | 4.692 | 215.86 | 3.189 | 235.729 | 2.801 | 252.2 | 2.952 | 249.367 | -15.435 | 889.467 | 64.917 | 0.15632
2019-01-09 23:45:00 | 5.622 | 220.6 | 3.495 | 225.368 | 3.204 | 237.433 | 2.861 | 235 | -15.691 | 889.45 | 70.784 | 0.89745