## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-10 00:00:00 | 5.378 | 225.333 | 5.476 | 217.226 | 4.025 | 220.867 | 3.006 | 218.533 | -14.924 | 890.05 | 67.264 | 1.0097
2019-01-10 00:15:00 | 5.914 | 223.467 | 5.568 | 219.379 | 4.933 | 228.7 | 3.846 | 226.7 | -14.337 | 889.958 | 65.077 | 0.4839
2019-01-10 00:30:00 | 6.721 | 220.267 | 5.51 | 215.596 | 4.904 | 219.867 | 4.528 | 219.633 | -13.949 | 889.867 | 62.891 | 1.672
2019-01-10 00:45:00 | 5.226 | 213.387 | 5.979 | 211.882 | 5.237 | 211.2 | 4.908 | 204.067 | -14.271 | 889.05 | 63.317 | 2.833
2019-01-10 01:00:00 | 5.972 | 213 | 5.342 | 212.271 | 4.469 | 212 | 4.118 | 201.833 | -14.908 | 890.142 | 65.301 | 1.9136
2019-01-10 01:15:00 | 6.62 | 218.233 | 6.633 | 214.091 | 5.991 | 218.733 | 5.129 | 215.533 | -15.324 | 890.067 | 67.968 | 3.5955
2019-01-10 01:30:00 | 6.122 | 217.76 | 6.232 | 217.206 | 5.074 | 224.933 | 4.222 | 222.433 | -14.641 | 889.783 | 65.867 | 4.1767
2019-01-10 01:45:00 | 6.181 | 218.153 | 5.719 | 219.817 | 4.866 | 228.733 | 3.834 | 229.267 | -14.495 | 889.392 | 65.131 | 5.4479
2019-01-10 02:00:00 | 6.384 | 218.967 | 6.596 | 219.234 | 5.096 | 226.1 | 4.137 | 227.533 | -14.474 | 890.1 | 64.885 | 5.0038
2019-01-10 02:15:00 | 5.936 | 221.573 | 4.609 | 227.379 | 3.864 | 237.7 | 3.216 | 237.767 | -14.191 | 889.65 | 63.925 | 4.5071
2019-01-10 02:30:00 | 5.054 | 225.933 | 4.722 | 221.182 | 3.314 | 229.4 | 2.508 | 229.733 | -14.049 | 889.625 | 62.517 | 1.6769
2019-01-10 02:45:00 | 5.384 | 214.5 | 5.496 | 208.067 | 4.88 | 212.767 | 3.902 | 210.7 | -14.578 | 890.075 | 64.085 | 1.1916
2019-01-10 03:00:00 | 6.032 | 219.72 | 5.192 | 208.957 | 4.562 | 211.1 | 3.691 | 207.267 | -14.754 | 890.025 | 64.619 | 1.0886
2019-01-10 03:15:00 | 4.197 | 221.367 | 5.42 | 211.115 | 4.154 | 212.067 | 3.439 | 208.933 | -15.658 | 889.9 | 66.144 | 1.0417
2019-01-10 03:30:00 | 4.97 | 211.5 | 6.272 | 202.137 | 5.589 | 203.867 | 5.066 | 202.667 | -15.374 | 889.708 | 66.667 | 1.3686
2019-01-10 03:45:00 | 4.985 | 209.333 | 5.646 | 193.276 | 4.94 | 192.133 | 4.4 | 184.4 | -15.108 | 889.8 | 66.549 | 0.75675
2019-01-10 04:00:00 | 6.238 | 214.967 | 5.823 | 198.469 | 4.529 | 197.767 | 3.937 | 186.233 | -14.266 | 889.525 | 63.605 | 0.1748
2019-01-10 04:15:00 | 6.299 | 214.733 | 6.316 | 197.7 | 5.46 | 201.833 | 4.533 | 194.6 | -14.266 | 889.275 | 61.792 | 0.94434
2019-01-10 04:30:00 | 5.978 | 209.3 | 6.602 | 199.277 | 4.613 | 202.033 | 3.542 | 191.9 | -14.37 | 889.808 | 62.72 | 0.79015
2019-01-10 04:45:00 | 5.212 | 214.5 | 5.546 | 203.162 | 3.889 | 203.467 | 3.068 | 193 | -15.208 | 889.55 | 61.6 | 0.15206
2019-01-10 05:00:00 | 5.366 | 213.9 | 5.303 | 204.641 | 3.511 | 208.267 | 2.447 | 197.067 | -15.891 | 889.783 | 63.883 | 0.18759
2019-01-10 05:15:00 | 3.687 | 229.287 | 6.105 | 212.526 | 4.322 | 212.733 | 3.509 | 209.933 | -16.546 | 889.967 | 63.829 | 0.11085
2019-01-10 05:30:00 | 5.866 | 225.333 | 4.313 | 216.86 | 2.943 | 219.033 | 2.679 | 210 | -15.374 | 889.8 | 64.224 | 0.11227
2019-01-10 05:45:00 | 2.89 | 179.96 | 3.978 | 187.491 | 4.478 | 199.933 | 4.347 | 203.2 | -17.298 | 889.917 | 64.8 | 0.15632
2019-01-10 06:00:00 | 3 | 191.827 | 1.849 | 154.369 | 1.539 | 131.967 | 1.704 | 130.7 | -14.449 | 889.708 | 62.933 | 0.29631
2019-01-10 06:15:00 | 3.061 | 214.033 | 1.187 | 158.923 | 1.019 | 124 | 0.906 | 124.967 | -15.324 | 889.842 | 59.968 | 0.32828
2019-01-10 06:30:00 | 2.62 | 203.46 | 0 | 152.503 | 1.388 | 104.1 | 0.05 | 124.967 | -14.899 | 889.983 | 62.016 | 0.31833
2019-01-10 06:45:00 | 2.695 | 178.807 | 0.626 | 145.504 | 1.531 | 99.033 | 0.938 | 125 | -14.72 | 889.808 | 71.445 | 0.31976
2019-01-10 07:00:00 | 1.648 | 172.367 | 1.542 | 107.233 | 1.155 | 99 | 0.809 | 125 | -12.97 | 890.375 | 67.787 | 0.31976
2019-01-10 07:15:00 | 1.783 | 190.2 | 1.222 | 107.272 | 0.771 | 99 | 0.853 | 125 | -13.053 | 889.858 | 68.491 | 0.31833
2019-01-10 07:30:00 | 2.346 | 195.2 | 1.155 | 137.135 | 1.266 | 98.933 | 1.198 | 125 | -13.02 | 889.775 | 68.821 | 0.31123
2019-01-10 07:45:00 | 1.756 | 197.767 | 0.938 | 142.672 | 0.726 | 140.933 | 1.096 | 125.1 | -12.62 | 890.275 | 67.136 | 0.30981
2019-01-10 08:00:00 | 1.231 | 196.267 | 0 | 128.461 | 0 | 140.733 | 0 | 125.1 | -12.67 | 889.792 | 66.549 | 0.31407
2019-01-10 08:15:00 | 2.243 | 221.133 | 0 | 128.375 | 0 | 140.7 | 0 | 124.867 | -12.986 | 889.933 | 64.779 | 0.30412
2019-01-10 08:30:00 | 2.029 | 196 | 0 | 128.544 | 0 | 140.433 | 0.212 | 125 | -12.52 | 889.858 | 64.192 | 0.31691
2019-01-10 08:45:00 | 0.599 | 199.2 | 0 | 128.504 | 0 | 140.633 | 0.705 | 121.367 | -12.22 | 890.092 | 63.371 | 0.3297
2019-01-10 09:00:00 | 1.52 | 219.153 | 0 | 128.479 | 0 | 140 | 0.289 | 69.067 | -11.911 | 889.9 | 63.456 | 0.32828
2019-01-10 09:15:00 | 2.488 | 235.933 | 1.546 | 237.723 | 0.113 | 191.267 | 0 | 69 | -11.89 | 889.867 | 59.573 | 0.32828
2019-01-10 09:30:00 | 3.041 | 244.567 | 1.511 | 266.736 | 0.47 | 318 | 1.128 | 24.93 | -11.495 | 890.008 | 55.077 | 0.3226
2019-01-10 09:45:00 | 3.17 | 253.807 | 1.764 | 303.708 | 1.931 | 333.767 | 2.218 | 351.133 | -10.722 | 889.983 | 49.733 | 0.33397
2019-01-10 10:00:00 | 1.172 | 262.18 | 1.58 | 333.794 | 1.947 | 69.4 | 1.95 | 319.933 | -11.97 | 889.592 | 53.381 | 0.33397
2019-01-10 10:15:00 | 0.68 | 118.11 | 1.738 | 9.125 | 2.112 | 16.008 | 2.091 | 15.933 | -12.101 | 889.892 | 52.021 | 0.33397
2019-01-10 10:30:00 | 0 | 46.146 | 1.619 | 22.739 | 1.777 | 25.167 | 1.603 | 15.667 | -12.77 | 889.875 | 54.229 | 0.3297
2019-01-10 10:45:00 | 0.173 | 346.96 | 1.891 | 268.738 | 1.845 | 352.633 | 1.511 | 233.433 | -11.661 | 889.817 | 54.683 | 0.35244
2019-01-10 11:00:00 | 1.016 | 335.04 | 1.114 | 344.542 | 1.106 | 348.967 | 0 | 350.033 | -11.07 | 889.917 | 54.357 | 0.34107
2019-01-10 11:15:00 | 0.898 | 151.8 | 0.11 | 340.451 | 0.277 | 342.3 | 0.488 | 292.7 | -10.416 | 890.05 | 52.373 | 0.33681
2019-01-10 11:30:00 | 0.712 | 350.667 | 0.562 | 340.399 | 1.033 | 344.7 | 0.611 | 4 | -10.333 | 889.942 | 52.304 | 0.34818
2019-01-10 11:45:00 | 0.246 | 16.83 | 0 | 343.237 | 0.027 | 0 | 1.418 | 38.7 | -9.487 | 890.075 | 49.931 | 0.26291
2019-01-10 12:00:00 | 0.872 | 35.833 | 0.303 | 49.567 | 0.872 | 77.1 | 1.491 | 98.333 | -8.674 | 890.325 | 45.76 | 0.48887
2019-01-10 12:15:00 | 2.006 | 88.127 | 1.994 | 79.96 | 2.231 | 87.533 | 2.434 | 84.033 | -8.808 | 889.867 | 45.973 | 0.61819
2019-01-10 12:30:00 | 2.709 | 69.263 | 2.728 | 67.215 | 2.913 | 77.3 | 2.983 | 78.167 | -8.824 | 889.975 | 45.888 | 1.9462
2019-01-10 12:45:00 | 3.724 | 68.343 | 3.578 | 65.476 | 3.603 | 71.533 | 3.527 | 73.6 | -8.093 | 889.633 | 44.213 | 3.2238
2019-01-10 13:00:00 | 3.843 | 45.297 | 3.586 | 41.205 | 3.45 | 51.533 | 2.956 | 54.333 | -9.024 | 889.792 | 49.12 | 4.77
2019-01-10 13:15:00 | 4.026 | 56.96 | 3.862 | 56.75 | 3.919 | 62.1 | 4.132 | 60.567 | -8.741 | 890.075 | 50.165 | 5.9851
2019-01-10 13:30:00 | 4.515 | 65.063 | 4.394 | 60.512 | 4.819 | 67.9 | 4.981 | 68.067 | -8.841 | 890.3 | 50.795 | 6.9557
2019-01-10 13:45:00 | 4.048 | 65.02 | 4.322 | 62.8 | 4.344 | 70.867 | 4.564 | 70.133 | -8.641 | 889.817 | 52.811 | 7.4773
2019-01-10 14:00:00 | 4.026 | 61.422 | 3.954 | 61.241 | 4.08 | 67.033 | 4.22 | 65.133 | -8.25 | 890.05 | 52.896 | 7.4048
2019-01-10 14:15:00 | 3.851 | 69.34 | 4.036 | 66.101 | 4.01 | 72.467 | 4.229 | 65.433 | -8.311 | 889.792 | 54.315 | 7.1867
2019-01-10 14:30:00 | 4.018 | 64.032 | 3.81 | 63.439 | 4.088 | 70.467 | 4.433 | 70.567 | -8.38 | 889.825 | 55.509 | 6.8655
2019-01-10 14:45:00 | 3.494 | 71.097 | 3.59 | 68.346 | 3.862 | 75.3 | 3.786 | 71.2 | -8.13 | 889.833 | 53.931 | 5.8117
2019-01-10 15:00:00 | 3.673 | 68.647 | 3.647 | 69.575 | 3.731 | 73.667 | 3.99 | 70.633 | -8.331 | 889.508 | 53.803 | 5.2646
2019-01-10 15:15:00 | 3.985 | 71.033 | 3.929 | 66.807 | 4.094 | 71.2 | 4.489 | 70.6 | -8.25 | 889.675 | 53.675 | 5.6121
2019-01-10 15:30:00 | 3.439 | 71.36 | 3.453 | 70.317 | 3.709 | 75.433 | 3.848 | 71.1 | -8.01 | 889.925 | 55.456 | 4.7416
2019-01-10 15:45:00 | 3.15 | 66.982 | 3.202 | 61.082 | 3.568 | 66.9 | 3.899 | 67.167 | -8.25 | 890.033 | 56.405 | 3.6552
2019-01-10 16:00:00 | 3.268 | 73.812 | 3.36 | 70.366 | 3.365 | 74.9 | 3.602 | 70.367 | -8.23 | 889.808 | 57.877 | 3.0547
2019-01-10 16:15:00 | 3.315 | 55.56 | 3.058 | 50.928 | 2.868 | 61.1 | 2.807 | 63.1 | -8.638 | 889.842 | 59.68 | 3.1009
2019-01-10 16:30:00 | 2.967 | 56.55 | 2.616 | 54.737 | 2.568 | 60.7 | 2.692 | 65.7 | -8.808 | 890.125 | 60.832 | 3.2579
2019-01-10 16:45:00 | 3.797 | 65.97 | 3.685 | 63.568 | 3.713 | 71.633 | 3.801 | 70.2 | -9.108 | 889.833 | 62.357 | 4.0502
2019-01-10 17:00:00 | 3.902 | 76.53 | 3.825 | 71.517 | 3.884 | 75.8 | 4.042 | 71.167 | -9.091 | 890.042 | 64.64 | 6.1151
2019-01-10 17:15:00 | 3.365 | 61.977 | 3.252 | 58.761 | 3.246 | 64.667 | 3.589 | 66.667 | -9.008 | 889.767 | 64.725 | 4.2705
2019-01-10 17:30:00 | 3.868 | 67.14 | 3.698 | 64.202 | 3.933 | 71.667 | 4.106 | 69.633 | -9.174 | 889.817 | 65.696 | 5.3676
2019-01-10 17:45:00 | 3.582 | 74.767 | 3.557 | 71.024 | 3.809 | 78.833 | 3.995 | 75.933 | -9.758 | 889.75 | 67.552 | 5.1402
2019-01-10 18:00:00 | 3.079 | 69.19 | 3.201 | 70.247 | 3.201 | 80.533 | 3.418 | 80.067 | -9.724 | 889.167 | 69.077 | 3.4285
2019-01-10 18:15:00 | 2.666 | 61.867 | 2.583 | 61.967 | 2.521 | 70.433 | 2.543 | 66.1 | -10.333 | 889.817 | 70.379 | 0.90242
2019-01-10 18:30:00 | 2.296 | 58.573 | 2.134 | 63.369 | 2.372 | 77.433 | 2.116 | 75.4 | -11.124 | 889.742 | 72.896 | 0.2352
2019-01-10 18:45:00 | 1.063 | 28.056 | 1.637 | 42.433 | 1.261 | 55.933 | 1.27 | 70.867 | -11.901 | 889.75 | 74.325 | 0.33183
2019-01-10 19:00:00 | 1.785 | 15.719 | 1.584 | 14.105 | 1.277 | 37.333 | 0.027 | 71 | -12.47 | 890.092 | 77.195 | 0.30981
2019-01-10 19:15:00 | 0.759 | 11.783 | 0 | 23.048 | 0 | 33.9 | 0 | 71.033 | -12.986 | 890 | 78.923 | 0.3027
2019-01-10 19:30:00 | 1.721 | 142.16 | 1.746 | 1.003 | 1.576 | 13.003 | 1.179 | 21.1 | -12.803 | 889.925 | 80.256 | 0.32828
2019-01-10 19:45:00 | 0.282 | 0 | 0 | 0 | 0.42 | 13.033 | 0.138 | 20.867 | -13.136 | 889.908 | 79.925 | 0.32118
2019-01-10 20:00:00 | 0.479 | 200.013 | 0 | 0 | 0 | 13.051 | 0 | 21 | -13.466 | 889.442 | 80.96 | 0.33254
2019-01-10 20:15:00 | 0 | 353.213 | 0 | 0 | 0 | 12.797 | 0 | 38.933 | -13.651 | 889.808 | 81.355 | 0.33112
2019-01-10 20:30:00 | 1.04 | 269.493 | 0 | 325.166 | 0 | 12.916 | 0 | 39.067 | -13.522 | 890.312 | 82.24 | 0.32686
2019-01-10 20:45:00 | 1.53 | 243.267 | 0.666 | 283.513 | 0 | 12.833 | 0 | 39 | -13.578 | 890.004 | 83.147 | 0.3226
2019-01-10 21:00:00 | 2.303 | 236.867 | 1.214 | 235.456 | 0 | 212.033 | 0.047 | 264 | -13.578 | 890.142 | 83.627 | 0.32544
2019-01-10 21:15:00 | 1.836 | 244.407 | 1.114 | 238.576 | 0.14 | 212.7 | 0.144 | 264 | -13.395 | 889.942 | 83.115 | 0.33112
2019-01-10 21:30:00 | 1.162 | 260.787 | 0.16 | 247.452 | 0.127 | 221.5 | 0 | 264 | -13.778 | 889.642 | 81.909 | 0.3226
2019-01-10 21:45:00 | 1.839 | 295.08 | 1.331 | 282.969 | 0.783 | 284.2 | 0.302 | 265 | -13.207 | 890.096 | 83.541 | 0.31123
2019-01-10 22:00:00 | 2.715 | 267.307 | 1.676 | 285.185 | 1.218 | 284.667 | 0.872 | 264.967 | -13.833 | 889.775 | 79.477 | 0.30412
2019-01-10 22:15:00 | 3.097 | 262.48 | 2.177 | 284.129 | 1.722 | 284.3 | 1.815 | 265.133 | -14.066 | 889.667 | 79.755 | 0.33254
2019-01-10 22:30:00 | 2.33 | 245 | 1.896 | 267.502 | 1.772 | 284.233 | 2.288 | 283.667 | -13.689 | 889.925 | 78.677 | 0.34391
2019-01-10 22:45:00 | 2.822 | 246.84 | 2.137 | 281.916 | 2.001 | 298.1 | 2.469 | 285.4 | -13.301 | 890.067 | 77.584 | 0.34676
2019-01-10 23:00:00 | 2.892 | 260.12 | 1.752 | 280.883 | 2.183 | 298.367 | 2.143 | 306.967 | -13.522 | 890.142 | 78.411 | 0.33112
2019-01-10 23:15:00 | 2.288 | 276.92 | 1.979 | 315.248 | 1.975 | 334.633 | 2.006 | 341.267 | -13.336 | 890.392 | 78.144 | 0.36239
2019-01-10 23:30:00 | 1.39 | 283.52 | 1.567 | 340.941 | 1.604 | 26.54 | 2.368 | 17.9 | -13.07 | 890.075 | 77.483 | 0.35955
2019-01-10 23:45:00 | 1.622 | 288.933 | 1.109 | 324.835 | 1.301 | 0.134 | 2.6 | 25 | -12.803 | 889.517 | 79.083 | 0.35813