## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-11 00:00:00 | 2.602 | 251.927 | 1.117 | 281.009 | 0.297 | 314.467 | 1.041 | 16.048 | -13.222 | 889.767 | 77.568 | 0.35528
2019-01-11 00:15:00 | 2.984 | 260.4 | 1.837 | 267.184 | 0.826 | 275.333 | 0.32 | 310.3 | -13.17 | 889.858 | 79.6 | 0.32544
2019-01-11 00:30:00 | 2.294 | 264.14 | 0.927 | 263.135 | 0.05 | 268.467 | 0 | 295.867 | -13.19 | 889.925 | 80.224 | 0.32402
2019-01-11 00:45:00 | 1.827 | 255.8 | 0 | 262.843 | 0 | 268.5 | 0 | 296.067 | -13.036 | 889.717 | 79.499 | 0.32828
2019-01-11 01:00:00 | 2.741 | 250.267 | 0.718 | 263.156 | 0 | 268 | 0 | 295.867 | -13.07 | 890.15 | 79.84 | 0.32828
2019-01-11 01:15:00 | 2.898 | 253.133 | 1.491 | 251.577 | 0.52 | 254.9 | 0 | 296 | -13.086 | 889.792 | 80.608 | 0.33112
2019-01-11 01:30:00 | 3.211 | 255.207 | 1.76 | 251.53 | 0.623 | 255.133 | 0 | 296.067 | -12.803 | 889.475 | 80.491 | 0.33539
2019-01-11 01:45:00 | 3.802 | 256.513 | 2.515 | 264.453 | 1.596 | 255.317 | 0 | 296 | -13.428 | 889.325 | 76.757 | 0.34107
2019-01-11 02:00:00 | 3.97 | 247.433 | 2.624 | 265.026 | 1.717 | 255.133 | 0 | 296.033 | -13.867 | 888.1 | 76.512 | 0.34534
2019-01-11 02:15:00 | 3.611 | 252.52 | 2.48 | 262.923 | 1.864 | 255.2 | 0 | 296 | -13.172 | 890.133 | 76.864 | 0.31407
2019-01-11 02:30:00 | 4.172 | 251.18 | 2.982 | 258.763 | 2.089 | 255 | 0 | 296 | -13.279 | 888.775 | 74.779 | 0.31691
2019-01-11 02:45:00 | 5.137 | 244.393 | 3.445 | 252.085 | 2.199 | 255 | 0.155 | 295.8 | -13.879 | 888.85 | 73.707 | 0.32118
2019-01-11 03:00:00 | 4.646 | 241.047 | 3.156 | 248.343 | 1.992 | 250.567 | 0.235 | 272 | -14.559 | 886.933 | 73.515 | 0.32544
2019-01-11 03:15:00 | 4.824 | 239.933 | 2.812 | 247.484 | 1.444 | 250.1 | 0 | 272 | -14.896 | 881.183 | 75.008 | 0.31691
2019-01-11 03:30:00 | 5.682 | 235.547 | 3.944 | 245.468 | 2.548 | 243.133 | 1.175 | 264.5 | -14.457 | 883.075 | 74.155 | 0.31976
2019-01-11 03:45:00 | 5.83 | 233.58 | 4.498 | 247.534 | 3.154 | 244 | 2.021 | 244.733 | -14.766 | 889.533 | 74.016 | 0.34534
2019-01-11 04:00:00 | 5.621 | 233.787 | 5.238 | 244.398 | 3.83 | 245 | 3.169 | 243.067 | -14.808 | 889.608 | 74.059 | 0.68214
2019-01-11 04:15:00 | 4.453 | 234.727 | 4.441 | 247.39 | 3.526 | 250.7 | 3.5 | 247.867 | -13.541 | 890.133 | 72.693 | 1.3884
2019-01-11 04:30:00 | 4.712 | 240.067 | 4.825 | 253.915 | 4.318 | 261.3 | 4.279 | 258.767 | -13.766 | 889.65 | 71.76 | 2.9659
2019-01-11 04:45:00 | 3.984 | 245.14 | 4.2 | 261.26 | 3.927 | 270.133 | 3.895 | 268.167 | -13.522 | 889.825 | 71.813 | 2.9432
2019-01-11 05:00:00 | 3.949 | 250.3 | 3.973 | 272.77 | 3.556 | 286 | 3.758 | 287.267 | -12.986 | 889.883 | 72.277 | 2.9943
2019-01-11 05:15:00 | 3.4 | 257.54 | 3.153 | 290.954 | 3.155 | 306.533 | 3.132 | 302.2 | -12.436 | 889.317 | 70.261 | 0.78375
2019-01-11 05:30:00 | 3.569 | 246.273 | 2.943 | 275.079 | 2.674 | 297.2 | 2.568 | 304 | -12.29 | 889.808 | 69.568 | 0.55353
2019-01-11 05:45:00 | 3.867 | 237.213 | 3.141 | 256.35 | 2.671 | 278 | 2.599 | 286.333 | -12.182 | 889.333 | 68.688 | 0.29133
2019-01-11 06:00:00 | 4.103 | 232.8 | 3.07 | 255.497 | 2.797 | 268 | 2.772 | 272.5 | -11.578 | 889.75 | 66.944 | 0.10232
2019-01-11 06:15:00 | 3.389 | 233.007 | 1.955 | 260.407 | 1.921 | 268 | 1.905 | 273 | -11.64 | 889.483 | 68.501 | 0.12932
2019-01-11 06:30:00 | 3.964 | 236.733 | 2.77 | 260.096 | 2.164 | 273.867 | 2.14 | 273 | -11.228 | 889.942 | 67.696 | 0.35813
2019-01-11 06:45:00 | 3.79 | 237.433 | 3.234 | 262.288 | 2.871 | 277.933 | 2.608 | 278.833 | -11.378 | 889.808 | 68.389 | 0.21957
2019-01-11 07:00:00 | 4.431 | 226.267 | 3.161 | 254.141 | 3 | 267.467 | 3.173 | 267.1 | -11.311 | 889.908 | 68.875 | 0.1009
2019-01-11 07:15:00 | 4.598 | 231.18 | 3.713 | 243.462 | 3.157 | 258.067 | 2.896 | 260.133 | -11.059 | 889.683 | 68.523 | 0.51871
2019-01-11 07:30:00 | 4.029 | 234.16 | 3.61 | 245.493 | 3.06 | 257.233 | 2.6 | 258.033 | -10.853 | 890.133 | 67.712 | 0.61322
2019-01-11 07:45:00 | 4.436 | 230.933 | 4.115 | 240.475 | 3.912 | 248.267 | 3.408 | 245.3 | -10.703 | 889.85 | 68.64 | 2.8657
2019-01-11 08:00:00 | 5.298 | 226.84 | 5.077 | 238.26 | 4.94 | 245.033 | 4.667 | 239.967 | -10.834 | 890.008 | 70.069 | 7.2172
2019-01-11 08:15:00 | 4.852 | 221.013 | 4.859 | 227.62 | 4.87 | 234 | 4.69 | 229.433 | -10.999 | 889.917 | 73.643 | 7.7963
2019-01-11 08:30:00 | 4.353 | 228.967 | 4.295 | 233.18 | 4.269 | 237.667 | 4.012 | 230.733 | -11.228 | 889.983 | 75.637 | 3.9479
2019-01-11 08:45:00 | 3.77 | 239.38 | 3.077 | 242.444 | 2.926 | 248.533 | 2.713 | 243.867 | -10.685 | 889.917 | 77.717 | 1.2499
2019-01-11 09:00:00 | 3.652 | 236.167 | 3.521 | 252.154 | 3.239 | 257.667 | 2.997 | 255.217 | -10.797 | 889.717 | 76.661 | 0.14069
2019-01-11 09:15:00 | 3.801 | 234.873 | 3.454 | 250.556 | 3.254 | 256 | 3.204 | 254.367 | -10.741 | 890.125 | 75.861 | 0.33752
2019-01-11 09:30:00 | 4.628 | 231.747 | 3.21 | 247.531 | 3.07 | 256.433 | 2.956 | 255.317 | -11.126 | 889.975 | 76.928 | 0.33468
2019-01-11 09:45:00 | 5.413 | 224.767 | 3.927 | 228.628 | 3.414 | 237 | 2.869 | 234.467 | -11.361 | 889.7 | 74.123 | 1.0481
2019-01-11 10:00:00 | 4.344 | 245.48 | 3.644 | 252.819 | 3.126 | 265.133 | 2.986 | 256.433 | -9.974 | 890.075 | 75.861 | 1.2065
2019-01-11 10:15:00 | 3.422 | 247.78 | 3.183 | 254.694 | 3.056 | 269 | 2.902 | 259.633 | -8.067 | 889.892 | 68.907 | 0.27641
2019-01-11 10:30:00 | 4.134 | 228.807 | 2.827 | 231.205 | 2.564 | 248.2 | 2.328 | 245.733 | -8.287 | 890.358 | 63.264 | 0.35955
2019-01-11 10:45:00 | 2.582 | 241.78 | 3.258 | 232.662 | 2.947 | 234.967 | 2.334 | 221.733 | -7.264 | 890.1 | 65.141 | 0.12009
2019-01-11 11:00:00 | 2.215 | 236.7 | 1.318 | 228.315 | 1.764 | 204.067 | 2.027 | 208.467 | -5.585 | 889.725 | 61.941 | 0.1947
2019-01-11 11:15:00 | 2.386 | 244.387 | 2.444 | 236.798 | 2.494 | 237.1 | 2.704 | 228.167 | -4.398 | 889.717 | 59.157 | 0.078162
2019-01-11 11:30:00 | 2.738 | 292.733 | 2.916 | 285.935 | 3.202 | 283.1 | 3.112 | 266.367 | -5.119 | 889.958 | 59.771 | 0.085268
2019-01-11 11:45:00 | 3.144 | 318 | 3.163 | 307.227 | 3.391 | 307.2 | 3.345 | 296.3 | -5.202 | 889.858 | 59.408 | 0.23164
2019-01-11 12:00:00 | 3.316 | 325.267 | 3.25 | 317.433 | 3.354 | 318.8 | 3.512 | 309.667 | -4.952 | 889.667 | 59.317 | 0.080294
2019-01-11 12:15:00 | 3.273 | 331.413 | 3.119 | 322.447 | 3.296 | 324.067 | 3.457 | 317.367 | -4.59 | 889.683 | 61.824 | 0.13217
2019-01-11 12:30:00 | 2.611 | 322.48 | 2.578 | 318.796 | 2.513 | 324.467 | 2.61 | 319.233 | -4.209 | 889.85 | 60.843 | 0.13359
2019-01-11 12:45:00 | 2.979 | 320.487 | 3.065 | 335.429 | 3.145 | 336.867 | 3.045 | 338 | -3.919 | 889.483 | 60.928 | 0.10303
2019-01-11 13:00:00 | 2.297 | 336 | 2.393 | 325.555 | 2.439 | 328.433 | 2.404 | 324.133 | -3.84 | 890.175 | 58.944 | 0.26149
2019-01-11 13:15:00 | 2.028 | 319.733 | 2.181 | 316.724 | 2.192 | 322.167 | 2.159 | 328.133 | -3.991 | 890.2 | 57.221 | 0.24799
2019-01-11 13:30:00 | 2.125 | 280.967 | 1.979 | 324.226 | 2.173 | 324.867 | 2.41 | 329.3 | -3.572 | 889.65 | 56.544 | 0.18262
2019-01-11 13:45:00 | 2.621 | 339.733 | 2.631 | 332.505 | 2.753 | 337.067 | 2.747 | 335.567 | -3.723 | 889.683 | 55.861 | 0.54998
2019-01-11 14:00:00 | 2.905 | 335.4 | 2.91 | 330.02 | 2.988 | 334.833 | 3.002 | 333.133 | -3.488 | 889.633 | 54.811 | 0.16059
2019-01-11 14:15:00 | 2.636 | 312.467 | 2.513 | 331.464 | 2.798 | 335.467 | 2.971 | 334.3 | -3.204 | 890.042 | 58.011 | 0.17196
2019-01-11 14:30:00 | 2.309 | 247.633 | 2.489 | 302.285 | 2.639 | 274.433 | 2.579 | 279.533 | -3.521 | 890.2 | 57.611 | 0.32331
2019-01-11 14:45:00 | 1.439 | 311.253 | 0.977 | 308.673 | 1.036 | 316.7 | 1.22 | 315.567 | -3.21 | 890.283 | 56.267 | 0.32544
2019-01-11 15:00:00 | 0.895 | 51.867 | 0.363 | 107.936 | 0.353 | 282.367 | 0.35 | 66.4 | -3.004 | 889.592 | 54.816 | 0.27428
2019-01-11 15:15:00 | 1.564 | 29.384 | 1.317 | 109.211 | 1.472 | 9.967 | 1.407 | 6.667 | -2.784 | 889.642 | 54.352 | 0.28707
2019-01-11 15:30:00 | 2.084 | 319.653 | 1.763 | 309.658 | 1.929 | 324.733 | 1.912 | 304.133 | -2.882 | 890.008 | 55.371 | 0.30696
2019-01-11 15:45:00 | 1.404 | 116.264 | 1.32 | 300.662 | 1.459 | 321.867 | 1.532 | 321.933 | -2.805 | 889.967 | 56.779 | 0.29133
2019-01-11 16:00:00 | 2.137 | 330.573 | 1.894 | 321.539 | 1.828 | 327.5 | 1.591 | 330.567 | -2.495 | 889.875 | 56.101 | 0.28849
2019-01-11 16:15:00 | 1.116 | 255.255 | 0.703 | 322.539 | 1.45 | 306.833 | 1.749 | 320.267 | -2.114 | 890.083 | 56.299 | 0.29275
2019-01-11 16:30:00 | 1.997 | 297.453 | 1.884 | 319.436 | 2.037 | 327.133 | 1.991 | 309.9 | -2.104 | 889.858 | 55.952 | 0.28991
2019-01-11 16:45:00 | 1.216 | 300.44 | 0.749 | 303.396 | 0.69 | 298.733 | 0.502 | 294.6 | -2.144 | 889.583 | 56.229 | 0.28565
2019-01-11 17:00:00 | 0.313 | 327.187 | 0.13 | 316.754 | 0.17 | 298.033 | 0.034 | 298.867 | -1.733 | 889.992 | 55.867 | 0.28849
2019-01-11 17:15:00 | 1.045 | 111.276 | 0.423 | 69.443 | 0.47 | 239.4 | 0.729 | 298.6 | -2.021 | 889.75 | 55.909 | 0.28138
2019-01-11 17:30:00 | 1.941 | 9.759 | 1.282 | 8.819 | 1.089 | 13.3 | 0.766 | 2.267 | -2.091 | 889.633 | 57.077 | 0.29133
2019-01-11 17:45:00 | 2.202 | 56.675 | 1.915 | 50.03 | 1.944 | 51.067 | 1.647 | 37 | -2.853 | 890.025 | 59.797 | 0.29986
2019-01-11 18:00:00 | 2.427 | 66 | 1.95 | 66.258 | 1.827 | 72 | 1.693 | 70.467 | -3.388 | 889.883 | 62.645 | 0.28423
2019-01-11 18:15:00 | 1.428 | 68.663 | 1.391 | 63.165 | 0.863 | 69.9 | 0.776 | 71.067 | -4.401 | 889.85 | 65.696 | 0.2956
2019-01-11 18:30:00 | 1.878 | 76.727 | 1.619 | 78.83 | 1.595 | 99.033 | 1.553 | 89 | -4.779 | 889.525 | 68.715 | 0.29702
2019-01-11 18:45:00 | 0.126 | 76.1 | 0.846 | 79.272 | 1.432 | 109 | 1.559 | 89.033 | -5.069 | 890.317 | 70.4 | 0.30554
2019-01-11 19:00:00 | 0.363 | 76.1 | 0.27 | 79.865 | 0.384 | 108.967 | 0.272 | 89 | -5.569 | 889.883 | 73.003 | 0.31549
2019-01-11 19:15:00 | 1.794 | 110.1 | 1.066 | 102.243 | 1.319 | 118.067 | 1.468 | 89.9 | -5.569 | 889.792 | 71.264 | 0.30128
2019-01-11 19:30:00 | 1.866 | 142.96 | 0.903 | 132.592 | 0.88 | 154.633 | 1.276 | 184.333 | -5.185 | 889.942 | 69.611 | 0.30128
2019-01-11 19:45:00 | 1.891 | 142.5 | 1.524 | 135.632 | 1.396 | 140.833 | 0.054 | 149 | -4.952 | 889.892 | 69.525 | 0.30128
2019-01-11 20:00:00 | 2.937 | 200.633 | 2.358 | 170.683 | 1.685 | 178.433 | 1.74 | 200.7 | -5.352 | 889.783 | 69.781 | 0.32118
2019-01-11 20:15:00 | 4.329 | 225.74 | 2.255 | 224.56 | 2.627 | 230.033 | 2.72 | 217.367 | -6.614 | 889.933 | 65.163 | 0.27073
2019-01-11 20:30:00 | 2.805 | 215.767 | 5.15 | 222.46 | 4.926 | 223.5 | 3.682 | 214 | -8.658 | 889.992 | 69.941 | 0.28849
2019-01-11 20:45:00 | 1.21 | 214.227 | 5.617 | 229.097 | 5.426 | 227.533 | 4.618 | 214.2 | -9.645 | 889.683 | 74.016 | 0.70559
2019-01-11 21:00:00 | 2.507 | 227.773 | 5.142 | 227.17 | 4.781 | 227.733 | 4.097 | 222.933 | -7.36 | 889.642 | 71.755 | 0.46684
2019-01-11 21:15:00 | 1.016 | 226.987 | 4.959 | 233.872 | 5.16 | 230.45 | 4.744 | 223.167 | -8.758 | 889.858 | 75.061 | 0.2487
2019-01-11 21:30:00 | 3.948 | 222.353 | 4.801 | 229.332 | 4.755 | 233.9 | 4.629 | 221.533 | -8.197 | 889.558 | 75.467 | 0.30696
2019-01-11 21:45:00 | 1.503 | 147.787 | 1.764 | 150.722 | 1.999 | 169.2 | 2.717 | 187.733 | -7.15 | 889.8 | 73.355 | 0.25154
2019-01-11 22:00:00 | 0.129 | 103.343 | 0 | 124.239 | 0 | 104 | 0 | 161 | -7.134 | 889.625 | 70.763 | 0.32118
2019-01-11 22:15:00 | 2.521 | 255.627 | 1.457 | 241.41 | 0 | 117.083 | 0.044 | 161.567 | -8.627 | 889.85 | 73.877 | 0.31549
2019-01-11 22:30:00 | 1.952 | 272.513 | 1.292 | 251.839 | 1.289 | 246.967 | 0.88 | 230 | -7.873 | 889.975 | 74.421 | 0.3027
2019-01-11 22:45:00 | 2.352 | 217.42 | 1.896 | 232.051 | 1.547 | 227.1 | 0.06 | 230 | -8.648 | 889.7 | 74.453 | 0.30128
2019-01-11 23:00:00 | 3.572 | 168.26 | 2.12 | 174.685 | 1.184 | 165.867 | 0.376 | 227.067 | -7.559 | 890.183 | 75.851 | 0.30554
2019-01-11 23:15:00 | 4.129 | 163.827 | 3.268 | 137.58 | 2.93 | 137.8 | 2.448 | 136.967 | -7.642 | 889.308 | 72.917 | 0.28707
2019-01-11 23:30:00 | 3.173 | 177.773 | 3.231 | 120.618 | 2.946 | 116.8 | 2.581 | 106.6 | -8.488 | 889.6 | 74.453 | 0.17125
2019-01-11 23:45:00 | 3.124 | 133.58 | 3.454 | 92.423 | 3.206 | 86.067 | 3.253 | 67.833 | -7.863 | 889.858 | 75.371 | 0.16414