## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-12 00:00:00 | 2.899 | 102.2 | 3.087 | 73.476 | 3.446 | 75.3 | 3.579 | 74.633 | -6.562 | 889.933 | 71.061 | 0.13927
2019-01-12 00:15:00 | 2.686 | 124.58 | 2.387 | 89.859 | 2.427 | 86.033 | 2.251 | 84.5 | -6.595 | 889.558 | 72.043 | 0.15277
2019-01-12 00:30:00 | 1.797 | 133.977 | 2.108 | 90.51 | 2.322 | 85.3 | 2.102 | 80.733 | -7.699 | 889.667 | 74.101 | 0.27428
2019-01-12 00:45:00 | 0.116 | 116.757 | 1.45 | 74.24 | 1.615 | 78.033 | 1.577 | 73.2 | -8.25 | 890.317 | 77.131 | 0.27783
2019-01-12 01:00:00 | 0 | 127.167 | 1.335 | 68.051 | 1.586 | 69.433 | 1.968 | 72.633 | -8.291 | 889.758 | 80.64 | 0.25438
2019-01-12 01:15:00 | 1.143 | 281.133 | 0.653 | 147.441 | 1.39 | 41.071 | 1.925 | 60.833 | -7.639 | 889.912 | 82.347 | 0.1478
2019-01-12 01:30:00 | 0.835 | 282.707 | 0.28 | 2.678 | 1.532 | 37.821 | 2.272 | 51.167 | -7.466 | 890.25 | 79.787 | 0.22525
2019-01-12 01:45:00 | 0 | 264.733 | 0.317 | 4.019 | 1.687 | 58.333 | 2.93 | 66.6 | -7.606 | 889.475 | 79.104 | 0.32402
2019-01-12 02:00:00 | 0 | 265.173 | 0 | 4.015 | 1.46 | 51.1 | 2.999 | 68 | -7.796 | 889.583 | 80.235 | 0.33539
2019-01-12 02:15:00 | 0.871 | 259.44 | 0 | 4.018 | 0 | 55.042 | 0.537 | 71.967 | -8.17 | 889.867 | 81.227 | 0.33397
2019-01-12 02:30:00 | 0.688 | 243.407 | 0 | 328.922 | 0 | 55.033 | 0 | 72 | -8.504 | 889.521 | 81.387 | 0.31976
2019-01-12 02:45:00 | 0.402 | 240.42 | 0 | 328.824 | 0 | 55 | 1.826 | 83.533 | -8.481 | 889.996 | 83.605 | 0.31691
2019-01-12 03:00:00 | 0.986 | 222.833 | 0 | 311.603 | 0 | 104.067 | 0.608 | 106.333 | -8.624 | 889.65 | 83.499 | 0.32118
2019-01-12 03:15:00 | 1.8 | 237.733 | 0 | 263.016 | 0 | 104 | 0 | 107 | -8.574 | 889.896 | 81.013 | 0.33823
2019-01-12 03:30:00 | 3.422 | 241.2 | 0.326 | 259.987 | 0.28 | 120.867 | 1.252 | 127.467 | -9.141 | 890 | 77.483 | 0.33112
2019-01-12 03:45:00 | 3.127 | 238.367 | 2.169 | 249.606 | 2.1 | 246.233 | 2.026 | 231.8 | -8.908 | 889.717 | 73.397 | 0.33397
2019-01-12 04:00:00 | 3.685 | 216.34 | 1.052 | 231.861 | 0.473 | 235 | 0.148 | 223.9 | -10.11 | 889.583 | 65.056 | 0.32402
2019-01-12 04:15:00 | 4.921 | 216.2 | 1.948 | 226.685 | 0.854 | 240 | 0.185 | 224 | -13.003 | 889.792 | 71.819 | 0.31976
2019-01-12 04:30:00 | 5.47 | 226.213 | 2.715 | 230.633 | 1.992 | 245.5 | 1.676 | 237.667 | -10.145 | 889.65 | 74.507 | 0.3226
2019-01-12 04:45:00 | 2.839 | 230.887 | 1.427 | 251.179 | 1.353 | 277.8 | 1.71 | 261.067 | -9.383 | 890.058 | 74.581 | 0.3226
2019-01-12 05:00:00 | 3.532 | 232.433 | 0.616 | 271.121 | 1.122 | 278 | 1.377 | 266.567 | -9.191 | 889.792 | 69.077 | 0.31976
2019-01-12 05:15:00 | 3.368 | 220.807 | 0.06 | 263.035 | 0 | 278 | 0.131 | 267.533 | -8.337 | 889.975 | 66.379 | 0.3226
2019-01-12 05:30:00 | 6.033 | 220.76 | 2.861 | 213.865 | 1.406 | 227.267 | 0.087 | 247.333 | -11.728 | 890.083 | 64.384 | 0.31691
2019-01-12 05:45:00 | 3.854 | 231.273 | 1.486 | 213.396 | 0.03 | 220 | 0 | 212 | -10.724 | 889.8 | 71.467 | 0.31549
2019-01-12 06:00:00 | 2.411 | 251.293 | 2.236 | 298.68 | 2.002 | 297.667 | 0.941 | 278.033 | -8.941 | 890.133 | 66.549 | 0.32402
2019-01-12 06:15:00 | 2.214 | 270.967 | 3.16 | 306.293 | 3.373 | 317.467 | 2.788 | 317.967 | -10.091 | 890.008 | 66.517 | 0.34249
2019-01-12 06:30:00 | 2.642 | 252.6 | 2.366 | 307.885 | 2.625 | 320.967 | 2.724 | 304 | -10.67 | 889.958 | 63.995 | 0.34107
2019-01-12 06:45:00 | 4.159 | 235.653 | 3.286 | 256.986 | 3.639 | 283.4 | 4.096 | 281.7 | -14.087 | 889.783 | 68.661 | 0.20891
2019-01-12 07:00:00 | 4.266 | 231.033 | 3.309 | 256.162 | 3.209 | 279.6 | 3.181 | 279.033 | -12.836 | 889.525 | 73.504 | 0.13927
2019-01-12 07:15:00 | 4.174 | 246.88 | 3.218 | 264.325 | 2.934 | 282.133 | 2.956 | 284.933 | -11.528 | 890.025 | 73.861 | 0.68499
2019-01-12 07:30:00 | 3.601 | 254.387 | 3.44 | 270.854 | 3.087 | 281.333 | 2.568 | 278.6 | -10.058 | 890.183 | 69.317 | 0.11369
2019-01-12 07:45:00 | 4.099 | 250.007 | 2.961 | 260.558 | 2.139 | 277.933 | 2.027 | 282.967 | -10.254 | 889.908 | 66.736 | 0.18546
2019-01-12 08:00:00 | 2.95 | 246.667 | 2.322 | 257.565 | 2.256 | 278 | 2.331 | 274.067 | -9.945 | 889.183 | 67.963 | 0.14282
2019-01-12 08:15:00 | 4.171 | 231.953 | 2.621 | 251.211 | 2.679 | 273.067 | 2.794 | 275.8 | -11.553 | 890.067 | 65.456 | 0.14993
2019-01-12 08:30:00 | 3.752 | 237.447 | 1.619 | 228.897 | 1.876 | 262.8 | 2.971 | 268.233 | -12.532 | 889.8 | 69.024 | 0.081004
2019-01-12 08:45:00 | 2.97 | 227.2 | 0.81 | 234.025 | 1.881 | 261 | 2.771 | 268.833 | -11.428 | 889.725 | 75.392 | 0.17693
2019-01-12 09:00:00 | 3.51 | 230.007 | 2.388 | 217.409 | 2.538 | 243 | 3.259 | 236.724 | -10.749 | 889.966 | 74.041 | 0.22596
2019-01-12 09:15:00 | 2.348 | 225.86 | 1.411 | 210.286 | 1.268 | 233.1 | 1.644 | 259.667 | -10.539 | 889.608 | 73.632 | 0.33183
2019-01-12 09:30:00 | 4.62 | 215.413 | 2.385 | 212.057 | 1.591 | 216.367 | 1.569 | 213.9 | -11.209 | 889.983 | 62.645 | 0.34249
2019-01-12 09:45:00 | 4.435 | 219.993 | 1.95 | 207.43 | 0.647 | 216 | 0.313 | 209.167 | -10.666 | 889.933 | 62.965 | 0.33254
2019-01-12 10:00:00 | 2.904 | 194.673 | 2.332 | 172.176 | 1.957 | 168.267 | 1.57 | 209 | -9.337 | 889.933 | 67.339 | 0.33823
2019-01-12 10:15:00 | 3.365 | 219.9 | 2.116 | 210.481 | 1.467 | 182.667 | 1.998 | 210.167 | -7.091 | 890.342 | 59.36 | 0.35102
2019-01-12 10:30:00 | 2.659 | 217.007 | 0.816 | 195.471 | 0.083 | 180.067 | 2.257 | 217.633 | -7.243 | 889.65 | 58.731 | 0.32686
2019-01-12 10:45:00 | 0.503 | 219.493 | 0 | 195.39 | 0 | 179.933 | 0.282 | 214 | -5.763 | 890.3 | 58.688 | 0.33539
2019-01-12 11:00:00 | 0 | 213.14 | 0 | 195.511 | 0.027 | 200.133 | 0.796 | 185.867 | -4.474 | 890.008 | 54.432 | 0.34534
2019-01-12 11:15:00 | 1.344 | 82.897 | 0.199 | 114.396 | 0 | 200 | 0.03 | 186.1 | -5.763 | 889.992 | 54.976 | 0.33397
2019-01-12 11:30:00 | 1.696 | 124.633 | 1.012 | 109.913 | 0.409 | 108.867 | 0.164 | 188.867 | -6.562 | 889.892 | 55.829 | 0.33397
2019-01-12 11:45:00 | 1.108 | 84.987 | 0.353 | 87.635 | 0.186 | 90.733 | 0 | 158.1 | -5.687 | 890.3 | 56.213 | 0.33112
2019-01-12 12:00:00 | 0.898 | 90.53 | 0.1 | 85.247 | 0.173 | 86.067 | 0.168 | 116.9 | -4.749 | 889.758 | 55.435 | 0.32686
2019-01-12 12:15:00 | 0.562 | 90.783 | 0.076 | 73.272 | 0.077 | 75.867 | 0.067 | 99.033 | -4.238 | 889.617 | 49.931 | 0.31833
2019-01-12 12:30:00 | 0.935 | 38.633 | 0.43 | 41.987 | 0.899 | 48.167 | 0.481 | 60.433 | -3.171 | 890.033 | 45.984 | 0.31833
2019-01-12 12:45:00 | 0.353 | 37.967 | 0.333 | 31.1 | 0.512 | 26.2 | 0.332 | 7.367 | -3.739 | 889.7 | 44.501 | 0.32118
2019-01-12 13:00:00 | 0.576 | 81.473 | 0.386 | 71.379 | 0.466 | 78.867 | 0.342 | 65 | -2.99 | 889.792 | 43.2 | 0.31549
2019-01-12 13:15:00 | 0 | 109.02 | 0.027 | 70.014 | 0.286 | 69.833 | 0.299 | 61.1 | -3.013 | 889.683 | 42.123 | 0.3027
2019-01-12 13:30:00 | 0.599 | 110.708 | 0.336 | 79.032 | 0.742 | 71.833 | 1.118 | 74.367 | -2.333 | 889.817 | 42.379 | 0.31123
2019-01-12 13:45:00 | 1.702 | 104.97 | 1.373 | 104.998 | 1.194 | 111 | 1.062 | 81.1 | -1.962 | 889.725 | 41.717 | 0.31833
2019-01-12 14:00:00 | 1.383 | 82.58 | 1.27 | 88.187 | 1.542 | 85.7 | 1.589 | 81.067 | -2.098 | 889.85 | 42.549 | 0.31833
2019-01-12 14:15:00 | 1.727 | 55.242 | 1.15 | 52.225 | 1.146 | 53.9 | 1.166 | 52.6 | -1.463 | 889.717 | 43.136 | 0.31123
2019-01-12 14:30:00 | 1.619 | 33.65 | 1.653 | 45.241 | 1.868 | 49.5 | 1.478 | 48.167 | -2.051 | 890.067 | 43.179 | 0.30696
2019-01-12 14:45:00 | 1.742 | 38.859 | 1.674 | 45.874 | 1.873 | 60.167 | 2.256 | 62.433 | -2.071 | 889.967 | 43.115 | 0.31123
2019-01-12 15:00:00 | 2.105 | 22.874 | 2.206 | 24.795 | 2.308 | 29.733 | 2.307 | 31.3 | -2.395 | 890.208 | 43.189 | 0.32686
2019-01-12 15:15:00 | 2.252 | 28.279 | 1.996 | 26.874 | 2.132 | 28.233 | 2.11 | 25.067 | -1.93 | 889.892 | 43.872 | 0.31123
2019-01-12 15:30:00 | 2.469 | 41.53 | 2.167 | 35.296 | 2.388 | 38.6 | 2.683 | 37.367 | -1.826 | 889.808 | 44.629 | 0.17409
2019-01-12 15:45:00 | 1.943 | 51.154 | 1.716 | 47.953 | 2.202 | 50.667 | 2.345 | 42.967 | -2.012 | 889.842 | 45.568 | 0.10445
2019-01-12 16:00:00 | 1.98 | 46.27 | 1.412 | 43.845 | 1.307 | 50.5 | 0.938 | 42.833 | -1.68 | 889.783 | 45.621 | 0.35102
2019-01-12 16:15:00 | 2.134 | 28.747 | 2.04 | 30.064 | 2.219 | 35.667 | 2.153 | 37.067 | -1.813 | 889.592 | 46.741 | 0.29986
2019-01-12 16:30:00 | 1.593 | 53.233 | 1.21 | 49.337 | 1.697 | 46.667 | 1.804 | 28.333 | -1.978 | 890.408 | 47.712 | 0.30412
2019-01-12 16:45:00 | 1.3 | 36.11 | 1.06 | 28.774 | 1.613 | 31.367 | 1.565 | 26.533 | -2.17 | 889.933 | 48.288 | 0.29702
2019-01-12 17:00:00 | 1.766 | 68.985 | 1.482 | 68.888 | 1.597 | 80.7 | 1.641 | 66.767 | -1.762 | 889.642 | 48.416 | 0.29702
2019-01-12 17:15:00 | 0.466 | 75.293 | 0.123 | 87.239 | 0 | 95.867 | 0 | 79.867 | -2.378 | 889.933 | 49.28 | 0.29275
2019-01-12 17:30:00 | 0 | 75.187 | 0 | 87.22 | 0 | 96 | 0 | 80 | -2.058 | 890.1 | 48.544 | 0.29418
2019-01-12 17:45:00 | 0 | 75.16 | 0 | 87.251 | 0 | 96 | 0 | 80 | -2.048 | 889.7 | 48.971 | 0.29275
2019-01-12 18:00:00 | 1.169 | 28.057 | 0.116 | 47.114 | 0 | 77.233 | 0 | 80 | -2.394 | 889.925 | 50.912 | 0.29702
2019-01-12 18:15:00 | 0 | 28.008 | 0 | 47.136 | 0 | 31 | 0 | 80 | -3.026 | 889.658 | 53.568 | 0.2956
2019-01-12 18:30:00 | 0.538 | 63.4 | 0 | 47.124 | 0 | 31 | 0 | 80.067 | -3.321 | 889.767 | 57.12 | 0.29702
2019-01-12 18:45:00 | 0.555 | 118.933 | 0 | 47.149 | 0 | 31 | 0 | 79.933 | -3.79 | 889.875 | 58.112 | 0.29702
2019-01-12 19:00:00 | 0 | 138 | 0 | 47.137 | 0 | 31.067 | 0 | 80 | -3.823 | 889.983 | 58.464 | 0.29844
2019-01-12 19:15:00 | 0.063 | 198.853 | 0.047 | 47.134 | 0.492 | 30.9 | 0.027 | 79.967 | -4.527 | 890.05 | 59.221 | 0.29844
2019-01-12 19:30:00 | 0.216 | 338.4 | 0 | 47.115 | 0 | 31 | 0 | 79.967 | -5.019 | 889.908 | 61.739 | 0.29702
2019-01-12 19:45:00 | 0.406 | 316.933 | 0.12 | 43.284 | 0.3 | 27.1 | 0 | 80 | -4.421 | 889.608 | 61.845 | 0.30554
2019-01-12 20:00:00 | 0.719 | 336.387 | 0.356 | 0 | 0.5 | 0 | 0.48 | 0 | -6.243 | 890.067 | 59.072 | 0.30554
2019-01-12 20:15:00 | 1.869 | 340.88 | 1.058 | 345.108 | 0.82 | 0 | 0.175 | 0 | -6.764 | 889.925 | 64.661 | 0.31265
2019-01-12 20:30:00 | 1.848 | 278.113 | 0.329 | 320.985 | 0 | 0 | 0 | 11.867 | -7.522 | 889.917 | 65.749 | 0.30554
2019-01-12 20:45:00 | 3.362 | 249.367 | 1.991 | 262.64 | 0.323 | 297.9 | 1.252 | 275.3 | -8.207 | 889.85 | 65.264 | 0.31691
2019-01-12 21:00:00 | 3.899 | 276.627 | 3.697 | 291.678 | 3.164 | 299.667 | 2.668 | 309.133 | -8.331 | 889.825 | 69.424 | 0.32118
2019-01-12 21:15:00 | 3.134 | 310.8 | 3.935 | 317.998 | 3.818 | 323.9 | 3.495 | 320.6 | -8.624 | 890.167 | 69.995 | 0.17196
2019-01-12 21:30:00 | 3.515 | 273.88 | 3.633 | 282.679 | 3.866 | 294.967 | 4.07 | 298.2 | -9.724 | 889.758 | 70.699 | 0.15704
2019-01-12 21:45:00 | 4.16 | 255.607 | 3.604 | 288.044 | 3.447 | 304.3 | 3.543 | 311.8 | -9.828 | 889.725 | 71.472 | 1.333
2019-01-12 22:00:00 | 3.693 | 244.447 | 2.65 | 286.566 | 2.497 | 314.467 | 2.484 | 316.2 | -9.974 | 889.692 | 71.104 | 0.57485
2019-01-12 22:15:00 | 3.224 | 242.933 | 2.226 | 274.91 | 2.124 | 302 | 2.114 | 316.6 | -9.241 | 889.867 | 72.181 | 0.30696
2019-01-12 22:30:00 | 3.036 | 242.333 | 2.196 | 261.035 | 2.461 | 278.067 | 2.878 | 281.9 | -8.991 | 889.633 | 70.544 | 0.11156
2019-01-12 22:45:00 | 2.938 | 246.627 | 2.39 | 284.864 | 2.791 | 299.533 | 3.22 | 299.267 | -8.908 | 889.567 | 66.779 | 0.49171
2019-01-12 23:00:00 | 3 | 260.493 | 2.712 | 303.643 | 3.144 | 319.667 | 3.466 | 322.267 | -10.078 | 889.992 | 70.688 | 0.68356
2019-01-12 23:15:00 | 3.052 | 261.247 | 3.168 | 298.525 | 3.516 | 313.1 | 3.871 | 313.733 | -9.787 | 888.983 | 71.109 | 2.2752
2019-01-12 23:30:00 | 3.662 | 260.1 | 3.354 | 294.775 | 3.484 | 309.433 | 3.807 | 308.5 | -10.183 | 890.05 | 70.843 | 4.0431
2019-01-12 23:45:00 | 3.781 | 260.033 | 3.456 | 289.058 | 3.628 | 301.833 | 3.678 | 301.433 | -10.483 | 889.817 | 72.517 | 4.2037