## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-13 00:00:00 | 4.016 | 257.613 | 3.452 | 282.324 | 3.496 | 296.1 | 3.932 | 294.067 | -10.76 | 889.692 | 74.384 | 3.911
2019-01-13 00:15:00 | 4.564 | 231.047 | 3.581 | 254.979 | 3.419 | 268.733 | 3.734 | 275.733 | -11.159 | 889.75 | 73.472 | 2.9233
2019-01-13 00:30:00 | 5.578 | 223.927 | 4.13 | 241.054 | 3.768 | 251.3 | 3.475 | 256.167 | -11.711 | 889.533 | 72.256 | 2.3051
2019-01-13 00:45:00 | 5.55 | 220.413 | 4.156 | 226.507 | 3.603 | 235.867 | 3.138 | 235.9 | -11.732 | 889.992 | 74.955 | 3.0625
2019-01-13 01:00:00 | 5.858 | 216.847 | 4.454 | 220.958 | 3.891 | 227.467 | 3.284 | 231.067 | -11.766 | 889.908 | 74.123 | 3.7575
2019-01-13 01:15:00 | 6.283 | 217.7 | 6.45 | 226.363 | 5.812 | 231.133 | 5.102 | 228.233 | -12.503 | 890.05 | 73.28 | 6.2885
2019-01-13 01:30:00 | 6.534 | 213.8 | 6.22 | 218.287 | 5.729 | 223.333 | 5.225 | 223.1 | -12.386 | 889.483 | 74.027 | 10.6756
2019-01-13 01:45:00 | 5.982 | 214.547 | 5.546 | 219.747 | 5.14 | 226.267 | 4.652 | 225.2 | -11.87 | 889.967 | 73.088 | 9.6339
2019-01-13 02:00:00 | 5.834 | 212.627 | 5.419 | 228.322 | 4.498 | 237.633 | 3.787 | 236.2 | -10.947 | 890.017 | 71.445 | 8.1545
2019-01-13 02:15:00 | 5.038 | 212.9 | 5.699 | 228.991 | 5.369 | 236.067 | 4.71 | 231 | -11.461 | 889.817 | 72.416 | 7.6258
2019-01-13 02:30:00 | 5.016 | 221.567 | 5.786 | 231.209 | 5.512 | 242.967 | 5.046 | 242.533 | -10.891 | 889.708 | 72.821 | 9.2509
2019-01-13 02:45:00 | 5.704 | 223.467 | 6.462 | 233.142 | 5.962 | 243.9 | 5.646 | 243.667 | -9.912 | 889.625 | 68 | 11.1218
2019-01-13 03:00:00 | 6.504 | 230.007 | 7.533 | 237.285 | 7.461 | 247.4 | 7.325 | 246 | -9.433 | 889.975 | 65.077 | 18.7689
2019-01-13 03:15:00 | 5.179 | 225.967 | 6.314 | 236.191 | 6.976 | 249.033 | 6.649 | 247.35 | -8.808 | 889.683 | 62.336 | 27.5409
2019-01-13 03:30:00 | 5.528 | 229.927 | 6.86 | 235.157 | 7.398 | 245.7 | 7.165 | 244.867 | -7.502 | 889.933 | 62.848 | 41.048
2019-01-13 03:45:00 | 5.24 | 239.547 | 6.526 | 245.316 | 6.596 | 255.633 | 6.693 | 255.517 | -7.23 | 890.083 | 61.109 | 33.0819
2019-01-13 04:00:00 | 5.44 | 243.707 | 7.076 | 252.096 | 7.741 | 259.367 | 8.086 | 255.667 | -6.928 | 890.158 | 60.032 | 30.4002
2019-01-13 04:15:00 | 5.252 | 241.173 | 5.877 | 245.743 | 6.384 | 252.5 | 6.599 | 248.983 | -5.786 | 889.7 | 57.099 | 32.9952
2019-01-13 04:30:00 | 4.243 | 223.2 | 4.576 | 228.526 | 5.289 | 240.233 | 5.507 | 240.533 | -5.535 | 889.825 | 55.285 | 25.8767
2019-01-13 04:45:00 | 4.98 | 218.26 | 6.019 | 226.141 | 6.588 | 234.767 | 6.472 | 232.467 | -5.763 | 889.908 | 55.264 | 21.857
2019-01-13 05:00:00 | 5.114 | 215.16 | 5.612 | 223.418 | 6.148 | 236.267 | 6.15 | 237.667 | -5.978 | 889.725 | 56.416 | 23.5595
2019-01-13 05:15:00 | 4.675 | 224.167 | 5.732 | 230.064 | 5.745 | 241.333 | 5.491 | 241.9 | -6.545 | 890.033 | 58.368 | 22.1604
2019-01-13 05:30:00 | 4.898 | 225.533 | 5.015 | 239.074 | 4.999 | 256.2 | 5.114 | 260.7 | -6.578 | 889.925 | 58.592 | 18.0861
2019-01-13 05:45:00 | 3.642 | 242.567 | 3.998 | 264.326 | 4.563 | 273.4 | 5.072 | 270.767 | -6.047 | 890.475 | 58.747 | 14.6931
2019-01-13 06:00:00 | 3.357 | 263.247 | 4.67 | 276.814 | 5.264 | 282.833 | 5.726 | 278.633 | -5.452 | 890.075 | 58.832 | 16.9037
2019-01-13 06:15:00 | 5.886 | 263.093 | 7.288 | 269.197 | 7.94 | 274.733 | 8.135 | 271.05 | -4.812 | 890.042 | 59.088 | 35.1951
2019-01-13 06:30:00 | 6.287 | 263.8 | 7.938 | 267.271 | 8.631 | 272.867 | 8.914 | 268.7 | -4.729 | 889.758 | 59.344 | 52.4512
2019-01-13 06:45:00 | 7.547 | 257.047 | 9.31 | 263.418 | 9.808 | 267.133 | 9.858 | 263.35 | -4.969 | 890.125 | 62.005 | 52.3908
2019-01-13 07:00:00 | 6.123 | 252.353 | 7.625 | 256.19 | 8.151 | 261.233 | 8.332 | 256.517 | -5.319 | 889.65 | 63.755 | 47.743
2019-01-13 07:15:00 | 6.42 | 247.733 | 7.255 | 248.264 | 7.535 | 252.233 | 7.674 | 247.85 | -5.598 | 889.825 | 64.021 | 45.5743
2019-01-13 07:30:00 | 6.146 | 242.607 | 7.661 | 244.119 | 8.293 | 251.3 | 8.249 | 246.817 | -5.918 | 889.85 | 64.821 | 44.6151
2019-01-13 07:45:00 | 5.673 | 238.473 | 7.656 | 240.352 | 8.234 | 246.4 | 8.155 | 242.333 | -6.017 | 890.167 | 65.387 | 44.7451
2019-01-13 08:00:00 | 6.779 | 243.287 | 8.218 | 242.063 | 8.661 | 247.967 | 8.583 | 243.9 | -6.339 | 889.8 | 67.2 | 43.9734
2019-01-13 08:15:00 | 5.6 | 232.54 | 6.329 | 234.942 | 6.627 | 242.633 | 6.76 | 240.367 | -6.084 | 890.258 | 65.237 | 42.4862
2019-01-13 08:30:00 | 4.64 | 233.867 | 5.867 | 236.166 | 6.326 | 245.767 | 6.432 | 243.767 | -6.495 | 890.017 | 67.893 | 32.6868
2019-01-13 08:45:00 | 4.127 | 234.573 | 6.066 | 239.528 | 6.973 | 248.933 | 6.685 | 246.233 | -6.515 | 889.725 | 69.397 | 31.5172
2019-01-13 09:00:00 | 4.774 | 237.02 | 6.4 | 242.184 | 7.013 | 249.7 | 7.176 | 246.35 | -6.372 | 889.842 | 70.251 | 30.9637
2019-01-13 09:15:00 | 6.47 | 244.507 | 8.332 | 246.194 | 8.849 | 250.833 | 8.727 | 246 | -5.868 | 889.975 | 70.421 | 42.585
2019-01-13 09:30:00 | 6.422 | 244.907 | 7.959 | 246.428 | 8.673 | 253.767 | 8.88 | 251.233 | -5.369 | 889.833 | 69.312 | 60.7243
2019-01-13 09:45:00 | 6.987 | 248.133 | 8.555 | 248.859 | 8.728 | 254.7 | 8.821 | 251.9 | -5.035 | 890.175 | 67.605 | 50.2634
2019-01-13 10:00:00 | 6.486 | 244.68 | 7.538 | 241.777 | 8.159 | 246.917 | 8.114 | 242.2 | -4.424 | 890.025 | 65.557 | 46.7347
2019-01-13 10:15:00 | 6.276 | 241.06 | 7.152 | 242.674 | 7.447 | 251.833 | 7.649 | 249.467 | -4.468 | 889.983 | 65.12 | 46.6061
2019-01-13 10:30:00 | 7.225 | 243.147 | 8.334 | 244.687 | 8.856 | 249.8 | 8.914 | 246.55 | -4.345 | 890.017 | 65.973 | 43.788
2019-01-13 10:45:00 | 6.958 | 238.867 | 7.565 | 237.065 | 7.877 | 243.65 | 8.015 | 240.667 | -3.404 | 890.3 | 63.029 | 51.0997
2019-01-13 11:00:00 | 3.778 | 243.82 | 3.974 | 242.031 | 4.252 | 249.517 | 4.371 | 247.05 | -3.05 | 889.517 | 61.344 | 33.9772
2019-01-13 11:15:00 | 5.411 | 256.393 | 6.214 | 258.17 | 6.55 | 263.517 | 6.612 | 260.933 | -2.456 | 889.75 | 58.453 | 24.6531
2019-01-13 11:30:00 | 5.97 | 259.553 | 6.539 | 259.458 | 6.62 | 263.6 | 6.595 | 258.217 | -2.214 | 890.033 | 56.859 | 25.1718
2019-01-13 11:45:00 | 6.338 | 277.973 | 7.037 | 279.246 | 7.055 | 284.3 | 7.288 | 279.467 | -2.578 | 890.142 | 58.091 | 34.0973
2019-01-13 12:00:00 | 5.745 | 283.28 | 6.331 | 282.279 | 6.619 | 286.133 | 6.888 | 280.767 | -2.879 | 889.975 | 58.501 | 35.1766
2019-01-13 12:15:00 | 9.093 | 263.313 | 9.977 | 266.903 | 10.324 | 271.1 | 10.222 | 266.183 | -2.512 | 890.292 | 57.611 | 62.7906
2019-01-13 12:30:00 | 9.222 | 267.467 | 10.228 | 272.91 | 10.67 | 277.733 | 10.716 | 273.5 | -2.679 | 889.667 | 57.211 | 67.8129
2019-01-13 12:45:00 | 10.764 | 251.733 | 11.576 | 256.498 | 11.94 | 261.8 | 11.952 | 259.567 | -2.639 | 889.95 | 56.4 | 68.2258
2019-01-13 13:00:00 | 10.275 | 250.593 | 11.281 | 253.431 | 11.23 | 258.25 | 11.344 | 253.567 | -2.243 | 889.733 | 54.187 | 69.4479
2019-01-13 13:15:00 | 9.815 | 259.047 | 10.673 | 264.803 | 11.185 | 271.3 | 11.203 | 266.4 | -2.932 | 889.842 | 55.243 | 66.7336
2019-01-13 13:30:00 | 9.552 | 267.533 | 10.195 | 269.699 | 10.261 | 274.167 | 10.315 | 267.6 | -2.902 | 889.75 | 53.573 | 66.0919
2019-01-13 13:45:00 | 8.683 | 272 | 9.56 | 272.331 | 9.567 | 276.267 | 9.681 | 272.4 | -2.74 | 890.133 | 51.536 | 69.6839
2019-01-13 14:00:00 | 9.206 | 267.727 | 10.119 | 273.02 | 10.336 | 278.467 | 10.425 | 275.833 | -3.029 | 889.642 | 51.344 | 70.2736
2019-01-13 14:15:00 | 9.027 | 277.233 | 9.729 | 275.467 | 10.388 | 279.967 | 10.423 | 276.133 | -3.287 | 889.542 | 51.568 | 69.5254
2019-01-13 14:30:00 | 8.036 | 279.033 | 8.829 | 282.505 | 8.988 | 283.9 | 9.181 | 279.6 | -3.689 | 889.942 | 52.992 | 69.3222
2019-01-13 14:45:00 | 8.75 | 266.367 | 8.915 | 272.608 | 9.289 | 276.267 | 9.374 | 271.617 | -3.605 | 889.525 | 53.003 | 62.7125
2019-01-13 15:00:00 | 9.201 | 269.6 | 9.974 | 274.87 | 10.152 | 278.6 | 10.178 | 273.6 | -3.504 | 889.525 | 51.429 | 58.8832
2019-01-13 15:15:00 | 8.194 | 261.167 | 9.038 | 269.044 | 9.351 | 273.867 | 9.465 | 270.7 | -2.938 | 889.917 | 50.405 | 56.262
2019-01-13 15:30:00 | 9.034 | 261.22 | 9.561 | 264.438 | 9.784 | 270.167 | 9.74 | 267.767 | -2.821 | 889.658 | 49.397 | 51.9531
2019-01-13 15:45:00 | 9.134 | 255.22 | 10.041 | 265.532 | 10.204 | 270.5 | 10.46 | 265.383 | -2.801 | 889.992 | 49.269 | 54.87
2019-01-13 16:00:00 | 9.263 | 271.673 | 9.91 | 275.618 | 10.091 | 279.8 | 10.189 | 276.233 | -2.626 | 890.083 | 49.568 | 52.5826
2019-01-13 16:15:00 | 9.232 | 264.487 | 10.183 | 267.236 | 10.239 | 273.067 | 10.263 | 268.833 | -2.304 | 889.575 | 49.013 | 56.9768
2019-01-13 16:30:00 | 8.969 | 270.707 | 9.814 | 276.894 | 10.077 | 281.833 | 9.981 | 278.6 | -2.821 | 889.85 | 49.253 | 57.5111
2019-01-13 16:45:00 | 7.559 | 275.053 | 8.256 | 276.327 | 8.428 | 281.333 | 8.545 | 275.633 | -2.582 | 889.692 | 49.68 | 46.4078
2019-01-13 17:00:00 | 7.26 | 270.68 | 7.99 | 273.839 | 8.306 | 278.667 | 8.45 | 274.633 | -2.618 | 889.7 | 49.808 | 38.8445
2019-01-13 17:15:00 | 6.214 | 263.527 | 6.806 | 262.619 | 6.919 | 269.6 | 6.881 | 266.683 | -2.929 | 889.883 | 50.848 | 39.4094
2019-01-13 17:30:00 | 7.366 | 248.473 | 8.001 | 253.769 | 8.5 | 258.15 | 8.492 | 253.667 | -3.034 | 890.017 | 50.837 | 41.5987
2019-01-13 17:45:00 | 6.458 | 249.733 | 7.142 | 253.69 | 7.588 | 256.167 | 7.509 | 252.083 | -3.505 | 889.533 | 51.707 | 46.8619
2019-01-13 18:00:00 | 7.057 | 244.013 | 7.917 | 250.474 | 8.309 | 253.1 | 8.334 | 248.8 | -3.728 | 890.167 | 52.395 | 50.5767
2019-01-13 18:15:00 | 7.678 | 238.487 | 8.462 | 243.441 | 8.962 | 248.567 | 8.984 | 244.6 | -4.364 | 890.283 | 53.685 | 61.0512
2019-01-13 18:30:00 | 5.816 | 247.767 | 7.351 | 253.498 | 8.042 | 258.617 | 8.19 | 254.85 | -4.802 | 889.925 | 54.619 | 51.9957
2019-01-13 18:45:00 | 5.608 | 245.907 | 6.788 | 248.765 | 7.293 | 253.183 | 7.442 | 250.2 | -5.302 | 889.908 | 56.395 | 45.9687
2019-01-13 19:00:00 | 6.211 | 236.093 | 7.667 | 237.114 | 8.149 | 244.433 | 8.387 | 240.167 | -5.598 | 889.992 | 57.141 | 62.3004
2019-01-13 19:15:00 | 6.855 | 240.62 | 8.34 | 244.736 | 8.842 | 248.533 | 9.016 | 243.133 | -5.958 | 890.183 | 58.411 | 46.7077
2019-01-13 19:30:00 | 5.266 | 218.467 | 6.877 | 222.798 | 7.519 | 231.533 | 7.584 | 228.867 | -6.362 | 890.05 | 59.2 | 38.4999
2019-01-13 19:45:00 | 6.641 | 220.96 | 8.737 | 220.572 | 8.866 | 227.333 | 8.568 | 225.5 | -7.502 | 889.742 | 62.293 | 49.3147
2019-01-13 20:00:00 | 5.902 | 228.9 | 7.524 | 230.154 | 7.933 | 237.267 | 7.906 | 234.333 | -7.456 | 889.85 | 63.456 | 41.2178
2019-01-13 20:15:00 | 5.18 | 214.007 | 7.089 | 214.291 | 7.343 | 221.9 | 7.195 | 221.367 | -8.371 | 889.825 | 64.853 | 31.859
2019-01-13 20:30:00 | 5.851 | 221.78 | 7.178 | 225.889 | 7.344 | 234.2 | 7.176 | 232.9 | -8.317 | 890.15 | 66.411 | 31.466
2019-01-13 20:45:00 | 5.628 | 225.533 | 6.721 | 234.53 | 6.8 | 244 | 6.602 | 243.267 | -8.624 | 889.942 | 66.219 | 27.7945
2019-01-13 21:00:00 | 6.01 | 210.593 | 7.673 | 214.433 | 7.531 | 226.067 | 7.123 | 228.433 | -9.508 | 890.058 | 67.328 | 28.6643
2019-01-13 21:15:00 | 5.6 | 221.06 | 7.194 | 224.072 | 7.131 | 232.8 | 6.674 | 231.267 | -9.766 | 890.067 | 68.533 | 31.7737
2019-01-13 21:30:00 | 6.157 | 226.3 | 7.331 | 228.823 | 7.52 | 236.133 | 7.235 | 232.867 | -9.174 | 889.867 | 67.36 | 30.5153
2019-01-13 21:45:00 | 6.07 | 228.833 | 7.782 | 233.22 | 7.796 | 242.3 | 7.506 | 238.7 | -9.391 | 889.833 | 66.443 | 33.0925
2019-01-13 22:00:00 | 4.555 | 212.833 | 6.533 | 223.702 | 6.737 | 235.233 | 6.421 | 234.6 | -9.291 | 889.858 | 66.549 | 29.9866
2019-01-13 22:15:00 | 5.49 | 222.88 | 6.567 | 227.836 | 6.712 | 237.267 | 6.432 | 235.5 | -9.683 | 890.175 | 68.469 | 24.6055
2019-01-13 22:30:00 | 4.699 | 212.333 | 5.969 | 219.281 | 5.988 | 228.533 | 5.739 | 227.033 | -9.874 | 889.458 | 69.12 | 16.1476
2019-01-13 22:45:00 | 5.633 | 211.867 | 6.959 | 215.625 | 6.583 | 225.1 | 6.185 | 224.533 | -10.433 | 889.817 | 69.856 | 17.4572
2019-01-13 23:00:00 | 6.164 | 214.867 | 7.264 | 216.98 | 7.031 | 222.7 | 6.708 | 220.733 | -10.266 | 889.908 | 69.376 | 18.7526
2019-01-13 23:15:00 | 5.999 | 216.407 | 7.066 | 218.236 | 6.555 | 223.567 | 5.821 | 221.6 | -10.818 | 890.025 | 70.677 | 14.8992
2019-01-13 23:30:00 | 5.68 | 212.873 | 6.744 | 216.805 | 5.866 | 221.833 | 5.507 | 220.467 | -10.928 | 889.633 | 71.296 | 12.5465
2019-01-13 23:45:00 | 5.788 | 216.233 | 6.52 | 220.236 | 5.67 | 226.833 | 5.293 | 227.433 | -11.095 | 889.825 | 71.221 | 11.2341