## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-14 00:00:00 | 5.325 | 217.567 | 6.45 | 219.499 | 5.705 | 226.433 | 5.153 | 226.767 | -11.195 | 889.442 | 71.147 | 10.0176
2019-01-14 00:15:00 | 6.139 | 217.927 | 6.143 | 222.958 | 5.579 | 234.333 | 5.038 | 234.2 | -11.59 | 889.6 | 71.765 | 10.2457
2019-01-14 00:30:00 | 6.276 | 216.033 | 6.799 | 218.756 | 5.989 | 225.833 | 5.223 | 226.3 | -11.445 | 889.983 | 71.84 | 10.6486
2019-01-14 00:45:00 | 6.738 | 218.187 | 7.366 | 218.718 | 6.93 | 225.333 | 6.101 | 223.2 | -11.807 | 889.85 | 71.883 | 15.312
2019-01-14 01:00:00 | 6.05 | 218.033 | 6.936 | 215.918 | 6.212 | 219.633 | 5.395 | 219.333 | -11.578 | 889.708 | 71.435 | 12.0874
2019-01-14 01:15:00 | 5.982 | 218.933 | 6.336 | 221.02 | 5.503 | 227.733 | 5.049 | 226.967 | -11.328 | 890.025 | 70.368 | 10.2215
2019-01-14 01:30:00 | 6 | 217.927 | 6.283 | 220.1 | 5.379 | 225.8 | 4.658 | 227.567 | -11.849 | 889.725 | 70.699 | 7.5427
2019-01-14 01:45:00 | 5.311 | 213.007 | 5.583 | 213.511 | 4.959 | 221.033 | 4.184 | 218.767 | -12.14 | 889.883 | 71.04 | 4.7018
2019-01-14 02:00:00 | 5.25 | 215.007 | 5.426 | 215.221 | 4.03 | 221.233 | 3.266 | 222.7 | -12.24 | 890.05 | 71.243 | 2.9425
2019-01-14 02:15:00 | 5.196 | 217.4 | 5.655 | 213.022 | 4.92 | 216.067 | 4.065 | 212.6 | -12.62 | 889.842 | 71.723 | 2.3953
2019-01-14 02:30:00 | 6.408 | 219.033 | 5.879 | 214.744 | 5.238 | 217.6 | 4.14 | 212.1 | -12.236 | 889.858 | 71.104 | 2.914
2019-01-14 02:45:00 | 6.193 | 220.233 | 5.504 | 216.923 | 4.752 | 218.267 | 3.798 | 216.567 | -12.099 | 889.683 | 70.005 | 3.8051
2019-01-14 03:00:00 | 5.142 | 212.3 | 5.981 | 215.938 | 4.694 | 219.367 | 3.051 | 213.833 | -12.486 | 890.05 | 69.141 | 2.4948
2019-01-14 03:15:00 | 5.488 | 214.833 | 5.471 | 216.981 | 4.537 | 221.367 | 3.078 | 219.833 | -13.02 | 889.592 | 71.221 | 2.7563
2019-01-14 03:30:00 | 4.802 | 206.933 | 5.772 | 211.381 | 4.956 | 212.633 | 4.172 | 210.5 | -13.18 | 889.808 | 71.403 | 1.9185
2019-01-14 03:45:00 | 5.309 | 206.733 | 4.951 | 204.516 | 4.679 | 210.467 | 4.15 | 208.133 | -13.297 | 890.067 | 73.173 | 1.6229
2019-01-14 04:00:00 | 4.566 | 211.833 | 4.862 | 204.628 | 4.363 | 207.067 | 3.951 | 206.8 | -13.136 | 890.142 | 71.915 | 1.1746
2019-01-14 04:15:00 | 4.562 | 217.46 | 4.637 | 202.804 | 4.227 | 207.733 | 3.578 | 206.1 | -13.284 | 889.617 | 72.949 | 0.99835
2019-01-14 04:30:00 | 5.632 | 217.413 | 4.632 | 204.793 | 4.071 | 207 | 3.384 | 203 | -13.466 | 889.792 | 73.376 | 0.62175
2019-01-14 04:45:00 | 5.306 | 218.147 | 3.716 | 204.626 | 3.218 | 207 | 2.744 | 204 | -13.653 | 890.05 | 73.067 | 0.083136
2019-01-14 05:00:00 | 4.583 | 215.3 | 4.179 | 203.349 | 3.338 | 206.033 | 2.572 | 199.967 | -14.116 | 889.808 | 74.069 | 0.2217
2019-01-14 05:15:00 | 5.87 | 217 | 4.514 | 200.548 | 3.133 | 200 | 2.704 | 196.067 | -14.099 | 890.108 | 74.933 | 0.30341
2019-01-14 05:30:00 | 6.088 | 218.907 | 3.893 | 199.018 | 2.985 | 199.967 | 2.311 | 193 | -13.616 | 889.783 | 73.909 | 0.30128
2019-01-14 05:45:00 | 6.596 | 216.733 | 3.756 | 203.261 | 2.47 | 202.767 | 1.871 | 192.733 | -13.02 | 889.733 | 73.067 | 0.31976
2019-01-14 06:00:00 | 6.246 | 214.133 | 3.474 | 196.982 | 2.533 | 198.033 | 1.593 | 193 | -13.07 | 889.658 | 70.912 | 0.30412
2019-01-14 06:15:00 | 6.89 | 217.7 | 3.912 | 200.48 | 2.742 | 199.033 | 2.022 | 191.8 | -13.766 | 889.733 | 71.595 | 0.29844
2019-01-14 06:30:00 | 6.383 | 213.4 | 4.162 | 191.309 | 2.973 | 194.8 | 2.24 | 175.3 | -13.899 | 889.967 | 71.808 | 0.2956
2019-01-14 06:45:00 | 5.555 | 213.467 | 5.03 | 186.928 | 3.91 | 181.067 | 3.085 | 174.267 | -14.183 | 890.067 | 72.128 | 0.1208
2019-01-14 07:00:00 | 6.016 | 216.687 | 4.941 | 188.076 | 3.562 | 176.8 | 2.493 | 165.033 | -14.391 | 889.625 | 72.139 | 0.13501
2019-01-14 07:15:00 | 5.946 | 215.567 | 4.842 | 194.319 | 4.346 | 192.267 | 3.77 | 175.067 | -14.199 | 889.992 | 71.915 | 0.66012
2019-01-14 07:30:00 | 5.351 | 213.733 | 5.329 | 191.037 | 4.567 | 183.167 | 3.846 | 170.5 | -14.249 | 889.525 | 71.637 | 1.154
2019-01-14 07:45:00 | 5.281 | 213.553 | 4.996 | 190.512 | 4.042 | 177.4 | 3.26 | 169.233 | -14.254 | 889.983 | 71.573 | 1.7544
2019-01-14 08:00:00 | 5.284 | 212.107 | 4.178 | 181.111 | 3.122 | 176.167 | 2.482 | 159.9 | -14.308 | 889.7 | 71.893 | 2.6525
2019-01-14 08:15:00 | 5.541 | 211.98 | 4.573 | 180.115 | 3.454 | 176.3 | 2.832 | 160.233 | -14.87 | 890.267 | 71.573 | 2.8451
2019-01-14 08:30:00 | 5.058 | 209.213 | 3.7 | 171.433 | 3.107 | 160.267 | 3.068 | 147.933 | -13.747 | 889.908 | 70.613 | 2.8245
2019-01-14 08:45:00 | 4.937 | 205.067 | 3.62 | 170.203 | 2.926 | 159.6 | 3.088 | 145.333 | -13.203 | 890.208 | 69.685 | 2.8536
2019-01-14 09:00:00 | 4.607 | 204.107 | 4.112 | 173.438 | 3.235 | 163.867 | 3.112 | 146.9 | -13.632 | 890.217 | 69.003 | 3.6431
2019-01-14 09:15:00 | 5.301 | 201.4 | 4.395 | 165.651 | 3.697 | 154.733 | 3.4 | 141.567 | -14.049 | 889.7 | 68.811 | 3.9579
2019-01-14 09:30:00 | 4.881 | 201.2 | 4.133 | 161.522 | 3.455 | 151.3 | 3.189 | 138.633 | -12.753 | 889.9 | 67.264 | 5.1829
2019-01-14 09:45:00 | 4.738 | 205.067 | 5.322 | 171.352 | 4.154 | 162.467 | 4.048 | 148.267 | -12.853 | 889.8 | 65.515 | 7.9484
2019-01-14 10:00:00 | 4.235 | 205.7 | 5.019 | 178.924 | 4.186 | 172.767 | 3.774 | 154.467 | -12.336 | 889.925 | 65.696 | 9.1954
2019-01-14 10:15:00 | 4.134 | 201.633 | 4.93 | 175.711 | 4.02 | 167.567 | 3.812 | 153.767 | -10.414 | 889.675 | 64.597 | 9.2644
2019-01-14 10:30:00 | 4.615 | 198.853 | 4.798 | 175.517 | 3.911 | 170.6 | 3.662 | 155.567 | -9.828 | 889.592 | 62.507 | 11.902
2019-01-14 10:45:00 | 3.63 | 189.033 | 4.188 | 163.312 | 3.955 | 160.933 | 3.816 | 149.067 | -8.207 | 889.933 | 59.499 | 13.3729
2019-01-14 11:00:00 | 4.122 | 158.133 | 4.642 | 144.868 | 4.42 | 144.233 | 4.352 | 136 | -7.422 | 889.975 | 47.915 | 19.6607
2019-01-14 11:15:00 | 4.149 | 152.66 | 4.253 | 146.502 | 4.677 | 149.1 | 5.09 | 144.5 | -6.175 | 889.783 | 40.784 | 20.3144
2019-01-14 11:30:00 | 3.933 | 130.72 | 3.976 | 125.427 | 4.236 | 129.567 | 4.39 | 125.033 | -5.664 | 889.883 | 39.056 | 18.4172
2019-01-14 11:45:00 | 7.312 | 120.657 | 8.091 | 115.408 | 8.264 | 121.633 | 8.274 | 119.5 | -5.713 | 889.5 | 36.448 | 40.1598
2019-01-14 12:00:00 | 7.196 | 120.953 | 7.804 | 114.962 | 7.996 | 120.033 | 8.139 | 116.533 | -5.978 | 889.383 | 37.232 | 46.0724
2019-01-14 12:15:00 | 6.41 | 118.09 | 6.878 | 109.526 | 7.157 | 115.7 | 7.238 | 111 | -5.385 | 889.817 | 35.44 | 40.3488
2019-01-14 12:30:00 | 6.884 | 115.55 | 6.985 | 104.107 | 6.925 | 110.533 | 7.15 | 106.467 | -5.602 | 890.083 | 36.331 | 42.1402
2019-01-14 12:45:00 | 6.271 | 107.207 | 5.971 | 99.394 | 5.852 | 100.5 | 5.922 | 95.867 | -5.372 | 889.533 | 34.805 | 35.2008
2019-01-14 13:00:00 | 7.041 | 89.2 | 6.923 | 86.356 | 6.348 | 91.733 | 6.588 | 86.867 | -5.302 | 889.417 | 33.424 | 31.0383
2019-01-14 13:15:00 | 5.458 | 90.3 | 5.247 | 83.746 | 5.263 | 88.333 | 5.67 | 82.4 | -4.985 | 889.9 | 33.173 | 21.2417
2019-01-14 13:30:00 | 5.532 | 91.967 | 5.373 | 84.994 | 5.244 | 87.7 | 5.176 | 83.167 | -4.919 | 889.8 | 32.453 | 13.235
2019-01-14 13:45:00 | 4.971 | 78.83 | 5.049 | 73.385 | 5.199 | 77.8 | 5.004 | 75.733 | -4.885 | 889.683 | 32.949 | 8.9517
2019-01-14 14:00:00 | 5.269 | 74.46 | 5.176 | 70.892 | 5.168 | 76.5 | 5.166 | 73.733 | -5.319 | 889.583 | 37.792 | 11.4643
2019-01-14 14:15:00 | 4.908 | 61.173 | 4.691 | 57.662 | 4.789 | 62.533 | 4.865 | 64.533 | -5.722 | 889.417 | 42.048 | 10.3075
2019-01-14 14:30:00 | 4.746 | 84.213 | 4.931 | 79.916 | 4.914 | 84.033 | 5.122 | 81.533 | -5.815 | 889.333 | 41.653 | 11.4046
2019-01-14 14:45:00 | 6.19 | 95.7 | 6.12 | 89.54 | 5.828 | 95.567 | 5.739 | 93.067 | -5.235 | 889.8 | 36.464 | 24.9672
2019-01-14 15:00:00 | 6.915 | 88.7 | 6.604 | 85.766 | 6.394 | 89.433 | 6.648 | 84.667 | -4.985 | 889.667 | 33.36 | 40.1548
2019-01-14 15:15:00 | 6.889 | 94.037 | 6.488 | 85.518 | 6.319 | 89.267 | 6.828 | 85.367 | -4.44 | 890.183 | 32.843 | 40.5229
2019-01-14 15:30:00 | 7.267 | 79.28 | 7.672 | 72.703 | 7.957 | 77.033 | 7.935 | 74.467 | -4.633 | 889.917 | 33.008 | 38.3635
2019-01-14 15:45:00 | 6.84 | 78.628 | 7.123 | 74.775 | 7.205 | 80.567 | 7.417 | 75.967 | -5.135 | 889.633 | 37.008 | 35.2995
2019-01-14 16:00:00 | 5.904 | 89.243 | 5.67 | 84.041 | 5.447 | 88.367 | 5.481 | 83.1 | -5.611 | 889.775 | 40.741 | 22.9058
2019-01-14 16:15:00 | 5.537 | 82.747 | 5.468 | 78.163 | 5.436 | 82.7 | 5.542 | 79.367 | -5.829 | 889.775 | 45.28 | 13.6457
2019-01-14 16:30:00 | 4.579 | 81.92 | 4.746 | 77.997 | 4.814 | 84.567 | 4.721 | 81.767 | -6.116 | 889.908 | 48.832 | 8.627
2019-01-14 16:45:00 | 3.952 | 89.6 | 4.043 | 82.569 | 3.903 | 87.967 | 3.932 | 82.6 | -6.014 | 889.6 | 51.147 | 6.7923
2019-01-14 17:00:00 | 3.442 | 89.457 | 2.96 | 87.345 | 2.716 | 90.967 | 3.038 | 84.8 | -6.336 | 889.825 | 51.157 | 4.0261
2019-01-14 17:15:00 | 3.498 | 91.037 | 3.306 | 86.465 | 3.159 | 93.7 | 3.037 | 87.3 | -6.084 | 889.55 | 51.829 | 5.46
2019-01-14 17:30:00 | 3.304 | 77.977 | 3.318 | 74.984 | 3.036 | 83.767 | 2.905 | 84.1 | -6.952 | 890.417 | 63.467 | 4.5483
2019-01-14 17:45:00 | 3.248 | 86.507 | 3.018 | 85.535 | 2.709 | 96.5 | 2.748 | 96.2 | -7.264 | 889.892 | 65.781 | 5.8394
2019-01-14 18:00:00 | 3.862 | 74.6 | 4.419 | 73.9 | 4.655 | 81.967 | 4.651 | 80.867 | -7.522 | 890.083 | 65.227 | 7.9797
2019-01-14 18:15:00 | 3.057 | 75.7 | 3.8 | 74.383 | 3.921 | 83.2 | 3.692 | 82.267 | -7.606 | 890.225 | 63.52 | 5.4849
2019-01-14 18:30:00 | 3.452 | 76.033 | 4.284 | 74.62 | 4.446 | 81.267 | 4.716 | 78.233 | -8.19 | 889.917 | 64.96 | 9.9152
2019-01-14 18:45:00 | 3.661 | 71.1 | 4.132 | 71.423 | 4.539 | 79.167 | 4.8 | 79.833 | -8.624 | 890.108 | 68.629 | 9.3312
2019-01-14 19:00:00 | 3.229 | 68.117 | 3.527 | 69.462 | 3.644 | 79.567 | 3.737 | 82.833 | -9.52 | 889.708 | 73.035 | 9.3404
2019-01-14 19:15:00 | 2.896 | 82.56 | 3.8 | 81.636 | 3.263 | 93.133 | 3.172 | 96 | -9.966 | 889.825 | 74.976 | 12.9558
2019-01-14 19:30:00 | 2.777 | 82.667 | 3.828 | 83.108 | 3.322 | 98.733 | 3.548 | 97.8 | -10.366 | 889.758 | 74.581 | 15.366
2019-01-14 19:45:00 | 3.393 | 72.533 | 4.424 | 71.923 | 4.7 | 84.067 | 4.437 | 85.867 | -10.383 | 889.458 | 74.624 | 17.2369
2019-01-14 20:00:00 | 2.446 | 64.172 | 3.951 | 61.954 | 4.222 | 77.033 | 4.38 | 79.1 | -10.741 | 889.233 | 75.211 | 14.3563
2019-01-14 20:15:00 | 3.446 | 68.39 | 4.255 | 73.458 | 3.941 | 83.833 | 3.252 | 89.367 | -10.872 | 890.175 | 75.2 | 12.1088
2019-01-14 20:30:00 | 2.41 | 62.157 | 4.136 | 63.699 | 4.53 | 72.7 | 4.696 | 75.367 | -11.628 | 889.933 | 73.515 | 11.9382
2019-01-14 20:45:00 | 3.834 | 69.56 | 4.715 | 69.471 | 4.849 | 77.6 | 5.662 | 75.733 | -11.895 | 889.958 | 76.32 | 19.2677
2019-01-14 21:00:00 | 5.602 | 81.433 | 6.737 | 75.729 | 7.08 | 83.367 | 6.754 | 82.233 | -11.578 | 890.033 | 75.381 | 30.5771
2019-01-14 21:15:00 | 5.485 | 85.77 | 6.129 | 82.475 | 5.544 | 88.633 | 4.754 | 91.467 | -11.305 | 890.142 | 72.437 | 35.2064
2019-01-14 21:30:00 | 4.53 | 90.133 | 5.442 | 88.685 | 3.822 | 99.633 | 3.919 | 95.8 | -11.261 | 889.992 | 71.936 | 30.1977
2019-01-14 21:45:00 | 3.614 | 95.7 | 4.775 | 82.722 | 4.613 | 90.133 | 4.113 | 88.967 | -11.445 | 890.192 | 70.347 | 29.3372
2019-01-14 22:00:00 | 3.413 | 91.133 | 4.658 | 81.995 | 4.68 | 89 | 4.45 | 89.167 | -11.561 | 889.558 | 69.557 | 31.93
2019-01-14 22:15:00 | 4.323 | 88.387 | 5.919 | 83.27 | 5.624 | 94.833 | 5.535 | 93.2 | -10.554 | 889.992 | 61.771 | 52.945
2019-01-14 22:30:00 | 6.12 | 81.093 | 7.036 | 80.275 | 6.961 | 85.933 | 6.696 | 87.867 | -9.52 | 890.083 | 52.363 | 71.5377
2019-01-14 22:45:00 | 7.627 | 79.063 | 8.921 | 77.716 | 9.673 | 84.833 | 9.214 | 83.8 | -9.008 | 889.675 | 50.709 | 63.4287
2019-01-14 23:00:00 | 9.599 | 82.467 | 11.061 | 78.376 | 12.08 | 85.5 | 12.257 | 82.8 | -8.841 | 889.783 | 48.043 | 58.4512
2019-01-14 23:15:00 | 8.801 | 84.033 | 10.458 | 80.152 | 10.59 | 88.533 | 9.906 | 86.733 | -8.674 | 889.658 | 48.256 | 54.7591
2019-01-14 23:30:00 | 7.767 | 93.2 | 8.171 | 90.629 | 6.969 | 95.8 | 6.92 | 94.8 | -8.574 | 889.375 | 48.864 | 52.0717
2019-01-14 23:45:00 | 7.162 | 90.433 | 8.422 | 87.879 | 8.284 | 90.767 | 7.897 | 86.933 | -8.924 | 889.9 | 48.373 | 48.1516