## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-15 00:00:00 | 7.474 | 90.3 | 8.757 | 85.407 | 8.795 | 89.733 | 8.478 | 87.067 | -9.158 | 889.792 | 49.792 | 42.8649
2019-01-15 00:15:00 | 7.694 | 91.133 | 9.346 | 86.926 | 8.36 | 96.433 | 7.53 | 91.367 | -9.191 | 889.983 | 51.424 | 45.7342
2019-01-15 00:30:00 | 7.094 | 92.133 | 7.954 | 89.695 | 6.702 | 96.1 | 6.666 | 96.167 | -9.158 | 889.758 | 51.339 | 25.4205
2019-01-15 00:45:00 | 7.503 | 109.64 | 9.401 | 103.608 | 11.036 | 107.933 | 11.728 | 104.033 | -9.474 | 889.825 | 51.189 | 19.2386
2019-01-15 01:00:00 | 4.796 | 79.887 | 6.311 | 83.084 | 6.508 | 92.067 | 5.27 | 90.433 | -9.899 | 890.242 | 52.939 | 15.2118
2019-01-15 01:15:00 | 4.833 | 78.02 | 6.617 | 75.203 | 7.584 | 82.267 | 7.839 | 79.9 | -10.928 | 889.867 | 56.256 | 17.0884
2019-01-15 01:30:00 | 5.641 | 81.033 | 7.073 | 77.64 | 6.77 | 87.5 | 5.96 | 86.7 | -10.399 | 889.55 | 57.323 | 17.0095
2019-01-15 01:45:00 | 5.1 | 71.567 | 5.981 | 70.937 | 6.456 | 79.767 | 7.091 | 77.533 | -10.483 | 889.883 | 57.227 | 18.3973
2019-01-15 02:00:00 | 4.427 | 72.4 | 5.336 | 71.856 | 5.537 | 80.967 | 5.965 | 79.967 | -10.316 | 889.75 | 56.576 | 19.2343
2019-01-15 02:15:00 | 4.201 | 70.87 | 5.022 | 71.269 | 5.417 | 81.1 | 5.914 | 80.033 | -10.834 | 889.742 | 56.16 | 16.4198
2019-01-15 02:30:00 | 4.993 | 75.08 | 5.46 | 71.314 | 5.823 | 79 | 6.362 | 77.5 | -11.14 | 889.55 | 57.717 | 15.6758
2019-01-15 02:45:00 | 5.903 | 90.7 | 5.57 | 90.507 | 4.358 | 97.633 | 4.36 | 91.267 | -11.078 | 889.7 | 54.955 | 27.7299
2019-01-15 03:00:00 | 6.335 | 95.377 | 5.686 | 94.856 | 5.417 | 97.8 | 6.269 | 95.833 | -10.468 | 889.475 | 51.989 | 35.8964
2019-01-15 03:15:00 | 5.808 | 99.033 | 5.619 | 95.783 | 5.401 | 103.8 | 5.712 | 100.433 | -10.349 | 890.025 | 50.485 | 40.7872
2019-01-15 03:30:00 | 7.05 | 91.367 | 6.679 | 87.19 | 5.889 | 95.067 | 5.538 | 92.4 | -10.383 | 890 | 50.443 | 36.3817
2019-01-15 03:45:00 | 7.008 | 94.293 | 6.665 | 91.844 | 5.592 | 99.1 | 5.66 | 97.467 | -10.816 | 890.058 | 50.507 | 48.7562
2019-01-15 04:00:00 | 7.59 | 93.26 | 7.173 | 89.683 | 5.804 | 97.333 | 5.855 | 92.967 | -10.816 | 889.75 | 50.997 | 64.1976
2019-01-15 04:15:00 | 7.672 | 104.103 | 8.696 | 102.326 | 9.36 | 106.033 | 9.85 | 103.633 | -10.63 | 889.725 | 51.083 | 63.7037
2019-01-15 04:30:00 | 7.217 | 105.047 | 7.961 | 100.545 | 7.521 | 104 | 7.808 | 101.133 | -10.666 | 889.642 | 51.509 | 45.5054
2019-01-15 04:45:00 | 7.409 | 102.623 | 7.527 | 95.722 | 6.56 | 102.133 | 7.598 | 95.1 | -10.855 | 889.883 | 52.267 | 46.3751
2019-01-15 05:00:00 | 7.695 | 106.063 | 9.195 | 102.01 | 9.618 | 106.767 | 10.144 | 101.467 | -10.76 | 890.258 | 52.747 | 46.2657
2019-01-15 05:15:00 | 6.17 | 113.88 | 7.978 | 103.437 | 8.313 | 107.5 | 8.785 | 101.167 | -11.074 | 889.717 | 54.4 | 47.3273
2019-01-15 05:30:00 | 5.856 | 99.9 | 6.174 | 95.582 | 6.151 | 100.633 | 6.404 | 96.767 | -11.461 | 890.017 | 54.56 | 50.7394
2019-01-15 05:45:00 | 6.044 | 91.987 | 6.065 | 87.581 | 5.544 | 95.467 | 5.684 | 96.267 | -11.674 | 889.9 | 54.293 | 50.0658
2019-01-15 06:00:00 | 6.638 | 101.033 | 6.453 | 95.807 | 5.929 | 100.467 | 6.175 | 95.767 | -11.428 | 889.708 | 54.411 | 47.8105
2019-01-15 06:15:00 | 6.615 | 103.6 | 6.66 | 99.697 | 6.419 | 102.3 | 7.042 | 101.8 | -11.495 | 889.883 | 53.632 | 47.8695
2019-01-15 06:30:00 | 6.442 | 99.933 | 6.498 | 97.126 | 5.744 | 100.733 | 6.84 | 98.367 | -11.578 | 890.258 | 53.227 | 49.6572
2019-01-15 06:45:00 | 5.976 | 100.8 | 6.47 | 93.423 | 5.598 | 98.067 | 5.614 | 97.2 | -11.511 | 889.692 | 51.872 | 48.5743
2019-01-15 07:00:00 | 5.95 | 104.267 | 6.261 | 97.472 | 5.735 | 100.833 | 6.178 | 96.367 | -11.511 | 890.075 | 50.485 | 45.5338
2019-01-15 07:15:00 | 5.666 | 99.367 | 5.38 | 91.636 | 4.508 | 99.467 | 4.685 | 92.333 | -11.295 | 889.942 | 49.536 | 43.6842
2019-01-15 07:30:00 | 5.053 | 95.547 | 5.303 | 91.311 | 4.547 | 98 | 4.91 | 90.033 | -11.849 | 889.942 | 49.749 | 37.2053
2019-01-15 07:45:00 | 5.366 | 92.273 | 5.769 | 87.368 | 5.599 | 95.8 | 5.849 | 90.7 | -11.87 | 889.733 | 49.259 | 42.8394
2019-01-15 08:00:00 | 5.883 | 92.5 | 5.86 | 87.732 | 5.737 | 92.933 | 5.889 | 89.067 | -11.278 | 890.008 | 47.232 | 40.9762
2019-01-15 08:15:00 | 5.322 | 87.833 | 5.669 | 83.697 | 5.315 | 90.967 | 5.224 | 87 | -11.445 | 889.342 | 47.264 | 39.6951
2019-01-15 08:30:00 | 5.919 | 87.167 | 6.444 | 83.281 | 5.995 | 91 | 5.516 | 87.967 | -11.378 | 889.833 | 47.328 | 44.0352
2019-01-15 08:45:00 | 6.222 | 91.833 | 6.4 | 85.272 | 5.82 | 93.8 | 6.197 | 88.5 | -11.261 | 890.258 | 46.976 | 45.6703
2019-01-15 09:00:00 | 5.862 | 92.667 | 6.009 | 90.178 | 5.154 | 98 | 5.048 | 92.867 | -11.545 | 889.583 | 46.965 | 45.413
2019-01-15 09:15:00 | 5.748 | 102.733 | 6.149 | 100.092 | 6.315 | 103.6 | 7.453 | 100.6 | -11.511 | 889.917 | 46.357 | 50.6108
2019-01-15 09:30:00 | 6.022 | 93.633 | 5.738 | 88.906 | 4.774 | 97.1 | 5.189 | 93.2 | -11.161 | 890.075 | 45.856 | 60.0024
2019-01-15 09:45:00 | 6.392 | 87.3 | 6.914 | 83.111 | 6.929 | 87.133 | 6.929 | 85.167 | -11.478 | 890.192 | 46.379 | 54.3655
2019-01-15 10:00:00 | 5.275 | 86.767 | 5.959 | 81.735 | 6.048 | 87.633 | 6.222 | 87.2 | -11.378 | 889.4 | 46.56 | 41.0551
2019-01-15 10:15:00 | 5.657 | 86.467 | 5.954 | 82.556 | 5.982 | 87.8 | 6.859 | 82.5 | -11.511 | 889.742 | 45.952 | 37.238
2019-01-15 10:30:00 | 6.151 | 89.913 | 6.46 | 82.886 | 6.069 | 86.467 | 6.167 | 85.467 | -11.074 | 889.642 | 43.371 | 32.9802
2019-01-15 10:45:00 | 7.393 | 94.507 | 6.943 | 90.678 | 6.361 | 94.033 | 6.32 | 92.567 | -10.778 | 889.525 | 43.019 | 44.2328
2019-01-15 11:00:00 | 7.629 | 81.357 | 8.115 | 77.294 | 8.27 | 81.933 | 8.392 | 77.767 | -10.635 | 889.733 | 42.539 | 62.5789
2019-01-15 11:15:00 | 8.225 | 82.133 | 8.254 | 78.648 | 8.394 | 84.333 | 8.391 | 83.133 | -10.266 | 890.267 | 41.845 | 58.2359
2019-01-15 11:30:00 | 8.476 | 95.713 | 7.796 | 90.176 | 7.11 | 96.433 | 7.045 | 93.367 | -9.87 | 889.95 | 40.923 | 69.4295
2019-01-15 11:45:00 | 10.037 | 99.267 | 9.834 | 96.25 | 9.567 | 103.067 | 9.364 | 97.267 | -9.687 | 889.933 | 39.579 | 74.1071
2019-01-15 12:00:00 | 9.685 | 100.84 | 9.691 | 96.151 | 8.448 | 100.4 | 8.751 | 96.367 | -9.787 | 889.733 | 39.611 | 77.0375
2019-01-15 12:15:00 | 8.957 | 103.5 | 8.193 | 99.138 | 7.956 | 102.433 | 8.104 | 96.533 | -9.058 | 889.867 | 38.453 | 77.7978
2019-01-15 12:30:00 | 9.188 | 106.867 | 8.745 | 98.452 | 7.832 | 100.433 | 7.609 | 100.267 | -8.741 | 889.517 | 37.445 | 78.0984
2019-01-15 12:45:00 | 9.416 | 95.733 | 9.651 | 90.704 | 8.672 | 94.267 | 8.782 | 88.433 | -8.974 | 889.467 | 37.883 | 79.3092
2019-01-15 13:00:00 | 9.724 | 95.467 | 8.93 | 92.677 | 8.499 | 95.2 | 8.345 | 90.267 | -8.741 | 889.1 | 37.792 | 79.0541
2019-01-15 13:15:00 | 9.224 | 95.267 | 8.672 | 91.914 | 7.442 | 98.9 | 7.254 | 94 | -8.658 | 889.667 | 38.667 | 78.7152
2019-01-15 13:30:00 | 7.691 | 99.067 | 6.983 | 93.788 | 6.811 | 100 | 6.896 | 95.233 | -8.574 | 889.75 | 39.072 | 67.8001
2019-01-15 13:45:00 | 8.648 | 100.297 | 8.242 | 97.146 | 7.982 | 100.633 | 7.903 | 97.367 | -7.803 | 889.717 | 38.325 | 65.1412
2019-01-15 14:00:00 | 8.459 | 101.88 | 7.738 | 93.039 | 7.701 | 100.233 | 7.888 | 96.933 | -7.759 | 889.75 | 37.84 | 61.0526
2019-01-15 14:15:00 | 10.081 | 90.733 | 9.416 | 88.473 | 8.17 | 93.433 | 7.476 | 88.333 | -7.672 | 889.95 | 38.085 | 69.784
2019-01-15 14:30:00 | 8.491 | 100.167 | 8.486 | 92.921 | 7.913 | 99.833 | 8.042 | 96.4 | -7.722 | 889.5 | 37.328 | 75.8942
2019-01-15 14:45:00 | 9.614 | 103.733 | 9.23 | 97.031 | 8.796 | 101.633 | 8.135 | 93.667 | -7.556 | 890.317 | 36.992 | 75.1126
2019-01-15 15:00:00 | 8.742 | 97.033 | 8.717 | 93.029 | 8.51 | 97.967 | 8.882 | 94.433 | -7.589 | 889.75 | 36.677 | 73.69
2019-01-15 15:15:00 | 9.044 | 101.317 | 9.289 | 95.709 | 8.857 | 98.467 | 8.412 | 93.5 | -7.34 | 889.95 | 36.325 | 74.0418
2019-01-15 15:30:00 | 8.299 | 92.96 | 8.107 | 87.056 | 7.837 | 90.233 | 8.043 | 84.967 | -7.416 | 889.65 | 36.885 | 69.8388
2019-01-15 15:45:00 | 8.338 | 94.933 | 7.894 | 89.385 | 7.469 | 90.733 | 7.74 | 85.867 | -7.722 | 890.1 | 36.725 | 63.4252
2019-01-15 16:00:00 | 7.797 | 86.828 | 8.172 | 82.614 | 8.266 | 83.733 | 7.973 | 82.7 | -7.739 | 889.767 | 36.784 | 55.5315
2019-01-15 16:15:00 | 6.574 | 88.47 | 6.379 | 83.046 | 6.051 | 91.5 | 5.968 | 88.2 | -7.953 | 889.667 | 37.637 | 51.4457
2019-01-15 16:30:00 | 8.069 | 108.917 | 7.768 | 101.202 | 7.312 | 106 | 7.455 | 99.967 | -7.739 | 890.017 | 37.803 | 48.5964
2019-01-15 16:45:00 | 6.87 | 101.64 | 6.454 | 93.905 | 6.082 | 100.333 | 5.762 | 94.233 | -7.916 | 889.417 | 38.117 | 51.0514
2019-01-15 17:00:00 | 7.867 | 105.297 | 7.912 | 99.714 | 7.299 | 102.867 | 7.279 | 98.4 | -8.01 | 889.783 | 38.88 | 47.1667
2019-01-15 17:15:00 | 8.959 | 108.79 | 8.703 | 100.607 | 8.202 | 104.767 | 8.078 | 102.3 | -7.649 | 889.683 | 38.832 | 65.6962
2019-01-15 17:30:00 | 8.135 | 108.2 | 8.974 | 104.597 | 8.998 | 110.2 | 8.773 | 102.667 | -7.689 | 889.667 | 38.635 | 65.8333
2019-01-15 17:45:00 | 7.695 | 108.567 | 7.914 | 101.966 | 7.187 | 103.7 | 7.13 | 99.767 | -7.556 | 889.8 | 38.448 | 63.9084
2019-01-15 18:00:00 | 6.588 | 109.237 | 6.835 | 104.16 | 6.704 | 109.567 | 6.454 | 105.567 | -7.936 | 889.433 | 39.456 | 45.9481
2019-01-15 18:15:00 | 5.848 | 124.077 | 6.838 | 117.609 | 7.164 | 122.133 | 7.502 | 119.533 | -8.331 | 889.325 | 42.187 | 36.6866
2019-01-15 18:30:00 | 5.588 | 117.553 | 6.397 | 114.18 | 6.517 | 119.133 | 6.71 | 113.667 | -8.584 | 889.617 | 44.8 | 40.2934
2019-01-15 18:45:00 | 5.093 | 85.6 | 5.69 | 82.794 | 5.356 | 92.133 | 5.255 | 86.033 | -8.724 | 889.708 | 49.163 | 28.9833
2019-01-15 19:00:00 | 4.619 | 78.103 | 5.268 | 74.123 | 5.494 | 80 | 5.809 | 75.333 | -9.445 | 889.742 | 52.011 | 16.0815
2019-01-15 19:15:00 | 5.154 | 73.297 | 5.881 | 71.257 | 6.097 | 78.333 | 6.54 | 75.333 | -10.006 | 889.817 | 54.176 | 20.0721
2019-01-15 19:30:00 | 5.353 | 80.967 | 5.963 | 77.155 | 6.39 | 83.767 | 6.352 | 79.767 | -10.133 | 890.125 | 53.387 | 18.6936
2019-01-15 19:45:00 | 4.841 | 81.533 | 5.746 | 77.645 | 5.891 | 83.7 | 6.016 | 81.367 | -10.433 | 889.567 | 52.373 | 24.3994
2019-01-15 20:00:00 | 4.736 | 92.033 | 4.665 | 87.714 | 3.848 | 97.033 | 3.968 | 93.167 | -10.266 | 889.592 | 50.923 | 21.9906
2019-01-15 20:15:00 | 4.266 | 81.533 | 5.355 | 77.178 | 5.6 | 84.6 | 5.249 | 82.3 | -11.328 | 889.9 | 54.304 | 24.2452
2019-01-15 20:30:00 | 3.936 | 71.772 | 5.091 | 67.639 | 5.641 | 76.4 | 5.997 | 75.5 | -11.87 | 889.442 | 57.472 | 25.4639
2019-01-15 20:45:00 | 5.448 | 77.367 | 6.242 | 74.17 | 6.585 | 79.6 | 7.227 | 75.233 | -12.353 | 889.958 | 58.955 | 31.4838
2019-01-15 21:00:00 | 5.332 | 77.587 | 6.193 | 74.74 | 6.802 | 80.167 | 7.344 | 75.867 | -12.207 | 889.733 | 58.347 | 39.9743
2019-01-15 21:15:00 | 3.66 | 87.5 | 4.686 | 81.328 | 5.243 | 86.6 | 5.234 | 81.533 | -12.336 | 889.758 | 58.88 | 21.9302
2019-01-15 21:30:00 | 4.963 | 88.9 | 5.253 | 85.515 | 4.773 | 93 | 4.413 | 85.633 | -12.67 | 889.675 | 59.477 | 18.4904
2019-01-15 21:45:00 | 3.934 | 110.5 | 4.264 | 97.685 | 3.411 | 98.367 | 3.751 | 97.1 | -12.82 | 889.742 | 60.48 | 21.705
2019-01-15 22:00:00 | 2.574 | 101.477 | 4.341 | 86.781 | 4.783 | 89.567 | 4.051 | 88.8 | -13.597 | 889.525 | 62.368 | 22.3288
2019-01-15 22:15:00 | 1.143 | 111.473 | 3.168 | 85.391 | 3.908 | 87.767 | 3.842 | 87.3 | -13.653 | 889.442 | 64.725 | 15.4328
2019-01-15 22:30:00 | 2.9 | 97.8 | 4.077 | 89.712 | 3.427 | 95.667 | 3.118 | 94.367 | -13.036 | 890.017 | 65.685 | 16.2244
2019-01-15 22:45:00 | 2.714 | 99.3 | 3.805 | 87.693 | 3.359 | 91.767 | 3.213 | 88.333 | -13.086 | 889.775 | 64.981 | 17.2469
2019-01-15 23:00:00 | 2.774 | 111.01 | 3.94 | 89.167 | 3.802 | 90.567 | 3.781 | 87.4 | -13.409 | 889.758 | 64.011 | 18.7646
2019-01-15 23:15:00 | 3.281 | 109.773 | 3.952 | 91.557 | 3.201 | 92.4 | 3.24 | 90.367 | -13.278 | 890.45 | 63.84 | 15.9707
2019-01-15 23:30:00 | 3.466 | 93.803 | 4.022 | 86.276 | 3.141 | 93.433 | 2.778 | 89.733 | -13.71 | 889.833 | 63.413 | 11.8089
2019-01-15 23:45:00 | 2.557 | 90.02 | 2.602 | 81.685 | 2.225 | 87.2 | 2.233 | 82.7 | -13.224 | 890.225 | 62.229 | 4.5668