## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-16 00:00:00 | 1.229 | 179.953 | 1.728 | 114.98 | 2.783 | 92.667 | 3.128 | 80.567 | -14.054 | 889.625 | 63.328 | 2.0095
2019-01-16 00:15:00 | 0.503 | 208.96 | 1.35 | 108.73 | 2.181 | 88.4 | 3.379 | 80.2 | -14.849 | 889.55 | 67.477 | 2.8401
2019-01-16 00:30:00 | 0.073 | 191.873 | 2.107 | 89.664 | 2.938 | 88.533 | 3.056 | 82.7 | -14.724 | 889.95 | 69.675 | 4.0396
2019-01-16 00:45:00 | 1.05 | 141.347 | 2.898 | 86.183 | 3.01 | 91.467 | 2.999 | 88.333 | -15.341 | 889.933 | 69.547 | 6.172
2019-01-16 01:00:00 | 0.393 | 220.233 | 1.713 | 99.395 | 2.861 | 92.833 | 3.266 | 87.533 | -15.174 | 890.033 | 69.621 | 4.996
2019-01-16 01:15:00 | 1.067 | 216.133 | 0.157 | 114.366 | 2.049 | 102.3 | 2.475 | 91.833 | -15.241 | 890.025 | 69.376 | 5.1054
2019-01-16 01:30:00 | 0 | 237.4 | 0.884 | 86.029 | 2.866 | 76.033 | 3.494 | 80.433 | -15.508 | 890.342 | 68.843 | 5.1608
2019-01-16 01:45:00 | 0.253 | 213.067 | 1.417 | 87.198 | 3.019 | 84.033 | 3.49 | 85.2 | -15.741 | 889.992 | 71.307 | 8.072
2019-01-16 02:00:00 | 0.027 | 212.4 | 2.055 | 95.777 | 2.242 | 98.167 | 2.82 | 97.3 | -15.541 | 890.083 | 70.165 | 8.4117
2019-01-16 02:15:00 | 0 | 94.2 | 2.035 | 95.94 | 2.476 | 97.1 | 3.194 | 96.067 | -15.591 | 889.767 | 71.189 | 7.834
2019-01-16 02:30:00 | 0.25 | 188.033 | 0.3 | 126.888 | 3.372 | 108.067 | 3.73 | 104.033 | -15.824 | 889.442 | 71.989 | 4.9498
2019-01-16 02:45:00 | 1.381 | 214.693 | 0.073 | 126.991 | 1.815 | 113.233 | 2.2 | 94.067 | -15.955 | 889.525 | 71.307 | 2.9496
2019-01-16 03:00:00 | 2.565 | 228.167 | 0.583 | 191.723 | 0.68 | 153.767 | 2.119 | 109.8 | -15.791 | 890.083 | 72 | 1.4609
2019-01-16 03:15:00 | 2.687 | 236.6 | 0.03 | 190.169 | 0.584 | 131.367 | 1.814 | 99.333 | -15.691 | 890.183 | 70.272 | 1.1248
2019-01-16 03:30:00 | 1.699 | 236.667 | 0 | 121.234 | 0.354 | 110.867 | 2.298 | 100.3 | -15.341 | 890.067 | 69.536 | 1.1177
2019-01-16 03:45:00 | 2.159 | 240.613 | 0 | 121.258 | 0.43 | 114.067 | 1.707 | 85.433 | -16.05 | 889.792 | 70.155 | 1.4062
2019-01-16 04:00:00 | 2.129 | 256.2 | 0 | 121.265 | 0.153 | 82.275 | 2.235 | 81.333 | -15.274 | 890.142 | 69.952 | 1.613
2019-01-16 04:15:00 | 2.125 | 268.647 | 0.043 | 327.036 | 1.034 | 55.7 | 2.46 | 67.933 | -15.237 | 889.808 | 68.853 | 1.9732
2019-01-16 04:30:00 | 1.281 | 269.66 | 1.309 | 72.98 | 2.598 | 63.604 | 4.307 | 70.967 | -15.966 | 889.958 | 64.832 | 4.2883
2019-01-16 04:45:00 | 0.027 | 12.667 | 3.035 | 63.796 | 4.406 | 74.7 | 5.355 | 77.233 | -16.781 | 889.667 | 71.136 | 9.3013
2019-01-16 05:00:00 | 1.859 | 218.167 | 0.497 | 126.89 | 2.524 | 88.467 | 4.751 | 77.667 | -16.848 | 889.85 | 73.12 | 8.6043
2019-01-16 05:15:00 | 1.523 | 161.5 | 2.289 | 110.458 | 2.834 | 102.2 | 2.726 | 92.967 | -16.798 | 890.167 | 72.864 | 6.9039
2019-01-16 05:30:00 | 1.897 | 192.3 | 2.159 | 144.52 | 3.123 | 119.967 | 3.878 | 104.467 | -16.178 | 889.742 | 73.813 | 7.6059
2019-01-16 05:45:00 | 2.746 | 202.807 | 2.489 | 173.06 | 2.51 | 153.067 | 2.917 | 129.067 | -15.934 | 890.192 | 73.653 | 4.7338
2019-01-16 06:00:00 | 3.57 | 208.7 | 3.12 | 184.567 | 2.739 | 161.233 | 2.987 | 132.367 | -17.193 | 889.9 | 68.544 | 4.149
2019-01-16 06:15:00 | 2.998 | 180.007 | 3.281 | 136.886 | 3.783 | 127.333 | 4.792 | 116 | -18.427 | 890.067 | 72.789 | 9.2246
2019-01-16 06:30:00 | 1.891 | 191.867 | 2.35 | 129.61 | 2.998 | 117.133 | 3.356 | 101.8 | -16.798 | 889.758 | 74.784 | 6.0981
2019-01-16 06:45:00 | 1.736 | 192.067 | 1.985 | 129.838 | 2.567 | 114.133 | 2.773 | 102.1 | -15.874 | 889.825 | 73.227 | 3.955
2019-01-16 07:00:00 | 1.15 | 220.367 | 0.06 | 120.504 | 1.37 | 105.233 | 2.019 | 96.7 | -15.291 | 889.583 | 72.032 | 2.7911
2019-01-16 07:15:00 | 0.981 | 274.933 | 0.063 | 7.851 | 0.756 | 68.702 | 2.468 | 74.467 | -14.828 | 890.017 | 70.357 | 1.7125
2019-01-16 07:30:00 | 0.09 | 304.08 | 1.241 | 54.282 | 3.001 | 78.8 | 3.399 | 81.333 | -14.828 | 889.892 | 68.715 | 5.3769
2019-01-16 07:45:00 | 0.393 | 100.753 | 1.955 | 85.324 | 3.456 | 83.167 | 3.46 | 86.867 | -15.258 | 889.7 | 68.64 | 5.7634
2019-01-16 08:00:00 | 2.172 | 195.973 | 1.33 | 137.117 | 2.173 | 115.933 | 2.219 | 104.267 | -15.867 | 890.017 | 69.781 | 2.1893
2019-01-16 08:15:00 | 1.378 | 224.333 | 0 | 151.485 | 0.196 | 137.167 | 0.692 | 104 | -15.674 | 889.675 | 71.061 | 0.34107
2019-01-16 08:30:00 | 1.851 | 254.487 | 0 | 155.464 | 0 | 137.05 | 0.185 | 107.767 | -15.891 | 890.117 | 70.517 | 0.30128
2019-01-16 08:45:00 | 1.64 | 270.747 | 0 | 189.4 | 0 | 137.35 | 0 | 149 | -15.884 | 889.958 | 70.987 | 0.29844
2019-01-16 09:00:00 | 1.812 | 281.4 | 0 | 315.501 | 0.62 | 7.007 | 0.05 | 71.033 | -15.691 | 889.742 | 69.984 | 0.30128
2019-01-16 09:15:00 | 2.343 | 241.567 | 0.406 | 311.762 | 0 | 6.9 | 0.4 | 56 | -15.774 | 889.483 | 69.072 | 0.30554
2019-01-16 09:30:00 | 2.504 | 245.72 | 0.236 | 279.562 | 0 | 4 | 0 | 56.1 | -16.446 | 889.95 | 71.84 | 0.30412
2019-01-16 09:45:00 | 2.243 | 263.42 | 0.552 | 271.013 | 0.083 | 261.892 | 1.901 | 91.1 | -15.258 | 889.792 | 72.757 | 0.30839
2019-01-16 10:00:00 | 2.46 | 251.373 | 0 | 270.926 | 0.207 | 82.067 | 1.681 | 92.333 | -15.358 | 890.242 | 70.389 | 0.31549
2019-01-16 10:15:00 | 0 | 227.787 | 0.627 | 270.951 | 1.623 | 98.567 | 2.378 | 98 | -14.17 | 890.067 | 69.685 | 0.29986
2019-01-16 10:30:00 | 0.997 | 229.4 | 0 | 58.138 | 1.073 | 92.867 | 2.041 | 97 | -12.936 | 889.558 | 63.925 | 0.24586
2019-01-16 10:45:00 | 2.372 | 262.033 | 1.347 | 276.722 | 0 | 299.042 | 0 | 97.192 | -12.286 | 889.867 | 61.984 | 0.21033
2019-01-16 11:00:00 | 2.1 | 290.867 | 1.992 | 290.946 | 1.394 | 317.7 | 0 | 84.175 | -12.786 | 889.942 | 61.749 | 0.18901
2019-01-16 11:15:00 | 1.71 | 286.067 | 1.539 | 285.842 | 1.141 | 289.2 | 0.727 | 286.9 | -12.486 | 889.608 | 59.648 | 0.26007
2019-01-16 11:30:00 | 2.41 | 227.8 | 1.92 | 193.726 | 2.342 | 162.192 | 2.293 | 133.933 | -11.561 | 889.967 | 57.205 | 0.31833
2019-01-16 11:45:00 | 1.879 | 99.433 | 1.787 | 95.031 | 2.091 | 100.467 | 2.537 | 96.533 | -11.078 | 889.475 | 55.776 | 0.2153
2019-01-16 12:00:00 | 2.686 | 76.6 | 2.689 | 75.109 | 2.823 | 83.4 | 2.934 | 83.467 | -10.483 | 889.95 | 54.048 | 1.1781
2019-01-16 12:15:00 | 3.432 | 92.167 | 3.59 | 89.523 | 3.365 | 91.433 | 3.341 | 89.967 | -10.333 | 889.642 | 54.635 | 3.5017
2019-01-16 12:30:00 | 3.836 | 71.067 | 3.911 | 68.058 | 4.052 | 75.667 | 4.152 | 72.433 | -10.416 | 890.158 | 54.379 | 1.8937
2019-01-16 12:45:00 | 2.266 | 64.6 | 2.511 | 64.432 | 2.733 | 73.033 | 2.822 | 66.633 | -10.483 | 889.417 | 54.752 | 0.30696
2019-01-16 13:00:00 | 2.415 | 86.807 | 2.63 | 79.802 | 2.872 | 79.2 | 3.17 | 74.233 | -9.441 | 889.833 | 51.755 | 0.14567
2019-01-16 13:15:00 | 2.872 | 41.692 | 2.67 | 47.041 | 3.018 | 58.667 | 2.795 | 56.767 | -9.124 | 889.958 | 49.28 | 0.17338
2019-01-16 13:30:00 | 3.544 | 71.107 | 3.763 | 63.674 | 3.938 | 68.367 | 3.654 | 62.867 | -9.074 | 889.65 | 46.571 | 1.9235
2019-01-16 13:45:00 | 3.998 | 55.02 | 3.706 | 50.345 | 3.995 | 56.4 | 4.316 | 52.567 | -9.445 | 889.675 | 43.776 | 6.3788
2019-01-16 14:00:00 | 4.067 | 64.393 | 3.737 | 58.956 | 3.986 | 63.9 | 3.91 | 57.367 | -9.124 | 890.125 | 43.637 | 5.3548
2019-01-16 14:15:00 | 2.958 | 41.291 | 3.069 | 36.99 | 3.277 | 42.167 | 3.199 | 31.2 | -8.724 | 889.842 | 43.851 | 4.4382
2019-01-16 14:30:00 | 2.679 | 56.607 | 2.799 | 55.075 | 3.162 | 64.133 | 3.481 | 66.2 | -8.05 | 889.842 | 44.213 | 4.6777
2019-01-16 14:45:00 | 3.548 | 79.113 | 3.507 | 71.645 | 3.833 | 75.833 | 4.205 | 70.967 | -7.539 | 890.075 | 45.077 | 4.5554
2019-01-16 15:00:00 | 4.555 | 76.057 | 4.712 | 69.622 | 4.77 | 75.767 | 4.723 | 71.6 | -7.739 | 889.8 | 44.896 | 4.2286
2019-01-16 15:15:00 | 3.943 | 74.893 | 3.769 | 73.673 | 4.02 | 78 | 4.075 | 73.533 | -7.706 | 890.092 | 44.907 | 4.1
2019-01-16 15:30:00 | 3.116 | 70.078 | 3.226 | 69.535 | 3.406 | 76.7 | 3.515 | 73.267 | -7.589 | 889.767 | 44.331 | 0.86263
2019-01-16 15:45:00 | 2.846 | 94.757 | 2.74 | 85.705 | 2.858 | 91.567 | 2.803 | 89.2 | -7.249 | 890.075 | 44.565 | 0.91876
2019-01-16 16:00:00 | 1.962 | 65.123 | 2.039 | 56.622 | 2.098 | 57.067 | 2.522 | 55.567 | -7.21 | 890.092 | 43.317 | 0.35031
2019-01-16 16:15:00 | 1.94 | 21.532 | 1.649 | 22.774 | 1.932 | 33.9 | 1.874 | 42.4 | -7.091 | 889.825 | 43.669 | 0.25865
2019-01-16 16:30:00 | 2.421 | 69.043 | 2.43 | 62.663 | 2.779 | 67.967 | 2.943 | 64.667 | -7.26 | 889.867 | 44.651 | 0.2622
2019-01-16 16:45:00 | 3.683 | 82.192 | 3.561 | 79.06 | 3.491 | 84.6 | 3.559 | 80.467 | -7.436 | 889.617 | 45.216 | 1.7324
2019-01-16 17:00:00 | 3.137 | 83.967 | 3.287 | 76.05 | 3.358 | 80.833 | 3.34 | 77.9 | -7.772 | 889.825 | 45.877 | 2.9339
2019-01-16 17:15:00 | 2.954 | 81.952 | 2.714 | 79.61 | 2.956 | 81.733 | 3.014 | 79.633 | -7.472 | 890.2 | 45.312 | 2.2141
2019-01-16 17:30:00 | 2.777 | 78.723 | 2.845 | 71.793 | 2.882 | 76.1 | 2.974 | 72.433 | -7.656 | 889.892 | 45.707 | 1.1767
2019-01-16 17:45:00 | 5.119 | 36.894 | 5.014 | 35.127 | 5.087 | 41.9 | 4.813 | 41.333 | -8.534 | 890.117 | 48.683 | 2.7826
2019-01-16 18:00:00 | 3.302 | 42.1 | 3.297 | 39.666 | 3.115 | 49 | 2.697 | 44.967 | -9.074 | 890.092 | 52.437 | 2.2504
2019-01-16 18:15:00 | 3.97 | 39.278 | 4.002 | 35.202 | 4.17 | 41.167 | 4.136 | 39.767 | -9.516 | 890.025 | 55.435 | 2.0926
2019-01-16 18:30:00 | 2.256 | 41.63 | 2.327 | 39.065 | 2.508 | 45.067 | 2.354 | 43.867 | -9.828 | 889.833 | 56.811 | 0.66012
2019-01-16 18:45:00 | 1.456 | 50.467 | 1.204 | 42.974 | 1.63 | 51.7 | 1.706 | 52.933 | -10.449 | 889.842 | 57.472 | 0.34391
2019-01-16 19:00:00 | 0.707 | 55 | 0 | 56.132 | 0.027 | 58 | 0.417 | 63.067 | -10.183 | 890.217 | 57.803 | 0.25012
2019-01-16 19:15:00 | 0 | 54.768 | 0 | 56.119 | 0 | 57.867 | 0 | 63.067 | -10.63 | 890.117 | 57.835 | 0.16272
2019-01-16 19:30:00 | 0 | 55 | 0 | 56.158 | 0 | 58.1 | 0 | 63 | -10.399 | 889.667 | 58.4 | 0.13998
2019-01-16 19:45:00 | 0.133 | 55.05 | 0 | 56.436 | 0.186 | 64.333 | 0.537 | 65.233 | -10.703 | 890.208 | 58.656 | 0.22383
2019-01-16 20:00:00 | 1.109 | 155.533 | 1.113 | 142.267 | 1.607 | 175 | 1.966 | 163.9 | -10.383 | 889.808 | 57.771 | 0.30128
2019-01-16 20:15:00 | 1.98 | 178.7 | 2.516 | 167.398 | 2.895 | 177.933 | 3.324 | 173.167 | -10.383 | 890.133 | 56.757 | 0.32757
2019-01-16 20:30:00 | 0.964 | 201.933 | 1.772 | 188.43 | 2.772 | 191.8 | 3.233 | 183 | -10.283 | 889.933 | 55.68 | 0.17977
2019-01-16 20:45:00 | 0.057 | 179.847 | 1.274 | 186.447 | 1.907 | 173.133 | 1.824 | 160.9 | -9.995 | 890.025 | 54.891 | 0.31194
2019-01-16 21:00:00 | 0 | 153.833 | 0 | 165.619 | 0.027 | 170.9 | 0.104 | 158 | -10.016 | 889.758 | 54.72 | 0.32402
2019-01-16 21:15:00 | 1.327 | 35.02 | 0 | 165.564 | 0 | 171.033 | 0 | 157.9 | -10.058 | 889.942 | 55.552 | 0.29844
2019-01-16 21:30:00 | 0.426 | 35 | 0 | 89.88 | 0 | 171.033 | 0 | 158 | -10.266 | 890.008 | 56.373 | 0.21388
2019-01-16 21:45:00 | 0 | 35.07 | 0 | 90.257 | 0 | 171 | 0 | 158 | -10.712 | 889.875 | 57.824 | 0.26859
2019-01-16 22:00:00 | 1.27 | 309.56 | 0 | 89.931 | 0 | 171.317 | 0 | 158 | -10.541 | 889.292 | 59.083 | 0.29844
2019-01-16 22:15:00 | 1.748 | 227.4 | 0.613 | 157.031 | 0.463 | 171 | 0.359 | 158 | -10.874 | 890 | 59.125 | 0.29844
2019-01-16 22:30:00 | 1.884 | 227.133 | 0.829 | 210.36 | 0.636 | 196.033 | 0 | 161 | -10.449 | 889.65 | 59.008 | 0.29844
2019-01-16 22:45:00 | 2.712 | 269.267 | 2.611 | 276.212 | 2.022 | 282.933 | 1.482 | 245.5 | -10.316 | 889.892 | 57.76 | 0.30412
2019-01-16 23:00:00 | 2.761 | 275.04 | 2.144 | 291.302 | 1.819 | 298.3 | 2.11 | 306.967 | -9.62 | 889.85 | 55.019 | 0.32544
2019-01-16 23:15:00 | 1.948 | 264.88 | 0.578 | 293.578 | 1.23 | 298.333 | 1.94 | 334.967 | -10.02 | 889.975 | 54 | 0.30981
2019-01-16 23:30:00 | 2.184 | 265.767 | 1.827 | 301.807 | 1.72 | 318.5 | 1.27 | 327.133 | -10.083 | 888.908 | 54.165 | 0.31123
2019-01-16 23:45:00 | 2.875 | 238.813 | 1.773 | 277.282 | 0.753 | 311.733 | 0 | 326.4 | -9.891 | 889.992 | 54.085 | 0.29844