## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-17 00:00:00 | 3.939 | 229.667 | 2.054 | 243.533 | 1.898 | 253.633 | 0.833 | 282.033 | -10.299 | 890.058 | 54.229 | 0.30128
2019-01-17 00:15:00 | 2.27 | 217.627 | 2.885 | 231.456 | 2.143 | 247.033 | 1.649 | 254.333 | -11.307 | 889.775 | 54.976 | 0.29986
2019-01-17 00:30:00 | 4.383 | 221.447 | 3.629 | 224.801 | 2.836 | 234.867 | 1.66 | 254 | -11.076 | 890.158 | 57.493 | 0.30128
2019-01-17 00:45:00 | 3.907 | 228.433 | 3.629 | 228.903 | 2.583 | 230 | 1.673 | 231 | -10.61 | 889.992 | 57.781 | 0.30412
2019-01-17 01:00:00 | 3.531 | 231.267 | 4.87 | 235.557 | 4.236 | 244.6 | 3.37 | 236.433 | -10.466 | 889.658 | 57.515 | 0.55424
2019-01-17 01:15:00 | 2.083 | 233.833 | 2.76 | 241.792 | 2.74 | 262.067 | 2.462 | 254.117 | -10.183 | 889.825 | 57.067 | 0.43131
2019-01-17 01:30:00 | 1.457 | 249.693 | 1.634 | 272.752 | 1.749 | 271 | 1.92 | 262.983 | -9.974 | 889.867 | 57.205 | 0.31052
2019-01-17 01:45:00 | 2.29 | 265.173 | 2.97 | 288.672 | 2.811 | 304.567 | 2.878 | 297.767 | -9.62 | 889.692 | 56.373 | 0.17551
2019-01-17 02:00:00 | 2.362 | 265.733 | 2.367 | 296.894 | 2.221 | 304.333 | 2.532 | 302.5 | -9.808 | 889.917 | 56.779 | 0.26078
2019-01-17 02:15:00 | 3.075 | 254.107 | 3.181 | 278.16 | 3.112 | 297.3 | 3.249 | 294.2 | -9.274 | 889.692 | 56.725 | 0.17977
2019-01-17 02:30:00 | 2.69 | 254.333 | 2.936 | 268.88 | 2.972 | 283.933 | 3.203 | 286.133 | -9.224 | 889.85 | 57.557 | 0.12506
2019-01-17 02:45:00 | 2.554 | 253.867 | 3.118 | 271.335 | 3.296 | 281.133 | 3.241 | 278.5 | -9.291 | 889.983 | 58.357 | 0.29702
2019-01-17 03:00:00 | 3.458 | 249.9 | 3.377 | 262.258 | 3.39 | 267.867 | 3.253 | 263.767 | -9.224 | 890.058 | 58.869 | 0.68783
2019-01-17 03:15:00 | 3.706 | 250.233 | 4.113 | 257.439 | 4.036 | 264 | 3.98 | 260.267 | -9.291 | 889.95 | 60.304 | 3.874
2019-01-17 03:30:00 | 3.121 | 243.333 | 4.153 | 252.564 | 4.057 | 258.667 | 3.812 | 257.683 | -9.158 | 889.625 | 61.632 | 5.8423
2019-01-17 03:45:00 | 2.82 | 242.133 | 4.03 | 245.614 | 4.004 | 253.433 | 3.821 | 249 | -9.208 | 889.725 | 63.136 | 5.315
2019-01-17 04:00:00 | 2.488 | 242.267 | 3.44 | 247.041 | 3.316 | 256 | 3.252 | 250.5 | -9.124 | 890.1 | 63.392 | 4.5945
2019-01-17 04:15:00 | 2.892 | 245.767 | 3.661 | 247.407 | 3.465 | 255.033 | 3.412 | 251.633 | -9.058 | 889.642 | 63.701 | 5.892
2019-01-17 04:30:00 | 2.444 | 257.84 | 3.93 | 269.292 | 4.014 | 277.967 | 4.244 | 277.167 | -8.741 | 890.242 | 63.723 | 7.1739
2019-01-17 04:45:00 | 3.811 | 269.007 | 4.692 | 283.752 | 4.832 | 288.4 | 5.136 | 284.333 | -8.791 | 889.542 | 63.643 | 5.8338
2019-01-17 05:00:00 | 3.923 | 290.8 | 5.164 | 295.315 | 5.434 | 300.2 | 5.698 | 294.767 | -9.008 | 890.133 | 63.664 | 7.8432
2019-01-17 05:15:00 | 4.424 | 282.6 | 6.105 | 288.684 | 6.509 | 295.367 | 6.834 | 292.733 | -9.358 | 889.708 | 64.443 | 13.5434
2019-01-17 05:30:00 | 3.556 | 283.933 | 4.845 | 291.272 | 5.14 | 297.3 | 5.57 | 294.267 | -8.908 | 889.883 | 62.523 | 10.8617
2019-01-17 05:45:00 | 3.259 | 246.173 | 3.127 | 282.338 | 3.213 | 289.6 | 3.395 | 284.2 | -9.641 | 889.742 | 64.576 | 3.3915
2019-01-17 06:00:00 | 4.436 | 237.533 | 4.261 | 244.781 | 3.844 | 259.6 | 3.696 | 264.733 | -9.704 | 889.842 | 65.696 | 2.9062
2019-01-17 06:15:00 | 4.465 | 245.687 | 4.351 | 251.013 | 4.148 | 260.533 | 4.239 | 264.9 | -9.483 | 890.008 | 65.333 | 4.996
2019-01-17 06:30:00 | 4.416 | 244.6 | 3.999 | 249.616 | 3.863 | 260.667 | 3.965 | 264.533 | -9.174 | 890.125 | 64.32 | 6.1258
2019-01-17 06:45:00 | 4.526 | 239.267 | 4.113 | 242.508 | 3.862 | 252.267 | 3.719 | 254.067 | -8.658 | 889.717 | 63.243 | 5.5772
2019-01-17 07:00:00 | 4.116 | 239 | 3.798 | 243.457 | 3.587 | 251.733 | 3.516 | 251.133 | -8.658 | 889.683 | 62.336 | 5.1019
2019-01-17 07:15:00 | 3.172 | 231.46 | 3.234 | 240.079 | 2.867 | 248.533 | 2.704 | 255 | -8.411 | 889.667 | 61.984 | 3.221
2019-01-17 07:30:00 | 1.976 | 231.9 | 2.547 | 241.486 | 2.313 | 252.067 | 2.125 | 254.833 | -8.674 | 889.717 | 62.581 | 0.7802
2019-01-17 07:45:00 | 2.883 | 227.34 | 2.927 | 231.86 | 2.803 | 240 | 2.566 | 236.4 | -8.654 | 889.767 | 63.221 | 0.58124
2019-01-17 08:00:00 | 2.504 | 231.873 | 2.368 | 243.508 | 2.412 | 252 | 2.451 | 247 | -8.187 | 889.933 | 62.304 | 0.3027
2019-01-17 08:15:00 | 1.461 | 255.86 | 1.649 | 279.487 | 1.721 | 279.333 | 1.752 | 270.867 | -8.574 | 890.083 | 62.629 | 0.13359
2019-01-17 08:30:00 | 1.948 | 293.867 | 2.474 | 307.486 | 2.294 | 314.2 | 2.156 | 296 | -8.24 | 889.75 | 61.744 | 0.23591
2019-01-17 08:45:00 | 1.99 | 298.267 | 2.232 | 306.526 | 2.035 | 310.1 | 1.969 | 295.133 | -8.574 | 889.767 | 62.101 | 0.29986
2019-01-17 09:00:00 | 2.315 | 288.6 | 2.36 | 297.004 | 2.205 | 298.433 | 2.106 | 282.967 | -8.641 | 890.333 | 62.464 | 0.33397
2019-01-17 09:15:00 | 2.358 | 261.673 | 2.39 | 285.387 | 2.12 | 268.667 | 2.001 | 254.233 | -8.674 | 889.858 | 61.536 | 0.30981
2019-01-17 09:30:00 | 1.418 | 220.733 | 1.148 | 270.394 | 1.917 | 233.7 | 2.02 | 231 | -8.891 | 889.858 | 62.704 | 0.31691
2019-01-17 09:45:00 | 2.194 | 212.4 | 2.291 | 217.47 | 1.981 | 222.9 | 1.989 | 221.667 | -9.258 | 889.983 | 62.432 | 0.21104
2019-01-17 10:00:00 | 2.732 | 230.267 | 3.948 | 248.452 | 3.726 | 255.7 | 3.289 | 248.033 | -8.791 | 889.683 | 62.592 | 1.1959
2019-01-17 10:15:00 | 2.168 | 232.433 | 3.198 | 251.046 | 3.211 | 261.8 | 2.832 | 255.017 | -8.424 | 890.05 | 61.525 | 1.5576
2019-01-17 10:30:00 | 3.341 | 221.4 | 2.817 | 241.983 | 2.945 | 249.1 | 2.816 | 244.033 | -7.289 | 890.067 | 58.091 | 1.3217
2019-01-17 10:45:00 | 2.542 | 229.133 | 3.415 | 234.088 | 3.076 | 238.233 | 2.881 | 233 | -6.545 | 889.908 | 55.787 | 2.2084
2019-01-17 11:00:00 | 2.687 | 231.933 | 3.821 | 236.19 | 4.143 | 240.967 | 4.273 | 234.167 | -5.898 | 889.683 | 52.896 | 4.2634
2019-01-17 11:15:00 | 3.26 | 234.687 | 4.552 | 230.572 | 5.012 | 234.433 | 5.157 | 229.367 | -4.712 | 889.717 | 49.088 | 7.8717
2019-01-17 11:30:00 | 3.517 | 236.533 | 4.22 | 233.423 | 4.961 | 239.433 | 5.362 | 235.433 | -3.538 | 889.708 | 45.739 | 12.1542
2019-01-17 11:45:00 | 4.251 | 243.52 | 4.824 | 240.092 | 5.411 | 243.6 | 5.635 | 237.8 | -2.217 | 889.617 | 42.443 | 12.0967
2019-01-17 12:00:00 | 4.63 | 243.593 | 5.187 | 241.048 | 5.382 | 245.733 | 5.564 | 242.617 | -1.82 | 890.05 | 40.192 | 18.1045
2019-01-17 12:15:00 | 3.726 | 264.4 | 3.883 | 264.779 | 3.996 | 267.367 | 3.954 | 261.767 | -0.842 | 889.45 | 39.053 | 13.5647
2019-01-17 12:30:00 | 3.949 | 321.56 | 4.152 | 312.545 | 4.367 | 312.6 | 4.534 | 304.167 | -1.559 | 889.367 | 39.525 | 7.392
2019-01-17 12:45:00 | 4.883 | 303.347 | 5.553 | 291.58 | 6.188 | 290.533 | 7.266 | 280.367 | -1.845 | 889.7 | 40.117 | 15.5564
2019-01-17 13:00:00 | 9.353 | 263.227 | 10.108 | 265.524 | 10.164 | 270.567 | 10.112 | 267.033 | -0.02 | 889.833 | 35.197 | 40.4511
2019-01-17 13:15:00 | 7.984 | 268.14 | 8.568 | 269.117 | 8.798 | 274.367 | 8.891 | 268.617 | -0.192 | 890.333 | 35.171 | 51.9673
2019-01-17 13:30:00 | 9.607 | 271.453 | 10.436 | 274.666 | 10.368 | 278.967 | 10.446 | 274.4 | 0.017 | 889.883 | 36.443 | 39.45
2019-01-17 13:45:00 | 8.423 | 267.34 | 9.148 | 268.027 | 9.151 | 273.65 | 9.061 | 270.083 | 0.083 | 889.733 | 37.104 | 36.3661
2019-01-17 14:00:00 | 8.445 | 270.813 | 8.986 | 271.492 | 9.225 | 274.933 | 9.163 | 270.367 | 0.548 | 889.85 | 39.277 | 36.2552
2019-01-17 14:15:00 | 7.815 | 264.007 | 8.254 | 263.509 | 8.466 | 267.967 | 8.437 | 263.95 | 0.515 | 889.792 | 40.584 | 34.5698
2019-01-17 14:30:00 | 6.76 | 286.92 | 7.06 | 283.447 | 7.15 | 285.733 | 7.249 | 280.767 | 0.349 | 889.275 | 40.899 | 35.4445
2019-01-17 14:45:00 | 7.566 | 286.067 | 7.911 | 286.963 | 8.058 | 291.733 | 8.266 | 287.033 | 0.565 | 890.2 | 42.912 | 34.6415
2019-01-17 15:00:00 | 7.635 | 275.367 | 8.428 | 278.212 | 8.668 | 282.6 | 8.746 | 280.633 | 0.765 | 889.542 | 46.128 | 35.6989
2019-01-17 15:15:00 | 7.997 | 280.1 | 8.532 | 279.372 | 8.737 | 284.167 | 8.983 | 278.667 | 0.598 | 890.017 | 48.16 | 39.0556
2019-01-17 15:30:00 | 10.416 | 275.787 | 10.773 | 275.486 | 11.079 | 278.9 | 11.432 | 275.167 | 0.515 | 889.533 | 50.608 | 42.2901
2019-01-17 15:45:00 | 10.5 | 269.313 | 11.459 | 268.855 | 11.751 | 273.767 | 11.822 | 269.933 | 0.615 | 890.475 | 52.443 | 42.6731
2019-01-17 16:00:00 | 9.924 | 268.94 | 10.749 | 273.253 | 10.937 | 278.7 | 11.085 | 275.333 | 0.548 | 889.483 | 53.675 | 42.7605
2019-01-17 16:15:00 | 9.261 | 267.067 | 9.893 | 267.966 | 10.063 | 273.033 | 10.003 | 266.717 | 0.549 | 889.858 | 53.099 | 43.5172
2019-01-17 16:30:00 | 10.644 | 265.78 | 11.598 | 266.782 | 11.653 | 271.467 | 11.347 | 266.7 | 0.832 | 890.142 | 53.429 | 51.2112
2019-01-17 16:45:00 | 10.645 | 264.693 | 11.747 | 266.898 | 11.838 | 271.7 | 12.04 | 269.167 | 0.166 | 889.65 | 56.059 | 63.1438
2019-01-17 17:00:00 | 9.229 | 272.48 | 10.122 | 269.82 | 10.544 | 275.067 | 10.818 | 271.167 | 0.349 | 889.75 | 56.133 | 74.9413
2019-01-17 17:15:00 | 8.452 | 269.373 | 9.596 | 271.211 | 9.597 | 275 | 9.488 | 272.167 | 0.266 | 889.542 | 55.685 | 66.4344
2019-01-17 17:30:00 | 6.148 | 271.007 | 6.716 | 270.149 | 6.87 | 273.467 | 6.893 | 268.567 | -0.083 | 889.883 | 56.949 | 43.0106
2019-01-17 17:45:00 | 5.544 | 267.933 | 6.133 | 268.419 | 6.556 | 272.5 | 6.802 | 266.933 | -0.116 | 889.917 | 57.717 | 28.6799
2019-01-17 18:00:00 | 5.156 | 274.933 | 6.002 | 273.003 | 6.492 | 277.167 | 6.496 | 272.9 | -0.256 | 889.658 | 59.232 | 27.0626
2019-01-17 18:15:00 | 4.463 | 267.333 | 5.365 | 261.776 | 5.873 | 264.333 | 5.864 | 260.567 | -0.592 | 890.125 | 60.603 | 21.4385
2019-01-17 18:30:00 | 5.913 | 277.473 | 6.932 | 274.657 | 7.118 | 279.933 | 7.401 | 275.667 | -0.498 | 890.008 | 63.184 | 26.7528
2019-01-17 18:45:00 | 4.343 | 275.987 | 5.432 | 272.35 | 5.84 | 277.533 | 6.391 | 272.267 | -1.389 | 889.708 | 65.221 | 22.412
2019-01-17 19:00:00 | 4.211 | 277.52 | 4.835 | 274.367 | 5.274 | 279.9 | 5.564 | 274.9 | -1.256 | 889.833 | 67.296 | 20.1275
2019-01-17 19:15:00 | 3.103 | 295.293 | 3.566 | 287.302 | 3.79 | 288.3 | 4.137 | 280.5 | -1.559 | 889.958 | 68.533 | 15.4165
2019-01-17 19:30:00 | 2.71 | 289.84 | 3.423 | 283.926 | 3.703 | 281.933 | 4.17 | 272.8 | -2.131 | 890.017 | 69.333 | 13.0361
2019-01-17 19:45:00 | 4.497 | 252.253 | 6.148 | 245.754 | 7.397 | 247.633 | 7.941 | 241 | -2.902 | 889.85 | 69.765 | 15.0917
2019-01-17 20:00:00 | 7.26 | 237.58 | 8.782 | 234.368 | 9.696 | 240.067 | 10.043 | 235.867 | -2.246 | 889.575 | 66.933 | 26.9703
2019-01-17 20:15:00 | 4.846 | 246.08 | 6.669 | 240.987 | 7.716 | 245.45 | 7.925 | 240.75 | -2.177 | 889.575 | 65.387 | 26.1666
2019-01-17 20:30:00 | 3.04 | 306.267 | 3.667 | 340.785 | 3.773 | 324.633 | 3.903 | 318.5 | -3.956 | 890.025 | 73.616 | 11.5069
2019-01-17 20:45:00 | 2.127 | 319.587 | 2.6 | 310.079 | 2.67 | 305.2 | 3.095 | 291.433 | -4.384 | 889.308 | 79.179 | 1.8176
2019-01-17 21:00:00 | 1.331 | 282.773 | 0.83 | 287.656 | 1.637 | 268.067 | 2.492 | 266.667 | -4.265 | 889.983 | 80.725 | 0.63383
2019-01-17 21:15:00 | 1.919 | 239.233 | 2.352 | 241.979 | 3.124 | 243.3 | 3.985 | 238.767 | -4.735 | 889.625 | 81.664 | 2.3164
2019-01-17 21:30:00 | 2.258 | 255.847 | 3.863 | 242.796 | 5.095 | 245.417 | 5.549 | 240.5 | -4.919 | 889.892 | 81.6 | 4.6755
2019-01-17 21:45:00 | 1.877 | 245.453 | 2.16 | 246.38 | 2.347 | 245.033 | 2.52 | 237.967 | -4.785 | 889.617 | 78.731 | 6.108
2019-01-17 22:00:00 | 3.172 | 335.093 | 2.768 | 313.69 | 3.062 | 288.467 | 4.07 | 255.65 | -4.13 | 889.467 | 76.672 | 10.2208
2019-01-17 22:15:00 | 1.413 | 290.333 | 1.795 | 267.793 | 2.154 | 254.15 | 2.496 | 238.717 | -5.035 | 889.792 | 80.213 | 5.3612
2019-01-17 22:30:00 | 2.833 | 231.007 | 3.33 | 236.638 | 3.865 | 244.9 | 4.411 | 242.167 | -4.902 | 889.392 | 78.88 | 2.9112
2019-01-17 22:45:00 | 1.863 | 311.667 | 2.228 | 275.154 | 3.048 | 261.15 | 3.474 | 237.733 | -5.069 | 889.967 | 75.435 | 3.1521
2019-01-17 23:00:00 | 1.623 | 341.427 | 2.482 | 340.695 | 2.183 | 277.533 | 2.198 | 284.6 | -5.971 | 889.808 | 78.907 | 2.2354
2019-01-17 23:15:00 | 2.169 | 329.067 | 1.916 | 343.17 | 1.937 | 320.6 | 2.273 | 295.133 | -6.662 | 889.588 | 82.027 | 0.19327
2019-01-17 23:30:00 | 2.318 | 318.48 | 1.556 | 299.583 | 2.058 | 286.133 | 2.419 | 265.9 | -6.017 | 889.417 | 83.125 | 0.31265
2019-01-17 23:45:00 | 2.281 | 328.947 | 0.873 | 303.861 | 1.367 | 272.6 | 2.156 | 260 | -5.472 | 890.158 | 82.155 | 0.27428