## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-18 00:00:00 | 1.084 | 288.227 | 0.146 | 316.888 | 0 | 272 | 1.155 | 260 | -5.839 | 889.783 | 82.304 | 0.20749
2019-01-18 00:15:00 | 1.202 | 224.24 | 1.417 | 228.654 | 2.979 | 235.567 | 3.926 | 231.1 | -6.067 | 890.092 | 83.2 | 1.8027
2019-01-18 00:30:00 | 2.182 | 219.467 | 2.932 | 222.977 | 3.58 | 231.5 | 3.922 | 231.4 | -6.278 | 889.888 | 83.648 | 2.9041
2019-01-18 00:45:00 | 0.45 | 348.667 | 0.53 | 316.006 | 1.275 | 279.5 | 2.182 | 260.983 | -5.997 | 890.125 | 81.691 | 2.6689
2019-01-18 01:00:00 | 0.08 | 285.933 | 1.713 | 289.264 | 2.361 | 286.1 | 2.867 | 274.3 | -5.783 | 889.642 | 79.547 | 0.69351
2019-01-18 01:15:00 | 2.358 | 241.828 | 2.605 | 269.786 | 2.959 | 264.45 | 3.646 | 251.95 | -6.78 | 890.083 | 82.88 | 0.93795
2019-01-18 01:30:00 | 2.64 | 300.693 | 3.101 | 270.647 | 4.943 | 263 | 5.647 | 256.167 | -6.883 | 890.121 | 83.531 | 4.5689
2019-01-18 01:45:00 | 3.222 | 295.96 | 2.671 | 271.988 | 4.273 | 261.067 | 4.672 | 251.8 | -7.032 | 889.775 | 78.096 | 5.3733
2019-01-18 02:00:00 | 1.747 | 241.08 | 4.408 | 241.478 | 4.526 | 250.4 | 4.238 | 245.633 | -7.749 | 889.883 | 77.877 | 5.2205
2019-01-18 02:15:00 | 2.221 | 272.507 | 3.81 | 249.504 | 4.875 | 251.883 | 4.584 | 244.85 | -8.758 | 890.075 | 81.131 | 4.672
2019-01-18 02:30:00 | 3.22 | 267.147 | 4.724 | 252.934 | 4.511 | 258.7 | 4.018 | 256.4 | -8.07 | 889.825 | 81.835 | 3.5045
2019-01-18 02:45:00 | 4.169 | 235.593 | 4.828 | 234.797 | 4.392 | 251.667 | 3.816 | 257.9 | -8.311 | 889.992 | 79.872 | 2.0635
2019-01-18 03:00:00 | 3.997 | 226.167 | 5.686 | 211.325 | 5.273 | 217.933 | 4.746 | 218.433 | -8.791 | 889.967 | 79.125 | 2.0145
2019-01-18 03:15:00 | 1.816 | 223.46 | 4.782 | 219.702 | 4.309 | 215.1 | 4.036 | 203.167 | -10.522 | 890 | 76.805 | 1.0111
2019-01-18 03:30:00 | 0.992 | 273.1 | 1.825 | 243 | 3.177 | 229.3 | 3.564 | 206.467 | -10.399 | 890.079 | 81.248 | 0.29204
2019-01-18 03:45:00 | 1.939 | 256.253 | 2.554 | 224.046 | 3.666 | 220.917 | 3.274 | 219.267 | -8.974 | 889.733 | 81.323 | 0.17267
2019-01-18 04:00:00 | 2.742 | 215.567 | 3.413 | 203.712 | 2.8 | 212 | 2.714 | 205.133 | -9.308 | 889.808 | 80.459 | 0.24088
2019-01-18 04:15:00 | 4.903 | 217.967 | 3.88 | 207.14 | 3.184 | 205.2 | 3.196 | 194 | -6.362 | 889.608 | 78.645 | 0.22809
2019-01-18 04:30:00 | 4.416 | 223.693 | 4.082 | 202.613 | 3.515 | 199.6 | 2.96 | 191.9 | -6.972 | 889.517 | 72.512 | 0.2828
2019-01-18 04:45:00 | 4.489 | 204.2 | 4.825 | 197.516 | 4.053 | 200 | 3.384 | 186 | -6.645 | 889.783 | 73.44 | 0.21388
2019-01-18 05:00:00 | 4.814 | 200.413 | 5.834 | 196.729 | 5.502 | 195.267 | 4.559 | 188.067 | -7.649 | 889.625 | 72.395 | 0.33539
2019-01-18 05:15:00 | 1.01 | 136.98 | 2.558 | 159.564 | 3.404 | 189.3 | 4.474 | 191.467 | -9.833 | 889.442 | 73.771 | 0.15419
2019-01-18 05:30:00 | 0 | 109.867 | 0.404 | 151.805 | 1.347 | 173.2 | 2.471 | 177.567 | -9.378 | 890.458 | 77.728 | 0.25651
2019-01-18 05:45:00 | 0.609 | 262.627 | 0.173 | 148.76 | 0.515 | 128.867 | 1.535 | 131.8 | -8.891 | 889.892 | 80.309 | 0.30696
2019-01-18 06:00:00 | 1.064 | 256.04 | 0 | 149.432 | 0.053 | 97.025 | 1.449 | 128 | -8.604 | 889.633 | 78.731 | 0.32118
2019-01-18 06:15:00 | 0 | 133.507 | 1.279 | 96.159 | 1.773 | 86.033 | 1.849 | 96 | -8.07 | 889.933 | 80.117 | 0.30199
2019-01-18 06:30:00 | 0 | 137.6 | 1.196 | 94.298 | 2.63 | 91.767 | 2.951 | 94.067 | -7.506 | 889.817 | 79.648 | 0.23733
2019-01-18 06:45:00 | 0 | 182.113 | 0.918 | 110.509 | 2.384 | 99.667 | 3.082 | 96.1 | -8.25 | 889.696 | 81.685 | 0.32615
2019-01-18 07:00:00 | 0 | 182.673 | 1.476 | 83.315 | 2.884 | 88.133 | 3.271 | 89 | -7.97 | 889.654 | 84.245 | 0.1748
2019-01-18 07:15:00 | 0 | 182.413 | 0.72 | 74.249 | 2.664 | 87.067 | 2.596 | 83.033 | -8.684 | 890.446 | 86.507 | 0.437
2019-01-18 07:30:00 | 0.216 | 264.36 | 0 | 85.228 | 1.165 | 89.883 | 2.234 | 80.367 | -8.691 | 890.062 | 87.317 | 0.31549
2019-01-18 07:45:00 | 0 | 252.267 | 1.388 | 92.909 | 1.766 | 96 | 2.148 | 80.2 | -8.758 | 889.829 | 87.275 | 0.31833
2019-01-18 08:00:00 | 0.429 | 228.2 | 0.705 | 99.869 | 1.254 | 96 | 1.166 | 80.333 | -8.641 | 890.579 | 88.469 | 0.3027
2019-01-18 08:15:00 | 2.315 | 229.667 | 0.083 | 117.259 | 0.392 | 109 | 0.275 | 80.3 | -8.674 | 889.658 | 88.661 | 0.30128
2019-01-18 08:30:00 | 1.148 | 221.28 | 0.053 | 116.516 | 1.685 | 84.8 | 1.873 | 80.167 | -8.25 | 890.475 | 88.341 | 0.30412
2019-01-18 08:45:00 | 1.044 | 220.873 | 0.064 | 116.251 | 1.636 | 92 | 2.504 | 80 | -7.903 | 890.388 | 88.683 | 0.31407
2019-01-18 09:00:00 | 0 | 231.547 | 0.383 | 105.639 | 1.889 | 91.833 | 2.947 | 80 | -7.95 | 889.525 | 88.597 | 0.21175
2019-01-18 09:15:00 | 0.03 | 231.407 | 0 | 100.27 | 1.317 | 92 | 2.489 | 80 | -8.571 | 889.142 | 88.725 | 0.24301
2019-01-18 09:30:00 | 0.06 | 231.4 | 0.317 | 100.242 | 1.843 | 92.167 | 2.754 | 80 | -8.541 | 890.129 | 88.853 | 0.22099
2019-01-18 09:45:00 | 0.879 | 219.533 | 0.51 | 124.259 | 2.249 | 106 | 2.375 | 80 | -7.522 | 890.05 | 88.875 | 0.28991
2019-01-18 10:00:00 | 0.504 | 185.333 | 1.263 | 118.841 | 2.279 | 110.767 | 3.213 | 96.867 | -6.628 | 889.588 | 86.123 | 0.73686
2019-01-18 10:15:00 | 0.307 | 133.513 | 1.784 | 107.66 | 2.275 | 99.367 | 2.696 | 96.333 | -7.032 | 889.746 | 82.837 | 0.71696
2019-01-18 10:30:00 | 0.77 | 123.833 | 2.174 | 94.408 | 2.614 | 92.6 | 2.758 | 90 | -7.289 | 890.079 | 82.389 | 0.29133
2019-01-18 10:45:00 | 1.366 | 144.607 | 2.578 | 112.306 | 2.503 | 109.367 | 2.734 | 90.433 | -7.012 | 889.992 | 81.205 | 0.054003
2019-01-18 11:00:00 | 0.343 | 139.76 | 1.332 | 101.399 | 2.231 | 99.033 | 2.274 | 92 | -6.269 | 890.008 | 80.224 | 0.20109
2019-01-18 11:15:00 | 2.295 | 96.6 | 2.308 | 90.594 | 2.422 | 95.433 | 2.648 | 91.067 | -5.402 | 890.2 | 79.797 | 0.1947
2019-01-18 11:30:00 | 2.768 | 96.1 | 2.905 | 92.711 | 2.824 | 96.767 | 3.094 | 93.967 | -5.285 | 890.017 | 76.053 | 0.18972
2019-01-18 11:45:00 | 3.462 | 110 | 3.42 | 106.28 | 3.324 | 109.833 | 3.374 | 106.267 | -5.469 | 889.9 | 69.429 | 0.18901
2019-01-18 12:00:00 | 2.768 | 96.3 | 2.777 | 92.027 | 2.714 | 95.4 | 2.983 | 91.933 | -5.169 | 889.742 | 71.829 | 0.16769
2019-01-18 12:15:00 | 2.891 | 113.133 | 3.088 | 105.267 | 3.039 | 109.8 | 3.15 | 103.533 | -4.935 | 889.567 | 74.101 | 0.25296
2019-01-18 12:30:00 | 2.739 | 111.087 | 2.851 | 100.928 | 2.941 | 105.2 | 3.162 | 99.9 | -4.5 | 889.692 | 71.904 | 0.55282
2019-01-18 12:45:00 | 2.825 | 104.013 | 2.905 | 103.38 | 2.936 | 110.3 | 3.21 | 103.5 | -4.285 | 890.3 | 69.696 | 0.43984
2019-01-18 13:00:00 | 2.508 | 110.033 | 2.815 | 103.418 | 3.086 | 111.667 | 3.216 | 104.533 | -3.874 | 890.342 | 67.957 | 0.91521
2019-01-18 13:15:00 | 2.567 | 99.503 | 2.405 | 95.769 | 2.306 | 100.9 | 2.549 | 98.333 | -3.994 | 889.742 | 67.605 | 0.89318
2019-01-18 13:30:00 | 2.681 | 108.467 | 2.699 | 104.858 | 2.637 | 110.433 | 2.86 | 107.1 | -3.673 | 889.967 | 66.315 | 0.58195
2019-01-18 13:45:00 | 2.86 | 89.167 | 2.916 | 83.516 | 2.952 | 87.367 | 3.062 | 84.467 | -3.672 | 889.875 | 65.888 | 0.86689
2019-01-18 14:00:00 | 2.783 | 71.768 | 2.872 | 68.566 | 2.799 | 79.033 | 2.778 | 78.667 | -3.006 | 889.758 | 65.109 | 0.79726
2019-01-18 14:15:00 | 2.667 | 68.9 | 2.634 | 62.916 | 2.601 | 69.067 | 2.94 | 66.933 | -3.421 | 890.008 | 66.123 | 0.65514
2019-01-18 14:30:00 | 3.131 | 75.3 | 3.199 | 72.317 | 3.217 | 79.333 | 3.334 | 73.233 | -3.321 | 890.1 | 64.779 | 0.9081
2019-01-18 14:45:00 | 2.693 | 79.867 | 2.791 | 69.918 | 2.909 | 81.267 | 3.216 | 79.733 | -3.354 | 889.675 | 65.973 | 1.0403
2019-01-18 15:00:00 | 3.405 | 74.567 | 3.262 | 67.803 | 3.395 | 74.567 | 3.441 | 72.133 | -3.271 | 889.833 | 64.864 | 1.8198
2019-01-18 15:15:00 | 3.068 | 75.933 | 2.89 | 70.361 | 2.674 | 81.1 | 3.279 | 72.733 | -3.471 | 889.8 | 64.725 | 2.2582
2019-01-18 15:30:00 | 2.932 | 76.933 | 3.116 | 73.995 | 3.379 | 77.733 | 3.519 | 73.8 | -3.354 | 889.933 | 63.403 | 2.0315
2019-01-18 15:45:00 | 3.71 | 50.033 | 3.857 | 45.371 | 3.882 | 50 | 4.101 | 48.767 | -3.706 | 889.85 | 63.285 | 2.4095
2019-01-18 16:00:00 | 3.712 | 66.267 | 3.614 | 60.127 | 3.695 | 64.133 | 3.922 | 63 | -3.421 | 890.283 | 63.157 | 2.612
2019-01-18 16:15:00 | 3.196 | 72.667 | 3.187 | 69.144 | 3.424 | 76.2 | 3.571 | 70.5 | -3.773 | 889.575 | 64.171 | 2.2568
2019-01-18 16:30:00 | 3.219 | 76.1 | 2.997 | 72.042 | 3.225 | 79.133 | 3.499 | 75.4 | -3.857 | 889.967 | 65.408 | 2.3186
2019-01-18 16:45:00 | 3.409 | 71.877 | 3.38 | 69.178 | 3.409 | 76.433 | 3.555 | 73.4 | -3.899 | 889.783 | 66.677 | 2.3754
2019-01-18 17:00:00 | 3.453 | 70.213 | 3.612 | 66.302 | 3.587 | 72.633 | 3.524 | 69.2 | -4.255 | 889.817 | 67.573 | 2.3434
2019-01-18 17:15:00 | 3.573 | 70.882 | 3.533 | 67.696 | 3.567 | 75.1 | 3.71 | 73.1 | -4.305 | 889.992 | 69.312 | 2.8181
2019-01-18 17:30:00 | 3.086 | 92.16 | 2.72 | 88.15 | 2.684 | 92.167 | 2.941 | 81.2 | -4.662 | 889.542 | 70.688 | 2.7854
2019-01-18 17:45:00 | 3.058 | 86.7 | 3.128 | 78.886 | 2.864 | 87.2 | 2.947 | 83.733 | -4.819 | 889.792 | 70.56 | 1.9008
2019-01-18 18:00:00 | 3.237 | 79.4 | 3.233 | 73.833 | 3.224 | 80 | 3.364 | 75.667 | -4.902 | 889.958 | 69.643 | 0.98058
2019-01-18 18:15:00 | 2.656 | 76.3 | 2.661 | 72.679 | 2.739 | 79.467 | 2.82 | 75.467 | -5.402 | 890.075 | 69.643 | 0.27925
2019-01-18 18:30:00 | 2.016 | 64.94 | 2.06 | 64.182 | 2.198 | 71.733 | 2.277 | 70.133 | -5.521 | 890.2 | 70.517 | 0.32828
2019-01-18 18:45:00 | 1.878 | 77.283 | 2.119 | 72.555 | 2.195 | 86.033 | 2.249 | 72.4 | -5.898 | 890.092 | 70.709 | 0.31691
2019-01-18 19:00:00 | 2.032 | 78.15 | 2.054 | 75.267 | 2.097 | 85.233 | 2.249 | 73.4 | -5.898 | 889.7 | 71.68 | 0.28849
2019-01-18 19:15:00 | 2.063 | 92.173 | 2.521 | 75.333 | 2.536 | 86 | 2.502 | 78 | -6.087 | 890.042 | 71.029 | 0.30412
2019-01-18 19:30:00 | 2.151 | 93.753 | 2.613 | 80.704 | 2.647 | 92.1 | 2.774 | 88.3 | -6.366 | 889.575 | 71.68 | 0.16769
2019-01-18 19:45:00 | 2.053 | 99.567 | 2.654 | 85.254 | 2.683 | 94 | 2.927 | 95.8 | -6.562 | 889.733 | 72.128 | 0.11867
2019-01-18 20:00:00 | 1.903 | 100.2 | 2.792 | 85.271 | 2.683 | 94.267 | 2.984 | 95.867 | -6.545 | 890.075 | 72.64 | 0.39152
2019-01-18 20:15:00 | 1.147 | 100.227 | 1.916 | 84.789 | 2.378 | 91.633 | 2.553 | 93.267 | -6.703 | 890.075 | 73.109 | 0.21033
2019-01-18 20:30:00 | 0 | 100.257 | 1.882 | 75.282 | 2.231 | 80.467 | 2.31 | 73.867 | -7.032 | 889.717 | 73.301 | 0.18617
2019-01-18 20:45:00 | 0.363 | 80.388 | 1.597 | 59.62 | 2.198 | 63.967 | 2.324 | 60.2 | -7.556 | 890.008 | 73.579 | 0.26859
2019-01-18 21:00:00 | 1.104 | 62.133 | 2.301 | 58.304 | 2.722 | 69.067 | 2.702 | 65.9 | -7.091 | 889.8 | 73.237 | 0.31904
2019-01-18 21:15:00 | 1.168 | 62.175 | 1.841 | 58.758 | 2.292 | 69 | 2.56 | 66 | -7.19 | 889.792 | 73.888 | 0.1748
2019-01-18 21:30:00 | 0 | 62.13 | 1.316 | 59.133 | 2.003 | 69 | 2.567 | 66 | -7.051 | 889.325 | 74.56 | 0.12151
2019-01-18 21:45:00 | 0 | 62.148 | 0.476 | 55.962 | 1.696 | 58.8 | 2.405 | 65 | -7.502 | 889.483 | 74.549 | 0.32757
2019-01-18 22:00:00 | 0 | 62.135 | 0.163 | 55.106 | 1.666 | 62.9 | 1.905 | 65.567 | -7.144 | 890.117 | 75.307 | 0.30128
2019-01-18 22:15:00 | 0 | 62.138 | 0 | 55.14 | 0.106 | 58.033 | 0.974 | 65 | -7.267 | 889.692 | 77.248 | 0.30554
2019-01-18 22:30:00 | 0 | 62.15 | 0 | 55.138 | 0.319 | 58 | 1.377 | 65 | -7.406 | 889.817 | 79.456 | 0.29418
2019-01-18 22:45:00 | 0.08 | 62.15 | 1.163 | 68.442 | 1.904 | 72 | 2.325 | 69 | -7.539 | 890.179 | 82.496 | 0.28991
2019-01-18 23:00:00 | 1.266 | 88.367 | 1.772 | 85.197 | 2.509 | 86.3 | 3.099 | 77.7 | -7.772 | 890.3 | 83.733 | 0.30341
2019-01-18 23:15:00 | 0.21 | 110.29 | 0.717 | 104.284 | 1.381 | 121.667 | 1.942 | 98.933 | -7.732 | 890.175 | 84.117 | 0.27499
2019-01-18 23:30:00 | 1.506 | 159.94 | 1.472 | 130.447 | 2.135 | 126.667 | 2.502 | 114.333 | -7.719 | 889.846 | 84.267 | 0.30696
2019-01-18 23:45:00 | 1.823 | 192.533 | 1.317 | 146.037 | 1.3 | 141.033 | 1.559 | 117.033 | -8.391 | 890.562 | 85.227 | 0.28991