## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-19 00:00:00 | 1.961 | 203.72 | 1.401 | 177.137 | 1.457 | 169.967 | 1.462 | 128.267 | -8.13 | 889.742 | 85.845 | 0.29418
2019-01-19 00:15:00 | 1.637 | 204.873 | 0.584 | 179.571 | 0.277 | 173.067 | 1.215 | 135 | -8.371 | 889.996 | 86.4 | 0.29986
2019-01-19 00:30:00 | 0.392 | 212.54 | 0 | 179.577 | 0 | 171 | 1.072 | 134.867 | -7.97 | 890.212 | 86.08 | 0.30412
2019-01-19 00:45:00 | 0.116 | 212.42 | 0 | 179.491 | 0 | 171 | 0.453 | 135 | -8.331 | 890.196 | 86.187 | 0.29418
2019-01-19 01:00:00 | 1.086 | 213.447 | 0 | 179.646 | 0 | 171 | 0 | 135.067 | -8.25 | 890.162 | 86.059 | 0.29702
2019-01-19 01:15:00 | 1.173 | 240.447 | 0 | 189.507 | 0 | 170.933 | 0 | 135 | -8.25 | 889.988 | 85.76 | 0.29844
2019-01-19 01:30:00 | 1.432 | 245.12 | 0 | 189.475 | 0 | 171 | 0 | 135 | -8.13 | 890.062 | 86.123 | 0.29986
2019-01-19 01:45:00 | 1.26 | 254.493 | 0 | 189.483 | 0 | 171 | 0 | 134.8 | -8.11 | 890.229 | 86.293 | 0.29844
2019-01-19 02:00:00 | 1.203 | 254.373 | 0 | 189.509 | 0 | 171.067 | 0.393 | 133.6 | -8.271 | 890.058 | 87.296 | 0.29986
2019-01-19 02:15:00 | 0.588 | 254.973 | 0 | 189.459 | 0 | 150.233 | 1.172 | 100 | -8.371 | 890.242 | 87.637 | 0.29844
2019-01-19 02:30:00 | 0 | 255.433 | 0 | 189.554 | 0.216 | 114.2 | 1.458 | 100 | -8.291 | 889.825 | 87.509 | 0.29844
2019-01-19 02:45:00 | 0 | 255.453 | 0 | 189.462 | 0 | 114.067 | 1.411 | 100.067 | -8.23 | 889.908 | 87.659 | 0.29844
2019-01-19 03:00:00 | 0 | 254.5 | 0 | 189.557 | 0.892 | 113.533 | 2.129 | 102 | -8.09 | 890.058 | 87.723 | 0.29844
2019-01-19 03:15:00 | 0 | 254.587 | 1.176 | 86.368 | 1.854 | 90.733 | 2.442 | 98.567 | -8.314 | 890.462 | 87.979 | 0.31833
2019-01-19 03:30:00 | 0.324 | 13.029 | 1.623 | 56.278 | 2.259 | 67.067 | 2.893 | 76 | -8.294 | 890.029 | 88.256 | 0.32118
2019-01-19 03:45:00 | 1.129 | 57.482 | 2.042 | 62.089 | 2.735 | 78.167 | 3.171 | 83.2 | -8.621 | 889.846 | 88.448 | 0.22241
2019-01-19 04:00:00 | 0.58 | 71.2 | 2.037 | 73.576 | 2.231 | 89.7 | 2.022 | 96.467 | -8.674 | 889.9 | 89.045 | 0.95856
2019-01-19 04:15:00 | 0.06 | 70.8 | 1.336 | 65.314 | 1.847 | 86.4 | 1.959 | 91.767 | -8.958 | 890.158 | 88.448 | 0.39365
2019-01-19 04:30:00 | 0.4 | 51.733 | 1.09 | 64.318 | 1.722 | 81.8 | 2.251 | 90.967 | -9.008 | 890.238 | 89.344 | 0.081005
2019-01-19 04:45:00 | 0 | 49.1 | 1.063 | 60.922 | 1.192 | 67.9 | 1.626 | 79.633 | -8.924 | 889.929 | 89.515 | 0.26788
2019-01-19 05:00:00 | 0 | 48.3 | 1.061 | 43.619 | 1.358 | 56 | 1.527 | 77.1 | -8.958 | 890.846 | 89.579 | 0.30554
2019-01-19 05:15:00 | 0 | 48.1 | 0.396 | 41.147 | 0.855 | 57.1 | 1.794 | 77.267 | -9.124 | 889.792 | 90.027 | 0.29418
2019-01-19 05:30:00 | 0.844 | 217.64 | 0 | 41.131 | 0 | 62.008 | 0.027 | 78 | -9.258 | 889.408 | 90.389 | 0.29986
2019-01-19 05:45:00 | 1.343 | 279.733 | 0 | 41.098 | 0 | 62.146 | 0 | 78 | -9.291 | 890.138 | 90.389 | 0.30128
2019-01-19 06:00:00 | 1.73 | 284.8 | 0 | 26.164 | 0 | 62.125 | 0 | 77.9 | -9.274 | 889.633 | 90.347 | 0.29844
2019-01-19 06:15:00 | 2.3 | 274.6 | 1.138 | 290.367 | 0 | 62 | 0 | 77.933 | -9.091 | 889.833 | 90.496 | 0.30839
2019-01-19 06:30:00 | 1.37 | 288.6 | 0 | 287.1 | 0 | 62.096 | 0 | 78 | -9.141 | 890.146 | 90.155 | 0.31123
2019-01-19 06:45:00 | 1.073 | 288.867 | 0 | 286.842 | 0 | 62.079 | 0 | 78 | -9.124 | 889.846 | 90.368 | 0.31549
2019-01-19 07:00:00 | 1.103 | 300.8 | 0 | 286.796 | 0 | 62.083 | 0.466 | 78 | -8.941 | 890.229 | 90.133 | 0.31407
2019-01-19 07:15:00 | 1.559 | 326.467 | 0.896 | 338.788 | 0.815 | 22.5 | 1.432 | 45 | -8.891 | 890.067 | 89.856 | 0.31691
2019-01-19 07:30:00 | 1.659 | 324.8 | 1.086 | 344.92 | 0 | 17.733 | 0.981 | 44.833 | -9.341 | 889.888 | 89.963 | 0.31833
2019-01-19 07:45:00 | 1.517 | 324.8 | 1.03 | 349.038 | 0.174 | 15.533 | 1.091 | 46.867 | -9.291 | 890.246 | 90.261 | 0.30839
2019-01-19 08:00:00 | 1.86 | 326.8 | 1.007 | 351.042 | 0.852 | 15.948 | 1.549 | 47.9 | -9.091 | 890.012 | 90.475 | 0.31265
2019-01-19 08:15:00 | 1.814 | 330.8 | 1.225 | 350.862 | 1.047 | 16.063 | 1.49 | 48 | -9.241 | 890.117 | 90.411 | 0.30554
2019-01-19 08:30:00 | 2.172 | 322.133 | 1.992 | 349.83 | 0.878 | 13.664 | 1.303 | 43.467 | -9.241 | 890.058 | 90.368 | 0.30839
2019-01-19 08:45:00 | 1.971 | 311.053 | 1.452 | 338.711 | 0.033 | 0 | 0.722 | 38.033 | -9.304 | 889.888 | 90.155 | 0.30554
2019-01-19 09:00:00 | 1.966 | 291.867 | 0.436 | 336.693 | 0 | 0.133 | 0 | 38 | -9.412 | 889.642 | 90.165 | 0.30412
2019-01-19 09:15:00 | 2.088 | 290.4 | 1.08 | 335.045 | 0 | 0 | 0 | 38 | -9.704 | 889.262 | 90.027 | 0.30412
2019-01-19 09:30:00 | 1.86 | 280.92 | 0.505 | 335.056 | 0 | 0 | 0.034 | 38 | -9.662 | 890.121 | 89.941 | 0.3027
2019-01-19 09:45:00 | 1.815 | 277.413 | 0.35 | 334.947 | 0 | 0.133 | 0.225 | 38 | -9.954 | 890.104 | 89.536 | 0.29986
2019-01-19 10:00:00 | 1.374 | 291.2 | 1.068 | 335.272 | 0.86 | 3.844 | 1.353 | 38 | -9.241 | 889.775 | 89.696 | 0.30554
2019-01-19 10:15:00 | 1.273 | 300.133 | 1.601 | 331.426 | 1.796 | 16.949 | 2.158 | 38 | -9.174 | 890.425 | 87.925 | 0.33254
2019-01-19 10:30:00 | 1.367 | 325.2 | 1.808 | 7.89 | 2.064 | 38.477 | 2.142 | 45.867 | -9.224 | 890.221 | 87.509 | 0.33823
2019-01-19 10:45:00 | 0 | 326.267 | 0 | 39.143 | 0.309 | 80.025 | 1.245 | 71 | -9.274 | 889.862 | 87.616 | 0.31123
2019-01-19 11:00:00 | 0 | 299.36 | 0 | 78.274 | 0 | 80.192 | 0.35 | 71 | -8.234 | 890.017 | 87.68 | 0.31549
2019-01-19 11:15:00 | 0.416 | 80.34 | 0.14 | 66.671 | 0 | 80 | 0.097 | 70.9 | -8.584 | 889.758 | 84.587 | 0.31265
2019-01-19 11:30:00 | 0.07 | 130.4 | 0 | 68.176 | 0 | 80.133 | 0 | 70.833 | -8.841 | 889.812 | 83.989 | 0.31833
2019-01-19 11:45:00 | 0.542 | 185.9 | 0.19 | 188.609 | 0.04 | 180.9 | 0.212 | 106 | -7.756 | 889.608 | 82.187 | 0.31976
2019-01-19 12:00:00 | 2.027 | 204.933 | 1.883 | 198.931 | 1.873 | 204.633 | 1.273 | 181.733 | -7.606 | 889.767 | 80.523 | 0.30412
2019-01-19 12:15:00 | 1.874 | 209.5 | 1.636 | 208.044 | 1.386 | 215.267 | 1.395 | 203.767 | -6.578 | 890.2 | 80.085 | 0.31123
2019-01-19 12:30:00 | 2.009 | 215.6 | 1.869 | 215.261 | 1.54 | 219 | 1.118 | 204 | -5.733 | 889.8 | 76.032 | 0.30981
2019-01-19 12:45:00 | 1.826 | 227.033 | 1.864 | 224.138 | 1.934 | 222.767 | 1.515 | 211.333 | -5.402 | 890.158 | 72.907 | 0.31123
2019-01-19 13:00:00 | 1.243 | 215.42 | 1.26 | 215.2 | 1.486 | 217.567 | 1.327 | 218.1 | -4.579 | 890.167 | 67.552 | 0.30981
2019-01-19 13:15:00 | 0 | 214.52 | 0.03 | 216.46 | 0.093 | 224 | 0 | 205.867 | -2.476 | 890.142 | 61.717 | 0.30128
2019-01-19 13:30:00 | 1.676 | 118.204 | 1.531 | 90.976 | 1.476 | 88.733 | 1.363 | 164.733 | -3.358 | 890.058 | 54.917 | 0.31407
2019-01-19 13:45:00 | 1.576 | 17.892 | 1.486 | 15.583 | 1.56 | 40.667 | 1.428 | 25.7 | -5.604 | 890.083 | 56.747 | 0.32402
2019-01-19 14:00:00 | 0.887 | 28.958 | 1.056 | 25.55 | 1.386 | 32.367 | 1.404 | 23.833 | -5.452 | 889.867 | 59.477 | 0.29275
2019-01-19 14:15:00 | 0 | 62.028 | 0 | 21.06 | 0.07 | 23.967 | 0.138 | 31 | -4.411 | 889.417 | 60.789 | 0.29844
2019-01-19 14:30:00 | 0 | 276.363 | 0 | 20.078 | 0 | 4.011 | 0 | 31 | -4.325 | 889.733 | 58.955 | 0.30981
2019-01-19 14:45:00 | 0.063 | 54.301 | 0 | 53.628 | 0.027 | 143.533 | 0 | 33.3 | -3.994 | 889.592 | 57.451 | 0.29986
2019-01-19 15:00:00 | 0.28 | 117.153 | 0.106 | 108.946 | 0.39 | 129.567 | 0.427 | 52 | -4.076 | 890.058 | 54.315 | 0.30128
2019-01-19 15:15:00 | 0.027 | 26.294 | 0 | 117.288 | 0.173 | 153.733 | 0 | 79.033 | -4.673 | 889.842 | 55.52 | 0.28991
2019-01-19 15:30:00 | 0.609 | 38.323 | 0.067 | 34.111 | 0.223 | 328 | 0.04 | 47.125 | -4.656 | 889.733 | 56.245 | 0.29275
2019-01-19 15:45:00 | 0.276 | 19.143 | 0.087 | 15.052 | 0.16 | 102.067 | 0.165 | 5.738 | -4.305 | 890 | 55.296 | 0.2956
2019-01-19 16:00:00 | 0.293 | 18.319 | 0 | 0 | 0 | 16 | 0.124 | 3.933 | -5.002 | 889.683 | 56.459 | 0.29275
2019-01-19 16:15:00 | 0.319 | 48.573 | 0.073 | 26.873 | 0.21 | 45 | 0.457 | 38.1 | -4.566 | 890 | 56.8 | 0.29844
2019-01-19 16:30:00 | 0.609 | 0 | 0.263 | 77.498 | 0.624 | 21.233 | 0.863 | 30.867 | -4.696 | 889.858 | 58.24 | 0.30128
2019-01-19 16:45:00 | 0.669 | 223.521 | 0.427 | 317.828 | 0.686 | 0 | 0.779 | 7.067 | -5.052 | 890.383 | 60.613 | 0.29418
2019-01-19 17:00:00 | 1.272 | 17.586 | 0.979 | 24.743 | 1.349 | 26.967 | 1.646 | 23.367 | -4.885 | 889.75 | 60.971 | 0.27925
2019-01-19 17:15:00 | 1.34 | 20.991 | 1.387 | 17.285 | 1.639 | 19.967 | 2.173 | 22.933 | -4.769 | 890.067 | 57.536 | 0.27712
2019-01-19 17:30:00 | 1.869 | 31.977 | 1.741 | 25.792 | 1.845 | 33.767 | 2.054 | 34.933 | -5.069 | 890.108 | 56.459 | 0.29844
2019-01-19 17:45:00 | 2.332 | 304 | 2.192 | 303.462 | 1.96 | 307.367 | 2.015 | 312.333 | -5.518 | 889.533 | 67.344 | 0.30554
2019-01-19 18:00:00 | 2.686 | 286.347 | 2.081 | 283.106 | 1.376 | 305.6 | 1.267 | 327.433 | -5.918 | 890.083 | 72.469 | 0.30696
2019-01-19 18:15:00 | 3.026 | 273.933 | 3.202 | 272.252 | 2.536 | 281.1 | 1.903 | 291.6 | -6.378 | 890.067 | 75.376 | 0.29986
2019-01-19 18:30:00 | 3.072 | 266.653 | 3.242 | 269.006 | 2.636 | 278.4 | 2.015 | 282.933 | -6.972 | 890.008 | 76.811 | 0.30981
2019-01-19 18:45:00 | 3.348 | 247.867 | 3.232 | 254.423 | 2.402 | 268.067 | 1.436 | 282.033 | -7.472 | 889.858 | 78.24 | 0.31407
2019-01-19 19:00:00 | 3.809 | 223.433 | 3.333 | 244.498 | 2.592 | 255 | 1.728 | 271.4 | -8.558 | 889.783 | 79.435 | 0.32686
2019-01-19 19:15:00 | 4.517 | 223.26 | 3.158 | 242.513 | 2.328 | 252.7 | 1.597 | 267.967 | -9.454 | 890.017 | 80.149 | 0.32118
2019-01-19 19:30:00 | 4.632 | 225.3 | 2.757 | 242.96 | 1.572 | 263 | 0.778 | 268.967 | -10.283 | 889.992 | 79.755 | 0.3226
2019-01-19 19:45:00 | 5.108 | 224.46 | 2.694 | 241.846 | 1.953 | 256.233 | 0.957 | 268.1 | -10.793 | 890.117 | 80.491 | 0.27925
2019-01-19 20:00:00 | 4.698 | 225.62 | 3.84 | 246.495 | 3.008 | 264 | 2.488 | 272.3 | -10.262 | 890.017 | 83.605 | 0.3297
2019-01-19 20:15:00 | 5.089 | 229.047 | 2.655 | 247.588 | 1.654 | 262.033 | 1.181 | 267.2 | -10.778 | 889.7 | 79.099 | 0.31976
2019-01-19 20:30:00 | 5.87 | 222.32 | 4.491 | 228.236 | 3.014 | 235.933 | 1.898 | 231.3 | -12.016 | 890.358 | 78.667 | 0.31833
2019-01-19 20:45:00 | 5.555 | 223.827 | 3.138 | 229.484 | 2.277 | 235.433 | 1.307 | 223 | -12.161 | 889.458 | 80.619 | 0.32118
2019-01-19 21:00:00 | 5.738 | 225.6 | 3.392 | 226.266 | 2.346 | 224.667 | 1.29 | 211.45 | -12.47 | 889.758 | 79.445 | 0.31691
2019-01-19 21:15:00 | 5.747 | 227.933 | 3.258 | 230.317 | 2.115 | 232.867 | 0.958 | 217 | -12.403 | 889.808 | 79.669 | 0.30554
2019-01-19 21:30:00 | 5.826 | 226.767 | 2.996 | 230.257 | 1.585 | 230.633 | 0.319 | 219.933 | -12.97 | 889.842 | 78.112 | 0.31976
2019-01-19 21:45:00 | 5.651 | 225.267 | 2.684 | 225.984 | 1.519 | 220.033 | 1.225 | 194.1 | -13.07 | 889.767 | 79.019 | 0.33397
2019-01-19 22:00:00 | 4.664 | 218.74 | 1.857 | 206.568 | 1.559 | 192.833 | 1.754 | 154.867 | -13.14 | 889.7 | 79.04 | 0.3567
2019-01-19 22:15:00 | 4.602 | 213.633 | 2.642 | 194.225 | 2.2 | 176.6 | 2.64 | 150.433 | -11.118 | 889.875 | 78.4 | 0.2352
2019-01-19 22:30:00 | 4.394 | 214.607 | 2.442 | 186.164 | 2.488 | 169.3 | 2.677 | 151.567 | -10.741 | 889.767 | 71.893 | 1.8034
2019-01-19 22:45:00 | 3.536 | 208.233 | 2.985 | 184.412 | 2.625 | 176.4 | 2.338 | 150.2 | -10.149 | 889.608 | 68.608 | 3.4647
2019-01-19 23:00:00 | 4.182 | 200.8 | 3.39 | 169.211 | 3.15 | 155.5 | 3.898 | 142.967 | -11.328 | 890.108 | 63.445 | 4.1774
2019-01-19 23:15:00 | 3.939 | 206.84 | 2.856 | 161.035 | 3.028 | 150.933 | 3.24 | 142.433 | -11.932 | 889.417 | 66.325 | 3.5656
2019-01-19 23:30:00 | 4.422 | 202.067 | 3.166 | 173.745 | 2.91 | 165.9 | 2.982 | 148.6 | -11.528 | 890.05 | 69.035 | 2.1672
2019-01-19 23:45:00 | 4.965 | 204.367 | 3.684 | 178.398 | 2.909 | 168.2 | 2.636 | 148.1 | -11.786 | 889.592 | 72.789 | 1.7189