## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-20 00:00:00 | 5.277 | 201.967 | 4.286 | 186.837 | 3.308 | 181.833 | 2.906 | 166.833 | -11.161 | 889.625 | 79.989 | 0.61535
2019-01-20 00:15:00 | 4.415 | 208.613 | 3.958 | 194.836 | 3.327 | 196 | 2.753 | 183.2 | -10.939 | 889.667 | 75.456 | 0.083136
2019-01-20 00:30:00 | 4.587 | 204.133 | 3.56 | 184.435 | 3.279 | 183.5 | 3.244 | 179.433 | -11.078 | 889.65 | 78.304 | 0.21246
2019-01-20 00:45:00 | 4.2 | 204.867 | 3.333 | 181.119 | 2.629 | 176.1 | 2.533 | 169.967 | -11.245 | 889.733 | 79.552 | 0.28209
2019-01-20 01:00:00 | 3.684 | 200.407 | 2.896 | 167.507 | 2.404 | 166.7 | 2.519 | 160.567 | -11.932 | 889.967 | 77.067 | 0.28849
2019-01-20 01:15:00 | 3.763 | 190.813 | 3.064 | 156.879 | 2.469 | 152.067 | 2.448 | 144.467 | -12.399 | 889.817 | 78.304 | 1.3899
2019-01-20 01:30:00 | 3.581 | 198.82 | 2.77 | 145.65 | 2.173 | 143.867 | 2.134 | 138.133 | -13.758 | 890.008 | 79.307 | 0.86973
2019-01-20 01:45:00 | 4.76 | 203.1 | 4.12 | 171.106 | 3.288 | 169.3 | 2.891 | 155.767 | -13.672 | 889.842 | 81.184 | 2.32
2019-01-20 02:00:00 | 5.322 | 189.44 | 3.999 | 165.883 | 3.191 | 162.967 | 2.933 | 150.033 | -13.124 | 889.8 | 80.043 | 4.5846
2019-01-20 02:15:00 | 5.434 | 190.467 | 4.106 | 169.804 | 3.149 | 169.033 | 2.522 | 152.567 | -13.766 | 890.15 | 80.32 | 5.5566
2019-01-20 02:30:00 | 5.3 | 200.1 | 5.624 | 178.83 | 4.357 | 180.3 | 3.482 | 170.3 | -13.484 | 889.892 | 80.725 | 4.1604
2019-01-20 02:45:00 | 5.778 | 197.667 | 6.156 | 181.038 | 5.133 | 179.8 | 4.018 | 169.433 | -12.553 | 890.012 | 81.312 | 3.8598
2019-01-20 03:00:00 | 5.825 | 197.867 | 5.974 | 179.601 | 4.413 | 176.867 | 3.337 | 161.733 | -13.203 | 889.95 | 80.096 | 4.5604
2019-01-20 03:15:00 | 4.024 | 205.8 | 5.443 | 181.814 | 3.907 | 180.433 | 2.585 | 166.833 | -13.578 | 890.067 | 78.976 | 1.6968
2019-01-20 03:30:00 | 4.578 | 209.547 | 3.937 | 182.293 | 2.076 | 181.367 | 1.33 | 155.067 | -13.289 | 889.933 | 81.291 | 0.79015
2019-01-20 03:45:00 | 4.167 | 208.467 | 3.043 | 174.804 | 1.424 | 152.533 | 2.028 | 127.433 | -13.086 | 889.892 | 79.893 | 0.18262
2019-01-20 04:00:00 | 3.189 | 216.567 | 1.114 | 166.497 | 2.038 | 136.5 | 2.652 | 116.433 | -12.986 | 889.925 | 80.544 | 0.20251
2019-01-20 04:15:00 | 3.726 | 208.967 | 2.855 | 159.008 | 2.465 | 131.033 | 2.829 | 96.767 | -12.886 | 889.383 | 78.88 | 0.24799
2019-01-20 04:30:00 | 3.556 | 200.88 | 3.039 | 164.937 | 2.662 | 150.667 | 2.994 | 133.967 | -12.078 | 890.021 | 80.395 | 0.11724
2019-01-20 04:45:00 | 3.394 | 199.227 | 2.903 | 168.434 | 2.173 | 166.1 | 1.984 | 153.967 | -11.953 | 889.742 | 77.003 | 0.083847
2019-01-20 05:00:00 | 3.567 | 183.487 | 3.289 | 143.897 | 2.526 | 137.533 | 2.426 | 124.233 | -12.282 | 889.683 | 72.523 | 0.069636
2019-01-20 05:15:00 | 5.266 | 179.653 | 4.135 | 159.574 | 3.469 | 155.2 | 3.314 | 144.267 | -11.201 | 889.675 | 73.205 | 0.75107
2019-01-20 05:30:00 | 5.375 | 191.267 | 4.428 | 156.599 | 3.785 | 153.533 | 3.468 | 143.633 | -13.451 | 890.375 | 73.419 | 3.3297
2019-01-20 05:45:00 | 5.282 | 198.58 | 4.324 | 169.4 | 3.286 | 162.1 | 3.249 | 148.5 | -13.178 | 889.908 | 71.979 | 3.4093
2019-01-20 06:00:00 | 5.144 | 195.2 | 4.367 | 166.494 | 3.339 | 159.733 | 3.271 | 146.233 | -12.82 | 889.792 | 72.971 | 3.4192
2019-01-20 06:15:00 | 3.692 | 207.147 | 4.018 | 174.03 | 2.088 | 161.967 | 1.744 | 144.6 | -13.72 | 890.233 | 74.763 | 0.76812
2019-01-20 06:30:00 | 4.532 | 202.953 | 3.48 | 168.667 | 2.309 | 157.533 | 2.163 | 139.9 | -13.316 | 890.025 | 75.456 | 0.24515
2019-01-20 06:45:00 | 4.213 | 199.367 | 3.015 | 163.924 | 2.663 | 153.9 | 2.383 | 138.367 | -13.391 | 889.858 | 74.272 | 0.16769
2019-01-20 07:00:00 | 5.306 | 196.72 | 3.517 | 164.973 | 3.037 | 157.967 | 2.993 | 148.8 | -13.691 | 889.533 | 74.731 | 1.4062
2019-01-20 07:15:00 | 5.284 | 188.233 | 3.194 | 162.701 | 2.755 | 155.167 | 2.872 | 143 | -13.086 | 890.2 | 74.891 | 1.1753
2019-01-20 07:30:00 | 4.411 | 204.433 | 3.226 | 157.029 | 2.623 | 142.833 | 2.234 | 135.233 | -13.933 | 889.542 | 73.099 | 1.3117
2019-01-20 07:45:00 | 5.555 | 199.367 | 3.861 | 166.801 | 2.686 | 149.9 | 2.459 | 131.733 | -13.672 | 890.183 | 76.693 | 1.0708
2019-01-20 08:00:00 | 4.456 | 196.667 | 3.466 | 156.59 | 2.942 | 144.8 | 2.549 | 133.033 | -13.136 | 889.683 | 75.093 | 2.9332
2019-01-20 08:15:00 | 4.309 | 199.233 | 4.252 | 151.455 | 3.254 | 137.933 | 3.445 | 127.433 | -14.066 | 889.733 | 72.288 | 5.1921
2019-01-20 08:30:00 | 4.069 | 197.667 | 3.906 | 147.45 | 3.414 | 140.6 | 2.762 | 135.1 | -14.166 | 890.05 | 74.475 | 5.0976
2019-01-20 08:45:00 | 4.1 | 192.14 | 3.764 | 136.454 | 3.853 | 127.333 | 4.438 | 120.367 | -13.412 | 890.092 | 71.435 | 5.757
2019-01-20 09:00:00 | 4.119 | 186.033 | 3.702 | 141.929 | 3.576 | 132.933 | 4.11 | 117.267 | -13.672 | 889.558 | 74.101 | 4.9221
2019-01-20 09:15:00 | 4.453 | 185.4 | 3.362 | 140.138 | 2.689 | 137.567 | 3.583 | 123.967 | -13.672 | 889.75 | 74.123 | 2.4138
2019-01-20 09:30:00 | 5.387 | 187.333 | 3.857 | 154.418 | 3.273 | 143.867 | 2.737 | 134.267 | -12.62 | 889.75 | 70.795 | 2.7982
2019-01-20 09:45:00 | 4.749 | 180.34 | 3.923 | 145.714 | 3.172 | 139.5 | 2.895 | 128.033 | -11.916 | 889.892 | 67.744 | 2.897
2019-01-20 10:00:00 | 4.146 | 178.5 | 3.496 | 143.74 | 3.014 | 139.867 | 2.657 | 131.8 | -10.399 | 889.683 | 62.261 | 3.2004
2019-01-20 10:15:00 | 3.092 | 166.267 | 3.377 | 133.777 | 3.429 | 131 | 3.807 | 122.6 | -9.704 | 890.017 | 58.357 | 4.0417
2019-01-20 10:30:00 | 2.598 | 166.8 | 4.101 | 127.637 | 4.252 | 121.5 | 4.342 | 117.267 | -9.908 | 890.075 | 58.411 | 5.4202
2019-01-20 10:45:00 | 1.811 | 170.8 | 3.662 | 131.819 | 3.75 | 123.467 | 4.022 | 117.567 | -9.808 | 890.033 | 63.136 | 4.0673
2019-01-20 11:00:00 | 2.275 | 162.633 | 2.946 | 137.077 | 2.675 | 138.733 | 2.489 | 130.933 | -8.724 | 890.142 | 61.717 | 2.7719
2019-01-20 11:15:00 | 2.631 | 148.467 | 2.85 | 126.67 | 3.49 | 121.267 | 4.005 | 115.8 | -7.689 | 889.533 | 58.592 | 3.707
2019-01-20 11:30:00 | 2.539 | 109.653 | 2.447 | 102.006 | 2.277 | 101.933 | 2.502 | 96.467 | -6.797 | 890.242 | 55.477 | 3.2906
2019-01-20 11:45:00 | 2.997 | 101.35 | 2.565 | 90.832 | 2.483 | 94.6 | 2.575 | 89.633 | -5.898 | 889.875 | 52.245 | 2.8416
2019-01-20 12:00:00 | 4.522 | 90.987 | 4.316 | 84.926 | 4.042 | 89.933 | 4.303 | 84.667 | -6.116 | 889.833 | 51.659 | 4.8759
2019-01-20 12:15:00 | 4.116 | 100.473 | 3.726 | 94.184 | 3.419 | 97.5 | 3.501 | 93.667 | -6.037 | 889.725 | 51.168 | 7.3764
2019-01-20 12:30:00 | 4.773 | 103.413 | 4.62 | 98.412 | 4.217 | 100.6 | 4.208 | 95.733 | -5.498 | 890.008 | 50.08 | 8.5041
2019-01-20 12:45:00 | 5.416 | 101.82 | 5.117 | 96.355 | 4.644 | 102.133 | 4.769 | 98.067 | -5.918 | 889.683 | 49.877 | 11.8885
2019-01-20 13:00:00 | 5.97 | 110.24 | 5.59 | 102.982 | 5.608 | 105.667 | 5.771 | 102.367 | -5.756 | 890.175 | 49.216 | 16.4255
2019-01-20 13:15:00 | 5.617 | 104.867 | 5.455 | 102.214 | 5.505 | 107.333 | 5.596 | 105.433 | -5.219 | 889.792 | 47.424 | 18.2303
2019-01-20 13:30:00 | 5.406 | 116.15 | 5.728 | 109.312 | 5.744 | 114.267 | 5.685 | 108.2 | -4.952 | 889.742 | 46.24 | 20.2675
2019-01-20 13:45:00 | 5.674 | 117.873 | 6.03 | 110.789 | 5.874 | 115.9 | 5.876 | 110.867 | -4.869 | 890.1 | 44.832 | 16.159
2019-01-20 14:00:00 | 4.97 | 112.373 | 5.495 | 110.454 | 5.537 | 114 | 5.863 | 108.8 | -4.685 | 889.933 | 45.195 | 13.9705
2019-01-20 14:15:00 | 5.072 | 104.913 | 4.594 | 96.734 | 4.514 | 100.567 | 4.766 | 93.633 | -3.986 | 889.817 | 45.109 | 14.5048
2019-01-20 14:30:00 | 5.246 | 114.06 | 5.23 | 108.531 | 5.125 | 113.3 | 5.392 | 111.267 | -4.082 | 889.7 | 44.971 | 12.9828
2019-01-20 14:45:00 | 4.761 | 102.7 | 4.683 | 97.502 | 4.632 | 102.5 | 4.774 | 97.667 | -3.371 | 889.517 | 45.088 | 9.5266
2019-01-20 15:00:00 | 4.485 | 108.267 | 4.34 | 101.11 | 4.334 | 103.833 | 4.427 | 97.8 | -3.538 | 890.25 | 44.203 | 10.095
2019-01-20 15:15:00 | 5.148 | 109.167 | 4.774 | 104.824 | 4.762 | 106.733 | 5.04 | 100.7 | -3.404 | 889.95 | 42.72 | 11.9354
2019-01-20 15:30:00 | 4.982 | 101.233 | 4.726 | 94.052 | 4.41 | 98.767 | 4.815 | 90.833 | -3.321 | 889.717 | 42.037 | 16.1768
2019-01-20 15:45:00 | 6.344 | 89.787 | 6.396 | 85.115 | 5.935 | 90.167 | 5.989 | 87.267 | -2.76 | 889.825 | 40.667 | 25.132
2019-01-20 16:00:00 | 5.838 | 102.137 | 5.918 | 95.168 | 5.637 | 98.967 | 5.736 | 94.433 | -2.879 | 889.733 | 39.115 | 28.9044
2019-01-20 16:15:00 | 6.45 | 91.633 | 6.366 | 84.352 | 5.968 | 90.367 | 5.847 | 87.933 | -3.271 | 889.683 | 38.475 | 33.3675
2019-01-20 16:30:00 | 6.224 | 97.133 | 6.16 | 92.465 | 5.256 | 99.1 | 5.063 | 95 | -3.121 | 889.667 | 38.453 | 33.5615
2019-01-20 16:45:00 | 6.605 | 98.763 | 6.525 | 93.51 | 5.954 | 99.367 | 5.389 | 93.2 | -2.74 | 889.367 | 38.837 | 33.1209
2019-01-20 17:00:00 | 6.258 | 90.733 | 6.167 | 87.207 | 5.748 | 92.5 | 5.842 | 87.967 | -3.321 | 889.8 | 38.651 | 32.173
2019-01-20 17:15:00 | 5.933 | 98.033 | 5.734 | 92.628 | 5.16 | 96.433 | 5.007 | 93.067 | -3.237 | 890 | 38.949 | 31.9762
2019-01-20 17:30:00 | 6.38 | 101.167 | 5.504 | 94.016 | 5.066 | 97.1 | 5.208 | 93.833 | -3.187 | 889.583 | 38.656 | 28.3353
2019-01-20 17:45:00 | 5.229 | 103.067 | 5.3 | 96.757 | 4.805 | 104.567 | 4.891 | 96.467 | -3.572 | 889.867 | 39.595 | 25.9534
2019-01-20 18:00:00 | 4.861 | 97.7 | 4.965 | 92.87 | 4.423 | 97.3 | 4.418 | 93.4 | -3.622 | 889.417 | 40.315 | 21.2935
2019-01-20 18:15:00 | 5.128 | 93.227 | 5.234 | 88.962 | 3.871 | 96.7 | 3.736 | 89.133 | -4.398 | 889.867 | 41.483 | 19.4617
2019-01-20 18:30:00 | 4.518 | 88.167 | 4.889 | 82.039 | 4.911 | 86.833 | 4.924 | 83.4 | -5.352 | 889.817 | 44.309 | 17.065
2019-01-20 18:45:00 | 4.857 | 89.487 | 4.878 | 89.776 | 4.057 | 92.933 | 3.864 | 89.933 | -5.918 | 890 | 44.896 | 16.0098
2019-01-20 19:00:00 | 3.895 | 100.533 | 4.006 | 96.878 | 2.987 | 100.033 | 3.52 | 100.233 | -6.495 | 889.767 | 46.869 | 16.0155
2019-01-20 19:15:00 | 4.386 | 102.073 | 4.751 | 98.506 | 3.979 | 103.033 | 4.098 | 97.233 | -6.735 | 889.825 | 46.773 | 12.7817
2019-01-20 19:30:00 | 3.81 | 109.433 | 4.413 | 101.89 | 3.988 | 107.1 | 4.026 | 103.533 | -6.826 | 889.9 | 46.709 | 10.1504
2019-01-20 19:45:00 | 3.618 | 119.563 | 3.827 | 104.667 | 4.002 | 111.933 | 4.387 | 110.1 | -7.071 | 890.3 | 47.349 | 6.2487
2019-01-20 20:00:00 | 3.433 | 124.09 | 3.695 | 106.23 | 3.811 | 113.4 | 4.337 | 112.733 | -6.972 | 889.9 | 48.043 | 4.4105
2019-01-20 20:15:00 | 3.212 | 126.05 | 3.712 | 105.812 | 4.055 | 111.733 | 4.55 | 109.833 | -6.856 | 889.892 | 48.341 | 4.1653
2019-01-20 20:30:00 | 3.18 | 118.68 | 3.352 | 99.254 | 2.801 | 101.733 | 3.722 | 102.767 | -7.833 | 889.925 | 51.424 | 4.6919
2019-01-20 20:45:00 | 2.932 | 192.533 | 2.345 | 167.04 | 1.767 | 152.067 | 1.988 | 117 | -9.566 | 890.308 | 56.267 | 2.2838
2019-01-20 21:00:00 | 2.892 | 200.073 | 2.048 | 162.414 | 2.351 | 131.333 | 2.525 | 97.967 | -10.784 | 889.825 | 59.275 | 0.43487
2019-01-20 21:15:00 | 2.552 | 207.867 | 1.606 | 170.371 | 1.86 | 138.567 | 2.869 | 105.033 | -11.499 | 889.608 | 61.44 | 0.63738
2019-01-20 21:30:00 | 1.521 | 182.753 | 1.814 | 122.046 | 2.381 | 111.767 | 3.204 | 102.433 | -9.312 | 889.875 | 61.888 | 1.8667
2019-01-20 21:45:00 | 2.1 | 175.133 | 2.186 | 125.272 | 3.13 | 117.933 | 3.864 | 109.967 | -8.724 | 889.883 | 57.653 | 2.5204
2019-01-20 22:00:00 | 1.989 | 169.333 | 2.377 | 120.47 | 3.442 | 117.233 | 4.256 | 108.267 | -8.591 | 890.017 | 56.427 | 2.8437
2019-01-20 22:15:00 | 2.773 | 126.67 | 4.013 | 106.33 | 4.358 | 107 | 4.663 | 100.7 | -8.17 | 889.433 | 53.899 | 7.2321
2019-01-20 22:30:00 | 3.587 | 123.073 | 4.765 | 105.946 | 4.741 | 107.233 | 4.932 | 101.4 | -8.808 | 889.992 | 55.424 | 11.7052
2019-01-20 22:45:00 | 3.037 | 123.047 | 4.34 | 102.956 | 4.063 | 105.533 | 4.747 | 102.033 | -9.191 | 889.642 | 55.029 | 9.4775
2019-01-20 23:00:00 | 4.589 | 106.237 | 5.064 | 100.768 | 4.566 | 104.933 | 4.993 | 98.067 | -7.97 | 890.117 | 53.429 | 10.4944
2019-01-20 23:15:00 | 4.67 | 106.367 | 4.704 | 99.541 | 3.962 | 105.133 | 4.786 | 102.833 | -7.606 | 889.892 | 52.352 | 12.2239
2019-01-20 23:30:00 | 4.305 | 106.733 | 4.381 | 97.118 | 3.948 | 100.867 | 4.457 | 96.767 | -7.556 | 889.983 | 51.872 | 20.1687
2019-01-20 23:45:00 | 5.049 | 104.167 | 4.994 | 101.588 | 4.533 | 101.233 | 4.847 | 97.933 | -7.606 | 890.117 | 51.755 | 23.8864