## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-21 00:00:00 | 4.706 | 97.333 | 4.303 | 95.292 | 4.096 | 100.633 | 4.956 | 96.733 | -7.522 | 889.95 | 50.933 | 15.5934
2019-01-21 00:15:00 | 4.345 | 133.467 | 5.222 | 115.612 | 5.688 | 117.2 | 6.263 | 109.967 | -9.628 | 890.092 | 56.213 | 13.0176
2019-01-21 00:30:00 | 4.317 | 146.667 | 4.857 | 122.588 | 5.072 | 124.067 | 5.723 | 119.733 | -9.074 | 889.575 | 57.728 | 14.8857
2019-01-21 00:45:00 | 3.578 | 180.987 | 4.091 | 129.454 | 4.493 | 115.233 | 4.596 | 104.267 | -11.703 | 890.258 | 61.013 | 8.7471
2019-01-21 01:00:00 | 3.123 | 148.607 | 4.82 | 109.691 | 5.144 | 112.6 | 5.277 | 107.2 | -10.12 | 889.767 | 59.221 | 7.6407
2019-01-21 01:15:00 | 4.889 | 127.31 | 5.381 | 107.07 | 5.519 | 111.567 | 6.221 | 105.933 | -10.087 | 889.675 | 60.469 | 10.2329
2019-01-21 01:30:00 | 4.039 | 138.533 | 5.127 | 120.195 | 5.26 | 122.933 | 5.52 | 114.5 | -8.571 | 889.717 | 53.493 | 20.0103
2019-01-21 01:45:00 | 3.633 | 161.807 | 4.126 | 128.208 | 4.431 | 122.7 | 4.644 | 116.833 | -9.454 | 890.083 | 57.536 | 10.7637
2019-01-21 02:00:00 | 4.242 | 159.833 | 4.311 | 133.648 | 4.548 | 122.267 | 5.344 | 114.633 | -10.062 | 889.917 | 59.093 | 9.9025
2019-01-21 02:15:00 | 4.072 | 174.267 | 3.597 | 139.801 | 3.877 | 128.667 | 4.925 | 114.533 | -9.758 | 890.108 | 58.325 | 9.9437
2019-01-21 02:30:00 | 3.325 | 177.747 | 3.535 | 141.127 | 4.434 | 124.467 | 5.115 | 111.3 | -10.651 | 889.942 | 60.533 | 13.4524
2019-01-21 02:45:00 | 3.169 | 156.98 | 4.061 | 127.271 | 4.615 | 122 | 5.032 | 108.7 | -9.683 | 889.9 | 59.072 | 16.4574
2019-01-21 03:00:00 | 3.203 | 164.407 | 4.108 | 134.361 | 4.469 | 127.533 | 5.209 | 117.233 | -10.054 | 889.7 | 59.179 | 13.0695
2019-01-21 03:15:00 | 3.168 | 182.02 | 3.441 | 140.27 | 3.229 | 134.467 | 3.624 | 123.733 | -10.166 | 890.108 | 62.891 | 10.6429
2019-01-21 03:30:00 | 3.533 | 168.98 | 3.684 | 135.729 | 3.717 | 128.567 | 4.527 | 119.867 | -9.941 | 889.558 | 63.221 | 7.6514
2019-01-21 03:45:00 | 2.859 | 159.267 | 3.533 | 124.306 | 3.775 | 123.833 | 4.386 | 114.233 | -9.704 | 889.608 | 63.68 | 7.3927
2019-01-21 04:00:00 | 3.14 | 146.133 | 4.26 | 118.433 | 4.882 | 118.533 | 5.491 | 109.867 | -9.324 | 890.242 | 62.592 | 9.1663
2019-01-21 04:15:00 | 4.058 | 130.267 | 5.277 | 114.675 | 5.852 | 116.433 | 6.378 | 110.833 | -9.141 | 889.675 | 62.432 | 14.8828
2019-01-21 04:30:00 | 3.4 | 153.107 | 4.921 | 120.651 | 5.25 | 121.5 | 5.597 | 113.333 | -10.004 | 890.025 | 62.464 | 16.4056
2019-01-21 04:45:00 | 3.599 | 160.36 | 5.321 | 119.79 | 5.912 | 117.833 | 6.267 | 110.567 | -9.083 | 889.758 | 59.68 | 16.0133
2019-01-21 05:00:00 | 2.96 | 163.74 | 4.605 | 114.084 | 5.298 | 116.133 | 5.219 | 106.667 | -10.37 | 889.817 | 62.368 | 13.8525
2019-01-21 05:15:00 | 3.16 | 181.42 | 3.585 | 125.877 | 4.056 | 116.367 | 4.123 | 105.567 | -11.703 | 890.033 | 64.405 | 10.6429
2019-01-21 05:30:00 | 2.588 | 173.133 | 3.114 | 123.687 | 3.537 | 118.433 | 4.096 | 111.533 | -11.101 | 889.783 | 65.877 | 4.1319
2019-01-21 05:45:00 | 3.168 | 198.1 | 2.586 | 150.825 | 3.101 | 129.733 | 4.081 | 114.6 | -11.428 | 889.9 | 68.405 | 3.7255
2019-01-21 06:00:00 | 2.815 | 200.133 | 1.978 | 160.929 | 2.125 | 140.2 | 2.999 | 123.167 | -10.249 | 890.05 | 68.203 | 1.7046
2019-01-21 06:15:00 | 3.342 | 211.913 | 1.897 | 177.729 | 1.757 | 165.233 | 2.129 | 143.667 | -10.966 | 889.533 | 66.251 | 0.3091
2019-01-21 06:30:00 | 1.98 | 199.533 | 1.842 | 139.979 | 2.355 | 129.1 | 2.659 | 120.867 | -10.333 | 889.908 | 65.963 | 0.34391
2019-01-21 06:45:00 | 0.06 | 199 | 1.706 | 107.481 | 2.447 | 100.767 | 2.854 | 90.933 | -10.099 | 890.017 | 68.565 | 0.35102
2019-01-21 07:00:00 | 2.912 | 184.353 | 2.581 | 129.448 | 2.921 | 118.167 | 3.182 | 108.7 | -11.003 | 890.175 | 68.149 | 0.47182
2019-01-21 07:15:00 | 1.937 | 181.527 | 1.577 | 129.156 | 2.048 | 123.1 | 2.428 | 118 | -9.87 | 889.867 | 68.469 | 0.2082
2019-01-21 07:30:00 | 0.227 | 117.107 | 2.36 | 81.203 | 2.642 | 83.167 | 2.744 | 80.933 | -9.649 | 890.342 | 67.499 | 0.28423
2019-01-21 07:45:00 | 2.249 | 213.82 | 0.47 | 143.214 | 1.938 | 90.867 | 3.152 | 81.633 | -12.116 | 889.708 | 66.069 | 2.546
2019-01-21 08:00:00 | 1.428 | 201.3 | 1.411 | 115.769 | 1.905 | 100.533 | 2.548 | 92.767 | -12.47 | 889.908 | 67.189 | 2.018
2019-01-21 08:15:00 | 1.557 | 186.667 | 1.854 | 114.808 | 2.001 | 104.433 | 1.968 | 89.633 | -12.82 | 889.883 | 70.773 | 1.586
2019-01-21 08:30:00 | 1.663 | 183.6 | 1.832 | 127.472 | 2.347 | 113.4 | 2.645 | 104.133 | -12.203 | 889.908 | 71.659 | 0.43842
2019-01-21 08:45:00 | 2.583 | 207.307 | 1.644 | 149.322 | 2.117 | 134.733 | 2.933 | 113.233 | -11.761 | 890.092 | 68.181 | 0.36381
2019-01-21 09:00:00 | 3.148 | 211.333 | 1.736 | 163.426 | 2.02 | 138.5 | 3.141 | 124.2 | -11.295 | 890.308 | 65.877 | 0.27996
2019-01-21 09:15:00 | 2.936 | 213.973 | 1.401 | 157.176 | 1.306 | 142.867 | 2.163 | 131.867 | -10.834 | 889.708 | 64.619 | 0.15988
2019-01-21 09:30:00 | 3.328 | 214.853 | 1.403 | 155.616 | 1.824 | 136.333 | 3.02 | 117.067 | -11.103 | 889.833 | 63.477 | 0.2892
2019-01-21 09:45:00 | 2.471 | 209.127 | 1.159 | 157.105 | 2.097 | 129.9 | 3.182 | 106.167 | -10.091 | 889.783 | 64.128 | 0.22028
2019-01-21 10:00:00 | 3.516 | 221.747 | 1.157 | 188.649 | 1.106 | 148 | 1.761 | 134.233 | -9.995 | 889.833 | 59.957 | 0.33112
2019-01-21 10:15:00 | 2.09 | 215.867 | 1.096 | 180.689 | 1.709 | 143.267 | 2.258 | 134 | -8.674 | 889.733 | 58.4 | 0.31976
2019-01-21 10:30:00 | 1.638 | 213.007 | 1.295 | 160.9 | 1.581 | 141.267 | 2.512 | 129.7 | -8.454 | 889.767 | 57.419 | 0.32402
2019-01-21 10:45:00 | 1.296 | 196.64 | 1.423 | 119.832 | 2.511 | 110.933 | 3.354 | 106.733 | -7.97 | 889.608 | 58.421 | 0.28138
2019-01-21 11:00:00 | 0.483 | 156.007 | 1.961 | 107.307 | 3.027 | 104.7 | 3.15 | 104.3 | -7.97 | 890.317 | 58.901 | 0.69209
2019-01-21 11:15:00 | 1.904 | 137.747 | 2.521 | 121.6 | 3.025 | 124.7 | 3.464 | 118.167 | -7.639 | 889.575 | 56.032 | 3.334
2019-01-21 11:30:00 | 2.005 | 189.867 | 1.8 | 187.597 | 1.653 | 174.8 | 2.22 | 137.7 | -6.445 | 890.15 | 53.504 | 2.104
2019-01-21 11:45:00 | 0.549 | 198.233 | 0.077 | 168.086 | 0.626 | 143.2 | 1.403 | 131.067 | -4.206 | 889.725 | 51.2 | 0.72975
2019-01-21 12:00:00 | 0.626 | 139.623 | 0.74 | 130.622 | 0.764 | 136.667 | 1.721 | 120.433 | -2.922 | 890.175 | 44.661 | 0.29844
2019-01-21 12:15:00 | 3.438 | 119.717 | 3.836 | 113.349 | 3.874 | 110.9 | 4.328 | 113.167 | -4.226 | 890.117 | 46.645 | 4.9178
2019-01-21 12:30:00 | 7.49 | 107.363 | 7.09 | 102.169 | 6.688 | 105.4 | 7.104 | 102.067 | -4.384 | 889.908 | 48.757 | 20.8132
2019-01-21 12:45:00 | 7.293 | 111.537 | 7.33 | 103.602 | 7.187 | 108.9 | 7.06 | 104.167 | -4.602 | 890.267 | 47.787 | 32.6989
2019-01-21 13:00:00 | 7.392 | 109.93 | 7.46 | 101.575 | 7.468 | 108.633 | 7.469 | 105.9 | -4.186 | 890.183 | 47.477 | 45.2546
2019-01-21 13:15:00 | 7.319 | 108.333 | 7.573 | 104.62 | 7.276 | 110.067 | 7.201 | 103.9 | -3.79 | 889.958 | 46.464 | 49.2771
2019-01-21 13:30:00 | 8.584 | 107.267 | 7.79 | 101.266 | 7.894 | 103.833 | 8.004 | 99.1 | -3.471 | 889.983 | 45.163 | 48.5999
2019-01-21 13:45:00 | 8.258 | 96.5 | 8.187 | 95.135 | 7.304 | 101.233 | 7.148 | 94.933 | -3.321 | 889.7 | 44.331 | 47.0559
2019-01-21 14:00:00 | 8.026 | 107.647 | 8.053 | 101.621 | 7.573 | 105.133 | 7.97 | 100.633 | -2.975 | 889.625 | 44.448 | 51.6667
2019-01-21 14:15:00 | 7.434 | 104.03 | 7.24 | 97.346 | 7.012 | 101.667 | 6.829 | 96.833 | -3.043 | 889.783 | 44.715 | 53.2555
2019-01-21 14:30:00 | 7.21 | 90.033 | 7.27 | 86.024 | 7.422 | 91.833 | 7.573 | 88.667 | -3.387 | 889.758 | 44.555 | 46.4277
2019-01-21 14:45:00 | 7.09 | 90.553 | 6.538 | 89.977 | 6.439 | 93.3 | 6.184 | 88.167 | -3.23 | 889.983 | 44.128 | 39.2538
2019-01-21 15:00:00 | 6.72 | 89.633 | 6.308 | 86.816 | 6.139 | 91.3 | 6.137 | 87.067 | -3.354 | 889.417 | 44.053 | 35.583
2019-01-21 15:15:00 | 6.809 | 85.08 | 6.893 | 80.498 | 7.054 | 86.1 | 7.046 | 83.433 | -2.892 | 890.192 | 43.765 | 32.9092
2019-01-21 15:30:00 | 5.993 | 95.557 | 5.916 | 89.745 | 5.844 | 92.633 | 6.104 | 83.633 | -2.955 | 889.992 | 42.496 | 31.7893
2019-01-21 15:45:00 | 6.65 | 90.147 | 6.226 | 87.504 | 5.744 | 94.1 | 5.903 | 86.1 | -2.942 | 889.55 | 42.144 | 29.4239
2019-01-21 16:00:00 | 5.635 | 78.433 | 5.983 | 73.505 | 6.324 | 79.233 | 6.541 | 75.333 | -2.951 | 890.025 | 42.56 | 19.9449
2019-01-21 16:15:00 | 5.224 | 72.333 | 5.327 | 68.335 | 5.528 | 75.9 | 5.647 | 74.367 | -3.187 | 889.6 | 42.091 | 13.0126
2019-01-21 16:30:00 | 5.02 | 80.327 | 5.024 | 74.021 | 4.638 | 80.233 | 4.832 | 80.1 | -3.099 | 889.8 | 42.101 | 12.6239
2019-01-21 16:45:00 | 5.329 | 80.833 | 5.38 | 75.736 | 5.468 | 82.133 | 5.577 | 76 | -3.421 | 889.85 | 42.144 | 13.1078
2019-01-21 17:00:00 | 4.826 | 89.967 | 4.776 | 82.675 | 4.561 | 85.533 | 4.723 | 80.833 | -3.254 | 889.792 | 42.827 | 13.5896
2019-01-21 17:15:00 | 3.25 | 94.467 | 2.828 | 92.324 | 2.904 | 101.7 | 2.935 | 98.333 | -3.806 | 890.05 | 43.072 | 7.1753
2019-01-21 17:30:00 | 3.321 | 107.67 | 2.66 | 97.678 | 2.346 | 98.233 | 2.9 | 92.7 | -3.893 | 889.783 | 42.4 | 4.1604
2019-01-21 17:45:00 | 3.157 | 115.167 | 3.146 | 108.314 | 2.93 | 109.467 | 2.779 | 101.6 | -3.689 | 889.942 | 42.325 | 2.6234
2019-01-21 18:00:00 | 3.28 | 93.067 | 3.248 | 90.051 | 3.16 | 94 | 3.157 | 94.1 | -3.84 | 889.667 | 41.653 | 2.4515
2019-01-21 18:15:00 | 3.406 | 112.25 | 3.226 | 101.129 | 3.092 | 104.633 | 3.397 | 100.333 | -4.305 | 890.133 | 42.688 | 2.5239
2019-01-21 18:30:00 | 2.97 | 101.86 | 2.843 | 97.64 | 2.316 | 101.7 | 2.187 | 93.4 | -4.746 | 889.767 | 44.544 | 1.9001
2019-01-21 18:45:00 | 2.751 | 114.533 | 2.674 | 105.704 | 2.586 | 111.567 | 2.726 | 105.2 | -5.285 | 890.258 | 46.304 | 0.70701
2019-01-21 19:00:00 | 2.331 | 124.393 | 2.46 | 113.166 | 2.492 | 122.1 | 2.539 | 117.467 | -5.619 | 889.717 | 46.464 | 0.13217
2019-01-21 19:15:00 | 2.669 | 128.573 | 3.082 | 117.754 | 2.976 | 125.133 | 2.971 | 123.7 | -5.997 | 889.675 | 47.456 | 0.19612
2019-01-21 19:30:00 | 2.208 | 160.133 | 2.2 | 133.957 | 2.093 | 142.667 | 2.284 | 134.5 | -6.097 | 889.967 | 48.907 | 0.13643
2019-01-21 19:45:00 | 2.466 | 165.38 | 1.811 | 143.398 | 2.096 | 146.933 | 2.253 | 141.9 | -6.236 | 889.892 | 50.507 | 0.20962
2019-01-21 20:00:00 | 3.581 | 203.66 | 1.717 | 169.062 | 1.604 | 160.3 | 1.734 | 144.067 | -7.626 | 889.933 | 54.347 | 0.33681
2019-01-21 20:15:00 | 4.125 | 218.5 | 2.733 | 191.845 | 2.161 | 174.567 | 2.253 | 158.567 | -7.777 | 889.85 | 55.445 | 0.29418
2019-01-21 20:30:00 | 5.387 | 224.58 | 3.295 | 209.149 | 2.376 | 194.4 | 2.224 | 173.333 | -9.583 | 889.575 | 57.035 | 0.2956
2019-01-21 20:45:00 | 6.446 | 226.52 | 4.985 | 233.033 | 4.112 | 228.733 | 3.586 | 209.567 | -11.807 | 889.875 | 66.219 | 0.26007
2019-01-21 21:00:00 | 5.462 | 227.213 | 5.157 | 247.156 | 3.883 | 251.367 | 3.177 | 236.633 | -11.974 | 889.583 | 68.491 | 1.7217
2019-01-21 21:15:00 | 5.249 | 228.86 | 5.267 | 252.015 | 4.283 | 269.533 | 3.352 | 263.1 | -12.057 | 890.133 | 69.504 | 2.7876
2019-01-21 21:30:00 | 5.224 | 227.053 | 5.289 | 248.742 | 4.014 | 263.2 | 3.244 | 268 | -12.016 | 890.108 | 70.528 | 2.9602
2019-01-21 21:45:00 | 5.718 | 225.18 | 5.03 | 246.302 | 3.812 | 258.067 | 2.934 | 268.9 | -11.87 | 890.067 | 70.464 | 2.4607
2019-01-21 22:00:00 | 6.126 | 227.293 | 5.258 | 247.095 | 4.222 | 261.133 | 3.532 | 261.2 | -12.057 | 890.025 | 70.357 | 4.0623
2019-01-21 22:15:00 | 6.185 | 228.567 | 5.138 | 246.555 | 4.142 | 264.8 | 3.636 | 266.2 | -11.995 | 889.992 | 69.941 | 3.6104
2019-01-21 22:30:00 | 5.818 | 236.613 | 5.63 | 257.235 | 4.994 | 270.4 | 4.718 | 278.167 | -12.366 | 889.733 | 70.8 | 4.3508
2019-01-21 22:45:00 | 5.748 | 238.1 | 4.958 | 263.874 | 4.609 | 278.267 | 4.849 | 282.667 | -12.203 | 889.667 | 70.608 | 7.1774
2019-01-21 23:00:00 | 5.655 | 239.133 | 5.347 | 259.457 | 4.801 | 275.867 | 5.066 | 280.233 | -11.786 | 889.733 | 71.163 | 8.9389
2019-01-21 23:15:00 | 5.86 | 230.42 | 5.508 | 250.511 | 4.883 | 265.133 | 5.055 | 269.467 | -11.532 | 889.875 | 71.637 | 9.5543
2019-01-21 23:30:00 | 5.824 | 237.82 | 5.663 | 258.337 | 5.318 | 275.667 | 5.583 | 279.967 | -11.807 | 889.833 | 72.64 | 10.6201
2019-01-21 23:45:00 | 5.814 | 232.467 | 5.389 | 252.858 | 4.99 | 269.2 | 5.016 | 276 | -11.478 | 889.858 | 73.488 | 9.9693