## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-22 00:00:00 | 5.649 | 226.387 | 4.476 | 248.942 | 3.946 | 268.933 | 4.052 | 278.067 | -11.653 | 889.742 | 72.331 | 5.3641
2019-01-22 00:15:00 | 5.395 | 227.313 | 3.48 | 252.232 | 3.334 | 279.733 | 3.879 | 291.367 | -11.974 | 890.15 | 73.403 | 3.8996
2019-01-22 00:30:00 | 5.683 | 223.013 | 3.93 | 239.53 | 3.322 | 253.5 | 3.079 | 262.5 | -12.382 | 889.658 | 72.736 | 2.5033
2019-01-22 00:45:00 | 6.61 | 219.553 | 4.464 | 228.185 | 3.772 | 237.8 | 3.333 | 239.2 | -12.236 | 890.283 | 69.579 | 2.082
2019-01-22 01:00:00 | 6.485 | 219.4 | 4.513 | 227.15 | 4.046 | 234.233 | 3.452 | 231.433 | -12.936 | 889.833 | 71.061 | 2.8842
2019-01-22 01:15:00 | 6.158 | 214.1 | 5.029 | 213.815 | 4.365 | 219.7 | 3.66 | 216.767 | -12.853 | 890.075 | 71.573 | 3.5749
2019-01-22 01:30:00 | 6.548 | 216.7 | 6.109 | 212.455 | 5.227 | 215.133 | 4.577 | 213.267 | -12.686 | 889.933 | 70.848 | 4.0637
2019-01-22 01:45:00 | 5.677 | 213.133 | 5.089 | 212.354 | 3.801 | 216.433 | 2.984 | 214.933 | -12.736 | 889.917 | 70.507 | 3.1066
2019-01-22 02:00:00 | 5.363 | 214.6 | 4.869 | 211.533 | 3.659 | 215.733 | 3.036 | 215.467 | -12.986 | 890.05 | 72.171 | 0.52795
2019-01-22 02:15:00 | 6.266 | 223.133 | 5.798 | 219.709 | 4.718 | 226.533 | 3.976 | 224.867 | -12.47 | 889.842 | 72.053 | 1.1724
2019-01-22 02:30:00 | 6.611 | 223.967 | 6.183 | 224.531 | 4.79 | 230.833 | 3.853 | 228.933 | -12.603 | 890.158 | 71.125 | 2.2802
2019-01-22 02:45:00 | 6.789 | 224.9 | 6.913 | 224.932 | 6.115 | 236.667 | 5.616 | 235.3 | -12.92 | 889.542 | 71.52 | 9.0334
2019-01-22 03:00:00 | 6.258 | 220.033 | 6.392 | 222.761 | 5.715 | 228.633 | 5.316 | 226.467 | -12.536 | 889.708 | 70.891 | 9.5145
2019-01-22 03:15:00 | 5.816 | 222.067 | 7.844 | 220.06 | 6.553 | 226.5 | 5.815 | 222.667 | -12.703 | 889.683 | 70.987 | 8.4422
2019-01-22 03:30:00 | 5.974 | 226.433 | 7.44 | 223.633 | 6.555 | 230.367 | 6.002 | 226.767 | -12.486 | 889.667 | 69.771 | 11.1502
2019-01-22 03:45:00 | 5.338 | 232.167 | 6.806 | 231.469 | 6.703 | 239.667 | 6.502 | 235.767 | -12.536 | 890.167 | 69.931 | 14.0799
2019-01-22 04:00:00 | 5.817 | 228.733 | 6.056 | 228.563 | 6.101 | 237.333 | 6.101 | 232.867 | -12.453 | 889.817 | 69.355 | 15.3532
2019-01-22 04:15:00 | 5.372 | 225.733 | 7.58 | 218.651 | 6.382 | 226.333 | 5.771 | 225.033 | -12.67 | 890.45 | 68.651 | 12.2225
2019-01-22 04:30:00 | 6.447 | 221.98 | 8.346 | 215.33 | 7.199 | 220.633 | 6.372 | 221.667 | -12.199 | 889.717 | 68.459 | 11.5439
2019-01-22 04:45:00 | 6.711 | 226.493 | 8.335 | 223.003 | 6.563 | 230.1 | 5.955 | 229.9 | -11.849 | 889.842 | 67.381 | 11.2284
2019-01-22 05:00:00 | 6.662 | 224.887 | 7.686 | 226.468 | 7.507 | 234.833 | 7.231 | 233.133 | -12.236 | 890.058 | 68.352 | 20.7834
2019-01-22 05:15:00 | 6.021 | 216.38 | 7.874 | 221.509 | 7.343 | 229.8 | 7.011 | 229.433 | -12.232 | 889.8 | 68.875 | 25.0361
2019-01-22 05:30:00 | 5.831 | 224.347 | 8.152 | 222.41 | 7.585 | 231.267 | 6.911 | 232.133 | -11.974 | 889.908 | 68.213 | 29.1673
2019-01-22 05:45:00 | 4.534 | 229.413 | 6.479 | 227.156 | 5.879 | 242.5 | 5.542 | 244.5 | -11.766 | 889.983 | 67.413 | 22.2969
2019-01-22 06:00:00 | 4.649 | 227.033 | 5.682 | 234.168 | 5.706 | 249.933 | 5.489 | 251.567 | -11.89 | 889.817 | 67.68 | 15.1173
2019-01-22 06:15:00 | 6.473 | 232.807 | 7.62 | 229.863 | 7.029 | 241.167 | 6.686 | 242.1 | -11.932 | 889.933 | 68.576 | 16.0503
2019-01-22 06:30:00 | 6.894 | 221.507 | 7.246 | 227.084 | 7.19 | 236.767 | 7.142 | 236.7 | -11.828 | 889.767 | 68.139 | 23.5986
2019-01-22 06:45:00 | 5.968 | 225.92 | 7.188 | 238.819 | 7.34 | 251.067 | 7.229 | 251.35 | -11.807 | 889.875 | 67.2 | 27.3177
2019-01-22 07:00:00 | 5.989 | 234.013 | 7.45 | 253.118 | 8.13 | 266.8 | 8.587 | 264.7 | -11.957 | 889.717 | 68.091 | 32.5965
2019-01-22 07:15:00 | 5.296 | 242.26 | 6.692 | 256.882 | 7.289 | 266.533 | 7.719 | 264.067 | -10.666 | 890.025 | 68.901 | 39.2204
2019-01-22 07:30:00 | 5.373 | 240.213 | 6.476 | 252.835 | 6.868 | 261.6 | 7.162 | 259.85 | -10.045 | 890.1 | 67.595 | 37.385
2019-01-22 07:45:00 | 5.298 | 234.553 | 6.282 | 244.684 | 6.678 | 254.833 | 7.081 | 253.65 | -9.828 | 889.742 | 67.019 | 31.3054
2019-01-22 08:00:00 | 5.546 | 229.28 | 6.29 | 238.629 | 6.285 | 249.5 | 6.386 | 249.733 | -9.683 | 889.45 | 66.901 | 30.8144
2019-01-22 08:15:00 | 5.669 | 226.807 | 6.168 | 238.623 | 6.182 | 250.667 | 6.28 | 251.05 | -9.849 | 889.717 | 67.765 | 28.2713
2019-01-22 08:30:00 | 5.314 | 233.9 | 6.519 | 245.106 | 6.98 | 255.167 | 7.301 | 253.517 | -9.241 | 890.233 | 66.784 | 31.1626
2019-01-22 08:45:00 | 5.464 | 224.113 | 6.463 | 236.17 | 7.234 | 247 | 7.308 | 246.567 | -9.683 | 889.808 | 67.445 | 35.2576
2019-01-22 09:00:00 | 5.302 | 235.367 | 6.659 | 238.719 | 6.817 | 247.067 | 6.71 | 243.167 | -8.874 | 890.275 | 66.176 | 31.233
2019-01-22 09:15:00 | 5.027 | 228.3 | 6.312 | 231.28 | 6.152 | 239.733 | 5.793 | 237.533 | -9.108 | 890.008 | 64.875 | 24.695
2019-01-22 09:30:00 | 4.505 | 216.033 | 5.519 | 222.147 | 5.878 | 236.933 | 5.695 | 237.2 | -9.074 | 889.675 | 64.736 | 19.277
2019-01-22 09:45:00 | 5.626 | 222.4 | 5.949 | 225.257 | 5.65 | 235.867 | 5.825 | 234 | -9.499 | 889.858 | 66.091 | 17.5418
2019-01-22 10:00:00 | 5.332 | 220.487 | 6.599 | 223.186 | 6.62 | 231.533 | 6.592 | 229.967 | -9.637 | 889.883 | 66.123 | 19.2542
2019-01-22 10:15:00 | 4.831 | 227.067 | 5.932 | 225.729 | 5.806 | 232.867 | 5.932 | 231.5 | -9.091 | 890.058 | 65.824 | 16.9875
2019-01-22 10:30:00 | 3.187 | 214.433 | 5.118 | 221.166 | 5.986 | 226.8 | 5.966 | 221.833 | -8.608 | 889.558 | 65.419 | 13.6848
2019-01-22 10:45:00 | 4.343 | 220.433 | 5.578 | 216.74 | 6.682 | 218.967 | 7.345 | 215.733 | -7.439 | 889.967 | 63.531 | 15.1685
2019-01-22 11:00:00 | 3.552 | 213.067 | 4.487 | 210.866 | 5.608 | 213.5 | 6.458 | 210.533 | -5.964 | 889.533 | 60.491 | 15.9878
2019-01-22 11:15:00 | 5.289 | 223.14 | 5.659 | 219.154 | 6.003 | 224.267 | 6.457 | 218.533 | -4.424 | 889.65 | 50.389 | 12.1997
2019-01-22 11:30:00 | 4.988 | 231.7 | 4.891 | 231.661 | 5.025 | 238.6 | 5.088 | 232.333 | -4.008 | 890.067 | 44.192 | 6.6111
2019-01-22 11:45:00 | 4.702 | 229.7 | 4.757 | 223.217 | 4.733 | 222.533 | 4.571 | 213.967 | -3.672 | 890.1 | 41.029 | 3.653
2019-01-22 12:00:00 | 4.632 | 204.76 | 4.949 | 202.318 | 5.066 | 205.667 | 5.158 | 204.7 | -2.976 | 890.067 | 39.2 | 4.8816
2019-01-22 12:15:00 | 4.77 | 214.093 | 5.23 | 215.708 | 5.468 | 221.8 | 5.871 | 220.333 | -2.74 | 889.833 | 39.088 | 8.2618
2019-01-22 12:30:00 | 5.872 | 266.04 | 6.204 | 264.238 | 6.228 | 269.1 | 6.439 | 265.783 | -1.975 | 889.6 | 37.733 | 12.7767
2019-01-22 12:45:00 | 5.089 | 237.487 | 5.116 | 238.05 | 5.318 | 246.2 | 5.134 | 242.483 | -0.962 | 889.533 | 35.616 | 12.2921
2019-01-22 13:00:00 | 4.139 | 255.267 | 4.411 | 254.91 | 4.427 | 260.95 | 4.441 | 257.85 | -0.219 | 889.717 | 34.211 | 6.4321
2019-01-22 13:15:00 | 5.2 | 275.153 | 5.478 | 274.853 | 5.546 | 280.267 | 5.76 | 275.983 | -1.346 | 889.85 | 35.227 | 7.6109
2019-01-22 13:30:00 | 5.394 | 266.66 | 5.916 | 262.693 | 5.894 | 265.65 | 5.539 | 260.85 | -1.292 | 889.9 | 35.045 | 17.1424
2019-01-22 13:45:00 | 5.096 | 282.96 | 5.614 | 278.657 | 5.839 | 279.967 | 5.927 | 276.467 | -0.948 | 889.383 | 35.051 | 19.7864
2019-01-22 14:00:00 | 5.189 | 254.433 | 5.59 | 251.388 | 5.578 | 257.417 | 5.537 | 251.917 | -0.05 | 889.367 | 34.637 | 24.128
2019-01-22 14:15:00 | 6.532 | 261.407 | 6.971 | 264.314 | 7.211 | 268.7 | 7.361 | 265.15 | 0 | 890.05 | 35.483 | 23.8594
2019-01-22 14:30:00 | 5.883 | 268.033 | 6.062 | 267.975 | 6.178 | 272.683 | 6.333 | 265.983 | -1.199 | 890 | 38.757 | 28.5591
2019-01-22 14:45:00 | 5.896 | 257.593 | 6.566 | 254.257 | 6.809 | 258.867 | 6.893 | 251.3 | -0.439 | 890.033 | 40.283 | 31.7375
2019-01-22 15:00:00 | 6.423 | 259.367 | 6.594 | 261.654 | 6.534 | 268.6 | 6.716 | 264 | -0.595 | 889.258 | 40.923 | 26.7983
2019-01-22 15:15:00 | 5.776 | 252.5 | 6.348 | 247.707 | 6.476 | 252.067 | 6.495 | 248.933 | -0.618 | 890.008 | 41.107 | 20.4892
2019-01-22 15:30:00 | 4.957 | 302.36 | 5.025 | 293.795 | 5.157 | 297 | 5.365 | 295.433 | -1.185 | 889.967 | 42.677 | 21.7789
2019-01-22 15:45:00 | 4.359 | 318.813 | 4.638 | 312.566 | 4.867 | 316.533 | 4.951 | 311.8 | -1.58 | 890.017 | 45.083 | 17.1048
2019-01-22 16:00:00 | 3.828 | 325.973 | 3.92 | 315.317 | 4.05 | 316.633 | 4.022 | 311.5 | -1.709 | 889.858 | 46.155 | 12.128
2019-01-22 16:15:00 | 4.823 | 296.293 | 4.88 | 292.293 | 5.004 | 296.6 | 4.84 | 293.367 | -1.816 | 890.225 | 47.536 | 12.943
2019-01-22 16:30:00 | 5.149 | 329.707 | 5.18 | 323.048 | 5.103 | 325.367 | 4.978 | 317 | -2.23 | 889.358 | 47.712 | 16.1697
2019-01-22 16:45:00 | 3.834 | 326.987 | 3.909 | 320.336 | 4.218 | 322.367 | 4.349 | 318.7 | -2.639 | 890.083 | 49.627 | 9.9081
2019-01-22 17:00:00 | 5.573 | 294.82 | 5.928 | 290.341 | 6.063 | 294.633 | 6.232 | 290.433 | -2.246 | 889.942 | 47.573 | 10.6144
2019-01-22 17:15:00 | 6.729 | 277.007 | 7.102 | 282.164 | 6.807 | 287.1 | 6.935 | 286.467 | -2.114 | 889.758 | 44.245 | 19.0659
2019-01-22 17:30:00 | 5.822 | 277.24 | 6.285 | 276.088 | 6.32 | 278.2 | 6.404 | 273.1 | -2.197 | 890.175 | 42.773 | 20.7557
2019-01-22 17:45:00 | 5.056 | 266.507 | 5.341 | 266.873 | 5.522 | 271.633 | 5.616 | 267.367 | -2.131 | 889.675 | 44.085 | 17.4984
2019-01-22 18:00:00 | 3.814 | 282.16 | 4.143 | 278.205 | 4.469 | 282.833 | 4.67 | 278.267 | -2.258 | 889.675 | 45.072 | 11.9468
2019-01-22 18:15:00 | 5.269 | 298.333 | 5.789 | 292.163 | 5.91 | 295.833 | 6.029 | 291.867 | -2.504 | 890.283 | 46.384 | 14.1936
2019-01-22 18:30:00 | 5.644 | 290.947 | 6.596 | 287.028 | 6.897 | 292.533 | 7.27 | 288.233 | -3.247 | 890.242 | 48.016 | 16.3587
2019-01-22 18:45:00 | 4.246 | 332.267 | 5.675 | 324.601 | 5.771 | 321.767 | 5.761 | 312.367 | -5.069 | 889.9 | 54.944 | 12.6801
2019-01-22 19:00:00 | 2.405 | 316.227 | 3.934 | 320.256 | 5.079 | 326.3 | 4.963 | 317.6 | -5.806 | 890.058 | 58.363 | 9.0476
2019-01-22 19:15:00 | 1.602 | 259.433 | 1.888 | 282.533 | 3.43 | 316.2 | 5.276 | 325.333 | -6.734 | 889.533 | 61.36 | 4.8603
2019-01-22 19:30:00 | 2.992 | 306.68 | 3.291 | 304.702 | 4.132 | 316.933 | 4.721 | 320.533 | -6.648 | 890.05 | 62.832 | 2.1146
2019-01-22 19:45:00 | 3.539 | 280.867 | 3.457 | 281.371 | 3.779 | 294.067 | 3.898 | 298.167 | -7.289 | 890.108 | 64.128 | 3.9564
2019-01-22 20:00:00 | 2.202 | 289.8 | 2.192 | 285.798 | 2.322 | 285.6 | 2.492 | 279.5 | -6.545 | 890.508 | 63.333 | 2.4486
2019-01-22 20:15:00 | 2.335 | 294.907 | 2.457 | 289.053 | 2.72 | 289.2 | 3.171 | 291.233 | -7.249 | 889.842 | 64.576 | 2.5317
2019-01-22 20:30:00 | 3.142 | 256.287 | 3.042 | 281.591 | 3.332 | 295.433 | 3.867 | 296.267 | -7.573 | 889.775 | 63.168 | 2.789
2019-01-22 20:45:00 | 3.663 | 266.8 | 3.4 | 281.957 | 3.662 | 298.367 | 4.212 | 292.733 | -8.541 | 889.708 | 66.053 | 4.004
2019-01-22 21:00:00 | 4.124 | 267.98 | 3.869 | 282.222 | 4.128 | 288.167 | 4.443 | 283.8 | -7.44 | 889.758 | 64.859 | 6.6751
2019-01-22 21:15:00 | 4.562 | 253.673 | 4.17 | 278.847 | 4.141 | 287.133 | 4.688 | 283.1 | -8.227 | 890.233 | 63.627 | 5.9425
2019-01-22 21:30:00 | 4.24 | 226.167 | 3.632 | 260.853 | 3.504 | 282.067 | 3.967 | 280.967 | -9.174 | 889.717 | 68.192 | 2.374
2019-01-22 21:45:00 | 4.249 | 222.347 | 3.484 | 260.325 | 3.027 | 288.733 | 3.521 | 288.467 | -9.666 | 889.708 | 68.629 | 1.3188
2019-01-22 22:00:00 | 4.412 | 202.967 | 3.66 | 220.659 | 2.848 | 238.333 | 2.124 | 268.067 | -10.166 | 889.708 | 71.2 | 0.23022
2019-01-22 22:15:00 | 4.132 | 214.567 | 3.533 | 231.135 | 2.654 | 247.767 | 2.189 | 266 | -10.283 | 889.7 | 71.115 | 0.26646
2019-01-22 22:30:00 | 5.247 | 212.287 | 3.74 | 228.987 | 3.054 | 245.667 | 2.679 | 250.367 | -10.909 | 889.867 | 73.131 | 0.14425
2019-01-22 22:45:00 | 4.815 | 210.307 | 4.769 | 210.884 | 3.846 | 215.433 | 2.908 | 217.6 | -10.928 | 890.142 | 73.632 | 0.27428
2019-01-22 23:00:00 | 3.503 | 216.573 | 2.4 | 214.9 | 2.258 | 214.033 | 2.268 | 208.667 | -10.47 | 889.8 | 73.504 | 0.27357
2019-01-22 23:15:00 | 4.229 | 210.967 | 4.134 | 209 | 2.974 | 214 | 2.38 | 215 | -10.797 | 889.858 | 72.64 | 0.31407
2019-01-22 23:30:00 | 5.058 | 223.627 | 4.182 | 222.733 | 3.522 | 230 | 2.784 | 226.8 | -10.853 | 889.4 | 73.152 | 0.17267
2019-01-22 23:45:00 | 4.337 | 224 | 2.666 | 225.57 | 1.97 | 230.2 | 1.216 | 228.667 | -10.191 | 889.842 | 70.368 | 0.31549