## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-23 00:00:00 | 4.07 | 222.74 | 2.019 | 232.798 | 0.32 | 242.633 | 0.215 | 240.683 | -9.416 | 889.958 | 67.765 | 0.30412
2019-01-23 00:15:00 | 3.504 | 231.587 | 0 | 238.468 | 0 | 227.033 | 0 | 241 | -9.724 | 889.792 | 67.072 | 0.29844
2019-01-23 00:30:00 | 3.167 | 187.387 | 1.25 | 211.879 | 0.03 | 231.067 | 0 | 241.067 | -11.911 | 889.983 | 69.856 | 0.29986
2019-01-23 00:45:00 | 4.14 | 187.2 | 1.582 | 196.528 | 0 | 139.333 | 0.467 | 97 | -11.378 | 889.708 | 71.915 | 0.30696
2019-01-23 01:00:00 | 3.781 | 197.34 | 0.12 | 185.881 | 1.413 | 147 | 2.231 | 129.4 | -10.768 | 889.892 | 70.432 | 0.30839
2019-01-23 01:15:00 | 4.695 | 210.233 | 1.499 | 189.918 | 1.576 | 152.133 | 1.927 | 135 | -10.941 | 890.075 | 67.477 | 0.29844
2019-01-23 01:30:00 | 4.188 | 210.167 | 1.387 | 168.253 | 1.6 | 151.833 | 0.238 | 135 | -11.478 | 889.75 | 68.683 | 0.3027
2019-01-23 01:45:00 | 4.12 | 214.873 | 2.125 | 180.572 | 1.564 | 152 | 0.635 | 135.067 | -12.357 | 889.708 | 69.216 | 0.30412
2019-01-23 02:00:00 | 4.302 | 203.873 | 2.843 | 175.411 | 2.836 | 154.4 | 2.687 | 139.067 | -11.52 | 889.792 | 68.416 | 0.3226
2019-01-23 02:15:00 | 3.659 | 206.073 | 2.701 | 176.567 | 2.281 | 157.333 | 1.838 | 142.1 | -10.166 | 889.708 | 69.408 | 0.31407
2019-01-23 02:30:00 | 3.115 | 204.98 | 2.374 | 184.347 | 2.237 | 164.433 | 1.979 | 143.533 | -9.649 | 889.617 | 66.485 | 0.3027
2019-01-23 02:45:00 | 4.179 | 208.26 | 2.225 | 187.604 | 1.913 | 162 | 2 | 139.933 | -11.64 | 890.308 | 63.371 | 0.29986
2019-01-23 03:00:00 | 3.592 | 204.193 | 2.335 | 168.538 | 2.196 | 161.333 | 2.177 | 137.533 | -9.766 | 889.692 | 64.512 | 0.3027
2019-01-23 03:15:00 | 3.642 | 205.233 | 2.336 | 156.194 | 1.654 | 145.133 | 1.518 | 123.4 | -9.841 | 889.633 | 60.491 | 0.30554
2019-01-23 03:30:00 | 3.804 | 197.253 | 2.289 | 150.279 | 1.747 | 129.1 | 1.786 | 117.633 | -9.724 | 889.842 | 61.141 | 0.30981
2019-01-23 03:45:00 | 3.773 | 199.693 | 2.006 | 144.532 | 1.828 | 129.833 | 1.549 | 113 | -9.662 | 890.025 | 62.005 | 0.30981
2019-01-23 04:00:00 | 3.027 | 205.407 | 1.466 | 119.324 | 1.907 | 100 | 2.093 | 91.767 | -9.541 | 889.767 | 62.933 | 0.31123
2019-01-23 04:15:00 | 2.367 | 212.933 | 0.719 | 116.244 | 1.579 | 87.067 | 1.949 | 74.533 | -9.324 | 890.183 | 62.805 | 0.31691
2019-01-23 04:30:00 | 1.779 | 214.267 | 1.033 | 86.49 | 2.75 | 72.4 | 3.155 | 69 | -9.191 | 889.767 | 61.749 | 0.2892
2019-01-23 04:45:00 | 0.203 | 209.38 | 0.21 | 69.945 | 1.247 | 65.033 | 1.899 | 49.933 | -9.441 | 889.7 | 61.803 | 0.12151
2019-01-23 05:00:00 | 0.991 | 211.047 | 0.264 | 62.152 | 1.918 | 71.367 | 2.506 | 63.7 | -9.683 | 890.2 | 62.347 | 0.2082
2019-01-23 05:15:00 | 1.284 | 221.113 | 0 | 62.122 | 1.713 | 78 | 2.523 | 68.933 | -9.787 | 889.833 | 62.997 | 0.26646
2019-01-23 05:30:00 | 1.39 | 227.967 | 0 | 62.12 | 1.709 | 76.067 | 2.452 | 68.7 | -10.133 | 889.983 | 63.285 | 0.32047
2019-01-23 05:45:00 | 1.834 | 241.273 | 0.063 | 62.113 | 1.824 | 59 | 2.532 | 62 | -9.745 | 889.825 | 63.371 | 0.3297
2019-01-23 06:00:00 | 2.177 | 243.387 | 0 | 61.122 | 1.203 | 59 | 1.526 | 62.067 | -9.724 | 889.775 | 63.413 | 0.31265
2019-01-23 06:15:00 | 3.354 | 232.92 | 0.033 | 194.563 | 0 | 59 | 1.077 | 64.367 | -9.62 | 889.733 | 61.989 | 0.30128
2019-01-23 06:30:00 | 3.434 | 244.527 | 1.298 | 288.043 | 0 | 59.067 | 0 | 65 | -9.437 | 889.95 | 62.032 | 0.3027
2019-01-23 06:45:00 | 2.973 | 262.4 | 1.989 | 281.981 | 0.713 | 250.033 | 0 | 65.167 | -10.016 | 889.8 | 62.587 | 0.30128
2019-01-23 07:00:00 | 3.203 | 262.533 | 1.716 | 300.973 | 1.254 | 334.567 | 1.499 | 206.04 | -10.149 | 889.408 | 61.659 | 0.29986
2019-01-23 07:15:00 | 3.056 | 261.327 | 1.581 | 314.562 | 1.983 | 347.067 | 2.168 | 358.333 | -9.87 | 889.758 | 61.856 | 0.31123
2019-01-23 07:30:00 | 3.794 | 242.36 | 1.153 | 310.372 | 1.137 | 346.067 | 1.448 | 0 | -10.836 | 889.867 | 62.485 | 0.30696
2019-01-23 07:45:00 | 4.718 | 240.333 | 2.457 | 277.073 | 1.591 | 338.267 | 1.815 | 0 | -12.52 | 890.167 | 63.781 | 0.29986
2019-01-23 08:00:00 | 5.303 | 230.7 | 2.949 | 246.821 | 1.68 | 266.433 | 0.955 | 152.067 | -12.886 | 889.667 | 65.835 | 0.30696
2019-01-23 08:15:00 | 4.942 | 234.367 | 3.075 | 248.312 | 2.071 | 266.933 | 1.522 | 310.733 | -12.936 | 890.075 | 67.584 | 0.30696
2019-01-23 08:30:00 | 4.89 | 228.533 | 2.893 | 243.38 | 2.231 | 257.2 | 1.552 | 284.833 | -13.28 | 889.767 | 69.365 | 0.30128
2019-01-23 08:45:00 | 5.303 | 226.533 | 2.872 | 241.524 | 2.273 | 255 | 1.789 | 265.333 | -13.799 | 890.017 | 68.661 | 0.31123
2019-01-23 09:00:00 | 5.898 | 221.267 | 2.963 | 228.927 | 2.256 | 242.833 | 1.794 | 248 | -14.683 | 889.517 | 69.429 | 0.32118
2019-01-23 09:15:00 | 5.592 | 219.867 | 2.758 | 218.771 | 1.889 | 231.067 | 1.276 | 247 | -14.166 | 889.85 | 68.576 | 0.30554
2019-01-23 09:30:00 | 5.739 | 225.847 | 3.028 | 226.794 | 2.238 | 238.5 | 1.771 | 236.933 | -13.372 | 889.892 | 66.112 | 0.3027
2019-01-23 09:45:00 | 5.238 | 225.967 | 2.727 | 227.797 | 1.801 | 234.333 | 1.424 | 233.533 | -13.833 | 889.958 | 67.232 | 0.30554
2019-01-23 10:00:00 | 4.487 | 231.3 | 1.55 | 237.564 | 0 | 234 | 0 | 224 | -12.753 | 889.825 | 67.104 | 0.30981
2019-01-23 10:15:00 | 3.979 | 231.62 | 0.845 | 238.5 | 0 | 234.067 | 0 | 224 | -10.612 | 889.575 | 62.016 | 0.30128
2019-01-23 10:30:00 | 4.288 | 227.367 | 2.143 | 245.047 | 0.901 | 243.067 | 0.349 | 224.067 | -10.383 | 889.942 | 63.808 | 0.30696
2019-01-23 10:45:00 | 3.466 | 228.533 | 2.916 | 242.221 | 2.112 | 253.7 | 1.673 | 239.667 | -8.724 | 890.042 | 63.531 | 0.30412
2019-01-23 11:00:00 | 2.676 | 222.833 | 2.314 | 235.699 | 1.929 | 248.4 | 1.609 | 240 | -6.761 | 890.05 | 59.339 | 0.30981
2019-01-23 11:15:00 | 2.266 | 221.067 | 1.878 | 219.448 | 1.373 | 237 | 1.468 | 237 | -5.069 | 889.858 | 51.499 | 0.30625
2019-01-23 11:30:00 | 1.022 | 206.687 | 0.536 | 219.681 | 0.706 | 219 | 0.927 | 228 | -3.585 | 889.925 | 43.968 | 0.24657
2019-01-23 11:45:00 | 0.313 | 206.3 | 0.067 | 213.542 | 0.033 | 219 | 0.662 | 223 | -1.826 | 889.933 | 38.192 | 0.12222
2019-01-23 12:00:00 | 0.336 | 173.813 | 0.156 | 181 | 0.293 | 164.233 | 0.427 | 199.1 | -1.76 | 889.617 | 36.043 | 0.15206
2019-01-23 12:15:00 | 1.25 | 112.147 | 0.988 | 111.093 | 0.61 | 125.333 | 0.611 | 103.333 | -2.72 | 889.683 | 35.536 | 0.29844
2019-01-23 12:30:00 | 1.125 | 103.097 | 0.532 | 92.917 | 0.35 | 117.4 | 0.027 | 102 | -3.193 | 889.433 | 35.461 | 0.28494
2019-01-23 12:45:00 | 0.19 | 89.733 | 0.159 | 110.264 | 0.066 | 118.567 | 0 | 102 | -1.322 | 889.733 | 33.941 | 0.29986
2019-01-23 13:00:00 | 1.25 | 141.25 | 0.924 | 145.103 | 1.087 | 138.833 | 1.122 | 125.067 | -1.799 | 889.567 | 32.533 | 0.29844
2019-01-23 13:15:00 | 0.086 | 148.58 | 0 | 117.31 | 0 | 92.667 | 0.45 | 83.3 | -1.622 | 889.633 | 32.656 | 0.29844
2019-01-23 13:30:00 | 0.525 | 79.113 | 0 | 256.172 | 0.34 | 298.867 | 0.77 | 178.07 | -0.998 | 889.417 | 30.923 | 0.29844
2019-01-23 13:45:00 | 1.249 | 169.986 | 0.874 | 64.643 | 1.23 | 140.567 | 1.606 | 4.54 | -1.76 | 889.8 | 31.677 | 0.29844
2019-01-23 14:00:00 | 1.546 | 99.381 | 1.422 | 121.177 | 1.686 | 51.236 | 1.411 | 171.833 | -1.66 | 890.017 | 32.451 | 0.30981
2019-01-23 14:15:00 | 2.166 | 261.373 | 2.056 | 321.893 | 2.254 | 311.4 | 2.423 | 318.133 | -1.895 | 889.633 | 33.645 | 0.32544
2019-01-23 14:30:00 | 2.395 | 296.774 | 2.339 | 322.019 | 2.595 | 290.667 | 2.893 | 322.333 | -2.214 | 890.1 | 34.064 | 0.28423
2019-01-23 14:45:00 | 2.294 | 131.044 | 2.507 | 222.219 | 2.629 | 141.7 | 2.661 | 127.4 | -1.948 | 889.783 | 33.736 | 0.16698
2019-01-23 15:00:00 | 2.79 | 25.763 | 2.82 | 50.158 | 2.689 | 39.434 | 2.745 | 6.633 | -1.862 | 889.75 | 34.176 | 0.15206
2019-01-23 15:15:00 | 2.715 | 124.538 | 2.714 | 136.662 | 2.956 | 65.635 | 3.189 | 113 | -1.68 | 889.767 | 33.805 | 0.48674
2019-01-23 15:30:00 | 2.86 | 21.678 | 2.757 | 15.742 | 2.941 | 20.9 | 2.752 | 13.167 | -1.706 | 889.633 | 33.136 | 0.53648
2019-01-23 15:45:00 | 2.257 | 18.198 | 1.96 | 15.449 | 2.529 | 20.933 | 2.667 | 18.7 | -1.789 | 889.7 | 34.923 | 1.3067
2019-01-23 16:00:00 | 3.726 | 23.254 | 3.525 | 17.252 | 3.533 | 18.8 | 3.639 | 17.433 | -1.928 | 890.033 | 36.368 | 1.7125
2019-01-23 16:15:00 | 2.181 | 11.455 | 2.153 | 70.788 | 2.557 | 18.067 | 2.484 | 24.833 | -1.842 | 889.4 | 37.013 | 0.68925
2019-01-23 16:30:00 | 2.509 | 32.624 | 2.509 | 21.386 | 2.865 | 21.567 | 3.091 | 17.3 | -2.102 | 889.85 | 37.915 | 0.43487
2019-01-23 16:45:00 | 2.287 | 34.058 | 1.636 | 62.075 | 1.777 | 24.9 | 2.079 | 1.867 | -2.18 | 889.683 | 38.32 | 0.17196
2019-01-23 17:00:00 | 2.294 | 10.916 | 2.295 | 14.33 | 2.346 | 15.867 | 2.261 | 14.667 | -2.56 | 889.7 | 38.64 | 0.14069
2019-01-23 17:15:00 | 2.007 | 46.169 | 1.81 | 40.523 | 2.071 | 45.4 | 2.089 | 44.967 | -2.788 | 889.583 | 38.683 | 0.2153
2019-01-23 17:30:00 | 2.461 | 48.643 | 1.665 | 45.472 | 1.796 | 50.033 | 1.926 | 40.067 | -2.574 | 889.7 | 39.333 | 0.22099
2019-01-23 17:45:00 | 2.234 | 73.44 | 2.214 | 67.288 | 2.346 | 73.2 | 2.504 | 68.467 | -3.123 | 889.942 | 40.827 | 0.1208
2019-01-23 18:00:00 | 2.989 | 66.767 | 2.839 | 61.207 | 2.789 | 65.5 | 2.767 | 62.033 | -3.221 | 889.817 | 41.931 | 0.083847
2019-01-23 18:15:00 | 2.993 | 75.7 | 2.846 | 72.412 | 2.872 | 76.433 | 2.933 | 70.967 | -3.823 | 889.533 | 43.349 | 0.16698
2019-01-23 18:30:00 | 2.398 | 67.577 | 2.724 | 60.228 | 2.74 | 69.1 | 2.665 | 66 | -4.318 | 890.158 | 45.131 | 0.24799
2019-01-23 18:45:00 | 2.522 | 79.1 | 2.666 | 69.191 | 2.567 | 75 | 2.357 | 71 | -4.852 | 889.692 | 47.317 | 0.28209
2019-01-23 19:00:00 | 2.548 | 96.833 | 2.635 | 82.863 | 2.734 | 93.933 | 2.539 | 84.167 | -5.302 | 889.767 | 48.747 | 0.30128
2019-01-23 19:15:00 | 2.691 | 100.617 | 2.832 | 92.276 | 2.784 | 99.667 | 2.886 | 93.8 | -5.551 | 889.983 | 49.429 | 0.25936
2019-01-23 19:30:00 | 2.154 | 113.197 | 2.294 | 92.278 | 2.352 | 106.033 | 2.276 | 106.733 | -6.492 | 889.85 | 50.656 | 0.32899
2019-01-23 19:45:00 | 1.906 | 137.747 | 1.606 | 108.971 | 2.104 | 120.967 | 2.082 | 124 | -6.286 | 889.692 | 51.744 | 0.30554
2019-01-23 20:00:00 | 2.157 | 151.453 | 2.112 | 109.255 | 2.427 | 126.9 | 2.57 | 128.267 | -6.571 | 889.558 | 51.819 | 0.23733
2019-01-23 20:15:00 | 2.546 | 145.453 | 2.802 | 117.442 | 2.452 | 129.367 | 2.273 | 130.4 | -7.051 | 889.65 | 53.056 | 0.19612
2019-01-23 20:30:00 | 2.632 | 156.893 | 2.354 | 124.763 | 2.609 | 118.667 | 2.603 | 115.967 | -7.502 | 889.717 | 53.088 | 0.45974
2019-01-23 20:45:00 | 1.223 | 150.1 | 1.3 | 113.272 | 1.754 | 105.067 | 2.183 | 96.1 | -8.524 | 889.85 | 55.563 | 0.18048
2019-01-23 21:00:00 | 0.277 | 142.527 | 1.698 | 82.236 | 2.446 | 85.8 | 2.833 | 85 | -8.21 | 889.858 | 57.707 | 0.27854
2019-01-23 21:15:00 | 0 | 209.4 | 1.727 | 80.332 | 3.316 | 83 | 3.059 | 85 | -8.658 | 890.067 | 58.581 | 0.18972
2019-01-23 21:30:00 | 0.086 | 226.673 | 0.964 | 54.675 | 3.027 | 69.367 | 3.031 | 66.7 | -9.191 | 889.758 | 61.013 | 0.20109
2019-01-23 21:45:00 | 1.753 | 275.2 | 0 | 44.144 | 2.001 | 54.054 | 2.655 | 58 | -9.124 | 889.758 | 60.544 | 0.25794
2019-01-23 22:00:00 | 2.312 | 247.3 | 0 | 44.12 | 0.25 | 66.4 | 1.578 | 72 | -9.274 | 889.717 | 60.629 | 0.32544
2019-01-23 22:15:00 | 3.061 | 242.1 | 0 | 48.133 | 0 | 75 | 1.94 | 82.067 | -9.124 | 890.375 | 60.309 | 0.30696
2019-01-23 22:30:00 | 2.75 | 236.633 | 0 | 213.671 | 1.026 | 125.067 | 2.248 | 86 | -9.324 | 889.883 | 61.003 | 0.30128
2019-01-23 22:45:00 | 2.888 | 225.033 | 0.616 | 184.052 | 1.445 | 140.233 | 2.47 | 91.6 | -9.174 | 889.767 | 60.715 | 0.31265
2019-01-23 23:00:00 | 3.632 | 218.833 | 1.8 | 190.626 | 1.73 | 157.433 | 2.211 | 126.133 | -9.391 | 889.883 | 59.637 | 0.30696
2019-01-23 23:15:00 | 3.26 | 212 | 2.328 | 181.564 | 2.238 | 153.467 | 2.402 | 128.533 | -8.824 | 889.783 | 59.413 | 0.30981
2019-01-23 23:30:00 | 3.504 | 211.333 | 2.64 | 182.278 | 2.665 | 167.367 | 2.889 | 145.9 | -8.558 | 890.008 | 58.528 | 0.30554
2019-01-23 23:45:00 | 3.553 | 209.367 | 3.046 | 182.803 | 2.854 | 165.533 | 2.85 | 142.533 | -9.374 | 889.592 | 58.421 | 0.29133