## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-24 00:00:00 | 3.283 | 210.4 | 2.822 | 184.114 | 2.586 | 160.433 | 2.699 | 138 | -8.874 | 889.833 | 59.968 | 0.25722
2019-01-24 00:15:00 | 3.22 | 207.3 | 2.774 | 175.327 | 2.557 | 153.033 | 2.72 | 130.633 | -8.508 | 890.042 | 59.115 | 0.26149
2019-01-24 00:30:00 | 3.951 | 200.267 | 2.962 | 170.337 | 2.545 | 154.633 | 2.608 | 136.8 | -8.608 | 890.217 | 58.859 | 0.1613
2019-01-24 00:45:00 | 4.066 | 196.833 | 3.021 | 163.129 | 3.122 | 152.9 | 2.878 | 142.267 | -9.841 | 890.217 | 60.469 | 0.47821
2019-01-24 01:00:00 | 3.822 | 207.433 | 2.529 | 157.274 | 2.231 | 150.7 | 2.111 | 139.567 | -11.328 | 890.158 | 62.635 | 0.37447
2019-01-24 01:15:00 | 4.04 | 206.9 | 2.835 | 161.55 | 2.592 | 153.6 | 2.381 | 144.033 | -11.211 | 890.317 | 64.864 | 0.1144
2019-01-24 01:30:00 | 3.474 | 197.433 | 2.576 | 151.244 | 2.533 | 143.5 | 1.972 | 137.967 | -10.857 | 890.092 | 65.035 | 0.14211
2019-01-24 01:45:00 | 3.365 | 187.207 | 2.674 | 145.536 | 2.4 | 139.367 | 2.133 | 129.667 | -10.537 | 889.817 | 64.683 | 0.10516
2019-01-24 02:00:00 | 2.834 | 183.533 | 2.307 | 131.81 | 2.831 | 123.433 | 3.101 | 117.933 | -10.349 | 889.75 | 64.384 | 0.072478
2019-01-24 02:15:00 | 3.016 | 176.3 | 2.439 | 132.708 | 2.79 | 122.5 | 3.115 | 113.233 | -9.808 | 889.825 | 66.4 | 0.24657
2019-01-24 02:30:00 | 3.341 | 168.42 | 3.087 | 127.1 | 3.255 | 122.6 | 3.573 | 116 | -9.795 | 890.108 | 66.837 | 0.72549
2019-01-24 02:45:00 | 2.865 | 173.327 | 3.006 | 123.901 | 3.41 | 113.433 | 3.609 | 104.733 | -10.087 | 889.75 | 65.003 | 2.5268
2019-01-24 03:00:00 | 3.147 | 173.873 | 3.117 | 127.341 | 3.48 | 114.433 | 3.541 | 103.867 | -10.437 | 890.042 | 67.424 | 3.2096
2019-01-24 03:15:00 | 2.344 | 155.067 | 2.796 | 118.056 | 2.865 | 115.4 | 3.024 | 107.8 | -10.216 | 889.708 | 70.773 | 2.3477
2019-01-24 03:30:00 | 2.487 | 135.767 | 3.05 | 103.718 | 2.609 | 105.9 | 2.365 | 97.333 | -10.133 | 889.55 | 68.139 | 1.996
2019-01-24 03:45:00 | 1.741 | 128.8 | 2.508 | 93.964 | 2.392 | 93.5 | 2.139 | 85.633 | -10.166 | 889.75 | 68.683 | 0.51445
2019-01-24 04:00:00 | 1.476 | 118.99 | 2.506 | 85.147 | 2.419 | 86.433 | 2.425 | 78.367 | -10.651 | 890.3 | 70.133 | 0.22099
2019-01-24 04:15:00 | 1.661 | 89.607 | 2.402 | 82.177 | 2.375 | 82.9 | 2.644 | 75.467 | -10.008 | 889.55 | 72.224 | 0.55993
2019-01-24 04:30:00 | 1.364 | 125.62 | 1.533 | 91.799 | 1.601 | 87.167 | 2.216 | 75.667 | -9.991 | 889.825 | 70.933 | 0.34036
2019-01-24 04:45:00 | 1.677 | 160.227 | 1.463 | 105.626 | 1.591 | 89.3 | 2.151 | 78.4 | -10.108 | 890.008 | 70.624 | 0.21957
2019-01-24 05:00:00 | 2.143 | 177.807 | 1.2 | 117.695 | 1.424 | 103 | 1.895 | 75.833 | -10.47 | 889.725 | 71.765 | 0.33681
2019-01-24 05:15:00 | 2.523 | 177.22 | 1.248 | 118.225 | 1.589 | 103 | 1.862 | 76.067 | -11.003 | 889.725 | 72.843 | 0.31976
2019-01-24 05:30:00 | 2.534 | 178.22 | 1.182 | 123.01 | 1.229 | 110.133 | 1.486 | 76.167 | -10.612 | 889.758 | 73.333 | 0.31976
2019-01-24 05:45:00 | 1.714 | 169.333 | 0.717 | 123.261 | 1.268 | 97.533 | 1.848 | 76 | -10.449 | 890.317 | 74.635 | 0.31976
2019-01-24 06:00:00 | 1.581 | 162.013 | 0.736 | 100.194 | 1.494 | 89.1 | 1.923 | 75 | -10.212 | 889.783 | 75.349 | 0.32686
2019-01-24 06:15:00 | 1.685 | 162 | 1.047 | 100.264 | 1.685 | 87.867 | 2.199 | 75.033 | -10.199 | 889.767 | 75.968 | 0.33112
2019-01-24 06:30:00 | 1.797 | 161.773 | 1.58 | 104.245 | 2.117 | 88.467 | 2.533 | 75.367 | -10.834 | 889.733 | 75.765 | 0.3091
2019-01-24 06:45:00 | 2.101 | 174.207 | 1.47 | 130.012 | 1.757 | 116.733 | 2.108 | 102.433 | -10.741 | 889.792 | 77.472 | 0.30057
2019-01-24 07:00:00 | 1.781 | 192.8 | 0.17 | 134.391 | 0.98 | 109 | 1.68 | 91.133 | -11.295 | 889.908 | 77.461 | 0.31123
2019-01-24 07:15:00 | 1.167 | 193.533 | 0 | 134.418 | 0.677 | 109.033 | 1.307 | 92.033 | -11.666 | 890.158 | 78.795 | 0.31123
2019-01-24 07:30:00 | 1.616 | 199.633 | 0 | 134.556 | 0 | 109 | 0.268 | 92 | -11.445 | 889.792 | 80.363 | 0.30839
2019-01-24 07:45:00 | 2.594 | 222.76 | 0 | 158.707 | 0 | 109.067 | 0.027 | 92 | -11.849 | 889.958 | 79.616 | 0.31549
2019-01-24 08:00:00 | 3.071 | 223.113 | 0 | 161.475 | 0 | 154 | 0.564 | 127.633 | -11.99 | 890.008 | 78.613 | 0.32402
2019-01-24 08:15:00 | 3.98 | 221.507 | 1.627 | 196.572 | 1.467 | 159 | 2.144 | 130.5 | -11.861 | 889.933 | 78.581 | 0.32544
2019-01-24 08:30:00 | 3.616 | 217.607 | 1.613 | 198.268 | 1.532 | 160.167 | 2.028 | 129.967 | -13.334 | 889.8 | 76.256 | 0.32544
2019-01-24 08:45:00 | 3.213 | 222.74 | 0.71 | 192.92 | 0.457 | 159.1 | 1.303 | 127.8 | -13.616 | 889.792 | 76.907 | 0.32544
2019-01-24 09:00:00 | 3.559 | 229.3 | 0.263 | 196.87 | 0.133 | 144 | 1.381 | 120.333 | -12.886 | 889.717 | 78.923 | 0.32544
2019-01-24 09:15:00 | 4.036 | 230.913 | 0.469 | 204.586 | 0 | 144 | 0.786 | 120.967 | -12.399 | 889.992 | 76.053 | 0.33112
2019-01-24 09:30:00 | 4.385 | 237.88 | 2.011 | 230.944 | 0.537 | 210.567 | 0.349 | 122.8 | -13.703 | 889.675 | 73.611 | 0.31976
2019-01-24 09:45:00 | 3.234 | 240.547 | 1.67 | 228.062 | 0.286 | 219.6 | 0.037 | 135.1 | -12.599 | 889.817 | 78.603 | 0.31976
2019-01-24 10:00:00 | 2.759 | 242.913 | 0.495 | 237.473 | 0 | 222.933 | 0.188 | 127.567 | -11.376 | 889.783 | 75.605 | 0.32118
2019-01-24 10:15:00 | 2.644 | 236.66 | 0 | 237.518 | 0 | 223 | 0.027 | 127 | -12.034 | 889.908 | 71.2 | 0.31833
2019-01-24 10:30:00 | 2.395 | 233.633 | 0 | 237.536 | 0 | 222.8 | 0.692 | 97.467 | -11.378 | 889.65 | 71.893 | 0.32118
2019-01-24 10:45:00 | 1.111 | 271.693 | 0 | 237.549 | 0 | 68.067 | 0.631 | 71.5 | -9.683 | 890.017 | 70.549 | 0.31833
2019-01-24 11:00:00 | 0.03 | 288.467 | 0.78 | 143.138 | 1.594 | 37.475 | 1.951 | 51 | -9.174 | 890.158 | 68.661 | 0.32047
2019-01-24 11:15:00 | 0.988 | 8.618 | 0.75 | 19.443 | 1.801 | 36.8 | 2.106 | 49.1 | -8.741 | 890.458 | 65.237 | 0.3297
2019-01-24 11:30:00 | 2.443 | 29.135 | 2.301 | 24.762 | 2.37 | 32.1 | 2.521 | 32.367 | -8.658 | 889.775 | 62.773 | 0.36097
2019-01-24 11:45:00 | 2.763 | 21.58 | 2.558 | 15.018 | 2.696 | 19.9 | 2.734 | 20.867 | -8.791 | 889.583 | 61.621 | 0.15775
2019-01-24 12:00:00 | 2.251 | 17.007 | 2.102 | 11.423 | 2.327 | 14.467 | 2.307 | 25.3 | -8.391 | 889.758 | 60.277 | 0.14567
2019-01-24 12:15:00 | 2.732 | 38.634 | 2.603 | 35.854 | 2.688 | 45.067 | 2.545 | 45.633 | -8.15 | 889.975 | 57.195 | 0.13927
2019-01-24 12:30:00 | 1.293 | 81.843 | 1.233 | 69.992 | 1.293 | 74.533 | 1.372 | 70.067 | -7.516 | 889.942 | 55.232 | 0.12009
2019-01-24 12:45:00 | 2.449 | 87.13 | 2.28 | 77.683 | 2.421 | 83.533 | 2.678 | 76.333 | -7.071 | 889.792 | 53.781 | 0.68925
2019-01-24 13:00:00 | 3.619 | 80.933 | 3.59 | 76.066 | 3.723 | 79.2 | 3.779 | 75.667 | -6.913 | 889.767 | 53.312 | 3.7703
2019-01-24 13:15:00 | 5.299 | 78.463 | 5.48 | 70.888 | 5.692 | 74.6 | 5.814 | 74.067 | -6.578 | 890.05 | 51.616 | 19.1952
2019-01-24 13:30:00 | 6.218 | 89.793 | 6.214 | 84.71 | 5.926 | 88.8 | 6.316 | 88.067 | -6.306 | 889.842 | 48.448 | 37.2358
2019-01-24 13:45:00 | 6.469 | 78.633 | 6.636 | 72.496 | 6.789 | 78.567 | 6.984 | 73.6 | -6.395 | 889.467 | 49.312 | 37.9407
2019-01-24 14:00:00 | 7.064 | 75.633 | 7.328 | 70.948 | 7.666 | 76.567 | 7.999 | 73.033 | -6.615 | 889.942 | 49.707 | 44.4616
2019-01-24 14:15:00 | 6.696 | 81.5 | 7.251 | 76.307 | 7.442 | 84.133 | 7.741 | 81.267 | -6.645 | 889.45 | 48.875 | 45.7214
2019-01-24 14:30:00 | 7.004 | 76.63 | 7.197 | 71.553 | 7.49 | 77 | 7.957 | 73.633 | -6.562 | 889.775 | 48.629 | 42.5871
2019-01-24 14:45:00 | 6.603 | 78.297 | 7.114 | 73.716 | 7.636 | 78.867 | 8.009 | 76.133 | -6.495 | 889.808 | 47.989 | 38.3265
2019-01-24 15:00:00 | 7.344 | 85.697 | 7.077 | 79.867 | 7.077 | 84.7 | 7.388 | 81.133 | -6.509 | 889.817 | 48.213 | 38.6584
2019-01-24 15:15:00 | 6.786 | 85.69 | 6.683 | 78.598 | 6.695 | 82.767 | 6.97 | 78.533 | -6.436 | 889.917 | 48.821 | 43.0923
2019-01-24 15:30:00 | 7.458 | 77.923 | 7.683 | 73.002 | 7.891 | 77.867 | 8.222 | 75.233 | -6.322 | 889.517 | 47.989 | 39.9346
2019-01-24 15:45:00 | 6.72 | 82.457 | 6.81 | 79.472 | 7.077 | 81.6 | 7.226 | 77.367 | -6.156 | 890.1 | 47.445 | 42.273
2019-01-24 16:00:00 | 6.772 | 83.027 | 6.662 | 83.358 | 6.619 | 86.7 | 6.983 | 81.467 | -5.958 | 889.642 | 47.253 | 43.2088
2019-01-24 16:15:00 | 7.009 | 82.74 | 7.047 | 77.41 | 7.73 | 82.7 | 8.109 | 81.033 | -6.037 | 889.7 | 46.965 | 35.3486
2019-01-24 16:30:00 | 5.295 | 69.638 | 5.462 | 66.972 | 5.6 | 70.833 | 5.932 | 68.033 | -6.096 | 890.167 | 47.051 | 25.3068
2019-01-24 16:45:00 | 4.993 | 84.92 | 5.057 | 81.85 | 5.1 | 87.4 | 5.115 | 83.433 | -5.704 | 890.075 | 46.741 | 24.3561
2019-01-24 17:00:00 | 5.483 | 90.673 | 5.565 | 80.442 | 5.388 | 86.833 | 5.673 | 80.8 | -6.037 | 889.892 | 46.859 | 26.6207
2019-01-24 17:15:00 | 5.311 | 90.897 | 5.32 | 82.069 | 5.059 | 90.067 | 5.024 | 84.4 | -5.978 | 890.058 | 47.371 | 24.1088
2019-01-24 17:30:00 | 5.633 | 89.667 | 5.8 | 86.163 | 5.172 | 91.8 | 4.93 | 87.2 | -6.628 | 889.892 | 47.733 | 24.862
2019-01-24 17:45:00 | 5.284 | 83.633 | 5.453 | 81.173 | 5.28 | 84.2 | 5.536 | 81.233 | -6.412 | 889.942 | 48.491 | 18.2125
2019-01-24 18:00:00 | 4.254 | 93.95 | 3.563 | 89.545 | 3.253 | 90.867 | 3.442 | 84.567 | -6.744 | 889.783 | 48.917 | 11.5652
2019-01-24 18:15:00 | 3.157 | 90.03 | 3.156 | 87.287 | 3.032 | 88.633 | 2.951 | 84.833 | -6.512 | 889.592 | 49.195 | 7.3181
2019-01-24 18:30:00 | 2.603 | 86.203 | 2.615 | 83.006 | 2.641 | 87 | 2.977 | 80.5 | -6.83 | 889.992 | 49.173 | 3.3837
2019-01-24 18:45:00 | 2.683 | 82.623 | 2.758 | 76.27 | 2.783 | 81.667 | 2.801 | 77 | -7.23 | 890.017 | 49.579 | 0.74965
2019-01-24 19:00:00 | 2.361 | 82.693 | 2.218 | 79.089 | 2.226 | 85.867 | 2.39 | 79.167 | -6.803 | 889.908 | 49.952 | 0.17125
2019-01-24 19:15:00 | 1.195 | 87.17 | 1.18 | 99.014 | 0.997 | 97.7 | 1.411 | 79.567 | -6.913 | 889.65 | 50.475 | 0.33965
2019-01-24 19:30:00 | 0.643 | 103.287 | 1.048 | 103.252 | 1.295 | 103.033 | 1.583 | 80 | -7.226 | 889.992 | 50.507 | 0.29275
2019-01-24 19:45:00 | 0.223 | 103.273 | 0.297 | 103.234 | 0.876 | 103 | 1.289 | 80 | -7.131 | 889.9 | 51.125 | 0.29844
2019-01-24 20:00:00 | 0.944 | 103.323 | 0.923 | 103.213 | 1.165 | 103 | 1.32 | 80 | -7.48 | 889.592 | 51.392 | 0.2956
2019-01-24 20:15:00 | 1.845 | 123.27 | 1.924 | 113.616 | 1.845 | 108.467 | 2.096 | 80 | -7.194 | 889.8 | 51.125 | 0.29844
2019-01-24 20:30:00 | 2.849 | 116.297 | 2.911 | 97.885 | 2.95 | 97.3 | 3.176 | 80.7 | -7.402 | 890 | 51.093 | 0.25154
2019-01-24 20:45:00 | 3.068 | 104.74 | 3.002 | 89.854 | 2.38 | 97.567 | 2.47 | 86.6 | -7.95 | 889.717 | 51.659 | 1.4737
2019-01-24 21:00:00 | 2.904 | 89.86 | 3.243 | 81.394 | 3.245 | 87.267 | 3.194 | 82.433 | -7.596 | 889.958 | 52.224 | 2.5317
2019-01-24 21:15:00 | 0.397 | 83.227 | 1.693 | 82.787 | 1.728 | 86.133 | 1.714 | 79.1 | -8.364 | 889.875 | 53.301 | 0.65301
2019-01-24 21:30:00 | 0.914 | 84.947 | 1.092 | 92.242 | 1.202 | 98.233 | 1.408 | 79 | -8.311 | 889.95 | 53.845 | 0.32828
2019-01-24 21:45:00 | 0 | 85.203 | 0 | 76.251 | 0.053 | 87 | 0.353 | 79.033 | -8.371 | 890.175 | 53.973 | 0.28707
2019-01-24 22:00:00 | 0 | 84.947 | 0 | 76.248 | 0 | 87.067 | 0 | 79.2 | -8.394 | 889.842 | 54.56 | 0.29844
2019-01-24 22:15:00 | 0.862 | 85.26 | 0 | 76.33 | 0 | 87 | 1.225 | 80.067 | -8.03 | 889.933 | 55.104 | 0.29418
2019-01-24 22:30:00 | 1.145 | 118.15 | 0.124 | 79.139 | 1.26 | 141.833 | 2.216 | 127 | -8.25 | 890.058 | 54.848 | 0.31265
2019-01-24 22:45:00 | 1.81 | 183.127 | 2.128 | 157.579 | 2.541 | 158.1 | 2.901 | 141.867 | -8.311 | 890.325 | 54.869 | 0.31833
2019-01-24 23:00:00 | 1.579 | 180.587 | 1.373 | 148.396 | 1.88 | 142.267 | 1.936 | 134.267 | -8.03 | 889.775 | 54.357 | 0.29986
2019-01-24 23:15:00 | 1.202 | 204.367 | 0 | 140.515 | 0.057 | 138.133 | 1.074 | 128.067 | -8.708 | 889.833 | 54.485 | 0.29844
2019-01-24 23:30:00 | 0.246 | 210.367 | 0 | 140.48 | 0 | 138 | 0.024 | 128 | -8.674 | 889.875 | 55.765 | 0.30128
2019-01-24 23:45:00 | 0 | 210.4 | 0 | 140.559 | 0 | 137.867 | 1.084 | 128 | -8.858 | 889.267 | 56.523 | 0.29844