## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-25 00:00:00 | 2.674 | 233.4 | 1.41 | 216.744 | 1.746 | 199.9 | 1.931 | 175.4 | -8.791 | 889.867 | 55.68 | 0.30981
2019-01-25 00:15:00 | 2.884 | 226.34 | 1.967 | 214.546 | 1.837 | 203.933 | 2.201 | 181.867 | -8.488 | 889.692 | 54.976 | 0.31123
2019-01-25 00:30:00 | 2.348 | 224.393 | 1.534 | 204.487 | 1.388 | 202 | 1.842 | 180.433 | -8.577 | 890.25 | 55.2 | 0.3027
2019-01-25 00:45:00 | 3.396 | 230.4 | 1.888 | 208.151 | 1.465 | 202 | 1.818 | 181.267 | -8.708 | 890.2 | 55.883 | 0.30128
2019-01-25 01:00:00 | 3.931 | 227.707 | 2.254 | 223.023 | 1.615 | 204.867 | 1.563 | 181.9 | -9.416 | 890.075 | 57.867 | 0.30412
2019-01-25 01:15:00 | 3.502 | 230.987 | 2.521 | 228.494 | 2.029 | 222.2 | 1.672 | 184.4 | -9.828 | 889.583 | 59.595 | 0.30128
2019-01-25 01:30:00 | 3.646 | 232.333 | 2.738 | 228.379 | 2.24 | 226 | 2.031 | 203.933 | -9.495 | 889.742 | 59.893 | 0.30554
2019-01-25 01:45:00 | 2.986 | 229.093 | 1.642 | 230.531 | 1.084 | 226 | 0.977 | 204.233 | -9.766 | 889.517 | 61.387 | 0.29844
2019-01-25 02:00:00 | 3.194 | 233.8 | 2.275 | 230.452 | 1.933 | 226 | 1.751 | 204 | -9.945 | 890.075 | 62.731 | 0.29986
2019-01-25 02:15:00 | 3.914 | 233.933 | 2.376 | 233.326 | 1.904 | 232.3 | 1.682 | 204.4 | -10.383 | 889.942 | 63.904 | 0.30128
2019-01-25 02:30:00 | 3.205 | 238.967 | 1.78 | 240.185 | 1.394 | 238 | 1.327 | 204.2 | -9.687 | 890.017 | 66.261 | 0.30128
2019-01-25 02:45:00 | 3.869 | 237.233 | 2.916 | 244.412 | 2.034 | 248 | 1.619 | 206 | -10.183 | 889.75 | 67.2 | 0.3027
2019-01-25 03:00:00 | 4.34 | 234.313 | 3.494 | 258.035 | 2.525 | 259.733 | 1.976 | 226.467 | -9.683 | 889.842 | 67.968 | 0.31691
2019-01-25 03:15:00 | 4.14 | 234.167 | 2.85 | 270.113 | 2.217 | 284 | 1.932 | 228.717 | -10.516 | 889.917 | 69.675 | 0.30412
2019-01-25 03:30:00 | 4.191 | 235.667 | 2.603 | 276.642 | 2.181 | 309.2 | 1.425 | 230.417 | -10.333 | 889.575 | 71.659 | 0.30412
2019-01-25 03:45:00 | 4.594 | 237.1 | 3.009 | 271.745 | 2.397 | 288.8 | 2.302 | 248.683 | -10.416 | 890.05 | 73.339 | 0.30412
2019-01-25 04:00:00 | 4.314 | 245.233 | 3.147 | 273.894 | 2.884 | 289.933 | 2.766 | 266.967 | -10.466 | 889.875 | 76.549 | 0.32544
2019-01-25 04:15:00 | 4.513 | 235.093 | 3.645 | 265.652 | 2.77 | 293.4 | 2.705 | 292.6 | -12.161 | 889.975 | 74.549 | 0.32544
2019-01-25 04:30:00 | 4.756 | 232.127 | 3.394 | 256.734 | 2.696 | 275.733 | 2.307 | 292.533 | -12.057 | 889.733 | 76.731 | 0.32402
2019-01-25 04:45:00 | 5.315 | 229.667 | 3.766 | 247.906 | 2.947 | 260.667 | 2.503 | 269.833 | -12.653 | 890.167 | 77.483 | 0.38797
2019-01-25 05:00:00 | 5.168 | 234.033 | 4.294 | 251.884 | 3.466 | 261.933 | 2.933 | 270.067 | -12.57 | 889.658 | 78.645 | 0.68712
2019-01-25 05:15:00 | 4.527 | 223.7 | 4.165 | 247.14 | 3.324 | 256.933 | 2.584 | 268.467 | -12.753 | 890.167 | 77.248 | 0.27641
2019-01-25 05:30:00 | 4.399 | 224.8 | 4.072 | 251.45 | 3.131 | 265.733 | 2.934 | 265.533 | -13.136 | 889.658 | 78.069 | 0.80649
2019-01-25 05:45:00 | 4.423 | 228.167 | 4.457 | 254.863 | 3.449 | 267.533 | 3.173 | 268.1 | -13.153 | 889.725 | 79.483 | 1.387
2019-01-25 06:00:00 | 4.589 | 229.333 | 4.322 | 254.991 | 3.535 | 270.267 | 3.318 | 270.7 | -12.753 | 890.3 | 80.064 | 1.3295
2019-01-25 06:15:00 | 4.86 | 232.433 | 3.877 | 254.653 | 3.127 | 273.8 | 3.134 | 273.167 | -12.736 | 889.9 | 80.021 | 0.88252
2019-01-25 06:30:00 | 4.814 | 230.033 | 4.014 | 256.077 | 3.173 | 274.733 | 3.068 | 282.633 | -12.52 | 890.067 | 80.731 | 0.2423
2019-01-25 06:45:00 | 4.474 | 226.733 | 3.709 | 255.238 | 2.773 | 278 | 2.835 | 282.133 | -12.953 | 889.75 | 80.363 | 0.14922
2019-01-25 07:00:00 | 4.503 | 233.4 | 4.089 | 254.912 | 3.134 | 276.667 | 2.917 | 284.133 | -13.053 | 890.088 | 81.445 | 0.30057
2019-01-25 07:15:00 | 4.762 | 232.2 | 4.355 | 253.672 | 3.474 | 267.4 | 3.088 | 283 | -12.703 | 889.954 | 83.029 | 0.68783
2019-01-25 07:30:00 | 5.078 | 229.4 | 4.052 | 248.613 | 3.132 | 257.933 | 2.894 | 267.7 | -12.503 | 890.221 | 82.027 | 0.37731
2019-01-25 07:45:00 | 4.304 | 226 | 3.914 | 251.33 | 2.862 | 267.6 | 2.443 | 268 | -12.82 | 890.042 | 80.768 | 0.19967
2019-01-25 08:00:00 | 4.681 | 224.433 | 3.579 | 246.366 | 2.567 | 259.133 | 2.233 | 268.967 | -13.103 | 889.917 | 80.715 | 0.12719
2019-01-25 08:15:00 | 5.386 | 218.4 | 3.638 | 236.447 | 2.815 | 250.667 | 2.006 | 266.1 | -13.578 | 890.55 | 80.075 | 0.1478
2019-01-25 08:30:00 | 5.117 | 221.12 | 3.934 | 238.248 | 3.313 | 250.067 | 2.632 | 248.933 | -13.393 | 890.183 | 80.405 | 1.3707
2019-01-25 08:45:00 | 4.581 | 221.533 | 4.198 | 234.342 | 3.723 | 246.3 | 3.3 | 248 | -13.17 | 890.267 | 80.576 | 1.0666
2019-01-25 09:00:00 | 5.046 | 221.74 | 3.894 | 239.396 | 3.471 | 246.133 | 2.978 | 247.333 | -13.268 | 889.808 | 79.979 | 0.55851
2019-01-25 09:15:00 | 4.705 | 219.587 | 3.529 | 243.449 | 2.943 | 250.833 | 2.635 | 248 | -13.316 | 889.817 | 79.851 | 1.1234
2019-01-25 09:30:00 | 4.965 | 224.513 | 3.536 | 238.583 | 3.107 | 247 | 2.549 | 248 | -13.449 | 889.842 | 79.605 | 0.48745
2019-01-25 09:45:00 | 4.831 | 220.567 | 3.616 | 240.483 | 3.325 | 247.767 | 3.105 | 247.9 | -12.903 | 890.292 | 78.016 | 0.58409
2019-01-25 10:00:00 | 4.585 | 219.567 | 3.361 | 233.038 | 3.044 | 246.167 | 2.817 | 246.9 | -12.316 | 890.275 | 77.472 | 0.36239
2019-01-25 10:15:00 | 4.154 | 222.26 | 3.647 | 227.931 | 3.219 | 237.033 | 2.944 | 237.8 | -11.695 | 889.825 | 76.469 | 0.19825
2019-01-25 10:30:00 | 4.25 | 217.38 | 3.505 | 223.254 | 2.957 | 230.433 | 2.646 | 234.033 | -11.126 | 889.675 | 76.384 | 0.23307
2019-01-25 10:45:00 | 3.536 | 217.04 | 3.943 | 221.454 | 3.02 | 231.167 | 2.886 | 228.067 | -9.987 | 889.883 | 75.776 | 0.11653
2019-01-25 11:00:00 | 2.647 | 222.847 | 3.226 | 220.936 | 2.61 | 231 | 2.158 | 227.033 | -8.551 | 889.875 | 73.259 | 0.18333
2019-01-25 11:15:00 | 2.764 | 225.487 | 2.807 | 220.337 | 2.992 | 222.6 | 3.03 | 224 | -7.051 | 889.983 | 67.968 | 0.32615
2019-01-25 11:30:00 | 1.64 | 244.147 | 1.606 | 234.994 | 1.674 | 234.867 | 1.629 | 224 | -6.096 | 889.717 | 62.251 | 0.31407
2019-01-25 11:45:00 | 0.572 | 287.28 | 0.263 | 273.596 | 0.359 | 258.867 | 0.685 | 226.1 | -6.017 | 890.167 | 58.603 | 0.29986
2019-01-25 12:00:00 | 0.84 | 318.6 | 0.826 | 305.383 | 0.623 | 302.067 | 0.751 | 267.4 | -5.898 | 890.058 | 57.435 | 0.31976
2019-01-25 12:15:00 | 0.027 | 310.187 | 0.12 | 290.295 | 0.509 | 288.233 | 1.038 | 298 | -5.763 | 889.867 | 59.104 | 0.31833
2019-01-25 12:30:00 | 0 | 302.554 | 0.05 | 257.991 | 0 | 191.817 | 0.097 | 243.567 | -4.759 | 890.133 | 55.797 | 0.31976
2019-01-25 12:45:00 | 1.774 | 53.826 | 1.32 | 76.766 | 1.451 | 13.403 | 1.512 | 9.633 | -4.969 | 889.717 | 56.485 | 0.31976
2019-01-25 13:00:00 | 1.526 | 23.127 | 1.266 | 165.558 | 1.12 | 165.467 | 1.429 | 264.933 | -4.985 | 889.558 | 56.672 | 0.31549
2019-01-25 13:15:00 | 2.217 | 49.854 | 2.277 | 41.862 | 2.326 | 29.1 | 2.398 | 27 | -4.869 | 889.775 | 55.109 | 0.32402
2019-01-25 13:30:00 | 1.921 | 82.53 | 1.867 | 74.748 | 2.004 | 80.867 | 2.286 | 73.367 | -4.769 | 890.408 | 55.317 | 0.32544
2019-01-25 13:45:00 | 2.351 | 43.141 | 2.212 | 38.1 | 2.307 | 47.467 | 2.411 | 39.733 | -3.956 | 890.033 | 53.088 | 0.32686
2019-01-25 14:00:00 | 1.423 | 120.49 | 1.202 | 155.597 | 1.296 | 54.733 | 1.824 | 52.867 | -4.13 | 890.133 | 52.395 | 0.32544
2019-01-25 14:15:00 | 1.651 | 47.9 | 1.433 | 35.233 | 2.092 | 40.067 | 2.294 | 41.8 | -3.958 | 889.717 | 54.059 | 0.31833
2019-01-25 14:30:00 | 1.927 | 99.364 | 1.889 | 96.986 | 2.102 | 19.471 | 2.433 | 22.967 | -4.215 | 889.808 | 53.605 | 0.32544
2019-01-25 14:45:00 | 2.005 | 146.738 | 1.6 | 102.497 | 2.003 | 31.578 | 1.858 | 23.4 | -4.139 | 889.817 | 53.2 | 0.29702
2019-01-25 15:00:00 | 1.976 | 205.047 | 1.31 | 175.624 | 1.484 | 143.567 | 1.919 | 62.633 | -3.925 | 889.758 | 53.189 | 0.31691
2019-01-25 15:15:00 | 0.989 | 93.167 | 1.073 | 86.301 | 1.486 | 46.834 | 1.572 | 45.567 | -3.773 | 890.325 | 53.696 | 0.30696
2019-01-25 15:30:00 | 2.487 | 38.533 | 2.331 | 31.888 | 2.386 | 44.467 | 2.458 | 38.867 | -3.656 | 889.825 | 52.544 | 0.24159
2019-01-25 15:45:00 | 1.129 | 27.733 | 0.802 | 17.526 | 0.577 | 34.067 | 0.8 | 61.567 | -3.773 | 890.167 | 52.139 | 0.18901
2019-01-25 16:00:00 | 1.858 | 47.567 | 1.672 | 37.657 | 1.697 | 39.7 | 1.838 | 38.3 | -3.874 | 889.658 | 52.128 | 0.25509
2019-01-25 16:15:00 | 1.767 | 18 | 1.923 | 16.482 | 2.246 | 20.367 | 2.311 | 20.1 | -3.505 | 889.783 | 52.085 | 0.30981
2019-01-25 16:30:00 | 3.889 | 38.333 | 3.514 | 29.089 | 3.36 | 32.367 | 3.264 | 27.867 | -3.874 | 889.542 | 52.757 | 0.24372
2019-01-25 16:45:00 | 1.667 | 38.733 | 0.999 | 34.934 | 0.989 | 33.3 | 1.253 | 42.967 | -3.572 | 889.975 | 53.109 | 0.29062
2019-01-25 17:00:00 | 2.711 | 36.533 | 2.633 | 28.33 | 2.727 | 35.333 | 2.952 | 35.433 | -3.689 | 889.717 | 52.96 | 0.25083
2019-01-25 17:15:00 | 2.003 | 71.567 | 1.807 | 59.455 | 1.872 | 57.767 | 1.894 | 49.567 | -3.874 | 890.292 | 53.44 | 0.27925
2019-01-25 17:30:00 | 2.226 | 69.433 | 2.207 | 58.385 | 2.445 | 60.833 | 2.691 | 55 | -3.941 | 889.942 | 54.24 | 0.15206
2019-01-25 17:45:00 | 2.593 | 53.843 | 2.431 | 45.099 | 2.6 | 47.133 | 2.714 | 43.967 | -3.959 | 889.6 | 54.891 | 0.08811
2019-01-25 18:00:00 | 2.751 | 61.458 | 2.339 | 54.238 | 2.324 | 59.133 | 2.328 | 52.967 | -4.246 | 889.483 | 56.256 | 0.21175
2019-01-25 18:15:00 | 2.077 | 58.293 | 1.943 | 54.416 | 2.264 | 60.933 | 2.469 | 57.5 | -4.779 | 890.358 | 58.037 | 0.14851
2019-01-25 18:30:00 | 2.212 | 56.183 | 2.308 | 51.62 | 2.395 | 55.967 | 2.541 | 55.5 | -4.835 | 889.8 | 59.712 | 0.19967
2019-01-25 18:45:00 | 2.883 | 74.4 | 3.081 | 68.793 | 2.982 | 74.967 | 2.891 | 69.467 | -5.452 | 889.883 | 61.408 | 0.95927
2019-01-25 19:00:00 | 3.206 | 68.383 | 3.094 | 56.984 | 2.621 | 61.9 | 2.614 | 59.067 | -5.551 | 889.733 | 62.923 | 1.1511
2019-01-25 19:15:00 | 2.103 | 60.233 | 2.256 | 53.774 | 1.92 | 57.9 | 1.811 | 55.4 | -6.078 | 889.925 | 64.725 | 0.65159
2019-01-25 19:30:00 | 2.192 | 67.227 | 2.181 | 57.481 | 1.904 | 59.7 | 1.904 | 56.3 | -6.15 | 889.375 | 66.805 | 0.1883
2019-01-25 19:45:00 | 0.88 | 74.97 | 2.03 | 56.154 | 2.159 | 69.433 | 2.353 | 61.167 | -6.598 | 889.925 | 67.541 | 0.20606
2019-01-25 20:00:00 | 0.15 | 102.933 | 1.214 | 75.269 | 1.75 | 78.567 | 2.044 | 69.467 | -7.339 | 890.208 | 69.344 | 0.29702
2019-01-25 20:15:00 | 0.163 | 120.3 | 1.178 | 66.267 | 1.804 | 65.867 | 1.88 | 68.933 | -7.522 | 889.908 | 70.773 | 0.30981
2019-01-25 20:30:00 | 0.07 | 121.227 | 1.102 | 62.148 | 1.784 | 64.733 | 1.984 | 61.067 | -7.101 | 889.825 | 71.829 | 0.30412
2019-01-25 20:45:00 | 0 | 135.6 | 0.92 | 65.235 | 1.709 | 63.033 | 1.999 | 61 | -7.606 | 889.917 | 72.011 | 0.29986
2019-01-25 21:00:00 | 0 | 135.6 | 0.04 | 65.225 | 1.77 | 54.867 | 2.06 | 55.867 | -7.522 | 890.225 | 72.939 | 0.30981
2019-01-25 21:15:00 | 1.473 | 175.007 | 0 | 65.975 | 1.477 | 66.533 | 1.966 | 60.6 | -7.97 | 889.675 | 74.357 | 0.30412
2019-01-25 21:30:00 | 1.39 | 190.46 | 0 | 66.3 | 1.069 | 66.2 | 1.668 | 61.133 | -8.21 | 889.683 | 74.56 | 0.30696
2019-01-25 21:45:00 | 2.321 | 191.973 | 0 | 66.274 | 0.246 | 66.7 | 1.3 | 61 | -8.07 | 889.942 | 74.368 | 0.30554
2019-01-25 22:00:00 | 2.044 | 196.373 | 0 | 66.235 | 0.26 | 67.533 | 1.279 | 61 | -8.17 | 889.708 | 74.539 | 0.30128
2019-01-25 22:15:00 | 2.288 | 205.9 | 0.254 | 70.656 | 0.34 | 68.033 | 1.163 | 61 | -8.19 | 890.008 | 74.037 | 0.30128
2019-01-25 22:30:00 | 2.825 | 200.74 | 1.871 | 146.81 | 1.793 | 128.633 | 2.083 | 103.233 | -8.321 | 890.067 | 75.115 | 0.30839
2019-01-25 22:45:00 | 2.663 | 197.4 | 1.814 | 148.465 | 2.138 | 130 | 2.271 | 110.267 | -8.641 | 889.85 | 75.061 | 0.3297
2019-01-25 23:00:00 | 2.771 | 194.6 | 2.38 | 148.51 | 2.426 | 133.133 | 2.614 | 118.1 | -8.724 | 890.075 | 75.413 | 0.32402
2019-01-25 23:15:00 | 2.733 | 189.867 | 2.426 | 147.47 | 2.496 | 137.933 | 2.639 | 125 | -8.741 | 889.942 | 75.52 | 0.32828
2019-01-25 23:30:00 | 3.553 | 197.267 | 2.641 | 154.645 | 2.734 | 154.833 | 2.784 | 144.633 | -9.124 | 890.192 | 72.779 | 0.31265
2019-01-25 23:45:00 | 3.494 | 204.2 | 2.667 | 176.074 | 2.468 | 171.533 | 2.449 | 153.167 | -9.704 | 889.567 | 73.419 | 0.29702