## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-26 00:00:00 | 3.545 | 197.253 | 2.549 | 158.348 | 2.254 | 151.033 | 2.739 | 144.9 | -9.604 | 889.975 | 73.44 | 0.25296
2019-01-26 00:15:00 | 3.193 | 203.873 | 1.49 | 157.466 | 1.389 | 151 | 2.09 | 141 | -9.849 | 889.825 | 73.856 | 0.28849
2019-01-26 00:30:00 | 2.658 | 212.147 | 0.193 | 157.489 | 0.707 | 140.233 | 1.506 | 138.167 | -9.787 | 890.067 | 73.589 | 0.3297
2019-01-26 00:45:00 | 2.662 | 222.533 | 0 | 157.455 | 0.21 | 137 | 1.71 | 124.233 | -9.174 | 890 | 72.704 | 0.33823
2019-01-26 01:00:00 | 2.692 | 227.9 | 0.113 | 178.266 | 0 | 137 | 0.672 | 109.2 | -8.674 | 890.058 | 71.328 | 0.33254
2019-01-26 01:15:00 | 2.523 | 235.867 | 0 | 169.583 | 0 | 113 | 0.578 | 102 | -9.091 | 890.067 | 71.307 | 0.33254
2019-01-26 01:30:00 | 3.237 | 240.147 | 1.47 | 244.536 | 0 | 198.267 | 0 | 102 | -8.601 | 889.908 | 67.947 | 0.33397
2019-01-26 01:45:00 | 3.111 | 233.347 | 1.307 | 248.497 | 0.353 | 266.533 | 0 | 102.033 | -8.25 | 889.917 | 65.483 | 0.33539
2019-01-26 02:00:00 | 3.482 | 222.5 | 0.791 | 233.532 | 0 | 254 | 0 | 101.833 | -7.99 | 890.342 | 61.856 | 0.33112
2019-01-26 02:15:00 | 3.834 | 222.94 | 0.851 | 221.951 | 0 | 254 | 0 | 102 | -9.591 | 889.692 | 61.781 | 0.33965
2019-01-26 02:30:00 | 4.5 | 225.567 | 3.223 | 232.001 | 1.827 | 235.167 | 1.334 | 203.433 | -11.411 | 889.717 | 66.763 | 0.28991
2019-01-26 02:45:00 | 4.243 | 238.567 | 3.673 | 242.895 | 3.291 | 257.633 | 3.224 | 252.467 | -12.703 | 889.433 | 69.419 | 0.24586
2019-01-26 03:00:00 | 4.023 | 234.533 | 2.871 | 254.702 | 2.552 | 276.733 | 2.55 | 268.533 | -12.653 | 889.792 | 71.669 | 0.2288
2019-01-26 03:15:00 | 3.717 | 233.493 | 2.749 | 259.193 | 2.318 | 289.333 | 2.711 | 288.1 | -13.109 | 889.75 | 73.552 | 0.16983
2019-01-26 03:30:00 | 4.833 | 231.553 | 3.994 | 243.382 | 3.144 | 262.567 | 2.703 | 269.833 | -13.393 | 889.775 | 74.859 | 0.16627
2019-01-26 03:45:00 | 4.871 | 224.733 | 2.477 | 252.017 | 1.996 | 265.267 | 1.914 | 268.667 | -13.036 | 889.675 | 74.304 | 0.15632
2019-01-26 04:00:00 | 5.94 | 223.033 | 3.029 | 247.157 | 2.45 | 266.567 | 2.292 | 260.233 | -12.97 | 889.917 | 73.568 | 0.32189
2019-01-26 04:15:00 | 5.693 | 224.833 | 3.061 | 253.831 | 2.721 | 276 | 2.578 | 274.2 | -13.136 | 890.067 | 72.891 | 0.33823
2019-01-26 04:30:00 | 5.274 | 221 | 3.254 | 253.82 | 3.018 | 270.4 | 2.868 | 273.633 | -13.086 | 890.05 | 73.056 | 0.19967
2019-01-26 04:45:00 | 5.07 | 227.5 | 2.966 | 250.343 | 2.399 | 263.133 | 2.102 | 264.1 | -13.766 | 889.758 | 73.717 | 0.34391
2019-01-26 05:00:00 | 5.364 | 228.333 | 3.134 | 254.078 | 2.731 | 264 | 2.355 | 262.867 | -13.484 | 890.25 | 73.792 | 0.33823
2019-01-26 05:15:00 | 5.378 | 225.933 | 3.481 | 254.51 | 2.99 | 267 | 2.747 | 262.933 | -13.578 | 889.858 | 73.504 | 0.27144
2019-01-26 05:30:00 | 5.689 | 223.527 | 3.125 | 258.756 | 2.914 | 278.467 | 2.732 | 285.9 | -13.862 | 889.825 | 73.792 | 0.11795
2019-01-26 05:45:00 | 6.446 | 221.533 | 4.172 | 233.433 | 3.433 | 251.633 | 2.849 | 256.183 | -13.766 | 889.258 | 74.133 | 0.1549
2019-01-26 06:00:00 | 6.661 | 219.453 | 4.212 | 233.621 | 3.847 | 244.067 | 3.445 | 244.45 | -13.249 | 890.033 | 73.259 | 0.66722
2019-01-26 06:15:00 | 6.668 | 219.967 | 4.458 | 228.556 | 4.236 | 237.7 | 3.834 | 235.767 | -13.203 | 889.883 | 72.107 | 1.5036
2019-01-26 06:30:00 | 6.857 | 218.967 | 5.177 | 230.926 | 4.556 | 239.3 | 3.928 | 237.033 | -13.003 | 889.583 | 71.904 | 3.3539
2019-01-26 06:45:00 | 6.549 | 220.733 | 5.751 | 228.79 | 5.053 | 239.033 | 4.464 | 238.5 | -13.203 | 889.517 | 72.256 | 6.2551
2019-01-26 07:00:00 | 6.701 | 219.933 | 6.396 | 224.226 | 5.514 | 233.4 | 4.787 | 233.667 | -12.686 | 889.817 | 71.307 | 8.9006
2019-01-26 07:15:00 | 6.83 | 216.6 | 6.525 | 217.761 | 5.566 | 224.8 | 4.54 | 224.967 | -12.403 | 890.067 | 69.397 | 9.302
2019-01-26 07:30:00 | 5.999 | 221.213 | 5.586 | 220.693 | 4.702 | 229.033 | 3.636 | 230.633 | -12.332 | 889.9 | 68.949 | 4.8333
2019-01-26 07:45:00 | 6.152 | 222.967 | 5.019 | 231.65 | 4.43 | 243.167 | 3.799 | 241.067 | -12.303 | 889.858 | 69.141 | 3.582
2019-01-26 08:00:00 | 6.704 | 219.767 | 5.461 | 225.339 | 4.977 | 235.633 | 4.185 | 232.967 | -12.536 | 889.7 | 69.259 | 4.4069
2019-01-26 08:15:00 | 7.098 | 220.3 | 5.748 | 224.719 | 5.014 | 230.933 | 4.557 | 230.1 | -12.703 | 889.775 | 69.44 | 6.086
2019-01-26 08:30:00 | 7.096 | 215.333 | 5.858 | 221.836 | 5.096 | 227.667 | 4.371 | 224.8 | -12.586 | 889.533 | 69.515 | 9.4761
2019-01-26 08:45:00 | 6.275 | 223.1 | 5.987 | 228.983 | 5.319 | 238.667 | 4.701 | 237.667 | -12.703 | 889.867 | 69.696 | 8.0585
2019-01-26 09:00:00 | 6.405 | 217.733 | 5.705 | 222.225 | 4.85 | 231.967 | 4.275 | 232.9 | -12.686 | 889.75 | 69.259 | 7.0964
2019-01-26 09:15:00 | 5.681 | 223.687 | 4.801 | 227.927 | 4.201 | 240.967 | 3.726 | 242.767 | -12.12 | 889.708 | 69.355 | 4.8482
2019-01-26 09:30:00 | 5.43 | 224.267 | 3.458 | 233.931 | 2.961 | 247.333 | 2.632 | 256.667 | -11.428 | 889.9 | 67.307 | 1.0417
2019-01-26 09:45:00 | 5.412 | 224.72 | 4.193 | 230.811 | 3.447 | 245.267 | 2.904 | 251.667 | -10.909 | 889.758 | 65.717 | 0.57556
2019-01-26 10:00:00 | 5.696 | 221.973 | 4.619 | 227.681 | 3.789 | 238.967 | 3.351 | 241.833 | -9.954 | 889.525 | 65.365 | 1.4687
2019-01-26 10:15:00 | 4.969 | 226.067 | 4.075 | 237.865 | 3.635 | 252.467 | 3.295 | 253.433 | -8.891 | 889.908 | 64.523 | 2.7939
2019-01-26 10:30:00 | 3.872 | 219.2 | 3.054 | 230.014 | 2.675 | 239.733 | 2.364 | 242.833 | -7.639 | 889.567 | 63.947 | 0.69991
2019-01-26 10:45:00 | 3.295 | 227.347 | 3.065 | 240.258 | 2.815 | 248.067 | 2.66 | 246.817 | -6.152 | 889.692 | 61.483 | 0.26859
2019-01-26 11:00:00 | 2.712 | 238.253 | 2.932 | 237.21 | 3.264 | 250.3 | 3.042 | 245.733 | -4.513 | 889.808 | 57.216 | 0.24941
2019-01-26 11:15:00 | 2.419 | 247.253 | 2.33 | 251.803 | 2.284 | 260 | 2.163 | 260.4 | -3.034 | 889.708 | 49.664 | 0.15632
2019-01-26 11:30:00 | 2.685 | 239.227 | 2.747 | 234.166 | 2.975 | 238.8 | 2.92 | 233.7 | -1.889 | 890.05 | 45.067 | 0.10303
2019-01-26 11:45:00 | 2.944 | 247.587 | 2.897 | 239.706 | 3.052 | 246.767 | 2.973 | 240 | -2.131 | 890.067 | 42.363 | 0.066083
2019-01-26 12:00:00 | 2.736 | 261.373 | 2.657 | 259.027 | 3.02 | 261.233 | 2.967 | 251.633 | -1.479 | 889.617 | 40.16 | 0.15917
2019-01-26 12:15:00 | 2.766 | 261.687 | 2.965 | 255.744 | 3.054 | 258.95 | 3.048 | 255.05 | -0.865 | 889.7 | 37.853 | 0.059688
2019-01-26 12:30:00 | 2.595 | 259.613 | 2.72 | 254.147 | 2.821 | 262.433 | 2.531 | 258.717 | -1.769 | 889.5 | 37.619 | 0.12151
2019-01-26 12:45:00 | 2.409 | 244.233 | 2.522 | 241.188 | 2.768 | 242.367 | 2.811 | 239.65 | -0.419 | 889.967 | 35.64 | 0.35031
2019-01-26 13:00:00 | 2.51 | 276.367 | 2.627 | 273.222 | 2.838 | 273 | 2.585 | 260.6 | -0.342 | 890.05 | 33.379 | 0.17977
2019-01-26 13:15:00 | 2.077 | 281.593 | 1.844 | 271.138 | 2.234 | 275.6 | 2.463 | 267.817 | 0.1 | 889.833 | 32.651 | 0.19896
2019-01-26 13:30:00 | 2.708 | 317.2 | 3.061 | 312.123 | 3.186 | 313.333 | 3.148 | 310.667 | -0.578 | 889.95 | 33.501 | 0.27783
2019-01-26 13:45:00 | 3.089 | 302.814 | 3.058 | 312.188 | 3.044 | 317.7 | 3.109 | 314.467 | -0.678 | 889.633 | 33.784 | 1.0765
2019-01-26 14:00:00 | 2.519 | 306.84 | 2.557 | 300.357 | 2.978 | 304.667 | 3.168 | 300.433 | -0.203 | 889.933 | 34.184 | 1.3167
2019-01-26 14:15:00 | 3.167 | 300.787 | 3.196 | 292.083 | 3.328 | 295.4 | 3.547 | 288.6 | -0.099 | 889.8 | 34.813 | 1.4076
2019-01-26 14:30:00 | 3.436 | 324.547 | 3.448 | 317.817 | 3.744 | 318.233 | 3.768 | 314.033 | 0.017 | 889.633 | 35.045 | 2.5559
2019-01-26 14:45:00 | 3.342 | 318.413 | 3.528 | 314.901 | 3.768 | 318.933 | 3.832 | 314.367 | 0.216 | 889.967 | 34.92 | 2.654
2019-01-26 15:00:00 | 2.202 | 281.52 | 2.227 | 274.333 | 2.676 | 281.6 | 2.782 | 286.617 | 0.382 | 889.95 | 34.797 | 2.7577
2019-01-26 15:15:00 | 2.815 | 293.827 | 3.197 | 307.464 | 3.358 | 313.267 | 3.406 | 310.967 | 0.548 | 889.583 | 34.256 | 3.0021
2019-01-26 15:30:00 | 3.17 | 321.12 | 3.173 | 312.946 | 3.482 | 317.833 | 3.825 | 309.933 | 0.565 | 890.067 | 34.379 | 3.1023
2019-01-26 15:45:00 | 4.733 | 287.627 | 4.895 | 285.346 | 4.798 | 288.1 | 5.028 | 285.967 | 1.032 | 889.65 | 33.981 | 4.6556
2019-01-26 16:00:00 | 3.434 | 306.867 | 3.56 | 300.7 | 3.882 | 302.067 | 4.164 | 299.5 | 0.832 | 889.8 | 33.467 | 5.158
2019-01-26 16:15:00 | 4.555 | 307.627 | 4.797 | 299.657 | 4.986 | 303.7 | 5.069 | 298.767 | 0.798 | 890.083 | 33.669 | 4.0083
2019-01-26 16:30:00 | 3.318 | 283.96 | 3.661 | 281.211 | 3.899 | 287.067 | 4.157 | 286.733 | 0.982 | 890.317 | 33.837 | 4.1504
2019-01-26 16:45:00 | 1.682 | 277.2 | 1.307 | 272.569 | 1.58 | 273.717 | 1.665 | 274.667 | 1.202 | 889.633 | 33.549 | 2.9069
2019-01-26 17:00:00 | 2.951 | 289.007 | 3.252 | 285.477 | 3.249 | 284.883 | 3.566 | 272.667 | 1.312 | 889.783 | 31.288 | 1.8041
2019-01-26 17:15:00 | 2.548 | 301.307 | 2.583 | 297.312 | 2.84 | 299.367 | 2.864 | 296.233 | 1.065 | 889.9 | 30.624 | 2.1139
2019-01-26 17:30:00 | 2.678 | 267.627 | 2.638 | 336.964 | 2.8 | 287.567 | 2.861 | 319.3 | 1.118 | 889.95 | 32.101 | 1.8965
2019-01-26 17:45:00 | 3.723 | 224.613 | 3.996 | 316.242 | 4.004 | 282.533 | 3.926 | 314.467 | 0.382 | 889.383 | 37.163 | 1.613
2019-01-26 18:00:00 | 2.961 | 76.9 | 3.002 | 318.935 | 3.003 | 238.5 | 3.162 | 356.5 | 0 | 889.583 | 37.856 | 0.97348
2019-01-26 18:15:00 | 2.35 | 95.627 | 2.684 | 355.185 | 2.843 | 354.467 | 2.988 | 352.2 | -0.439 | 889.917 | 38.712 | 0.13288
2019-01-26 18:30:00 | 2.325 | 340.867 | 2.412 | 335.961 | 2.738 | 338.1 | 2.956 | 336.733 | -0.498 | 889.967 | 40.109 | 0.2487
2019-01-26 18:45:00 | 2.044 | 323.68 | 2.221 | 321.849 | 2.792 | 327.567 | 2.836 | 325.633 | -0.978 | 889.925 | 41.213 | 0.24515
2019-01-26 19:00:00 | 2.178 | 313.067 | 2.17 | 310.377 | 2.215 | 317.867 | 2.282 | 316.967 | -1.155 | 889.575 | 41.92 | 0.29133
2019-01-26 19:15:00 | 1.08 | 310.6 | 1.484 | 316.824 | 2.062 | 317.933 | 2.565 | 317 | -1.523 | 889.933 | 43.248 | 0.26007
2019-01-26 19:30:00 | 2.087 | 226.833 | 2.094 | 302.778 | 2.298 | 313.133 | 2.496 | 304.467 | -3.171 | 889.825 | 44.821 | 0.26291
2019-01-26 19:45:00 | 2.075 | 239.2 | 1 | 289.1 | 1.557 | 308.967 | 2.064 | 304.233 | -3.488 | 889.967 | 47.888 | 0.26149
2019-01-26 20:00:00 | 1.757 | 220.053 | 1.082 | 226.718 | 1.107 | 245.833 | 1.34 | 220.533 | -3.267 | 889.867 | 48.245 | 0.26575
2019-01-26 20:15:00 | 3.236 | 215.42 | 2.075 | 246.394 | 1.38 | 263.9 | 1.646 | 249.1 | -4.413 | 889.983 | 43.627 | 0.27144
2019-01-26 20:30:00 | 3.964 | 230.267 | 2.114 | 240.448 | 1.527 | 267.867 | 1.879 | 257.633 | -5.469 | 889.675 | 48.459 | 0.28138
2019-01-26 20:45:00 | 6.109 | 225.113 | 3.169 | 232.356 | 2.33 | 242.867 | 1.565 | 272 | -7.065 | 889.592 | 47.211 | 0.28281
2019-01-26 21:00:00 | 5.943 | 220.767 | 4.119 | 226.024 | 3.025 | 232.1 | 1.784 | 248.067 | -7.672 | 890.05 | 50.56 | 0.29986
2019-01-26 21:15:00 | 6.255 | 222.407 | 3.096 | 228.93 | 2.344 | 231.067 | 1.922 | 231.167 | -8.07 | 890.092 | 52.917 | 0.30128
2019-01-26 21:30:00 | 6.018 | 223.907 | 3.709 | 229.384 | 3.188 | 242.167 | 2.498 | 233.567 | -8.554 | 889.775 | 54.581 | 0.28281
2019-01-26 21:45:00 | 6.493 | 219.667 | 3.875 | 221.021 | 2.94 | 224.233 | 1.766 | 230.167 | -8.09 | 889.908 | 53.952 | 0.26504
2019-01-26 22:00:00 | 6.516 | 223.153 | 5.517 | 218.573 | 4.855 | 224.4 | 3.592 | 216.4 | -8.03 | 889.8 | 53.813 | 0.20962
2019-01-26 22:15:00 | 5.643 | 225.88 | 4.404 | 218.28 | 3.944 | 215.433 | 3.554 | 204 | -8.15 | 890.15 | 52.555 | 0.24444
2019-01-26 22:30:00 | 4.386 | 219.167 | 3.273 | 181.472 | 2.513 | 179.2 | 2.099 | 182.467 | -8.708 | 889.8 | 54.699 | 0.19612
2019-01-26 22:45:00 | 5.711 | 214.367 | 4.134 | 194.886 | 3.668 | 191.433 | 3.322 | 178.867 | -9.041 | 889.825 | 56.267 | 0.28352
2019-01-26 23:00:00 | 5.804 | 209.433 | 5.121 | 184.148 | 4.994 | 182.133 | 4.804 | 175.4 | -8.708 | 889.825 | 56.64 | 0.27499
2019-01-26 23:15:00 | 4.875 | 205.287 | 4.338 | 184.695 | 3.646 | 181.533 | 3.164 | 168.5 | -8.13 | 889.917 | 56.363 | 0.89176
2019-01-26 23:30:00 | 3.223 | 223.14 | 4.142 | 213.261 | 3.711 | 210.167 | 3.6 | 202.267 | -8.871 | 890.133 | 57.525 | 0.982
2019-01-26 23:45:00 | 4.231 | 223.793 | 5.677 | 218.085 | 4.599 | 216.8 | 3.444 | 211.533 | -6.79 | 889.725 | 58.293 | 0.50521