## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-27 00:00:00 | 4.195 | 234.267 | 4.17 | 223.244 | 4.099 | 221.5 | 3.058 | 211.1 | -8.09 | 889.775 | 57.973 | 0.15277
2019-01-27 00:15:00 | 3.58 | 240.687 | 4.523 | 228.707 | 3.93 | 224.767 | 2.731 | 221.667 | -7.696 | 889.867 | 57.675 | 0.2622
2019-01-27 00:30:00 | 2.044 | 241.653 | 2.466 | 215.859 | 1.645 | 201.867 | 0.353 | 177.467 | -8.481 | 889.967 | 58.571 | 0.31336
2019-01-27 00:45:00 | 0 | 329.253 | 0.113 | 210.655 | 1.093 | 112.75 | 2.473 | 51.467 | -9.678 | 889.65 | 59.136 | 0.23378
2019-01-27 01:00:00 | 2.492 | 149.893 | 2.56 | 112.393 | 2.106 | 93.733 | 2.59 | 65.833 | -9.954 | 890.083 | 62.283 | 0.22951
2019-01-27 01:15:00 | 2.849 | 168.807 | 1.809 | 131.187 | 1.855 | 126.4 | 1.884 | 115.233 | -7.012 | 890.083 | 52.747 | 2.455
2019-01-27 01:30:00 | 4.446 | 175.233 | 2.675 | 147.362 | 2.714 | 144 | 2.908 | 132.067 | -6.628 | 889.917 | 48.043 | 5.4827
2019-01-27 01:45:00 | 5.52 | 187.753 | 4.566 | 159.24 | 4.023 | 159 | 4.044 | 149.367 | -7.896 | 889.817 | 46.933 | 8.9986
2019-01-27 02:00:00 | 4.845 | 197.933 | 4.767 | 167.389 | 4.361 | 169.8 | 3.843 | 163.8 | -9.108 | 889.842 | 48.491 | 11.519
2019-01-27 02:15:00 | 4.669 | 186.053 | 4.018 | 155.498 | 3.477 | 153.967 | 3.586 | 145.667 | -9.312 | 889.992 | 49.419 | 9.1841
2019-01-27 02:30:00 | 4.527 | 183.7 | 3.965 | 145.153 | 3.277 | 141.233 | 2.79 | 133.3 | -9.041 | 889.958 | 48.203 | 7.1582
2019-01-27 02:45:00 | 3.978 | 194.74 | 3.518 | 141.832 | 2.789 | 138.9 | 2.507 | 133.1 | -8.771 | 889.708 | 46.571 | 5.3399
2019-01-27 03:00:00 | 3.934 | 180.2 | 3.134 | 141.756 | 2.637 | 135.6 | 3.508 | 124.633 | -8.808 | 889.642 | 48.405 | 5.3385
2019-01-27 03:15:00 | 4.052 | 176.353 | 2.974 | 138.943 | 2.919 | 133.133 | 3.609 | 121.333 | -7.612 | 889.767 | 45.333 | 5.7662
2019-01-27 03:30:00 | 4.081 | 175.84 | 3.151 | 136.825 | 2.969 | 133.167 | 3.452 | 125.567 | -7.686 | 890.092 | 43.808 | 5.8309
2019-01-27 03:45:00 | 3.966 | 168.42 | 3.441 | 135.702 | 2.735 | 132.233 | 2.984 | 127.4 | -6.803 | 890.008 | 41.445 | 6.2793
2019-01-27 04:00:00 | 4.104 | 166.793 | 3.861 | 133.851 | 3.957 | 128.833 | 4.422 | 119.6 | -7.659 | 890.233 | 41.461 | 8.6163
2019-01-27 04:15:00 | 5.203 | 172.133 | 4.685 | 152.684 | 4.666 | 148.833 | 4.441 | 139.9 | -6.428 | 889.533 | 40.955 | 11.163
2019-01-27 04:30:00 | 4.342 | 178.26 | 4.438 | 144.073 | 3.932 | 141.933 | 3.212 | 134.3 | -8.427 | 889.767 | 42.347 | 10.1796
2019-01-27 04:45:00 | 3.79 | 174.733 | 3.434 | 135.906 | 3.675 | 131.5 | 4.054 | 125.967 | -8.357 | 889.958 | 45.109 | 10.2364
2019-01-27 05:00:00 | 4.493 | 174.713 | 5.247 | 144.059 | 4.819 | 140.833 | 3.895 | 135.033 | -9.462 | 890.125 | 46.293 | 13.191
2019-01-27 05:15:00 | 4.966 | 183.087 | 4.968 | 151.827 | 5.129 | 151.133 | 5.438 | 143.567 | -10.083 | 889.958 | 46.208 | 11.8203
2019-01-27 05:30:00 | 4.826 | 176.093 | 4.367 | 146.788 | 4.422 | 146.7 | 4.01 | 138.133 | -8.311 | 889.767 | 40.624 | 12.0036
2019-01-27 05:45:00 | 4.238 | 164.133 | 5.339 | 144.479 | 4.939 | 143.8 | 4.215 | 136.3 | -8.858 | 890.05 | 40.149 | 11.2994
2019-01-27 06:00:00 | 5.058 | 172.233 | 5.222 | 145.292 | 4.472 | 144.133 | 3.512 | 138.4 | -8.591 | 889.5 | 38.405 | 12.275
2019-01-27 06:15:00 | 5.272 | 182.267 | 5.268 | 160.942 | 4.438 | 156.667 | 4.262 | 148.3 | -9.108 | 889.767 | 38.965 | 14.7826
2019-01-27 06:30:00 | 4.861 | 173.947 | 5.056 | 141.942 | 4.23 | 138.867 | 3.682 | 133.067 | -8.901 | 889.517 | 40.555 | 13.9953
2019-01-27 06:45:00 | 4.804 | 167.767 | 5.639 | 141.596 | 4.428 | 143.6 | 3.73 | 131.3 | -8.841 | 890 | 40.112 | 12.9252
2019-01-27 07:00:00 | 5.437 | 152.507 | 5.075 | 130.895 | 4.407 | 134.333 | 4.87 | 124.633 | -8.287 | 889.5 | 38.805 | 13.3231
2019-01-27 07:15:00 | 4.507 | 168.9 | 5.404 | 137.519 | 4.259 | 138.867 | 3.98 | 128.9 | -8.802 | 889.85 | 39.867 | 13.7054
2019-01-27 07:30:00 | 5.318 | 172.527 | 5.09 | 144.146 | 4.408 | 146.633 | 3.731 | 137.167 | -9.104 | 889.8 | 41.973 | 16.0339
2019-01-27 07:45:00 | 4.874 | 172.86 | 5.011 | 141.518 | 4.007 | 137.433 | 3.981 | 129.333 | -9.358 | 890.167 | 41.493 | 10.0225
2019-01-27 08:00:00 | 5.221 | 182.027 | 4.566 | 147.823 | 4.282 | 148.033 | 4.206 | 138.867 | -9.87 | 890.133 | 43.317 | 6.5827
2019-01-27 08:15:00 | 4.466 | 192.773 | 3.746 | 143.739 | 3.298 | 137.2 | 3.208 | 131.967 | -10.133 | 889.858 | 43.371 | 7.7487
2019-01-27 08:30:00 | 3.834 | 164.567 | 4.085 | 128.201 | 4.128 | 126.867 | 4.729 | 121.967 | -7.489 | 889.875 | 40.827 | 8.1466
2019-01-27 08:45:00 | 3.367 | 159.667 | 4.42 | 119.638 | 4.653 | 121.167 | 5.111 | 115.833 | -8.09 | 889.917 | 40.656 | 9.4242
2019-01-27 09:00:00 | 2.851 | 155.7 | 4.532 | 110.585 | 4.342 | 109.933 | 3.704 | 101.167 | -8.374 | 889.792 | 41.488 | 8.7783
2019-01-27 09:15:00 | 2.216 | 189.213 | 2.012 | 127.912 | 2.187 | 102.9 | 2.814 | 83.1 | -9.683 | 889.875 | 44.309 | 5.4373
2019-01-27 09:30:00 | 3.104 | 181.533 | 2.512 | 128.566 | 2.723 | 113.533 | 3.045 | 105.767 | -8.908 | 889.925 | 43.339 | 2.6376
2019-01-27 09:45:00 | 3.184 | 193.713 | 2.651 | 153.792 | 2.55 | 139.5 | 2.852 | 114.833 | -10.095 | 890.35 | 46.763 | 2.7868
2019-01-27 10:00:00 | 2.12 | 213.307 | 1.786 | 148.108 | 2.453 | 118.5 | 2.173 | 100.433 | -8.738 | 889.625 | 47.424 | 2.1885
2019-01-27 10:15:00 | 0.457 | 161.92 | 1.21 | 108.405 | 1.652 | 98 | 1.952 | 83.833 | -6.919 | 889.708 | 43.744 | 0.63454
2019-01-27 10:30:00 | 1.694 | 92.573 | 2.639 | 85.259 | 2.816 | 90 | 3.152 | 86.567 | -5.839 | 889.933 | 38.373 | 0.68001
2019-01-27 10:45:00 | 3.151 | 71.233 | 3.303 | 72.399 | 3.549 | 80.8 | 3.39 | 82.333 | -6.562 | 889.733 | 38.139 | 1.613
2019-01-27 11:00:00 | 2.56 | 80.397 | 2.201 | 76.136 | 2.083 | 86.8 | 2.023 | 86.067 | -6.094 | 889.55 | 38.672 | 0.71199
2019-01-27 11:15:00 | 2.436 | 77.717 | 2.411 | 70.23 | 2.543 | 72.567 | 2.712 | 73.667 | -5.958 | 889.817 | 40.405 | 0.25296
2019-01-27 11:30:00 | 2.734 | 73.332 | 2.659 | 64.086 | 2.727 | 67.133 | 2.879 | 64.8 | -4.969 | 889.842 | 41.003 | 0.28849
2019-01-27 11:45:00 | 3.08 | 59.298 | 2.557 | 50.404 | 2.477 | 57.6 | 2.482 | 57.2 | -4.819 | 889.892 | 41.419 | 0.90455
2019-01-27 12:00:00 | 3.567 | 81.833 | 3.346 | 78.093 | 3.188 | 87.733 | 3.128 | 87.067 | -4.919 | 889.65 | 39.333 | 3.4974
2019-01-27 12:15:00 | 4.01 | 77.78 | 4.189 | 72.194 | 3.959 | 78.2 | 3.783 | 78.4 | -3.97 | 890.017 | 34.571 | 4.7928
2019-01-27 12:30:00 | 5.092 | 80.867 | 4.938 | 75.836 | 4.849 | 80.3 | 4.891 | 79.133 | -3.354 | 890 | 31.504 | 8.6668
2019-01-27 12:45:00 | 5.58 | 97.74 | 4.914 | 97.084 | 4.332 | 100.767 | 4.614 | 90.7 | -3.123 | 889.633 | 34.331 | 14.6363
2019-01-27 13:00:00 | 5.779 | 93.23 | 5.869 | 86.788 | 5.569 | 95.667 | 5.592 | 89.3 | -2.74 | 889.383 | 37.056 | 19.4418
2019-01-27 13:15:00 | 5.074 | 101.52 | 4.879 | 92.718 | 4.86 | 98.667 | 4.94 | 95.267 | -2.197 | 889.583 | 39.931 | 21.1529
2019-01-27 13:30:00 | 6.048 | 90.567 | 5.603 | 88.765 | 5.222 | 93.667 | 5.64 | 85.033 | -1.7 | 889.533 | 38.853 | 25.3573
2019-01-27 13:45:00 | 7.507 | 83.357 | 7.341 | 80.576 | 7.09 | 82.3 | 7.305 | 80.2 | -1.453 | 889.867 | 38.944 | 27.8265
2019-01-27 14:00:00 | 6.646 | 88.7 | 6.703 | 80.401 | 6.911 | 87.967 | 7.045 | 81.933 | -1.392 | 889.45 | 38.949 | 26.5866
2019-01-27 14:15:00 | 6.898 | 86.793 | 6.723 | 80.568 | 7.187 | 82.633 | 7.242 | 80.033 | -0.595 | 889.55 | 38.107 | 28.8838
2019-01-27 14:30:00 | 6.474 | 79.51 | 6.359 | 75.152 | 6.194 | 81.267 | 6.441 | 79.967 | -1.082 | 889.933 | 37.749 | 29.6058
2019-01-27 14:45:00 | 6.228 | 81.513 | 6.469 | 76.156 | 6.411 | 80.533 | 6.748 | 77.467 | -0.935 | 889.633 | 37.637 | 27.6062
2019-01-27 15:00:00 | 6.242 | 73.917 | 6.355 | 68.833 | 6.485 | 75.567 | 6.87 | 73.133 | -0.698 | 889.733 | 37.579 | 24.5721
2019-01-27 15:15:00 | 5.826 | 75.827 | 5.863 | 70.751 | 5.951 | 77.7 | 6.022 | 76.267 | -0.578 | 890 | 37.264 | 23.5233
2019-01-27 15:30:00 | 5.368 | 68.553 | 5.454 | 60.311 | 5.499 | 68.333 | 5.777 | 65.3 | -0.655 | 889.383 | 37.653 | 19.5555
2019-01-27 15:45:00 | 5.141 | 77.893 | 5.01 | 70.943 | 5.086 | 77.233 | 5.23 | 73.767 | -0.498 | 889.983 | 37.013 | 15.2523
2019-01-27 16:00:00 | 4.74 | 65.533 | 4.879 | 58.483 | 5.185 | 61.433 | 5.088 | 61.133 | -0.598 | 889.817 | 36.155 | 11.8622
2019-01-27 16:15:00 | 4.357 | 64.795 | 4.242 | 57.804 | 4.265 | 63.733 | 4.116 | 57.733 | -0.366 | 889.8 | 35.168 | 10.6635
2019-01-27 16:30:00 | 5.373 | 70.033 | 5.306 | 65.108 | 5.227 | 68.967 | 5.464 | 68.2 | -0.755 | 889.583 | 35.643 | 9.6317
2019-01-27 16:45:00 | 5.017 | 52.905 | 4.339 | 49.665 | 4.146 | 53.567 | 4.452 | 50.833 | -0.176 | 889.633 | 35.531 | 8.7059
2019-01-27 17:00:00 | 5.044 | 57.875 | 4.657 | 50.441 | 4.629 | 57.367 | 4.896 | 55 | -0.369 | 890 | 35.125 | 11.5716
2019-01-27 17:15:00 | 5.426 | 63.563 | 4.935 | 56.261 | 5.015 | 64.433 | 5.226 | 61 | -0.662 | 889.783 | 35.771 | 16.0815
2019-01-27 17:30:00 | 5.045 | 58.75 | 4.661 | 53.969 | 4.491 | 58.833 | 4.777 | 53.033 | -1.065 | 889.8 | 36.56 | 16.3366
2019-01-27 17:45:00 | 5.189 | 59.197 | 4.376 | 52.249 | 4.118 | 59.1 | 4.213 | 56.333 | -1.59 | 889.633 | 37.883 | 16.1419
2019-01-27 18:00:00 | 4.426 | 61.425 | 4.311 | 56.145 | 4.123 | 61.767 | 4.344 | 58.567 | -1.7 | 889.267 | 38.315 | 11.0038
2019-01-27 18:15:00 | 3.796 | 66.112 | 3.763 | 61.673 | 3.753 | 68.667 | 3.946 | 65.2 | -2.263 | 889.883 | 38.864 | 7.1789
2019-01-27 18:30:00 | 3.194 | 86.91 | 3.215 | 81.05 | 3.215 | 85.767 | 3.229 | 82.4 | -2.413 | 889.783 | 39.317 | 3.3617
2019-01-27 18:45:00 | 2.013 | 21.615 | 2.754 | 41.996 | 2.985 | 50.433 | 2.946 | 50.167 | -2.945 | 889.742 | 40.736 | 1.7281
2019-01-27 19:00:00 | 3.158 | 341.267 | 2.779 | 84.668 | 2.812 | 13.212 | 2.994 | 18.133 | -3.622 | 890.025 | 42.533 | 0.32544
2019-01-27 19:15:00 | 3.922 | 302.387 | 4.419 | 189.833 | 3.864 | 2.907 | 3.618 | 9.733 | -4.06 | 889.775 | 43.179 | 0.97419
2019-01-27 19:30:00 | 3.386 | 346 | 4.06 | 108.169 | 3.92 | 6.202 | 3.642 | 5.5 | -5.135 | 889.692 | 45.867 | 0.62885
2019-01-27 19:45:00 | 2.746 | 342.867 | 2.861 | 178.951 | 2.649 | 0 | 2.781 | 3.867 | -4.969 | 890 | 46.752 | 0.55851
2019-01-27 20:00:00 | 3.184 | 289.68 | 2.657 | 330.162 | 2.742 | 118.933 | 2.838 | 32.067 | -5.288 | 889.908 | 46.475 | 0.20464
2019-01-27 20:15:00 | 3.578 | 308.587 | 3.881 | 333.138 | 3.688 | 348.5 | 3.523 | 355.767 | -5.581 | 890.525 | 48.448 | 2.0777
2019-01-27 20:30:00 | 3.533 | 296.507 | 3.589 | 325.073 | 3.4 | 345.767 | 3.133 | 353.933 | -6.057 | 889.892 | 49.776 | 2.0152
2019-01-27 20:45:00 | 4.034 | 287.253 | 3.353 | 320.253 | 3.206 | 338.9 | 3.017 | 347.3 | -5.978 | 889.817 | 50.165 | 1.3678
2019-01-27 21:00:00 | 4.322 | 293.52 | 3.421 | 319.05 | 3.237 | 334.6 | 3.317 | 340 | -5.879 | 890.05 | 50.464 | 2.0386
2019-01-27 21:15:00 | 3.943 | 270.607 | 4.225 | 308.423 | 3.707 | 328.767 | 3.731 | 338.967 | -7.43 | 890.067 | 51.84 | 1.6698
2019-01-27 21:30:00 | 3.718 | 245.173 | 3.65 | 299.465 | 3.151 | 320.333 | 2.722 | 339 | -7.913 | 890.217 | 54.299 | 0.48176
2019-01-27 21:45:00 | 4.212 | 252.147 | 3.468 | 294.998 | 2.989 | 323.1 | 2.521 | 336 | -7.323 | 889.908 | 54.864 | 0.19327
2019-01-27 22:00:00 | 4.678 | 236.653 | 3.704 | 268.118 | 3.263 | 298.533 | 2.894 | 317.433 | -7.83 | 889.617 | 55.397 | 0.1947
2019-01-27 22:15:00 | 4.426 | 242.74 | 3.598 | 265.301 | 3.177 | 285.467 | 2.71 | 299.6 | -7.836 | 889.933 | 56.363 | 0.22099
2019-01-27 22:30:00 | 4.991 | 237.087 | 3.881 | 256.088 | 3.213 | 278.933 | 2.746 | 292.533 | -7.896 | 890.342 | 55.488 | 0.15846
2019-01-27 22:45:00 | 4.057 | 246.5 | 3.208 | 268.406 | 2.763 | 287.9 | 2.548 | 303.767 | -7.896 | 889.717 | 56.859 | 0.20891
2019-01-27 23:00:00 | 3.524 | 257.147 | 2.671 | 280.86 | 2.296 | 296.567 | 2.356 | 308.5 | -7.496 | 888.833 | 55.067 | 0.32331
2019-01-27 23:15:00 | 2.604 | 246.44 | 1.867 | 274.22 | 1.533 | 300.233 | 1.846 | 318.833 | -6.325 | 889.908 | 53.237 | 0.33254
2019-01-27 23:30:00 | 3.966 | 233.507 | 2.595 | 247.388 | 1.768 | 266.133 | 1.594 | 274.133 | -7.38 | 889.567 | 53.776 | 0.31265
2019-01-27 23:45:00 | 3.809 | 232.693 | 0.779 | 277.041 | 0 | 262 | 0.498 | 260.067 | -8.444 | 889.975 | 55.563 | 0.30981