## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-28 00:00:00 | 3.091 | 249.6 | 1.693 | 287.447 | 1.383 | 312.4 | 1.572 | 320.133 | -8.28 | 889.575 | 58.219 | 0.30839
2019-01-28 00:15:00 | 2.17 | 261.553 | 1.036 | 278.835 | 0.617 | 300.367 | 0.829 | 320 | -7.263 | 889.625 | 56.576 | 0.30696
2019-01-28 00:30:00 | 1.583 | 288.333 | 1.415 | 257.316 | 1.333 | 214.371 | 1.591 | 207.233 | -7.111 | 888.8 | 54.507 | 0.31123
2019-01-28 00:45:00 | 1.675 | 243.96 | 0.269 | 274.64 | 0 | 302.067 | 0 | 320.067 | -6.933 | 889.942 | 55.04 | 0.31691
2019-01-28 01:00:00 | 1.954 | 231.367 | 0 | 265.055 | 0 | 301.8 | 0 | 320.067 | -7.639 | 890.042 | 55.776 | 0.30696
2019-01-28 01:15:00 | 3.194 | 221.8 | 0 | 265.032 | 0 | 302 | 0 | 320 | -7.722 | 889.942 | 54.869 | 0.30412
2019-01-28 01:30:00 | 4.081 | 224.353 | 0.682 | 227.554 | 0 | 302 | 0 | 320.033 | -8.23 | 889.8 | 55.893 | 0.31123
2019-01-28 01:45:00 | 3.168 | 227 | 1.055 | 223.442 | 0 | 250 | 0.477 | 288 | -7.689 | 890.117 | 55.104 | 0.30981
2019-01-28 02:00:00 | 2.847 | 234.247 | 0 | 223.506 | 0 | 250.067 | 0 | 288 | -8.134 | 889.967 | 55.275 | 0.31123
2019-01-28 02:15:00 | 2.612 | 233.24 | 0 | 223.54 | 0 | 250 | 0.494 | 288 | -7.736 | 889.575 | 56.064 | 0.30696
2019-01-28 02:30:00 | 2.701 | 235.753 | 0.056 | 226.465 | 0 | 250.033 | 0 | 288.067 | -8.08 | 889.458 | 56.48 | 0.30554
2019-01-28 02:45:00 | 3.242 | 227.193 | 0.053 | 226.46 | 0 | 250 | 0 | 288 | -8.21 | 889.992 | 55.317 | 0.30554
2019-01-28 03:00:00 | 3.764 | 236.407 | 1.899 | 235.885 | 0.664 | 250.067 | 0.379 | 288 | -7.443 | 890.05 | 53.067 | 0.31123
2019-01-28 03:15:00 | 3.079 | 221.64 | 1.988 | 218.228 | 2.621 | 221.233 | 3.531 | 218.867 | -6.715 | 889.908 | 53.984 | 0.30554
2019-01-28 03:30:00 | 4.4 | 237.32 | 4.323 | 241.633 | 4.228 | 246.033 | 4.094 | 238.767 | -9.195 | 890.175 | 55.637 | 1.6563
2019-01-28 03:45:00 | 5.425 | 235.593 | 4.681 | 240.572 | 4.366 | 246.433 | 4.275 | 245.783 | -9.308 | 889.342 | 61.803 | 4.5938
2019-01-28 04:00:00 | 4.374 | 235.233 | 3.25 | 245.259 | 2.563 | 266.533 | 3.272 | 272.833 | -6.562 | 890.008 | 54.859 | 2.9588
2019-01-28 04:15:00 | 4.555 | 232.447 | 4.443 | 264.037 | 4.973 | 275 | 5.616 | 269.467 | -6.501 | 889.917 | 53.467 | 2.3577
2019-01-28 04:30:00 | 4.693 | 228.787 | 4.447 | 260.032 | 4.734 | 271.267 | 4.876 | 269.233 | -6.919 | 889.8 | 55.664 | 4.2513
2019-01-28 04:45:00 | 1.643 | 291.213 | 2.146 | 288.259 | 2.329 | 287.933 | 3.315 | 262.3 | -7.97 | 889.85 | 58.037 | 6.0313
2019-01-28 05:00:00 | 2.788 | 297.96 | 2.614 | 319.394 | 2.207 | 328.6 | 1.876 | 321.067 | -7.883 | 889.417 | 57.104 | 6.9628
2019-01-28 05:15:00 | 2.581 | 279.267 | 1.21 | 299.559 | 0.636 | 320.133 | 1.808 | 320.167 | -7.556 | 889.942 | 56.491 | 1.0637
2019-01-28 05:30:00 | 2.886 | 276.093 | 1.075 | 291.061 | 0 | 296.2 | 0.789 | 320 | -7.181 | 889.625 | 54.389 | 0.33326
2019-01-28 05:45:00 | 2.79 | 265.373 | 1.147 | 272.845 | 0.543 | 315.567 | 1.682 | 334.833 | -7.296 | 889.592 | 54.405 | 0.3091
2019-01-28 06:00:00 | 2.775 | 246.4 | 0.675 | 271.23 | 0 | 320.267 | 1.745 | 338.967 | -7.772 | 890.258 | 55.445 | 0.28281
2019-01-28 06:15:00 | 2.342 | 237.293 | 0.344 | 235.569 | 0.283 | 320 | 1.883 | 338 | -7.071 | 890.083 | 55.68 | 0.3162
2019-01-28 06:30:00 | 1.68 | 251.96 | 0.809 | 277.002 | 1.437 | 316.567 | 2.541 | 321.4 | -6.359 | 889.783 | 55.429 | 0.29133
2019-01-28 06:45:00 | 1.384 | 229.46 | 0.583 | 271.279 | 1.499 | 317.2 | 2.433 | 305.9 | -6.044 | 889.908 | 55.195 | 0.30554
2019-01-28 07:00:00 | 1.934 | 265.487 | 1.867 | 275.995 | 2.367 | 300.7 | 2.906 | 307.1 | -5.879 | 890.008 | 57.221 | 0.16769
2019-01-28 07:15:00 | 1.074 | 254.2 | 1.374 | 294.172 | 2.129 | 305.067 | 2.78 | 318.9 | -6.295 | 889.975 | 57.131 | 0.13217
2019-01-28 07:30:00 | 1.747 | 272.32 | 1.933 | 294.557 | 2.365 | 303.767 | 2.934 | 308.533 | -5.879 | 889.858 | 57.061 | 0.23236
2019-01-28 07:45:00 | 2.263 | 270.333 | 1.938 | 287.67 | 2.184 | 304.033 | 2.806 | 304.067 | -5.435 | 889.508 | 56.512 | 1.8766
2019-01-28 08:00:00 | 2.224 | 286.16 | 2.184 | 300.427 | 2.687 | 310.267 | 3.362 | 307.7 | -5.822 | 889.708 | 56.117 | 1.6904
2019-01-28 08:15:00 | 1.384 | 291.28 | 1.576 | 300.687 | 2.117 | 306.033 | 2.88 | 309 | -5.671 | 890.108 | 56.421 | 0.89816
2019-01-28 08:30:00 | 1.074 | 267.987 | 0.856 | 289.657 | 1.267 | 298.033 | 2.423 | 305.367 | -5.912 | 889.858 | 57.712 | 0.81147
2019-01-28 08:45:00 | 1.383 | 255.647 | 1.32 | 274.073 | 1.728 | 282.033 | 2.284 | 301.7 | -6.442 | 889.867 | 59.76 | 0.38015
2019-01-28 09:00:00 | 1.552 | 234.36 | 1.264 | 266.124 | 1.718 | 288.4 | 2.375 | 295.267 | -6.425 | 889.708 | 59.264 | 0.43842
2019-01-28 09:15:00 | 1.434 | 269.8 | 1.604 | 291.195 | 2.315 | 307.833 | 3.253 | 309.667 | -5.898 | 889.283 | 58.581 | 1.4631
2019-01-28 09:30:00 | 0 | 296.2 | 1.01 | 303.82 | 2.227 | 309.967 | 2.96 | 310.733 | -5.552 | 889.842 | 56.192 | 1.0069
2019-01-28 09:45:00 | 1.487 | 234.9 | 0.946 | 246.032 | 1.593 | 272.633 | 2.052 | 284.733 | -5.502 | 889.433 | 55.013 | 0.34818
2019-01-28 10:00:00 | 0.749 | 246.167 | 0.303 | 229.388 | 0.08 | 230 | 0.839 | 258.967 | -5.335 | 889.817 | 53.696 | 0.18262
2019-01-28 10:15:00 | 1.863 | 258.1 | 1.839 | 243.946 | 1.996 | 240.333 | 2.252 | 233.267 | -4.785 | 889.75 | 51.941 | 0.27357
2019-01-28 10:30:00 | 1.357 | 247.867 | 1.506 | 250.539 | 1.757 | 254.467 | 2.393 | 244.083 | -4.852 | 889.967 | 50.88 | 1.8482
2019-01-28 10:45:00 | 1.591 | 244.733 | 0.26 | 253.521 | 0.886 | 252 | 1.582 | 247.2 | -4.869 | 889.992 | 50.677 | 5.1026
2019-01-28 11:00:00 | 1.47 | 300.267 | 1.03 | 310.669 | 1.024 | 324.9 | 1.217 | 275.933 | -5.219 | 889.733 | 51.371 | 6.0228
2019-01-28 11:15:00 | 1.386 | 337.6 | 1.908 | 330.786 | 2.2 | 331.433 | 2.408 | 333.767 | -4.835 | 889.983 | 51.413 | 1.2527
2019-01-28 11:30:00 | 2.374 | 335.52 | 3.147 | 340.386 | 3.502 | 346.233 | 3.624 | 347 | -4.885 | 889.825 | 52.005 | 0.39152
2019-01-28 11:45:00 | 2.838 | 337.4 | 3.422 | 329.267 | 4.305 | 334.167 | 4.976 | 335.133 | -4.902 | 890.017 | 51.744 | 4.9242
2019-01-28 12:00:00 | 2.618 | 342.667 | 2.583 | 337.957 | 2.783 | 344.067 | 3.235 | 344.433 | -4.802 | 889.808 | 50.987 | 6.1471
2019-01-28 12:15:00 | 3.22 | 228.824 | 3.35 | 349.349 | 3.451 | 339.167 | 3.843 | 348.9 | -5.352 | 890.158 | 51.776 | 8.261
2019-01-28 12:30:00 | 3.859 | 268.64 | 4.11 | 346.238 | 4.389 | 326.967 | 4.724 | 339.133 | -5.235 | 889.775 | 52.043 | 6.1563
2019-01-28 12:45:00 | 4.015 | 331.34 | 3.935 | 338.136 | 4.058 | 342.633 | 4.157 | 340.933 | -4.982 | 889.775 | 52.208 | 7.8695
2019-01-28 13:00:00 | 3.619 | 211.207 | 3.884 | 348.789 | 4.042 | 327 | 4.116 | 334.467 | -5.285 | 889.717 | 52.347 | 6.9074
2019-01-28 13:15:00 | 3.063 | 328.853 | 3.223 | 336.972 | 3.269 | 339.733 | 3.287 | 337.867 | -5.135 | 889.567 | 52.923 | 3.6843
2019-01-28 13:30:00 | 2.416 | 328.933 | 2.341 | 321.014 | 2.47 | 325.233 | 2.647 | 318.3 | -5.302 | 890.067 | 53.115 | 0.38513
2019-01-28 13:45:00 | 1.847 | 300.467 | 1.698 | 300.09 | 1.959 | 301.433 | 2.24 | 302.233 | -4.969 | 890.158 | 52.901 | 0.28352
2019-01-28 14:00:00 | 1.553 | 329.6 | 0.919 | 317.506 | 0.803 | 319.4 | 1.431 | 316.633 | -5.302 | 889.842 | 53.104 | 0.29418
2019-01-28 14:15:00 | 2.502 | 344.467 | 2.516 | 333.722 | 2.671 | 337.967 | 3.047 | 336.3 | -4.969 | 889.717 | 53.317 | 0.17693
2019-01-28 14:30:00 | 5.573 | 61 | 6.498 | 184.814 | 6.908 | 199.333 | 7.305 | 252.633 | -3.675 | 889.85 | 49.28 | 3.7063
2019-01-28 14:45:00 | 9.62 | 267.633 | 10.602 | 267.791 | 11.08 | 271.267 | 11.568 | 266.15 | -3.388 | 889.75 | 50.923 | 11.6014
2019-01-28 15:00:00 | 13.859 | 262.827 | 15.534 | 263.799 | 15.783 | 268.267 | 16.1 | 263.233 | -3.008 | 889.925 | 52.747 | 51.3157
2019-01-28 15:15:00 | 15.529 | 261.133 | 16.814 | 267.14 | 17.447 | 271.467 | 17.761 | 266.6 | -3.271 | 890.308 | 53.024 | 76.7668
2019-01-28 15:30:00 | 13.611 | 265.847 | 15.055 | 266.055 | 15.503 | 270.067 | 15.954 | 265.65 | -2.777 | 889.783 | 49.056 | 77.9293
2019-01-28 15:45:00 | 13.584 | 261.433 | 15.076 | 267.116 | 15.359 | 270.3 | 15.475 | 265.967 | -3.488 | 889.517 | 49.829 | 77.2883
2019-01-28 16:00:00 | 12.788 | 268.167 | 14.18 | 271.288 | 14.62 | 274.167 | 14.466 | 269.333 | -3.722 | 889.9 | 50.587 | 77.4255
2019-01-28 16:15:00 | 13.17 | 258.133 | 14.525 | 264.852 | 14.913 | 269.933 | 15.217 | 265.4 | -3.689 | 889.9 | 49.259 | 76.3717
2019-01-28 16:30:00 | 12.667 | 255 | 13.505 | 261.527 | 13.913 | 265.933 | 14.05 | 261.783 | -4.206 | 890.142 | 50.672 | 76.307
2019-01-28 16:45:00 | 14.222 | 252.947 | 16.259 | 261.14 | 16.921 | 264.2 | 17.149 | 259.933 | -4.869 | 890.183 | 50.016 | 76.317
2019-01-28 17:00:00 | 13.772 | 249.253 | 15.425 | 254.629 | 16.226 | 259.85 | 16.368 | 253.883 | -5.102 | 889.95 | 50.16 | 76.5344
2019-01-28 17:15:00 | 13.092 | 249.173 | 14.385 | 255.463 | 14.9 | 258.367 | 14.8 | 255.1 | -5.485 | 890.05 | 49.803 | 76.5266
2019-01-28 17:30:00 | 14.133 | 246.253 | 15.862 | 254.976 | 16.414 | 259.383 | 16.713 | 255.017 | -5.428 | 889.825 | 50.816 | 76.3589
2019-01-28 17:45:00 | 13.648 | 251.453 | 15.252 | 257.66 | 16.016 | 260.433 | 16.009 | 256.4 | -5.997 | 890.067 | 50.176 | 75.1026
2019-01-28 18:00:00 | 13.796 | 245.473 | 15.289 | 253.66 | 15.913 | 256.283 | 15.801 | 252.05 | -6.014 | 890.025 | 50.843 | 76.6943
2019-01-28 18:15:00 | 12.137 | 239.987 | 13.501 | 249.347 | 14.21 | 255.033 | 14.329 | 250.783 | -6.509 | 889.625 | 52.672 | 76.2339
2019-01-28 18:30:00 | 11.721 | 240.36 | 13.045 | 249.123 | 13.559 | 253.05 | 13.616 | 248.417 | -6.336 | 889.933 | 52.624 | 74.9776
2019-01-28 18:45:00 | 12.31 | 240.34 | 13.669 | 250.528 | 14.434 | 255.567 | 14.472 | 250.35 | -6.578 | 889.967 | 52.075 | 76.56
2019-01-28 19:00:00 | 13.052 | 247.207 | 15.307 | 258.072 | 15.758 | 262.767 | 15.725 | 257.983 | -6.694 | 889.667 | 52.16 | 76.3205
2019-01-28 19:15:00 | 15.582 | 241.28 | 17.418 | 254.027 | 18.01 | 257.633 | 18.108 | 254.867 | -7.439 | 890.075 | 52.88 | 76.798
2019-01-28 19:30:00 | 13.812 | 237.347 | 15.732 | 251.063 | 16.657 | 255.4 | 16.624 | 250.283 | -8.033 | 889.933 | 52.821 | 76.4875
2019-01-28 19:45:00 | 15.018 | 243.913 | 16.881 | 251.474 | 17.361 | 255.033 | 17.612 | 250.683 | -8.271 | 889.983 | 52.117 | 75.9844
2019-01-28 20:00:00 | 12.567 | 237.413 | 13.884 | 250.794 | 14.283 | 254.8 | 14.589 | 249.433 | -8.464 | 890.025 | 52.859 | 76.3177
2019-01-28 20:15:00 | 12.062 | 242.447 | 13.862 | 257.926 | 14.685 | 261.967 | 15.211 | 259.283 | -8.791 | 890.417 | 53.088 | 76.8265
2019-01-28 20:30:00 | 10.193 | 260.753 | 11.862 | 269.973 | 12.47 | 274.733 | 13.051 | 270.867 | -9.091 | 890.267 | 53.317 | 78.1986
2019-01-28 20:45:00 | 7.826 | 264.393 | 9.109 | 272.859 | 9.869 | 277.533 | 10.194 | 271.867 | -9.224 | 889.633 | 54.811 | 77.4006
2019-01-28 21:00:00 | 10.93 | 247.033 | 12.357 | 262.474 | 12.959 | 266.233 | 13.518 | 263.433 | -9.649 | 889.933 | 54.267 | 72.5055
2019-01-28 21:15:00 | 8.277 | 252.907 | 9.786 | 264.298 | 10.404 | 268.45 | 11.189 | 262.383 | -9.641 | 889.708 | 54.597 | 79.376
2019-01-28 21:30:00 | 7.459 | 257.913 | 8.48 | 267.55 | 8.898 | 272.733 | 9.381 | 267.833 | -10.054 | 889.7 | 55.872 | 77.6891
2019-01-28 21:45:00 | 5.027 | 282.1 | 5.562 | 279.722 | 5.934 | 283.8 | 6.332 | 279.167 | -10.149 | 890.008 | 57.781 | 44.0757
2019-01-28 22:00:00 | 4.545 | 279.793 | 5.167 | 279.833 | 5.614 | 280.567 | 5.867 | 276.467 | -10.614 | 889.958 | 58.955 | 21.2786
2019-01-28 22:15:00 | 5.404 | 271.76 | 6.041 | 274.069 | 6.264 | 276.667 | 6.441 | 272.933 | -10.853 | 890.142 | 58.901 | 12.7405
2019-01-28 22:30:00 | 4.423 | 321.88 | 4.795 | 314.006 | 4.86 | 316.2 | 4.961 | 311.233 | -11.088 | 889.658 | 59.093 | 11.8878
2019-01-28 22:45:00 | 5.04 | 319.2 | 5.636 | 308.355 | 5.84 | 310.733 | 6.148 | 305.467 | -11.395 | 890.1 | 57.328 | 21.4151
2019-01-28 23:00:00 | 6.03 | 293.813 | 6.725 | 290.304 | 7.31 | 293.833 | 7.773 | 289.767 | -11.932 | 889.675 | 56.256 | 32.9127
2019-01-28 23:15:00 | 8.348 | 281.9 | 9.212 | 285.428 | 9.469 | 288.967 | 9.908 | 287.133 | -12.099 | 890.1 | 51.712 | 55.0725
2019-01-28 23:30:00 | 7.117 | 288.66 | 7.96 | 290.41 | 8.49 | 293.9 | 8.841 | 291.2 | -12.52 | 889.992 | 50.72 | 57.4948
2019-01-28 23:45:00 | 5.514 | 304.133 | 6.451 | 296.712 | 6.958 | 300.8 | 7.205 | 294.5 | -13.02 | 889.575 | 51.461 | 38.6079