## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-29 00:00:00 | 4.919 | 328.453 | 5.719 | 318.662 | 5.853 | 321.833 | 5.986 | 317.4 | -13.353 | 889.492 | 51.605 | 25.4894
2019-01-29 00:15:00 | 5.387 | 309.333 | 6.125 | 303.657 | 6.417 | 306.467 | 6.975 | 301.167 | -13.883 | 889.508 | 52.912 | 28.2834
2019-01-29 00:30:00 | 4.484 | 318.2 | 5.081 | 309.618 | 5.09 | 311.6 | 5.26 | 307.5 | -14.016 | 889.408 | 54.219 | 27.138
2019-01-29 00:45:00 | 4.361 | 253.887 | 5.252 | 262.162 | 5.742 | 267.533 | 5.918 | 262.8 | -14.199 | 889.825 | 54.693 | 25.9989
2019-01-29 01:00:00 | 6.5 | 266.5 | 7.429 | 276.875 | 7.869 | 279.233 | 8.329 | 278.033 | -13.983 | 889.417 | 54.08 | 22.2905
2019-01-29 01:15:00 | 6.424 | 257 | 7.477 | 269.346 | 8.328 | 275.067 | 8.959 | 272.733 | -14.216 | 889.842 | 54.315 | 22.245
2019-01-29 01:30:00 | 7.522 | 272.1 | 9.188 | 278.518 | 9.984 | 279.933 | 10.803 | 277.533 | -14.287 | 889.908 | 52.832 | 21.543
2019-01-29 01:45:00 | 7.225 | 237.14 | 8.899 | 261.39 | 9.252 | 266.633 | 9.629 | 261.467 | -14.266 | 889.592 | 51.648 | 20.0636
2019-01-29 02:00:00 | 8.089 | 248.547 | 9.993 | 264.679 | 10.753 | 266.8 | 11.118 | 262.367 | -14.724 | 889.583 | 49.877 | 18.9224
2019-01-29 02:15:00 | 7.15 | 252.933 | 8.934 | 264.064 | 9.455 | 268.767 | 9.6 | 263.517 | -14.433 | 890 | 49.056 | 17.6512
2019-01-29 02:30:00 | 7.546 | 269.22 | 8.579 | 277.519 | 8.672 | 278.633 | 8.65 | 275 | -14.458 | 889.725 | 49.776 | 29.0821
2019-01-29 02:45:00 | 6.614 | 256.34 | 7.223 | 264.77 | 7.31 | 267.767 | 7.51 | 262.767 | -14.941 | 889.808 | 50.256 | 51.0414
2019-01-29 03:00:00 | 6.784 | 251.253 | 7.692 | 258.377 | 7.763 | 262.867 | 7.691 | 256.533 | -15.024 | 890.15 | 50.747 | 69.3243
2019-01-29 03:15:00 | 6.892 | 246.3 | 8.47 | 255.323 | 8.994 | 258.217 | 9.178 | 254.217 | -15.358 | 889.65 | 52 | 66.1211
2019-01-29 03:30:00 | 5.237 | 253.88 | 6.457 | 255.84 | 6.732 | 257.967 | 6.837 | 251.933 | -15.374 | 889.767 | 51.317 | 47.485
2019-01-29 03:45:00 | 4.621 | 257.547 | 6.36 | 259.238 | 6.865 | 260.817 | 7.035 | 254.317 | -15.324 | 889.533 | 50.891 | 39.6091
2019-01-29 04:00:00 | 5.877 | 245.02 | 7.177 | 253.7 | 7.883 | 258.733 | 7.962 | 252.917 | -15.158 | 889.442 | 49.12 | 43.8455
2019-01-29 04:15:00 | 6.511 | 251.6 | 8.03 | 260.785 | 8.779 | 265.567 | 8.84 | 262.283 | -14.537 | 890.1 | 46.752 | 51.7456
2019-01-29 04:30:00 | 6.842 | 244.46 | 7.889 | 258.354 | 8.393 | 263.067 | 8.437 | 257.583 | -14.683 | 889.792 | 46.656 | 50.6826
2019-01-29 04:45:00 | 6.55 | 251.207 | 7.507 | 261.736 | 7.948 | 266.167 | 8.027 | 262 | -14.828 | 890.167 | 46.715 | 52.6253
2019-01-29 05:00:00 | 6.634 | 241.833 | 7.786 | 251.808 | 8.156 | 256.517 | 8.319 | 252.033 | -15.074 | 889.825 | 47.723 | 56.1618
2019-01-29 05:15:00 | 7.803 | 236.24 | 9.124 | 252.139 | 9.648 | 256.183 | 9.569 | 252.317 | -15.241 | 890.033 | 47.845 | 63.0393
2019-01-29 05:30:00 | 7.704 | 242.367 | 8.601 | 251.561 | 9.253 | 254.067 | 9.239 | 250.1 | -15.391 | 890.075 | 47.883 | 73.1443
2019-01-29 05:45:00 | 7.535 | 241.973 | 8.77 | 245.898 | 9.371 | 249.017 | 9.685 | 245.267 | -15.274 | 889.517 | 48.533 | 75.8374
2019-01-29 06:00:00 | 8.174 | 237.353 | 9.547 | 249.966 | 10.015 | 253.067 | 10.147 | 248.6 | -15.579 | 890.358 | 48.992 | 78.8835
2019-01-29 06:15:00 | 8.325 | 237.88 | 9.652 | 248.925 | 10.211 | 254.167 | 10.611 | 249.633 | -15.608 | 889.792 | 49.109 | 78.3293
2019-01-29 06:30:00 | 7.612 | 234.38 | 8.869 | 243.345 | 9.518 | 247.45 | 9.78 | 245.4 | -15.624 | 890.092 | 49.504 | 76.1273
2019-01-29 06:45:00 | 6.695 | 227.4 | 8.1 | 244.41 | 8.505 | 250.733 | 8.908 | 245.467 | -15.774 | 889.85 | 50.368 | 72.9347
2019-01-29 07:00:00 | 6.81 | 233.947 | 7.935 | 237.886 | 8.475 | 243.733 | 8.67 | 238.9 | -16.083 | 890.333 | 51.029 | 69.7208
2019-01-29 07:15:00 | 7.225 | 233.887 | 8.554 | 239.35 | 9.569 | 243 | 9.7 | 239.633 | -16.339 | 889.733 | 51.392 | 62.0083
2019-01-29 07:30:00 | 6.057 | 238.02 | 7.404 | 243.357 | 8.076 | 247.733 | 8.152 | 244 | -16.339 | 889.833 | 50.859 | 51.0102
2019-01-29 07:45:00 | 5.863 | 234.533 | 7.138 | 237.46 | 7.945 | 242.633 | 8.132 | 236.6 | -16.798 | 889.992 | 51.979 | 52.4185
2019-01-29 08:00:00 | 6.349 | 231.1 | 7.892 | 236.846 | 8.311 | 244.067 | 8.225 | 240.233 | -16.931 | 889.808 | 52.459 | 52.2586
2019-01-29 08:15:00 | 7.499 | 234.033 | 8.899 | 242.042 | 9.259 | 246.967 | 9.281 | 242.233 | -16.831 | 889.7 | 53.397 | 64.0313
2019-01-29 08:30:00 | 7.752 | 232.673 | 9.485 | 238.715 | 10.177 | 243.5 | 10.199 | 238.033 | -17.339 | 889.683 | 53.707 | 63.2085
2019-01-29 08:45:00 | 7.564 | 230.14 | 9.524 | 236.984 | 10.712 | 241.7 | 10.582 | 236.333 | -17.431 | 890.042 | 53.557 | 60.5723
2019-01-29 09:00:00 | 7.233 | 226.487 | 9.386 | 240.998 | 10.292 | 244.367 | 10.316 | 239.3 | -17.481 | 889.925 | 53.877 | 58.8783
2019-01-29 09:15:00 | 6.076 | 230.4 | 8.345 | 237.561 | 9.291 | 240.533 | 9.227 | 234.967 | -17.831 | 890.208 | 54.592 | 58.3986
2019-01-29 09:30:00 | 5.688 | 229.147 | 7.579 | 227.961 | 8.452 | 234.633 | 8.682 | 230.4 | -17.498 | 889.542 | 54.421 | 56.2485
2019-01-29 09:45:00 | 7.971 | 228.407 | 9.21 | 231.697 | 9.703 | 237.767 | 9.614 | 234.333 | -17.248 | 890 | 53.28 | 61.8911
2019-01-29 10:00:00 | 7.285 | 234.953 | 8.314 | 247.165 | 8.664 | 250.85 | 8.728 | 245.733 | -15.424 | 890.2 | 48.965 | 67.1756
2019-01-29 10:15:00 | 7.639 | 231.347 | 8.647 | 245.7 | 9.238 | 252.15 | 9.132 | 247.65 | -14.891 | 889.675 | 45.675 | 61.5031
2019-01-29 10:30:00 | 8.93 | 236.38 | 9.668 | 253.198 | 9.969 | 256.95 | 10.189 | 251.45 | -14.349 | 890.05 | 44.773 | 60.8003
2019-01-29 10:45:00 | 9.572 | 232.12 | 10.332 | 261.18 | 10.292 | 265.3 | 10.502 | 261.683 | -14.049 | 890.075 | 44.971 | 57.6071
2019-01-29 11:00:00 | 7.699 | 231.553 | 8.19 | 252.075 | 8.109 | 258.067 | 7.837 | 255.7 | -13.758 | 889.983 | 44.133 | 55.9685
2019-01-29 11:15:00 | 7.432 | 249.707 | 7.674 | 261.044 | 7.484 | 264.033 | 7.538 | 258.533 | -13.24 | 889.767 | 42.24 | 52.8768
2019-01-29 11:30:00 | 8.483 | 245.873 | 9.214 | 260.423 | 9.387 | 263.333 | 9.494 | 258.817 | -13.266 | 889.742 | 41.307 | 55.1194
2019-01-29 11:45:00 | 9.017 | 247 | 9.739 | 262.607 | 9.77 | 266.167 | 9.624 | 263.767 | -12.993 | 890.217 | 38.723 | 55.0362
2019-01-29 12:00:00 | 9.916 | 241.44 | 10.738 | 266.236 | 10.957 | 270.533 | 10.917 | 265.633 | -12.836 | 889.767 | 37.659 | 55.194
2019-01-29 12:15:00 | 8.671 | 247.727 | 9.489 | 268.546 | 9.546 | 274.067 | 9.669 | 270 | -12.686 | 890.083 | 35.037 | 54.1807
2019-01-29 12:30:00 | 8.772 | 249.113 | 9.512 | 269.156 | 9.701 | 273.333 | 9.79 | 271.4 | -12.62 | 889.55 | 31.64 | 54.6888
2019-01-29 12:45:00 | 9.178 | 268.773 | 9.611 | 279.01 | 10.138 | 282.867 | 10.325 | 278.4 | -12.47 | 889.833 | 30.925 | 54.0358
2019-01-29 13:00:00 | 9.04 | 264.04 | 9.41 | 280.246 | 9.558 | 286.467 | 9.719 | 282 | -12.62 | 889.567 | 31.813 | 54.5268
2019-01-29 13:15:00 | 9.228 | 277.1 | 9.574 | 286.09 | 9.921 | 288.667 | 10.165 | 285.4 | -12.178 | 889.883 | 30.008 | 53.9128
2019-01-29 13:30:00 | 9.566 | 282.607 | 10.09 | 285.259 | 10.259 | 287.2 | 10.79 | 286.267 | -12.353 | 889.633 | 29.453 | 53.6066
2019-01-29 13:45:00 | 9.58 | 268.993 | 10.274 | 279.555 | 10.569 | 283.5 | 10.567 | 279.933 | -12.286 | 889.817 | 30.051 | 54.6781
2019-01-29 14:00:00 | 9.429 | 289.12 | 10.07 | 290.591 | 10.147 | 294.333 | 10.638 | 291.367 | -12.47 | 889.55 | 31.696 | 53.6663
2019-01-29 14:15:00 | 9.468 | 284.013 | 9.915 | 289.532 | 10.285 | 293.067 | 10.499 | 292.067 | -12.636 | 889.767 | 33.077 | 53.6577
2019-01-29 14:30:00 | 9.428 | 298.067 | 9.712 | 295.97 | 10.079 | 299.667 | 10.366 | 296.667 | -12.603 | 890.2 | 30.389 | 54.0606
2019-01-29 14:45:00 | 9.383 | 313.733 | 9.826 | 308.677 | 9.774 | 311.433 | 9.981 | 309.2 | -12.503 | 889.9 | 30.955 | 53.8716
2019-01-29 15:00:00 | 9.704 | 308.267 | 10.392 | 306.613 | 10.786 | 312 | 11.015 | 309 | -12.803 | 889.8 | 32.421 | 54.5879
2019-01-29 15:15:00 | 10.308 | 321.067 | 10.889 | 316.978 | 11.197 | 321.233 | 11.349 | 319.867 | -13.103 | 890.133 | 34.056 | 54.7733
2019-01-29 15:30:00 | 10.335 | 315.32 | 10.972 | 311.104 | 11.397 | 315 | 11.757 | 313.433 | -13.353 | 889.883 | 34.96 | 55.5755
2019-01-29 15:45:00 | 9.482 | 313.013 | 9.85 | 311.389 | 10.103 | 314.6 | 10.478 | 311.467 | -13.207 | 889.7 | 35.523 | 54.9481
2019-01-29 16:00:00 | 9.692 | 314.107 | 10.594 | 309.344 | 11.183 | 312.967 | 11.267 | 310.933 | -13.172 | 890.067 | 35.021 | 55.7063
2019-01-29 16:15:00 | 9.215 | 307.067 | 9.294 | 302.656 | 9.656 | 307.133 | 10.04 | 303.767 | -13.153 | 889.917 | 34.181 | 55.6345
2019-01-29 16:30:00 | 8.255 | 285.033 | 8.624 | 292.515 | 8.828 | 295.8 | 9.077 | 293.1 | -13.278 | 889.85 | 33.12 | 58.3539
2019-01-29 16:45:00 | 8.233 | 310.947 | 8.571 | 303.697 | 8.998 | 310.5 | 9.474 | 306.867 | -13.428 | 889.967 | 33.976 | 59.9192
2019-01-29 17:00:00 | 7.561 | 310.813 | 7.71 | 305.569 | 8.023 | 312.133 | 8.256 | 308.033 | -13.428 | 889.65 | 34.376 | 55.3666
2019-01-29 17:15:00 | 7.365 | 303.693 | 7.603 | 300.489 | 7.585 | 306.4 | 7.816 | 305.967 | -13.653 | 889.583 | 35.677 | 46.4291
2019-01-29 17:30:00 | 6.558 | 305.307 | 6.813 | 298.823 | 6.928 | 304.4 | 7.392 | 301.733 | -13.487 | 889.567 | 36.235 | 41.107
2019-01-29 17:45:00 | 7.054 | 308 | 7.595 | 303.414 | 7.677 | 309.633 | 8.045 | 306.433 | -13.799 | 889.933 | 37.688 | 39.4002
2019-01-29 18:00:00 | 6.398 | 308.8 | 6.675 | 304.23 | 6.931 | 309.567 | 7.282 | 308.9 | -14.033 | 889.767 | 39.515 | 36.3739
2019-01-29 18:15:00 | 6.362 | 311.467 | 6.718 | 309.309 | 6.938 | 311.733 | 7.264 | 309.467 | -14.233 | 889.958 | 41.264 | 33.4712
2019-01-29 18:30:00 | 6.848 | 315.227 | 7.403 | 309.952 | 7.44 | 313.667 | 7.609 | 311.4 | -14.662 | 889.625 | 42.72 | 31.0141
2019-01-29 18:45:00 | 5.16 | 305.427 | 6.064 | 303.864 | 6.342 | 309.167 | 6.685 | 305.467 | -15.037 | 889.517 | 43.909 | 25.6095
2019-01-29 19:00:00 | 4.696 | 301 | 5.63 | 299.387 | 6.049 | 305.9 | 6.696 | 303.1 | -15.041 | 890.125 | 44.933 | 21.9999
2019-01-29 19:15:00 | 4.39 | 287.953 | 5.618 | 289.965 | 6.052 | 294.6 | 6.484 | 290.933 | -15.358 | 889.8 | 47.632 | 17.993
2019-01-29 19:30:00 | 4.439 | 286.333 | 5.56 | 285.676 | 6.118 | 288.933 | 6.474 | 286.433 | -15.874 | 889.517 | 47.797 | 15.744
2019-01-29 19:45:00 | 3.978 | 290.827 | 5.083 | 290.401 | 5.378 | 293.367 | 5.798 | 289.167 | -16.296 | 889.742 | 48.987 | 15.2061
2019-01-29 20:00:00 | 4.631 | 278.707 | 5.642 | 281.437 | 5.898 | 285.067 | 6.286 | 282.267 | -16.232 | 890.05 | 48.923 | 17.0714
2019-01-29 20:15:00 | 4.325 | 258.427 | 5.178 | 270.991 | 5.572 | 276.367 | 6.096 | 274.133 | -16.546 | 889.533 | 49.504 | 14.217
2019-01-29 20:30:00 | 4.309 | 249.567 | 5.677 | 264.183 | 5.791 | 271.933 | 6.009 | 268.767 | -17.098 | 890.292 | 51.413 | 15.1194
2019-01-29 20:45:00 | 3.885 | 254.42 | 5.159 | 264.679 | 5.495 | 272.533 | 5.766 | 268.9 | -17.548 | 889.967 | 53.12 | 15.4776
2019-01-29 21:00:00 | 5.064 | 243.1 | 5.774 | 253.816 | 5.921 | 261.067 | 5.968 | 258.917 | -17.914 | 889.867 | 55.605 | 19.2421
2019-01-29 21:15:00 | 5.154 | 244.6 | 6.128 | 253.91 | 6.197 | 260.3 | 6.298 | 258.1 | -17.864 | 889.875 | 57.595 | 21.2467
2019-01-29 21:30:00 | 5.058 | 245.66 | 5.841 | 256.538 | 6.169 | 263.933 | 6.373 | 261.733 | -18.364 | 889.65 | 57.563 | 24.9679
2019-01-29 21:45:00 | 5.275 | 251.573 | 6.096 | 264.492 | 6.239 | 270.667 | 6.736 | 266.8 | -18.635 | 889.55 | 59.664 | 22.6109
2019-01-29 22:00:00 | 3.414 | 254.56 | 5.926 | 261.892 | 6.535 | 271.8 | 6.821 | 272.267 | -18.739 | 890.058 | 58.432 | 17.9653
2019-01-29 22:15:00 | 4.067 | 214.133 | 4.862 | 218.528 | 4.527 | 235.533 | 4.865 | 252.8 | -19.589 | 889.825 | 61.525 | 12.8691
2019-01-29 22:30:00 | 3.811 | 208.3 | 4.724 | 221.628 | 4.81 | 232.967 | 4.392 | 236.367 | -19.656 | 889.908 | 63.019 | 11.5673
2019-01-29 22:45:00 | 4.903 | 217.1 | 5.14 | 224.628 | 4.69 | 234.433 | 4.271 | 234.333 | -19.656 | 889.658 | 63.947 | 11.4813
2019-01-29 23:00:00 | 5.357 | 235.833 | 5.138 | 237.47 | 4.768 | 245.467 | 4.399 | 246.867 | -19.406 | 889.733 | 63.744 | 11.2433
2019-01-29 23:15:00 | 5.524 | 246.233 | 5.513 | 256.6 | 5.187 | 265.467 | 5.173 | 267.933 | -19.106 | 889.817 | 62.891 | 11.735
2019-01-29 23:30:00 | 5.623 | 254.86 | 5.313 | 266.433 | 5.239 | 276.1 | 5.376 | 277.233 | -18.614 | 889.483 | 59.616 | 9.835
2019-01-29 23:45:00 | 5.811 | 211.747 | 5.28 | 218.581 | 4.314 | 236.6 | 4.018 | 259.633 | -20.135 | 890.05 | 58.464 | 6.0761