## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-30 00:00:00 | 5.459 | 223.093 | 5.334 | 226.444 | 4.78 | 235.4 | 4.138 | 243.667 | -20.094 | 889.425 | 59.275 | 5.7101
2019-01-30 00:15:00 | 4.767 | 220.667 | 4.825 | 227.15 | 4.311 | 234.933 | 3.872 | 236.867 | -20.281 | 889.783 | 58.869 | 5.1203
2019-01-30 00:30:00 | 6.111 | 213.333 | 6.103 | 217.003 | 5.082 | 226.067 | 4.281 | 227.233 | -20.714 | 889.3 | 59.467 | 6.7227
2019-01-30 00:45:00 | 5.726 | 227.533 | 5.629 | 228.636 | 5.307 | 236.467 | 4.547 | 236.5 | -20.598 | 889.892 | 59.659 | 6.3638
2019-01-30 01:00:00 | 4.654 | 240.867 | 5.069 | 247.727 | 4.726 | 257.6 | 4.365 | 259.75 | -20.414 | 890.283 | 58.912 | 5.514
2019-01-30 01:15:00 | 5.33 | 226.447 | 4.543 | 241.071 | 3.853 | 255.433 | 3.364 | 258.167 | -21.052 | 889.625 | 58.613 | 2.4706
2019-01-30 01:30:00 | 5.896 | 212.167 | 5.659 | 226.706 | 5.007 | 250.433 | 4.467 | 254.967 | -21.264 | 890.142 | 57.6 | 7.0005
2019-01-30 01:45:00 | 5.725 | 218.493 | 6.612 | 221.352 | 5.787 | 230.867 | 4.683 | 242.767 | -21.218 | 889.517 | 58.859 | 8.5083
2019-01-30 02:00:00 | 5.048 | 221.22 | 5.132 | 229.522 | 4.675 | 238.7 | 4.106 | 242.033 | -21.135 | 889.792 | 58.4 | 5.0265
2019-01-30 02:15:00 | 4.977 | 219.167 | 4.556 | 228.715 | 3.925 | 235.333 | 3.174 | 237.267 | -21.673 | 890.033 | 59.392 | 2.6625
2019-01-30 02:30:00 | 6.002 | 216.967 | 4.467 | 225.961 | 4.288 | 232.2 | 3.841 | 229.133 | -21.889 | 889.583 | 59.296 | 3.594
2019-01-30 02:45:00 | 6.952 | 214.767 | 6.723 | 213.13 | 5.823 | 218.6 | 4.711 | 220.4 | -21.839 | 889.808 | 60.032 | 7.7182
2019-01-30 03:00:00 | 5.719 | 212.2 | 6.284 | 207.398 | 6.074 | 211.5 | 5.899 | 210.367 | -21.789 | 890.158 | 58.912 | 9.6161
2019-01-30 03:15:00 | 6.524 | 216.153 | 5.72 | 212.59 | 5.174 | 216.5 | 4.86 | 213.767 | -21.344 | 890.058 | 58.432 | 7.5299
2019-01-30 03:30:00 | 6.296 | 220.033 | 5.388 | 219.374 | 4.849 | 223.1 | 4.28 | 220.2 | -21.756 | 889.75 | 57.995 | 5.0635
2019-01-30 03:45:00 | 5.961 | 230.613 | 4.5 | 233.951 | 4.089 | 240.8 | 3.78 | 239.7 | -22.073 | 889.717 | 58.677 | 3.7291
2019-01-30 04:00:00 | 5.578 | 225.867 | 5.116 | 245.846 | 4.47 | 257.267 | 3.986 | 253.617 | -22.218 | 890.133 | 57.643 | 4.0204
2019-01-30 04:15:00 | 5.881 | 224.467 | 5.328 | 237.139 | 4.447 | 249.633 | 3.923 | 254.6 | -22.714 | 889.783 | 58.784 | 4.262
2019-01-30 04:30:00 | 5.872 | 216.233 | 6.127 | 229.115 | 5.258 | 238.667 | 4.525 | 237.8 | -22.948 | 889.792 | 59.701 | 7.5718
2019-01-30 04:45:00 | 5.535 | 217.233 | 5.126 | 223.943 | 4.605 | 233.6 | 3.937 | 234.567 | -22.648 | 889.9 | 60.139 | 4.5519
2019-01-30 05:00:00 | 6.279 | 215.9 | 4.351 | 220.776 | 3.938 | 228.367 | 3.627 | 225.4 | -22.898 | 889.817 | 59.744 | 2.956
2019-01-30 05:15:00 | 6.875 | 217.367 | 6.16 | 220.545 | 4.897 | 224.5 | 4.009 | 220.833 | -22.848 | 890.217 | 59.701 | 6.0675
2019-01-30 05:30:00 | 6.87 | 214.533 | 7.504 | 213.413 | 6.313 | 218.4 | 5.038 | 215.667 | -22.898 | 889.675 | 59.744 | 8.9041
2019-01-30 05:45:00 | 6.159 | 221.267 | 6.818 | 219.567 | 5.637 | 227.3 | 4.559 | 226.933 | -22.531 | 889.875 | 59.211 | 7.4908
2019-01-30 06:00:00 | 6.03 | 221.113 | 5.459 | 223.431 | 4.809 | 228.5 | 4.197 | 228.033 | -22.489 | 890.308 | 58.571 | 5.8508
2019-01-30 06:15:00 | 6.429 | 214.607 | 5.782 | 218.608 | 4.772 | 223.667 | 4.08 | 224.067 | -22.61 | 889.992 | 58.261 | 5.9879
2019-01-30 06:30:00 | 6.395 | 216.767 | 6.714 | 216.96 | 5.541 | 224.667 | 4.5 | 223.933 | -22.814 | 889.758 | 59.115 | 6.8833
2019-01-30 06:45:00 | 6.673 | 216.367 | 6.072 | 210.592 | 5.967 | 216.233 | 5.285 | 214.567 | -22.664 | 890.083 | 60.224 | 6.7866
2019-01-30 07:00:00 | 6.497 | 216.467 | 6.201 | 203.992 | 5.607 | 209.9 | 4.965 | 207 | -22.848 | 889.942 | 60.533 | 7.4702
2019-01-30 07:15:00 | 6.856 | 216.147 | 5.992 | 206.651 | 5.636 | 206.967 | 5.551 | 205.8 | -22.489 | 890.05 | 61.035 | 8.7627
2019-01-30 07:30:00 | 6.631 | 214.447 | 6.089 | 209.671 | 5.666 | 209.667 | 4.978 | 202.933 | -22.281 | 890.175 | 60.715 | 7.2947
2019-01-30 07:45:00 | 6.353 | 217.267 | 6.251 | 207.004 | 6.059 | 209.333 | 6.013 | 206.033 | -22.427 | 889.733 | 60.587 | 8.5574
2019-01-30 08:00:00 | 5.617 | 212.767 | 6.554 | 204.581 | 6.315 | 206.567 | 5.816 | 200.933 | -22.564 | 889.775 | 60.96 | 8.5097
2019-01-30 08:15:00 | 4.505 | 208.607 | 6.782 | 203.078 | 6.027 | 203.267 | 5.938 | 195.6 | -22.539 | 890.442 | 60.821 | 8.7734
2019-01-30 08:30:00 | 5.692 | 214.467 | 7.026 | 200.338 | 6.696 | 202 | 6.574 | 194.733 | -22.598 | 889.792 | 61.707 | 6.9252
2019-01-30 08:45:00 | 6.215 | 215.713 | 6.802 | 203.251 | 6.214 | 204.233 | 6.277 | 196.567 | -22.385 | 890.05 | 60.085 | 6.8754
2019-01-30 09:00:00 | 6.422 | 215.053 | 6.088 | 207.244 | 5.845 | 204.5 | 5.801 | 195.167 | -22.364 | 890.008 | 60.309 | 6.2104
2019-01-30 09:15:00 | 5.984 | 213.5 | 6.644 | 206.596 | 5.455 | 206.733 | 5.442 | 195.6 | -21.906 | 889.533 | 59.189 | 6.1905
2019-01-30 09:30:00 | 5.049 | 210.593 | 6.582 | 202.561 | 5.831 | 203.933 | 5.319 | 195.067 | -21.323 | 890.075 | 57.643 | 5.8515
2019-01-30 09:45:00 | 5.443 | 215.2 | 5.781 | 204.322 | 5.981 | 205.567 | 5.283 | 196.033 | -20.177 | 889.933 | 56.213 | 5.438
2019-01-30 10:00:00 | 4.142 | 212.04 | 6.355 | 202.605 | 5.88 | 199.467 | 5.104 | 190.4 | -18.935 | 889.733 | 53.824 | 4.9619
2019-01-30 10:15:00 | 3.914 | 213.14 | 5.506 | 206.147 | 5.676 | 201.133 | 4.84 | 192.2 | -17.548 | 890.075 | 50.133 | 5.2532
2019-01-30 10:30:00 | 3.099 | 204.987 | 3.97 | 199.654 | 4.541 | 197.3 | 4.294 | 188 | -16.149 | 889.942 | 46.517 | 2.9837
2019-01-30 10:45:00 | 3.163 | 206.68 | 3.094 | 199.768 | 3.168 | 199.567 | 3.743 | 189 | -14.87 | 890.017 | 40.928 | 2.666
2019-01-30 11:00:00 | 2.856 | 192.107 | 2.987 | 189.97 | 2.958 | 191.9 | 3.03 | 187.467 | -13.428 | 889.783 | 36.699 | 1.6947
2019-01-30 11:15:00 | 2.929 | 182.9 | 3.016 | 178.345 | 3.1 | 184.2 | 3.234 | 181 | -13.672 | 889.95 | 32.635 | 1.2279
2019-01-30 11:30:00 | 2.39 | 164.707 | 2.396 | 166.31 | 2.572 | 177.467 | 2.741 | 177.867 | -13.04 | 889.9 | 30.48 | 0.32899
2019-01-30 11:45:00 | 2.489 | 167.133 | 2.814 | 166.89 | 2.764 | 169.467 | 2.737 | 163.4 | -12.67 | 889.633 | 28.043 | 0.07461
2019-01-30 12:00:00 | 1.297 | 139.04 | 1.7 | 154.889 | 1.762 | 167.567 | 1.898 | 153.767 | -12.47 | 889.9 | 26.363 | 0.12506
2019-01-30 12:15:00 | 1.936 | 141.087 | 1.773 | 140.412 | 2.12 | 142.3 | 2.372 | 142.267 | -12.24 | 889.767 | 25.355 | 0.33681
2019-01-30 12:30:00 | 2.25 | 137.093 | 2.16 | 121.611 | 2.492 | 124 | 2.784 | 116.533 | -12.42 | 889.683 | 23.008 | 0.34534
2019-01-30 12:45:00 | 2.4 | 93.398 | 2.647 | 90.56 | 2.72 | 100.167 | 2.711 | 101.467 | -12.67 | 889.75 | 23.563 | 0.21957
2019-01-30 13:00:00 | 1.359 | 104.04 | 1.128 | 111.398 | 1.454 | 127.4 | 2.039 | 119.133 | -12.386 | 889.667 | 24.219 | 0.094505
2019-01-30 13:15:00 | 3 | 107.947 | 2.874 | 100.001 | 2.881 | 106.267 | 2.84 | 108.433 | -12.078 | 889.617 | 22.24 | 0.55282
2019-01-30 13:30:00 | 3.494 | 120.853 | 3.368 | 120.269 | 3.402 | 122.933 | 3.689 | 120 | -12.27 | 890.067 | 21.477 | 1.6364
2019-01-30 13:45:00 | 3.404 | 106.447 | 3.624 | 93.75 | 3.482 | 101.333 | 3.778 | 98.133 | -12.203 | 889.633 | 21.056 | 1.7608
2019-01-30 14:00:00 | 2.979 | 125.203 | 3.066 | 118.918 | 3.141 | 125.033 | 3.363 | 121.867 | -12.036 | 889.8 | 21.355 | 1.2271
2019-01-30 14:15:00 | 3.306 | 109.033 | 3.717 | 101.286 | 4.072 | 106.133 | 4.194 | 104.833 | -11.311 | 889.75 | 22.64 | 2.7961
2019-01-30 14:30:00 | 4.158 | 122.403 | 4.232 | 113.639 | 4.331 | 118.167 | 4.509 | 113.667 | -11.686 | 889.883 | 21.872 | 4.333
2019-01-30 14:45:00 | 3.642 | 103.69 | 3.844 | 99.798 | 3.836 | 100.933 | 4.36 | 94.867 | -11.745 | 889.75 | 21.493 | 2.6042
2019-01-30 15:00:00 | 3.404 | 91.815 | 3.192 | 80.694 | 3.335 | 86.3 | 3.628 | 81.633 | -11.478 | 889.867 | 21.605 | 2.4792
2019-01-30 15:15:00 | 3.381 | 112.887 | 3.478 | 107.22 | 3.788 | 109.733 | 4.28 | 101.5 | -11.361 | 889.917 | 21.173 | 3.3148
2019-01-30 15:30:00 | 2.6 | 104.108 | 2.604 | 92.393 | 2.684 | 97.733 | 3.08 | 92 | -11.295 | 889.933 | 21.067 | 3.1542
2019-01-30 15:45:00 | 3.369 | 84.463 | 3.52 | 80.003 | 3.793 | 87.033 | 4.105 | 85.667 | -10.966 | 889.7 | 20.589 | 2.708
2019-01-30 16:00:00 | 3.364 | 124.477 | 3.022 | 123.9 | 2.575 | 127.833 | 2.774 | 125.867 | -10.966 | 889.7 | 20.317 | 1.7821
2019-01-30 16:15:00 | 3.425 | 115.673 | 3.769 | 110.959 | 3.846 | 116.2 | 4.02 | 113.033 | -10.891 | 889.233 | 20.384 | 2.4493
2019-01-30 16:30:00 | 2.964 | 94.367 | 2.883 | 85.146 | 3.366 | 87.233 | 3.56 | 82.5 | -11.059 | 889.483 | 20.523 | 1.8276
2019-01-30 16:45:00 | 3.956 | 75.448 | 4.032 | 66.928 | 4.033 | 73.1 | 4.113 | 71.267 | -10.928 | 889.95 | 21.989 | 1.564
2019-01-30 17:00:00 | 3.939 | 70.84 | 4.049 | 63.777 | 4.204 | 68.167 | 4.362 | 67 | -11.022 | 889.367 | 22.256 | 2.0336
2019-01-30 17:15:00 | 3.73 | 107.497 | 3.833 | 106.346 | 3.867 | 111.433 | 3.984 | 107.767 | -10.928 | 890.033 | 21.648 | 4.0396
2019-01-30 17:30:00 | 4.66 | 76.363 | 4.626 | 69.538 | 4.615 | 74.167 | 4.703 | 71.167 | -10.947 | 889.883 | 22.555 | 6.442
2019-01-30 17:45:00 | 4.129 | 78.918 | 4.241 | 73.153 | 4.283 | 82.6 | 4.37 | 78.667 | -11.261 | 889.55 | 23.237 | 7.0403
2019-01-30 18:00:00 | 4.74 | 82.467 | 4.74 | 76.751 | 4.965 | 80.967 | 5.127 | 77.4 | -11.378 | 889.883 | 24.005 | 9.0739
2019-01-30 18:15:00 | 4.504 | 77.192 | 4.714 | 72.252 | 5.003 | 77.2 | 5.39 | 72.867 | -12.12 | 889.7 | 25.051 | 10.608
2019-01-30 18:30:00 | 4.586 | 80.04 | 4.846 | 76.224 | 4.726 | 84 | 4.754 | 79.333 | -12.145 | 889.967 | 25.931 | 11.6171
2019-01-30 18:45:00 | 4.568 | 82.9 | 4.813 | 80.752 | 4.58 | 87.733 | 4.373 | 84.367 | -12.553 | 889.767 | 26.885 | 14.5645
2019-01-30 19:00:00 | 4.992 | 84.23 | 5.542 | 79.074 | 5.475 | 85.833 | 5.437 | 80.5 | -13.126 | 889.55 | 27.797 | 13.4503
2019-01-30 19:15:00 | 3.977 | 79.397 | 4.45 | 73.374 | 4.673 | 79.9 | 4.912 | 75.667 | -13.447 | 889.417 | 28.411 | 12.9614
2019-01-30 19:30:00 | 3.744 | 82.467 | 4.603 | 78.294 | 4.789 | 83.5 | 5.129 | 80.333 | -13.883 | 889.333 | 28.869 | 10.9754
2019-01-30 19:45:00 | 3.883 | 99.367 | 3.846 | 94.507 | 3.231 | 102.1 | 3.235 | 96.667 | -13.933 | 889.967 | 29.051 | 11.8501
2019-01-30 20:00:00 | 3.712 | 111.033 | 4.341 | 100.931 | 3.965 | 107.467 | 3.933 | 99.733 | -14.578 | 889.633 | 29.733 | 10.8937
2019-01-30 20:15:00 | 3.582 | 111.767 | 4.228 | 102.581 | 4.107 | 106.867 | 4.141 | 104.4 | -14.891 | 889.65 | 30.32 | 10.9669
2019-01-30 20:30:00 | 4.226 | 113.607 | 4.531 | 103.546 | 4.49 | 108.933 | 4.646 | 102.3 | -14.766 | 889.867 | 30.875 | 7.6137
2019-01-30 20:45:00 | 3.186 | 121.62 | 3.683 | 112.882 | 3.594 | 119.867 | 3.988 | 115.767 | -14.862 | 889.733 | 31.52 | 6.5173
2019-01-30 21:00:00 | 3.048 | 133.293 | 3.592 | 112.102 | 3.474 | 119.2 | 3.711 | 117.067 | -15.841 | 890.133 | 32.448 | 4.4041
2019-01-30 21:15:00 | 2.701 | 144 | 3.556 | 113.844 | 3.494 | 120.4 | 3.774 | 117.733 | -15.948 | 889.75 | 33.381 | 3.6708
2019-01-30 21:30:00 | 2.387 | 142.513 | 3.207 | 109.973 | 3.382 | 115.967 | 3.522 | 112.033 | -16.083 | 890.033 | 34.219 | 2.2738
2019-01-30 21:45:00 | 2.524 | 157.1 | 3.004 | 115.753 | 3.483 | 115.967 | 3.786 | 110.1 | -15.708 | 890.133 | 34.347 | 1.3046
2019-01-30 22:00:00 | 2.636 | 153.367 | 3.387 | 112.534 | 4.152 | 114.767 | 4.558 | 109.267 | -15.931 | 889.717 | 33.893 | 3.1222
2019-01-30 22:15:00 | 2.853 | 163.993 | 3.252 | 126.589 | 3.293 | 124.967 | 3.681 | 122.9 | -15.905 | 890.017 | 34.448 | 3.1507
2019-01-30 22:30:00 | 2.487 | 161.967 | 2.693 | 118.744 | 2.888 | 116 | 3.469 | 114.533 | -15.608 | 889.983 | 35.557 | 1.8951
2019-01-30 22:45:00 | 2.478 | 157.633 | 2.932 | 120.534 | 3.267 | 117.467 | 3.714 | 116.1 | -15.608 | 889.5 | 36.827 | 1.4915
2019-01-30 23:00:00 | 2.4 | 190.913 | 1.887 | 130.12 | 2.705 | 119.633 | 3.164 | 112.667 | -16.363 | 889.8 | 37.403 | 1.1767
2019-01-30 23:15:00 | 3.735 | 217.78 | 2.329 | 188.937 | 2.13 | 167.667 | 2.592 | 138.967 | -15.96 | 889.883 | 40.853 | 0.53364
2019-01-30 23:30:00 | 0.696 | 223.4 | 0.034 | 176.942 | 0.539 | 141.3 | 2.154 | 124.833 | -15.174 | 889.6 | 39.195 | 0.33752
2019-01-30 23:45:00 | 2.242 | 227.8 | 0.314 | 127.201 | 1.524 | 126.967 | 2.052 | 121.867 | -15.391 | 890.133 | 39.424 | 0.34391