## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-31 00:00:00 | 1.929 | 231.167 | 0 | 140.454 | 0.14 | 121.2 | 1.683 | 115.1 | -15.424 | 889.758 | 40.485 | 0.33965
2019-01-31 00:15:00 | 1.414 | 228.367 | 0 | 140.517 | 0.143 | 103.933 | 1.733 | 101.833 | -15.374 | 889.55 | 40.368 | 0.33397
2019-01-31 00:30:00 | 0.13 | 228.353 | 0 | 140.458 | 0.569 | 103.9 | 1.981 | 94.833 | -15.729 | 890.3 | 41.125 | 0.34249
2019-01-31 00:45:00 | 0.821 | 207.667 | 0.296 | 78.861 | 1.372 | 74.967 | 2.419 | 72.1 | -16.981 | 890.133 | 42.869 | 0.31478
2019-01-31 01:00:00 | 2.19 | 162.733 | 1.746 | 120.552 | 1.65 | 126.4 | 2.092 | 113.1 | -17.014 | 889.875 | 42.869 | 0.065372
2019-01-31 01:15:00 | 1.443 | 140.527 | 1.735 | 125.531 | 1.803 | 130.733 | 2.206 | 129.967 | -15.846 | 889.442 | 41.355 | 0.31336
2019-01-31 01:30:00 | 2.503 | 161.04 | 2.183 | 134.665 | 1.916 | 133.067 | 1.923 | 123.8 | -17.055 | 889.717 | 41.931 | 0.35955
2019-01-31 01:45:00 | 2.162 | 156.973 | 1.279 | 115.497 | 0.997 | 117.4 | 1.452 | 110 | -17.431 | 889.817 | 44.139 | 0.30057
2019-01-31 02:00:00 | 2.793 | 164.2 | 2.301 | 123.867 | 2.024 | 107.267 | 2.912 | 91.433 | -19.073 | 889.958 | 44.747 | 1.0118
2019-01-31 02:15:00 | 2.197 | 140.627 | 2.87 | 102.978 | 2.509 | 107.1 | 2.866 | 105.367 | -16.964 | 889.717 | 44.971 | 0.93582
2019-01-31 02:30:00 | 1.299 | 135.333 | 2.147 | 100.257 | 2.241 | 110.933 | 2.287 | 115.367 | -16.36 | 890.042 | 43.381 | 0.11937
2019-01-31 02:45:00 | 2.401 | 83.127 | 3.393 | 69.765 | 3.468 | 75.833 | 3.61 | 77.067 | -15.796 | 890.017 | 41.152 | 1.3522
2019-01-31 03:00:00 | 3.143 | 130.867 | 3.012 | 113.313 | 2.292 | 101.467 | 3.317 | 80.067 | -17.235 | 890.142 | 42.827 | 1.5604
2019-01-31 03:15:00 | 3.592 | 105.9 | 3.428 | 84.992 | 2.592 | 90.333 | 2.919 | 79.4 | -16.848 | 890.058 | 40.597 | 1.8432
2019-01-31 03:30:00 | 4.249 | 99.12 | 3.724 | 91.294 | 2.332 | 94.4 | 2.527 | 94.2 | -17.481 | 889.467 | 41.589 | 3.6459
2019-01-31 03:45:00 | 4.56 | 99.79 | 3.862 | 92.232 | 2.333 | 98.9 | 2.527 | 97.6 | -18.302 | 889.55 | 41.248 | 6.1983
2019-01-31 04:00:00 | 5.027 | 113.88 | 5.204 | 107.653 | 4.561 | 109.867 | 4.088 | 104.633 | -17.96 | 889.733 | 43.595 | 9.226
2019-01-31 04:15:00 | 4.279 | 127.54 | 4.671 | 109.11 | 4.121 | 110.4 | 3.954 | 105 | -18.089 | 889.967 | 41.92 | 9.5834
2019-01-31 04:30:00 | 3.36 | 204.667 | 2.34 | 135.698 | 2.67 | 124.033 | 3.058 | 115.6 | -19.323 | 890.108 | 44.288 | 6.8413
2019-01-31 04:45:00 | 1.553 | 185.533 | 1.435 | 133.831 | 2.044 | 112.533 | 2.519 | 89.4 | -18.789 | 889.742 | 45.493 | 2.5552
2019-01-31 05:00:00 | 2.718 | 187.68 | 2.443 | 151.936 | 3.775 | 119.1 | 4.736 | 107 | -18.714 | 889.917 | 44.437 | 5.5374
2019-01-31 05:15:00 | 3.415 | 218.047 | 2.752 | 196.024 | 2.704 | 180.2 | 2.943 | 155.767 | -18.094 | 889.858 | 45.397 | 4.2726
2019-01-31 05:30:00 | 2.066 | 132.28 | 2.938 | 112.172 | 3.31 | 111.033 | 4.254 | 104.9 | -17.098 | 889.967 | 43.136 | 4.4233
2019-01-31 05:45:00 | 2.967 | 144.217 | 4.919 | 109.696 | 4.993 | 109.033 | 4.666 | 99.733 | -18.831 | 890.2 | 40.347 | 19.7879
2019-01-31 06:00:00 | 4.098 | 128.853 | 5.685 | 108.071 | 5.276 | 108.467 | 5.198 | 103.533 | -17.098 | 889.9 | 35.888 | 33.796
2019-01-31 06:15:00 | 3.207 | 185.473 | 3.167 | 142.752 | 3.427 | 132.233 | 4.796 | 116.533 | -18.323 | 889.65 | 36.459 | 35.3272
2019-01-31 06:30:00 | 3.663 | 161.34 | 4.143 | 141.645 | 3.58 | 139.7 | 3.746 | 128.167 | -17.531 | 889.8 | 37.541 | 12.1272
2019-01-31 06:45:00 | 3.101 | 180.547 | 3.404 | 148.997 | 3.751 | 149.333 | 3.537 | 136.367 | -18.56 | 889.933 | 38.843 | 8.06
2019-01-31 07:00:00 | 3.42 | 235.433 | 1.2 | 196.702 | 0.919 | 174.467 | 1.518 | 133.7 | -18.673 | 889.742 | 41.504 | 2.2745
2019-01-31 07:15:00 | 2.279 | 234.4 | 0.45 | 155.737 | 1.876 | 132.033 | 2.697 | 119.5 | -19.223 | 889.575 | 43.285 | 0.29915
2019-01-31 07:30:00 | 2.049 | 276.827 | 0.037 | 58.727 | 1.08 | 67.05 | 2.261 | 73.833 | -18.268 | 889.983 | 42.699 | 0.34889
2019-01-31 07:45:00 | 1.324 | 317.267 | 1.57 | 97.788 | 1.686 | 60.519 | 2.64 | 68.238 | -16.976 | 890.033 | 38.195 | 0.37518
2019-01-31 08:00:00 | 2.552 | 42.267 | 3.281 | 43.04 | 2.557 | 55.233 | 2.768 | 58 | -17.364 | 889.55 | 38.677 | 0.20109
2019-01-31 08:15:00 | 4.257 | 65.567 | 3.985 | 68.74 | 3.868 | 81.567 | 3.142 | 84.667 | -16.931 | 889.867 | 36.592 | 3.1109
2019-01-31 08:30:00 | 3.192 | 58.448 | 3.782 | 64.559 | 3.455 | 84.3 | 3.29 | 96.6 | -18.16 | 889.883 | 36 | 8.1147
2019-01-31 08:45:00 | 2.548 | 217.553 | 1.863 | 198.387 | 1.695 | 192.733 | 1.364 | 173.133 | -19.698 | 889.825 | 40.56 | 0.96424
2019-01-31 09:00:00 | 1.513 | 242.113 | 0 | 206.453 | 0 | 168.833 | 0 | 131.1 | -19.773 | 890.033 | 41.995 | 0.35528
2019-01-31 09:15:00 | 1.942 | 280.18 | 0 | 206.491 | 0 | 81.2 | 0.631 | 38.767 | -19.968 | 890.142 | 42.848 | 0.34391
2019-01-31 09:30:00 | 0.339 | 265.747 | 0 | 83.269 | 0.609 | 71.292 | 2.11 | 58.633 | -17.948 | 890.158 | 40.827 | 0.26504
2019-01-31 09:45:00 | 1.533 | 250.7 | 0 | 83.266 | 0.023 | 69 | 1.072 | 63.867 | -16.914 | 889.733 | 37.675 | 0.1208
2019-01-31 10:00:00 | 2.368 | 239.413 | 0.699 | 240.517 | 0.336 | 219.2 | 0.259 | 184.333 | -17.231 | 889.85 | 36.336 | 0.57414
2019-01-31 10:15:00 | 1.862 | 240.273 | 0 | 95.253 | 0 | 93 | 0.457 | 85.9 | -15.884 | 890.067 | 34.363 | 0.29702
2019-01-31 10:30:00 | 0.558 | 240.16 | 0 | 196.712 | 1.041 | 97.767 | 2.541 | 87.033 | -14.812 | 889.733 | 33.243 | 2.2745
2019-01-31 10:45:00 | 0.123 | 202.093 | 0.03 | 178.164 | 0.123 | 95.667 | 1.962 | 80.833 | -13.795 | 889.317 | 30.443 | 2.4088
2019-01-31 11:00:00 | 0.792 | 161.167 | 0.204 | 139.989 | 0.992 | 130.467 | 1.672 | 101.1 | -14.787 | 889.933 | 29.36 | 0.58764
2019-01-31 11:15:00 | 1.944 | 118.94 | 1.755 | 111.991 | 1.54 | 117.533 | 1.919 | 93.667 | -14.724 | 889.633 | 29.909 | 0.12293
2019-01-31 11:30:00 | 1.67 | 111.7 | 1.063 | 95.335 | 1.04 | 92.067 | 1.818 | 80.633 | -14.233 | 888.933 | 29.925 | 0.29986
2019-01-31 11:45:00 | 3.04 | 90.293 | 2.909 | 86.404 | 2.67 | 93.267 | 3.062 | 90.433 | -13.691 | 889.517 | 29.509 | 1.4837
2019-01-31 12:00:00 | 3.498 | 98.767 | 3.234 | 94.562 | 3.077 | 97.167 | 3.418 | 86.933 | -13.12 | 889.6 | 28.347 | 3.7369
2019-01-31 12:15:00 | 5.038 | 100.733 | 4.727 | 96.961 | 4.048 | 101.133 | 4.345 | 96.733 | -12.686 | 889.633 | 28.363 | 7.3728
2019-01-31 12:30:00 | 5.034 | 79.967 | 5.044 | 74.236 | 5.005 | 79.733 | 4.733 | 80.233 | -12.636 | 889.633 | 28.869 | 9.997
2019-01-31 12:45:00 | 4.851 | 85.605 | 4.929 | 78.62 | 5.017 | 82.6 | 5.082 | 75.9 | -12.078 | 889.867 | 28.272 | 12.7682
2019-01-31 13:00:00 | 5.765 | 85.767 | 5.856 | 77.92 | 5.518 | 83.133 | 5.555 | 81.467 | -11.345 | 889.95 | 27.184 | 17.1609
2019-01-31 13:15:00 | 6.109 | 89.028 | 6.044 | 87.308 | 5.823 | 89.8 | 5.612 | 86.567 | -11.095 | 889.65 | 26.587 | 21.4833
2019-01-31 13:30:00 | 5.803 | 89.42 | 5.846 | 86.209 | 5.554 | 90.433 | 5.883 | 83.467 | -10.554 | 889.833 | 26.192 | 23.0423
2019-01-31 13:45:00 | 6.286 | 81.073 | 6.345 | 77.251 | 6.301 | 83.367 | 6.495 | 78.433 | -9.891 | 889.667 | 25.189 | 21.6041
2019-01-31 14:00:00 | 6.547 | 71.617 | 6.557 | 68.781 | 6.712 | 73.867 | 6.709 | 73.967 | -9.849 | 890.133 | 25.456 | 29.5518
2019-01-31 14:15:00 | 6.622 | 71.793 | 6.87 | 69.059 | 6.922 | 74.533 | 7.173 | 72.267 | -9.141 | 889.867 | 24.741 | 29.4644
2019-01-31 14:30:00 | 6.862 | 78.19 | 6.86 | 75.097 | 6.863 | 79.733 | 6.865 | 74.333 | -8.824 | 889.617 | 23.573 | 32.9326
2019-01-31 14:45:00 | 7.595 | 71.953 | 7.778 | 66.892 | 7.885 | 71.133 | 7.965 | 67.267 | -9.124 | 889.75 | 22.736 | 33.6901
2019-01-31 15:00:00 | 6.992 | 76.2 | 7.225 | 69.966 | 7.246 | 74.8 | 7.255 | 72.567 | -8.654 | 889.633 | 22.123 | 36.5579
2019-01-31 15:15:00 | 6.581 | 77.017 | 6.909 | 71.504 | 7.122 | 79 | 7.206 | 75.133 | -8.408 | 889.667 | 21.093 | 32.8552
2019-01-31 15:30:00 | 6.745 | 79.05 | 7.088 | 74.323 | 7.054 | 79.9 | 7.262 | 75.4 | -8.437 | 889.2 | 20.656 | 34.2578
2019-01-31 15:45:00 | 7.281 | 71.605 | 7.436 | 65.592 | 7.705 | 72.1 | 8.013 | 69.167 | -8.271 | 889.617 | 20.248 | 34.6856
2019-01-31 16:00:00 | 5.949 | 72.93 | 6.264 | 66.014 | 6.304 | 69.667 | 6.385 | 65.6 | -8.134 | 890.017 | 20.992 | 28.7282
2019-01-31 16:15:00 | 6.431 | 63.96 | 6.213 | 57.318 | 6.234 | 64.2 | 6.394 | 62.633 | -8.25 | 890.1 | 21.803 | 23.4643
2019-01-31 16:30:00 | 6.083 | 71.325 | 6.112 | 62.785 | 6.442 | 69.333 | 6.839 | 66.067 | -8.25 | 889.7 | 21.509 | 23.9262
2019-01-31 16:45:00 | 6.154 | 70.803 | 6.021 | 66.476 | 6.036 | 71.567 | 6.272 | 68.267 | -7.639 | 889.467 | 20.781 | 25.2663
2019-01-31 17:00:00 | 6.392 | 71.515 | 6.348 | 67.171 | 6.572 | 71.533 | 6.761 | 68.433 | -7.99 | 889.233 | 20.869 | 24.0655
2019-01-31 17:15:00 | 6.181 | 67.703 | 6.373 | 62.931 | 6.573 | 69.167 | 6.813 | 67.367 | -8.438 | 889.583 | 20.547 | 22.6841
2019-01-31 17:30:00 | 6.3 | 75.157 | 6.449 | 69.859 | 6.392 | 76.467 | 6.965 | 74.033 | -8.33 | 889.367 | 20.056 | 24.2019
2019-01-31 17:45:00 | 5.285 | 72.233 | 5.348 | 68.775 | 5.393 | 73.933 | 5.649 | 70.867 | -8.551 | 889.083 | 20.579 | 21.3298
2019-01-31 18:00:00 | 4.978 | 71.157 | 4.931 | 67.142 | 5.09 | 74.667 | 5.227 | 71.067 | -8.591 | 889.633 | 21.291 | 16.2833
2019-01-31 18:15:00 | 4.987 | 73.227 | 5.264 | 69.606 | 5.313 | 74.9 | 5.558 | 71.6 | -9.308 | 889.417 | 22.56 | 13.7431
2019-01-31 18:30:00 | 5.139 | 69.787 | 5.535 | 67.531 | 5.452 | 74.9 | 5.522 | 72.533 | -9.754 | 890.233 | 22.587 | 18.7199
2019-01-31 18:45:00 | 4.691 | 75.967 | 5.301 | 71.845 | 5.602 | 77.467 | 5.985 | 75.333 | -10.499 | 890.25 | 22.795 | 20.2277
2019-01-31 19:00:00 | 4.433 | 71.368 | 4.792 | 68.437 | 5.164 | 75.9 | 5.576 | 73.767 | -10.778 | 889.85 | 22.683 | 18.7035
2019-01-31 19:15:00 | 4.374 | 66.342 | 4.911 | 68.203 | 5.146 | 77.2 | 5.44 | 76.567 | -11.495 | 890.3 | 22.667 | 15.2317
2019-01-31 19:30:00 | 4.012 | 74.487 | 4.643 | 77.556 | 4.308 | 86.467 | 4.373 | 84.233 | -11.932 | 889.933 | 24.165 | 11.5638
2019-01-31 19:45:00 | 3.257 | 75.867 | 3.698 | 81.618 | 3.223 | 90.333 | 2.824 | 89.5 | -12.436 | 889.85 | 25.147 | 6.0036
2019-01-31 20:00:00 | 1.687 | 46.05 | 2.702 | 61.051 | 2.81 | 71.1 | 2.974 | 70.167 | -12.986 | 889.25 | 26.475 | 1.5242
2019-01-31 20:15:00 | 2.156 | 37.382 | 2.974 | 60.697 | 3.062 | 71.4 | 3.425 | 67.8 | -12.92 | 889.65 | 27.989 | 0.24159
2019-01-31 20:30:00 | 0.183 | 44.125 | 2.389 | 63.916 | 2.889 | 74.667 | 2.963 | 75.033 | -13.468 | 889.667 | 28.469 | 0.27286
2019-01-31 20:45:00 | 0.166 | 152.097 | 1.283 | 82.977 | 3.019 | 83.133 | 3.344 | 83.833 | -13.412 | 889.7 | 28.464 | 0.76812
2019-01-31 21:00:00 | 2.613 | 244.367 | 0.723 | 207.984 | 0.117 | 154.033 | 1.38 | 104.833 | -14.049 | 889.75 | 29.152 | 0.26433
2019-01-31 21:15:00 | 2.707 | 245.333 | 1.315 | 219.425 | 0.06 | 178.033 | 0.615 | 93.833 | -14.049 | 889.95 | 29.317 | 0.21957
2019-01-31 21:30:00 | 3.74 | 240.533 | 2.679 | 223.135 | 1.929 | 211.8 | 1.192 | 192.233 | -14.266 | 888.933 | 28.624 | 0.33539
2019-01-31 21:45:00 | 3.741 | 218.033 | 2.534 | 191.926 | 2.462 | 178.233 | 2.566 | 156.533 | -14.136 | 884.467 | 28.464 | 0.33254
2019-01-31 22:00:00 | 4.352 | 232 | 2.83 | 220.847 | 1.981 | 201.2 | 2.064 | 168.1 | -14.25 | 888.1 | 27.803 | 0.33254
2019-01-31 22:15:00 | 3.855 | 238.78 | 2.059 | 226.734 | 0.701 | 214.7 | 0.457 | 183.667 | -14.443 | 878.4 | 27.883 | 0.30554
2019-01-31 22:30:00 | 4.181 | 240.233 | 1.71 | 218.878 | 0.813 | 188.1 | 1.559 | 151.533 | -14.343 | 878.533 | 28.309 | 0.31549
2019-01-31 22:45:00 | 4.556 | 237.84 | 1.739 | 231.932 | 0.277 | 211.8 | 0.588 | 142.233 | -14.751 | 871.067 | 27.771 | 0.31549
2019-01-31 23:00:00 | 4.287 | 249.947 | 1.926 | 260.083 | 0 | 233.483 | 0 | 120.133 | -15.506 | 862.967 | 30.021 | 0.31691
2019-01-31 23:15:00 | 4.314 | 253.307 | 3.135 | 290.435 | 2.154 | 312.033 | 1.459 | 320.133 | -15.916 | 861.5 | 31.208 | 0.31407
2019-01-31 23:30:00 | 2.974 | 254.973 | 2.708 | 307.222 | 2.418 | 343.767 | 1.964 | 349.8 | -16.179 | 862.1 | 32.501 | 0.35528
2019-01-31 23:45:00 | 2.095 | 282.84 | 2.4 | 338.206 | 2.411 | 5.277 | 3.074 | 21.733 | -14.302 | 861.5 | 29.971 | 0.34818