## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-01 00:00:00 | 2.15 | 306.68 | 1.829 | 270.344 | 2.003 | 17.056 | 2.203 | 38.233 | -14.498 | 861.5 | 29.149 | 0.22951
2019-02-01 00:15:00 | 1.87 | 307.467 | 0.574 | 190.085 | 1.056 | 26.266 | 1.942 | 47.533 | -15.106 | 861.667 | 29.581 | 0.23378
2019-02-01 00:30:00 | 1.834 | 317.267 | 0.08 | 337.029 | 0.84 | 48.267 | 2.253 | 68.067 | -15.239 | 861.767 | 30.283 | 0.27783
2019-02-01 00:45:00 | 1.292 | 328.462 | 0.88 | 42.778 | 1.668 | 65.688 | 3.15 | 72.967 | -14.864 | 861.917 | 30.432 | 0.13714
2019-02-01 01:00:00 | 1.288 | 231.908 | 0.604 | 38.594 | 1.704 | 68.965 | 3.32 | 74.467 | -14.739 | 861.7 | 30.347 | 0.59119
2019-02-01 01:15:00 | 0 | 276.8 | 0.063 | 90.641 | 0.925 | 93.8 | 2.003 | 86.067 | -15.406 | 861.883 | 31.541 | 0.96708
2019-02-01 01:30:00 | 0 | 258.8 | 0.39 | 115.525 | 1.709 | 107.708 | 2.489 | 97.367 | -15.373 | 861.967 | 32.507 | 0.64946
2019-02-01 01:45:00 | 0.721 | 231.333 | 0.123 | 128.077 | 0.9 | 126.167 | 1.717 | 98.1 | -14.973 | 861.867 | 33.029 | 0.29915
2019-02-01 02:00:00 | 2.259 | 268.093 | 0 | 128.315 | 0 | 111.1 | 1.027 | 74.433 | -14.718 | 861.7 | 31.947 | 0.3297
2019-02-01 02:15:00 | 3.196 | 254.76 | 0.858 | 231.318 | 0 | 111.142 | 0.192 | 71 | -14.76 | 861.833 | 31.125 | 0.33681
2019-02-01 02:30:00 | 2.683 | 243.8 | 0.366 | 231.132 | 0 | 111 | 1.659 | 85.5 | -14.698 | 862.183 | 31.995 | 0.32828
2019-02-01 02:45:00 | 4.981 | 246.867 | 3.315 | 241.925 | 1.847 | 229.667 | 0.322 | 87 | -15.656 | 861.833 | 32.272 | 0.33112
2019-02-01 03:00:00 | 5.007 | 247.74 | 4.483 | 256.921 | 3.377 | 257.733 | 2.425 | 237.15 | -16.119 | 861.833 | 33.411 | 0.3496
2019-02-01 03:15:00 | 4.699 | 254.14 | 4.644 | 267.222 | 3.948 | 267.9 | 3.353 | 263.5 | -16.322 | 861.567 | 34.227 | 0.37376
2019-02-01 03:30:00 | 4.402 | 252.967 | 4.099 | 263.495 | 3.283 | 265.733 | 2.696 | 261.567 | -15.806 | 861.667 | 34.187 | 1.6336
2019-02-01 03:45:00 | 4.247 | 249.547 | 3.269 | 265.744 | 2.253 | 275.433 | 1.57 | 270.567 | -15.556 | 862.05 | 34.04 | 0.32118
2019-02-01 04:00:00 | 4.128 | 245.467 | 4.311 | 263.772 | 3.352 | 270.8 | 2.85 | 272.2 | -15.606 | 861.783 | 34.136 | 0.12222
2019-02-01 04:15:00 | 3.86 | 257.587 | 3.421 | 282.69 | 3.029 | 292.433 | 3.021 | 291.533 | -15.406 | 861.633 | 34.064 | 0.079584
2019-02-01 04:30:00 | 3.774 | 250.427 | 2.728 | 280.028 | 2.498 | 291.867 | 2.483 | 292.833 | -15.256 | 861.817 | 33.397 | 0.22028
2019-02-01 04:45:00 | 4.304 | 233.533 | 3.729 | 254.877 | 2.735 | 269.067 | 2.612 | 279.367 | -15.056 | 861.6 | 33.333 | 0.35031
2019-02-01 05:00:00 | 3.74 | 236.233 | 3.35 | 258.11 | 2.134 | 265.067 | 2.115 | 276.467 | -15.056 | 861.583 | 33.491 | 0.33965
2019-02-01 05:15:00 | 3.334 | 242.613 | 2.6 | 265.167 | 1.504 | 275.933 | 1.467 | 275.833 | -14.781 | 862 | 33.405 | 0.33539
2019-02-01 05:30:00 | 3.909 | 227.8 | 3.434 | 249.176 | 2.194 | 269.933 | 1.707 | 276.467 | -14.906 | 861.467 | 33.093 | 0.33965
2019-02-01 05:45:00 | 3.67 | 232.693 | 3.196 | 256.905 | 1.957 | 274.4 | 1.502 | 276.133 | -14.656 | 861.567 | 33.032 | 0.34534
2019-02-01 06:00:00 | 3.434 | 241.82 | 3.348 | 265.726 | 2.595 | 284.4 | 2.245 | 281.433 | -14.823 | 861.567 | 33.195 | 0.23804
2019-02-01 06:15:00 | 3.214 | 250.253 | 2.927 | 268.165 | 2.34 | 281.6 | 2.223 | 280.867 | -14.302 | 861.783 | 32.341 | 0.27002
2019-02-01 06:30:00 | 3.345 | 258.94 | 3.234 | 271.796 | 2.568 | 280.833 | 2.353 | 285.067 | -13.927 | 861.533 | 31.363 | 0.32331
2019-02-01 06:45:00 | 3.771 | 274.573 | 3.959 | 283.679 | 3.574 | 293.933 | 3.254 | 292.733 | -13.519 | 861.883 | 29.731 | 0.65514
2019-02-01 07:00:00 | 3.474 | 285.867 | 4.112 | 293.293 | 4.053 | 301.867 | 4.083 | 302.233 | -13.594 | 861.567 | 30.141 | 1.7594
2019-02-01 07:15:00 | 3.101 | 270.973 | 3.453 | 285.734 | 3.644 | 295.633 | 3.879 | 299.133 | -14.081 | 861.4 | 30.973 | 2.1424
2019-02-01 07:30:00 | 3.69 | 272.227 | 3.818 | 277.384 | 3.394 | 285 | 3.582 | 286.867 | -13.685 | 861.783 | 31.211 | 2.4841
2019-02-01 07:45:00 | 3.887 | 262.1 | 4.393 | 270.397 | 3.906 | 277.967 | 3.812 | 280.433 | -14.048 | 861.583 | 31.717 | 3.1734
2019-02-01 08:00:00 | 3.278 | 272.493 | 4.228 | 281.989 | 4.053 | 289.167 | 4.091 | 289.7 | -13.702 | 861.85 | 31.888 | 3.9841
2019-02-01 08:15:00 | 2.798 | 255.673 | 3.461 | 270.586 | 3.431 | 279.5 | 3.468 | 280.9 | -14.048 | 861.417 | 32.592 | 2.8238
2019-02-01 08:30:00 | 2.897 | 269.573 | 3.799 | 280.61 | 3.668 | 284.333 | 3.695 | 281.8 | -14.131 | 861.35 | 33.421 | 2.9012
2019-02-01 08:45:00 | 2.801 | 258.54 | 3.248 | 276.902 | 3.391 | 283.067 | 3.476 | 282.633 | -13.948 | 861.7 | 33.459 | 3.13
2019-02-01 09:00:00 | 3.5 | 265.513 | 3.659 | 271.381 | 3.595 | 278.533 | 3.82 | 280.2 | -13.864 | 861.767 | 33.731 | 2.7193
2019-02-01 09:15:00 | 3.164 | 257.647 | 3.098 | 261.429 | 3.178 | 266.067 | 3.61 | 262.333 | -13.538 | 861.7 | 32.68 | 1.8233
2019-02-01 09:30:00 | 3.339 | 242.42 | 3.467 | 250.154 | 3.383 | 256.967 | 3.513 | 257.067 | -13.408 | 861.75 | 32.059 | 3.2437
2019-02-01 09:45:00 | 3.387 | 250.433 | 3.763 | 250.356 | 3.911 | 255.933 | 4.212 | 253.2 | -13.152 | 861.683 | 31.797 | 4.549
2019-02-01 10:00:00 | 2.873 | 251.807 | 3.13 | 251.908 | 3.285 | 258.033 | 3.577 | 255.933 | -12.419 | 861.667 | 31.152 | 3.5351
2019-02-01 10:15:00 | 2.36 | 254.507 | 3.355 | 256.616 | 3.64 | 261.533 | 3.83 | 254.217 | -12.011 | 861.567 | 30.811 | 2.8401
2019-02-01 10:30:00 | 2.046 | 258.32 | 2.965 | 253.356 | 3.586 | 255.833 | 3.874 | 251.017 | -11.444 | 861.9 | 30.387 | 2.6113
2019-02-01 10:45:00 | 3.027 | 269.427 | 3.203 | 264.023 | 3.569 | 264.6 | 3.959 | 257.15 | -10.756 | 861.667 | 28.608 | 2.7449
2019-02-01 11:00:00 | 2.645 | 252.267 | 2.729 | 252.595 | 2.829 | 255.6 | 3.233 | 247.65 | -10.381 | 861.533 | 27.155 | 1.2556
2019-02-01 11:15:00 | 3.5 | 268.64 | 3.437 | 270.021 | 3.521 | 270.2 | 3.895 | 264.7 | -9.781 | 861.883 | 28.12 | 2.4671
2019-02-01 11:30:00 | 4.452 | 280.293 | 4.629 | 278.092 | 4.712 | 281.367 | 5.115 | 276.767 | -9.344 | 861.767 | 26.256 | 7.4638
2019-02-01 11:45:00 | 4.874 | 291.2 | 5.199 | 287.904 | 5.2 | 291.533 | 5.533 | 287.5 | -9.223 | 861.867 | 25.003 | 9.2516
2019-02-01 12:00:00 | 4.986 | 293.147 | 5.103 | 286.906 | 5.123 | 287.167 | 5.332 | 281.933 | -8.819 | 861.75 | 24.987 | 9.4115
2019-02-01 12:15:00 | 4.124 | 274.067 | 4.171 | 276.076 | 4.148 | 278.533 | 4.538 | 271.933 | -8.304 | 862.2 | 26.672 | 5.8366
2019-02-01 12:30:00 | 3.293 | 272.2 | 3.487 | 273.405 | 3.564 | 277.267 | 3.878 | 270.5 | -7.677 | 871.917 | 27.011 | 4.7544
2019-02-01 12:45:00 | 3.883 | 280.133 | 3.97 | 280.578 | 3.884 | 287.567 | 4.102 | 284.8 | -7.053 | 882.483 | 24.523 | 5.7236
2019-02-01 13:00:00 | 3.907 | 301.773 | 4.04 | 295.224 | 4.129 | 298.667 | 4.368 | 291.667 | -7.252 | 885.05 | 24.195 | 6.0995
2019-02-01 13:15:00 | 3.707 | 310.12 | 3.758 | 301.088 | 3.839 | 303.9 | 3.974 | 298.4 | -7.32 | 885.7 | 23.64 | 6.2651
2019-02-01 13:30:00 | 5.317 | 309.8 | 5.336 | 303.078 | 5.383 | 307.633 | 5.557 | 303.033 | -7.324 | 886.3 | 24.144 | 11.7123
2019-02-01 13:45:00 | 4.711 | 305.333 | 5.018 | 299.796 | 5.167 | 304.933 | 5.368 | 301 | -7.346 | 865.183 | 24.792 | 9.2423
2019-02-01 14:00:00 | 5.084 | 317.84 | 5.124 | 312.818 | 5.251 | 318.333 | 5.401 | 317.4 | -7.054 | 881.367 | 26.152 | 9.2779
2019-02-01 14:15:00 | 6.606 | 326.573 | 6.962 | 319.473 | 6.995 | 324.3 | 7.14 | 322.333 | -6.97 | 884.25 | 28.637 | 25.6728
2019-02-01 14:30:00 | 7.525 | 317.64 | 7.949 | 313.957 | 8.234 | 318.833 | 8.444 | 318.1 | -6.488 | 888.1 | 31.867 | 31.1939
2019-02-01 14:45:00 | 7.233 | 309.667 | 7.277 | 307.11 | 7.549 | 311.067 | 7.786 | 309.633 | -7.289 | 889.717 | 35.744 | 34.0113
2019-02-01 15:00:00 | 7.171 | 308.36 | 7.259 | 304.145 | 7.268 | 307.833 | 7.562 | 302.5 | -6.934 | 884.15 | 41.827 | 33.2275
2019-02-01 15:15:00 | 4.655 | 300.533 | 4.871 | 300.341 | 4.994 | 306.633 | 5.076 | 302 | -7.475 | 884.3 | 54.443 | 26.345
2019-02-01 15:30:00 | 4.068 | 307.253 | 4.374 | 303.555 | 4.694 | 307.7 | 5.09 | 299.9 | -7.171 | 886.85 | 54.987 | 11.8117
2019-02-01 15:45:00 | 6.988 | 270.147 | 7.849 | 273.963 | 8.095 | 280.633 | 8.366 | 274.267 | -6.275 | 889.758 | 55.301 | 21.3596
2019-02-01 16:00:00 | 12.756 | 252.26 | 14.344 | 262.941 | 14.939 | 268.733 | 14.808 | 262.917 | -6.081 | 890.05 | 50.853 | 69.6945
2019-02-01 16:15:00 | 17.132 | 252.753 | 18.896 | 262.898 | 19.505 | 265.733 | 19.495 | 262.417 | -7.014 | 881.567 | 48.901 | 75.6512
2019-02-01 16:30:00 | 15.344 | 247.28 | 17.3 | 258.013 | 17.52 | 262.25 | 17.095 | 258.133 | -7.78 | 887.983 | 47.504 | 76.0107
2019-02-01 16:45:00 | 14.738 | 250.633 | 16.433 | 261.552 | 17.052 | 265 | 17.043 | 261 | -7.656 | 889.575 | 46.155 | 75.4238
2019-02-01 17:00:00 | 15.863 | 252.853 | 17.289 | 258.979 | 17.769 | 262.217 | 18.357 | 258.35 | -7.17 | 890.042 | 46.176 | 76.2871
2019-02-01 17:15:00 | 13.078 | 244.14 | 15.078 | 253.059 | 16.016 | 256.9 | 16.268 | 252.8 | -7.489 | 889.817 | 46.949 | 77.1953
2019-02-01 17:30:00 | 12.662 | 247.733 | 14.343 | 253.909 | 14.772 | 258.25 | 14.907 | 254.183 | -7.363 | 889.442 | 47.136 | 77.6685
2019-02-01 17:45:00 | 12.444 | 242.867 | 14.24 | 254.518 | 14.42 | 259.9 | 14.553 | 255.5 | -7.672 | 889.8 | 48.048 | 76.5685
2019-02-01 18:00:00 | 12.798 | 245 | 14.062 | 256.575 | 14.652 | 262.367 | 14.505 | 256.65 | -8.09 | 890.442 | 47.771 | 76.6986
2019-02-01 18:15:00 | 9.414 | 251.28 | 10.453 | 263.286 | 10.758 | 267.367 | 11.053 | 261.067 | -8.391 | 890.192 | 48.08 | 76.1415
2019-02-01 18:30:00 | 10.08 | 247.473 | 11.217 | 267.64 | 11.5 | 270.867 | 12.154 | 267.267 | -8.534 | 889.775 | 49.115 | 73.8996
2019-02-01 18:45:00 | 12.311 | 242.267 | 14.031 | 256.864 | 14.686 | 260.767 | 15.017 | 254.65 | -9.091 | 889.933 | 50.208 | 75.6505
2019-02-01 19:00:00 | 12.631 | 234.867 | 14.272 | 251.214 | 15.02 | 256.167 | 14.974 | 252.533 | -9.604 | 889.567 | 51.616 | 74.9705
2019-02-01 19:15:00 | 9.493 | 246.293 | 11.618 | 266.886 | 12.197 | 267.9 | 12.387 | 264.133 | -10.041 | 890.033 | 54.512 | 75.8899
2019-02-01 19:30:00 | 8.998 | 248 | 10.254 | 266.24 | 10.911 | 269.033 | 11.163 | 265.733 | -10.399 | 890.008 | 56.459 | 75.2504
2019-02-01 19:45:00 | 6.09 | 272.787 | 7.191 | 279.72 | 7.61 | 282.433 | 8.188 | 277.3 | -10.628 | 890.067 | 59.067 | 66.072
2019-02-01 20:00:00 | 6.552 | 278.14 | 7.763 | 283.451 | 8.052 | 286.4 | 8.387 | 283.333 | -11.138 | 889.875 | 61.077 | 52.1734
2019-02-01 20:15:00 | 6.294 | 254.28 | 7.269 | 271.627 | 7.764 | 275.833 | 8.04 | 271.6 | -11.09 | 889.333 | 62.064 | 33.4435
2019-02-01 20:30:00 | 7.12 | 245.8 | 8.164 | 264.851 | 8.837 | 270.667 | 9.093 | 266.033 | -11.311 | 890.058 | 63.653 | 20.5382
2019-02-01 20:45:00 | 5.908 | 264.54 | 6.832 | 280.777 | 7.227 | 284.333 | 7.861 | 281.8 | -12.078 | 889.742 | 64.933 | 19.5726
2019-02-01 21:00:00 | 5.009 | 282.427 | 6.347 | 285.692 | 6.664 | 290.8 | 7.093 | 288.067 | -12.107 | 889.625 | 66.229 | 18.2083
2019-02-01 21:15:00 | 5.837 | 266.66 | 6.939 | 278.298 | 7.066 | 281.233 | 7.31 | 275.933 | -12.703 | 889.933 | 68.88 | 18.1756
2019-02-01 21:30:00 | 3.05 | 296.2 | 4.278 | 290.585 | 4.719 | 292.933 | 4.915 | 288.5 | -12.853 | 889.658 | 69.973 | 6.3191
2019-02-01 21:45:00 | 0.77 | 280.253 | 2.522 | 269.343 | 3.939 | 275.733 | 4.867 | 268.867 | -13.574 | 889.617 | 71.787 | 3.3198
2019-02-01 22:00:00 | 2.171 | 219.333 | 3.361 | 243.448 | 4.025 | 254.667 | 4.489 | 250.917 | -14.116 | 890.075 | 73.344 | 2.1452
2019-02-01 22:15:00 | 2.453 | 209.967 | 2.197 | 229.225 | 2.512 | 244.633 | 3.027 | 241.933 | -13.766 | 890.075 | 74.912 | 9.965
2019-02-01 22:30:00 | 4.938 | 233.167 | 6.47 | 242.743 | 7.446 | 250.533 | 8.048 | 248.95 | -12.886 | 890.008 | 68.656 | 33.7064
2019-02-01 22:45:00 | 6.284 | 249.26 | 7.7 | 251.457 | 8.466 | 257.967 | 8.656 | 252.917 | -11.699 | 889.758 | 58.331 | 65.6024
2019-02-01 23:00:00 | 6.924 | 238.82 | 8.26 | 249.702 | 9.133 | 253.95 | 9.599 | 250.567 | -11.545 | 889.908 | 53.627 | 66.6924
2019-02-01 23:15:00 | 7.36 | 244.687 | 8.554 | 252.137 | 9.205 | 257.533 | 9.771 | 253.55 | -11.578 | 889.608 | 50.96 | 73.4641
2019-02-01 23:30:00 | 7.319 | 240.227 | 8.352 | 243.002 | 9.16 | 248.733 | 9.39 | 244.95 | -11.799 | 889.717 | 50.421 | 76.1855
2019-02-01 23:45:00 | 7.262 | 237.947 | 8.189 | 243.098 | 8.839 | 250.267 | 9.235 | 246.8 | -11.661 | 890.275 | 49.099 | 75.4977