## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-02 00:00:00 | 7.545 | 239.34 | 8.614 | 243.54 | 9.493 | 249.5 | 9.82 | 246.5 | -11.64 | 890.067 | 48.747 | 54.3832
2019-02-02 00:15:00 | 7.189 | 241.1 | 8.466 | 242.375 | 9.095 | 247.3 | 9.076 | 244.75 | -11.411 | 889.692 | 48.635 | 50.134
2019-02-02 00:30:00 | 9.988 | 235.533 | 11.49 | 238.692 | 11.91 | 243.533 | 12.048 | 239.233 | -11.395 | 889.775 | 46.133 | 56.1618
2019-02-02 00:45:00 | 10.024 | 231.6 | 11.203 | 232.541 | 11.995 | 237.433 | 11.821 | 235.7 | -11.278 | 889.808 | 45.269 | 60.1722
2019-02-02 01:00:00 | 10.055 | 238.48 | 11.154 | 242.256 | 11.66 | 248.233 | 11.885 | 244.683 | -11.19 | 889.675 | 43.563 | 61.378
2019-02-02 01:15:00 | 8.411 | 244.28 | 9.642 | 252.981 | 10.248 | 256.383 | 10.453 | 253.183 | -10.964 | 889.875 | 43.339 | 61.8598
2019-02-02 01:30:00 | 8.667 | 243.847 | 9.88 | 247.219 | 10.377 | 253.767 | 10.588 | 249.25 | -11.295 | 889.992 | 43.2 | 66.2241
2019-02-02 01:45:00 | 8.692 | 236.833 | 9.638 | 242.42 | 10.159 | 247.633 | 10.633 | 244.333 | -11.428 | 889.8 | 44.32 | 67.1322
2019-02-02 02:00:00 | 9.538 | 235.633 | 10.779 | 246.762 | 11.284 | 251.4 | 11.243 | 246.933 | -11.211 | 890.067 | 43.973 | 69.5332
2019-02-02 02:15:00 | 8.511 | 240.567 | 9.875 | 244.044 | 10.713 | 248.467 | 10.788 | 245.867 | -11.578 | 889.575 | 44.565 | 72.2085
2019-02-02 02:30:00 | 8.403 | 239.54 | 9.638 | 248.653 | 10.153 | 252.433 | 10.14 | 248.933 | -11.932 | 889.425 | 45.941 | 74.0119
2019-02-02 02:45:00 | 9.896 | 238.727 | 11.393 | 250.167 | 11.643 | 254.4 | 11.728 | 251.083 | -11.849 | 889.958 | 47.253 | 74.2897
2019-02-02 03:00:00 | 8.552 | 242.767 | 10.052 | 255.213 | 10.538 | 259.6 | 10.863 | 254.5 | -12.257 | 889.808 | 48.501 | 75.6135
2019-02-02 03:15:00 | 8.952 | 236.567 | 10.434 | 243.501 | 11.181 | 250.333 | 11.735 | 247.117 | -12.166 | 889.942 | 49.589 | 76.0669
2019-02-02 03:30:00 | 7.866 | 241.427 | 8.951 | 251.123 | 9.479 | 255.95 | 9.71 | 250.983 | -12.386 | 889.933 | 50.763 | 72.5183
2019-02-02 03:45:00 | 8.192 | 241.747 | 9.264 | 246.759 | 9.86 | 252.433 | 10.008 | 250.983 | -12.282 | 889.883 | 50.917 | 68.2442
2019-02-02 04:00:00 | 8.322 | 235.893 | 9.654 | 248.658 | 10.016 | 252.25 | 9.963 | 248.05 | -12.299 | 889.9 | 51.275 | 72.47
2019-02-02 04:15:00 | 8.472 | 239.567 | 9.423 | 245.682 | 10.229 | 250.167 | 10.366 | 247.433 | -12.536 | 889.758 | 52.528 | 77.1476
2019-02-02 04:30:00 | 9.328 | 235.133 | 10.193 | 244.956 | 10.881 | 251.333 | 11.198 | 246.7 | -12.72 | 890.242 | 52.725 | 77.2045
2019-02-02 04:45:00 | 9.181 | 238.6 | 10.277 | 245.543 | 10.742 | 249.4 | 11.022 | 244.467 | -13.103 | 890.025 | 53.013 | 75.8288
2019-02-02 05:00:00 | 9.077 | 234.7 | 10.315 | 242.961 | 10.913 | 247.6 | 11.069 | 242.583 | -13.186 | 890.092 | 53.493 | 75.2916
2019-02-02 05:15:00 | 8.28 | 232.793 | 9.664 | 237.628 | 10.584 | 244.867 | 10.67 | 240.033 | -13.541 | 889.525 | 54.805 | 73.3845
2019-02-02 05:30:00 | 8.609 | 233.467 | 9.696 | 238.152 | 10.224 | 242.667 | 10.42 | 238.767 | -13.484 | 889.9 | 55.467 | 68.6379
2019-02-02 05:45:00 | 8.733 | 231.333 | 9.809 | 232.085 | 10.556 | 237.767 | 10.67 | 234.933 | -13.264 | 890.233 | 55.008 | 65.9505
2019-02-02 06:00:00 | 9.406 | 227.667 | 10.478 | 243.066 | 10.996 | 247.7 | 11.343 | 242.1 | -13.036 | 889.542 | 54.208 | 69.7094
2019-02-02 06:15:00 | 8.921 | 231 | 10.265 | 244.137 | 10.886 | 247.833 | 10.933 | 242.8 | -13.103 | 889.45 | 53.792 | 66.2056
2019-02-02 06:30:00 | 8.39 | 235.673 | 9.369 | 246.194 | 9.857 | 249.05 | 9.969 | 243.483 | -13.02 | 890 | 53.92 | 62.9818
2019-02-02 06:45:00 | 6.178 | 240.187 | 7.202 | 245.969 | 7.868 | 249.3 | 7.931 | 242.983 | -13.409 | 889.858 | 53.728 | 53.9704
2019-02-02 07:00:00 | 6.891 | 234.867 | 7.984 | 242.043 | 8.498 | 247.067 | 8.402 | 241.617 | -13.578 | 889.483 | 54.752 | 52.2494
2019-02-02 07:15:00 | 6.554 | 240.127 | 7.554 | 243.889 | 8.096 | 249.4 | 8.254 | 243.717 | -13.635 | 890.217 | 55.664 | 54.3584
2019-02-02 07:30:00 | 6.998 | 234.78 | 7.895 | 246.441 | 8.137 | 249.533 | 8.201 | 246.2 | -13.653 | 889.933 | 55.717 | 57.0059
2019-02-02 07:45:00 | 7.793 | 242.353 | 8.878 | 250.223 | 9.189 | 253.45 | 9.492 | 248.817 | -13.766 | 889.867 | 55.483 | 50.9725
2019-02-02 08:00:00 | 7.847 | 234.18 | 9.183 | 245.783 | 9.724 | 250.967 | 9.967 | 246.8 | -13.593 | 890.092 | 55.413 | 57.3406
2019-02-02 08:15:00 | 6.55 | 242.847 | 7.81 | 244.901 | 8.636 | 248.8 | 8.821 | 243.933 | -13.949 | 889.917 | 56.608 | 52.0298
2019-02-02 08:30:00 | 6.559 | 243.293 | 7.886 | 251.544 | 8.274 | 253.15 | 8.428 | 247.967 | -14.116 | 889.65 | 58.011 | 48.4663
2019-02-02 08:45:00 | 5.423 | 248.64 | 6.667 | 248.783 | 6.937 | 252.317 | 6.91 | 245.7 | -14.099 | 890.292 | 57.845 | 36.4762
2019-02-02 09:00:00 | 4.883 | 241.313 | 6.198 | 245.115 | 6.528 | 250.9 | 6.695 | 246.467 | -14.766 | 890.15 | 57.856 | 29.6434
2019-02-02 09:15:00 | 4.98 | 240.913 | 6.238 | 241.144 | 6.81 | 249 | 7.034 | 244.15 | -14.766 | 889.858 | 57.963 | 37.0269
2019-02-02 09:30:00 | 6.556 | 237.793 | 8.303 | 250.187 | 8.96 | 254.8 | 9.14 | 252.15 | -14.433 | 890.133 | 57.808 | 42.8344
2019-02-02 09:45:00 | 5.499 | 236.6 | 6.474 | 242.617 | 7.012 | 249.1 | 7.188 | 245.683 | -14.066 | 889.442 | 56.373 | 38.1247
2019-02-02 10:00:00 | 6.274 | 235.44 | 7.39 | 242.446 | 7.909 | 247.667 | 8.059 | 244.833 | -13.412 | 889.725 | 53.888 | 43.2266
2019-02-02 10:15:00 | 7.936 | 229.867 | 8.593 | 244.454 | 8.873 | 250.233 | 8.999 | 246.333 | -12.67 | 889.825 | 53.056 | 52.7823
2019-02-02 10:30:00 | 8.052 | 233.073 | 8.742 | 246.848 | 9.116 | 251.983 | 9.38 | 246.833 | -12.703 | 889.992 | 54.032 | 56.1959
2019-02-02 10:45:00 | 8.597 | 231.473 | 9.101 | 242.367 | 9.49 | 246.033 | 9.367 | 241.117 | -12.19 | 890.167 | 51.413 | 64.3049
2019-02-02 11:00:00 | 9.088 | 233.78 | 10.071 | 251.109 | 10.472 | 255.867 | 10.558 | 251.75 | -11.64 | 889.767 | 49.36 | 74.7239
2019-02-02 11:15:00 | 9.529 | 234.893 | 10.357 | 257.06 | 10.425 | 261.267 | 10.137 | 255.017 | -11.345 | 890.05 | 48.549 | 78.2092
2019-02-02 11:30:00 | 9.009 | 245.553 | 9.762 | 264.278 | 10.098 | 268.983 | 10.008 | 263.317 | -11.261 | 889.917 | 47.973 | 78.2263
2019-02-02 11:45:00 | 10.449 | 243.56 | 11.426 | 265.027 | 11.597 | 267.233 | 11.487 | 261.55 | -11.428 | 889.7 | 48.869 | 77.0084
2019-02-02 12:00:00 | 9.775 | 236.553 | 10.71 | 259.44 | 10.707 | 263.567 | 10.92 | 259.583 | -11.278 | 889.65 | 46.976 | 77.358
2019-02-02 12:15:00 | 9.886 | 240.747 | 10.806 | 262.135 | 10.935 | 267.633 | 11.127 | 262.95 | -10.966 | 890.042 | 47.093 | 79.3142
2019-02-02 12:30:00 | 11.448 | 253.153 | 12.21 | 266.568 | 12.6 | 271.367 | 12.429 | 265.7 | -10.743 | 890.033 | 45.509 | 76.8023
2019-02-02 12:45:00 | 9.879 | 265.667 | 10.878 | 276.102 | 11.073 | 280.4 | 11.289 | 277.533 | -11.003 | 889.842 | 46.021 | 68.1348
2019-02-02 13:00:00 | 8.936 | 267.527 | 10.157 | 280.444 | 10.447 | 283.733 | 10.699 | 281.567 | -10.984 | 889.492 | 47.643 | 64.4583
2019-02-02 13:15:00 | 9.908 | 256.96 | 10.677 | 269.018 | 10.846 | 272.9 | 11.003 | 269 | -10.778 | 889.8 | 48.693 | 67.5585
2019-02-02 13:30:00 | 10.144 | 255.873 | 11.058 | 271.508 | 11.119 | 275.033 | 11.462 | 271.233 | -10.982 | 889.442 | 49.589 | 67.0157
2019-02-02 13:45:00 | 10.307 | 258.913 | 10.996 | 275.406 | 11.082 | 280.867 | 11.403 | 278.733 | -11.145 | 889.992 | 51.008 | 61.9607
2019-02-02 14:00:00 | 10.739 | 269.507 | 11.682 | 282.274 | 12.002 | 286.667 | 12.267 | 284.3 | -10.797 | 889.525 | 54.885 | 58.501
2019-02-02 14:15:00 | 11.968 | 277.92 | 13.125 | 287.573 | 13.328 | 290.7 | 13.574 | 288.333 | -10.816 | 889.992 | 54.619 | 60.6277
2019-02-02 14:30:00 | 11.002 | 282.713 | 11.839 | 286.675 | 12.161 | 290.467 | 12.386 | 288.667 | -11.057 | 889.492 | 58.048 | 62.0353
2019-02-02 14:45:00 | 10.382 | 275.113 | 11.163 | 281.683 | 11.298 | 286.1 | 11.751 | 283.733 | -11.072 | 889.583 | 57.435 | 62.829
2019-02-02 15:00:00 | 10.026 | 284.52 | 10.871 | 289.135 | 11.057 | 292.533 | 11.764 | 288.533 | -10.816 | 890.1 | 55.227 | 60.4806
2019-02-02 15:15:00 | 9.664 | 296.213 | 10.648 | 294.295 | 10.998 | 298 | 11.416 | 295 | -10.928 | 889.933 | 58.731 | 59.2385
2019-02-02 15:30:00 | 10.187 | 271.06 | 11.228 | 280.21 | 11.895 | 283.467 | 12.284 | 280.867 | -10.76 | 889.808 | 63.488 | 56.9434
2019-02-02 15:45:00 | 12.215 | 287.333 | 13.239 | 287.971 | 13.606 | 290.6 | 14.158 | 287.867 | -10.816 | 890.033 | 56.747 | 57.774
2019-02-02 16:00:00 | 10.642 | 285.033 | 11.624 | 288.075 | 11.923 | 291.7 | 12.394 | 290 | -10.76 | 889.667 | 54.027 | 55.2473
2019-02-02 16:15:00 | 11.749 | 282.813 | 12.74 | 287.328 | 13.098 | 290.6 | 13.536 | 288.633 | -10.853 | 889.675 | 54.037 | 50.1674
2019-02-02 16:30:00 | 11.712 | 284.507 | 12.448 | 287.519 | 12.605 | 290.133 | 13.038 | 286.533 | -10.905 | 889.825 | 53.867 | 50.0573
2019-02-02 16:45:00 | 10.786 | 275.933 | 11.5 | 284.207 | 11.965 | 286.5 | 12.337 | 283.467 | -10.797 | 889.9 | 53.328 | 53.0815
2019-02-02 17:00:00 | 9.48 | 271.167 | 10.073 | 277.141 | 10.453 | 280.4 | 10.614 | 279.2 | -10.483 | 890.317 | 52.507 | 53.5241
2019-02-02 17:15:00 | 10.976 | 268.413 | 11.967 | 281.126 | 12.005 | 286 | 12.164 | 282.667 | -10.647 | 889.533 | 51.099 | 55.9749
2019-02-02 17:30:00 | 12.086 | 261.833 | 13.339 | 274.328 | 13.67 | 279.033 | 13.653 | 276.067 | -10.516 | 889.683 | 49.269 | 65.9548
2019-02-02 17:45:00 | 11.278 | 253.34 | 12.642 | 274.03 | 13.314 | 276.3 | 13.332 | 273 | -10.666 | 889.95 | 50.224 | 66.9546
2019-02-02 18:00:00 | 9.98 | 249.46 | 11.388 | 269.248 | 11.802 | 273.667 | 12.111 | 269.467 | -10.959 | 889.925 | 51.467 | 68.6919
2019-02-02 18:15:00 | 11.2 | 253.253 | 12.231 | 267.121 | 12.697 | 272.367 | 12.83 | 269.833 | -11.428 | 889.842 | 50.891 | 70.0612
2019-02-02 18:30:00 | 9.55 | 253.333 | 10.996 | 272.923 | 11.409 | 275.667 | 11.975 | 271.6 | -11.42 | 889.883 | 51.2 | 72.4828
2019-02-02 18:45:00 | 10.098 | 243.74 | 11.818 | 268.104 | 12.509 | 271.533 | 12.886 | 267.967 | -12.12 | 889.667 | 52.976 | 74.2826
2019-02-02 19:00:00 | 10.453 | 235.067 | 11.728 | 259.591 | 12.19 | 263.533 | 12.06 | 260.5 | -12.07 | 890.05 | 54.656 | 77.4042
2019-02-02 19:15:00 | 9.317 | 245.92 | 10.864 | 262.056 | 11.543 | 265.533 | 11.487 | 260.833 | -12.57 | 889.708 | 56.256 | 79.3852
2019-02-02 19:30:00 | 9.148 | 242.373 | 10.652 | 267.063 | 11.203 | 271.167 | 11.56 | 266.867 | -12.636 | 890.075 | 56.469 | 79.516
2019-02-02 19:45:00 | 9.07 | 239.913 | 10.538 | 260.84 | 10.91 | 265.433 | 11.278 | 261.367 | -12.92 | 890.008 | 57.456 | 77.304
2019-02-02 20:00:00 | 7.895 | 238.447 | 9.286 | 251.895 | 9.789 | 257.333 | 10.089 | 252.883 | -13.107 | 889.775 | 59.088 | 70.9707
2019-02-02 20:15:00 | 6.691 | 238.32 | 8.321 | 254.373 | 8.859 | 258.467 | 9.262 | 254.217 | -13.541 | 890.675 | 60.496 | 64.1428
2019-02-02 20:30:00 | 6.844 | 245.38 | 8.26 | 259.452 | 8.976 | 264.5 | 9.337 | 260.883 | -13.71 | 890.208 | 60.795 | 56.0062
2019-02-02 20:45:00 | 8.411 | 239.74 | 9.585 | 257.047 | 10.105 | 262.7 | 10.647 | 258.233 | -13.56 | 889.642 | 57.317 | 63.4472
2019-02-02 21:00:00 | 5.861 | 246.753 | 7.365 | 258.313 | 7.978 | 262.967 | 8.294 | 259.267 | -13.447 | 889.875 | 57.179 | 56.7686
2019-02-02 21:15:00 | 6.418 | 243.087 | 7.88 | 257.445 | 8.503 | 261.4 | 8.719 | 256.75 | -13.616 | 890.083 | 57.643 | 53.937
2019-02-02 21:30:00 | 5.326 | 240.493 | 6.78 | 251.408 | 7.369 | 256.9 | 7.557 | 253.85 | -13.828 | 889.617 | 57.824 | 51.5353
2019-02-02 21:45:00 | 4.854 | 238.067 | 6.106 | 249.03 | 6.681 | 255.433 | 7.077 | 252.25 | -14.166 | 889.717 | 58.955 | 51.1807
2019-02-02 22:00:00 | 5.034 | 252.207 | 6.651 | 258.25 | 7.353 | 262.967 | 7.59 | 258.233 | -14.578 | 889.55 | 59.877 | 48.5452
2019-02-02 22:15:00 | 5.003 | 251.687 | 6.768 | 263.396 | 7.313 | 269.5 | 7.671 | 264.367 | -14.704 | 889.517 | 59.008 | 40.8668
2019-02-02 22:30:00 | 4.159 | 253.687 | 5.747 | 261.375 | 6.326 | 267.167 | 6.568 | 262.917 | -14.52 | 889.858 | 57.675 | 28.6408
2019-02-02 22:45:00 | 5.162 | 210.733 | 4.998 | 222.877 | 4.736 | 241.5 | 4.714 | 247.983 | -15.341 | 889.975 | 58.251 | 14.8246
2019-02-02 23:00:00 | 5.586 | 214.133 | 5.524 | 222.771 | 5.532 | 234.567 | 5.374 | 233.7 | -15.241 | 890.15 | 59.968 | 15.8542
2019-02-02 23:15:00 | 5.494 | 225.6 | 5.737 | 223.044 | 5.688 | 230.633 | 5.487 | 229.033 | -15.091 | 890.083 | 58.795 | 17.8573
2019-02-02 23:30:00 | 6.091 | 220.293 | 6.017 | 225.118 | 5.93 | 231.633 | 5.768 | 227.333 | -16.275 | 889.633 | 61.707 | 18.4634
2019-02-02 23:45:00 | 6.032 | 225.893 | 6.387 | 226.254 | 6.298 | 233.9 | 6.422 | 230.767 | -16.488 | 889.95 | 63.381 | 19.0915