## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-03 00:00:00 | 5.229 | 231.607 | 5.427 | 235.118 | 5.693 | 242.667 | 5.877 | 238.833 | -15.974 | 889.85 | 62.421 | 15.2523
2019-02-03 00:15:00 | 4.482 | 224.593 | 5.08 | 223.611 | 5.079 | 233.567 | 5.05 | 230.967 | -17.381 | 889.833 | 64.192 | 11.7734
2019-02-03 00:30:00 | 2.86 | 238.487 | 5.495 | 220.226 | 5.568 | 228.167 | 5.158 | 226.4 | -17.935 | 889.733 | 65.429 | 9.5401
2019-02-03 00:45:00 | 3.338 | 231.567 | 4.023 | 237.246 | 4.127 | 240.533 | 4.12 | 235.767 | -17.614 | 889.975 | 68.96 | 6.1265
2019-02-03 01:00:00 | 4.733 | 241.32 | 5.006 | 240.117 | 4.825 | 246.083 | 4.488 | 243.133 | -17.131 | 889.867 | 67.435 | 5.59
2019-02-03 01:15:00 | 4.03 | 240.867 | 4.653 | 241.226 | 4.437 | 251.533 | 4.264 | 250.983 | -16.964 | 889.708 | 64.885 | 7.2186
2019-02-03 01:30:00 | 4.447 | 243.967 | 5.594 | 251.429 | 5.316 | 256.633 | 5.142 | 251.5 | -17.898 | 889.958 | 65.888 | 9.7717
2019-02-03 01:45:00 | 4.866 | 219.947 | 5.621 | 232.788 | 5.462 | 246.667 | 5.022 | 243.833 | -18.044 | 890.55 | 65.003 | 8.0685
2019-02-03 02:00:00 | 5.795 | 216.94 | 5.122 | 230.256 | 4.861 | 241.967 | 4.308 | 239.767 | -18.598 | 889.867 | 65.813 | 5.5708
2019-02-03 02:15:00 | 5.279 | 212.087 | 4.885 | 215.624 | 3.072 | 234.767 | 2.443 | 243.6 | -18.177 | 889.65 | 64.128 | 2.2887
2019-02-03 02:30:00 | 5.252 | 210.56 | 5.65 | 209.453 | 4.685 | 215.4 | 3.681 | 219.267 | -18.364 | 889.883 | 65.675 | 2.4188
2019-02-03 02:45:00 | 4.302 | 209.633 | 3.168 | 195.945 | 2.777 | 202.8 | 2.526 | 209.2 | -16.948 | 889.908 | 64.619 | 0.80863
2019-02-03 03:00:00 | 4.689 | 227.233 | 2.652 | 222.595 | 2.208 | 227.8 | 1.986 | 227.433 | -14.954 | 889.8 | 61.259 | 0.3226
2019-02-03 03:15:00 | 4.362 | 220.7 | 3.013 | 222.483 | 2.498 | 227.9 | 2.388 | 231 | -16.764 | 889.875 | 62.635 | 0.25012
2019-02-03 03:30:00 | 3.719 | 223.733 | 1.994 | 222.305 | 1.263 | 237.033 | 0.923 | 231.067 | -15.808 | 889.833 | 59.904 | 0.33254
2019-02-03 03:45:00 | 3.433 | 231.6 | 2.526 | 228.533 | 2.147 | 236.2 | 1.995 | 225.033 | -15.658 | 889.958 | 58.475 | 0.33397
2019-02-03 04:00:00 | 3.252 | 227.98 | 1.843 | 237.235 | 2.02 | 241.133 | 2.409 | 232.9 | -16.51 | 889.933 | 60.512 | 0.33965
2019-02-03 04:15:00 | 3.197 | 240.2 | 1.88 | 256.067 | 2 | 260.667 | 2.005 | 252.583 | -16.211 | 889.708 | 59.899 | 0.34818
2019-02-03 04:30:00 | 3.534 | 240.813 | 2.066 | 255.761 | 1.444 | 278.267 | 1.317 | 264.817 | -16.776 | 889.75 | 61.205 | 0.32828
2019-02-03 04:45:00 | 4.125 | 240.027 | 3.254 | 235.9 | 2.247 | 256.533 | 1.879 | 262.933 | -15.955 | 890.067 | 60.352 | 0.34818
2019-02-03 05:00:00 | 4.906 | 260.973 | 3.691 | 240.5 | 2.44 | 241.1 | 1.633 | 259.933 | -17.181 | 890.025 | 59.744 | 0.35813
2019-02-03 05:15:00 | 4.801 | 253.3 | 4.211 | 263.104 | 3.04 | 264.35 | 1.518 | 236.7 | -16.339 | 889.717 | 61.963 | 0.33823
2019-02-03 05:30:00 | 3.961 | 243.2 | 3.5 | 252.055 | 3.276 | 258 | 3.269 | 256.5 | -15.241 | 889.425 | 60.917 | 0.32331
2019-02-03 05:45:00 | 2.908 | 223.947 | 3.283 | 262.818 | 2.577 | 268.1 | 2.669 | 257.45 | -16.194 | 889.592 | 57.627 | 0.21246
2019-02-03 06:00:00 | 3.525 | 229.867 | 1.819 | 269.251 | 0.88 | 276.8 | 1.012 | 259 | -17.814 | 889.95 | 63.808 | 0.25296
2019-02-03 06:15:00 | 3.529 | 214.167 | 2.239 | 240.198 | 0.816 | 278.467 | 0.181 | 257.733 | -17.748 | 889.783 | 66.357 | 0.39508
2019-02-03 06:30:00 | 2.496 | 130.467 | 2.893 | 113.272 | 2.74 | 122.4 | 2.449 | 132.867 | -17.014 | 889.85 | 64.288 | 1.0964
2019-02-03 06:45:00 | 2.125 | 129.28 | 2.364 | 107.677 | 2.601 | 108 | 2.706 | 113.9 | -16.61 | 890.117 | 62.891 | 0.50308
2019-02-03 07:00:00 | 1.032 | 125.9 | 1.381 | 94.277 | 1.871 | 93 | 2.148 | 103.1 | -16.914 | 889.85 | 63.797 | 0.32544
2019-02-03 07:15:00 | 1.282 | 137 | 1.932 | 98.002 | 2.419 | 100 | 2.856 | 103 | -16.714 | 890.025 | 63.925 | 0.11937
2019-02-03 07:30:00 | 1.754 | 119.633 | 3.009 | 88.877 | 3.066 | 95.767 | 3.102 | 99 | -16.898 | 889.783 | 63.872 | 0.83705
2019-02-03 07:45:00 | 1.169 | 117.467 | 1.646 | 89.932 | 2.114 | 94 | 1.908 | 79.933 | -16.881 | 890.1 | 63.499 | 0.67575
2019-02-03 08:00:00 | 1.507 | 132.227 | 1.47 | 100.496 | 1.416 | 101.8 | 1.636 | 99.433 | -16.424 | 889.708 | 63.659 | 0.080294
2019-02-03 08:15:00 | 0.91 | 135.067 | 1.808 | 102.766 | 1.556 | 103.267 | 1.644 | 104.5 | -16.531 | 889.925 | 63.04 | 0.095216
2019-02-03 08:30:00 | 1.314 | 160.653 | 1.726 | 121.219 | 2.13 | 116.7 | 2.253 | 104 | -16.446 | 890.142 | 63.52 | 0.18475
2019-02-03 08:45:00 | 1.413 | 186.16 | 1.393 | 125.268 | 2.04 | 122.8 | 2.083 | 104 | -16.382 | 889.917 | 62.699 | 0.3226
2019-02-03 09:00:00 | 0.506 | 187.107 | 0.25 | 125.207 | 1.245 | 117 | 1.633 | 104 | -16.36 | 889.917 | 62.357 | 0.35102
2019-02-03 09:15:00 | 0.98 | 209.253 | 0 | 125.259 | 0.2 | 117 | 1.344 | 103.633 | -15.969 | 890.267 | 61.707 | 0.33254
2019-02-03 09:30:00 | 1.014 | 218.033 | 0 | 125.235 | 0 | 117 | 0.185 | 103.933 | -15.691 | 890.108 | 60.747 | 0.33112
2019-02-03 09:45:00 | 1.961 | 244.4 | 0 | 151.254 | 0 | 116.9 | 0 | 104 | -15.791 | 889.75 | 60.064 | 0.32828
2019-02-03 10:00:00 | 2.093 | 244.367 | 0 | 155.548 | 0 | 117 | 0 | 104.067 | -15.474 | 890.408 | 61.579 | 0.32686
2019-02-03 10:15:00 | 1.309 | 247.533 | 0.642 | 212.449 | 0 | 196 | 0 | 104 | -15.191 | 889.542 | 63.179 | 0.31549
2019-02-03 10:30:00 | 0.863 | 252.093 | 0.446 | 238.411 | 0.066 | 196.367 | 0 | 104.067 | -14.728 | 889.983 | 61.941 | 0.31691
2019-02-03 10:45:00 | 0.489 | 252.9 | 0.137 | 238.602 | 0.173 | 224.2 | 0.151 | 104.067 | -14.049 | 889.75 | 59.381 | 0.30981
2019-02-03 11:00:00 | 0.808 | 232.753 | 0.614 | 233.272 | 0.97 | 231.633 | 1.124 | 197.317 | -13.728 | 889.658 | 57.877 | 0.31123
2019-02-03 11:15:00 | 1.784 | 201.04 | 1.817 | 193.158 | 1.913 | 203.6 | 2.133 | 197.267 | -13.157 | 889.442 | 58.347 | 0.33681
2019-02-03 11:30:00 | 2.304 | 213.433 | 2.362 | 210.402 | 2.46 | 212.2 | 2.553 | 208 | -12.503 | 890.283 | 58.24 | 0.33397
2019-02-03 11:45:00 | 2.813 | 221.553 | 2.818 | 219.118 | 2.947 | 220.7 | 3.001 | 217.9 | -12.016 | 889.808 | 59.211 | 0.10374
2019-02-03 12:00:00 | 2.272 | 264.8 | 2.429 | 262.35 | 2.567 | 264.85 | 2.679 | 260.85 | -11.038 | 889.85 | 60.704 | 0.21388
2019-02-03 12:15:00 | 2.716 | 295.333 | 2.963 | 289.236 | 3.228 | 293.167 | 3.241 | 291.333 | -10.891 | 889.383 | 62.464 | 0.1613
2019-02-03 12:30:00 | 3.738 | 312.067 | 3.802 | 308.435 | 3.851 | 312.633 | 3.963 | 313.367 | -10.499 | 890.275 | 61.84 | 1.2634
2019-02-03 12:45:00 | 4.226 | 323.16 | 4.28 | 316.958 | 4.439 | 320.2 | 4.61 | 318.233 | -9.995 | 890 | 60.837 | 4.0723
2019-02-03 13:00:00 | 5.25 | 320.267 | 5.173 | 313.998 | 5.326 | 318.533 | 5.404 | 317.067 | -9.358 | 890.075 | 60.757 | 6.636
2019-02-03 13:15:00 | 5.567 | 315.267 | 5.802 | 312.778 | 5.677 | 316.933 | 5.894 | 316.067 | -8.791 | 889.858 | 61.856 | 12.8662
2019-02-03 13:30:00 | 5.354 | 323.933 | 5.587 | 317.097 | 5.649 | 322.567 | 5.759 | 319.2 | -8.691 | 889.892 | 61.909 | 13.4098
2019-02-03 13:45:00 | 5.479 | 325.533 | 5.77 | 321.23 | 5.895 | 324.667 | 5.943 | 322.9 | -8.09 | 889.808 | 59.84 | 13.5349
2019-02-03 14:00:00 | 5.956 | 324.533 | 6.316 | 316.257 | 6.185 | 319.967 | 6.464 | 316.933 | -7.656 | 889.55 | 59.413 | 16.3651
2019-02-03 14:15:00 | 6.532 | 324.4 | 6.736 | 319.951 | 6.741 | 324.467 | 6.892 | 324.633 | -7.522 | 889.583 | 58.827 | 19.0141
2019-02-03 14:30:00 | 7.214 | 314.92 | 7.717 | 308.527 | 7.864 | 313.4 | 8.118 | 312.333 | -7.254 | 889.933 | 58.139 | 19.5996
2019-02-03 14:45:00 | 5.76 | 298.453 | 6.102 | 296.989 | 5.951 | 300.1 | 6.154 | 297.3 | -6.624 | 890.108 | 56.507 | 11.3477
2019-02-03 15:00:00 | 5.373 | 312.973 | 5.449 | 310.135 | 5.533 | 313.167 | 5.791 | 309.367 | -6.372 | 890 | 54.731 | 10.1696
2019-02-03 15:15:00 | 6.564 | 304.467 | 6.954 | 301.399 | 7.025 | 306.933 | 7.224 | 306.167 | -6.312 | 889.442 | 54.544 | 11.811
2019-02-03 15:30:00 | 6.35 | 326.707 | 6.426 | 318.975 | 6.565 | 322.267 | 6.86 | 318.8 | -5.677 | 889.992 | 53.099 | 14.1801
2019-02-03 15:45:00 | 6.055 | 309.06 | 6.463 | 305.695 | 6.507 | 311.7 | 6.565 | 310 | -5.684 | 890.092 | 52.171 | 17.0174
2019-02-03 16:00:00 | 3.517 | 242.38 | 3.536 | 285.818 | 3.63 | 242.867 | 3.733 | 330.033 | -5.569 | 889.792 | 51.355 | 16.7886
2019-02-03 16:15:00 | 3.65 | 315.933 | 3.795 | 303.355 | 3.746 | 305.4 | 3.905 | 298.1 | -5.019 | 889.567 | 49.685 | 7.9036
2019-02-03 16:30:00 | 4.928 | 314.333 | 5.214 | 309.716 | 5.341 | 312.9 | 5.413 | 310.267 | -5.169 | 890.033 | 50.528 | 7.0325
2019-02-03 16:45:00 | 5.509 | 309.6 | 5.956 | 309.435 | 6.028 | 312.567 | 6.274 | 308.933 | -5.285 | 890.408 | 50.155 | 11.4899
2019-02-03 17:00:00 | 5.263 | 322.867 | 5.564 | 315.357 | 5.672 | 319.733 | 5.814 | 317.967 | -5.169 | 890.025 | 46.827 | 10.9456
2019-02-03 17:15:00 | 4.671 | 313.133 | 4.99 | 311.93 | 5.111 | 316.467 | 5.294 | 315.6 | -5.848 | 890.175 | 45.189 | 12.2807
2019-02-03 17:30:00 | 4.336 | 312.787 | 4.44 | 310.964 | 4.411 | 318.033 | 4.626 | 316.533 | -5.548 | 889.867 | 44.88 | 9.2153
2019-02-03 17:45:00 | 5.483 | 318.747 | 5.627 | 310.445 | 5.588 | 315.767 | 5.784 | 312.7 | -5.721 | 890.35 | 44.427 | 8.7506
2019-02-03 18:00:00 | 4.241 | 323.987 | 4.368 | 316.2 | 4.395 | 321.367 | 4.469 | 319.067 | -6.193 | 889.742 | 44.304 | 7.9107
2019-02-03 18:15:00 | 4.022 | 321.373 | 4.332 | 314.841 | 4.434 | 320.333 | 4.473 | 319.167 | -6.671 | 890.117 | 43.509 | 5.7478
2019-02-03 18:30:00 | 3.331 | 306.533 | 3.774 | 303.844 | 3.919 | 307.433 | 4.072 | 304.4 | -6.992 | 889.875 | 42.987 | 2.8416
2019-02-03 18:45:00 | 2.454 | 289.467 | 2.62 | 289.679 | 2.674 | 296 | 2.882 | 299.867 | -7.257 | 889.658 | 41.52 | 1.3686
2019-02-03 19:00:00 | 2.613 | 283.887 | 2.854 | 286.32 | 2.874 | 293.867 | 3.336 | 295.1 | -7.516 | 889.558 | 43.68 | 0.47466
2019-02-03 19:15:00 | 3.83 | 303.067 | 4.607 | 301.964 | 4.744 | 306.7 | 5.305 | 304.367 | -7.489 | 890.317 | 49.381 | 1.7217
2019-02-03 19:30:00 | 3.408 | 271.82 | 4.052 | 278.769 | 4.137 | 287.867 | 4.397 | 288.867 | -8.03 | 890.033 | 53.072 | 3.9067
2019-02-03 19:45:00 | 3.603 | 275.287 | 4.062 | 285.117 | 4.218 | 295.467 | 4.572 | 297 | -8.691 | 889.95 | 57.931 | 2.4834
2019-02-03 20:00:00 | 3.337 | 267.72 | 4.085 | 283.141 | 4.333 | 293.7 | 4.633 | 295.967 | -9.208 | 890.192 | 59.109 | 2.0741
2019-02-03 20:15:00 | 3.224 | 263.28 | 3.755 | 278.014 | 3.876 | 288.433 | 4.167 | 290.9 | -9.524 | 889.892 | 60.272 | 1.7132
2019-02-03 20:30:00 | 3.031 | 289.413 | 3.284 | 294.054 | 2.842 | 296.7 | 2.4 | 287.033 | -9.954 | 889.733 | 62.064 | 0.78447
2019-02-03 20:45:00 | 2.283 | 258.553 | 2.557 | 296.865 | 2.413 | 292.567 | 2.078 | 278.067 | -9.858 | 889.65 | 60.843 | 0.1883
2019-02-03 21:00:00 | 2.548 | 288.6 | 2.782 | 300.967 | 2.371 | 294.4 | 2.126 | 277.533 | -10.299 | 889.5 | 62.72 | 0.086689
2019-02-03 21:15:00 | 2.9 | 271.333 | 2.628 | 280.276 | 2.338 | 267.833 | 2.527 | 239.967 | -10.066 | 890.283 | 63.141 | 0.34889
2019-02-03 21:30:00 | 2.306 | 270.667 | 2.05 | 266.586 | 2.206 | 236.383 | 2.63 | 222.383 | -9.808 | 889.8 | 63.541 | 0.33823
2019-02-03 21:45:00 | 1.664 | 273.947 | 1.087 | 242.698 | 1.349 | 217.267 | 1.364 | 221.067 | -9.641 | 889.742 | 63.787 | 0.31833
2019-02-03 22:00:00 | 1.314 | 255.56 | 0.057 | 233.599 | 0.636 | 216.267 | 2.146 | 212.967 | -9.908 | 889.817 | 62.976 | 0.32118
2019-02-03 22:15:00 | 0.12 | 243 | 1.036 | 176.537 | 1.474 | 210 | 1.441 | 238.767 | -10.466 | 890.033 | 59.957 | 0.3297
2019-02-03 22:30:00 | 3.02 | 208.767 | 1.79 | 222.291 | 1.961 | 265.2 | 2.708 | 260.933 | -10.249 | 889.825 | 59.232 | 0.31123
2019-02-03 22:45:00 | 3.894 | 223.853 | 1.799 | 256.848 | 1.78 | 284.133 | 2.497 | 283.033 | -10.909 | 890.367 | 58.869 | 0.3567
2019-02-03 23:00:00 | 4.308 | 228.347 | 2.049 | 272.453 | 2.209 | 291.8 | 2.683 | 295.133 | -11.109 | 890.208 | 60.517 | 0.29773
2019-02-03 23:15:00 | 4.458 | 235.82 | 3.08 | 252.501 | 3.073 | 268 | 3.122 | 269.033 | -10.066 | 889.758 | 60.576 | 0.81715
2019-02-03 23:30:00 | 5.001 | 247.367 | 3.828 | 257.952 | 3.645 | 264.133 | 3.524 | 260.667 | -10.814 | 890.167 | 67.184 | 2.9268
2019-02-03 23:45:00 | 4.942 | 248.2 | 4.428 | 260.937 | 4.009 | 273.4 | 3.808 | 267.6 | -10.299 | 889.708 | 63.429 | 4.3636