## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-04 00:00:00 | 5.092 | 234.793 | 4.75 | 250.801 | 4.709 | 261.133 | 4.713 | 260.133 | -10.17 | 889.842 | 59.467 | 6.3255
2019-02-04 00:15:00 | 3.647 | 280.927 | 4.448 | 281.259 | 4.638 | 282.867 | 4.736 | 275.467 | -12.636 | 890.083 | 64.469 | 7.4133
2019-02-04 00:30:00 | 5.291 | 277.58 | 5.078 | 280.957 | 4.426 | 274.033 | 4.574 | 267.5 | -12.057 | 890.025 | 65.915 | 7.5839
2019-02-04 00:45:00 | 4.897 | 266.66 | 4.498 | 279.15 | 4.242 | 275 | 4.578 | 271.5 | -11.953 | 889.483 | 65.712 | 7.7501
2019-02-04 01:00:00 | 4.618 | 257.287 | 4.539 | 279.759 | 4.165 | 279.8 | 4.628 | 275.133 | -11.89 | 889.683 | 65.595 | 7.9221
2019-02-04 01:15:00 | 4.525 | 256.287 | 4.049 | 265.025 | 4.11 | 268.233 | 4.773 | 268.467 | -11.311 | 889.892 | 65.429 | 11.7229
2019-02-04 01:30:00 | 4.716 | 250.567 | 3.972 | 264.36 | 4.258 | 268.8 | 4.992 | 268.767 | -10.449 | 889.65 | 64.085 | 14.7485
2019-02-04 01:45:00 | 4.547 | 249.8 | 4.049 | 259.829 | 4.851 | 269.8 | 5.624 | 269.4 | -9.912 | 889.542 | 62.192 | 15.5905
2019-02-04 02:00:00 | 4.567 | 243.227 | 3.973 | 263.041 | 4.398 | 270.133 | 4.961 | 269.1 | -9.662 | 889.8 | 60.693 | 11.2916
2019-02-04 02:15:00 | 4.328 | 234.667 | 3.425 | 258.959 | 3.525 | 268.2 | 3.84 | 265.5 | -9.308 | 889.942 | 60.987 | 5.7293
2019-02-04 02:30:00 | 4.359 | 230.9 | 3.353 | 238.223 | 3.098 | 256.2 | 3.16 | 254.55 | -8.541 | 889.692 | 59.499 | 3.8747
2019-02-04 02:45:00 | 4.385 | 245.467 | 3.511 | 251.494 | 3.17 | 254.967 | 3.048 | 251 | -8.808 | 889.867 | 60.144 | 8.4799
2019-02-04 03:00:00 | 3.778 | 259.087 | 2.88 | 273.961 | 3.243 | 289.4 | 3.315 | 286.933 | -8.19 | 889.6 | 59.904 | 10.0723
2019-02-04 03:15:00 | 3.054 | 296.067 | 2.507 | 296.97 | 1.922 | 302.567 | 2.62 | 293.067 | -10.208 | 889.725 | 57.403 | 4.9555
2019-02-04 03:30:00 | 3.018 | 252.093 | 2.021 | 261.309 | 2.336 | 272.1 | 2.896 | 277 | -11.636 | 889.575 | 65.616 | 2.9979
2019-02-04 03:45:00 | 3.193 | 266.88 | 2.896 | 247.632 | 2.547 | 268.5 | 2.829 | 268 | -11.201 | 889.717 | 68.363 | 4.046
2019-02-04 04:00:00 | 3.513 | 235.5 | 2.905 | 244.26 | 3.105 | 249.7 | 3.194 | 254.133 | -9.945 | 889.733 | 64.864 | 4.7494
2019-02-04 04:15:00 | 3.122 | 225.333 | 2.177 | 233.442 | 2.916 | 249.233 | 3.708 | 250.567 | -8.874 | 889.608 | 63.659 | 4.9818
2019-02-04 04:30:00 | 3.656 | 231.127 | 2.802 | 227.432 | 2.86 | 243.533 | 3.537 | 250.1 | -8.511 | 889.808 | 62.357 | 4.9356
2019-02-04 04:45:00 | 4.368 | 239.787 | 3.593 | 241.294 | 3.867 | 254.733 | 4.529 | 258.733 | -7.896 | 890.233 | 57.941 | 7.0645
2019-02-04 05:00:00 | 4.783 | 232.04 | 3.533 | 234.201 | 3.139 | 245.3 | 3.325 | 249.267 | -8.738 | 889.775 | 58.965 | 7.3672
2019-02-04 05:15:00 | 4.102 | 246.567 | 3.62 | 247.393 | 3.608 | 253.867 | 3.915 | 253.483 | -7.472 | 889.808 | 57.483 | 5.5204
2019-02-04 05:30:00 | 4.819 | 248.547 | 5.067 | 246.972 | 4.789 | 252.283 | 4.748 | 249.967 | -9.091 | 889.675 | 59.072 | 5.9688
2019-02-04 05:45:00 | 5.821 | 249.88 | 5.763 | 254.666 | 5.401 | 259.567 | 5.077 | 252.917 | -10.558 | 890.108 | 61.579 | 9.0633
2019-02-04 06:00:00 | 5.685 | 245.407 | 4.655 | 243.355 | 4.584 | 247.1 | 4.284 | 242.367 | -8.671 | 890.008 | 62.475 | 10.8347
2019-02-04 06:15:00 | 5.135 | 243.273 | 3.764 | 245.723 | 3.259 | 254.367 | 2.93 | 249.833 | -8.187 | 890.05 | 59.893 | 8.8508
2019-02-04 06:30:00 | 5.672 | 245.9 | 4.525 | 253.321 | 3.883 | 258.333 | 3.336 | 252.15 | -9.058 | 890.058 | 59.941 | 7.8617
2019-02-04 06:45:00 | 5.437 | 242.567 | 4.433 | 247.547 | 4.018 | 253.067 | 3.602 | 248.15 | -10.199 | 890.05 | 63.819 | 6.7099
2019-02-04 07:00:00 | 5.151 | 243.907 | 4.488 | 246.034 | 4.106 | 247.7 | 3.545 | 242.667 | -8.688 | 889.725 | 63.189 | 6.4299
2019-02-04 07:15:00 | 5.465 | 246.647 | 4.62 | 250.613 | 4.267 | 254.567 | 4.205 | 248.35 | -7.832 | 890 | 60.224 | 7.1341
2019-02-04 07:30:00 | 4.985 | 246.473 | 4.9 | 249.185 | 5.119 | 255.1 | 5.055 | 250.75 | -8.354 | 890.058 | 59.659 | 9.933
2019-02-04 07:45:00 | 4.83 | 247.533 | 4.86 | 252.61 | 4.639 | 259.3 | 4.39 | 255.6 | -9.258 | 889.717 | 62.309 | 11.362
2019-02-04 08:00:00 | 4.971 | 245.533 | 5.682 | 246.73 | 5.244 | 254.767 | 5.034 | 251.85 | -9.26 | 889.7 | 60.821 | 10.2506
2019-02-04 08:15:00 | 4.793 | 248.647 | 4.606 | 249.16 | 4.55 | 255.5 | 4.647 | 252.417 | -8.15 | 889.525 | 61.845 | 10.6841
2019-02-04 08:30:00 | 4.39 | 252.387 | 4.108 | 253.918 | 4.322 | 261.267 | 4.642 | 259.3 | -7.729 | 890.292 | 60.635 | 9.7461
2019-02-04 08:45:00 | 4.349 | 264.38 | 4.522 | 262.784 | 4.331 | 270.7 | 4.366 | 265.133 | -7.689 | 889.525 | 59.445 | 9.879
2019-02-04 09:00:00 | 3.22 | 253.373 | 5.672 | 249.67 | 5.856 | 249.867 | 6.08 | 243.733 | -10.287 | 889.867 | 60.981 | 13.3075
2019-02-04 09:15:00 | 4.006 | 258.607 | 5.073 | 254.918 | 5.204 | 252.45 | 5.495 | 243.267 | -11.757 | 889.533 | 68.757 | 19.4766
2019-02-04 09:30:00 | 4.003 | 274.653 | 4.563 | 274.332 | 4.719 | 275.667 | 4.96 | 264.783 | -9.92 | 889.542 | 64.805 | 19.0297
2019-02-04 09:45:00 | 3.721 | 272.8 | 4.118 | 265.938 | 3.922 | 267.967 | 4.089 | 257.383 | -10.116 | 889.708 | 63.392 | 12.4932
2019-02-04 10:00:00 | 3.186 | 269.96 | 3.331 | 265.222 | 3.374 | 259.867 | 3.805 | 242.533 | -8.651 | 890.392 | 60.496 | 9.6573
2019-02-04 10:15:00 | 3.755 | 258.233 | 3.603 | 241.862 | 4.576 | 239.45 | 4.952 | 237.433 | -6.803 | 890.233 | 58.347 | 11.4295
2019-02-04 10:30:00 | 2.557 | 252.867 | 3.077 | 239.393 | 4.126 | 241.583 | 4.854 | 243.667 | -5.981 | 889.6 | 59.051 | 12.3148
2019-02-04 10:45:00 | 1.494 | 271.72 | 2.107 | 264.382 | 3.33 | 253.9 | 4.457 | 246.217 | -4.593 | 889.767 | 58.827 | 9.2182
2019-02-04 11:00:00 | 2.217 | 306.92 | 2.369 | 293.226 | 2.523 | 283.767 | 3.258 | 263.7 | -4.816 | 889.775 | 53.328 | 3.744
2019-02-04 11:15:00 | 1.654 | 304.707 | 1.464 | 284.55 | 1.734 | 274.533 | 2.515 | 250.983 | -3.82 | 889.933 | 49.776 | 1.2776
2019-02-04 11:30:00 | 3.29 | 337.28 | 3.02 | 331.323 | 2.644 | 333 | 2.77 | 314.067 | -3.843 | 889.883 | 47.968 | 1.3529
2019-02-04 11:45:00 | 2.615 | 329.693 | 2.553 | 323.001 | 2.661 | 317.4 | 2.899 | 300.833 | -4.031 | 889.975 | 47.808 | 1.8944
2019-02-04 12:00:00 | 3.227 | 313.667 | 3.422 | 307.942 | 3.613 | 311.333 | 3.859 | 307.033 | -3.404 | 889.708 | 46.027 | 3.9287
2019-02-04 12:15:00 | 5.233 | 298.12 | 5.483 | 293.358 | 5.692 | 295.633 | 6.281 | 289.333 | -2.842 | 889.392 | 44.048 | 14.7805
2019-02-04 12:30:00 | 5.41 | 325.893 | 5.548 | 314.632 | 5.594 | 314.067 | 5.794 | 303.967 | -2.636 | 889.967 | 41.589 | 31.7375
2019-02-04 12:45:00 | 5.278 | 317.773 | 5.526 | 310.047 | 5.837 | 313.867 | 6.246 | 308.7 | -2.679 | 889.525 | 40.896 | 23.7542
2019-02-04 13:00:00 | 8.961 | 285.427 | 9.764 | 287.951 | 9.847 | 291 | 10.17 | 288.367 | -1.276 | 889.683 | 38.117 | 25.1903
2019-02-04 13:15:00 | 9.212 | 291.853 | 9.805 | 287.287 | 10.407 | 291.8 | 10.864 | 288.233 | -0.652 | 890.05 | 35.371 | 43.4803
2019-02-04 13:30:00 | 9.978 | 297.52 | 10.678 | 293.034 | 10.932 | 296.833 | 11.182 | 295.533 | -0.728 | 889.617 | 34.893 | 44.3486
2019-02-04 13:45:00 | 9.266 | 292.4 | 10.048 | 284.943 | 10.107 | 288.667 | 10.562 | 286.733 | -0.356 | 889.15 | 33.592 | 44.846
2019-02-04 14:00:00 | 9.75 | 282.2 | 10.328 | 282.1 | 10.542 | 287.233 | 10.983 | 286.867 | -0.276 | 890.067 | 32.701 | 43.2629
2019-02-04 14:15:00 | 10.717 | 296.093 | 11.387 | 291.041 | 11.669 | 295.733 | 12.404 | 292.567 | -0.246 | 889.55 | 32.288 | 42.5921
2019-02-04 14:30:00 | 10.414 | 291.507 | 10.865 | 288.478 | 11.09 | 293.667 | 11.434 | 293.333 | -0.289 | 889.8 | 32.36 | 42.5409
2019-02-04 14:45:00 | 10.671 | 293 | 11.54 | 288.611 | 11.68 | 293.2 | 12.166 | 290.733 | -0.658 | 889.717 | 33.163 | 43.4782
2019-02-04 15:00:00 | 10.623 | 293.88 | 11.496 | 291.638 | 11.587 | 297.767 | 11.973 | 296.467 | -0.752 | 889.417 | 33.784 | 43.8988
2019-02-04 15:15:00 | 11.319 | 301.8 | 12.253 | 297.568 | 12.582 | 300.4 | 13.063 | 297.3 | -0.495 | 890.017 | 32.867 | 44.3358
2019-02-04 15:30:00 | 9.919 | 298.413 | 10.528 | 294.736 | 10.842 | 297.067 | 11.177 | 292.967 | -0.05 | 889.967 | 31.931 | 45.2929
2019-02-04 15:45:00 | 9.892 | 271.773 | 10.93 | 274.378 | 10.882 | 279.733 | 11.123 | 277.6 | 0 | 889.467 | 30.624 | 46.0859
2019-02-04 16:00:00 | 10.546 | 301.533 | 10.962 | 297.017 | 11.248 | 301.6 | 12.004 | 298.5 | -0.033 | 889.417 | 31.413 | 46.1151
2019-02-04 16:15:00 | 8.604 | 299.707 | 9.432 | 298.448 | 9.616 | 300.8 | 9.776 | 298.033 | -0.066 | 889.333 | 32.243 | 46.4831
2019-02-04 16:30:00 | 9.653 | 284.52 | 10.42 | 287.557 | 10.413 | 289.667 | 10.44 | 284.6 | -0.099 | 889.8 | 30.555 | 47.0118
2019-02-04 16:45:00 | 8.868 | 297.787 | 9.456 | 295.862 | 9.839 | 301.333 | 10.48 | 298.233 | -0.339 | 889.867 | 31.373 | 47.1916
2019-02-04 17:00:00 | 9.438 | 299.173 | 10.205 | 297.261 | 10.37 | 301.4 | 10.883 | 298 | -0.405 | 889.667 | 32.216 | 47.2996
2019-02-04 17:15:00 | 8.851 | 298.467 | 9.507 | 295.708 | 9.853 | 301.067 | 10.062 | 299.5 | -0.558 | 889.783 | 33.267 | 48.0464
2019-02-04 17:30:00 | 9.514 | 318.187 | 10.156 | 310.502 | 10.815 | 316.067 | 11.07 | 314.5 | -1.632 | 889.867 | 38.939 | 49.7724
2019-02-04 17:45:00 | 9.349 | 318.28 | 10.084 | 313.271 | 10.505 | 319.433 | 10.915 | 315.6 | -2.381 | 889.65 | 41.819 | 58.1158
2019-02-04 18:00:00 | 8.509 | 315.453 | 9.488 | 310.545 | 9.752 | 314.8 | 10.201 | 312.067 | -2.842 | 889.792 | 42.896 | 65.1867
2019-02-04 18:15:00 | 6.957 | 318.4 | 7.704 | 312.718 | 7.99 | 315.867 | 8.649 | 312.833 | -3.237 | 889.642 | 43.851 | 53.1198
2019-02-04 18:30:00 | 6.422 | 320.947 | 7.07 | 313.113 | 7.435 | 319.033 | 7.77 | 316.233 | -4.224 | 890 | 46.528 | 38.8396
2019-02-04 18:45:00 | 5.732 | 319.907 | 6.378 | 312.471 | 6.705 | 316.633 | 7.209 | 313.9 | -4.364 | 889.55 | 48.795 | 31.0013
2019-02-04 19:00:00 | 5.408 | 318.867 | 6.154 | 311.99 | 6.656 | 318 | 7.196 | 314.8 | -5.169 | 889.883 | 50.96 | 30.6396
2019-02-04 19:15:00 | 4.69 | 311.387 | 5.751 | 307.864 | 6.128 | 313.6 | 6.511 | 311.533 | -5.862 | 889.9 | 52.784 | 24.6659
2019-02-04 19:30:00 | 4.366 | 305.533 | 5.509 | 305.145 | 5.974 | 311.2 | 6.362 | 308.5 | -6.395 | 889.667 | 54.608 | 19.5164
2019-02-04 19:45:00 | 3.541 | 304.96 | 4.626 | 307.419 | 4.878 | 312.967 | 5.029 | 307 | -7.23 | 889.858 | 56.427 | 12.9067
2019-02-04 20:00:00 | 3.508 | 301.907 | 4.283 | 306.472 | 4.441 | 312.033 | 4.603 | 306.333 | -7.499 | 889.875 | 58.272 | 9.3091
2019-02-04 20:15:00 | 2.96 | 279.373 | 3.13 | 292.37 | 3.229 | 297.2 | 3.631 | 294.867 | -7.813 | 889.45 | 59.68 | 5.0166
2019-02-04 20:30:00 | 2.115 | 243.9 | 1.549 | 267.262 | 1.808 | 286 | 2.53 | 292 | -8.591 | 889.808 | 61.397 | 3.3091
2019-02-04 20:45:00 | 2.675 | 285.733 | 2.676 | 289.629 | 2.964 | 300.933 | 3.378 | 297.767 | -7.772 | 889.725 | 62.112 | 1.77
2019-02-04 21:00:00 | 2.924 | 287.32 | 2.833 | 283.141 | 2.819 | 302.233 | 3.271 | 298.867 | -8.01 | 889.867 | 60.725 | 1.8496
2019-02-04 21:15:00 | 2.807 | 271.053 | 2.748 | 274.855 | 2.62 | 287.067 | 2.86 | 272.133 | -8.01 | 889.825 | 61.152 | 2.7236
2019-02-04 21:30:00 | 2.622 | 290.947 | 2.852 | 299.109 | 2.646 | 298.367 | 2.678 | 281.133 | -7.769 | 889.75 | 61.365 | 3.8101
2019-02-04 21:45:00 | 3.372 | 249.173 | 4.185 | 246.275 | 5.068 | 252.833 | 5.734 | 250.067 | -7.97 | 889.992 | 59.072 | 7.677
2019-02-04 22:00:00 | 4.657 | 247.133 | 4.967 | 248.842 | 5.49 | 256.533 | 5.956 | 253.15 | -7.373 | 890 | 52.587 | 18.786
2019-02-04 22:15:00 | 3.893 | 260.747 | 5.022 | 253.869 | 5.19 | 257.4 | 4.958 | 252.683 | -7.803 | 890.042 | 52.293 | 21.1088
2019-02-04 22:30:00 | 3.794 | 261.76 | 5.022 | 245.615 | 5.086 | 255.217 | 4.854 | 254.467 | -8.17 | 890.125 | 52.32 | 19.3146
2019-02-04 22:45:00 | 4.423 | 234.7 | 5.173 | 245.166 | 4.829 | 256.667 | 4.913 | 255.133 | -9.291 | 890.375 | 55.125 | 17.5453
2019-02-04 23:00:00 | 5.15 | 235.833 | 5.538 | 242.316 | 5.43 | 251.367 | 5.373 | 251.15 | -9.225 | 888.975 | 55.36 | 19.7431
2019-02-04 23:15:00 | 5.186 | 233.9 | 5.915 | 241.987 | 5.834 | 250.133 | 5.786 | 249.267 | -8.508 | 889.667 | 54.123 | 19.4169
2019-02-04 23:30:00 | 5.858 | 232.993 | 6.42 | 239.742 | 6.345 | 247.467 | 6.088 | 245.967 | -8.394 | 890.142 | 52.981 | 22.4774
2019-02-04 23:45:00 | 5.728 | 232.2 | 5.782 | 241.165 | 5.807 | 249.233 | 5.698 | 247.533 | -8.574 | 889.883 | 52.992 | 21.0406