## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-05 00:00:00 | 5.506 | 232.887 | 5.672 | 243.812 | 5.559 | 251.833 | 5.374 | 250.05 | -9.178 | 890.308 | 54.528 | 18.2481
2019-02-05 00:15:00 | 5.238 | 234.767 | 5.455 | 241.984 | 5.18 | 248.8 | 4.998 | 248.5 | -8.791 | 889.908 | 55.072 | 13.8902
2019-02-05 00:30:00 | 5.39 | 225.96 | 5.097 | 240.334 | 5.126 | 247.5 | 4.861 | 242.8 | -8.561 | 889.758 | 52.992 | 12.5259
2019-02-05 00:45:00 | 5.047 | 227.833 | 4.656 | 244.759 | 4.529 | 254.7 | 4.268 | 251.8 | -9.712 | 874.817 | 54.443 | 10.326
2019-02-05 01:00:00 | 5.234 | 227.707 | 4.983 | 245.674 | 4.932 | 251.733 | 4.443 | 248.433 | -9.858 | 872.542 | 55.819 | 9.5564
2019-02-05 01:15:00 | 4.839 | 227.933 | 4.427 | 246.974 | 4.266 | 257 | 3.847 | 252.45 | -9.065 | 876.683 | 55.264 | 8.6277
2019-02-05 01:30:00 | 4.761 | 242.1 | 4.214 | 252.502 | 4.145 | 256.133 | 3.94 | 251.117 | -8.982 | 876.192 | 54.757 | 8.0372
2019-02-05 01:45:00 | 5.353 | 238.633 | 5.015 | 250.517 | 4.799 | 256.4 | 4.626 | 251.033 | -8.594 | 883.375 | 53.173 | 8.4309
2019-02-05 02:00:00 | 5.84 | 238.26 | 5.554 | 249.246 | 5.184 | 254.5 | 4.712 | 249.65 | -9.329 | 873.133 | 53.877 | 12.7397
2019-02-05 02:15:00 | 5.537 | 242.567 | 5.403 | 249.273 | 5.036 | 255.967 | 4.65 | 254.033 | -10.414 | 862.067 | 56.256 | 16.0467
2019-02-05 02:30:00 | 4.913 | 242.6 | 4.416 | 260.732 | 3.982 | 272.533 | 3.83 | 273.7 | -10.264 | 861.742 | 55.957 | 12.9167
2019-02-05 02:45:00 | 4.818 | 245.24 | 4.159 | 268.37 | 3.709 | 274.067 | 3.354 | 276.433 | -10.662 | 861.425 | 58.117 | 7.623
2019-02-05 03:00:00 | 4.142 | 241.067 | 3.52 | 267.169 | 3.176 | 271.8 | 2.938 | 271.267 | -9.238 | 864.092 | 55.749 | 5.2426
2019-02-05 03:15:00 | 4.856 | 229.907 | 3.225 | 253.772 | 3.152 | 250.967 | 3.234 | 241.567 | -9.656 | 862.042 | 55.301 | 4.36
2019-02-05 03:30:00 | 4.912 | 231.227 | 3.338 | 228.854 | 3.094 | 230 | 3.67 | 231.3 | -8.221 | 866.867 | 51.499 | 6.9977
2019-02-05 03:45:00 | 6.015 | 227.4 | 4.878 | 233.124 | 4.508 | 239 | 4.303 | 232.967 | -8.098 | 869.375 | 48.907 | 15.4797
2019-02-05 04:00:00 | 5.466 | 230.133 | 5.917 | 239.728 | 5.628 | 248.567 | 5.372 | 245.5 | -8.873 | 861.8 | 49.792 | 22.8682
2019-02-05 04:15:00 | 5.18 | 227.173 | 6.102 | 238.69 | 6.26 | 248.267 | 6.086 | 245.567 | -10.285 | 862.15 | 52.832 | 25.3907
2019-02-05 04:30:00 | 4.929 | 225.4 | 6.66 | 233.575 | 6.595 | 243 | 6.43 | 241.767 | -10.431 | 862.175 | 54.933 | 25.0986
2019-02-05 04:45:00 | 5.773 | 218.7 | 6.266 | 226.108 | 6.537 | 233.467 | 6.508 | 231.133 | -10.348 | 862.492 | 56.064 | 24.7924
2019-02-05 05:00:00 | 6.531 | 217.707 | 6.705 | 223.18 | 6.67 | 229.967 | 6.663 | 227.9 | -10.285 | 862.158 | 56.224 | 25.9641
2019-02-05 05:15:00 | 6.423 | 216.627 | 6.375 | 219.295 | 6.339 | 225.5 | 6.139 | 225.1 | -9.644 | 861.925 | 54.443 | 20.9006
2019-02-05 05:30:00 | 7.27 | 213.133 | 6.457 | 214.351 | 6.39 | 219.367 | 6.476 | 217.267 | -9.139 | 861.95 | 53.792 | 21.4314
2019-02-05 05:45:00 | 6.003 | 216.553 | 5.755 | 221.372 | 5.84 | 229.433 | 5.893 | 227.033 | -8.495 | 861.658 | 50.72 | 19.2286
2019-02-05 06:00:00 | 5.316 | 222.767 | 5.503 | 233.892 | 5.518 | 243.867 | 5.502 | 243.2 | -10.396 | 861.75 | 55.008 | 19.3473
2019-02-05 06:15:00 | 4.909 | 227.633 | 4.917 | 239.959 | 4.934 | 250.9 | 4.826 | 250.083 | -9.339 | 861.975 | 54.261 | 18.1791
2019-02-05 06:30:00 | 4.307 | 255.153 | 4.411 | 262.678 | 4.59 | 271.933 | 4.85 | 269.933 | -7.987 | 861.833 | 54.053 | 17.5126
2019-02-05 06:45:00 | 3.194 | 267.4 | 3.056 | 273.581 | 3.212 | 279.267 | 3.46 | 267.033 | -6.881 | 861.95 | 49.621 | 11.3236
2019-02-05 07:00:00 | 2.341 | 270.247 | 1.997 | 279.002 | 1.914 | 269.167 | 2.646 | 245.233 | -6.559 | 862.125 | 47.392 | 5.6227
2019-02-05 07:15:00 | 2.332 | 243.533 | 3.079 | 244.052 | 4.16 | 243.333 | 4.354 | 240.533 | -7.53 | 862.175 | 49.685 | 8.8345
2019-02-05 07:30:00 | 3.451 | 242.933 | 4.73 | 240.53 | 5.854 | 244.667 | 5.996 | 243.833 | -8.203 | 861.483 | 51.179 | 21.1891
2019-02-05 07:45:00 | 5.531 | 229 | 6.237 | 236.291 | 6.706 | 244.8 | 6.845 | 241.667 | -7.764 | 861.925 | 50.731 | 32.3251
2019-02-05 08:00:00 | 6.326 | 223.453 | 6.022 | 226.034 | 6.379 | 235.233 | 6.73 | 233.633 | -7.548 | 861.8 | 50.592 | 27.8677
2019-02-05 08:15:00 | 5.753 | 222.247 | 5.608 | 223.401 | 5.768 | 229.3 | 5.825 | 226.967 | -6.576 | 861.6 | 46.549 | 19.1029
2019-02-05 08:30:00 | 5.518 | 222.273 | 5.425 | 222.435 | 5.719 | 228.233 | 5.919 | 225.6 | -6.69 | 861.542 | 45.451 | 10.2755
2019-02-05 08:45:00 | 4.986 | 210.04 | 5.479 | 212.706 | 6.1 | 223.733 | 6.458 | 225.267 | -6.921 | 861.658 | 45.333 | 14.6853
2019-02-05 09:00:00 | 5.67 | 222.08 | 6.683 | 228.76 | 7.381 | 238.7 | 7.815 | 235.933 | -7.893 | 862.033 | 48.608 | 28.8149
2019-02-05 09:15:00 | 5.334 | 223.807 | 7.41 | 232.154 | 8.022 | 241.533 | 8.268 | 237.367 | -9.76 | 861.883 | 56.373 | 39.9864
2019-02-05 09:30:00 | 6.09 | 232.033 | 7.957 | 237.988 | 8.609 | 245.133 | 8.728 | 240.833 | -8.639 | 861.433 | 59.979 | 52.6487
2019-02-05 09:45:00 | 6.194 | 241.847 | 7.134 | 244.139 | 7.668 | 248.767 | 7.96 | 244.2 | -6.825 | 861.85 | 57.216 | 44.6364
2019-02-05 10:00:00 | 4.346 | 253.54 | 5.18 | 251.076 | 5.986 | 250.4 | 6.664 | 242.8 | -5.952 | 861.592 | 55.339 | 30.862
2019-02-05 10:15:00 | 4.195 | 259.32 | 6.047 | 251.144 | 7.08 | 251.2 | 8.001 | 243.167 | -6.025 | 862.05 | 55.413 | 40.1527
2019-02-05 10:30:00 | 7.012 | 237.507 | 8.41 | 240.472 | 9.213 | 246.733 | 9.384 | 241.433 | -4.83 | 861.642 | 53.483 | 57.401
2019-02-05 10:45:00 | 7.822 | 235.247 | 8.587 | 234.949 | 9.24 | 239.933 | 9.458 | 235.033 | -4.021 | 864.933 | 51.861 | 65.5114
2019-02-05 11:00:00 | 7.418 | 236.4 | 8.463 | 238.394 | 9.069 | 243 | 9.135 | 237.267 | -3.576 | 867.392 | 50.187 | 65.5505
2019-02-05 11:15:00 | 6.941 | 237.267 | 7.69 | 236.179 | 8.25 | 243.833 | 8.347 | 238.967 | -3.421 | 887.025 | 48.352 | 59.7075
2019-02-05 11:30:00 | 5.616 | 244.833 | 6.399 | 248.382 | 6.67 | 255.033 | 6.821 | 250.95 | -2.748 | 889.175 | 47.035 | 42.774
2019-02-05 11:45:00 | 6.336 | 266.94 | 7.107 | 271.022 | 7.613 | 273.95 | 8.459 | 270.183 | -2.28 | 889.975 | 44.043 | 44.76
2019-02-05 12:00:00 | 5.809 | 287.58 | 6.464 | 289.66 | 7.051 | 294 | 7.438 | 283.683 | -1.872 | 889.875 | 43.435 | 55.7702
2019-02-05 12:15:00 | 9.241 | 271.407 | 10.841 | 279.59 | 11.137 | 285.667 | 11.487 | 283.933 | -1.809 | 889.767 | 45.915 | 57.2717
2019-02-05 12:30:00 | 11.229 | 285.747 | 12.02 | 286.579 | 12.234 | 291.7 | 12.554 | 288.333 | -1.78 | 890.083 | 45.541 | 60.0535
2019-02-05 12:45:00 | 12.131 | 286.76 | 12.889 | 290.43 | 13.197 | 294.333 | 13.54 | 291.8 | -2.012 | 889.892 | 46.56 | 57.7385
2019-02-05 13:00:00 | 11.768 | 292.64 | 12.162 | 292.11 | 12.742 | 295.3 | 13.335 | 291.9 | -1.696 | 889.842 | 46.853 | 51.0791
2019-02-05 13:15:00 | 12.263 | 287.92 | 13.37 | 289.097 | 14.057 | 291.567 | 14.315 | 289.667 | -1.55 | 888.867 | 46.277 | 51.175
2019-02-05 13:30:00 | 11.504 | 285.947 | 12.383 | 287.455 | 12.677 | 291.6 | 13.136 | 288 | -1.603 | 889.767 | 47.157 | 45.8777
2019-02-05 13:45:00 | 11.175 | 274 | 12.384 | 279.752 | 12.766 | 283.667 | 13.095 | 281.1 | -1.279 | 889.833 | 48.619 | 42.0492
2019-02-05 14:00:00 | 11.47 | 262.827 | 12.639 | 271.61 | 13.123 | 276.833 | 13.6 | 270.367 | -1.68 | 890.092 | 50.192 | 40.1918
2019-02-05 14:15:00 | 11.516 | 267.227 | 13.08 | 270.175 | 13.355 | 274.033 | 13.618 | 271.2 | -1.76 | 889.683 | 51.008 | 41.3493
2019-02-05 14:30:00 | 13.306 | 258.087 | 14.429 | 270.241 | 14.743 | 274.433 | 14.975 | 270.667 | -1.202 | 888.775 | 50.533 | 41.436
2019-02-05 14:45:00 | 11.991 | 258.687 | 13.187 | 266.14 | 13.568 | 272.467 | 13.545 | 266.9 | -0.698 | 886.483 | 48.629 | 41.5966
2019-02-05 15:00:00 | 13.474 | 264.14 | 14.552 | 269.915 | 14.837 | 274.1 | 15.107 | 271.333 | -0.775 | 884.908 | 47.819 | 42.079
2019-02-05 15:15:00 | 11.651 | 265.067 | 13.387 | 268.464 | 13.548 | 272.533 | 13.732 | 268.067 | -0.982 | 878.833 | 48.096 | 41.8446
2019-02-05 15:30:00 | 12.695 | 259.233 | 14.193 | 264.394 | 14.074 | 268.333 | 14.044 | 264.433 | -1.454 | 874.742 | 49.355 | 41.4196
2019-02-05 15:45:00 | 13.791 | 258.82 | 14.85 | 263.189 | 14.905 | 267.067 | 15.185 | 262.317 | -1.411 | 861.417 | 49.611 | 41.7806
2019-02-05 16:00:00 | 13.676 | 250.52 | 15.473 | 260.785 | 15.877 | 264.267 | 15.794 | 260.317 | -1.598 | 866.583 | 49.792 | 41.733
2019-02-05 16:15:00 | 12.714 | 264.04 | 13.802 | 266.67 | 14.383 | 270.267 | 14.528 | 265.467 | -1.414 | 862.058 | 50.747 | 40.2095
2019-02-05 16:30:00 | 13.072 | 260.527 | 13.979 | 266.215 | 14.383 | 270.667 | 14.405 | 267.733 | -1.641 | 863.433 | 50.768 | 38.4978
2019-02-05 16:45:00 | 12.08 | 255.44 | 13.609 | 266.859 | 13.73 | 271.167 | 14.086 | 268.467 | -1.183 | 871.267 | 50.411 | 37.5861
2019-02-05 17:00:00 | 12.072 | 263.48 | 13.389 | 270.689 | 13.482 | 275.633 | 13.426 | 272 | -1.527 | 869.392 | 51.136 | 38.8161
2019-02-05 17:15:00 | 11.785 | 268.2 | 13.266 | 273.707 | 13.428 | 277.6 | 13.63 | 273.867 | -1.54 | 873.742 | 51.349 | 38.9668
2019-02-05 17:30:00 | 12.227 | 253.393 | 13.987 | 271.107 | 14.537 | 276.367 | 14.96 | 272.333 | -1.917 | 872.8 | 52.368 | 36.057
2019-02-05 17:45:00 | 11.069 | 259.547 | 13.06 | 273.047 | 13.663 | 277.233 | 14.148 | 273.4 | -2.115 | 882.55 | 53.541 | 38.1446
2019-02-05 18:00:00 | 10.565 | 277.68 | 11.924 | 284.866 | 12.596 | 287.933 | 13.457 | 285.2 | -2.444 | 879.517 | 55.2 | 49.8747
2019-02-05 18:15:00 | 10.336 | 296.867 | 11.429 | 295.663 | 11.979 | 301.167 | 12.599 | 298.133 | -3.189 | 879.8 | 56.629 | 60.8664
2019-02-05 18:30:00 | 11.041 | 285.933 | 12.654 | 290.221 | 13.493 | 295.167 | 14.276 | 292.267 | -3.407 | 880.4 | 57.712 | 59.6293
2019-02-05 18:45:00 | 9.061 | 288.833 | 10.76 | 292.063 | 11.51 | 296.867 | 12.341 | 293.7 | -3.794 | 870.317 | 61.211 | 63.6533
2019-02-05 19:00:00 | 7.642 | 278.5 | 9.1 | 283.633 | 9.589 | 287.667 | 10.03 | 284.533 | -4.172 | 871.242 | 63.397 | 67.393
2019-02-05 19:15:00 | 8.112 | 257.6 | 9.554 | 271.963 | 10.086 | 277 | 10.328 | 271.567 | -4.232 | 868.483 | 63.333 | 54.0308
2019-02-05 19:30:00 | 7.654 | 259.84 | 8.62 | 269.481 | 8.993 | 272.933 | 9.144 | 268.7 | -4.555 | 868.425 | 63.147 | 60.9076
2019-02-05 19:45:00 | 7.312 | 256.487 | 8.906 | 265.076 | 9.398 | 270.3 | 9.596 | 265.167 | -4.975 | 864.508 | 64.389 | 62.3309
2019-02-05 20:00:00 | 6.302 | 262.393 | 8.049 | 267.222 | 8.928 | 271.467 | 9.197 | 267.1 | -5.175 | 863.65 | 66.181 | 51.3669
2019-02-05 20:15:00 | 6.561 | 280.86 | 7.902 | 283.568 | 8.241 | 285.933 | 8.691 | 283.367 | -5.424 | 869.233 | 65.819 | 40.7553
2019-02-05 20:30:00 | 6.025 | 266.86 | 7.488 | 276.344 | 7.896 | 279 | 8.047 | 276.167 | -5.408 | 863.392 | 67.173 | 35.502
2019-02-05 20:45:00 | 4.605 | 263.287 | 5.827 | 268.697 | 6.198 | 273.1 | 6.54 | 268.567 | -6.254 | 861.95 | 68.187 | 22.8135
2019-02-05 21:00:00 | 4.07 | 257.253 | 5.713 | 262.163 | 6.116 | 268.833 | 6.595 | 264.1 | -6.88 | 861.608 | 70.235 | 16.3565
2019-02-05 21:15:00 | 3.864 | 266.24 | 5.126 | 270.1 | 5.465 | 275.733 | 5.782 | 272.667 | -6.986 | 861.867 | 71.451 | 16.2968
2019-02-05 21:30:00 | 2.421 | 278.82 | 3.521 | 282.654 | 3.886 | 285.733 | 4.351 | 283.967 | -6.884 | 861.517 | 71.563 | 10.5121
2019-02-05 21:45:00 | 2.505 | 263.44 | 3.549 | 277.683 | 4.061 | 283.867 | 4.559 | 282.4 | -6.921 | 861.875 | 72.736 | 9.8769
2019-02-05 22:00:00 | 3.809 | 226.627 | 4.159 | 247.96 | 4.52 | 261.067 | 4.753 | 260.633 | -7.494 | 862.792 | 74.192 | 12.1592
2019-02-05 22:15:00 | 4.995 | 232.293 | 5.115 | 243.616 | 5.543 | 256.5 | 5.7 | 257.033 | -7.279 | 861.733 | 73.771 | 13.9413
2019-02-05 22:30:00 | 4.481 | 231.8 | 4.588 | 240.491 | 4.848 | 251.567 | 5.163 | 251.117 | -7.53 | 862.175 | 72.277 | 13.9101
2019-02-05 22:45:00 | 2.933 | 230.547 | 2.996 | 242.001 | 3.341 | 251.1 | 3.68 | 248.933 | -8.061 | 862.125 | 71.115 | 11.6838
2019-02-05 23:00:00 | 2.01 | 245.187 | 2.643 | 250.51 | 2.625 | 261.333 | 2.764 | 260.317 | -8.024 | 861.675 | 72 | 7.6855
2019-02-05 23:15:00 | 2.167 | 240.533 | 2.279 | 247.233 | 2.042 | 250.667 | 2.362 | 252 | -8 | 861.767 | 72.587 | 4.6428
2019-02-05 23:30:00 | 0.693 | 258.907 | 0.934 | 264.902 | 1.42 | 260.2 | 2.215 | 254.467 | -8.274 | 866.383 | 72.597 | 1.5917
2019-02-05 23:45:00 | 0 | 259 | 0 | 265.079 | 0.342 | 260.067 | 1.636 | 251.483 | -8.098 | 869.167 | 74.389 | 0.32331