## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-06 00:00:00 | 0 | 259.2 | 0 | 264.918 | 0 | 260 | 0.285 | 245.5 | -7.511 | 869.783 | 74.539 | 0.14425
2019-02-06 00:15:00 | 0 | 258.987 | 0.083 | 265.031 | 1.327 | 260 | 1.859 | 245.5 | -8.165 | 877.842 | 76.192 | 0.96708
2019-02-06 00:30:00 | 0.186 | 259.2 | 0.253 | 265.086 | 1.441 | 272.6 | 2.646 | 270.567 | -7.592 | 877.775 | 76.491 | 1.7075
2019-02-06 00:45:00 | 2.474 | 306.653 | 2.256 | 293.348 | 2.935 | 294.433 | 3.715 | 280 | -7.322 | 885.333 | 74.981 | 5.288
2019-02-06 01:00:00 | 3.452 | 296.533 | 2.969 | 289.63 | 3.322 | 285.7 | 4.008 | 271.033 | -7.274 | 887.583 | 73.792 | 6.3582
2019-02-06 01:15:00 | 3.254 | 234.8 | 2.977 | 267.491 | 2.624 | 272.733 | 3.049 | 261 | -8.727 | 884.483 | 72.693 | 3.6672
2019-02-06 01:30:00 | 3.034 | 239.273 | 2.514 | 249.327 | 2.43 | 260.2 | 3.097 | 253.583 | -8.545 | 876.083 | 76.032 | 2.8423
2019-02-06 01:45:00 | 3.582 | 247.4 | 3.796 | 239.027 | 3.981 | 239.3 | 3.891 | 236.933 | -7.792 | 880.65 | 75.499 | 5.2838
2019-02-06 02:00:00 | 4.997 | 249.74 | 4.526 | 244.979 | 4.725 | 245.533 | 4.603 | 237.133 | -7.378 | 885.117 | 74.101 | 7.1625
2019-02-06 02:15:00 | 4.8 | 246.133 | 4.475 | 245.662 | 4.475 | 247.933 | 4.523 | 242.967 | -7.125 | 889.108 | 70.741 | 6.6793
2019-02-06 02:30:00 | 4.425 | 254.96 | 4.184 | 252.428 | 4.442 | 258.467 | 5.176 | 257.083 | -7.43 | 889.783 | 72.085 | 7.5867
2019-02-06 02:45:00 | 3.938 | 249.127 | 4.246 | 253.701 | 4.569 | 261.6 | 5.103 | 260.867 | -6.972 | 889.992 | 71.648 | 7.51
2019-02-06 03:00:00 | 4.368 | 246.367 | 4.564 | 254.55 | 4.947 | 259.567 | 5.27 | 257.167 | -6.33 | 890.167 | 71.723 | 8.3477
2019-02-06 03:15:00 | 4.031 | 239.233 | 4.402 | 248.226 | 4.853 | 255.767 | 5.134 | 252.517 | -6.462 | 890.05 | 70.816 | 7.6848
2019-02-06 03:30:00 | 3.957 | 230.153 | 3.754 | 242.078 | 4.112 | 250.767 | 4.426 | 248.867 | -6.19 | 889.933 | 68.917 | 6.1457
2019-02-06 03:45:00 | 4.769 | 220.033 | 3.228 | 234.473 | 3.355 | 243.433 | 3.604 | 240.6 | -7.356 | 889.875 | 70.773 | 3.977
2019-02-06 04:00:00 | 4.582 | 225.9 | 3.561 | 242.52 | 3.972 | 249.667 | 4.233 | 247.733 | -7.124 | 890.108 | 70.72 | 3.9266
2019-02-06 04:15:00 | 4.578 | 227.427 | 3.518 | 239.816 | 3.837 | 250.2 | 4.132 | 249.817 | -7.506 | 890.133 | 69.664 | 3.582
2019-02-06 04:30:00 | 5.376 | 218.127 | 3.859 | 223.094 | 3.856 | 232.833 | 3.952 | 230.8 | -7.187 | 888.967 | 72.427 | 3.5535
2019-02-06 04:45:00 | 5.211 | 208.747 | 4.109 | 214.804 | 3.744 | 228.133 | 3.7 | 232.2 | -7.897 | 890.083 | 67.605 | 2.4884
2019-02-06 05:00:00 | 5.532 | 212.26 | 4.094 | 211.278 | 4.004 | 218.3 | 3.831 | 218.067 | -9.409 | 887.042 | 70.283 | 2.2362
2019-02-06 05:15:00 | 5.672 | 219.98 | 3.953 | 220.318 | 2.998 | 224.867 | 2.605 | 224.467 | -9.904 | 866.425 | 73.963 | 1.4268
2019-02-06 05:30:00 | 5.974 | 221.173 | 4.064 | 225.867 | 3.207 | 233.733 | 3.019 | 231.767 | -10.916 | 862.75 | 74.955 | 2.6803
2019-02-06 05:45:00 | 6.393 | 222.1 | 4.742 | 221.745 | 4.199 | 232.1 | 3.572 | 237.533 | -11.177 | 861.408 | 76.693 | 3.8555
2019-02-06 06:00:00 | 6.547 | 218.04 | 4.903 | 220.193 | 4.151 | 226.733 | 3.777 | 226.067 | -10.867 | 861.875 | 75.253 | 5.0088
2019-02-06 06:15:00 | 6.447 | 219.167 | 5.003 | 222.66 | 4.188 | 226.5 | 3.7 | 222.9 | -11 | 861.925 | 75.605 | 3.9003
2019-02-06 06:30:00 | 5.678 | 223.113 | 3.902 | 233.758 | 3.455 | 241.633 | 3.093 | 233.567 | -11.209 | 862.125 | 76 | 1.7345
2019-02-06 06:45:00 | 5.144 | 222.733 | 2.417 | 226.595 | 1.787 | 243.067 | 1.569 | 234.933 | -11.227 | 862.042 | 76.715 | 0.74538
2019-02-06 07:00:00 | 4.814 | 224.88 | 1.689 | 243.553 | 1.158 | 260 | 1.347 | 235.567 | -10.189 | 861.85 | 76.075 | 0.30839
2019-02-06 07:15:00 | 5.552 | 224.447 | 2.632 | 239.11 | 2.101 | 262.4 | 1.831 | 268.967 | -11.956 | 863.2 | 75.573 | 0.35528
2019-02-06 07:30:00 | 4.775 | 219.673 | 1.61 | 224.807 | 0.236 | 253.733 | 0.39 | 268 | -11.096 | 861.967 | 73.685 | 0.31123
2019-02-06 07:45:00 | 0.777 | 95.207 | 1.193 | 94.767 | 1.606 | 95.6 | 2.502 | 79.2 | -11.778 | 867.517 | 78.464 | 1.4098
2019-02-06 08:00:00 | 0.641 | 123.48 | 2.746 | 107.744 | 3.207 | 109.667 | 2.697 | 101.1 | -11.686 | 874.742 | 78.645 | 3.3446
2019-02-06 08:15:00 | 0.913 | 134.717 | 3.084 | 110.204 | 2.957 | 106.3 | 2.883 | 104.033 | -11.858 | 874.104 | 81.696 | 2.8948
2019-02-06 08:30:00 | 1.762 | 141.2 | 3.151 | 105.593 | 2.765 | 107.567 | 2.273 | 105.333 | -11.5 | 881.529 | 82.347 | 1.4744
2019-02-06 08:45:00 | 2.227 | 153.8 | 2.584 | 115.196 | 2.093 | 113.233 | 1.871 | 102.533 | -11.161 | 889.288 | 81.504 | 1.2414
2019-02-06 09:00:00 | 3.213 | 154.833 | 2.998 | 129.678 | 2.727 | 127.967 | 2.729 | 124.133 | -11.461 | 890.025 | 79.424 | 2.0542
2019-02-06 09:15:00 | 2.523 | 154.527 | 2.687 | 120.627 | 2.594 | 119.633 | 2.95 | 114.267 | -10.439 | 890.092 | 74.912 | 0.6658
2019-02-06 09:30:00 | 2.696 | 164.273 | 2.737 | 132.006 | 2.439 | 123.167 | 2.348 | 111.833 | -10.674 | 889.725 | 74.144 | 0.29489
2019-02-06 09:45:00 | 3.919 | 146.887 | 3.446 | 127.294 | 3.12 | 126.067 | 3.15 | 116.267 | -10.066 | 889.725 | 73.781 | 0.20891
2019-02-06 10:00:00 | 3.332 | 158.393 | 3.248 | 132.092 | 2.519 | 127.133 | 2.705 | 115.533 | -9.458 | 889.858 | 70.976 | 0.50663
2019-02-06 10:15:00 | 2.519 | 118.473 | 3.266 | 99.412 | 2.866 | 92.667 | 3.306 | 85.233 | -8.708 | 889.833 | 71.093 | 3.2111
2019-02-06 10:30:00 | 3.513 | 90.767 | 3.35 | 86.055 | 2.834 | 92.1 | 2.899 | 85.833 | -7.956 | 889.733 | 69.664 | 4.7366
2019-02-06 10:45:00 | 3.444 | 91.673 | 2.89 | 91.789 | 2.26 | 97.3 | 2.406 | 90.867 | -8.15 | 889.467 | 69.504 | 3.7298
2019-02-06 11:00:00 | 3.33 | 88.963 | 3.378 | 87.251 | 3.126 | 92.1 | 2.906 | 93.633 | -7.759 | 889.908 | 69.515 | 4.4162
2019-02-06 11:15:00 | 5.301 | 92.413 | 5.146 | 87.043 | 4.972 | 86.7 | 5.034 | 86.8 | -7.287 | 889.825 | 68.565 | 15.2225
2019-02-06 11:30:00 | 7.229 | 102.62 | 6.839 | 97.509 | 6.533 | 103.033 | 6.484 | 97.9 | -7.669 | 889.833 | 62.965 | 42.7448
2019-02-06 11:45:00 | 8.061 | 94.633 | 7.838 | 88.836 | 7.021 | 94.433 | 6.656 | 88.8 | -7.572 | 889.392 | 40.395 | 45.7818
2019-02-06 12:00:00 | 7.128 | 89.293 | 7.047 | 84.213 | 6.509 | 90 | 6.334 | 86.933 | -7.679 | 889.883 | 36.373 | 41.6712
2019-02-06 12:15:00 | 7.188 | 88.367 | 6.88 | 87.383 | 6.548 | 91.533 | 6.504 | 85.1 | -7.091 | 889.75 | 36.08 | 33.1018
2019-02-06 12:30:00 | 6.047 | 95.447 | 5.268 | 90.121 | 5.021 | 94.533 | 4.972 | 89.6 | -6.906 | 889.533 | 37.589 | 27.2616
2019-02-06 12:45:00 | 6.348 | 92.65 | 6.056 | 88.75 | 5.546 | 93.9 | 6.009 | 88.867 | -6.096 | 889.617 | 39.835 | 25.8007
2019-02-06 13:00:00 | 6.166 | 93.483 | 5.998 | 89.375 | 5.858 | 93.433 | 5.709 | 89.6 | -5.898 | 889.617 | 40.128 | 26.556
2019-02-06 13:15:00 | 6.231 | 81.597 | 6.593 | 74.085 | 6.624 | 77.567 | 6.847 | 73.7 | -5.185 | 889.567 | 37.904 | 24.7142
2019-02-06 13:30:00 | 6.685 | 74.465 | 7.068 | 71.276 | 7.255 | 76.667 | 7.461 | 72.467 | -5.352 | 889.617 | 37.525 | 27.069
2019-02-06 13:45:00 | 7.856 | 74.393 | 8.161 | 69.169 | 8.232 | 74.2 | 8.294 | 71.067 | -5.402 | 889.775 | 40.464 | 29.0949
2019-02-06 14:00:00 | 8.281 | 75.36 | 8.6 | 70.415 | 9.061 | 75.6 | 9.428 | 70.367 | -5.185 | 889.767 | 45.408 | 28.3331
2019-02-06 14:15:00 | 8.476 | 76.665 | 8.702 | 72.851 | 8.812 | 77.833 | 9.102 | 75.833 | -4.785 | 890.05 | 48.683 | 24.6787
2019-02-06 14:30:00 | 8.088 | 86.733 | 7.96 | 81.853 | 7.751 | 86.967 | 7.426 | 84.333 | -4.952 | 889.883 | 49.333 | 24.4428
2019-02-06 14:45:00 | 8.416 | 82.933 | 8.554 | 76.762 | 8.598 | 80.9 | 8.687 | 77.8 | -4.885 | 889.992 | 48.352 | 23.524
2019-02-06 15:00:00 | 7.996 | 84.933 | 8.114 | 76.868 | 8.325 | 82.633 | 8.424 | 79.133 | -4.935 | 890.067 | 48.011 | 22.8426
2019-02-06 15:15:00 | 8.96 | 79.843 | 9.111 | 76.672 | 9.12 | 82.233 | 9.315 | 79.233 | -4.563 | 889.983 | 48.117 | 22.0197
2019-02-06 15:30:00 | 8.657 | 82.933 | 8.931 | 76.884 | 9.001 | 81.433 | 9.029 | 77.967 | -4.919 | 889.817 | 48.032 | 21.0818
2019-02-06 15:45:00 | 7.41 | 86.3 | 7.662 | 81.828 | 7.854 | 90.133 | 7.941 | 83.767 | -4.902 | 889.925 | 47.488 | 20.8956
2019-02-06 16:00:00 | 9.18 | 82.333 | 9.43 | 75.272 | 9.652 | 81.633 | 9.559 | 78 | -4.935 | 889.683 | 42.827 | 24.4208
2019-02-06 16:15:00 | 8.747 | 87.067 | 8.641 | 83.068 | 8.252 | 88.267 | 8.308 | 81.567 | -5.219 | 889.867 | 37.2 | 28.5626
2019-02-06 16:30:00 | 8.925 | 96.467 | 8.728 | 89.077 | 7.655 | 97.333 | 7.636 | 89.033 | -5.135 | 889.7 | 34.763 | 29.7663
2019-02-06 16:45:00 | 9.072 | 90.867 | 9.169 | 85.713 | 8.581 | 89.867 | 8.36 | 86.3 | -5.102 | 889.817 | 32.651 | 32.5461
2019-02-06 17:00:00 | 8.685 | 83.567 | 9.101 | 77.51 | 9.521 | 81.7 | 9.883 | 77.433 | -5.469 | 889.883 | 31.483 | 39.8244
2019-02-06 17:15:00 | 8.838 | 83.337 | 9.533 | 77.672 | 9.896 | 83.4 | 9.881 | 78.1 | -5.769 | 889.917 | 30.752 | 45.4699
2019-02-06 17:30:00 | 9.452 | 84.943 | 10.087 | 78.88 | 9.989 | 84.467 | 10.112 | 80.2 | -5.759 | 889.817 | 31.403 | 47.2612
2019-02-06 17:45:00 | 9.229 | 85.453 | 9.56 | 79.047 | 9.326 | 83.967 | 9.394 | 78.733 | -5.918 | 889.567 | 31.461 | 48.2858
2019-02-06 18:00:00 | 9.694 | 85.503 | 9.948 | 80.162 | 9.933 | 86.767 | 9.511 | 82.233 | -6.15 | 889.8 | 31.664 | 47.7096
2019-02-06 18:15:00 | 8.382 | 82.567 | 8.719 | 79.478 | 8.528 | 87.167 | 8.101 | 84.5 | -6.362 | 890.167 | 32.315 | 46.5911
2019-02-06 18:30:00 | 9.317 | 85.767 | 10.142 | 79.068 | 10.358 | 84.833 | 10.449 | 80.467 | -6.512 | 889.667 | 32.811 | 47.8019
2019-02-06 18:45:00 | 8.224 | 85.617 | 9.042 | 78.708 | 9.464 | 84.3 | 9.498 | 79.933 | -6.727 | 890.133 | 33.333 | 47.9682
2019-02-06 19:00:00 | 8.46 | 85.803 | 9.525 | 78.847 | 10.181 | 82.967 | 10.46 | 79.167 | -7.111 | 890.033 | 33.749 | 48.5914
2019-02-06 19:15:00 | 8.036 | 79.98 | 8.932 | 75.9 | 9.634 | 82.033 | 10.087 | 78.233 | -7.27 | 889.817 | 33.984 | 50.996
2019-02-06 19:30:00 | 8.445 | 83.7 | 9.198 | 79.341 | 9.171 | 86.033 | 9.358 | 82.367 | -7.672 | 889.733 | 33.403 | 50.8688
2019-02-06 19:45:00 | 9.629 | 88.3 | 10.533 | 81.901 | 10.391 | 87.9 | 9.982 | 87.3 | -7.789 | 889.633 | 31.824 | 54.5133
2019-02-06 20:00:00 | 8.342 | 89.267 | 8.83 | 85.684 | 8.482 | 93.533 | 8.294 | 88.3 | -7.706 | 889.417 | 30.629 | 59.9491
2019-02-06 20:15:00 | 8.194 | 88.517 | 8.403 | 84.277 | 7.954 | 90.967 | 7.419 | 87.067 | -7.839 | 890.133 | 30.251 | 60.6618
2019-02-06 20:30:00 | 7.605 | 87.033 | 8.14 | 81.08 | 8.211 | 88.9 | 8.093 | 84.267 | -8.19 | 890.083 | 30.075 | 62.0978
2019-02-06 20:45:00 | 9.529 | 88.767 | 9.766 | 84.598 | 9.71 | 90.567 | 9.995 | 85.4 | -7.89 | 889.667 | 30.149 | 72.3499
2019-02-06 21:00:00 | 9.158 | 83.283 | 9.333 | 79.138 | 9.647 | 84.933 | 9.598 | 81.467 | -8.291 | 890.083 | 30.144 | 74.6322
2019-02-06 21:15:00 | 8.451 | 80.29 | 8.769 | 76.367 | 9.151 | 80.833 | 9.419 | 78.1 | -8.016 | 890 | 29.749 | 73.4982
2019-02-06 21:30:00 | 7.062 | 70.083 | 7.614 | 68.355 | 7.696 | 74.567 | 8.25 | 71.367 | -8.11 | 889.55 | 29.168 | 67.3724
2019-02-06 21:45:00 | 6.2 | 64.853 | 6.638 | 62.254 | 7.186 | 68.367 | 7.579 | 64.5 | -8.391 | 890.3 | 28.667 | 45.1046
2019-02-06 22:00:00 | 6.129 | 71.487 | 6.834 | 67.198 | 7.109 | 71.667 | 7.426 | 67.7 | -8.474 | 890.2 | 28.501 | 42.499
2019-02-06 22:15:00 | 6.419 | 78.833 | 7.001 | 73.349 | 7.304 | 78 | 7.704 | 74.933 | -8.224 | 890.05 | 28.683 | 51.0393
2019-02-06 22:30:00 | 5.805 | 80.943 | 5.96 | 79.832 | 5.991 | 85.3 | 6.633 | 81.533 | -8.614 | 889.167 | 28.389 | 47.0154
2019-02-06 22:45:00 | 4.904 | 71.747 | 5.182 | 68.594 | 5.33 | 74.167 | 5.781 | 72.067 | -8.791 | 889.667 | 28.165 | 25.2919
2019-02-06 23:00:00 | 3.111 | 60.103 | 3.141 | 55.395 | 3.047 | 64.533 | 3.418 | 64.467 | -8.841 | 889.633 | 28.048 | 16.3999
2019-02-06 23:15:00 | 2.752 | 41.388 | 2.582 | 41.639 | 2.538 | 45.333 | 2.83 | 43.9 | -8.674 | 890.017 | 28.155 | 11.5325
2019-02-06 23:30:00 | 4.938 | 248.693 | 5.525 | 316.553 | 5.626 | 163.733 | 5.595 | 105.8 | -8.808 | 889.7 | 27.987 | 4.5199
2019-02-06 23:45:00 | 6.628 | 331.533 | 7.129 | 324.256 | 7.53 | 327.2 | 7.721 | 326.967 | -8.941 | 889.833 | 33.525 | 10.2215