## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-07 00:00:00 | 6.894 | 320.827 | 7.892 | 314.78 | 8.35 | 317.667 | 8.788 | 315.7 | -10.228 | 889.942 | 50.795 | 31.52
2019-02-07 00:15:00 | 6.706 | 286.133 | 7.339 | 290.601 | 7.543 | 293.6 | 7.876 | 292.233 | -10.216 | 889.692 | 65.173 | 38.2328
2019-02-07 00:30:00 | 6.495 | 274.467 | 7.414 | 282.606 | 7.604 | 286.367 | 7.827 | 284.733 | -10.78 | 890.433 | 78.576 | 34.3403
2019-02-07 00:45:00 | 5.105 | 288.547 | 5.381 | 288.878 | 5.574 | 294.167 | 5.976 | 291.967 | -11.095 | 889.867 | 81.339 | 26.5994
2019-02-07 01:00:00 | 4.794 | 297.32 | 5.313 | 292.472 | 5.638 | 297.333 | 6.13 | 294.467 | -11.19 | 890.196 | 82.891 | 17.3883
2019-02-07 01:15:00 | 3.399 | 307.267 | 3.667 | 303.284 | 4.017 | 308.033 | 4.442 | 302.667 | -11.345 | 889.796 | 83.627 | 6.3297
2019-02-07 01:30:00 | 2.258 | 329.293 | 2.229 | 316.41 | 2.391 | 315.1 | 2.864 | 303.733 | -11.326 | 889.633 | 84.469 | 1.5753
2019-02-07 01:45:00 | 2.723 | 300.933 | 2.786 | 293.077 | 2.917 | 299.333 | 3.262 | 292.767 | -11.395 | 889.404 | 84.235 | 0.18475
2019-02-07 02:00:00 | 2.155 | 312.067 | 1.907 | 296.633 | 1.706 | 293.467 | 2.081 | 286.6 | -11.311 | 890.217 | 84.352 | 0.30412
2019-02-07 02:15:00 | 2.425 | 302.533 | 2.437 | 290.683 | 2.405 | 290.8 | 3.012 | 287.533 | -11.361 | 889.996 | 84.405 | 0.29773
2019-02-07 02:30:00 | 1.958 | 333.72 | 1.916 | 318.556 | 2.167 | 323.5 | 2.513 | 312.633 | -11.474 | 889.538 | 84.96 | 0.2622
2019-02-07 02:45:00 | 3.004 | 342.013 | 2.992 | 335.35 | 3.009 | 337.967 | 3.17 | 328.2 | -11.932 | 890.021 | 85.035 | 0.23236
2019-02-07 03:00:00 | 2.651 | 334.72 | 2.555 | 325.064 | 2.668 | 328.7 | 3.038 | 326.7 | -11.849 | 890.196 | 85.504 | 0.45334
2019-02-07 03:15:00 | 1.404 | 330.4 | 1.073 | 311.66 | 1.256 | 308.333 | 2.051 | 300.067 | -12.203 | 890.383 | 85.461 | 0.2487
2019-02-07 03:30:00 | 0.742 | 325.627 | 1.134 | 302.885 | 1.73 | 298.933 | 2.317 | 297.667 | -11.87 | 889.621 | 85.429 | 0.33112
2019-02-07 03:45:00 | 0 | 322.453 | 0 | 302.669 | 0 | 297 | 1.232 | 278.2 | -12.161 | 890.2 | 85.12 | 0.30981
2019-02-07 04:00:00 | 0 | 322.693 | 0 | 303.1 | 0 | 297 | 0.34 | 278 | -11.974 | 889.925 | 85.333 | 0.30128
2019-02-07 04:15:00 | 0 | 322.747 | 0 | 303.001 | 0 | 297 | 0.289 | 278.133 | -11.932 | 889.892 | 85.397 | 0.30412
2019-02-07 04:30:00 | 0 | 322.533 | 0 | 302.977 | 0 | 297.067 | 1.146 | 278.267 | -12.099 | 890.054 | 85.568 | 0.30412
2019-02-07 04:45:00 | 0 | 322.533 | 0 | 303.231 | 0 | 296.867 | 0.593 | 278.1 | -12.099 | 889.967 | 85.483 | 0.30981
2019-02-07 05:00:00 | 0 | 322.667 | 0 | 303.134 | 0 | 297.067 | 0.488 | 278.033 | -11.995 | 889.912 | 85.888 | 0.31549
2019-02-07 05:15:00 | 0 | 322.4 | 0 | 302.942 | 0.329 | 284.417 | 1.592 | 272.3 | -12.203 | 889.992 | 86.059 | 0.30981
2019-02-07 05:30:00 | 0.732 | 254.687 | 1.087 | 237.53 | 1.463 | 245 | 2.145 | 243 | -12.016 | 889.825 | 86.293 | 0.32686
2019-02-07 05:45:00 | 0.67 | 255.52 | 0.953 | 237.438 | 1.565 | 238.267 | 2.16 | 241 | -11.67 | 889.475 | 86.421 | 0.32402
2019-02-07 06:00:00 | 1.046 | 254.413 | 1.303 | 234.584 | 2.016 | 238.1 | 2.442 | 240.967 | -11.82 | 889.929 | 86.357 | 0.33397
2019-02-07 06:15:00 | 1.201 | 220.52 | 1.508 | 230.974 | 1.998 | 239.333 | 2.378 | 241 | -11.686 | 889.967 | 86.208 | 0.33112
2019-02-07 06:30:00 | 1.454 | 220.6 | 1.544 | 224.496 | 1.925 | 238 | 2.4 | 241.1 | -11.578 | 889.658 | 86.549 | 0.33823
2019-02-07 06:45:00 | 1.178 | 220.6 | 1.299 | 224.48 | 1.564 | 239 | 1.94 | 241.067 | -11.278 | 890.079 | 86.037 | 0.33254
2019-02-07 07:00:00 | 1.237 | 182.6 | 1.262 | 202.731 | 1.452 | 224.167 | 2.096 | 220 | -11.495 | 890.233 | 86.037 | 0.33823
2019-02-07 07:15:00 | 0 | 182.507 | 0 | 207.412 | 1.04 | 235.533 | 2.228 | 239.533 | -11.657 | 890.092 | 86.101 | 0.34391
2019-02-07 07:30:00 | 0 | 182.56 | 0 | 207.521 | 0.955 | 248 | 1.766 | 245 | -11.507 | 889.888 | 86.208 | 0.21104
2019-02-07 07:45:00 | 0.3 | 202.4 | 1.129 | 233.833 | 1.708 | 282 | 2.465 | 263.467 | -11.995 | 889.708 | 86.635 | 1.2449
2019-02-07 08:00:00 | 2.443 | 282.133 | 2.575 | 281.211 | 3.068 | 296.733 | 3.759 | 288.067 | -11.495 | 889.954 | 87.424 | 2.848
2019-02-07 08:15:00 | 3.483 | 302.64 | 3.859 | 307.28 | 3.814 | 312.567 | 4.008 | 312.8 | -11.757 | 890.021 | 87.307 | 6.0874
2019-02-07 08:30:00 | 3.892 | 304.72 | 4.974 | 309.955 | 4.951 | 317.233 | 5.153 | 314.833 | -12.311 | 889.975 | 86.272 | 6.0064
2019-02-07 08:45:00 | 2.699 | 309.2 | 3.859 | 316.125 | 4.149 | 318.533 | 4.419 | 314.933 | -12.453 | 890.067 | 86.197 | 5.3783
2019-02-07 09:00:00 | 1.864 | 285.553 | 3.558 | 304.832 | 3.75 | 308.433 | 4.238 | 304 | -13.261 | 889.533 | 85.472 | 4.6237
2019-02-07 09:15:00 | 3.473 | 290.4 | 4.054 | 302.383 | 4.513 | 313.467 | 4.962 | 310.9 | -13.391 | 890.021 | 86.379 | 5.2376
2019-02-07 09:30:00 | 2.825 | 266.747 | 3.4 | 299.967 | 3.475 | 306.333 | 3.773 | 302 | -13.908 | 890.271 | 84.736 | 4.4666
2019-02-07 09:45:00 | 2.532 | 256.62 | 2.628 | 299.018 | 2.554 | 302.333 | 2.503 | 294.067 | -12.888 | 889.542 | 83.755 | 0.5045
2019-02-07 10:00:00 | 2.26 | 301.133 | 2.879 | 321.75 | 2.712 | 323 | 2.455 | 302.833 | -12.703 | 889.525 | 80.928 | 0.11369
2019-02-07 10:15:00 | 2.422 | 305.72 | 2.713 | 331.89 | 2.542 | 318 | 3.021 | 304.867 | -13.243 | 889.908 | 77.515 | 0.70701
2019-02-07 10:30:00 | 2.264 | 293.733 | 2.509 | 316.02 | 3.306 | 312.333 | 3.804 | 309.2 | -12.686 | 889.933 | 76.981 | 1.333
2019-02-07 10:45:00 | 2.69 | 271.147 | 3.201 | 302.125 | 3.815 | 304.733 | 4.176 | 300.833 | -11.799 | 889.358 | 73.531 | 2.8607
2019-02-07 11:00:00 | 1.874 | 250.253 | 1.792 | 297.614 | 2.634 | 301.267 | 3.011 | 298.967 | -8.828 | 889.792 | 63.936 | 0.65088
2019-02-07 11:15:00 | 1.673 | 226.28 | 0.964 | 287.668 | 1.84 | 302 | 2.034 | 298.933 | -5.938 | 889.683 | 53.621 | 0.17835
2019-02-07 11:30:00 | 2.39 | 169.88 | 2.48 | 171.265 | 2.274 | 175.833 | 2.203 | 178.433 | -10.999 | 889.258 | 56.491 | 0.33112
2019-02-07 11:45:00 | 0.798 | 131 | 0 | 144.478 | 0 | 164 | 0 | 168.5 | -10.433 | 889.55 | 57.248 | 0.31549
2019-02-07 12:00:00 | 0 | 131.487 | 0 | 144.45 | 0 | 163.967 | 0.897 | 183.267 | -7.375 | 889.658 | 50.304 | 0.19967
2019-02-07 12:15:00 | 1.846 | 278.853 | 1.621 | 271.353 | 2.164 | 264.433 | 3.299 | 254.417 | -8.09 | 889.808 | 44.32 | 1.0992
2019-02-07 12:30:00 | 4.691 | 234.82 | 5.705 | 236.2 | 6.29 | 244.633 | 6.449 | 243.133 | -6.886 | 890.025 | 43.915 | 10.677
2019-02-07 12:45:00 | 6.212 | 234.06 | 6.895 | 233.264 | 7.162 | 240.467 | 7.319 | 235.933 | -7.652 | 890.225 | 46.112 | 24.6368
2019-02-07 13:00:00 | 4.428 | 255.407 | 5.391 | 253.524 | 5.997 | 259.167 | 6.362 | 255.167 | -6.509 | 889.725 | 45.92 | 22.1761
2019-02-07 13:15:00 | 2.076 | 309.733 | 3.764 | 273.476 | 4.312 | 273.467 | 4.678 | 266.633 | -8.924 | 889.592 | 49.045 | 13.1632
2019-02-07 13:30:00 | 2.982 | 168.535 | 3.285 | 245.387 | 3.701 | 273.7 | 5.142 | 281.4 | -8.554 | 890.042 | 49.115 | 9.7568
2019-02-07 13:45:00 | 2.97 | 310.613 | 3.65 | 312.007 | 4.759 | 302.967 | 5.855 | 291.667 | -9.554 | 889.975 | 48.405 | 7.6279
2019-02-07 14:00:00 | 5.037 | 271.233 | 5.756 | 271.361 | 6.012 | 276.267 | 6.395 | 271.7 | -8.25 | 889.508 | 54.053 | 6.6999
2019-02-07 14:15:00 | 5.752 | 284.773 | 6.556 | 282.993 | 6.776 | 285.867 | 7.128 | 284 | -8.548 | 889.758 | 53.621 | 6.388
2019-02-07 14:30:00 | 4.934 | 288.967 | 5.427 | 287.298 | 5.468 | 288.4 | 5.78 | 284.467 | -8.471 | 889.883 | 54.224 | 6.5756
2019-02-07 14:45:00 | 6.255 | 270.5 | 7.318 | 276.345 | 7.652 | 280.8 | 8.207 | 276.467 | -8.474 | 889.933 | 54.256 | 15.9742
2019-02-07 15:00:00 | 7.795 | 289.867 | 8.734 | 290.128 | 9.3 | 293.233 | 10.028 | 289.967 | -8.791 | 889.725 | 55.088 | 31.2344
2019-02-07 15:15:00 | 9.254 | 277.52 | 10.168 | 279.339 | 10.274 | 282.9 | 10.973 | 278.533 | -9.058 | 889.35 | 55.376 | 30.4442
2019-02-07 15:30:00 | 9.007 | 262.827 | 9.751 | 270.102 | 9.893 | 276.3 | 10.221 | 272.7 | -9.124 | 889.283 | 56.944 | 29.9006
2019-02-07 15:45:00 | 8.126 | 278.727 | 8.911 | 279.99 | 9.196 | 282.833 | 9.436 | 279.567 | -9.341 | 889.983 | 58.176 | 30.2197
2019-02-07 16:00:00 | 7.55 | 290.333 | 8.589 | 286.55 | 8.867 | 289.933 | 9.388 | 287.4 | -9.483 | 889.875 | 58.251 | 38.2676
2019-02-07 16:15:00 | 7.798 | 294.187 | 8.448 | 288.826 | 8.742 | 291.033 | 9.464 | 288.9 | -9.37 | 889.675 | 57.131 | 44.8424
2019-02-07 16:30:00 | 8.812 | 290.387 | 9.467 | 290.528 | 9.528 | 295.3 | 9.82 | 291.533 | -9.662 | 889.625 | 54.715 | 43.5066
2019-02-07 16:45:00 | 7.286 | 302.387 | 8.167 | 297.043 | 8.242 | 302 | 8.752 | 298.833 | -9.662 | 889.783 | 58.555 | 45.4997
2019-02-07 17:00:00 | 7.898 | 296.093 | 8.739 | 296.95 | 8.904 | 300.733 | 9.426 | 296.567 | -10.028 | 889.742 | 56.987 | 47.1262
2019-02-07 17:15:00 | 8.613 | 307.667 | 9.237 | 302.876 | 9.592 | 308.233 | 10.299 | 304.567 | -10.216 | 889.767 | 56.539 | 48.7662
2019-02-07 17:30:00 | 8.666 | 292.533 | 9.39 | 292.356 | 9.85 | 296.9 | 10.479 | 293.6 | -10.543 | 889.783 | 56.288 | 47.8503
2019-02-07 17:45:00 | 7.099 | 287.84 | 7.996 | 287.65 | 8.734 | 292.033 | 9.531 | 289.333 | -10.816 | 889.617 | 55.883 | 52.4476
2019-02-07 18:00:00 | 8.328 | 285 | 9.266 | 285.546 | 9.862 | 287.833 | 10.629 | 285.3 | -11.378 | 889.958 | 56.901 | 55.054
2019-02-07 18:15:00 | 8.785 | 272.827 | 9.488 | 276.666 | 10.033 | 280.8 | 10.547 | 276.8 | -11.428 | 889.583 | 58.491 | 62.4688
2019-02-07 18:30:00 | 8.47 | 255.107 | 9.348 | 271.464 | 9.594 | 275.7 | 9.883 | 271.8 | -11.328 | 889.708 | 56.917 | 62.1049
2019-02-07 18:45:00 | 7.572 | 253.913 | 8.47 | 263.537 | 8.614 | 268.667 | 8.648 | 263.033 | -11.599 | 889.892 | 58.267 | 47.3252
2019-02-07 19:00:00 | 7.119 | 247.387 | 8.124 | 257.085 | 8.334 | 261.85 | 8.549 | 256.9 | -11.89 | 889.917 | 58.896 | 47.0189
2019-02-07 19:15:00 | 6.718 | 242.653 | 7.992 | 250.505 | 8.396 | 255.867 | 8.563 | 249.683 | -12.399 | 889.808 | 60.496 | 49.4327
2019-02-07 19:30:00 | 7.122 | 243.547 | 7.878 | 249.547 | 8.157 | 253.917 | 8.317 | 250.383 | -12.586 | 889.442 | 60.363 | 50.7266
2019-02-07 19:45:00 | 5.242 | 251.613 | 6.099 | 249.221 | 6.208 | 253.483 | 6.312 | 248.383 | -13.022 | 889.992 | 61.872 | 43.9301
2019-02-07 20:00:00 | 5.599 | 240.573 | 7.141 | 241.942 | 7.763 | 247.4 | 8.082 | 242.25 | -13.71 | 890.008 | 64.203 | 48.3342
2019-02-07 20:15:00 | 6.97 | 241.22 | 8.056 | 247.124 | 8.4 | 252.1 | 8.658 | 247.367 | -13.47 | 889.892 | 61.397 | 59.0786
2019-02-07 20:30:00 | 7.635 | 241.213 | 9.251 | 253.093 | 9.756 | 257.783 | 10.024 | 254.6 | -13.597 | 889.917 | 59.771 | 63.1395
2019-02-07 20:45:00 | 6.07 | 248.233 | 7.657 | 255.839 | 8.192 | 259.683 | 8.642 | 253.867 | -13.484 | 889.733 | 59.104 | 64.8641
2019-02-07 21:00:00 | 6.202 | 249.407 | 7.704 | 256.092 | 8.133 | 259.867 | 8.526 | 254.683 | -13.597 | 889.658 | 58.869 | 50.7089
2019-02-07 21:15:00 | 7.078 | 235.033 | 8.406 | 236.355 | 8.929 | 242.033 | 9.195 | 239.233 | -14.033 | 890.05 | 60.501 | 58.1286
2019-02-07 21:30:00 | 7.144 | 239.833 | 8.367 | 240.658 | 8.644 | 247.633 | 8.649 | 243.267 | -14.133 | 889.642 | 61.728 | 58.2892
2019-02-07 21:45:00 | 7.857 | 238.227 | 8.892 | 239.131 | 9.401 | 244.767 | 9.523 | 241.633 | -14.537 | 889.875 | 62.389 | 56.0474
2019-02-07 22:00:00 | 7.267 | 229.933 | 8.961 | 230.006 | 9.43 | 234.6 | 9.395 | 230.667 | -14.266 | 889.267 | 61.888 | 63.207
2019-02-07 22:15:00 | 8.224 | 231.613 | 9.781 | 232.548 | 10.69 | 238.933 | 10.784 | 234.167 | -13.981 | 889.958 | 61.024 | 71.6784
2019-02-07 22:30:00 | 7.72 | 233.613 | 8.973 | 235.142 | 9.533 | 240 | 9.974 | 235.667 | -13.737 | 889.95 | 60.128 | 75.5574
2019-02-07 22:45:00 | 7.884 | 231.7 | 9.389 | 232.296 | 10.178 | 238.433 | 10.348 | 234.133 | -14.016 | 889.533 | 60.213 | 74.4368
2019-02-07 23:00:00 | 7.234 | 229.953 | 8.206 | 230.474 | 8.781 | 236.133 | 9.002 | 232.267 | -14.478 | 889.858 | 60.331 | 66.06
2019-02-07 23:15:00 | 6.296 | 222.833 | 7.667 | 228.774 | 8.373 | 236.067 | 8.629 | 233.333 | -15.158 | 890.083 | 60.587 | 50.4325
2019-02-07 23:30:00 | 6.418 | 221.133 | 7.044 | 224.492 | 7.552 | 231.067 | 7.788 | 228.567 | -15.224 | 890.158 | 60.629 | 41.9874
2019-02-07 23:45:00 | 7.116 | 220.967 | 7.56 | 226.876 | 7.662 | 234.633 | 7.758 | 230.6 | -15.624 | 890 | 60.736 | 38.237