## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-08 00:00:00 | 8.011 | 228.5 | 9.001 | 231.57 | 9.343 | 238.5 | 9.523 | 234.167 | -15.998 | 890.117 | 61.12 | 61.0995
2019-02-08 00:15:00 | 6.403 | 234.033 | 8.462 | 235.919 | 8.825 | 243.733 | 8.824 | 239.267 | -15.874 | 889.825 | 60.544 | 61.1151
2019-02-08 00:30:00 | 5.432 | 241.9 | 7.14 | 243.776 | 7.766 | 249.233 | 7.82 | 246.133 | -15.291 | 889.625 | 59.499 | 49.7347
2019-02-08 00:45:00 | 5.958 | 241.8 | 7.235 | 249.851 | 7.548 | 256.233 | 7.734 | 253.35 | -15.008 | 890.075 | 59.093 | 41.1759
2019-02-08 01:00:00 | 3.353 | 214.667 | 5.114 | 228.864 | 5.9 | 239.2 | 5.938 | 236.4 | -15.358 | 889.308 | 59.008 | 22.8234
2019-02-08 01:15:00 | 5.139 | 223.667 | 5.673 | 237.471 | 6.147 | 246.867 | 6.37 | 243.433 | -17.448 | 889.883 | 62.581 | 27.9608
2019-02-08 01:30:00 | 6.563 | 218.887 | 6.628 | 227.802 | 6.504 | 242.933 | 6.51 | 241.533 | -17.599 | 889.2 | 63.616 | 27.5565
2019-02-08 01:45:00 | 6.571 | 226.633 | 7.109 | 235.478 | 7.314 | 245.9 | 7.366 | 244.533 | -17.681 | 889.508 | 64.821 | 36.4471
2019-02-08 02:00:00 | 6.77 | 220.733 | 6.867 | 233.429 | 6.968 | 243.1 | 6.883 | 240.733 | -17.764 | 889.65 | 64.96 | 35.8303
2019-02-08 02:15:00 | 6.617 | 221.4 | 7.937 | 224.73 | 7.836 | 231.967 | 7.692 | 230.433 | -17.831 | 890.15 | 65.515 | 43.4547
2019-02-08 02:30:00 | 6.35 | 225.74 | 7.427 | 230.002 | 7.868 | 238.4 | 7.745 | 235.567 | -17.348 | 889.675 | 65.28 | 46.0426
2019-02-08 02:45:00 | 5.887 | 235.6 | 6.93 | 240.582 | 7.166 | 248.4 | 7.058 | 244.733 | -17.031 | 889.558 | 65.333 | 45.1743
2019-02-08 03:00:00 | 5.424 | 236.007 | 6.659 | 239.33 | 6.966 | 247.533 | 6.836 | 244.933 | -16.467 | 889.708 | 64.651 | 38.4701
2019-02-08 03:15:00 | 5.22 | 233.4 | 6.594 | 240.188 | 7.048 | 249.033 | 7.001 | 245.433 | -17.364 | 890.092 | 64.256 | 33.0712
2019-02-08 03:30:00 | 4.949 | 232.88 | 6.253 | 239.978 | 6.436 | 250.133 | 6.132 | 247.667 | -17.498 | 890.033 | 65.664 | 27.8798
2019-02-08 03:45:00 | 5.56 | 235.253 | 6.703 | 239.293 | 6.851 | 246.533 | 6.537 | 242.633 | -17.398 | 889.958 | 66.613 | 24.4549
2019-02-08 04:00:00 | 5.707 | 228.253 | 6.734 | 235.447 | 6.667 | 242.833 | 6.464 | 240.3 | -17.531 | 889.825 | 65.44 | 26.8445
2019-02-08 04:15:00 | 5.778 | 227.367 | 6.986 | 233.15 | 6.789 | 240.7 | 6.583 | 236.133 | -17.798 | 890.067 | 66.219 | 28.8611
2019-02-08 04:30:00 | 5.617 | 231.94 | 6.877 | 237.227 | 6.944 | 244.5 | 6.832 | 241.7 | -17.514 | 889.517 | 66.037 | 30.5537
2019-02-08 04:45:00 | 5.956 | 230 | 6.9 | 238.099 | 6.89 | 246.767 | 6.534 | 244.9 | -17.814 | 889.8 | 65.003 | 26.2739
2019-02-08 05:00:00 | 5.952 | 223.113 | 6.828 | 235.339 | 6.743 | 244.567 | 6.52 | 242.033 | -18.148 | 889.708 | 65.003 | 25.0667
2019-02-08 05:15:00 | 5.51 | 221.2 | 7.216 | 227.712 | 6.984 | 238.467 | 6.53 | 236.233 | -18.552 | 889.867 | 65.973 | 27.8407
2019-02-08 05:30:00 | 5.452 | 219.78 | 6.4 | 230.588 | 6.133 | 243.667 | 5.846 | 242.9 | -18.648 | 890.233 | 66.432 | 22.2876
2019-02-08 05:45:00 | 5.168 | 221.507 | 6.097 | 230.845 | 5.823 | 241.5 | 5.539 | 240.433 | -18.735 | 889.942 | 66.848 | 17.8388
2019-02-08 06:00:00 | 6.505 | 220.233 | 7.346 | 223.949 | 6.82 | 234 | 6.092 | 233.6 | -19.039 | 889.892 | 67.093 | 19.0261
2019-02-08 06:15:00 | 6.31 | 218.733 | 7.585 | 221.05 | 6.871 | 231.033 | 6.314 | 229.567 | -18.923 | 889.283 | 66.677 | 19.4624
2019-02-08 06:30:00 | 6.202 | 222.833 | 6.942 | 225.233 | 6.583 | 230.867 | 6.416 | 229.033 | -18.839 | 889.875 | 66.336 | 23.0316
2019-02-08 06:45:00 | 6.488 | 218.7 | 7.294 | 222.213 | 6.859 | 230.933 | 6.414 | 228.6 | -19.123 | 889.6 | 65.963 | 19.7701
2019-02-08 07:00:00 | 6.5 | 218.933 | 7.285 | 221.511 | 6.887 | 226.7 | 6.515 | 223.733 | -19.056 | 890.033 | 66.613 | 21.5778
2019-02-08 07:15:00 | 6.286 | 218.767 | 6.982 | 222.415 | 6.556 | 229.267 | 5.964 | 227.433 | -18.856 | 889.883 | 66.571 | 22.2088
2019-02-08 07:30:00 | 6.287 | 221.3 | 6.528 | 224.984 | 6.066 | 233.533 | 5.742 | 231.3 | -19.039 | 889.725 | 65.867 | 18.2118
2019-02-08 07:45:00 | 6.392 | 215.767 | 7.997 | 213.531 | 7.351 | 218.533 | 6.576 | 217.733 | -18.973 | 889.683 | 65.003 | 17.6284
2019-02-08 08:00:00 | 6.255 | 219.373 | 7.55 | 217.339 | 7.785 | 222.233 | 7.037 | 219.967 | -18.835 | 889.775 | 65.152 | 21.4151
2019-02-08 08:15:00 | 5.902 | 215.933 | 8.227 | 215.285 | 8.251 | 220.767 | 7.974 | 219.133 | -19.039 | 889.942 | 64.747 | 26.7379
2019-02-08 08:30:00 | 6.642 | 215.807 | 8.449 | 213.173 | 8.547 | 218.333 | 8.168 | 214.367 | -18.581 | 890.058 | 64.363 | 28.817
2019-02-08 08:45:00 | 6.704 | 214.133 | 7.693 | 210.034 | 7.5 | 212.3 | 7.654 | 209.667 | -18.673 | 889.308 | 63.936 | 25.6749
2019-02-08 09:00:00 | 6.263 | 218.267 | 7.198 | 212.538 | 7.1 | 215.967 | 7.333 | 212.9 | -18.839 | 890.05 | 63.264 | 22.1754
2019-02-08 09:15:00 | 6.843 | 218.46 | 7.698 | 214.324 | 7.441 | 218.233 | 7.602 | 214.833 | -18.573 | 890.083 | 63.2 | 21.5643
2019-02-08 09:30:00 | 6.593 | 218.267 | 6.519 | 212.607 | 6.169 | 217.033 | 6.121 | 215.933 | -17.848 | 889.983 | 61.013 | 15.7582
2019-02-08 09:45:00 | 6.21 | 216.953 | 6.567 | 210.537 | 6.063 | 213.833 | 5.861 | 213.267 | -17.481 | 889.85 | 59.424 | 12.2267
2019-02-08 10:00:00 | 6.23 | 216.167 | 7.338 | 212.045 | 7.095 | 215.267 | 6.766 | 214.567 | -17.031 | 889.992 | 58.571 | 13.9747
2019-02-08 10:15:00 | 5.615 | 219.093 | 7.236 | 212.575 | 6.931 | 218.933 | 6.666 | 220.6 | -16.062 | 889.867 | 57.344 | 15.0342
2019-02-08 10:30:00 | 5.31 | 219.533 | 6.776 | 210.944 | 6.212 | 213.933 | 6.382 | 213.2 | -14.941 | 889.5 | 56.117 | 15.7163
2019-02-08 10:45:00 | 4.767 | 215.26 | 6.216 | 212.085 | 6.722 | 212.6 | 6.642 | 211.033 | -13.728 | 890.108 | 54.624 | 14.3556
2019-02-08 11:00:00 | 4.362 | 217.267 | 6.12 | 210.999 | 6.334 | 212.367 | 5.933 | 209.4 | -12.92 | 889.842 | 53.237 | 16.1149
2019-02-08 11:15:00 | 4.681 | 219.753 | 6.007 | 213.284 | 6.065 | 215.667 | 6.214 | 213.367 | -12.136 | 889.775 | 52.619 | 16.0915
2019-02-08 11:30:00 | 5.284 | 223.833 | 5.975 | 219.613 | 6.523 | 224.667 | 6.787 | 221.467 | -11.078 | 889.983 | 49.312 | 20.6334
2019-02-08 11:45:00 | 5.16 | 230.26 | 5.624 | 228.635 | 6.041 | 231.6 | 6.166 | 223.567 | -9.974 | 890.017 | 46.197 | 17.2035
2019-02-08 12:00:00 | 5.308 | 236 | 5.494 | 233.185 | 5.638 | 239.4 | 5.714 | 234.067 | -9.158 | 889.8 | 41.045 | 11.4259
2019-02-08 12:15:00 | 3.777 | 246.733 | 3.812 | 245.285 | 4.037 | 248.483 | 4.053 | 243.217 | -8.093 | 889.983 | 36.779 | 7.8049
2019-02-08 12:30:00 | 3.416 | 262.467 | 3.514 | 261.553 | 3.526 | 264.75 | 3.559 | 259.833 | -8.347 | 889.85 | 35.8 | 3.9785
2019-02-08 12:45:00 | 3.334 | 295.587 | 3.256 | 291.36 | 3.334 | 290.433 | 3.448 | 288.7 | -9.378 | 889.5 | 34.595 | 3.2246
2019-02-08 13:00:00 | 2.725 | 292.093 | 2.749 | 324.014 | 2.606 | 301.6 | 2.609 | 336.8 | -9.291 | 889.7 | 35.811 | 0.97348
2019-02-08 13:15:00 | 2.446 | 337.48 | 2.456 | 326.473 | 2.457 | 318.9 | 2.553 | 325.667 | -9.641 | 889.85 | 35.107 | 0.20464
2019-02-08 13:30:00 | 3.403 | 107.116 | 3.376 | 211.985 | 3.291 | 116.917 | 3.217 | 152.733 | -9.233 | 889.333 | 38.403 | 0.23378
2019-02-08 13:45:00 | 2.938 | 247.2 | 2.967 | 302.534 | 2.97 | 246.133 | 2.912 | 329.567 | -9.704 | 889.883 | 37.699 | 0.88608
2019-02-08 14:00:00 | 3.142 | 325.067 | 3.224 | 336.006 | 3.314 | 342.867 | 3.388 | 344.767 | -9.704 | 889.983 | 38.195 | 2.4365
2019-02-08 14:15:00 | 4.469 | 332.827 | 4.44 | 326.415 | 4.476 | 329.4 | 4.452 | 328.667 | -9.787 | 889.783 | 37.144 | 4.3202
2019-02-08 14:30:00 | 4.874 | 331.76 | 4.87 | 327.818 | 4.949 | 333.133 | 5.083 | 331.633 | -9.891 | 889.717 | 37.261 | 5.6227
2019-02-08 14:45:00 | 3.859 | 332.067 | 4.063 | 327.491 | 4.273 | 332.633 | 4.37 | 330.867 | -9.808 | 889.55 | 37.955 | 6.3724
2019-02-08 15:00:00 | 4.056 | 328.72 | 4.023 | 324.828 | 4.067 | 328.2 | 4.127 | 325.867 | -9.87 | 889.9 | 37.043 | 5.568
2019-02-08 15:15:00 | 2.877 | 331.213 | 3.142 | 327.713 | 3.304 | 331.867 | 3.521 | 329.633 | -9.433 | 889.783 | 37.323 | 3.9962
2019-02-08 15:30:00 | 3.468 | 306.853 | 3.51 | 337.767 | 3.748 | 330.033 | 3.859 | 328.1 | -9.258 | 889.933 | 39 | 2.3804
2019-02-08 15:45:00 | 2.948 | 319 | 2.885 | 318.265 | 2.939 | 314.4 | 3.146 | 325.467 | -8.924 | 889.958 | 39.733 | 2.0329
2019-02-08 16:00:00 | 2.891 | 308.813 | 2.9 | 320.666 | 3.005 | 329.533 | 3.362 | 330.2 | -8.991 | 889.967 | 37.4 | 0.82426
2019-02-08 16:15:00 | 2.5 | 318.973 | 2.688 | 323.99 | 2.671 | 318.167 | 2.845 | 328.667 | -9.141 | 889.658 | 40.059 | 0.35244
2019-02-08 16:30:00 | 4.136 | 323.4 | 4.086 | 318.392 | 4.098 | 323.867 | 3.829 | 324.867 | -9.124 | 889.567 | 36.493 | 0.70772
2019-02-08 16:45:00 | 2.451 | 236.96 | 2.296 | 305.379 | 2.08 | 307.133 | 2.182 | 303.867 | -9.091 | 889.767 | 36.117 | 0.15988
2019-02-08 17:00:00 | 3.249 | 312.533 | 3.155 | 308.396 | 3.183 | 313.1 | 3.36 | 315.1 | -9.158 | 889.917 | 36.555 | 0.18759
2019-02-08 17:15:00 | 3.092 | 312 | 3.162 | 310.47 | 3.236 | 316.633 | 3.138 | 315.467 | -9.224 | 889.783 | 35.499 | 0.25509
2019-02-08 17:30:00 | 2.612 | 305.973 | 2.662 | 321.038 | 2.749 | 327.4 | 2.899 | 330.8 | -9.191 | 889.75 | 36.168 | 0.17054
2019-02-08 17:45:00 | 3.784 | 330.267 | 3.77 | 322.951 | 3.8 | 325.433 | 3.963 | 324.8 | -9.058 | 889.783 | 35.528 | 0.11227
2019-02-08 18:00:00 | 2.916 | 313.613 | 2.947 | 310.304 | 3.07 | 315.867 | 3.399 | 316.167 | -9.641 | 889.717 | 35.581 | 0.090242
2019-02-08 18:15:00 | 2.322 | 322.8 | 2.461 | 316.56 | 2.636 | 321.367 | 2.88 | 319.133 | -10.149 | 890.017 | 37.256 | 0.097348
2019-02-08 18:30:00 | 2.45 | 324.133 | 2.957 | 316.949 | 3.047 | 321.067 | 3.371 | 320.467 | -10.349 | 889.7 | 38.467 | 0.15917
2019-02-08 18:45:00 | 1.227 | 322.16 | 2.187 | 320.945 | 2.279 | 320.933 | 2.67 | 321 | -10.591 | 889.85 | 41.173 | 0.17622
2019-02-08 19:00:00 | 0.329 | 0 | 0.03 | 338.134 | 0.948 | 320.2 | 1.832 | 320.833 | -11.293 | 889.717 | 42.715 | 0.31123
2019-02-08 19:15:00 | 0.977 | 0 | 1.123 | 340.905 | 1.597 | 342.667 | 2.122 | 328.033 | -11.24 | 889.825 | 42.485 | 0.28209
2019-02-08 19:30:00 | 1.547 | 0 | 1.64 | 349.118 | 1.837 | 349.2 | 2.323 | 342.733 | -11.395 | 889.858 | 42.885 | 0.29631
2019-02-08 19:45:00 | 0.043 | 0 | 0 | 349.111 | 0 | 345.933 | 0.913 | 0 | -11.953 | 889.958 | 45.333 | 0.29702
2019-02-08 20:00:00 | 0 | 0 | 0 | 349.062 | 0.466 | 358 | 0.823 | 0 | -12.386 | 889.883 | 47.541 | 0.31407
2019-02-08 20:15:00 | 0.034 | 0 | 1.137 | 349.065 | 0.146 | 358 | 0.316 | 0 | -12.47 | 889.767 | 49.243 | 0.31549
2019-02-08 20:30:00 | 0.153 | 0 | 0.047 | 345.059 | 0 | 346.067 | 0.242 | 0 | -12.903 | 889.983 | 50.485 | 0.32402
2019-02-08 20:45:00 | 0.955 | 232.9 | 0 | 344.989 | 0 | 345.867 | 0 | 0 | -13.706 | 890.158 | 52.277 | 0.31691
2019-02-08 21:00:00 | 2.405 | 157.2 | 0.163 | 344.957 | 0 | 227.333 | 1.147 | 26.9 | -13.186 | 889.833 | 52.885 | 0.32402
2019-02-08 21:15:00 | 2.017 | 164.3 | 0.851 | 97.443 | 0.027 | 140.067 | 0 | 62 | -13.484 | 889.792 | 52.395 | 0.33965
2019-02-08 21:30:00 | 3.804 | 163.873 | 3.604 | 132.188 | 2.833 | 134.833 | 2.243 | 123.333 | -14.845 | 889.717 | 54.165 | 0.37873
2019-02-08 21:45:00 | 4.033 | 169.847 | 4.158 | 141.48 | 3.791 | 142.867 | 3.816 | 139.767 | -14.92 | 889.925 | 56.181 | 1.8688
2019-02-08 22:00:00 | 3.866 | 167.667 | 3.619 | 147.054 | 3.278 | 150.6 | 3.506 | 146.467 | -14.512 | 889.958 | 55.712 | 2.8728
2019-02-08 22:15:00 | 4.048 | 177.4 | 3.344 | 154.948 | 2.759 | 155.6 | 2.482 | 145.433 | -15.174 | 889.7 | 55.915 | 2.7101
2019-02-08 22:30:00 | 4.364 | 188.987 | 2.287 | 150.405 | 2.464 | 151.233 | 3.03 | 148.867 | -16.183 | 889.817 | 58.101 | 2.7435
2019-02-08 22:45:00 | 4.287 | 211.067 | 3.296 | 176.654 | 2.338 | 174.7 | 1.82 | 162 | -16.764 | 889.633 | 59.627 | 1.8738
2019-02-08 23:00:00 | 3.307 | 210.793 | 4.23 | 174.046 | 3.473 | 167.967 | 2.862 | 157.933 | -18.144 | 889.75 | 62.805 | 1.7821
2019-02-08 23:15:00 | 4.022 | 213.3 | 2.944 | 178.93 | 2.212 | 166.633 | 2.671 | 157.933 | -17.931 | 889.825 | 65.024 | 2.7549
2019-02-08 23:30:00 | 5.001 | 219.113 | 2.927 | 181.342 | 1.932 | 168.9 | 1.761 | 154.933 | -18.51 | 889.55 | 66.123 | 2.7648
2019-02-08 23:45:00 | 5.28 | 225.573 | 3.364 | 188.689 | 2.475 | 175.5 | 2.646 | 163.667 | -18.635 | 889.492 | 66.08 | 4.0737