## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-09 00:00:00 | 5.213 | 219.167 | 3.154 | 180.156 | 2.717 | 171.6 | 2.761 | 159.233 | -19.089 | 889.883 | 66.731 | 4.613
2019-02-09 00:15:00 | 4.669 | 211.507 | 3.469 | 182.229 | 2.514 | 174.133 | 2.464 | 161.267 | -18.085 | 889.8 | 68.587 | 4.2641
2019-02-09 00:30:00 | 4.843 | 216.853 | 3.436 | 195.176 | 2.83 | 181.867 | 2.371 | 164.033 | -16.249 | 889.883 | 59.381 | 1.7238
2019-02-09 00:45:00 | 4.997 | 223.847 | 3.157 | 205.046 | 2.812 | 197.567 | 2.452 | 177.6 | -16.296 | 889.725 | 57.845 | 0.16272
2019-02-09 01:00:00 | 5.588 | 230.227 | 3.502 | 222.33 | 2.932 | 216.933 | 2.423 | 190.833 | -18.364 | 890.033 | 59.691 | 0.28209
2019-02-09 01:15:00 | 4.914 | 234.887 | 3.607 | 233.997 | 2.65 | 226.167 | 2.195 | 206.633 | -17.398 | 890.175 | 60.235 | 0.3567
2019-02-09 01:30:00 | 5.337 | 230.16 | 3.307 | 241.539 | 2.822 | 240 | 2.31 | 218.3 | -17.498 | 889.6 | 57.003 | 0.3297
2019-02-09 01:45:00 | 5.657 | 224.387 | 4.448 | 239.574 | 3.462 | 239 | 2.517 | 223.567 | -18.281 | 889.808 | 60.395 | 0.31123
2019-02-09 02:00:00 | 5.474 | 223.26 | 3.92 | 235.039 | 2.519 | 232.333 | 1.599 | 223 | -18.364 | 890.25 | 61.547 | 0.31976
2019-02-09 02:15:00 | 4.833 | 231.86 | 3.246 | 228.846 | 2.369 | 223.867 | 1.505 | 216.833 | -17.923 | 889.508 | 62.432 | 0.33112
2019-02-09 02:30:00 | 5.167 | 225.48 | 3.214 | 228.73 | 2.419 | 227.333 | 1.68 | 212 | -18.027 | 889.792 | 59.573 | 0.32686
2019-02-09 02:45:00 | 5.762 | 224.6 | 3.774 | 236.489 | 3.298 | 244.867 | 2.259 | 229.167 | -19.239 | 889.533 | 62.549 | 0.32402
2019-02-09 03:00:00 | 5.854 | 228.2 | 3.823 | 238.513 | 3.113 | 247.2 | 2.386 | 239.4 | -19.156 | 890.192 | 63.456 | 0.34107
2019-02-09 03:15:00 | 5.641 | 228.433 | 3.125 | 241.14 | 2.349 | 244.4 | 1.727 | 230 | -18.773 | 889.958 | 62.379 | 0.33681
2019-02-09 03:30:00 | 4.674 | 229.973 | 1.464 | 252.496 | 0.29 | 258 | 0.101 | 230.4 | -18.377 | 890.058 | 62.069 | 0.33112
2019-02-09 03:45:00 | 5.611 | 225.427 | 0.775 | 243.015 | 0 | 258 | 0 | 230.333 | -16.789 | 889.7 | 55.637 | 0.33681
2019-02-09 04:00:00 | 5.536 | 236.567 | 3.646 | 252.843 | 1.9 | 267.333 | 0.497 | 230.033 | -19.339 | 890.008 | 61.216 | 0.3226
2019-02-09 04:15:00 | 5.705 | 229.413 | 3.434 | 265.426 | 2.708 | 287.933 | 1.958 | 284 | -19.718 | 890.183 | 62.949 | 0.32118
2019-02-09 04:30:00 | 5.352 | 226.78 | 4.134 | 265.631 | 3.386 | 282.267 | 3.025 | 288.7 | -19.602 | 889.808 | 63.131 | 0.31052
2019-02-09 04:45:00 | 4.577 | 235.233 | 3.08 | 274.81 | 2.631 | 292.667 | 2.011 | 292.867 | -19.039 | 889.975 | 62.912 | 0.31478
2019-02-09 05:00:00 | 4.437 | 243.547 | 2.692 | 269.896 | 2.301 | 294.467 | 2.126 | 300.667 | -18.423 | 889.667 | 63.045 | 0.33823
2019-02-09 05:15:00 | 4.242 | 241.44 | 2.733 | 267.451 | 1.724 | 290.733 | 1.635 | 301.7 | -17.514 | 890.1 | 60.112 | 0.35528
2019-02-09 05:30:00 | 4.344 | 236.667 | 2.157 | 267.369 | 1.328 | 294.133 | 1.256 | 312.967 | -18.135 | 889.633 | 60.491 | 0.32544
2019-02-09 05:45:00 | 4.061 | 239.3 | 1.953 | 265.115 | 0.507 | 284.067 | 0.091 | 312.967 | -17.064 | 889.825 | 58.773 | 0.3297
2019-02-09 06:00:00 | 2.829 | 246.827 | 0.738 | 279 | 0.037 | 273.867 | 0.39 | 312.8 | -16.622 | 889.9 | 57.936 | 0.33823
2019-02-09 06:15:00 | 3.503 | 218.713 | 0.629 | 263.964 | 0 | 273.867 | 0 | 313 | -17.031 | 890.275 | 56.811 | 0.32686
2019-02-09 06:30:00 | 5.033 | 216.853 | 2.414 | 235.623 | 1.055 | 258.933 | 0.692 | 312.967 | -18.144 | 890.075 | 60.971 | 0.33539
2019-02-09 06:45:00 | 4.08 | 222.187 | 3.076 | 227.764 | 1.667 | 244 | 0.843 | 312 | -17.377 | 889.8 | 61.141 | 0.35102
2019-02-09 07:00:00 | 3.383 | 235.3 | 2.323 | 235.144 | 1.899 | 251.2 | 1.115 | 274.6 | -16.848 | 889.842 | 58.656 | 0.35102
2019-02-09 07:15:00 | 4.67 | 239.633 | 2.789 | 261.426 | 1.94 | 275.267 | 1.787 | 274.667 | -16.764 | 889.633 | 57.824 | 0.34391
2019-02-09 07:30:00 | 5.249 | 225.567 | 3.166 | 253.72 | 1.022 | 287.067 | 0.484 | 278 | -18.344 | 889.983 | 62.133 | 0.35528
2019-02-09 07:45:00 | 3.645 | 231.1 | 1.912 | 239.07 | 0.923 | 261.967 | 0.628 | 278.233 | -16.881 | 889.733 | 60.757 | 0.34107
2019-02-09 08:00:00 | 3.679 | 234.747 | 1.82 | 250.56 | 0.577 | 264 | 0.712 | 276.933 | -17.481 | 889.567 | 60.309 | 0.34676
2019-02-09 08:15:00 | 2.473 | 269.947 | 2.423 | 299.441 | 2.392 | 315.233 | 2.464 | 313.633 | -17.498 | 889.925 | 61.184 | 0.3567
2019-02-09 08:30:00 | 2.048 | 293 | 2.316 | 311.487 | 2.042 | 320.533 | 2.072 | 306.067 | -17.448 | 889.7 | 61.12 | 0.34391
2019-02-09 08:45:00 | 2.308 | 251.787 | 1.142 | 285.088 | 0.557 | 282 | 0.488 | 307.467 | -18.385 | 889.683 | 62.069 | 0.33539
2019-02-09 09:00:00 | 3.037 | 264.827 | 1.344 | 307.455 | 0.938 | 346.9 | 1.628 | 310.7 | -18.468 | 890.025 | 63.259 | 0.33254
2019-02-09 09:15:00 | 4.058 | 249.433 | 1.918 | 267.419 | 1.144 | 294.667 | 1.324 | 338 | -17.914 | 889.65 | 61.685 | 0.33681
2019-02-09 09:30:00 | 3.305 | 255.067 | 1.416 | 286.764 | 1.088 | 322.133 | 1.919 | 338.3 | -17.531 | 889.925 | 60.475 | 0.33112
2019-02-09 09:45:00 | 2.831 | 247.833 | 1.878 | 289.108 | 0.877 | 320 | 1.822 | 338.9 | -16.881 | 889.342 | 59.339 | 0.32686
2019-02-09 10:00:00 | 2.574 | 274.513 | 2.08 | 304.08 | 2.109 | 327.767 | 2.621 | 345.367 | -15.879 | 889.675 | 57.243 | 0.33965
2019-02-09 10:15:00 | 2.242 | 262.827 | 2.06 | 300.324 | 2.104 | 329.267 | 2.705 | 348.067 | -15.241 | 890.058 | 55.488 | 0.34534
2019-02-09 10:30:00 | 1.151 | 269.453 | 0.663 | 304.717 | 1.488 | 345.633 | 2.376 | 0 | -13.945 | 889.892 | 52.731 | 0.33823
2019-02-09 10:45:00 | 0.426 | 275.573 | 0.3 | 301.125 | 0.988 | 341.433 | 1.878 | 11.8 | -14.22 | 889.9 | 49.216 | 0.33823
2019-02-09 11:00:00 | 0.469 | 276.04 | 0.073 | 313.214 | 0.073 | 331.833 | 0.185 | 6.067 | -14.266 | 889.858 | 46.747 | 0.34534
2019-02-09 11:15:00 | 0.362 | 22.358 | 0 | 0 | 0 | 37 | 0 | 6 | -13.447 | 889.775 | 43.851 | 0.35386
2019-02-09 11:30:00 | 0 | 23.075 | 0 | 118.262 | 0 | 85.033 | 0.329 | 54.767 | -11.561 | 889.7 | 41.259 | 0.34391
2019-02-09 11:45:00 | 1.322 | 101.967 | 1.073 | 100.853 | 1.236 | 101.167 | 1.851 | 102.467 | -13.004 | 888.942 | 40.309 | 0.34605
2019-02-09 12:00:00 | 2.547 | 118.987 | 2.633 | 110.651 | 2.472 | 112.533 | 2.6 | 102.033 | -13.541 | 889.883 | 44 | 1.5839
2019-02-09 12:15:00 | 3.398 | 112.133 | 3.453 | 103.38 | 3.371 | 106.667 | 3.432 | 102.867 | -13.103 | 889.975 | 45.248 | 1.8603
2019-02-09 12:30:00 | 2.915 | 110.567 | 2.891 | 107.622 | 2.754 | 118.167 | 2.973 | 116.2 | -13.136 | 889.867 | 45.557 | 1.3572
2019-02-09 12:45:00 | 2.947 | 102.567 | 2.584 | 95.572 | 2.639 | 101.733 | 2.506 | 94 | -12.636 | 890 | 45.685 | 1.0026
2019-02-09 13:00:00 | 2.532 | 94.1 | 2.433 | 84.397 | 2.282 | 88.833 | 2.571 | 86.7 | -12.503 | 889.667 | 45.493 | 0.73046
2019-02-09 13:15:00 | 2.848 | 108.24 | 2.59 | 104.706 | 2.4 | 108.667 | 2.439 | 100.2 | -12.145 | 890 | 44.427 | 0.37731
2019-02-09 13:30:00 | 1.955 | 96.187 | 1.848 | 87.2 | 2.023 | 96.2 | 2.425 | 93.767 | -11.816 | 889.75 | 42.432 | 0.13288
2019-02-09 13:45:00 | 2.051 | 86.467 | 1.912 | 98.496 | 1.95 | 106.7 | 2.291 | 101.6 | -11.528 | 889.792 | 41.035 | 0.17622
2019-02-09 14:00:00 | 2.342 | 104.65 | 2.59 | 99.997 | 2.598 | 107.067 | 2.728 | 101.333 | -11.445 | 889.433 | 40.843 | 0.12009
2019-02-09 14:15:00 | 1.903 | 94.103 | 1.791 | 83.496 | 2.19 | 90.8 | 2.457 | 84.3 | -10.834 | 889.983 | 40.971 | 0.23946
2019-02-09 14:30:00 | 1.669 | 124.943 | 0.986 | 112.384 | 1.63 | 106.267 | 1.828 | 94.3 | -10.891 | 889.55 | 39.685 | 0.31691
2019-02-09 14:45:00 | 0.923 | 102.567 | 0.834 | 88.148 | 1.136 | 92.6 | 1.504 | 89.633 | -10.249 | 889.733 | 36.88 | 0.33254
2019-02-09 15:00:00 | 1.334 | 62.1 | 1.34 | 69.002 | 1.849 | 84.867 | 2.018 | 79.233 | -10.433 | 889.483 | 38.091 | 0.33397
2019-02-09 15:15:00 | 1.515 | 65.433 | 1.675 | 65.15 | 1.691 | 83.733 | 2.005 | 74.567 | -10.383 | 889.85 | 38.997 | 0.35102
2019-02-09 15:30:00 | 2.259 | 57.869 | 2.383 | 54.887 | 2.48 | 70.9 | 2.328 | 53.467 | -9.87 | 889.917 | 38.949 | 0.33823
2019-02-09 15:45:00 | 2.707 | 37.3 | 2.6 | 36.781 | 2.543 | 43.9 | 2.563 | 49.633 | -10.233 | 890.008 | 40.352 | 0.27357
2019-02-09 16:00:00 | 2.23 | 70.46 | 2.2 | 73.699 | 2.381 | 75.833 | 2.7 | 67.833 | -10.012 | 890.033 | 41.221 | 0.27925
2019-02-09 16:15:00 | 2.95 | 49.788 | 2.996 | 46.612 | 2.923 | 50.4 | 3.024 | 47.2 | -9.724 | 889.992 | 40.357 | 0.31265
2019-02-09 16:30:00 | 2.143 | 61.1 | 2.314 | 49.549 | 2.318 | 53.608 | 2.623 | 53.167 | -10.316 | 889.95 | 40.917 | 0.18901
2019-02-09 16:45:00 | 2.141 | 31.967 | 1.922 | 25.832 | 1.984 | 34.2 | 2.322 | 35.933 | -10.399 | 889.825 | 41.899 | 0.21246
2019-02-09 17:00:00 | 2.698 | 55.977 | 2.553 | 50.462 | 2.653 | 57.267 | 2.71 | 50.6 | -10.32 | 889.867 | 41.931 | 0.32544
2019-02-09 17:15:00 | 2.26 | 34.68 | 1.76 | 29.821 | 1.987 | 39.367 | 2.273 | 39.6 | -10.628 | 890.408 | 42.72 | 0.32189
2019-02-09 17:30:00 | 2.209 | 65.5 | 2.128 | 55.733 | 2.186 | 61.8 | 2.294 | 57.133 | -10.399 | 889.975 | 42.805 | 0.30625
2019-02-09 17:45:00 | 2.325 | 66.025 | 2.459 | 61.328 | 2.637 | 66.667 | 2.814 | 64.867 | -11.003 | 890.258 | 43.755 | 0.23236
2019-02-09 18:00:00 | 2.708 | 64.563 | 2.673 | 57.445 | 2.568 | 62.4 | 2.707 | 56.6 | -11.078 | 890.167 | 46.347 | 0.16698
2019-02-09 18:15:00 | 2.83 | 55.632 | 2.789 | 50.743 | 2.484 | 61.1 | 2.825 | 54.833 | -11.378 | 889.933 | 48.171 | 0.68712
2019-02-09 18:30:00 | 2.468 | 68.557 | 2.383 | 64.218 | 2.381 | 67.3 | 2.613 | 61.467 | -11.52 | 889.767 | 49.493 | 0.28778
2019-02-09 18:45:00 | 2.086 | 82.807 | 1.814 | 83.615 | 1.819 | 88.833 | 2.106 | 81.3 | -11.649 | 890 | 51.2 | 0.1144
2019-02-09 19:00:00 | 2.794 | 91.753 | 2.881 | 88.114 | 2.812 | 91.8 | 2.992 | 88.6 | -11.828 | 889.817 | 52.128 | 0.13145
2019-02-09 19:15:00 | 2.85 | 97.047 | 3.012 | 91.204 | 2.818 | 96.033 | 2.946 | 91.367 | -11.953 | 890.042 | 52.96 | 0.17835
2019-02-09 19:30:00 | 2.515 | 95.893 | 2.478 | 93.023 | 2.543 | 101.333 | 2.754 | 92.567 | -12.17 | 889.725 | 53.397 | 0.07461
2019-02-09 19:45:00 | 2.816 | 84.267 | 2.894 | 78.964 | 2.902 | 83.933 | 3.236 | 78 | -12.436 | 890.025 | 53.995 | 0.12932
2019-02-09 20:00:00 | 2.253 | 94.933 | 2.334 | 92.194 | 2.44 | 95.7 | 2.576 | 87.467 | -12.57 | 890.133 | 55.104 | 0.16698
2019-02-09 20:15:00 | 2.247 | 93.733 | 2.373 | 87.864 | 2.435 | 92.667 | 2.552 | 86.5 | -12.67 | 890.025 | 55.829 | 0.073188
2019-02-09 20:30:00 | 2.195 | 91.267 | 2.313 | 84.605 | 2.417 | 93.6 | 2.65 | 84.633 | -12.836 | 890.367 | 56.427 | 0.085268
2019-02-09 20:45:00 | 2.116 | 93.1 | 2.111 | 83.802 | 2.259 | 92.1 | 2.447 | 85.533 | -13.103 | 889.708 | 56.949 | 0.21033
2019-02-09 21:00:00 | 2.256 | 96.22 | 2.764 | 88.368 | 2.874 | 95.433 | 2.797 | 91.4 | -13.124 | 889.533 | 58.464 | 0.23378
2019-02-09 21:15:00 | 2.317 | 100.74 | 2.917 | 90.29 | 2.803 | 96.033 | 2.899 | 90 | -13.653 | 890.208 | 58.795 | 0.10587
2019-02-09 21:30:00 | 2.356 | 98.587 | 2.987 | 85.236 | 3.036 | 91.533 | 3.239 | 88.8 | -13.428 | 889.583 | 59.051 | 0.20251
2019-02-09 21:45:00 | 2.026 | 110.567 | 2.151 | 90.892 | 2.082 | 97.133 | 2.009 | 91.933 | -13.816 | 890.158 | 60.149 | 0.42989
2019-02-09 22:00:00 | 0.637 | 113.013 | 1.519 | 89.841 | 1.422 | 93.267 | 1.559 | 79.367 | -14.312 | 889.4 | 63.307 | 0.1549
2019-02-09 22:15:00 | 1.034 | 100.053 | 1.564 | 95.486 | 1.529 | 98.6 | 1.726 | 84.5 | -14.828 | 890.117 | 67.456 | 0.19754
2019-02-09 22:30:00 | 1.569 | 146.133 | 2.311 | 103.794 | 2.209 | 105.633 | 1.97 | 101.2 | -14.787 | 890.075 | 70.208 | 0.18119
2019-02-09 22:45:00 | 2.026 | 168.933 | 2.112 | 120.277 | 2.088 | 116.033 | 2.069 | 104 | -15.091 | 889.675 | 72.853 | 0.26646
2019-02-09 23:00:00 | 2.604 | 180.973 | 2.024 | 133.389 | 1.798 | 116 | 2.106 | 104.067 | -15.062 | 889.675 | 74.197 | 0.35102
2019-02-09 23:15:00 | 3.125 | 187.667 | 2.299 | 147.934 | 2.604 | 130.533 | 2.711 | 115.067 | -15.341 | 890.058 | 74.101 | 0.29204
2019-02-09 23:30:00 | 3.444 | 198.667 | 2.306 | 157.226 | 2.091 | 144 | 2.338 | 130 | -15.158 | 889.967 | 75.008 | 0.33823
2019-02-09 23:45:00 | 3.469 | 196.4 | 2.202 | 158.441 | 1.988 | 146.8 | 1.958 | 130 | -15.524 | 890.058 | 76.085 | 0.34249