## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-10 00:00:00 | 3.445 | 202.4 | 2.203 | 158.462 | 2.102 | 136.8 | 2.089 | 129.167 | -15.591 | 889.692 | 76.597 | 0.34107
2019-02-10 00:15:00 | 3.156 | 201.533 | 1.86 | 161.761 | 1.652 | 133.7 | 1.854 | 110 | -15.174 | 889.883 | 77.376 | 0.34107
2019-02-10 00:30:00 | 3.483 | 204.467 | 2.428 | 170.827 | 1.979 | 141.5 | 2.087 | 112.967 | -14.87 | 890.008 | 76.363 | 0.34249
2019-02-10 00:45:00 | 3.486 | 204.467 | 2.521 | 169.36 | 2.174 | 151.3 | 2.337 | 128.167 | -14.787 | 890.092 | 74.752 | 0.34249
2019-02-10 01:00:00 | 2.822 | 197.9 | 1.895 | 157.435 | 1.547 | 141.9 | 1.974 | 120 | -15.124 | 890.158 | 72.672 | 0.34107
2019-02-10 01:15:00 | 2.524 | 203.367 | 0.962 | 157.437 | 0.314 | 134.967 | 1.554 | 118 | -15.724 | 890 | 72.448 | 0.34107
2019-02-10 01:30:00 | 2.053 | 204.733 | 0 | 157.523 | 0 | 134.933 | 1.004 | 117.867 | -15.274 | 890 | 72.053 | 0.34107
2019-02-10 01:45:00 | 1.992 | 212.4 | 0 | 157.49 | 0 | 135 | 0.624 | 118 | -15.258 | 889.767 | 72.512 | 0.34391
2019-02-10 02:00:00 | 1.524 | 214.4 | 0 | 157.58 | 0 | 135 | 1.175 | 117.933 | -15.358 | 889.6 | 73.184 | 0.33823
2019-02-10 02:15:00 | 1.067 | 214.4 | 0 | 157.474 | 0 | 135.067 | 1.49 | 85.7 | -15.358 | 889.933 | 73.461 | 0.33823
2019-02-10 02:30:00 | 0 | 214.4 | 0 | 157.487 | 0.14 | 73.133 | 1.662 | 76.467 | -15.324 | 889.65 | 73.888 | 0.34107
2019-02-10 02:45:00 | 0 | 214.4 | 0.357 | 126.77 | 1.898 | 96.967 | 2.636 | 92.267 | -15.458 | 889.692 | 74.56 | 0.34534
2019-02-10 03:00:00 | 1.494 | 205.4 | 1.261 | 123.239 | 2.106 | 114.167 | 2.566 | 92.567 | -15.374 | 889.642 | 74.827 | 0.35102
2019-02-10 03:15:00 | 1.079 | 204.4 | 1.484 | 123.291 | 2.118 | 117 | 2.584 | 93 | -15.708 | 889.467 | 74.453 | 0.33397
2019-02-10 03:30:00 | 1.589 | 195.4 | 1.827 | 127.268 | 2.578 | 121 | 2.744 | 96.9 | -15.308 | 889.692 | 74.933 | 0.25509
2019-02-10 03:45:00 | 1.537 | 185.9 | 1.924 | 133.388 | 2.654 | 118.067 | 3.032 | 103.7 | -15.308 | 889.867 | 75.829 | 0.17764
2019-02-10 04:00:00 | 1.274 | 197.933 | 0.694 | 140.558 | 1.675 | 121.533 | 2.523 | 105.267 | -15.174 | 889.817 | 76.512 | 0.15135
2019-02-10 04:15:00 | 0.874 | 209.8 | 0 | 140.522 | 0.779 | 117 | 1.649 | 103.967 | -15.241 | 889.433 | 76.384 | 0.31976
2019-02-10 04:30:00 | 0.376 | 209.4 | 0 | 140.529 | 0.432 | 104.067 | 2.145 | 92.9 | -15.374 | 890.117 | 77.141 | 0.28067
2019-02-10 04:45:00 | 0.739 | 220.067 | 0 | 114.268 | 0.699 | 84.833 | 2.289 | 76.467 | -15.474 | 889.892 | 77.792 | 0.35102
2019-02-10 05:00:00 | 1.254 | 200.9 | 1.396 | 114.227 | 2.246 | 110.033 | 2.819 | 94.133 | -15.808 | 889.775 | 79.125 | 0.30483
2019-02-10 05:15:00 | 1.833 | 219.133 | 0.416 | 114.231 | 2.047 | 115.167 | 2.747 | 104 | -15.758 | 890.1 | 78.88 | 0.0874
2019-02-10 05:30:00 | 1.79 | 217.34 | 0 | 116.258 | 1.274 | 127.033 | 2.357 | 123.433 | -16.254 | 890.392 | 78.528 | 0.12577
2019-02-10 05:45:00 | 1.904 | 213.367 | 0.51 | 118.237 | 1.84 | 148.2 | 2.807 | 135 | -15.998 | 889.942 | 78.656 | 0.28209
2019-02-10 06:00:00 | 1.868 | 212.907 | 0.58 | 172.561 | 1.586 | 155.067 | 2.294 | 132.033 | -16.008 | 888.775 | 77.515 | 0.29133
2019-02-10 06:15:00 | 1.316 | 212.36 | 0 | 172.463 | 0.914 | 147.833 | 2.29 | 125 | -15.955 | 889.783 | 77.813 | 0.26078
2019-02-10 06:30:00 | 1.716 | 218.06 | 0 | 172.564 | 0.677 | 147.9 | 2.02 | 125 | -16.168 | 889.708 | 78.763 | 0.33681
2019-02-10 06:45:00 | 0.622 | 219.213 | 0 | 172.528 | 0.4 | 123.967 | 1.969 | 109.867 | -16.19 | 889.808 | 78.528 | 0.35955
2019-02-10 07:00:00 | 0.891 | 220.4 | 0 | 172.521 | 1.119 | 103.833 | 2.122 | 100.2 | -15.791 | 889.967 | 80.341 | 0.35386
2019-02-10 07:15:00 | 2.157 | 224.533 | 0 | 172.473 | 0.09 | 103.033 | 1.483 | 99.367 | -15.674 | 890.308 | 79.2 | 0.34391
2019-02-10 07:30:00 | 0.216 | 223.4 | 0 | 172.482 | 0 | 99.033 | 1.402 | 99.2 | -15.808 | 889.892 | 77.76 | 0.34676
2019-02-10 07:45:00 | 0 | 223.4 | 0.03 | 167.251 | 0.532 | 99.067 | 1.71 | 99.467 | -15.791 | 889.792 | 77.472 | 0.79939
2019-02-10 08:00:00 | 2.132 | 172.66 | 1.133 | 97.53 | 2.277 | 119.333 | 3.656 | 121.167 | -17.552 | 889.483 | 74.88 | 2.3669
2019-02-10 08:15:00 | 2.726 | 181.007 | 2.801 | 132.269 | 3.413 | 125.433 | 3.36 | 109.433 | -17.649 | 888.808 | 75.243 | 2.4621
2019-02-10 08:30:00 | 2.588 | 140.7 | 3.708 | 113.256 | 3.678 | 107.633 | 4.016 | 100.2 | -15.741 | 889.692 | 74.464 | 3.7369
2019-02-10 08:45:00 | 3.933 | 159.453 | 3.748 | 131.112 | 3.614 | 121.833 | 4.019 | 113.033 | -16.339 | 889.442 | 69.963 | 3.388
2019-02-10 09:00:00 | 3.749 | 165.273 | 3.23 | 129.547 | 3.225 | 121.267 | 3.596 | 113.633 | -16.981 | 890.267 | 69.408 | 3.1549
2019-02-10 09:15:00 | 2.578 | 173.34 | 2.73 | 119.755 | 2.636 | 111.333 | 2.344 | 101.267 | -16.147 | 889.817 | 69.013 | 1.9519
2019-02-10 09:30:00 | 2.623 | 159.4 | 3.258 | 113.152 | 3.476 | 110.733 | 3.349 | 104.733 | -15.608 | 890.125 | 67.915 | 2.1054
2019-02-10 09:45:00 | 2.59 | 149.767 | 3.834 | 107.446 | 3.51 | 107.167 | 3.182 | 101.633 | -15.291 | 889.708 | 66.965 | 3.5507
2019-02-10 10:00:00 | 2.93 | 123.273 | 3.746 | 100.553 | 2.78 | 101.967 | 2.491 | 96.467 | -14.787 | 890.292 | 67.787 | 4.4034
2019-02-10 10:15:00 | 2.69 | 109.467 | 2.756 | 88.772 | 2.078 | 94 | 2.505 | 90.867 | -13.783 | 890.042 | 66.016 | 5.1786
2019-02-10 10:30:00 | 2.785 | 94.467 | 2.759 | 89.117 | 2.242 | 100.2 | 2.721 | 95.367 | -13.07 | 890.217 | 65.632 | 5.0976
2019-02-10 10:45:00 | 3.678 | 87.967 | 3.207 | 88.083 | 2.448 | 97.033 | 2.829 | 96.767 | -12.953 | 890.15 | 65.76 | 4.7118
2019-02-10 11:00:00 | 4.078 | 90.767 | 3.961 | 87.22 | 3.447 | 93.3 | 3.034 | 93.333 | -12.62 | 889.192 | 66.933 | 4.7445
2019-02-10 11:15:00 | 3.949 | 88.867 | 3.416 | 85.723 | 3.026 | 91.233 | 2.67 | 91.1 | -12.536 | 890.3 | 67.435 | 4.4602
2019-02-10 11:30:00 | 4.182 | 102.867 | 3.703 | 96.652 | 3.087 | 99.333 | 3.322 | 94.133 | -12.436 | 890.092 | 65.728 | 5.4003
2019-02-10 11:45:00 | 4.105 | 101.633 | 3.618 | 94.836 | 3.475 | 101.7 | 3.45 | 95 | -12.149 | 889.975 | 65.344 | 6.1954
2019-02-10 12:00:00 | 4.283 | 82.132 | 4.326 | 82.34 | 4.207 | 86.933 | 4.041 | 82.633 | -11.995 | 889.567 | 66.197 | 6.7042
2019-02-10 12:15:00 | 5.641 | 84.533 | 5.651 | 81.69 | 5.555 | 85.767 | 5.478 | 79.367 | -11.411 | 889.817 | 65.675 | 12.0306
2019-02-10 12:30:00 | 5.831 | 87.933 | 5.659 | 80.337 | 5.609 | 86.2 | 5.761 | 80.2 | -11.411 | 889.833 | 63.637 | 18.1443
2019-02-10 12:45:00 | 5.657 | 86.05 | 6 | 79.07 | 5.702 | 86.7 | 5.384 | 84.9 | -10.797 | 890.15 | 62.389 | 18.9089
2019-02-10 13:00:00 | 4.938 | 94.053 | 5.069 | 83.774 | 5.092 | 88.033 | 5.263 | 83.733 | -10.07 | 889.683 | 59.637 | 19.3821
2019-02-10 13:15:00 | 5.791 | 88.08 | 5.559 | 83.903 | 5.472 | 86.8 | 5.875 | 83.433 | -9.87 | 889.867 | 57.557 | 19.11
2019-02-10 13:30:00 | 5.559 | 80.027 | 5.62 | 72.832 | 5.518 | 78.733 | 5.541 | 78.467 | -9.828 | 889.75 | 56.672 | 19.6884
2019-02-10 13:45:00 | 5.47 | 78.117 | 5.8 | 73.261 | 5.809 | 79.533 | 5.988 | 73.9 | -9.328 | 890.217 | 55.851 | 20.5041
2019-02-10 14:00:00 | 6.591 | 76.437 | 6.839 | 71.6 | 7.042 | 77 | 7.213 | 72.8 | -9.787 | 889.85 | 56.416 | 32.5944
2019-02-10 14:15:00 | 7.174 | 80.62 | 7.423 | 76.389 | 7.595 | 80.367 | 7.758 | 76.8 | -9.641 | 890.067 | 56.597 | 37.4483
2019-02-10 14:30:00 | 7.584 | 79.63 | 7.781 | 76.834 | 7.719 | 80.967 | 7.902 | 76.333 | -9.141 | 889.742 | 54.965 | 38.2754
2019-02-10 14:45:00 | 7.271 | 88.3 | 6.968 | 83.586 | 6.695 | 92.067 | 6.73 | 85.033 | -9.274 | 889.55 | 53.109 | 37.3751
2019-02-10 15:00:00 | 6.922 | 85.583 | 6.62 | 79.574 | 6.532 | 84.933 | 6.554 | 80.467 | -9.241 | 889.508 | 51.392 | 35.7856
2019-02-10 15:15:00 | 7.7 | 78.8 | 8.067 | 71.486 | 8.03 | 77.8 | 8.204 | 76.133 | -9.208 | 890.092 | 50.251 | 36.8464
2019-02-10 15:30:00 | 7.587 | 84.863 | 7.576 | 81.155 | 7.608 | 87.367 | 7.472 | 82.033 | -8.908 | 890.042 | 50.528 | 39.6546
2019-02-10 15:45:00 | 6.965 | 86.733 | 6.769 | 84.293 | 6.777 | 87.5 | 7.258 | 82.8 | -8.774 | 889.883 | 50.976 | 42.2752
2019-02-10 16:00:00 | 7.209 | 87.4 | 7.451 | 80.617 | 7.654 | 84.7 | 8.152 | 79.733 | -8.758 | 889.817 | 50.059 | 40.5918
2019-02-10 16:15:00 | 7.065 | 90.7 | 6.518 | 85.056 | 6.437 | 88.1 | 6.801 | 85.133 | -8.741 | 889.908 | 50.336 | 43.8931
2019-02-10 16:30:00 | 6.89 | 91.567 | 6.976 | 84.782 | 6.665 | 90.2 | 6.791 | 81.833 | -9.074 | 890.033 | 50.656 | 40.4469
2019-02-10 16:45:00 | 6.274 | 78.7 | 6.448 | 75.191 | 6.386 | 79.867 | 6.552 | 77 | -9.208 | 889.758 | 50.432 | 33.2439
2019-02-10 17:00:00 | 5.795 | 80.69 | 6.152 | 73.168 | 6.121 | 78.3 | 6.256 | 73.667 | -9.278 | 890.2 | 50.304 | 26.0785
2019-02-10 17:15:00 | 5.832 | 77.433 | 6.056 | 70.628 | 6.324 | 76.867 | 6.418 | 73.267 | -9.174 | 890.017 | 49.515 | 20.9169
2019-02-10 17:30:00 | 5.976 | 86.173 | 6.144 | 81.183 | 6.021 | 85.767 | 6.086 | 83.933 | -9.787 | 889.767 | 49.515 | 19.8454
2019-02-10 17:45:00 | 5.437 | 76.267 | 5.33 | 72.754 | 5.45 | 75.333 | 5.681 | 74.233 | -10.016 | 889.55 | 49.408 | 17.8999
2019-02-10 18:00:00 | 5.331 | 81.64 | 5.627 | 77.718 | 5.552 | 82.067 | 5.542 | 79.2 | -10.078 | 889.925 | 49.301 | 15.5202
2019-02-10 18:15:00 | 4.884 | 76.067 | 5.065 | 71.924 | 5.278 | 75.967 | 5.289 | 72.867 | -10.366 | 889.992 | 50.027 | 15.1237
2019-02-10 18:30:00 | 4.699 | 70.1 | 4.987 | 66.078 | 5.283 | 71.133 | 5.401 | 67.133 | -10.399 | 889.783 | 50.987 | 16.4482
2019-02-10 18:45:00 | 4.558 | 81.76 | 4.837 | 76.694 | 4.773 | 79.4 | 5.08 | 74.333 | -10.595 | 889.892 | 51.093 | 13.861
2019-02-10 19:00:00 | 4.789 | 82.29 | 5.171 | 77.295 | 5.162 | 82.8 | 5.141 | 79.767 | -10.872 | 890.133 | 51.285 | 11.6057
2019-02-10 19:15:00 | 4.295 | 80.7 | 4.478 | 76.68 | 4.366 | 83.467 | 4.518 | 79.633 | -11.495 | 889.917 | 52.245 | 10.4475
2019-02-10 19:30:00 | 4.59 | 86.167 | 4.74 | 80.18 | 4.524 | 85.6 | 4.37 | 82.7 | -11.511 | 889.817 | 52.683 | 6.1102
2019-02-10 19:45:00 | 3.408 | 87.027 | 3.46 | 82.942 | 3.421 | 87.533 | 3.257 | 83.133 | -11.911 | 889.592 | 54.219 | 6.2565
2019-02-10 20:00:00 | 3.38 | 91.193 | 3.196 | 89.041 | 2.194 | 99.667 | 2.356 | 88.533 | -11.911 | 889.867 | 55.083 | 7.7992
2019-02-10 20:15:00 | 2.808 | 85.947 | 3.115 | 84.147 | 2.791 | 90.833 | 2.678 | 85.933 | -12.278 | 889.725 | 56.267 | 4.7508
2019-02-10 20:30:00 | 2.346 | 64.738 | 2.541 | 61.757 | 2.453 | 69.867 | 2.603 | 64.867 | -12.257 | 889.767 | 56.331 | 3.9728
2019-02-10 20:45:00 | 2.311 | 48.851 | 2.587 | 54.014 | 2.869 | 62.333 | 2.795 | 54.033 | -12.603 | 889.275 | 55.989 | 2.2632
2019-02-10 21:00:00 | 2.679 | 64.847 | 3.201 | 62.644 | 3.389 | 69.6 | 3.584 | 66.367 | -12.603 | 889.975 | 56.757 | 3.0249
2019-02-10 21:15:00 | 2.777 | 72.967 | 3.45 | 67.565 | 3.736 | 74.333 | 3.82 | 71.867 | -12.503 | 889.858 | 56.597 | 5.0997
2019-02-10 21:30:00 | 2.466 | 114.333 | 2.815 | 109.218 | 2.842 | 113.567 | 3.351 | 107.233 | -12.636 | 889.55 | 56.853 | 3.9891
2019-02-10 21:45:00 | 3.023 | 155.833 | 2.956 | 146.266 | 2.845 | 146.233 | 2.704 | 134.767 | -12.42 | 890.1 | 56.139 | 2.1658
2019-02-10 22:00:00 | 3.117 | 166.2 | 3.316 | 148.465 | 3.426 | 147.4 | 3.498 | 136.433 | -12.453 | 889.783 | 56.555 | 4.6833
2019-02-10 22:15:00 | 2.532 | 192.867 | 3.012 | 157.354 | 3.07 | 151.333 | 3.124 | 136.367 | -12.936 | 889.792 | 59.392 | 5.902
2019-02-10 22:30:00 | 3.028 | 195.167 | 2.81 | 166.035 | 2.955 | 154.2 | 3.244 | 139.933 | -13.07 | 889.65 | 60.235 | 3.7163
2019-02-10 22:45:00 | 2.791 | 182.673 | 2.824 | 150.981 | 2.783 | 144 | 3.041 | 128.1 | -13.224 | 889.642 | 61.109 | 4.2463
2019-02-10 23:00:00 | 2.978 | 193.5 | 2.547 | 155.636 | 2.372 | 145.2 | 2.872 | 125.967 | -13.17 | 889.7 | 60.981 | 2.7911
2019-02-10 23:15:00 | 2.33 | 212.493 | 1.536 | 182.146 | 1.686 | 155.167 | 2.197 | 126.8 | -13.795 | 889.975 | 61.419 | 0.43629
2019-02-10 23:30:00 | 2.237 | 210.387 | 1.26 | 156.6 | 1.892 | 135.033 | 3.157 | 120.3 | -13.908 | 889.758 | 64.693 | 0.45974
2019-02-10 23:45:00 | 0.803 | 173.227 | 1.81 | 118.49 | 2.325 | 112.333 | 2.889 | 104.9 | -13.447 | 889.725 | 61.632 | 0.092374