## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-11 00:00:00 | 0.528 | 175.8 | 0.086 | 88.39 | 0.908 | 100.967 | 1.636 | 82.033 | -13.103 | 889.933 | 61.387 | 0.16414
2019-02-11 00:15:00 | 1.039 | 185.007 | 0.754 | 101.82 | 1.882 | 96.533 | 2.298 | 90.8 | -13.318 | 889.475 | 62.091 | 0.23946
2019-02-11 00:30:00 | 2.96 | 202.773 | 1.974 | 167.768 | 1.815 | 139.5 | 2.415 | 105.533 | -13.776 | 889.95 | 65.429 | 0.67362
2019-02-11 00:45:00 | 1.356 | 213.58 | 0.954 | 178.667 | 0.926 | 129.067 | 1.771 | 106.7 | -13.56 | 889.583 | 66.827 | 0.12577
2019-02-11 01:00:00 | 0.768 | 213.7 | 0.15 | 131.447 | 1.606 | 111.533 | 2.34 | 97.533 | -13.789 | 890.017 | 67.723 | 0.26717
2019-02-11 01:15:00 | 3.19 | 265.533 | 1.611 | 240.247 | 0.187 | 221.483 | 0.027 | 193 | -13.766 | 890.033 | 67.787 | 0.19114
2019-02-11 01:30:00 | 2.956 | 272.933 | 1.832 | 257.478 | 0.67 | 242.217 | 0.306 | 190.967 | -12.736 | 890.1 | 63.563 | 0.34391
2019-02-11 01:45:00 | 2.949 | 250.02 | 2.326 | 249.114 | 1.814 | 237.65 | 1.875 | 209.767 | -12.503 | 889.7 | 62.645 | 0.3297
2019-02-11 02:00:00 | 2.536 | 206.933 | 1.963 | 192.981 | 2.055 | 183.867 | 2.489 | 160.1 | -12.72 | 889.817 | 63.477 | 0.34676
2019-02-11 02:15:00 | 3.361 | 192 | 3.111 | 162.101 | 3.092 | 155.567 | 3.202 | 141.433 | -12.586 | 889.742 | 63.552 | 0.50024
2019-02-11 02:30:00 | 2.023 | 198.5 | 2.274 | 180.041 | 1.886 | 167.067 | 2.197 | 144.033 | -12.67 | 889.567 | 65.419 | 1.2051
2019-02-11 02:45:00 | 1.629 | 207.767 | 1.898 | 195.44 | 1.654 | 170.1 | 1.959 | 152.3 | -12.97 | 889.592 | 66.4 | 0.13359
2019-02-11 03:00:00 | 2.035 | 177.8 | 2.422 | 135.824 | 2.982 | 131.367 | 3.51 | 122.267 | -12.686 | 890.158 | 66.827 | 0.2153
2019-02-11 03:15:00 | 0.283 | 187.8 | 0.714 | 131.27 | 1.577 | 115.4 | 2.4 | 105.767 | -12.636 | 889.608 | 65.408 | 0.35884
2019-02-11 03:30:00 | 0 | 128.507 | 0.776 | 100.322 | 1.673 | 100.8 | 2.496 | 91.633 | -11.64 | 889.858 | 61.632 | 0.19896
2019-02-11 03:45:00 | 0.784 | 2.938 | 1.054 | 51.121 | 2.326 | 65.7 | 2.606 | 65.167 | -12.016 | 889.6 | 62.165 | 0.14709
2019-02-11 04:00:00 | 1.58 | 321.547 | 0.776 | 14.103 | 1.58 | 50.188 | 2.114 | 61.667 | -11.707 | 889.808 | 61.045 | 0.17551
2019-02-11 04:15:00 | 2.202 | 338.413 | 1.957 | 25.652 | 2.027 | 16.002 | 2.409 | 32 | -11.899 | 889.725 | 60.325 | 0.36239
2019-02-11 04:30:00 | 2.136 | 325.56 | 2.284 | 351.73 | 2.223 | 12.7 | 2.53 | 22.833 | -12.078 | 890.292 | 63.803 | 0.31478
2019-02-11 04:45:00 | 2.63 | 338.56 | 2.491 | 108.526 | 2.804 | 20.832 | 2.841 | 35.4 | -11.87 | 889.675 | 64.688 | 0.19043
2019-02-11 05:00:00 | 3.498 | 312.533 | 3.73 | 328.11 | 3.109 | 312.567 | 2.639 | 84.035 | -12.42 | 889.608 | 66.928 | 0.16272
2019-02-11 05:15:00 | 4.024 | 289.933 | 4.5 | 297.487 | 4.166 | 312.4 | 3.696 | 321.067 | -12.099 | 890.092 | 65.563 | 0.54714
2019-02-11 05:30:00 | 4.662 | 280.113 | 5.419 | 285.474 | 5.418 | 292.8 | 5.352 | 292.8 | -11.816 | 889.567 | 64.096 | 4.4098
2019-02-11 05:45:00 | 4.19 | 284.867 | 5.157 | 284.511 | 5.327 | 290.1 | 5.548 | 288.5 | -11.411 | 889.717 | 66.075 | 7.8674
2019-02-11 06:00:00 | 4.02 | 294.56 | 4.996 | 291.061 | 5.164 | 296.033 | 5.436 | 292.3 | -11.87 | 889.908 | 67.163 | 8.2284
2019-02-11 06:15:00 | 2.026 | 298.373 | 2.9 | 294.345 | 3.324 | 302 | 3.744 | 302.4 | -12.016 | 889.308 | 66.752 | 4.0929
2019-02-11 06:30:00 | 2.918 | 289.667 | 3.797 | 291.58 | 3.991 | 298.6 | 4.38 | 297.667 | -12.203 | 889.858 | 67.637 | 3.3326
2019-02-11 06:45:00 | 2.059 | 267.88 | 2.611 | 274.964 | 2.7 | 283.033 | 2.936 | 282.933 | -11.932 | 889.683 | 69.131 | 1.9462
2019-02-11 07:00:00 | 2.57 | 242.127 | 3.007 | 242.755 | 3.018 | 247.067 | 2.902 | 243.3 | -12.12 | 889.767 | 72.661 | 0.21814
2019-02-11 07:15:00 | 3.589 | 221.833 | 3.989 | 223.999 | 4.054 | 229.367 | 3.851 | 225.833 | -12.703 | 889.967 | 76.501 | 0.95216
2019-02-11 07:30:00 | 3.184 | 228.067 | 4.191 | 227.337 | 4.261 | 233.767 | 3.86 | 225.6 | -12.553 | 889.917 | 77.547 | 2.2575
2019-02-11 07:45:00 | 1.858 | 212.9 | 2.598 | 220.525 | 2.582 | 226.033 | 2.699 | 227 | -12.553 | 889.808 | 77.728 | 1.4751
2019-02-11 08:00:00 | 1.083 | 232.267 | 1.516 | 236.133 | 1.82 | 246.533 | 2.103 | 240.267 | -12.62 | 890.267 | 78.667 | 0.2352
2019-02-11 08:15:00 | 0.794 | 243.78 | 1.677 | 263.638 | 1.838 | 263.467 | 2.31 | 255.8 | -12.57 | 889.767 | 79.643 | 0.35955
2019-02-11 08:30:00 | 2.564 | 296.6 | 2.905 | 291.084 | 3.132 | 292.233 | 3.534 | 287.9 | -12.52 | 889.442 | 80.677 | 0.30483
2019-02-11 08:45:00 | 1.3 | 311.627 | 2.176 | 298.85 | 2.287 | 299.733 | 2.657 | 300.467 | -13.228 | 889.892 | 80.885 | 1.1454
2019-02-11 09:00:00 | 2.355 | 292.867 | 2.97 | 294.977 | 2.914 | 305 | 3.287 | 301 | -13.203 | 889.967 | 81.627 | 0.12364
2019-02-11 09:15:00 | 1.594 | 272.567 | 2.729 | 299.542 | 3.1 | 308 | 3.412 | 303.167 | -13.409 | 890.117 | 80.395 | 0.60327
2019-02-11 09:30:00 | 0.988 | 286.64 | 1.379 | 312.865 | 1.583 | 324.033 | 2.002 | 313.8 | -13.316 | 889.567 | 80.715 | 0.56348
2019-02-11 09:45:00 | 1.156 | 264.88 | 0.243 | 308.723 | 1.201 | 318.9 | 1.282 | 315 | -13.428 | 890 | 80.363 | 0.35955
2019-02-11 10:00:00 | 0.517 | 264.453 | 0.857 | 309.018 | 0.14 | 319 | 0 | 315 | -12.328 | 889.908 | 76.416 | 0.33539
2019-02-11 10:15:00 | 0 | 264 | 0 | 309.178 | 0 | 319 | 0 | 314.933 | -10.349 | 890.275 | 70.421 | 0.32828
2019-02-11 10:30:00 | 0.17 | 272.267 | 0 | 308.911 | 0 | 318.8 | 0 | 315 | -10.907 | 889.942 | 65.579 | 0.31123
2019-02-11 10:45:00 | 0.705 | 41.383 | 0 | 18.055 | 0.067 | 26.633 | 0.675 | 315.133 | -11.445 | 889.817 | 65.472 | 0.30412
2019-02-11 11:00:00 | 0 | 42.01 | 0 | 18.062 | 0 | 27 | 0 | 316 | -9.954 | 889.758 | 64.16 | 0.31265
2019-02-11 11:15:00 | 0.186 | 116 | 0 | 48 | 0 | 72.7 | 0.497 | 253.6 | -9.208 | 890.192 | 59.829 | 0.31549
2019-02-11 11:30:00 | 1.036 | 161.24 | 0.336 | 145.021 | 0.33 | 151.533 | 0.809 | 150.967 | -9.433 | 889.692 | 56.683 | 0.31123
2019-02-11 11:45:00 | 0.883 | 114.167 | 0.874 | 107.577 | 1.269 | 109.8 | 1.674 | 111.833 | -9.158 | 889.825 | 57.493 | 0.31976
2019-02-11 12:00:00 | 0.775 | 26.131 | 0.223 | 35.932 | 0.143 | 44 | 0.638 | 72.033 | -8.494 | 889.842 | 56.768 | 0.31407
2019-02-11 12:15:00 | 1.178 | 42.3 | 0.747 | 47.078 | 0.903 | 42.933 | 1.165 | 51.833 | -8.03 | 890.025 | 54.912 | 0.31123
2019-02-11 12:30:00 | 1.435 | 92.405 | 0.526 | 80.402 | 0.223 | 67.3 | 0.544 | 37.5 | -7.796 | 890.183 | 53.077 | 0.31976
2019-02-11 12:45:00 | 0.933 | 120.3 | 0.713 | 101.211 | 0.806 | 101.7 | 1.488 | 78.1 | -7.556 | 889.717 | 51.051 | 0.31976
2019-02-11 13:00:00 | 1.647 | 90.333 | 1.447 | 85.993 | 1.63 | 87.167 | 2.015 | 79.933 | -6.975 | 890.142 | 47.733 | 0.33112
2019-02-11 13:15:00 | 1.879 | 95.6 | 1.647 | 87.047 | 1.798 | 88.367 | 1.746 | 85.567 | -6.459 | 889.417 | 46.976 | 0.33539
2019-02-11 13:30:00 | 0.75 | 127.957 | 0.349 | 113.025 | 0.427 | 106.867 | 0.984 | 96.467 | -5.361 | 889.558 | 47.083 | 0.31976
2019-02-11 13:45:00 | 1.673 | 129.487 | 1.297 | 124.639 | 1.127 | 134.8 | 1.33 | 121.5 | -6.249 | 890.442 | 47.093 | 0.31976
2019-02-11 14:00:00 | 0.803 | 127.71 | 0.757 | 128.919 | 1.493 | 125.867 | 2.219 | 124.367 | -6.146 | 889.875 | 49.525 | 0.32544
2019-02-11 14:15:00 | 1.763 | 147.543 | 1.554 | 148.335 | 1.794 | 158.233 | 2.045 | 162.833 | -4.869 | 890.142 | 47.979 | 0.3297
2019-02-11 14:30:00 | 1.869 | 56.823 | 1.513 | 52.331 | 1.711 | 48.567 | 1.975 | 35.367 | -4.726 | 889.892 | 47.936 | 0.3226
2019-02-11 14:45:00 | 3.039 | 40.378 | 3.214 | 39.732 | 3.459 | 45.133 | 3.182 | 48.8 | -5.335 | 890.117 | 47.808 | 0.26149
2019-02-11 15:00:00 | 3.19 | 14.092 | 2.798 | 12.404 | 3.27 | 17.9 | 3.39 | 17.6 | -5.68 | 890.042 | 48.789 | 0.93439
2019-02-11 15:15:00 | 3.183 | 64.662 | 3.392 | 119.876 | 3.398 | 28.833 | 3.219 | 16.867 | -5.806 | 889.9 | 49.664 | 1.4702
2019-02-11 15:30:00 | 3.728 | 131.198 | 3.945 | 199.784 | 3.809 | 107.703 | 3.578 | 140.967 | -5.584 | 889.875 | 49.301 | 1.4076
2019-02-11 15:45:00 | 2.997 | 171.84 | 2.951 | 181.824 | 3.14 | 128.5 | 3.068 | 135.167 | -5.76 | 890.017 | 49.237 | 0.42279
2019-02-11 16:00:00 | 1.687 | 128.153 | 2.092 | 230.912 | 2.283 | 227.333 | 2.556 | 205.876 | -5.671 | 890.058 | 48.411 | 0.12364
2019-02-11 16:15:00 | 3.001 | 287.933 | 3.081 | 280.788 | 3.409 | 278.733 | 3.58 | 272.05 | -5.502 | 889.392 | 49.456 | 0.24586
2019-02-11 16:30:00 | 4.284 | 306 | 4.557 | 300.065 | 4.652 | 301.2 | 4.882 | 297.1 | -5.002 | 888.667 | 50.421 | 0.13714
2019-02-11 16:45:00 | 1.558 | 38.08 | 1.217 | 122.614 | 0.918 | 191.167 | 1.33 | 133.202 | -5.019 | 889.725 | 50.363 | 0.22241
2019-02-11 17:00:00 | 4.046 | 40.646 | 4.048 | 35.268 | 3.989 | 39 | 3.69 | 33.7 | -5.252 | 890.442 | 46.261 | 1.3586
2019-02-11 17:15:00 | 4.373 | 44.045 | 4.121 | 39.051 | 4.379 | 45.567 | 4.227 | 40.767 | -5.997 | 889.592 | 46.773 | 3.8193
2019-02-11 17:30:00 | 3.219 | 63.068 | 2.955 | 56.74 | 2.942 | 56.233 | 2.667 | 50.967 | -6.21 | 889.575 | 47.477 | 1.9562
2019-02-11 17:45:00 | 2.388 | 57.592 | 2.157 | 50.045 | 2.102 | 56.6 | 2.229 | 52.367 | -6.146 | 889.867 | 48.203 | 1.0111
2019-02-11 18:00:00 | 1.937 | 55.12 | 1.57 | 53.725 | 1.553 | 54.567 | 1.835 | 53.7 | -6.545 | 890.092 | 48.512 | 0.20677
2019-02-11 18:15:00 | 2.446 | 57.607 | 2.304 | 52.561 | 2.471 | 59.467 | 2.535 | 60.5 | -6.641 | 889.892 | 49.237 | 0.25509
2019-02-11 18:30:00 | 2.524 | 76.593 | 2.507 | 70.933 | 2.546 | 73.933 | 2.616 | 67.833 | -7.051 | 889.833 | 50.688 | 0.18688
2019-02-11 18:45:00 | 2.418 | 71.22 | 2.321 | 70.306 | 2.577 | 75.333 | 2.586 | 72 | -7.36 | 889.675 | 51.883 | 0.10516
2019-02-11 19:00:00 | 2.517 | 77.967 | 2.858 | 72.85 | 2.943 | 81.033 | 2.908 | 76.4 | -7.89 | 889.708 | 53.632 | 0.12648
2019-02-11 19:15:00 | 2.921 | 79.73 | 3.193 | 72.273 | 3.222 | 77.733 | 3.072 | 72.9 | -8.21 | 890.042 | 54.816 | 0.14709
2019-02-11 19:30:00 | 2.584 | 72.24 | 2.706 | 66.216 | 2.763 | 69.667 | 2.792 | 64.567 | -8.501 | 889.583 | 55.563 | 0.74254
2019-02-11 19:45:00 | 2.286 | 75.2 | 2.372 | 68.661 | 2.468 | 74.3 | 2.519 | 68 | -9.124 | 889.55 | 56.555 | 0.58693
2019-02-11 20:00:00 | 2.401 | 86.7 | 2.571 | 73.897 | 2.637 | 81.767 | 2.698 | 72.633 | -9.041 | 889.617 | 57.195 | 0.75889
2019-02-11 20:15:00 | 2.566 | 88.767 | 3.11 | 77.256 | 2.958 | 81.533 | 3.033 | 79.9 | -9.224 | 889.817 | 57.621 | 0.88039
2019-02-11 20:30:00 | 2.003 | 97 | 2.533 | 85.61 | 2.307 | 89.533 | 2.523 | 81.467 | -9.191 | 889.558 | 58.347 | 0.23733
2019-02-11 20:45:00 | 1.309 | 130.333 | 1.744 | 93.36 | 1.478 | 93 | 1.64 | 81.433 | -9.804 | 889.325 | 59.339 | 0.23449
2019-02-11 21:00:00 | 0.52 | 129.433 | 0.77 | 87.436 | 0.712 | 86.033 | 1.088 | 86 | -10.266 | 889.525 | 61.227 | 0.34605
2019-02-11 21:15:00 | 0.619 | 125 | 1.476 | 90.269 | 1.948 | 90.067 | 2.352 | 85.967 | -10.416 | 889.375 | 62.784 | 0.32118
2019-02-11 21:30:00 | 1.589 | 190.913 | 1.036 | 90.271 | 1.992 | 90 | 2.036 | 85.933 | -10.635 | 889.817 | 64.757 | 0.30554
2019-02-11 21:45:00 | 0 | 176 | 1.92 | 77.036 | 2.678 | 77.733 | 2.849 | 74.067 | -10.433 | 890.483 | 64.747 | 0.26433
2019-02-11 22:00:00 | 0.64 | 152.067 | 1.507 | 72.218 | 2.314 | 72 | 2.434 | 68.367 | -10.797 | 889.925 | 64.341 | 0.13003
2019-02-11 22:15:00 | 2.484 | 187.193 | 1.53 | 137.652 | 1.836 | 118.667 | 2.59 | 92.733 | -11.107 | 889.933 | 64.736 | 0.21175
2019-02-11 22:30:00 | 1.51 | 164.293 | 1.617 | 108.485 | 2.383 | 100.133 | 2.798 | 92.067 | -10.853 | 889.683 | 65.355 | 0.27996
2019-02-11 22:45:00 | 2.762 | 184.033 | 1.936 | 142.071 | 1.894 | 131.7 | 2.139 | 106.8 | -12.52 | 890.058 | 67.488 | 0.3567
2019-02-11 23:00:00 | 3.177 | 177.787 | 2.723 | 139.16 | 2.836 | 130.833 | 3.092 | 118.1 | -11.582 | 890.117 | 67.733 | 0.21814
2019-02-11 23:15:00 | 3.664 | 180.08 | 2.848 | 138.794 | 2.78 | 129.667 | 3.063 | 119.2 | -11.343 | 889.633 | 66.496 | 0.24088
2019-02-11 23:30:00 | 2.92 | 184.167 | 2.725 | 139.154 | 2.723 | 121.833 | 2.844 | 113.1 | -13.07 | 889.917 | 67.285 | 0.20038
2019-02-11 23:45:00 | 2.899 | 163.84 | 2.803 | 126.008 | 2.843 | 121.867 | 3.202 | 113.633 | -11.932 | 889.85 | 70.955 | 0.64946