## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-12 00:00:00 | 2.701 | 168.887 | 2.542 | 122.42 | 2.653 | 120.633 | 2.976 | 111.033 | -12.016 | 889.775 | 68.309 | 1.1838
2019-02-12 00:15:00 | 3.054 | 170.767 | 2.746 | 135.734 | 2.827 | 127.833 | 3.151 | 121.1 | -12.686 | 889.75 | 69.664 | 1.8141
2019-02-12 00:30:00 | 3.16 | 167.44 | 3.082 | 132.55 | 2.592 | 132.067 | 3 | 123.867 | -12.34 | 889.858 | 68.811 | 3.545
2019-02-12 00:45:00 | 3.418 | 165.533 | 3.32 | 134.885 | 2.931 | 134.3 | 2.889 | 129.933 | -12.099 | 890.142 | 69.173 | 5.5787
2019-02-12 01:00:00 | 3.437 | 166.413 | 3.865 | 139.735 | 3.154 | 139.833 | 2.642 | 133.3 | -12.182 | 889.508 | 68.309 | 6.8591
2019-02-12 01:15:00 | 3.489 | 169.987 | 3.274 | 138.954 | 2.547 | 139.5 | 2.892 | 126 | -12.12 | 889.767 | 68.587 | 6.5855
2019-02-12 01:30:00 | 3.644 | 167.92 | 3.609 | 136.306 | 3.026 | 134.433 | 3.614 | 125.8 | -11.911 | 890.108 | 68.427 | 5.8572
2019-02-12 01:45:00 | 2.956 | 163.833 | 3.392 | 129.814 | 3.631 | 126.567 | 4.018 | 120.2 | -11.995 | 889.875 | 68.341 | 4.8091
2019-02-12 02:00:00 | 3.541 | 169.84 | 3.523 | 137.94 | 2.636 | 139.467 | 2.616 | 128 | -11.828 | 889.7 | 69.184 | 4.4297
2019-02-12 02:15:00 | 3.693 | 175.2 | 3.203 | 145.109 | 2.642 | 143.2 | 2.399 | 133.833 | -11.278 | 889.583 | 68.939 | 1.9832
2019-02-12 02:30:00 | 3.348 | 170.467 | 2.694 | 136.551 | 2.548 | 130.3 | 3.108 | 120 | -11.228 | 889.792 | 69.664 | 0.92089
2019-02-12 02:45:00 | 2.677 | 163.8 | 2.37 | 128.938 | 2.516 | 118.9 | 2.593 | 106.967 | -10.797 | 889.95 | 68.853 | 0.2423
2019-02-12 03:00:00 | 2.102 | 160.727 | 2.33 | 108.748 | 2.455 | 99.133 | 2.903 | 90.6 | -11.174 | 889.808 | 67.765 | 0.12861
2019-02-12 03:15:00 | 2.747 | 169.8 | 2.551 | 121.14 | 2.53 | 110.467 | 2.757 | 94.833 | -11.195 | 889.733 | 68.501 | 0.17977
2019-02-12 03:30:00 | 2.878 | 170.767 | 2.327 | 133.177 | 2.35 | 122.533 | 2.628 | 108.6 | -11.328 | 889.642 | 64.736 | 0.20749
2019-02-12 03:45:00 | 2.385 | 142.673 | 2.668 | 110.377 | 2.85 | 110.967 | 3.145 | 103.833 | -10.928 | 890.117 | 64.139 | 0.19256
2019-02-12 04:00:00 | 2.13 | 143.457 | 2.591 | 99.389 | 2.109 | 97.867 | 2.404 | 99.733 | -11.545 | 889.683 | 64.725 | 0.53079
2019-02-12 04:15:00 | 1.545 | 151.74 | 1.959 | 101.902 | 1.586 | 104.733 | 1.971 | 104.967 | -12.036 | 889.775 | 66.208 | 0.1208
2019-02-12 04:30:00 | 2.281 | 167.667 | 1.992 | 100.19 | 1.104 | 102.733 | 1.417 | 93 | -12.453 | 889.9 | 66.336 | 0.18688
2019-02-12 04:45:00 | 1.42 | 154.333 | 1.599 | 101.755 | 2.003 | 84.267 | 2.378 | 80.933 | -12.203 | 889.975 | 67.115 | 0.093084
2019-02-12 05:00:00 | 0.463 | 157.52 | 1.113 | 85.049 | 2.075 | 85 | 2.6 | 78.033 | -12.22 | 889.9 | 67.445 | 0.21104
2019-02-12 05:15:00 | 0.363 | 116.713 | 1.864 | 63.892 | 2.134 | 65.5 | 2.589 | 62.033 | -12.378 | 889.95 | 67.883 | 0.27428
2019-02-12 05:30:00 | 0.036 | 78.273 | 1.05 | 67.822 | 2.444 | 73.3 | 2.442 | 76.8 | -13.449 | 889.683 | 68.629 | 0.7532
2019-02-12 05:45:00 | 0.137 | 94.4 | 1.777 | 76.206 | 1.817 | 68.333 | 2.45 | 69.633 | -13.916 | 889.817 | 70.827 | 0.49384
2019-02-12 06:00:00 | 0.863 | 109.733 | 1.667 | 77.408 | 1.836 | 77.833 | 2.176 | 73 | -14.266 | 889.917 | 73.131 | 0.38584
2019-02-12 06:15:00 | 0 | 118.353 | 1.503 | 69.526 | 2.372 | 71.367 | 2.62 | 72 | -14.345 | 889.833 | 74.549 | 0.13643
2019-02-12 06:30:00 | 0.23 | 45.057 | 1.424 | 44.685 | 2.143 | 66.567 | 2.226 | 72 | -14.745 | 889.85 | 77.333 | 0.53008
2019-02-12 06:45:00 | 0 | 238.88 | 0.92 | 57.498 | 2.387 | 79.867 | 2.502 | 79.4 | -14.474 | 890.517 | 77.867 | 0.65017
2019-02-12 07:00:00 | 0 | 312.8 | 0.063 | 61.12 | 2.278 | 78.517 | 2.752 | 82.467 | -14.891 | 889.917 | 77.131 | 0.73259
2019-02-12 07:15:00 | 0 | 312.8 | 0.46 | 60.837 | 2.481 | 76.283 | 3.35 | 78.433 | -14.891 | 889.858 | 77.493 | 1.3316
2019-02-12 07:30:00 | 0 | 272.147 | 1.04 | 89.975 | 1.874 | 98.725 | 1.785 | 86.433 | -15.591 | 889.975 | 77.216 | 2.5246
2019-02-12 07:45:00 | 0 | 226.4 | 0.337 | 71.061 | 2.545 | 82.2 | 3.852 | 78.467 | -15.358 | 890.008 | 78.155 | 3.2281
2019-02-12 08:00:00 | 0 | 207.367 | 0.674 | 96.731 | 1.983 | 89.9 | 2.727 | 86.4 | -15.824 | 889.692 | 77.781 | 4.3131
2019-02-12 08:15:00 | 0.036 | 230.4 | 0.19 | 68.901 | 2.811 | 82.2 | 4.214 | 80.433 | -15.891 | 890.158 | 77.781 | 5.2056
2019-02-12 08:30:00 | 0.613 | 149.227 | 1.91 | 80.314 | 3.394 | 86.333 | 4.039 | 83.833 | -15.758 | 890.008 | 77.269 | 7.8312
2019-02-12 08:45:00 | 0.749 | 84.713 | 3.408 | 77.068 | 4.593 | 82.333 | 4.793 | 80.433 | -14.983 | 889.575 | 74.325 | 11.0834
2019-02-12 09:00:00 | 2.056 | 101.06 | 3.386 | 86.088 | 3.196 | 93 | 2.847 | 90.1 | -14.204 | 889.808 | 72.405 | 10.4617
2019-02-12 09:15:00 | 2.147 | 96.267 | 3.342 | 84.929 | 2.803 | 94 | 2.559 | 90.5 | -14.149 | 889.917 | 70.539 | 10.0538
2019-02-12 09:30:00 | 2.701 | 89.843 | 3.404 | 85.277 | 2.872 | 95.1 | 3.008 | 92.1 | -13.597 | 889.475 | 69.643 | 8.266
2019-02-12 09:45:00 | 2.767 | 112.65 | 3.387 | 99.51 | 3.202 | 105.1 | 3.571 | 102.567 | -13.484 | 889.642 | 68.491 | 5.0685
2019-02-12 10:00:00 | 1.79 | 125.54 | 2.537 | 100.114 | 2.083 | 100.367 | 2.683 | 100.067 | -13.522 | 890.092 | 67.776 | 5.4472
2019-02-12 10:15:00 | 2.49 | 121.113 | 3.732 | 109.355 | 4.024 | 108.7 | 4.554 | 104.7 | -12.953 | 890.05 | 67.104 | 11.1687
2019-02-12 10:30:00 | 3.506 | 118.427 | 4.221 | 114.558 | 4.689 | 116.6 | 5.07 | 105.4 | -11.932 | 889.833 | 64.747 | 8.8124
2019-02-12 10:45:00 | 2.432 | 105.567 | 2.726 | 98.266 | 2.567 | 103.8 | 2.666 | 97.833 | -11.561 | 889.825 | 62.763 | 4.0417
2019-02-12 11:00:00 | 2.848 | 95.167 | 2.566 | 87.106 | 2.497 | 90.933 | 2.498 | 87.2 | -11.395 | 890 | 61.419 | 1.2144
2019-02-12 11:15:00 | 1.959 | 66.797 | 1.751 | 70.082 | 1.638 | 78.9 | 1.669 | 73.333 | -11.059 | 890.033 | 60.544 | 0.73544
2019-02-12 11:30:00 | 2.929 | 66.217 | 2.879 | 66.862 | 3.079 | 72.633 | 3.537 | 76.1 | -10.666 | 889.992 | 57.696 | 0.63098
2019-02-12 11:45:00 | 3.6 | 61.363 | 3.196 | 55.716 | 3.009 | 60.533 | 3.182 | 59.5 | -10.853 | 889.725 | 57.024 | 1.2527
2019-02-12 12:00:00 | 3.491 | 45.712 | 3.539 | 39.997 | 3.494 | 44.6 | 3.524 | 40 | -11.04 | 889.225 | 56.896 | 2.9432
2019-02-12 12:15:00 | 4.036 | 29.135 | 4.007 | 27.204 | 4.153 | 34.7 | 4.056 | 33.4 | -11.311 | 889.917 | 57.088 | 3.2892
2019-02-12 12:30:00 | 3.811 | 28.227 | 3.801 | 26.911 | 4.067 | 35.433 | 4.261 | 31.267 | -11.345 | 889.583 | 58.432 | 2.7336
2019-02-12 12:45:00 | 3.204 | 28.959 | 3.318 | 25.034 | 3.349 | 31.467 | 3.432 | 33.167 | -11.022 | 889.6 | 57.579 | 3.594
2019-02-12 13:00:00 | 4.933 | 65.613 | 5.187 | 63.785 | 5.438 | 68.533 | 5.644 | 66.7 | -9.341 | 890 | 54.197 | 10.1355
2019-02-12 13:15:00 | 5.619 | 73.83 | 5.679 | 68.328 | 5.721 | 75.067 | 6.148 | 72.267 | -8.891 | 890.217 | 52.203 | 25.7246
2019-02-12 13:30:00 | 7.045 | 83.477 | 7.359 | 77.608 | 7.314 | 83.633 | 6.848 | 81.267 | -8.348 | 889.725 | 52.128 | 46.0405
2019-02-12 13:45:00 | 6.828 | 103.477 | 6.773 | 99.233 | 6.77 | 102.167 | 6.742 | 96.4 | -8.114 | 890.217 | 51.595 | 54.2489
2019-02-12 14:00:00 | 6.974 | 91.56 | 7.181 | 85.716 | 6.978 | 88.9 | 7.426 | 84.633 | -8.23 | 890.058 | 51.968 | 41.1091
2019-02-12 14:15:00 | 6.235 | 85.157 | 6.196 | 78.645 | 6.542 | 81.433 | 6.869 | 78.4 | -8.05 | 889.542 | 51.563 | 41.3294
2019-02-12 14:30:00 | 7.638 | 90.243 | 7.096 | 86.764 | 5.967 | 94.833 | 6.077 | 90.133 | -8.064 | 890.3 | 52.139 | 51.5196
2019-02-12 14:45:00 | 6.34 | 96.833 | 6.438 | 94.234 | 6.162 | 97.467 | 6.098 | 95.267 | -7.772 | 889.917 | 52.117 | 42.8877
2019-02-12 15:00:00 | 6.409 | 85.73 | 6.556 | 80.197 | 6.711 | 84.833 | 6.507 | 81.467 | -7.742 | 889.85 | 51.979 | 36.7597
2019-02-12 15:15:00 | 7.711 | 87.467 | 8.095 | 84.083 | 8.049 | 88.767 | 8.065 | 84.867 | -7.789 | 889.758 | 51.605 | 40.0212
2019-02-12 15:30:00 | 6.935 | 91.32 | 6.808 | 84.053 | 6.657 | 91.1 | 7.006 | 85.767 | -7.476 | 890.158 | 51.648 | 49.3787
2019-02-12 15:45:00 | 7.803 | 88.367 | 8.014 | 84.418 | 7.824 | 85.8 | 7.649 | 83.433 | -7.572 | 889.575 | 51.701 | 55.9735
2019-02-12 16:00:00 | 7.432 | 94.955 | 7.554 | 89.844 | 7.5 | 95.667 | 7.344 | 92.267 | -7.812 | 889.767 | 51.776 | 55.4683
2019-02-12 16:15:00 | 8.41 | 97.163 | 8.021 | 89.82 | 7.406 | 94.533 | 7.734 | 89.6 | -7.759 | 890.05 | 51.883 | 63.4074
2019-02-12 16:30:00 | 7.82 | 99.267 | 8.029 | 96.51 | 7.627 | 101 | 7.222 | 97.833 | -7.706 | 890.008 | 51.989 | 67.3191
2019-02-12 16:45:00 | 8.186 | 99.333 | 7.998 | 95.04 | 7.471 | 98.9 | 7.162 | 93.433 | -7.556 | 889.6 | 51.851 | 66.2596
2019-02-12 17:00:00 | 8.663 | 97.143 | 8.546 | 92.663 | 7.463 | 100.4 | 6.728 | 95.033 | -8.097 | 889.933 | 52.683 | 68.5235
2019-02-12 17:15:00 | 9.333 | 108.023 | 9.425 | 102.087 | 8.836 | 104.667 | 8.549 | 96.767 | -8.05 | 889.767 | 53.451 | 65.2442
2019-02-12 17:30:00 | 7.834 | 104.343 | 7.303 | 100.155 | 5.998 | 100.667 | 6.655 | 97.767 | -8.464 | 889.575 | 53.941 | 62.6151
2019-02-12 17:45:00 | 6.865 | 110.643 | 6.886 | 104.52 | 6.763 | 109.567 | 6.448 | 103.233 | -8.331 | 890.05 | 54.229 | 44.9412
2019-02-12 18:00:00 | 5.844 | 100.87 | 5.542 | 95.162 | 5.157 | 98.633 | 4.94 | 91.067 | -8.17 | 890.125 | 53.685 | 34.8078
2019-02-12 18:15:00 | 6.079 | 93.507 | 5.78 | 89.129 | 4.8 | 92 | 5.078 | 86.833 | -8.15 | 889.708 | 53.856 | 30.7633
2019-02-12 18:30:00 | 7.122 | 83.5 | 7.678 | 78.504 | 7.838 | 82.9 | 7.995 | 78.933 | -8.641 | 890.05 | 55.125 | 28.8902
2019-02-12 18:45:00 | 7.08 | 85.153 | 7.427 | 78.863 | 7.083 | 84.833 | 7.193 | 82.367 | -9.42 | 889.967 | 56.907 | 38.4736
2019-02-12 19:00:00 | 6.212 | 79.193 | 6.597 | 74.726 | 6.398 | 79.667 | 6.18 | 76.433 | -10.133 | 889.808 | 58.859 | 32.6939
2019-02-12 19:15:00 | 6.558 | 73.167 | 6.97 | 68.863 | 7.188 | 73.133 | 7.428 | 70.367 | -10.266 | 889.15 | 59.509 | 26.3507
2019-02-12 19:30:00 | 5.044 | 74.21 | 5.487 | 70.345 | 5.638 | 75.9 | 5.851 | 71.9 | -10.722 | 889.95 | 59.285 | 22.5058
2019-02-12 19:45:00 | 4.292 | 72.13 | 4.714 | 68.496 | 4.876 | 73.8 | 5.076 | 70.467 | -10.76 | 889.767 | 59.072 | 14.7549
2019-02-12 20:00:00 | 3.988 | 83.043 | 4.507 | 78.521 | 4.657 | 82.8 | 4.858 | 78.5 | -10.976 | 890.325 | 58.208 | 12.7938
2019-02-12 20:15:00 | 4.034 | 99.067 | 4.106 | 92.334 | 3.404 | 96.933 | 3.318 | 91.833 | -11.311 | 890.183 | 57.76 | 11.6462
2019-02-12 20:30:00 | 5.169 | 113.703 | 5.309 | 105.711 | 4.995 | 107.4 | 5.023 | 99.433 | -11.222 | 890.075 | 58.08 | 12.5976
2019-02-12 20:45:00 | 4.241 | 116.353 | 5.055 | 107.114 | 5.114 | 111.633 | 5.186 | 104.067 | -10.909 | 889.85 | 58.155 | 16.9399
2019-02-12 21:00:00 | 2.755 | 85.96 | 2.779 | 80.589 | 2.512 | 87.667 | 2.664 | 83.067 | -11.12 | 889.867 | 58.507 | 5.5652
2019-02-12 21:15:00 | 2.917 | 66.492 | 2.686 | 62.885 | 2.526 | 69.733 | 2.809 | 69.767 | -10.872 | 890.267 | 58.229 | 2.0521
2019-02-12 21:30:00 | 2.784 | 68.405 | 2.993 | 67.391 | 3.156 | 73.2 | 3.37 | 74.867 | -11.149 | 889.858 | 58.667 | 1.5981
2019-02-12 21:45:00 | 3.45 | 90.133 | 3.461 | 84.665 | 3.095 | 94.8 | 3.223 | 88.667 | -11.378 | 890.092 | 57.867 | 2.6085
2019-02-12 22:00:00 | 4.069 | 88.58 | 4.194 | 81.22 | 3.948 | 88.267 | 4.133 | 81.967 | -11.157 | 890.633 | 57.152 | 8.3762
2019-02-12 22:15:00 | 3.906 | 83.853 | 4.098 | 75.881 | 4.325 | 80 | 4.701 | 77.033 | -10.928 | 890.083 | 56.32 | 9.0576
2019-02-12 22:30:00 | 3.874 | 76.488 | 4.055 | 71.871 | 4.223 | 75.733 | 4.699 | 72.367 | -11.003 | 889.783 | 56.309 | 7.9555
2019-02-12 22:45:00 | 2.217 | 79.932 | 2.488 | 72.536 | 2.694 | 79.7 | 3.235 | 78.7 | -11.022 | 889.517 | 56.725 | 4.932
2019-02-12 23:00:00 | 1.793 | 72.793 | 1.795 | 68.039 | 2.124 | 73.333 | 2.482 | 70.033 | -10.816 | 889.925 | 56.448 | 3.0363
2019-02-12 23:15:00 | 2.13 | 87.543 | 2.313 | 82.594 | 2.78 | 84.433 | 2.961 | 81.4 | -10.909 | 889.85 | 56.171 | 2.0663
2019-02-12 23:30:00 | 2.536 | 87.603 | 2.35 | 83.338 | 2.652 | 85.133 | 2.737 | 82.9 | -10.834 | 889.742 | 55.435 | 1.7437
2019-02-12 23:45:00 | 0 | 78.233 | 0 | 72.239 | 0.043 | 78.833 | 1.432 | 72.367 | -11.02 | 890.225 | 55.712 | 0.46897