## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-13 00:00:00 | 3.116 | 309.893 | 2.824 | 309.124 | 2.536 | 320.833 | 2.485 | 323.267 | -10.618 | 890.1 | 55.893 | 0.35102
2019-02-13 00:15:00 | 4.791 | 312.587 | 5.726 | 313.628 | 5.883 | 322.367 | 5.671 | 323.833 | -10.666 | 890.1 | 57.435 | 3.6097
2019-02-13 00:30:00 | 5.569 | 318.92 | 6.377 | 313.907 | 6.571 | 321.833 | 6.359 | 324.233 | -10.743 | 889.667 | 56.747 | 13.235
2019-02-13 00:45:00 | 4.919 | 313.933 | 5.765 | 309.254 | 6.212 | 315.4 | 6.359 | 315.467 | -10.576 | 889.642 | 57.483 | 14.3172
2019-02-13 01:00:00 | 5.664 | 307.267 | 6.214 | 302.747 | 6.6 | 308.733 | 6.821 | 308.4 | -10.984 | 889.792 | 57.584 | 17.708
2019-02-13 01:15:00 | 4.569 | 307.693 | 5.584 | 303.291 | 5.903 | 308.967 | 6.282 | 309.067 | -10.778 | 889.408 | 57.424 | 16.6337
2019-02-13 01:30:00 | 4.335 | 298.56 | 5.401 | 298.115 | 5.707 | 305.767 | 6.119 | 304.667 | -10.966 | 890.05 | 58.101 | 14.6924
2019-02-13 01:45:00 | 5.518 | 310.133 | 6.451 | 304.754 | 6.829 | 310.267 | 7.111 | 308.067 | -11.128 | 889.817 | 58.848 | 19.5015
2019-02-13 02:00:00 | 5.748 | 273.413 | 6.838 | 281.034 | 6.906 | 283.933 | 7.219 | 281.3 | -11.138 | 889.9 | 59.424 | 25.8291
2019-02-13 02:15:00 | 4.408 | 278.953 | 5.46 | 277.212 | 5.986 | 280.1 | 6.358 | 275.9 | -11.624 | 889.975 | 61.541 | 23.3705
2019-02-13 02:30:00 | 5.447 | 271.1 | 6.332 | 278.401 | 6.631 | 282 | 6.943 | 278.867 | -11.64 | 889.717 | 61.632 | 19.7964
2019-02-13 02:45:00 | 4.492 | 283.26 | 5.568 | 281.667 | 6.115 | 285.667 | 6.508 | 281.5 | -11.578 | 890.117 | 60.965 | 25.3061
2019-02-13 03:00:00 | 4.775 | 270.847 | 5.801 | 277.39 | 6.377 | 281.367 | 6.819 | 278.033 | -11.528 | 890.033 | 61.173 | 19.979
2019-02-13 03:15:00 | 4.651 | 266.007 | 5.758 | 269.982 | 6.372 | 276.3 | 6.627 | 271.767 | -11.245 | 890.1 | 61.173 | 17.6455
2019-02-13 03:30:00 | 4.226 | 270.813 | 5.042 | 271.86 | 5.556 | 276.833 | 5.985 | 273.033 | -11.578 | 889.733 | 61.589 | 17.259
2019-02-13 03:45:00 | 4.302 | 264.967 | 5.378 | 267.396 | 5.806 | 273.733 | 5.879 | 270.367 | -11.445 | 889.617 | 62.064 | 14.5787
2019-02-13 04:00:00 | 4.003 | 266.313 | 5.344 | 268.073 | 5.622 | 273.467 | 5.796 | 268.767 | -11.328 | 890.058 | 62.315 | 16.8561
2019-02-13 04:15:00 | 3.2 | 272.213 | 4.327 | 270.232 | 4.517 | 276.5 | 4.64 | 272.533 | -11.599 | 889.817 | 63.451 | 10.0446
2019-02-13 04:30:00 | 2.214 | 259.167 | 3.048 | 266.994 | 3.333 | 273.6 | 3.397 | 269.333 | -11.932 | 890.2 | 64.309 | 3.6438
2019-02-13 04:45:00 | 3.577 | 261.587 | 4.627 | 269.244 | 4.908 | 276.9 | 5.077 | 271.667 | -12.653 | 890.042 | 66.229 | 6.9238
2019-02-13 05:00:00 | 3.527 | 281.6 | 4.366 | 277.876 | 4.703 | 279.867 | 5.006 | 274.333 | -12.553 | 889.45 | 66.677 | 7.9733
2019-02-13 05:15:00 | 2.782 | 269.733 | 4.048 | 266.136 | 4.518 | 268.3 | 4.771 | 263.75 | -12.157 | 889.992 | 65.941 | 5.8821
2019-02-13 05:30:00 | 4.796 | 254.047 | 5.639 | 262.478 | 6.03 | 265.867 | 6.173 | 259.417 | -12.449 | 890.075 | 60.56 | 13.591
2019-02-13 05:45:00 | 5.354 | 256.293 | 5.991 | 260.756 | 6.235 | 265.967 | 6.482 | 261.4 | -12.82 | 890.067 | 57.936 | 27.5359
2019-02-13 06:00:00 | 5.367 | 270.74 | 6.095 | 275.618 | 6.24 | 279.633 | 6.342 | 275.667 | -12.953 | 889.892 | 58.517 | 32.0743
2019-02-13 06:15:00 | 4.016 | 271.493 | 4.698 | 273.978 | 5.025 | 276.5 | 5.172 | 269.733 | -13.136 | 890 | 59.312 | 19.3281
2019-02-13 06:30:00 | 4.062 | 260.24 | 5.004 | 263.482 | 5.346 | 268 | 5.511 | 264.7 | -13.303 | 890.083 | 60.144 | 14.3186
2019-02-13 06:45:00 | 5.1 | 254.22 | 6.122 | 261.85 | 6.392 | 269.267 | 6.602 | 266.3 | -13.138 | 890.1 | 60.955 | 21.8847
2019-02-13 07:00:00 | 5.332 | 251.727 | 6.044 | 260.204 | 6.383 | 264.4 | 6.678 | 259.483 | -13.053 | 890.017 | 73.024 | 28.9357
2019-02-13 07:15:00 | 4.849 | 246.6 | 5.793 | 248.536 | 6.197 | 254.367 | 6.405 | 250.7 | -13.203 | 889.625 | 75.509 | 24.2118
2019-02-13 07:30:00 | 4.83 | 233.367 | 5.709 | 236.149 | 6.322 | 243.033 | 6.575 | 239.467 | -13.003 | 889.925 | 72.544 | 20.2405
2019-02-13 07:45:00 | 4.868 | 235.267 | 6.053 | 235.745 | 6.497 | 240.9 | 6.468 | 237.233 | -13.036 | 890.058 | 69.44 | 27.403
2019-02-13 08:00:00 | 5.758 | 241.4 | 6.57 | 245.377 | 6.843 | 249.933 | 6.834 | 246.333 | -12.67 | 889.95 | 66.336 | 31.2081
2019-02-13 08:15:00 | 5.09 | 255.953 | 6.096 | 259.909 | 6.715 | 264.333 | 6.963 | 258.867 | -12.336 | 889.758 | 68.784 | 32.8097
2019-02-13 08:30:00 | 4.817 | 254.36 | 5.729 | 260.174 | 6.144 | 264.85 | 6.4 | 260.833 | -12.39 | 889.225 | 69.056 | 27.3078
2019-02-13 08:45:00 | 5.095 | 246.207 | 5.791 | 248.478 | 6.156 | 254 | 6.155 | 251.417 | -12.099 | 889.858 | 69.989 | 26.9184
2019-02-13 09:00:00 | 4.345 | 252.707 | 5.216 | 252.752 | 5.57 | 258.167 | 5.891 | 255.517 | -12.14 | 889.883 | 75.141 | 26.7656
2019-02-13 09:15:00 | 3.876 | 242.487 | 4.632 | 244.123 | 4.973 | 251.433 | 5.177 | 249.067 | -12.182 | 889.708 | 76.939 | 16.9925
2019-02-13 09:30:00 | 3.316 | 243.74 | 4.175 | 245.382 | 4.48 | 252.467 | 4.63 | 249.75 | -12.14 | 889.592 | 76.096 | 14.5922
2019-02-13 09:45:00 | 2.144 | 249.36 | 2.937 | 252.197 | 3.286 | 261 | 3.61 | 258.95 | -11.445 | 890.375 | 74.859 | 10.4077
2019-02-13 10:00:00 | 4.181 | 258.96 | 5.115 | 265.31 | 5.488 | 271.333 | 6.027 | 270.067 | -10.872 | 889.958 | 71.701 | 9.3162
2019-02-13 10:15:00 | 4.29 | 268.767 | 4.649 | 269.445 | 4.761 | 274.533 | 4.926 | 269.8 | -10.449 | 889.9 | 70.501 | 13.0744
2019-02-13 10:30:00 | 6.16 | 271.967 | 6.817 | 273.568 | 6.997 | 277.8 | 6.987 | 271.5 | -9.724 | 889.85 | 65.275 | 25.0411
2019-02-13 10:45:00 | 6.752 | 272.24 | 7.146 | 273.227 | 7.106 | 274.267 | 7.117 | 268.067 | -9.724 | 889.458 | 62.752 | 31.336
2019-02-13 11:00:00 | 7.817 | 251.093 | 8.534 | 259.901 | 8.933 | 263.733 | 9.313 | 259.9 | -9.949 | 889.967 | 65.275 | 48.6532
2019-02-13 11:15:00 | 10.79 | 252.733 | 11.683 | 262.507 | 11.713 | 266.567 | 11.837 | 262.283 | -10.083 | 889.725 | 65.888 | 50.2449
2019-02-13 11:30:00 | 11.486 | 246.787 | 12.827 | 256.984 | 13.155 | 260.133 | 13.249 | 256.95 | -9.712 | 889.7 | 60.155 | 48.1821
2019-02-13 11:45:00 | 11.016 | 253.08 | 11.735 | 260.432 | 12.145 | 262.75 | 12.208 | 258.517 | -9.341 | 890.025 | 57.627 | 47.441
2019-02-13 12:00:00 | 9.537 | 253.127 | 10.543 | 261.571 | 10.727 | 266.267 | 10.853 | 262.55 | -9.308 | 889.55 | 56.763 | 47.1944
2019-02-13 12:15:00 | 11.019 | 266.207 | 12.26 | 275.609 | 12.502 | 279.6 | 12.679 | 278.267 | -9.291 | 890.108 | 57.488 | 47.031
2019-02-13 12:30:00 | 12.236 | 259.907 | 13.322 | 277.5 | 13.358 | 280.9 | 13.691 | 278.567 | -9.258 | 890.317 | 57.061 | 46.6402
2019-02-13 12:45:00 | 12.181 | 269.547 | 13.32 | 277.03 | 13.696 | 278.633 | 13.74 | 275.867 | -9.158 | 889.775 | 55.888 | 46.5869
2019-02-13 13:00:00 | 13.305 | 261.493 | 14.262 | 269.859 | 14.071 | 273.633 | 14.121 | 269.3 | -9.258 | 890.017 | 56.027 | 46.9159
2019-02-13 13:15:00 | 12.758 | 254.94 | 14.169 | 264.844 | 14.488 | 270.4 | 14.723 | 266.567 | -8.974 | 889.875 | 53.616 | 47.3415
2019-02-13 13:30:00 | 13.029 | 256.893 | 14.1 | 262.52 | 14.109 | 266.367 | 14.098 | 262.267 | -8.958 | 890.017 | 53.147 | 48.1423
2019-02-13 13:45:00 | 12.637 | 248.167 | 13.89 | 262.338 | 13.896 | 266.9 | 13.697 | 263.333 | -8.658 | 889.75 | 51.845 | 48.8579
2019-02-13 14:00:00 | 12.543 | 257.48 | 13.676 | 270.214 | 13.87 | 274.667 | 13.923 | 270.5 | -8.461 | 890.183 | 52.368 | 48.2944
2019-02-13 14:15:00 | 13.437 | 257.053 | 14.675 | 270.199 | 14.693 | 273.8 | 14.923 | 270.467 | -8.28 | 890.158 | 51.381 | 48.4216
2019-02-13 14:30:00 | 12.17 | 259.753 | 12.726 | 275.8 | 12.862 | 276.667 | 13.311 | 273.133 | -8.808 | 889.583 | 52.219 | 48.4521
2019-02-13 14:45:00 | 11.72 | 250.913 | 13.006 | 266.582 | 13.356 | 270.767 | 13.329 | 269.067 | -8.391 | 889.975 | 51.115 | 48.5537
2019-02-13 15:00:00 | 11.566 | 258.16 | 12.691 | 265.215 | 12.908 | 270.367 | 13.075 | 266.9 | -8.267 | 889.85 | 51.365 | 48.4813
2019-02-13 15:15:00 | 12.589 | 258.007 | 13.599 | 268.352 | 13.885 | 272.133 | 13.704 | 267.317 | -7.943 | 889.85 | 49.136 | 48.6141
2019-02-13 15:30:00 | 11.914 | 252.42 | 13.051 | 263.497 | 13.138 | 267.967 | 13.162 | 264.05 | -8.504 | 889.892 | 49.275 | 48.6113
2019-02-13 15:45:00 | 11.667 | 248.167 | 12.882 | 266.679 | 13.236 | 271 | 13.508 | 266.95 | -8.25 | 890 | 48.645 | 51.0173
2019-02-13 16:00:00 | 13.091 | 248.853 | 14.065 | 265.26 | 14.035 | 269.2 | 14.042 | 264.083 | -8.093 | 890.308 | 47.339 | 54.9247
2019-02-13 16:15:00 | 12.89 | 255.14 | 13.95 | 264.683 | 14.041 | 267.667 | 14.283 | 263.75 | -7.676 | 890.042 | 46.533 | 54.6632
2019-02-13 16:30:00 | 12.672 | 252.9 | 14.116 | 263.235 | 14.267 | 266.9 | 14.306 | 262.833 | -7.883 | 889.725 | 47.355 | 49.9102
2019-02-13 16:45:00 | 11.82 | 248.433 | 12.848 | 261.198 | 12.996 | 265.9 | 13.045 | 260.95 | -7.556 | 889.825 | 47.381 | 49.1172
2019-02-13 17:00:00 | 11.062 | 240.787 | 11.948 | 260.068 | 11.975 | 264 | 11.801 | 259.533 | -7.819 | 890.042 | 48.16 | 50.2449
2019-02-13 17:15:00 | 10.002 | 250.36 | 10.726 | 265.74 | 10.904 | 268.3 | 10.695 | 263.45 | -7.716 | 889.85 | 48.917 | 55.0945
2019-02-13 17:30:00 | 11.145 | 247.86 | 12.244 | 264.171 | 12.399 | 268.133 | 12.554 | 264.483 | -8.13 | 890.025 | 50.101 | 59.6535
2019-02-13 17:45:00 | 11.827 | 248.687 | 12.864 | 261.948 | 12.952 | 266.867 | 12.925 | 262.883 | -8.291 | 889.867 | 50.133 | 59.5192
2019-02-13 18:00:00 | 12.089 | 240.273 | 13.204 | 256.009 | 13.486 | 259.9 | 13.479 | 255.833 | -8.374 | 889.992 | 49.632 | 58.5088
2019-02-13 18:15:00 | 10.562 | 239.647 | 11.616 | 249.492 | 12 | 253.983 | 11.803 | 249.883 | -8.658 | 889.392 | 49.595 | 60.8295
2019-02-13 18:30:00 | 10.331 | 236.447 | 11.729 | 255.066 | 12.3 | 259 | 12.54 | 255.85 | -9.008 | 889.858 | 49.925 | 66.3669
2019-02-13 18:45:00 | 9.176 | 246.393 | 10.622 | 256.361 | 11.005 | 262.367 | 11.384 | 258 | -9.224 | 890.058 | 51.035 | 70.2679
2019-02-13 19:00:00 | 9.241 | 242.42 | 10.535 | 257.545 | 10.849 | 262.433 | 11.051 | 258.783 | -9.37 | 889.75 | 52.331 | 67.0654
2019-02-13 19:15:00 | 7.027 | 239.787 | 8.445 | 249.981 | 9.186 | 254.8 | 9.866 | 250.4 | -9.724 | 889.875 | 54.715 | 65.9385
2019-02-13 19:30:00 | 7.684 | 230.867 | 9.44 | 246.305 | 10.115 | 252.3 | 10.339 | 248.433 | -10.283 | 889.608 | 56.587 | 65.9989
2019-02-13 19:45:00 | 7.252 | 238.4 | 8.813 | 245.403 | 9.63 | 252.833 | 9.708 | 251.133 | -10.233 | 889.833 | 57.44 | 62.7722
2019-02-13 20:00:00 | 6.625 | 240.247 | 8.163 | 249.234 | 9.133 | 255.433 | 9.665 | 251.1 | -10.635 | 889.683 | 59.691 | 66.6973
2019-02-13 20:15:00 | 6.242 | 233.113 | 7.234 | 236.563 | 7.682 | 243.8 | 7.664 | 240.5 | -10.424 | 890.025 | 60.64 | 66.2042
2019-02-13 20:30:00 | 6.583 | 240.293 | 7.56 | 241.91 | 7.852 | 249.7 | 8.13 | 247.967 | -10.632 | 889.858 | 61.141 | 65.3593
2019-02-13 20:45:00 | 6.594 | 239.367 | 7.429 | 239.636 | 8.046 | 247.033 | 8.294 | 244.25 | -11.078 | 889.592 | 62.219 | 63.5268
2019-02-13 21:00:00 | 6.756 | 237.727 | 7.732 | 239.409 | 8.258 | 246.3 | 8.411 | 243.783 | -10.947 | 890.158 | 63.467 | 58.8456
2019-02-13 21:15:00 | 6.236 | 230.033 | 7.158 | 232.03 | 7.682 | 239.633 | 7.726 | 238.433 | -11.078 | 889.842 | 64.181 | 56.2946
2019-02-13 21:30:00 | 6.596 | 236.98 | 8.118 | 240.068 | 8.976 | 247.833 | 9.117 | 243.5 | -10.966 | 890.075 | 64.853 | 68.4155
2019-02-13 21:45:00 | 6.128 | 231.227 | 7.392 | 234.503 | 8.01 | 242.667 | 8.163 | 240 | -10.76 | 889.642 | 64.533 | 60.6014
2019-02-13 22:00:00 | 6.049 | 210.1 | 6.858 | 213.724 | 7.358 | 222.867 | 7.568 | 223.5 | -11.345 | 889.783 | 63.979 | 54.7335
2019-02-13 22:15:00 | 5.348 | 201.833 | 6.022 | 205.086 | 6.186 | 217.3 | 6.154 | 223.067 | -11.495 | 889.617 | 63.669 | 50.9562
2019-02-13 22:30:00 | 6.123 | 229.707 | 7.818 | 229.651 | 8.563 | 237.567 | 8.658 | 235.5 | -11.288 | 889.867 | 65.195 | 50.7728
2019-02-13 22:45:00 | 5.561 | 218.473 | 7.579 | 216.52 | 8.227 | 224.933 | 7.788 | 225.133 | -12.14 | 890.217 | 63.701 | 51.4244
2019-02-13 23:00:00 | 6.844 | 210.747 | 8.806 | 212.67 | 8.448 | 221.267 | 8.226 | 223.333 | -12.366 | 889.708 | 64.981 | 51.2823
2019-02-13 23:15:00 | 6.429 | 207.787 | 8.512 | 206.459 | 10.018 | 212.7 | 9.559 | 213.733 | -12.153 | 889.908 | 64.811 | 56.6577
2019-02-13 23:30:00 | 6.708 | 208.9 | 8.805 | 209.374 | 9.719 | 216.7 | 9.115 | 216.667 | -12.52 | 889.475 | 65.493 | 59.2492
2019-02-13 23:45:00 | 6.478 | 213.733 | 9.071 | 213.129 | 10.11 | 218.633 | 9.795 | 216.3 | -12.37 | 890.125 | 65.867 | 57.0009