## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-14 00:00:00 | 6.746 | 214.767 | 8.808 | 214.154 | 9.685 | 219.767 | 9.389 | 217.8 | -12.62 | 889.442 | 66.283 | 55.1144
2019-02-14 00:15:00 | 6.369 | 212.433 | 8.436 | 211.09 | 9.259 | 217.233 | 9.58 | 214.833 | -12.653 | 889.833 | 66.848 | 55.8257
2019-02-14 00:30:00 | 6.711 | 209.133 | 8.952 | 205.331 | 9.632 | 209.333 | 9.694 | 205.2 | -12.653 | 889.758 | 66.112 | 56.7878
2019-02-14 00:45:00 | 7.005 | 213.867 | 9.632 | 211.626 | 10.185 | 213.167 | 10.561 | 209.633 | -12.436 | 889.992 | 65.163 | 58.8534
2019-02-14 01:00:00 | 6.258 | 215.86 | 8.919 | 209.046 | 9.82 | 210.533 | 10.117 | 206.033 | -11.953 | 889.858 | 63.541 | 62.4609
2019-02-14 01:15:00 | 5.246 | 231.147 | 7.088 | 213.768 | 8.728 | 214.267 | 9.593 | 211.633 | -11.561 | 889.742 | 61.344 | 53.2854
2019-02-14 01:30:00 | 6.053 | 211.227 | 7.707 | 209.34 | 9.414 | 213.567 | 10.691 | 211.967 | -12.345 | 890.142 | 62.784 | 47.8503
2019-02-14 01:45:00 | 6.123 | 203.933 | 7.024 | 204.344 | 7.8 | 209.233 | 8.558 | 207.867 | -12.703 | 890.017 | 62.656 | 49.1549
2019-02-14 02:00:00 | 5.446 | 198.347 | 6.549 | 201.905 | 7.851 | 206.2 | 9.193 | 204.033 | -13.128 | 890.258 | 62.955 | 51.2994
2019-02-14 02:15:00 | 5.188 | 206.627 | 6.97 | 207.104 | 7.94 | 209.8 | 9.216 | 206.933 | -13.541 | 889.708 | 64.821 | 50.9192
2019-02-14 02:30:00 | 6.939 | 213.9 | 9.125 | 210.482 | 9.868 | 213.4 | 10.363 | 212.533 | -12.986 | 889.967 | 64.661 | 56.041
2019-02-14 02:45:00 | 6.337 | 214.867 | 7.867 | 209.22 | 9.073 | 211.733 | 9.349 | 210.133 | -13.103 | 889.558 | 63.68 | 53.3607
2019-02-14 03:00:00 | 5.885 | 213.3 | 7.628 | 207.311 | 8.678 | 211.033 | 9.153 | 209.933 | -13.086 | 889.842 | 64.032 | 47.1617
2019-02-14 03:15:00 | 5.894 | 212.62 | 8.301 | 207.815 | 8.933 | 212.333 | 9.102 | 211.533 | -13.409 | 889.558 | 64.597 | 48.9318
2019-02-14 03:30:00 | 6.289 | 209.5 | 8.046 | 206.297 | 8.584 | 211.867 | 8.945 | 209.867 | -13.484 | 889.492 | 64.501 | 44.0402
2019-02-14 03:45:00 | 6.562 | 213.847 | 8.44 | 210.481 | 9.448 | 214.467 | 9.14 | 212.833 | -13.56 | 889.342 | 64.576 | 37.8014
2019-02-14 04:00:00 | 6.465 | 214.733 | 8.413 | 209.563 | 9.269 | 214.5 | 9.121 | 212.867 | -13.12 | 890.142 | 63.008 | 38.5141
2019-02-14 04:15:00 | 6.637 | 214.9 | 8.682 | 208.92 | 8.709 | 213.767 | 9.004 | 213.167 | -13.12 | 890.05 | 62.773 | 36.6226
2019-02-14 04:30:00 | 5.911 | 214.933 | 7.661 | 207.778 | 8.793 | 212.733 | 8.778 | 211.833 | -13.307 | 889.358 | 62.592 | 34.0738
2019-02-14 04:45:00 | 6.184 | 217.347 | 8.351 | 209.732 | 8.403 | 213.3 | 8.604 | 212.767 | -13.56 | 890.233 | 63.584 | 32.4836
2019-02-14 05:00:00 | 6.967 | 213.6 | 8.497 | 209.63 | 9.034 | 216.367 | 8.882 | 214.7 | -13.391 | 889.95 | 62.773 | 32.6491
2019-02-14 05:15:00 | 7.146 | 214.213 | 8.374 | 209.047 | 9.135 | 214.633 | 9.182 | 213.1 | -13.372 | 889.7 | 62.261 | 32.6662
2019-02-14 05:30:00 | 5.07 | 216.667 | 7.469 | 205.597 | 8.212 | 210.967 | 8.442 | 208.433 | -13.628 | 889.75 | 63.008 | 35.7316
2019-02-14 05:45:00 | 6.461 | 210.62 | 8.947 | 204.554 | 8.71 | 209.933 | 8.37 | 207.333 | -13.503 | 890.042 | 62.315 | 36.9523
2019-02-14 06:00:00 | 6.489 | 211.56 | 9.06 | 205.709 | 8.552 | 210.333 | 8.383 | 208.3 | -13.541 | 890.133 | 61.269 | 35.814
2019-02-14 06:15:00 | 6.879 | 213.92 | 8.369 | 208.345 | 8.452 | 212.633 | 8.79 | 211.967 | -13.409 | 889.967 | 60.341 | 37.8178
2019-02-14 06:30:00 | 6.664 | 215.14 | 8.336 | 209.245 | 8.4 | 214.833 | 8.136 | 216.933 | -13.616 | 890.1 | 60.32 | 33.8692
2019-02-14 06:45:00 | 5.119 | 222 | 7.271 | 213.863 | 7.856 | 218.367 | 7.283 | 220.133 | -12.97 | 889.867 | 58.048 | 28.8256
2019-02-14 07:00:00 | 5.628 | 214.16 | 7.108 | 210.836 | 7.603 | 218.667 | 7.176 | 219.067 | -13.541 | 889.592 | 59.808 | 25.6209
2019-02-14 07:15:00 | 6.131 | 213.92 | 7.648 | 209.734 | 7.496 | 214.7 | 7.204 | 214.467 | -13.409 | 889.808 | 59.947 | 20.2284
2019-02-14 07:30:00 | 6.752 | 215.693 | 8.161 | 210.458 | 8.032 | 214.333 | 8.064 | 212.933 | -13.878 | 889.892 | 60.917 | 23.7599
2019-02-14 07:45:00 | 6.374 | 214.987 | 8.049 | 210.406 | 8.004 | 214.233 | 8.17 | 212.733 | -13.708 | 890.142 | 61.824 | 25.8774
2019-02-14 08:00:00 | 6.433 | 214.147 | 8.129 | 210.272 | 8.068 | 217.5 | 7.781 | 215.733 | -13.881 | 889.833 | 61.845 | 22.6472
2019-02-14 08:15:00 | 5.949 | 213.5 | 7.631 | 206.125 | 7.065 | 212 | 7.767 | 212.267 | -14.166 | 890.008 | 62.357 | 21.8236
2019-02-14 08:30:00 | 4.531 | 211.333 | 6.686 | 208.413 | 6.969 | 213.667 | 7.202 | 214.167 | -14.683 | 889.583 | 64.171 | 18.6687
2019-02-14 08:45:00 | 6.988 | 216.88 | 8.508 | 211.848 | 8.031 | 216.3 | 7.696 | 216.633 | -14.437 | 890.017 | 64.885 | 20.0735
2019-02-14 09:00:00 | 6.551 | 216.3 | 8.898 | 213.793 | 8.584 | 219.367 | 8.032 | 219.233 | -13.203 | 889.983 | 61.696 | 25.9442
2019-02-14 09:15:00 | 6.048 | 214.2 | 8.21 | 213.219 | 8.318 | 219.567 | 7.68 | 218.533 | -12.27 | 889.983 | 58.859 | 25.3523
2019-02-14 09:30:00 | 5.994 | 215.033 | 8.166 | 214.123 | 8.001 | 220.067 | 7.15 | 218.1 | -11.361 | 890.067 | 55.637 | 22.79
2019-02-14 09:45:00 | 6.103 | 215.467 | 8.096 | 213.36 | 7.732 | 219.967 | 6.791 | 218.567 | -10.333 | 889.892 | 52.363 | 20.5503
2019-02-14 10:00:00 | 4.608 | 213.8 | 6.437 | 211.045 | 7.408 | 213.533 | 7.357 | 212.667 | -9.041 | 889.767 | 49.184 | 19.6237
2019-02-14 10:15:00 | 4.659 | 214.267 | 5.058 | 209.83 | 5.826 | 210.3 | 6.55 | 210.567 | -7.639 | 889.967 | 45.653 | 15.2424
2019-02-14 10:30:00 | 5.01 | 211.833 | 5.33 | 209.759 | 5.679 | 212.233 | 6.083 | 209.433 | -6.562 | 889.608 | 41.856 | 13.4731
2019-02-14 10:45:00 | 4.709 | 212.4 | 4.625 | 209.76 | 4.848 | 214.5 | 5.298 | 212.167 | -5.419 | 890.117 | 38.464 | 10.0353
2019-02-14 11:00:00 | 3.659 | 208.633 | 3.772 | 207.711 | 3.936 | 213.3 | 4.146 | 211.2 | -4.919 | 889.55 | 37.397 | 7.3387
2019-02-14 11:15:00 | 3.963 | 215.04 | 4.122 | 213.994 | 4.095 | 216.467 | 4.207 | 214.367 | -4.028 | 889.917 | 34.581 | 5.2454
2019-02-14 11:30:00 | 3.432 | 224.267 | 3.514 | 224.135 | 3.738 | 233.1 | 3.958 | 230.217 | -3.371 | 890.317 | 32.827 | 4.5881
2019-02-14 11:45:00 | 2.782 | 270.467 | 3.136 | 266.882 | 3.134 | 272.817 | 3.431 | 266.483 | -3.472 | 889.9 | 32.069 | 2.5268
2019-02-14 12:00:00 | 3.004 | 291.147 | 3.094 | 286.4 | 3.016 | 287.933 | 2.959 | 282.233 | -3.975 | 890.133 | 32.296 | 0.86334
2019-02-14 12:15:00 | 3.149 | 328.067 | 3.443 | 317.068 | 3.556 | 318.067 | 3.717 | 312.467 | -3.974 | 889.833 | 32.315 | 0.14993
2019-02-14 12:30:00 | 3.498 | 311.68 | 3.54 | 305.802 | 3.607 | 309.033 | 3.534 | 308.067 | -3.944 | 889.8 | 32.437 | 0.22028
2019-02-14 12:45:00 | 1.737 | 318.933 | 1.826 | 313.302 | 2.104 | 322.967 | 2.274 | 325.933 | -3.337 | 889.867 | 32.005 | 0.29915
2019-02-14 13:00:00 | 2.88 | 339.533 | 2.724 | 329.661 | 2.358 | 295.4 | 2.477 | 305.7 | -3.287 | 889.733 | 31.693 | 0.091663
2019-02-14 13:15:00 | 1.77 | 167.28 | 1.967 | 319.835 | 1.896 | 262.533 | 2.241 | 217.833 | -2.973 | 889.883 | 30.883 | 0.25865
2019-02-14 13:30:00 | 2.698 | 104.982 | 2.698 | 99.501 | 2.71 | 71.467 | 2.658 | 116.333 | -2.938 | 889.517 | 31.149 | 0.23307
2019-02-14 13:45:00 | 2.903 | 123.759 | 2.808 | 156.321 | 2.731 | 84.367 | 2.657 | 82.4 | -2.7 | 889.667 | 30.869 | 0.12293
2019-02-14 14:00:00 | 2.794 | 89.586 | 2.471 | 73.649 | 2.019 | 98.84 | 1.85 | 144.533 | -2.925 | 889.833 | 31.621 | 0.24159
2019-02-14 14:15:00 | 2.709 | 153.915 | 2.534 | 213.328 | 2.307 | 86.835 | 2.533 | 128.8 | -2.32 | 889.617 | 31.816 | 0.26149
2019-02-14 14:30:00 | 2.843 | 73.413 | 2.844 | 111.633 | 2.667 | 104.933 | 2.801 | 98.233 | -2.821 | 889.5 | 31.221 | 0.28209
2019-02-14 14:45:00 | 2.955 | 34.929 | 2.72 | 42.964 | 2.618 | 29.733 | 2.649 | 4.834 | -2.622 | 889.667 | 30.56 | 0.52724
2019-02-14 15:00:00 | 2.278 | 64.937 | 1.726 | 77.835 | 2.315 | 77.7 | 2.757 | 117.533 | -2.818 | 889.617 | 30.315 | 1.8965
2019-02-14 15:15:00 | 3.919 | 40.981 | 4.089 | 33.668 | 4.327 | 35.5 | 4.439 | 31.5 | -2.781 | 889.267 | 32.272 | 2.5381
2019-02-14 15:30:00 | 3.04 | 20.033 | 3.136 | 66.284 | 3.368 | 23.133 | 3.26 | 21.767 | -3.093 | 889.75 | 33.027 | 3.0881
2019-02-14 15:45:00 | 3.973 | 45.367 | 4.006 | 45.883 | 3.938 | 51.833 | 4.102 | 49.467 | -3.304 | 889.733 | 34.48 | 2.2958
2019-02-14 16:00:00 | 3.551 | 34.106 | 3.362 | 17.079 | 3.024 | 18.567 | 3.017 | 42.767 | -3.029 | 889.533 | 35.205 | 1.2613
2019-02-14 16:15:00 | 2.732 | 62.883 | 2.617 | 47.393 | 2.645 | 44.5 | 2.876 | 40.767 | -3.049 | 889.867 | 35.579 | 1.5817
2019-02-14 16:30:00 | 1.583 | 24.367 | 1.787 | 27.141 | 1.845 | 38.567 | 2.184 | 41 | -3.304 | 889.883 | 35.525 | 1.4773
2019-02-14 16:45:00 | 1.033 | 33.287 | 0.741 | 168.108 | 0.754 | 139.867 | 1.504 | 8.146 | -2.982 | 889.867 | 35.245 | 0.8207
2019-02-14 17:00:00 | 2.401 | 132.2 | 2.129 | 141.992 | 1.96 | 65.003 | 2.049 | 63.467 | -3.137 | 889.783 | 35.712 | 0.61606
2019-02-14 17:15:00 | 2.97 | 49.767 | 2.854 | 41.68 | 2.886 | 41.733 | 2.929 | 37.7 | -3.371 | 889.717 | 36.016 | 0.81573
2019-02-14 17:30:00 | 2.557 | 29.067 | 2.431 | 23.509 | 2.65 | 27.333 | 2.838 | 27.333 | -3.606 | 889.967 | 36.165 | 0.46826
2019-02-14 17:45:00 | 3.156 | 21.433 | 2.999 | 19.463 | 3.058 | 25.233 | 3.091 | 20.433 | -3.388 | 889.983 | 36.869 | 0.7397
2019-02-14 18:00:00 | 2.64 | 28.833 | 2.427 | 27.347 | 2.404 | 31.767 | 2.791 | 30.033 | -3.79 | 889.9 | 37.6 | 1.4652
2019-02-14 18:15:00 | 3.902 | 41.567 | 3.904 | 39.843 | 3.99 | 45.067 | 4.077 | 44 | -3.89 | 889.85 | 37.941 | 2.7534
2019-02-14 18:30:00 | 3.243 | 47.153 | 2.853 | 42.339 | 2.886 | 48.567 | 3.125 | 48.567 | -4.246 | 889.85 | 38.571 | 2.1281
2019-02-14 18:45:00 | 3.037 | 59.543 | 2.678 | 52.024 | 2.54 | 58.9 | 2.75 | 54.933 | -4.474 | 889.5 | 39.579 | 1.8183
2019-02-14 19:00:00 | 2.381 | 53.083 | 2.121 | 48.624 | 2.248 | 49.3 | 2.513 | 42.767 | -4.902 | 889.508 | 40.715 | 0.90384
2019-02-14 19:15:00 | 2.707 | 58.488 | 2.719 | 54.971 | 2.127 | 58.433 | 2.126 | 56.9 | -5.469 | 889.717 | 42.165 | 1.0559
2019-02-14 19:30:00 | 2.632 | 53.635 | 2.58 | 48.942 | 2.416 | 54.7 | 2.415 | 52.733 | -5.769 | 890.167 | 42.816 | 1.3245
2019-02-14 19:45:00 | 2.168 | 61.238 | 1.954 | 53.793 | 1.676 | 56.767 | 1.86 | 48.9 | -5.958 | 890.017 | 43.893 | 0.84984
2019-02-14 20:00:00 | 1.747 | 58.38 | 1.676 | 49.804 | 1.488 | 49.767 | 1.744 | 54.133 | -5.974 | 889.833 | 44.597 | 0.29631
2019-02-14 20:15:00 | 2.091 | 63.31 | 2.631 | 58.706 | 2.793 | 63 | 2.982 | 58.5 | -6.412 | 889.608 | 45.589 | 0.31336
2019-02-14 20:30:00 | 1.117 | 55.492 | 2.146 | 44.739 | 2.141 | 50.367 | 2.053 | 49.633 | -6.959 | 889.792 | 46.475 | 0.80507
2019-02-14 20:45:00 | 0.23 | 52.147 | 1.413 | 48.92 | 1.754 | 54.933 | 1.965 | 54.833 | -7.483 | 889.85 | 48.469 | 0.13714
2019-02-14 21:00:00 | 0 | 102.297 | 0.23 | 31.927 | 1.651 | 46.567 | 2.237 | 51.433 | -8.21 | 890.15 | 50.795 | 0.34463
2019-02-14 21:15:00 | 0 | 188.4 | 0.087 | 34.142 | 1.28 | 54 | 1.893 | 54.067 | -8.574 | 890.042 | 52.043 | 0.29702
2019-02-14 21:30:00 | 0.04 | 189.387 | 0.723 | 34.112 | 1.436 | 54.333 | 1.948 | 52.533 | -8.481 | 890.05 | 53.621 | 0.29133
2019-02-14 21:45:00 | 0.279 | 212.4 | 0.483 | 45.005 | 1.687 | 62.867 | 2.39 | 61 | -8.491 | 889.783 | 53.365 | 0.3027
2019-02-14 22:00:00 | 1.806 | 213.493 | 0.027 | 79.216 | 1.65 | 103.4 | 2.451 | 90.567 | -8.11 | 890.108 | 52.288 | 0.31123
2019-02-14 22:15:00 | 1.879 | 199.833 | 0 | 79.238 | 0 | 104.067 | 0 | 92.033 | -8.924 | 889.967 | 52.053 | 0.23662
2019-02-14 22:30:00 | 1.067 | 216.4 | 0 | 79.253 | 0 | 103.867 | 0.853 | 89.967 | -8.974 | 889.617 | 54.197 | 0.28209
2019-02-14 22:45:00 | 1.574 | 231.7 | 0 | 79.269 | 0.287 | 32.067 | 1.969 | 31 | -8.991 | 889.608 | 54.24 | 0.31407
2019-02-14 23:00:00 | 1.61 | 252 | 0.07 | 17.082 | 1.053 | 13.567 | 2.249 | 25 | -9.191 | 890.092 | 55.093 | 0.33397
2019-02-14 23:15:00 | 1.003 | 252.84 | 0 | 0 | 1.591 | 6.767 | 2.406 | 27.9 | -9.52 | 890.292 | 55.947 | 0.33823
2019-02-14 23:30:00 | 1.99 | 237.98 | 0.03 | 0 | 1.389 | 20 | 2.45 | 39 | -9.649 | 890.425 | 55.808 | 0.33965
2019-02-14 23:45:00 | 2.234 | 231.747 | 0 | 0 | 0.267 | 22.933 | 1.822 | 68.2 | -9.891 | 889.833 | 56.107 | 0.33539