## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-15 00:00:00 | 2.508 | 222.153 | 0 | 0 | 0 | 27.033 | 2.187 | 67.933 | -9.978 | 889.858 | 55.627 | 0.23093
2019-02-15 00:15:00 | 2.053 | 217.9 | 0 | 313.039 | 0.173 | 81.367 | 2.062 | 90.967 | -10.016 | 890.083 | 56.171 | 0.19683
2019-02-15 00:30:00 | 2.542 | 224.34 | 0 | 250.652 | 0.597 | 128.233 | 2.626 | 108.567 | -10.154 | 890.008 | 56.048 | 0.083847
2019-02-15 00:45:00 | 2.599 | 207.113 | 0.74 | 147.326 | 2.063 | 125.733 | 3.289 | 106.3 | -11.17 | 889.992 | 53.867 | 0.80507
2019-02-15 01:00:00 | 2.463 | 178.813 | 2.526 | 126.882 | 2.921 | 117.3 | 2.816 | 101.7 | -10.262 | 889.642 | 56.693 | 2.3122
2019-02-15 01:15:00 | 1.908 | 181.567 | 1.662 | 125.657 | 1.863 | 105.867 | 2.413 | 84.867 | -10.449 | 889.7 | 55.413 | 3.091
2019-02-15 01:30:00 | 2.51 | 166.18 | 2.682 | 117.442 | 2.78 | 113.167 | 2.783 | 106.467 | -10.618 | 889.758 | 54.069 | 2.3726
2019-02-15 01:45:00 | 2.281 | 162.967 | 2.604 | 115.662 | 2.5 | 108.167 | 2.357 | 100.633 | -10.216 | 890.167 | 52.896 | 1.5078
2019-02-15 02:00:00 | 2.219 | 181.753 | 2.047 | 125.49 | 2.31 | 116.633 | 2.455 | 108.733 | -10.816 | 889.983 | 53.803 | 0.61251
2019-02-15 02:15:00 | 2.417 | 206.133 | 1.166 | 144.865 | 1.503 | 122.267 | 1.761 | 94.8 | -11.395 | 890.117 | 55.019 | 0.24017
2019-02-15 02:30:00 | 2.46 | 221.407 | 0 | 142.517 | 1.257 | 99 | 2.276 | 86.4 | -11.586 | 889.775 | 56.661 | 0.31976
2019-02-15 02:45:00 | 2.692 | 226.247 | 0 | 162.991 | 0.06 | 99 | 2.158 | 96 | -10.872 | 890.192 | 55.819 | 0.32686
2019-02-15 03:00:00 | 1.637 | 224.173 | 0.153 | 155.71 | 0.89 | 123.4 | 2.231 | 105.533 | -10.741 | 890.05 | 55.029 | 0.32828
2019-02-15 03:15:00 | 1.538 | 212.94 | 0.2 | 120.261 | 1.566 | 111.6 | 2.488 | 97.033 | -10.63 | 890.175 | 53.781 | 0.19896
2019-02-15 03:30:00 | 2.57 | 182.62 | 2.17 | 133.304 | 2.888 | 115.033 | 3.407 | 104.1 | -11.153 | 889.883 | 54.613 | 0.79726
2019-02-15 03:45:00 | 2.484 | 177.067 | 2.645 | 126.555 | 2.879 | 112.133 | 2.846 | 103.633 | -11.89 | 889.742 | 55.051 | 1.5455
2019-02-15 04:00:00 | 1.548 | 176.467 | 1.998 | 113.028 | 2.016 | 106.8 | 2.483 | 101.333 | -11.211 | 889.683 | 54.656 | 1.7608
2019-02-15 04:15:00 | 3.43 | 184.533 | 3.395 | 134.356 | 3.895 | 121 | 4.43 | 114.533 | -12.045 | 889.95 | 53.696 | 6.0732
2019-02-15 04:30:00 | 3.69 | 150.133 | 4.475 | 117.661 | 4.487 | 113.667 | 3.894 | 101.533 | -12.686 | 890.208 | 55.125 | 8.1879
2019-02-15 04:45:00 | 2.8 | 143.93 | 3.493 | 114.203 | 3.657 | 115.333 | 4.204 | 106.833 | -11.578 | 889.95 | 54.336 | 3.189
2019-02-15 05:00:00 | 3.347 | 189.187 | 2.523 | 146.331 | 2.258 | 129.867 | 2.606 | 113.433 | -12.082 | 889.808 | 51.392 | 1.9285
2019-02-15 05:15:00 | 3.352 | 177.4 | 2.867 | 137.447 | 2.54 | 134.267 | 2.905 | 119.3 | -12.886 | 890.125 | 53.429 | 1.2549
2019-02-15 05:30:00 | 2.941 | 169.947 | 2.754 | 128.064 | 2.72 | 121 | 3.222 | 110.367 | -12.143 | 889.717 | 52.395 | 1.1156
2019-02-15 05:45:00 | 2.446 | 175.913 | 2.172 | 129.656 | 2.46 | 117.067 | 2.655 | 108.8 | -11.766 | 889.583 | 51.851 | 0.75462
2019-02-15 06:00:00 | 1.945 | 186.427 | 0.63 | 140.175 | 1.52 | 120.333 | 2.464 | 105.233 | -11.953 | 890.108 | 52.224 | 0.18901
2019-02-15 06:15:00 | 1.693 | 191.647 | 0.828 | 141.366 | 1.44 | 107 | 2.278 | 99 | -11.561 | 889.767 | 51.797 | 0.28991
2019-02-15 06:30:00 | 0.636 | 188.547 | 0.574 | 124.27 | 1.876 | 104 | 2.532 | 94.333 | -11.649 | 890.183 | 52.416 | 0.30412
2019-02-15 06:45:00 | 1.567 | 217.047 | 0 | 124.242 | 0.727 | 83.333 | 1.791 | 79.133 | -12.182 | 890.067 | 53.323 | 0.35528
2019-02-15 07:00:00 | 0.449 | 223.227 | 0.023 | 119.19 | 1.194 | 73.733 | 2.462 | 68.1 | -12.161 | 889.6 | 53.408 | 0.32757
2019-02-15 07:15:00 | 0.683 | 163.653 | 1.96 | 87.077 | 3.147 | 84.2 | 3.623 | 77.467 | -12.174 | 889.742 | 53.877 | 2.2845
2019-02-15 07:30:00 | 1.249 | 130.507 | 2.089 | 75.9 | 2.519 | 72 | 2.598 | 66.733 | -12.486 | 890.017 | 55.381 | 0.50521
2019-02-15 07:45:00 | 0.917 | 151.273 | 0 | 79.242 | 0.056 | 62 | 1.266 | 69 | -13.224 | 890.075 | 57.589 | 0.33965
2019-02-15 08:00:00 | 1.411 | 172.2 | 0 | 79.254 | 0 | 62 | 1.881 | 69.867 | -12.936 | 889.867 | 59.829 | 0.32402
2019-02-15 08:15:00 | 1.747 | 166.227 | 0.458 | 115.306 | 0.393 | 106.033 | 2.109 | 88.667 | -12.161 | 890.067 | 58.677 | 0.32828
2019-02-15 08:30:00 | 2.768 | 194.133 | 1.103 | 144.316 | 0.767 | 146.967 | 1.452 | 101.8 | -12.52 | 889.8 | 57.813 | 0.33965
2019-02-15 08:45:00 | 2.174 | 209.927 | 0 | 182.468 | 0.053 | 148.967 | 1.317 | 106 | -13.353 | 889.933 | 58.336 | 0.33397
2019-02-15 09:00:00 | 1.993 | 214.267 | 0.067 | 182.498 | 0.603 | 148.267 | 1.606 | 111 | -12.486 | 889.933 | 56.16 | 0.32544
2019-02-15 09:15:00 | 1.547 | 230.12 | 0 | 162.447 | 1.13 | 79 | 1.679 | 73.833 | -12.032 | 890.108 | 53.931 | 0.33397
2019-02-15 09:30:00 | 0.187 | 236.98 | 1.333 | 46.169 | 2.355 | 48.767 | 2.544 | 62.033 | -11.159 | 889.592 | 51.243 | 0.33823
2019-02-15 09:45:00 | 1.377 | 243.46 | 0.293 | 35.125 | 1.952 | 61.242 | 2.801 | 62.533 | -10.422 | 889.942 | 47.061 | 0.26575
2019-02-15 10:00:00 | 0.412 | 235.027 | 0 | 48.113 | 1.788 | 58.967 | 2.776 | 68 | -10.291 | 890.258 | 46.005 | 0.28849
2019-02-15 10:15:00 | 0.053 | 235.493 | 0 | 10.133 | 1.021 | 66.9 | 2.787 | 71.267 | -7.976 | 889.975 | 43.904 | 0.23093
2019-02-15 10:30:00 | 0.966 | 73.04 | 0.983 | 65.17 | 1.366 | 83.733 | 1.764 | 83.1 | -7.682 | 889.65 | 41.472 | 0.29773
2019-02-15 10:45:00 | 1.819 | 63.027 | 1.788 | 74.316 | 2.031 | 84.767 | 1.995 | 81.3 | -8.858 | 889.9 | 43.595 | 0.14567
2019-02-15 11:00:00 | 2.773 | 79.69 | 2.994 | 67.974 | 3.149 | 75.433 | 3.026 | 74 | -9.445 | 890.108 | 47.147 | 2.5119
2019-02-15 11:15:00 | 3.883 | 87.197 | 3.817 | 81.007 | 3.85 | 89.167 | 3.915 | 84.867 | -9.224 | 890.167 | 49.92 | 8.1438
2019-02-15 11:30:00 | 4.806 | 94.007 | 4.76 | 90.052 | 4.243 | 92.967 | 4.312 | 88.3 | -9.408 | 889.675 | 51.861 | 10.1966
2019-02-15 11:45:00 | 4.7 | 86.83 | 4.652 | 81.101 | 4.82 | 90.267 | 5.066 | 88.2 | -9.024 | 889.75 | 52.459 | 11.3669
2019-02-15 12:00:00 | 5.003 | 75.763 | 4.876 | 76.516 | 4.602 | 83.933 | 4.549 | 81.767 | -8.824 | 889.975 | 52.235 | 8.9702
2019-02-15 12:15:00 | 4.823 | 70.103 | 4.9 | 68.976 | 5.136 | 74.267 | 5.244 | 70.467 | -8.791 | 889.592 | 50.56 | 12.0079
2019-02-15 12:30:00 | 4.708 | 65.223 | 4.924 | 60.659 | 5.075 | 67.6 | 5.432 | 63.567 | -8.974 | 889.825 | 51.275 | 17.6569
2019-02-15 12:45:00 | 4.525 | 69.307 | 4.591 | 69.935 | 4.713 | 76.033 | 5.206 | 70 | -8.771 | 889.683 | 51.872 | 17.1914
2019-02-15 13:00:00 | 6.879 | 83.295 | 6.912 | 79.792 | 6.782 | 90.133 | 6.848 | 83.133 | -7.689 | 889.725 | 49.184 | 31.0127
2019-02-15 13:15:00 | 5.911 | 93.553 | 5.506 | 91.599 | 5.656 | 98.4 | 6.208 | 94.1 | -7.753 | 889.667 | 49.707 | 34.2145
2019-02-15 13:30:00 | 6.481 | 97.863 | 6.486 | 86.046 | 6.216 | 91.867 | 6.366 | 87.233 | -7.536 | 890.008 | 48.608 | 34.6856
2019-02-15 13:45:00 | 7.785 | 82.028 | 8.286 | 75.55 | 8.494 | 79.667 | 8.667 | 76.833 | -7.622 | 890.025 | 48.928 | 37.2316
2019-02-15 14:00:00 | 6.992 | 101.733 | 6.222 | 92.245 | 5.979 | 93.4 | 6.805 | 90.367 | -7.572 | 890.1 | 47.691 | 45.2553
2019-02-15 14:15:00 | 8.744 | 104.023 | 8.704 | 98.227 | 8.331 | 104.467 | 8.752 | 99.7 | -7.098 | 889.967 | 45.568 | 61.9088
2019-02-15 14:30:00 | 9.675 | 105.29 | 9.755 | 99.91 | 9.362 | 102.3 | 9.918 | 99.167 | -7.032 | 890 | 43.36 | 61.8428
2019-02-15 14:45:00 | 10.097 | 97.767 | 9.703 | 91.046 | 9.696 | 97.833 | 9.677 | 93.833 | -6.462 | 889.633 | 41.365 | 60.4742
2019-02-15 15:00:00 | 9.081 | 91.527 | 8.64 | 91.827 | 8.447 | 96.967 | 8.452 | 90.467 | -6.737 | 889.492 | 41.728 | 57.158
2019-02-15 15:15:00 | 10.862 | 92.067 | 10.773 | 88.482 | 10.386 | 93.967 | 10.443 | 89.467 | -6.562 | 889.767 | 40.725 | 56.1753
2019-02-15 15:30:00 | 10.12 | 84.963 | 10.666 | 78.46 | 10.756 | 86.533 | 10.82 | 83.467 | -6.192 | 889.75 | 40.016 | 54.4223
2019-02-15 15:45:00 | 11.178 | 89.02 | 11.22 | 85.055 | 11.118 | 90.667 | 11 | 84.033 | -5.952 | 889.083 | 40.389 | 55.8043
2019-02-15 16:00:00 | 10.664 | 85.737 | 10.832 | 80.705 | 10.803 | 85.9 | 10.975 | 82.2 | -6.1 | 890.017 | 41.403 | 57.158
2019-02-15 16:15:00 | 11.78 | 88.003 | 12.015 | 83.788 | 11.921 | 89.4 | 11.695 | 85.167 | -6.017 | 889.9 | 41.6 | 54.9815
2019-02-15 16:30:00 | 10.626 | 85.49 | 10.993 | 80.72 | 10.563 | 86.667 | 10.72 | 84.633 | -6.236 | 889.575 | 42.112 | 55.4484
2019-02-15 16:45:00 | 10.639 | 88.943 | 10.655 | 83.413 | 10.556 | 86.133 | 10.74 | 82.533 | -6.173 | 890.133 | 41.824 | 55.3254
2019-02-15 17:00:00 | 11.127 | 86.16 | 11.674 | 79.858 | 11.871 | 84.433 | 12.166 | 81.867 | -6.322 | 889.717 | 41.413 | 55.0618
2019-02-15 17:15:00 | 10.526 | 81.9 | 11.17 | 79.19 | 11.516 | 83.033 | 11.842 | 78.833 | -6.512 | 889.508 | 41.323 | 54.7023
2019-02-15 17:30:00 | 9.358 | 85.567 | 9.879 | 80.538 | 9.518 | 86.433 | 9.703 | 83.1 | -6.562 | 889.533 | 40.971 | 54.6731
2019-02-15 17:45:00 | 9.559 | 84.743 | 9.842 | 79.131 | 10.317 | 85 | 10.369 | 80.167 | -6.688 | 889.975 | 40.688 | 54.8366
2019-02-15 18:00:00 | 8.048 | 84.687 | 8.457 | 76.718 | 8.577 | 83.133 | 8.746 | 79.833 | -7.012 | 889.65 | 41.019 | 55.2132
2019-02-15 18:15:00 | 7.062 | 77.883 | 7.427 | 74.842 | 7.879 | 80.167 | 8.049 | 77.667 | -6.975 | 889.575 | 40.768 | 44.9348
2019-02-15 18:30:00 | 6.651 | 78.003 | 7.004 | 73.329 | 7.55 | 78.267 | 7.622 | 75.067 | -7.161 | 889.658 | 41.376 | 35.755
2019-02-15 18:45:00 | 6.122 | 84.557 | 6.428 | 79.367 | 6.306 | 85.267 | 6.302 | 82.833 | -7.566 | 890.108 | 42.549 | 31.9002
2019-02-15 19:00:00 | 5.538 | 82.813 | 6.376 | 76.535 | 6.719 | 82.533 | 6.946 | 77.567 | -8.511 | 890.017 | 45.259 | 26.4373
2019-02-15 19:15:00 | 4.496 | 87.1 | 5.064 | 83.17 | 4.702 | 90.233 | 4.57 | 86.267 | -8.908 | 889.892 | 46.848 | 17.8395
2019-02-15 19:30:00 | 3.547 | 93.167 | 3.752 | 88.769 | 2.951 | 98.833 | 2.92 | 92.933 | -9.058 | 889.917 | 48.565 | 12.5323
2019-02-15 19:45:00 | 3.38 | 104.867 | 3.29 | 96.096 | 2.906 | 105 | 2.949 | 96.5 | -9.208 | 890.158 | 50.432 | 9.6438
2019-02-15 20:00:00 | 3.279 | 99.107 | 3.231 | 93.845 | 2.715 | 96.7 | 2.836 | 93.367 | -9.391 | 889.267 | 51.989 | 10.1988
2019-02-15 20:15:00 | 3.089 | 96.287 | 3.37 | 88.478 | 2.979 | 94.133 | 2.95 | 89.033 | -9.641 | 890.167 | 53.013 | 7.4972
2019-02-15 20:30:00 | 3.484 | 91.54 | 3.925 | 85.552 | 3.454 | 94.033 | 3.338 | 91.033 | -10.028 | 889.6 | 53.835 | 10.596
2019-02-15 20:45:00 | 3.445 | 107.747 | 4.145 | 99.443 | 3.888 | 103.667 | 3.998 | 99.5 | -10.108 | 889.825 | 54.379 | 10.1
2019-02-15 21:00:00 | 2.872 | 102.6 | 2.996 | 92.923 | 2.486 | 99.733 | 2.979 | 93.067 | -10.366 | 890.125 | 54.848 | 12.0967
2019-02-15 21:15:00 | 3.412 | 89.1 | 4.267 | 84.843 | 4.288 | 93.933 | 4.643 | 88.3 | -10.316 | 889.583 | 53.792 | 18.1045
2019-02-15 21:30:00 | 4.273 | 91.733 | 4.561 | 88.84 | 3.862 | 96.8 | 3.559 | 92.3 | -10.299 | 890.117 | 53.152 | 27.6524
2019-02-15 21:45:00 | 4.472 | 94.277 | 4.597 | 91.28 | 4.184 | 101.933 | 4.233 | 97.067 | -10.518 | 889.833 | 53.259 | 33.5039
2019-02-15 22:00:00 | 5.69 | 95.8 | 5.74 | 90.255 | 4.841 | 95.233 | 4.808 | 92.167 | -10.333 | 890.233 | 52.683 | 37.7439
2019-02-15 22:15:00 | 6.12 | 94.647 | 6.137 | 88.907 | 5.136 | 97.6 | 5.472 | 97.367 | -10.074 | 889.692 | 51.797 | 46.6039
2019-02-15 22:30:00 | 6.016 | 86.9 | 6.357 | 83.481 | 5.956 | 88.2 | 5.787 | 87.467 | -10.216 | 890.017 | 51.648 | 45.9694
2019-02-15 22:45:00 | 5.228 | 73.81 | 6.125 | 76.486 | 6.1 | 87 | 5.95 | 86.233 | -10.909 | 889.883 | 53.504 | 44.8737
2019-02-15 23:00:00 | 5.177 | 80.67 | 5.768 | 78.551 | 5.596 | 88.733 | 5.648 | 86.833 | -11.155 | 889.517 | 53.728 | 48.3661
2019-02-15 23:15:00 | 5.246 | 91.583 | 5.38 | 89.266 | 4.619 | 100.6 | 4.927 | 96.133 | -10.797 | 889.833 | 53.003 | 47.1752
2019-02-15 23:30:00 | 5.497 | 89.227 | 5.58 | 88.451 | 4.77 | 93.7 | 4.89 | 92.2 | -11.036 | 890.175 | 54.133 | 44.166
2019-02-15 23:45:00 | 5.016 | 96.78 | 4.964 | 94.618 | 4.892 | 103.133 | 4.993 | 97.467 | -11.157 | 889.858 | 54.933 | 40.8725