## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-16 00:00:00 | 5.587 | 98.16 | 5.916 | 94.01 | 5.23 | 101.5 | 4.445 | 97.633 | -11.449 | 889.8 | 56.992 | 42.9246
2019-02-16 00:15:00 | 5.16 | 126.777 | 6.117 | 121.316 | 5.809 | 128.5 | 6.319 | 121.867 | -12.853 | 889.825 | 60.661 | 31.7808
2019-02-16 00:30:00 | 4.788 | 169.72 | 5.275 | 150.335 | 5.127 | 152.267 | 5.804 | 144.167 | -13.926 | 889.867 | 60.565 | 21.4712
2019-02-16 00:45:00 | 4.705 | 189.733 | 5.783 | 184.557 | 4.45 | 176 | 3.69 | 161.267 | -15.658 | 889.842 | 64.992 | 8.8572
2019-02-16 01:00:00 | 3.682 | 186.633 | 5.035 | 184.434 | 4.224 | 175.767 | 3.79 | 159.233 | -15.308 | 889.833 | 67.755 | 2.7115
2019-02-16 01:15:00 | 2.956 | 182.067 | 2.566 | 163.567 | 2.51 | 148.533 | 2.824 | 134.967 | -14.891 | 890.075 | 67.819 | 3.5841
2019-02-16 01:30:00 | 3.212 | 188.08 | 2.977 | 146.356 | 3.057 | 133.333 | 3.654 | 122.967 | -13.653 | 889.917 | 67.563 | 8.0543
2019-02-16 01:45:00 | 2.289 | 225.6 | 1.333 | 161.355 | 1.794 | 143.667 | 2.443 | 123.033 | -14.001 | 890.142 | 63.264 | 6.5649
2019-02-16 02:00:00 | 4.106 | 219.433 | 2.136 | 192.763 | 1.606 | 154.933 | 2.631 | 120.767 | -15.054 | 890.158 | 62.933 | 2.2646
2019-02-16 02:15:00 | 2.71 | 212.1 | 1.697 | 168.371 | 1.588 | 144.333 | 2.552 | 115.3 | -14.595 | 889.7 | 68.181 | 0.21246
2019-02-16 02:30:00 | 2.887 | 215.033 | 0.066 | 166.017 | 0.246 | 128.433 | 1.65 | 88.767 | -15.854 | 889.783 | 62.037 | 0.14567
2019-02-16 02:45:00 | 2.451 | 225.34 | 0 | 166.523 | 0 | 127.933 | 0 | 71 | -16.04 | 889.658 | 71.403 | 0.23591
2019-02-16 03:00:00 | 4.484 | 228.673 | 1.886 | 233.706 | 0.27 | 169.067 | 0 | 70.992 | -16.254 | 889.592 | 68.971 | 0.082426
2019-02-16 03:15:00 | 4.134 | 242.267 | 2.173 | 266.938 | 0.943 | 282.8 | 1.125 | 298.567 | -16.531 | 889.583 | 69.285 | 0.15917
2019-02-16 03:30:00 | 3.567 | 260.8 | 1.943 | 269.201 | 0.82 | 278.433 | 1.287 | 299 | -15.324 | 890.125 | 70.629 | 0.17622
2019-02-16 03:45:00 | 2.783 | 278.153 | 1.773 | 299.837 | 1.47 | 326.333 | 1.769 | 325.833 | -15.308 | 889.833 | 68.507 | 0.24088
2019-02-16 04:00:00 | 3.459 | 259.293 | 1.467 | 288.803 | 0.226 | 314.533 | 1.366 | 283.6 | -15.779 | 890.258 | 65.536 | 0.28067
2019-02-16 04:15:00 | 3.413 | 248.733 | 1.449 | 283.794 | 0.027 | 314.733 | 0.477 | 6.8 | -16.714 | 889.475 | 68.853 | 0.33539
2019-02-16 04:30:00 | 3.574 | 260.553 | 1.774 | 280.544 | 0.963 | 314.767 | 0.508 | 6.102 | -16.622 | 889.9 | 71.84 | 0.34107
2019-02-16 04:45:00 | 3.994 | 260.433 | 2.288 | 288.342 | 1.446 | 304.867 | 1.378 | 338.6 | -16.531 | 890.058 | 70.56 | 0.33681
2019-02-16 05:00:00 | 4.083 | 264.287 | 3.034 | 291.494 | 2.276 | 309.6 | 1.956 | 319.433 | -15.758 | 889.725 | 69.819 | 0.35102
2019-02-16 05:15:00 | 4.561 | 254.433 | 3.447 | 276.48 | 3.013 | 287.767 | 2.774 | 295.667 | -16.981 | 890.033 | 67.403 | 0.3091
2019-02-16 05:30:00 | 4.044 | 243.853 | 3.974 | 270.903 | 3.206 | 280.933 | 2.431 | 278.867 | -17.498 | 889.825 | 69.627 | 0.28138
2019-02-16 05:45:00 | 4.084 | 256.453 | 3.628 | 289.351 | 3.048 | 296 | 2.626 | 288.5 | -17.764 | 889.8 | 72.677 | 0.24515
2019-02-16 06:00:00 | 3.394 | 254.273 | 2.923 | 294.346 | 2.329 | 313.033 | 1.803 | 311.633 | -17.581 | 890.217 | 71.904 | 0.31123
2019-02-16 06:15:00 | 3.144 | 245.093 | 1.64 | 294.105 | 0.517 | 324.733 | 1.044 | 344.767 | -17.464 | 889.55 | 72.544 | 0.34534
2019-02-16 06:30:00 | 3.543 | 241.933 | 2.101 | 283.918 | 1.915 | 308.333 | 1.771 | 318.567 | -16.814 | 889.717 | 72.581 | 0.32402
2019-02-16 06:45:00 | 4.056 | 240.067 | 2.248 | 289.963 | 1.5 | 321.067 | 1.38 | 321.733 | -17.564 | 889.8 | 69.163 | 0.3297
2019-02-16 07:00:00 | 3.776 | 246.173 | 2.179 | 293.642 | 2.086 | 320 | 1.913 | 334.033 | -18.218 | 889.983 | 70.485 | 0.33823
2019-02-16 07:15:00 | 3.138 | 257.533 | 2.116 | 284.966 | 1.624 | 311.033 | 1.218 | 344.033 | -16.998 | 889.75 | 73.973 | 0.34391
2019-02-16 07:30:00 | 3.621 | 259.233 | 2.052 | 288.049 | 1.266 | 290.233 | 0.675 | 190.933 | -16.898 | 889.617 | 70.256 | 0.34249
2019-02-16 07:45:00 | 3.895 | 256.333 | 2.046 | 298.376 | 1.165 | 289.769 | 1.422 | 47.735 | -17.514 | 889.475 | 71.392 | 0.33681
2019-02-16 08:00:00 | 2.967 | 257.967 | 1.14 | 320.526 | 0.41 | 29.419 | 1.586 | 58.8 | -16.581 | 890.183 | 72.619 | 0.34818
2019-02-16 08:15:00 | 4.726 | 232.8 | 2.306 | 252.809 | 0.681 | 287.867 | 0.218 | 98.829 | -18.873 | 890.075 | 69.728 | 0.32544
2019-02-16 08:30:00 | 3.795 | 247.267 | 2.454 | 269.81 | 1.844 | 298.067 | 1.742 | 343.467 | -18.873 | 889.583 | 73.797 | 0.33112
2019-02-16 08:45:00 | 3.463 | 260.227 | 2.023 | 270.837 | 0.93 | 277 | 0.175 | 274.667 | -17.248 | 889.867 | 75.061 | 0.32544
2019-02-16 09:00:00 | 3.448 | 249 | 1.995 | 241.617 | 0.529 | 201.933 | 0.706 | 103.7 | -15.308 | 890.092 | 70.763 | 0.33539
2019-02-16 09:15:00 | 3.603 | 238.933 | 1.85 | 247.528 | 0.18 | 234 | 0 | 104 | -15.808 | 890.108 | 63.616 | 0.31833
2019-02-16 09:30:00 | 4.028 | 233.933 | 1.724 | 245.459 | 0.04 | 234 | 0 | 103.867 | -16.748 | 889.925 | 62.293 | 0.31833
2019-02-16 09:45:00 | 3.225 | 243.167 | 2.334 | 252.97 | 0.23 | 242.4 | 0.027 | 103.333 | -15.291 | 889.5 | 63.979 | 0.3226
2019-02-16 10:00:00 | 2.796 | 262.787 | 2.296 | 269.719 | 1.147 | 285.767 | 1.136 | 52.292 | -13.053 | 890.017 | 61.211 | 0.32544
2019-02-16 10:15:00 | 2.311 | 299.387 | 2.091 | 301.515 | 2.092 | 321.967 | 2.09 | 159.533 | -13.862 | 889.583 | 59.659 | 0.35955
2019-02-16 10:30:00 | 3.35 | 345.32 | 3.041 | 340.082 | 2.991 | 342.267 | 2.867 | 345 | -13.895 | 890.008 | 58.379 | 0.17764
2019-02-16 10:45:00 | 2.593 | 18.582 | 2.461 | 25.056 | 2.393 | 19.4 | 2.317 | 3.5 | -14.199 | 889.692 | 59.152 | 0.17693
2019-02-16 11:00:00 | 2.267 | 58.017 | 2.06 | 14.937 | 2.18 | 34.4 | 2.377 | 24.333 | -13.71 | 890.133 | 57.749 | 0.3496
2019-02-16 11:15:00 | 1.974 | 44.15 | 1.486 | 53.462 | 1.797 | 65.6 | 1.832 | 75.667 | -12.836 | 890 | 54.187 | 0.35528
2019-02-16 11:30:00 | 2.432 | 93.85 | 2.266 | 78.294 | 2.449 | 84.233 | 2.522 | 78.233 | -12.14 | 889.967 | 52.021 | 0.33894
2019-02-16 11:45:00 | 2.897 | 66.012 | 2.621 | 70.051 | 2.66 | 78.067 | 2.668 | 72.767 | -11.77 | 889.892 | 50.176 | 0.68143
2019-02-16 12:00:00 | 3.032 | 76.877 | 2.85 | 72.746 | 2.844 | 76.867 | 3.057 | 70.4 | -11.811 | 889.583 | 49.301 | 1.6457
2019-02-16 12:15:00 | 3.622 | 79.858 | 3.68 | 75.578 | 3.852 | 81.167 | 4.188 | 74.9 | -10.966 | 889.8 | 46.795 | 2.7975
2019-02-16 12:30:00 | 2.046 | 86.767 | 2.361 | 78.096 | 2.45 | 84.1 | 2.502 | 78.4 | -9.158 | 890.133 | 42.741 | 3.5379
2019-02-16 12:45:00 | 5.772 | 100.173 | 5.804 | 93.75 | 5.792 | 99.467 | 6.626 | 95.067 | -8.674 | 889.667 | 40.101 | 17.0785
2019-02-16 13:00:00 | 6.865 | 98.34 | 6.444 | 93.809 | 6.42 | 95.4 | 6.935 | 92.133 | -8.568 | 889.483 | 39.339 | 33.786
2019-02-16 13:15:00 | 8.547 | 110.753 | 8.36 | 104.899 | 8.354 | 109.4 | 8.179 | 103.767 | -7.803 | 889.55 | 38.235 | 47.446
2019-02-16 13:30:00 | 7.804 | 97.2 | 7.961 | 93.784 | 7.781 | 99.333 | 7.953 | 95.367 | -7.739 | 889.583 | 38.203 | 54.536
2019-02-16 13:45:00 | 6.917 | 95.81 | 7.03 | 91.874 | 6.525 | 94.967 | 6.495 | 86.967 | -7.301 | 889.9 | 36.037 | 58.3979
2019-02-16 14:00:00 | 6.909 | 99.25 | 7.048 | 92.405 | 6.758 | 96.133 | 7.046 | 90 | -6.694 | 889.817 | 35.323 | 60.9872
2019-02-16 14:15:00 | 7.951 | 79.167 | 8.199 | 74.646 | 8.722 | 80.167 | 8.755 | 77.767 | -6.501 | 889.933 | 35.301 | 55.3716
2019-02-16 14:30:00 | 7.957 | 80.33 | 8.38 | 76.052 | 8.713 | 80.833 | 8.837 | 79.033 | -6.545 | 889.717 | 34.411 | 52.1584
2019-02-16 14:45:00 | 7.998 | 80.088 | 8.202 | 75.731 | 8.42 | 78.267 | 8.68 | 75.9 | -7.051 | 889.567 | 34.112 | 46.0731
2019-02-16 15:00:00 | 7.781 | 86.767 | 7.724 | 79.476 | 7.738 | 86.233 | 7.974 | 79.4 | -7.041 | 889.683 | 33.888 | 48.0037
2019-02-16 15:15:00 | 7.806 | 91.803 | 7.371 | 85.086 | 7.081 | 89.4 | 7.033 | 84.8 | -6.756 | 889.767 | 33.451 | 51.7186
2019-02-16 15:30:00 | 7.686 | 83.617 | 7.794 | 79.225 | 7.963 | 83.333 | 8.021 | 80.2 | -6.925 | 890 | 33.547 | 56.7004
2019-02-16 15:45:00 | 7.62 | 89.77 | 7.66 | 82.584 | 7.875 | 88.467 | 8.323 | 84 | -6.601 | 889.767 | 33.584 | 55.0803
2019-02-16 16:00:00 | 8.432 | 83.073 | 8.481 | 78.17 | 8.505 | 84.033 | 8.794 | 81.767 | -6.701 | 889.933 | 33.669 | 49.054
2019-02-16 16:15:00 | 7.642 | 73.817 | 7.793 | 70.261 | 7.862 | 76.667 | 8.134 | 74.6 | -6.925 | 889.8 | 33.104 | 42.175
2019-02-16 16:30:00 | 6.653 | 83.1 | 6.454 | 79.82 | 6.485 | 81.033 | 7.064 | 79.3 | -6.595 | 890.033 | 32.293 | 33.4329
2019-02-16 16:45:00 | 6.287 | 84.75 | 5.674 | 76.938 | 5.461 | 80.233 | 5.773 | 74.6 | -6.445 | 889.617 | 32.315 | 27.4542
2019-02-16 17:00:00 | 5.715 | 80.63 | 5.45 | 75.094 | 5.375 | 83.133 | 5.821 | 76.8 | -6.682 | 889.583 | 32.288 | 19.4461
2019-02-16 17:15:00 | 5.262 | 90.7 | 5.066 | 84.448 | 5.318 | 87.6 | 5.636 | 82.967 | -6.328 | 889.633 | 32.331 | 13.9122
2019-02-16 17:30:00 | 4.226 | 88.667 | 4.537 | 84.961 | 4.599 | 88.1 | 4.779 | 80.867 | -6.478 | 889.667 | 32.821 | 13.2478
2019-02-16 17:45:00 | 4.734 | 92.733 | 4.624 | 85.766 | 4.502 | 93.367 | 4.741 | 88.367 | -6.645 | 889.717 | 32.885 | 13.623
2019-02-16 18:00:00 | 5.154 | 88.3 | 5.152 | 81.504 | 5.166 | 90.467 | 4.952 | 85.567 | -6.628 | 889.683 | 33.152 | 14.2099
2019-02-16 18:15:00 | 5.369 | 87.347 | 5.091 | 80.409 | 4.844 | 86.533 | 5.426 | 81.933 | -6.724 | 889.65 | 33.051 | 15.8883
2019-02-16 18:30:00 | 4.657 | 83.903 | 5.057 | 78.225 | 5.001 | 85.1 | 5.058 | 82.433 | -6.913 | 890 | 34.203 | 15.6524
2019-02-16 18:45:00 | 4.442 | 78.367 | 4.617 | 74.236 | 4.877 | 78.667 | 5.083 | 75.067 | -7.422 | 889.717 | 35.563 | 14.74
2019-02-16 19:00:00 | 4.416 | 82.303 | 4.713 | 78.23 | 4.644 | 84.4 | 4.598 | 79.467 | -8.154 | 889.6 | 37.168 | 12.3923
2019-02-16 19:15:00 | 3.492 | 86.473 | 3.445 | 83.618 | 3.071 | 89.533 | 3.431 | 83.4 | -8.518 | 889.85 | 38.795 | 7.5171
2019-02-16 19:30:00 | 3.126 | 88 | 3.203 | 85.372 | 2.555 | 95.267 | 2.688 | 87.9 | -8.591 | 889.85 | 39.707 | 4.5874
2019-02-16 19:45:00 | 3.331 | 84.967 | 3.798 | 77.012 | 3.929 | 83.133 | 4.124 | 79.6 | -9.108 | 889.133 | 41.067 | 5.7869
2019-02-16 20:00:00 | 3.294 | 88.293 | 3.816 | 83.819 | 3.047 | 93.167 | 2.897 | 87.2 | -9.295 | 889.575 | 42.048 | 8.929
2019-02-16 20:15:00 | 2.801 | 90.8 | 3.386 | 85.59 | 2.457 | 96.533 | 2.529 | 90.1 | -9.704 | 890.242 | 42.357 | 8.7094
2019-02-16 20:30:00 | 2.506 | 102.693 | 2.686 | 95.757 | 2.215 | 99.1 | 2.856 | 96.3 | -9.828 | 889.983 | 41.92 | 8.3655
2019-02-16 20:45:00 | 3.007 | 109.813 | 3.139 | 98.603 | 2.773 | 99.767 | 3.004 | 99.833 | -9.304 | 889.767 | 40.24 | 6.1173
2019-02-16 21:00:00 | 2.408 | 107.987 | 2.518 | 97.931 | 2.146 | 97.967 | 2.295 | 97.933 | -9.437 | 890.067 | 39.328 | 5.4827
2019-02-16 21:15:00 | 1.883 | 117.08 | 2.71 | 102.299 | 2.43 | 102.967 | 2.64 | 96.933 | -9.87 | 890.083 | 39.552 | 3.518
2019-02-16 21:30:00 | 0.789 | 127.06 | 1.958 | 97.158 | 1.674 | 102.633 | 1.904 | 95.067 | -10.099 | 889.717 | 39.909 | 2.8522
2019-02-16 21:45:00 | 0.884 | 135.133 | 2.542 | 105.861 | 2.572 | 108.867 | 2.863 | 103.267 | -10.416 | 889.75 | 40.96 | 2.3776
2019-02-16 22:00:00 | 0.84 | 173.447 | 1.814 | 117.414 | 2.79 | 115.6 | 3.562 | 109.167 | -10.474 | 889.925 | 41.248 | 1.5327
2019-02-16 22:15:00 | 0.893 | 185.3 | 1.253 | 126.312 | 2.308 | 115.1 | 2.779 | 107.633 | -10.399 | 890.175 | 41.792 | 1.3643
2019-02-16 22:30:00 | 0 | 183.46 | 0.167 | 111.184 | 1.503 | 98.567 | 2.087 | 89.833 | -10.997 | 889.467 | 42.517 | 0.92374
2019-02-16 22:45:00 | 0.34 | 200.067 | 0.37 | 101.114 | 2.16 | 85.8 | 3.043 | 80.9 | -11.361 | 889.617 | 43.819 | 2.0244
2019-02-16 23:00:00 | 0.274 | 99.7 | 2.406 | 82.861 | 2.525 | 89.867 | 2.52 | 92.7 | -11.345 | 890.1 | 44.757 | 3.5621
2019-02-16 23:15:00 | 2.477 | 124.287 | 2.75 | 101.865 | 2.85 | 99.067 | 2.943 | 92.9 | -11.511 | 890.008 | 42.837 | 4.7821
2019-02-16 23:30:00 | 2.774 | 212.4 | 1.997 | 171.092 | 1.996 | 150.167 | 2.549 | 122.9 | -13.712 | 889.75 | 45.291 | 0.59759
2019-02-16 23:45:00 | 1.751 | 212.2 | 0.033 | 161.474 | 0.25 | 130.033 | 1.233 | 83.667 | -12.57 | 889.792 | 47.104 | 0.073899