## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-17 00:00:00 | 1.931 | 217.133 | 0 | 161.472 | 0.056 | 113.2 | 1.457 | 80.8 | -12.653 | 889.342 | 47.125 | 0.13003
2019-02-17 00:15:00 | 2.78 | 219.533 | 0 | 161.437 | 1.159 | 130 | 2.573 | 102 | -13.203 | 890.333 | 48.128 | 0.32047
2019-02-17 00:30:00 | 5.403 | 225.84 | 2.983 | 214.028 | 1.56 | 181.167 | 1.763 | 127.467 | -16.13 | 889.917 | 53.557 | 0.3567
2019-02-17 00:45:00 | 3.228 | 213.8 | 1.733 | 189.536 | 1.798 | 169.067 | 2.354 | 150.367 | -13.374 | 890.108 | 52.107 | 0.3567
2019-02-17 01:00:00 | 5.208 | 217.833 | 2.905 | 211.724 | 2.319 | 207.267 | 2.349 | 191.333 | -15.474 | 889.958 | 58.955 | 0.34107
2019-02-17 01:15:00 | 5.148 | 215.493 | 3.379 | 213.867 | 2.766 | 213.5 | 2.849 | 197 | -15.149 | 890 | 58.389 | 0.30981
2019-02-17 01:30:00 | 5.344 | 215.947 | 2.76 | 213.775 | 2.278 | 213.667 | 2.061 | 196 | -16.066 | 890 | 58.859 | 0.3496
2019-02-17 01:45:00 | 5.014 | 220.133 | 1.981 | 222.886 | 1.22 | 221 | 1.114 | 188.4 | -15.658 | 889.783 | 63.04 | 0.32544
2019-02-17 02:00:00 | 4.409 | 224.473 | 1.789 | 236.422 | 0.03 | 209.8 | 0 | 189.1 | -14.62 | 889.633 | 62.443 | 0.3226
2019-02-17 02:15:00 | 5.027 | 223.4 | 1.663 | 244.489 | 0 | 210 | 0 | 189 | -15.041 | 889.467 | 62.112 | 0.31691
2019-02-17 02:30:00 | 6.044 | 219.12 | 3.36 | 219.415 | 1.722 | 232.6 | 0.332 | 198.033 | -16.339 | 890.092 | 65.184 | 0.3226
2019-02-17 02:45:00 | 2.975 | 222.887 | 0.415 | 215.955 | 0 | 230 | 0 | 221.067 | -14.308 | 890.042 | 65.845 | 0.3297
2019-02-17 03:00:00 | 2.653 | 216.153 | 0 | 216.494 | 0 | 230 | 0 | 221.067 | -13.409 | 889.575 | 61.109 | 0.32544
2019-02-17 03:15:00 | 4.918 | 206.64 | 3.044 | 195.386 | 1.483 | 172.233 | 1.327 | 144.2 | -16.41 | 889.625 | 61.077 | 0.3496
2019-02-17 03:30:00 | 4.035 | 204.533 | 2.655 | 150.586 | 1.89 | 142 | 1.899 | 138.567 | -15.691 | 889.958 | 65.611 | 0.34676
2019-02-17 03:45:00 | 4.49 | 215.16 | 3.532 | 172.431 | 2.131 | 154.4 | 1.424 | 110.067 | -16.168 | 890.225 | 64.341 | 0.34391
2019-02-17 04:00:00 | 4.817 | 213.707 | 4.032 | 184.811 | 2.934 | 175.8 | 2.201 | 157.6 | -17.414 | 889.933 | 64.757 | 0.18119
2019-02-17 04:15:00 | 5.437 | 214.767 | 3.481 | 193.493 | 3.189 | 194.333 | 3.021 | 182.367 | -17.114 | 890.475 | 67.477 | 0.19398
2019-02-17 04:30:00 | 4.667 | 210.2 | 3.35 | 198.426 | 3.118 | 192 | 3.485 | 176.767 | -15.07 | 889.892 | 71.04 | 0.13714
2019-02-17 04:45:00 | 4.391 | 210.28 | 4.031 | 187.794 | 2.983 | 183.4 | 2.744 | 170 | -14.266 | 889.625 | 67.435 | 0.27783
2019-02-17 05:00:00 | 4.184 | 199.867 | 2.732 | 163.045 | 1.653 | 151.633 | 2.328 | 133.867 | -15.241 | 889.858 | 64.363 | 0.32402
2019-02-17 05:15:00 | 3.465 | 195.533 | 1.792 | 145.061 | 2.082 | 118.533 | 2.73 | 98.233 | -15.408 | 889.667 | 66.059 | 0.32686
2019-02-17 05:30:00 | 2.55 | 191.3 | 1.88 | 121.796 | 2.476 | 101.9 | 3.162 | 92.167 | -14.578 | 889.642 | 63.125 | 0.46471
2019-02-17 05:45:00 | 2.304 | 180.467 | 2.035 | 125.724 | 2.522 | 108.2 | 3.067 | 92.867 | -14.233 | 889.7 | 61.419 | 1.2804
2019-02-17 06:00:00 | 2.393 | 172.007 | 2.28 | 118.612 | 2.432 | 102.967 | 3.024 | 88.767 | -13.334 | 890.058 | 57.195 | 0.26362
2019-02-17 06:15:00 | 0.763 | 180.333 | 0.56 | 104.2 | 1.602 | 88.7 | 2.025 | 73 | -14.183 | 889.8 | 58.496 | 0.2487
2019-02-17 06:30:00 | 0 | 176.193 | 0 | 92.274 | 1.264 | 79.033 | 1.96 | 73 | -13.447 | 890.125 | 57.76 | 0.32544
2019-02-17 06:45:00 | 0 | 176.333 | 0.027 | 73.261 | 0.522 | 77.833 | 1.832 | 73.1 | -13.833 | 890.175 | 60.597 | 0.32118
2019-02-17 07:00:00 | 1.394 | 228.627 | 0 | 73.266 | 0 | 78 | 1.422 | 73 | -14.416 | 889.308 | 59.349 | 0.32118
2019-02-17 07:15:00 | 1.383 | 226.613 | 0 | 73.198 | 0 | 78 | 0.991 | 73 | -14.349 | 889.167 | 59.659 | 0.31691
2019-02-17 07:30:00 | 0 | 226.8 | 0 | 68.026 | 0.535 | 51.2 | 1.001 | 73 | -14.216 | 889.592 | 60.533 | 0.32544
2019-02-17 07:45:00 | 0 | 226.8 | 0 | 44.156 | 0 | 0 | 0 | 73 | -14.199 | 889.783 | 62.165 | 0.3226
2019-02-17 08:00:00 | 0 | 227.733 | 0 | 0 | 0 | 0 | 0 | 73.067 | -14.304 | 889.75 | 62.219 | 0.31976
2019-02-17 08:15:00 | 0.036 | 241.4 | 0 | 0 | 0.738 | 0 | 0.027 | 73.067 | -14.891 | 889.7 | 62.144 | 0.33254
2019-02-17 08:30:00 | 1.096 | 251.333 | 0 | 0 | 0.624 | 0.267 | 0.188 | 73 | -14.891 | 889.867 | 62.784 | 0.33397
2019-02-17 08:45:00 | 0 | 251.8 | 0 | 0 | 0.615 | 0 | 0.818 | 73 | -14.149 | 889.617 | 63.883 | 0.33539
2019-02-17 09:00:00 | 0.499 | 251.167 | 0 | 0 | 0 | 0 | 0 | 72.033 | -13.17 | 890.158 | 58.155 | 0.33823
2019-02-17 09:15:00 | 0.236 | 244.367 | 0 | 0 | 0.808 | 6.533 | 0.933 | 72 | -12.82 | 889.883 | 55.072 | 0.33539
2019-02-17 09:30:00 | 0.49 | 244.613 | 0.686 | 0 | 1.346 | 24.233 | 1.964 | 70.3 | -12.182 | 890.3 | 50.848 | 0.33681
2019-02-17 09:45:00 | 0.27 | 224.6 | 0 | 0 | 1.29 | 37 | 1.852 | 63 | -11.378 | 890.258 | 48.107 | 0.33254
2019-02-17 10:00:00 | 0 | 224.367 | 0.303 | 42.32 | 0.398 | 48.433 | 1.486 | 61.967 | -11.134 | 890.208 | 44.565 | 0.28707
2019-02-17 10:15:00 | 0.389 | 109.8 | 0 | 56.122 | 0.03 | 85 | 1.854 | 78.8 | -12.078 | 889.558 | 45.397 | 0.11014
2019-02-17 10:30:00 | 1.587 | 87.947 | 1.433 | 82.435 | 1.804 | 89.1 | 2.751 | 99.933 | -11.832 | 889.967 | 46.805 | 0.26575
2019-02-17 10:45:00 | 2.037 | 80.348 | 1.875 | 79.379 | 2.144 | 94.433 | 2.577 | 100.333 | -11.178 | 890.05 | 46.155 | 0.69991
2019-02-17 11:00:00 | 2.755 | 85.7 | 2.529 | 81.889 | 2.367 | 92.667 | 2.852 | 91.5 | -10.266 | 889.525 | 41.6 | 2.0116
2019-02-17 11:15:00 | 5.447 | 93.013 | 5.298 | 90.942 | 4.787 | 99.9 | 4.818 | 95.633 | -9.766 | 889.592 | 40.747 | 12.6289
2019-02-17 11:30:00 | 7.312 | 113.18 | 7.412 | 107.44 | 7.251 | 110.833 | 7.225 | 105.833 | -9.766 | 889.425 | 40.725 | 28.007
2019-02-17 11:45:00 | 6.15 | 94.707 | 5.464 | 90.956 | 5.09 | 97.833 | 5.191 | 91.733 | -9.458 | 889.633 | 40.277 | 20.7642
2019-02-17 12:00:00 | 5.195 | 85.06 | 4.968 | 80.387 | 5.132 | 84.667 | 5.533 | 81.033 | -9.624 | 890.025 | 40.752 | 12.7902
2019-02-17 12:15:00 | 4.108 | 84.563 | 4.186 | 80.802 | 4.072 | 88.033 | 4.168 | 86.467 | -8.704 | 889.967 | 38.704 | 11.3485
2019-02-17 12:30:00 | 7.338 | 98.083 | 6.99 | 93.256 | 7.141 | 100.233 | 7.151 | 95.167 | -7.19 | 889.917 | 33.829 | 35.426
2019-02-17 12:45:00 | 7.34 | 91.22 | 7.322 | 91.358 | 6.796 | 96.2 | 7.209 | 90.433 | -7.193 | 889.633 | 33.691 | 47.787
2019-02-17 13:00:00 | 7.639 | 93.033 | 7.577 | 86.663 | 7.269 | 90.1 | 7.606 | 85.967 | -6.793 | 889.567 | 32.944 | 54.9211
2019-02-17 13:15:00 | 8.394 | 91.93 | 8.59 | 86.717 | 8.442 | 89.467 | 8.665 | 85.567 | -6.74 | 889.467 | 32.523 | 57.5751
2019-02-17 13:30:00 | 8.738 | 85.033 | 9.066 | 79.572 | 9.466 | 84.567 | 9.691 | 80.367 | -6.512 | 890.033 | 31.989 | 65.2911
2019-02-17 13:45:00 | 9.412 | 92.65 | 9.074 | 86.332 | 8.877 | 90.8 | 8.601 | 85.333 | -6.13 | 889.65 | 31.195 | 70.0441
2019-02-17 14:00:00 | 8.226 | 90.85 | 8.184 | 85.191 | 7.933 | 90.433 | 8.109 | 86.167 | -6.18 | 889.833 | 30.491 | 70.0832
2019-02-17 14:15:00 | 9.556 | 81.597 | 9.568 | 79.359 | 9.724 | 82.533 | 9.615 | 79.767 | -6.212 | 889.483 | 30.709 | 69.4728
2019-02-17 14:30:00 | 8.378 | 93.487 | 7.853 | 89.367 | 6.854 | 96.033 | 7.23 | 91.1 | -6.233 | 889.617 | 30.299 | 69.9134
2019-02-17 14:45:00 | 8.597 | 89.217 | 8.493 | 83.986 | 8.6 | 87.233 | 8.876 | 85.4 | -6.096 | 890.4 | 30.053 | 67.3226
2019-02-17 15:00:00 | 8.822 | 85.568 | 8.964 | 80.047 | 9.056 | 86.067 | 9.381 | 81.467 | -5.753 | 889.783 | 29.632 | 65.4752
2019-02-17 15:15:00 | 9.004 | 89.378 | 8.965 | 84.362 | 8.882 | 88.433 | 9.157 | 84.433 | -5.531 | 889.567 | 29.291 | 61.5976
2019-02-17 15:30:00 | 8.54 | 88.73 | 8.359 | 83.808 | 8.67 | 88.6 | 8.807 | 86.233 | -5.713 | 889.75 | 29.227 | 64.717
2019-02-17 15:45:00 | 8.516 | 88.303 | 8.638 | 82.093 | 8.396 | 87.233 | 8.298 | 83.933 | -5.819 | 889.7 | 29.376 | 69.0415
2019-02-17 16:00:00 | 8.87 | 81.58 | 9.1 | 78.227 | 9.27 | 83.233 | 10.031 | 81.033 | -5.448 | 889.683 | 29.627 | 67.4655
2019-02-17 16:15:00 | 8.425 | 90.237 | 7.95 | 86.656 | 7.849 | 87.533 | 7.589 | 87.733 | -5.538 | 889.767 | 30.027 | 68.3231
2019-02-17 16:30:00 | 8.839 | 94.54 | 8.536 | 92.276 | 7.787 | 94.9 | 7.792 | 90.233 | -5.558 | 890.05 | 30.128 | 65.2854
2019-02-17 16:45:00 | 8.641 | 102.3 | 8.162 | 93.946 | 7.717 | 94.033 | 7.78 | 90.267 | -5.369 | 889.717 | 29.957 | 61.0448
2019-02-17 17:00:00 | 8.316 | 94.407 | 8.129 | 88.53 | 6.692 | 94.733 | 6.48 | 97.7 | -5.625 | 889.767 | 30.005 | 59.4666
2019-02-17 17:15:00 | 8.185 | 90.7 | 8.142 | 88.26 | 7.4 | 92.867 | 7.137 | 89.5 | -5.252 | 889.717 | 29.904 | 60.6618
2019-02-17 17:30:00 | 8.529 | 95.233 | 8.418 | 93.954 | 7.41 | 98.767 | 6.919 | 94.1 | -5.469 | 889.7 | 29.877 | 65.0993
2019-02-17 17:45:00 | 8.982 | 93.49 | 8.773 | 91.288 | 8.119 | 97.567 | 7.698 | 92.767 | -5.74 | 889.517 | 30.368 | 69.9397
2019-02-17 18:00:00 | 7.767 | 96.703 | 7.887 | 93.111 | 6.808 | 97.833 | 6.413 | 93 | -5.769 | 889.867 | 30.464 | 71.5086
2019-02-17 18:15:00 | 7.605 | 95.933 | 6.854 | 91.928 | 6.103 | 98.133 | 5.836 | 90.467 | -6.378 | 889.783 | 30.933 | 63.0578
2019-02-17 18:30:00 | 8.192 | 108.453 | 7.578 | 101.825 | 7.271 | 105.1 | 7.33 | 97.1 | -6.333 | 889.817 | 31.643 | 54.9225
2019-02-17 18:45:00 | 7.341 | 104.167 | 6.957 | 95.892 | 5.843 | 101.233 | 5.541 | 93.667 | -6.345 | 889.3 | 32.299 | 50.1738
2019-02-17 19:00:00 | 6.495 | 97.503 | 6.438 | 93.418 | 5.528 | 97.7 | 5.639 | 93.767 | -6.913 | 889.867 | 33.472 | 46.1271
2019-02-17 19:15:00 | 6.386 | 95.067 | 6.353 | 88.608 | 5.437 | 96.633 | 5.22 | 92.233 | -7.456 | 889.35 | 34.491 | 40.6721
2019-02-17 19:30:00 | 5.53 | 99.423 | 5.406 | 92.76 | 4.618 | 98.433 | 4.324 | 94.867 | -7.966 | 889.967 | 35.216 | 32.421
2019-02-17 19:45:00 | 5.25 | 94.733 | 5.268 | 91.817 | 4.176 | 98.6 | 4.602 | 89 | -8.24 | 889.767 | 36.101 | 24.3589
2019-02-17 20:00:00 | 4.29 | 92.2 | 4.31 | 87.951 | 3.978 | 95.167 | 3.712 | 92.8 | -8.658 | 889.75 | 37.285 | 15.7952
2019-02-17 20:15:00 | 3.826 | 94.367 | 3.662 | 91.496 | 2.826 | 97.533 | 3.071 | 92.8 | -8.958 | 889.483 | 38.139 | 10.3885
2019-02-17 20:30:00 | 3.235 | 97.333 | 3.373 | 94.967 | 2.606 | 100.9 | 2.891 | 93.933 | -9.141 | 889.75 | 39.877 | 8.3669
2019-02-17 20:45:00 | 2.09 | 93.227 | 3.145 | 87.762 | 2.678 | 96.667 | 2.59 | 95.333 | -9.62 | 889.758 | 41.045 | 5.6568
2019-02-17 21:00:00 | 2.095 | 79.94 | 2.723 | 80.508 | 2.425 | 91.267 | 2.321 | 90.6 | -10.145 | 889.992 | 42.165 | 4.0403
2019-02-17 21:15:00 | 1.103 | 77.113 | 2.332 | 76.77 | 2.346 | 86.367 | 2.388 | 86.7 | -9.745 | 890.158 | 41.877 | 2.4706
2019-02-17 21:30:00 | 0.033 | 231.353 | 1.18 | 92.234 | 2.771 | 88.375 | 3.253 | 85.733 | -10.724 | 887 | 43.936 | 2.7861
2019-02-17 21:45:00 | 0.263 | 212.56 | 0 | 81.035 | 2.007 | 78.2 | 3.993 | 74.733 | -11.531 | 877.742 | 44.491 | 4.851
2019-02-17 22:00:00 | 0.707 | 190.813 | 1.14 | 113.77 | 2.401 | 93.267 | 3.752 | 80.733 | -11.836 | 861.467 | 47.275 | 6.1272
2019-02-17 22:15:00 | 0.043 | 188.657 | 1.315 | 97.024 | 2.881 | 86.533 | 3.781 | 80.533 | -11.722 | 864.533 | 46.976 | 6.1578
2019-02-17 22:30:00 | 1.651 | 115.4 | 2.325 | 104.248 | 2.245 | 102 | 2.61 | 92.4 | -11.322 | 870.325 | 45.835 | 11.9382
2019-02-17 22:45:00 | 3.156 | 113.343 | 3.571 | 98.307 | 3.431 | 96.867 | 3.621 | 92.367 | -10.921 | 868.317 | 44.096 | 14.8658
2019-02-17 23:00:00 | 4.206 | 101.74 | 4.634 | 93.065 | 3.768 | 100.333 | 4.489 | 95.833 | -11.109 | 872.242 | 42.859 | 18.447
2019-02-17 23:15:00 | 3.848 | 109.033 | 4.813 | 92.893 | 3.804 | 95.9 | 4.033 | 95.9 | -11.424 | 867.55 | 43.723 | 26.8637
2019-02-17 23:30:00 | 4.119 | 105.2 | 4.861 | 90.599 | 3.831 | 100.267 | 3.927 | 95.767 | -11.442 | 865.492 | 43.189 | 34.12
2019-02-17 23:45:00 | 4.524 | 98.147 | 5.525 | 84.616 | 5.345 | 89 | 5.181 | 83.667 | -11.64 | 861.533 | 43.861 | 27.7036