## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-18 00:00:00 | 2.914 | 106.353 | 4.94 | 80.462 | 5.887 | 83.2 | 5.846 | 81.7 | -12.306 | 861.625 | 44.608 | 16.8923
2019-02-18 00:15:00 | 2.976 | 95.087 | 4.05 | 76.169 | 5.364 | 79.567 | 6.177 | 77.8 | -11.636 | 861.683 | 44.715 | 15.8868
2019-02-18 00:30:00 | 4.212 | 76.593 | 5.277 | 74.97 | 5.527 | 83.067 | 5.566 | 80.467 | -11.552 | 861.817 | 44.789 | 17.3371
2019-02-18 00:45:00 | 3.996 | 81.5 | 4.397 | 78.568 | 4.054 | 89.2 | 4.259 | 85.467 | -10.906 | 861.758 | 42.571 | 14.6519
2019-02-18 01:00:00 | 3.452 | 90.4 | 3.773 | 88.223 | 3.246 | 94.333 | 3.322 | 92.167 | -11.094 | 861.817 | 42.315 | 17.7436
2019-02-18 01:15:00 | 4.146 | 87.2 | 4.386 | 87.453 | 3.238 | 99.733 | 4.184 | 100.2 | -11.511 | 861.75 | 44.043 | 16.5015
2019-02-18 01:30:00 | 3.165 | 156.1 | 3.554 | 127.028 | 4.7 | 120.067 | 5.656 | 110.267 | -12.719 | 861.725 | 46.613 | 12.7163
2019-02-18 01:45:00 | 2.465 | 161.2 | 4.28 | 122.582 | 5.092 | 118.467 | 5.958 | 112.033 | -13.019 | 861.942 | 48.384 | 11.5744
2019-02-18 02:00:00 | 2.422 | 132.87 | 3.53 | 109.356 | 3.757 | 111.8 | 4.217 | 104.933 | -12.006 | 861.8 | 47.083 | 7.7807
2019-02-18 02:15:00 | 2.043 | 185.933 | 2.241 | 125.679 | 2.605 | 107.833 | 2.906 | 98.067 | -13.186 | 861.575 | 46.955 | 4.9995
2019-02-18 02:30:00 | 1.109 | 201.533 | 0.826 | 148.406 | 1.567 | 121.033 | 2.768 | 113.433 | -13.086 | 862.217 | 48.021 | 1.3131
2019-02-18 02:45:00 | 1.481 | 54.728 | 2.396 | 71.048 | 2.589 | 87.467 | 3.547 | 91.1 | -12.636 | 862.067 | 49.099 | 3.5251
2019-02-18 03:00:00 | 3.975 | 81.517 | 4.608 | 85.127 | 3.943 | 97.333 | 4.558 | 94.933 | -10.812 | 862.142 | 45.621 | 12.5557
2019-02-18 03:15:00 | 1.453 | 170.667 | 2.047 | 117.973 | 1.993 | 105.4 | 2.248 | 89.167 | -13.5 | 861.467 | 44.896 | 6.1649
2019-02-18 03:30:00 | 3.006 | 217.107 | 1.347 | 155.567 | 1.131 | 122 | 1.673 | 91.9 | -15.927 | 861.917 | 49.963 | 0.31265
2019-02-18 03:45:00 | 2.714 | 233.2 | 0.03 | 193.435 | 0 | 157.033 | 0.632 | 86 | -15.256 | 861.4 | 57.419 | 0.30696
2019-02-18 04:00:00 | 1.981 | 255.533 | 0 | 193.571 | 0 | 157.267 | 0.551 | 86 | -14.573 | 861.892 | 54.667 | 0.31762
2019-02-18 04:15:00 | 2.893 | 246.953 | 0 | 216.495 | 0 | 157 | 1.502 | 81.9 | -14.302 | 861.933 | 54.528 | 0.31833
2019-02-18 04:30:00 | 2.598 | 248.993 | 0 | 217.546 | 0 | 127.067 | 1.781 | 88.733 | -14.114 | 862.092 | 53.803 | 0.33397
2019-02-18 04:45:00 | 4.624 | 243.233 | 2.695 | 247.618 | 0.317 | 206.467 | 0 | 80.1 | -15.239 | 862.058 | 54.309 | 0.33681
2019-02-18 05:00:00 | 4.5 | 256.6 | 2.738 | 267.816 | 1.627 | 267 | 0.534 | 131.317 | -13.739 | 861.892 | 53.776 | 0.32544
2019-02-18 05:15:00 | 4.941 | 253.873 | 3.724 | 280.424 | 2.484 | 285.733 | 1.783 | 288.767 | -15.106 | 861.808 | 55.643 | 0.30696
2019-02-18 05:30:00 | 4.796 | 256.073 | 3.822 | 279.692 | 2.331 | 293.867 | 1.2 | 316.9 | -14.427 | 862.017 | 54.805 | 0.34249
2019-02-18 05:45:00 | 4.331 | 255.727 | 3.399 | 292.087 | 1.603 | 300.433 | 0.265 | 316.033 | -15.273 | 861.875 | 55.813 | 0.31265
2019-02-18 06:00:00 | 3.806 | 258.92 | 3.407 | 306.961 | 2.082 | 334.067 | 0.783 | 0 | -15.289 | 862.117 | 56.64 | 0.31833
2019-02-18 06:15:00 | 3.29 | 267.267 | 3.066 | 319.798 | 3.002 | 347.6 | 1.626 | 0 | -15.223 | 861.658 | 56.608 | 0.3297
2019-02-18 06:30:00 | 3.282 | 273.813 | 2.876 | 320.332 | 2.648 | 353.867 | 1.25 | 0 | -14.36 | 862.067 | 55.339 | 0.32828
2019-02-18 06:45:00 | 2.568 | 270.273 | 2.107 | 326.731 | 1.813 | 1.869 | 1.615 | 25.4 | -14.281 | 861.767 | 52.853 | 0.32402
2019-02-18 07:00:00 | 3.731 | 250.88 | 2.188 | 290.325 | 0.514 | 57.467 | 1.465 | 50.038 | -14.718 | 861.55 | 54.123 | 0.31691
2019-02-18 07:15:00 | 4.113 | 263.053 | 2.776 | 289.883 | 2.296 | 328.9 | 2.033 | 6.542 | -14.906 | 861.775 | 54.875 | 0.34676
2019-02-18 07:30:00 | 3.646 | 263.08 | 2.247 | 291.258 | 1.744 | 319.6 | 1.636 | 0 | -14.802 | 862.15 | 54.965 | 0.33681
2019-02-18 07:45:00 | 3.378 | 257.9 | 1.894 | 300.634 | 1.367 | 324.567 | 1.372 | 350.7 | -14.906 | 861.783 | 54.96 | 0.34249
2019-02-18 08:00:00 | 3.981 | 237.067 | 1.844 | 272.823 | 0.71 | 328 | 1.178 | 0 | -15.289 | 862.083 | 55.813 | 0.33397
2019-02-18 08:15:00 | 4.324 | 244.367 | 2.739 | 270.27 | 2.135 | 287.733 | 1.866 | 322.667 | -15.056 | 861.992 | 55.696 | 0.33254
2019-02-18 08:30:00 | 3.122 | 260.96 | 2.202 | 291.443 | 1.857 | 316.467 | 1.852 | 330.9 | -14.573 | 861.883 | 56.165 | 0.36523
2019-02-18 08:45:00 | 2.38 | 269.873 | 1.54 | 318.91 | 1.411 | 128 | 1.821 | 22.003 | -14.114 | 862.117 | 55.173 | 0.34818
2019-02-18 09:00:00 | 1.675 | 278.2 | 1.096 | 348.99 | 1.566 | 24.967 | 2.62 | 39.467 | -13.152 | 861.775 | 52.133 | 0.3496
2019-02-18 09:15:00 | 1.4 | 234.033 | 0.047 | 2.91 | 0.767 | 66.833 | 2.801 | 68.867 | -12.969 | 861.533 | 48.789 | 0.75746
2019-02-18 09:30:00 | 0.402 | 260.4 | 0 | 17.063 | 0.143 | 51.873 | 1.948 | 68.367 | -12.371 | 887.067 | 48.128 | 0.6118
2019-02-18 09:45:00 | 1.201 | 253.467 | 0 | 17.062 | 0.047 | 102.192 | 2.243 | 105.533 | -10.133 | 889.975 | 43.776 | 0.13003
2019-02-18 10:00:00 | 1.464 | 233.467 | 0 | 199.193 | 0.432 | 136.067 | 2.69 | 112.7 | -10.349 | 889.975 | 42.325 | 0.28352
2019-02-18 10:15:00 | 0.693 | 168.9 | 0.721 | 129.346 | 1.258 | 108.067 | 1.564 | 101.7 | -8.808 | 889.25 | 39.195 | 0.38371
2019-02-18 10:30:00 | 1.253 | 97.733 | 0.704 | 98.428 | 1.189 | 101.733 | 2.315 | 97.8 | -9.174 | 889.867 | 38.693 | 0.33894
2019-02-18 10:45:00 | 2.215 | 97.933 | 2.088 | 100.662 | 2.115 | 109.667 | 2.758 | 108 | -9.241 | 890.167 | 39.227 | 0.14425
2019-02-18 11:00:00 | 3.433 | 103.713 | 2.765 | 95.093 | 2.909 | 100.4 | 3.328 | 94.133 | -9.441 | 889.492 | 40.395 | 1.4986
2019-02-18 11:15:00 | 3.363 | 103.667 | 3.358 | 99.139 | 3.386 | 105.333 | 3.714 | 101.833 | -9.124 | 889.767 | 40.421 | 2.0393
2019-02-18 11:30:00 | 3.711 | 82.34 | 3.919 | 79.847 | 3.672 | 88.567 | 3.648 | 86.733 | -8.384 | 890.033 | 39.061 | 2.8565
2019-02-18 11:45:00 | 4.205 | 86.395 | 4.022 | 81.714 | 3.986 | 86.9 | 4.256 | 79.2 | -7.572 | 889.617 | 37.856 | 3.3958
2019-02-18 12:00:00 | 4.169 | 96.037 | 3.725 | 88.934 | 3.764 | 89.467 | 3.998 | 82.467 | -7.194 | 889.5 | 37.253 | 4.3707
2019-02-18 12:15:00 | 3.838 | 85.197 | 4.056 | 82.056 | 4.083 | 87.1 | 4.684 | 85 | -6.773 | 889.75 | 36.443 | 5.7925
2019-02-18 12:30:00 | 4.248 | 88.653 | 4.389 | 84.502 | 4.498 | 91.067 | 4.339 | 87.567 | -6.18 | 889.983 | 35.579 | 7.4382
2019-02-18 12:45:00 | 5.712 | 75.217 | 5.795 | 68.53 | 5.73 | 75 | 5.734 | 71.333 | -6.156 | 889.75 | 34.475 | 10.7068
2019-02-18 13:00:00 | 4.614 | 68.532 | 4.648 | 68.005 | 4.96 | 78.467 | 5.306 | 75.633 | -5.657 | 889.367 | 33.835 | 10.2044
2019-02-18 13:15:00 | 5.223 | 79.902 | 5.04 | 78.516 | 5.026 | 81.067 | 5.149 | 75.467 | -5.625 | 889.9 | 32.939 | 10.3302
2019-02-18 13:30:00 | 4.863 | 80.597 | 4.85 | 75.498 | 4.68 | 81.567 | 5.024 | 78.233 | -5.502 | 889.6 | 32.523 | 10.9598
2019-02-18 13:45:00 | 4.403 | 88.563 | 4.487 | 83.67 | 4.523 | 87.833 | 4.559 | 79.267 | -5.402 | 889.883 | 32.043 | 10.7928
2019-02-18 14:00:00 | 3.478 | 90.795 | 3.661 | 85.765 | 3.679 | 89.367 | 3.853 | 82.867 | -4.969 | 889.717 | 31.531 | 9.7589
2019-02-18 14:15:00 | 4.657 | 75.327 | 4.452 | 70.748 | 4.585 | 73.367 | 5.084 | 68.4 | -4.685 | 889.533 | 31.461 | 9.2033
2019-02-18 14:30:00 | 5.522 | 74.662 | 5.718 | 68.438 | 5.858 | 74.467 | 5.959 | 71.333 | -4.969 | 889.95 | 30.645 | 12.0654
2019-02-18 14:45:00 | 4.773 | 70.654 | 4.882 | 68.937 | 4.944 | 77.2 | 5.011 | 72.2 | -4.902 | 889.7 | 30.096 | 12.6474
2019-02-18 15:00:00 | 5.156 | 86.332 | 5.263 | 80.27 | 5.41 | 83.733 | 5.464 | 76.333 | -4.902 | 889.817 | 29.701 | 12.307
2019-02-18 15:15:00 | 5.105 | 81.065 | 5.046 | 76.549 | 4.946 | 82.233 | 5.366 | 76.033 | -4.902 | 889.483 | 30 | 12.3035
2019-02-18 15:30:00 | 5.099 | 83.095 | 5.225 | 75.293 | 5.385 | 80.633 | 5.636 | 75.8 | -4.866 | 889.15 | 30.144 | 14.9326
2019-02-18 15:45:00 | 5.28 | 74.182 | 5.282 | 72.778 | 5.469 | 77.367 | 5.797 | 70.267 | -4.676 | 889.883 | 30.091 | 16.5214
2019-02-18 16:00:00 | 5.167 | 79.865 | 5.363 | 76.782 | 5.568 | 78.567 | 5.826 | 74.5 | -4.988 | 879.783 | 30.411 | 15.506
2019-02-18 16:15:00 | 5.393 | 67.918 | 5.394 | 64.293 | 5.553 | 70.9 | 5.681 | 67 | -5.02 | 882.783 | 30.683 | 14.3037
2019-02-18 16:30:00 | 5.106 | 74.962 | 5.33 | 68.007 | 5.359 | 71.567 | 5.439 | 68.9 | -4.85 | 886.133 | 30.528 | 11.2248
2019-02-18 16:45:00 | 3.968 | 89.233 | 4.193 | 82.308 | 4.437 | 87.833 | 4.573 | 80.967 | -4.838 | 878.25 | 30.837 | 7.1447
2019-02-18 17:00:00 | 3.839 | 80.795 | 3.754 | 73.564 | 3.754 | 77.067 | 3.87 | 71.2 | -4.75 | 887.067 | 30.912 | 5.0791
2019-02-18 17:15:00 | 3.375 | 67.307 | 3.548 | 64.502 | 3.695 | 67.233 | 3.821 | 65.133 | -4.607 | 885.783 | 30.651 | 3.6829
2019-02-18 17:30:00 | 3.097 | 74.557 | 3.055 | 72.022 | 3.19 | 77.233 | 3.183 | 71.1 | -4.902 | 877.883 | 30.8 | 3.1343
2019-02-18 17:45:00 | 3.2 | 76.432 | 3.268 | 72.844 | 3.479 | 79.033 | 3.546 | 75.9 | -4.756 | 875.75 | 30.843 | 2.5808
2019-02-18 18:00:00 | 2.974 | 81.332 | 3.084 | 72.969 | 3.287 | 77 | 3.469 | 73.433 | -4.875 | 865.667 | 31.264 | 2.3449
2019-02-18 18:15:00 | 2.888 | 72.525 | 3.007 | 68.796 | 3.11 | 73.4 | 3.142 | 70.733 | -4.921 | 868.217 | 31.232 | 2.396
2019-02-18 18:30:00 | 2.936 | 71.863 | 2.891 | 64.328 | 2.896 | 67.2 | 2.905 | 61.733 | -4.925 | 864.45 | 31.808 | 2.077
2019-02-18 18:45:00 | 3.673 | 65.648 | 3.603 | 58.726 | 3.24 | 63.967 | 3.458 | 62.767 | -5.059 | 861.883 | 32.373 | 4.0929
2019-02-18 19:00:00 | 2.998 | 65.157 | 2.815 | 59.576 | 2.997 | 65.3 | 3.188 | 64.667 | -5.502 | 861.9 | 33.365 | 4.0701
2019-02-18 19:15:00 | 2.95 | 63.997 | 2.904 | 58.944 | 2.724 | 64.833 | 2.771 | 58.433 | -5.748 | 862.2 | 34.229 | 2.9943
2019-02-18 19:30:00 | 2.986 | 66.792 | 3.062 | 62.975 | 3.31 | 69.167 | 3.528 | 66.467 | -6.198 | 861.767 | 34.976 | 3.2672
2019-02-18 19:45:00 | 3.162 | 68.767 | 3.052 | 64.233 | 3.188 | 70.033 | 3.544 | 67.4 | -6.403 | 861.917 | 35.387 | 3.4413
2019-02-18 20:00:00 | 3.122 | 70.51 | 3.63 | 63.605 | 3.465 | 67.967 | 3.575 | 65.567 | -6.679 | 862.067 | 35.872 | 4.4602
2019-02-18 20:15:00 | 3.033 | 77.22 | 3.489 | 73.983 | 3.784 | 81.633 | 4.18 | 76.8 | -7.301 | 862.083 | 36.245 | 5.18
2019-02-18 20:30:00 | 1.611 | 76.437 | 3.124 | 72.299 | 3.36 | 79.7 | 3.583 | 78.133 | -8.166 | 861.817 | 37.445 | 2.784
2019-02-18 20:45:00 | 1.915 | 81.287 | 2.192 | 84.508 | 1.449 | 91.6 | 1.485 | 80 | -7.662 | 861.467 | 37.899 | 2.482
2019-02-18 21:00:00 | 1.753 | 82.963 | 2.724 | 83.849 | 2.374 | 91.767 | 2.448 | 86.067 | -8.223 | 861.717 | 38.656 | 2.7961
2019-02-18 21:15:00 | 0.63 | 126.663 | 2.149 | 101.82 | 1.968 | 104.333 | 2.289 | 100.933 | -8.142 | 861.5 | 38.688 | 3.2636
2019-02-18 21:30:00 | 0.187 | 138.433 | 1.623 | 102.773 | 1.372 | 91.533 | 1.969 | 88 | -8.338 | 861.533 | 39.339 | 2.7797
2019-02-18 21:45:00 | 1.16 | 103.283 | 2.549 | 84.477 | 2.788 | 88.133 | 3.028 | 84.8 | -8.273 | 861.967 | 39.669 | 1.6784
2019-02-18 22:00:00 | 0 | 82.097 | 1.396 | 87.59 | 1.563 | 91.467 | 1.919 | 83.9 | -8.223 | 862.133 | 39.088 | 0.27428
2019-02-18 22:15:00 | 0.027 | 82.25 | 1.478 | 97.186 | 1.683 | 102.6 | 2.119 | 96.567 | -8.102 | 861.55 | 39.883 | 0.20109
2019-02-18 22:30:00 | 1.673 | 165.633 | 1.964 | 112.744 | 2.61 | 110.2 | 3.32 | 106.233 | -8.454 | 861.717 | 39.643 | 1.3558
2019-02-18 22:45:00 | 2.688 | 185.8 | 2.656 | 131.936 | 3.48 | 123.9 | 4.308 | 115.667 | -9.173 | 861.767 | 40.309 | 3.7859
2019-02-18 23:00:00 | 2.871 | 194.067 | 2.496 | 148.294 | 2.579 | 134.3 | 3.555 | 120.533 | -9.056 | 861.633 | 40.496 | 3.1087
2019-02-18 23:15:00 | 3.232 | 208.853 | 2.113 | 164.312 | 1.995 | 144.6 | 2.608 | 125.167 | -9.281 | 861.733 | 40.837 | 1.9491
2019-02-18 23:30:00 | 3.02 | 214.96 | 1.706 | 189.556 | 1.58 | 164.133 | 2.113 | 131.733 | -9.318 | 861.883 | 42.325 | 0.1748
2019-02-18 23:45:00 | 2.361 | 210.307 | 1.233 | 162.048 | 1.786 | 136 | 2.728 | 117.267 | -10.446 | 861.658 | 42.997 | 0.12861