## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-19 00:00:00 | 1.73 | 205.513 | 0.87 | 124.382 | 1.723 | 115.633 | 2.345 | 103.633 | -10.888 | 861.692 | 46.027 | 0.88608
2019-02-19 00:15:00 | 1.678 | 214.073 | 0.546 | 126.507 | 1.254 | 109.1 | 1.985 | 101.2 | -9.848 | 862.117 | 44.192 | 0.27357
2019-02-19 00:30:00 | 1.077 | 219.253 | 0.027 | 116.782 | 0.653 | 96.433 | 1.569 | 91.233 | -9.635 | 861.725 | 43.776 | 0.15135
2019-02-19 00:45:00 | 1.8 | 219.16 | 0 | 117.204 | 0.89 | 101.667 | 1.706 | 81.4 | -9.781 | 861.6 | 43.883 | 0.17196
2019-02-19 01:00:00 | 2.578 | 223.513 | 0 | 118.243 | 0.52 | 117 | 1.542 | 92.467 | -9.802 | 862.05 | 44.128 | 0.11582
2019-02-19 01:15:00 | 2.071 | 225.653 | 0 | 120.234 | 0 | 102.267 | 1.414 | 97.4 | -9.844 | 861.975 | 44.16 | 0.3091
2019-02-19 01:30:00 | 1.474 | 215.287 | 0.15 | 118.874 | 1.9 | 112.467 | 2.055 | 94.867 | -9.948 | 861.983 | 44.48 | 0.27925
2019-02-19 01:45:00 | 2.81 | 223.933 | 0.03 | 137.46 | 0.03 | 119.733 | 2.07 | 102.367 | -10.264 | 862.25 | 44.779 | 0.23449
2019-02-19 02:00:00 | 3.224 | 224.86 | 0 | 137.459 | 0 | 133.067 | 1.761 | 106.933 | -10.139 | 861.683 | 44.427 | 0.32686
2019-02-19 02:15:00 | 3.404 | 227.1 | 0 | 155.626 | 0 | 133 | 1.617 | 109 | -10.231 | 861.883 | 44.757 | 0.30839
2019-02-19 02:30:00 | 4.169 | 227.873 | 0.047 | 164.463 | 0 | 133 | 1.582 | 109 | -11.304 | 861.808 | 45.909 | 0.30981
2019-02-19 02:45:00 | 3.82 | 230.847 | 0.063 | 182.193 | 0 | 133 | 1.393 | 109 | -10.794 | 861.675 | 46.656 | 0.31691
2019-02-19 03:00:00 | 3.268 | 231.033 | 0 | 183.52 | 0 | 133 | 1.869 | 108.8 | -10.812 | 862.075 | 46.72 | 0.31123
2019-02-19 03:15:00 | 3.749 | 227.58 | 0 | 183.429 | 0 | 133.067 | 1.818 | 107.533 | -10.981 | 861.783 | 47.083 | 0.31265
2019-02-19 03:30:00 | 2.751 | 222.033 | 0 | 183.542 | 0.776 | 120.733 | 2.29 | 104.167 | -10.481 | 862.067 | 46.656 | 0.31833
2019-02-19 03:45:00 | 3.492 | 220.567 | 0.283 | 176.735 | 0.323 | 137.1 | 1.902 | 104 | -10.514 | 861.825 | 45.845 | 0.32118
2019-02-19 04:00:00 | 3.141 | 222.653 | 0 | 157.498 | 0.616 | 128.467 | 2.231 | 104 | -10.4 | 862.058 | 45.483 | 0.27854
2019-02-19 04:15:00 | 2.706 | 215.567 | 0.03 | 155.596 | 1.636 | 124 | 2.562 | 104.167 | -10.481 | 861.783 | 45.547 | 0.24444
2019-02-19 04:30:00 | 2.698 | 218.153 | 0.207 | 147.19 | 1.47 | 120.033 | 2.375 | 103.933 | -10.61 | 861.667 | 45.44 | 0.30199
2019-02-19 04:45:00 | 1.842 | 210.567 | 0.566 | 123.691 | 1.812 | 116.7 | 2.998 | 98.9 | -10.348 | 861.958 | 45.141 | 0.2956
2019-02-19 05:00:00 | 2.166 | 213.867 | 0.144 | 121.841 | 1.678 | 107.833 | 3.117 | 99 | -10.364 | 861.708 | 45.28 | 0.21957
2019-02-19 05:15:00 | 2.539 | 217.573 | 0.3 | 135.502 | 1.46 | 101.667 | 2.648 | 99 | -10.944 | 862.183 | 45.589 | 0.26646
2019-02-19 05:30:00 | 2.893 | 220.34 | 0.03 | 165.547 | 0.143 | 117.033 | 1.9 | 99 | -10.756 | 861.7 | 45.984 | 0.31976
2019-02-19 05:45:00 | 2.853 | 221.567 | 0 | 165.513 | 0.17 | 117.067 | 1.897 | 99.133 | -11.094 | 861.658 | 46.837 | 0.30412
2019-02-19 06:00:00 | 2.634 | 220.547 | 0 | 165.521 | 0.364 | 117.133 | 1.582 | 98.767 | -10.76 | 861.517 | 47.019 | 0.31691
2019-02-19 06:15:00 | 2.04 | 215.713 | 0.206 | 163.561 | 1.34 | 117.033 | 2.006 | 99 | -10.887 | 862.983 | 47.403 | 0.31833
2019-02-19 06:30:00 | 5.897 | 228.54 | 2.278 | 225.309 | 0.094 | 145.8 | 1.756 | 109 | -14.271 | 861.775 | 49.653 | 0.33539
2019-02-19 06:45:00 | 4.09 | 230.333 | 1.481 | 223.267 | 0 | 217 | 0.097 | 109 | -13.533 | 861.742 | 57.163 | 0.3226
2019-02-19 07:00:00 | 3.794 | 219.367 | 1.437 | 207.529 | 0.207 | 217 | 1.111 | 108.833 | -12.552 | 861.758 | 52.853 | 0.31833
2019-02-19 07:15:00 | 3.778 | 219.033 | 1.722 | 207.454 | 1.132 | 208.4 | 1.472 | 162 | -12.952 | 862.142 | 55.851 | 0.32118
2019-02-19 07:30:00 | 3.663 | 220.78 | 1.169 | 212.477 | 0 | 209 | 0 | 162.167 | -13.481 | 862.15 | 57.984 | 0.31976
2019-02-19 07:45:00 | 3.982 | 208.213 | 1.929 | 206.024 | 0 | 209.033 | 0.716 | 162.1 | -14.677 | 861.95 | 60.608 | 0.31691
2019-02-19 08:00:00 | 4.219 | 207.02 | 2.634 | 196.128 | 1.717 | 208 | 1.735 | 162 | -14.018 | 862.075 | 64.736 | 0.22525
2019-02-19 08:15:00 | 3.432 | 209.967 | 1.33 | 196.861 | 0 | 209 | 0.787 | 162 | -12.369 | 861.608 | 59.755 | 0.10801
2019-02-19 08:30:00 | 3.098 | 220.08 | 0 | 196.765 | 0 | 209 | 0 | 162.1 | -12.198 | 862.175 | 58.613 | 0.19683
2019-02-19 08:45:00 | 2.958 | 212.927 | 0.103 | 196.626 | 0 | 208.933 | 0.245 | 162 | -11.056 | 861.842 | 55.712 | 0.32402
2019-02-19 09:00:00 | 1.855 | 185.693 | 0.463 | 149.78 | 0.08 | 155.833 | 1.397 | 113.133 | -10.068 | 862.358 | 54.528 | 0.35031
2019-02-19 09:15:00 | 4.744 | 226.64 | 1.883 | 201.361 | 0.306 | 154.067 | 1.28 | 110.367 | -10.492 | 861.858 | 51.936 | 1.3025
2019-02-19 09:30:00 | 5.465 | 229.887 | 3.436 | 231.647 | 1.3 | 229.767 | 0.39 | 151.067 | -12.217 | 862.125 | 56.416 | 0.29275
2019-02-19 09:45:00 | 3.315 | 232.213 | 1.817 | 228.635 | 0.82 | 235.533 | 1.112 | 224.733 | -11.356 | 866.375 | 56.64 | 0.31407
2019-02-19 10:00:00 | 2.788 | 241.36 | 0.54 | 246.403 | 0.293 | 252 | 0.44 | 226.767 | -10.227 | 885.183 | 52.875 | 0.30554
2019-02-19 10:15:00 | 0.968 | 230.513 | 0 | 248.448 | 0 | 252 | 0.279 | 226.367 | -7.933 | 889.808 | 48.864 | 0.30981
2019-02-19 10:30:00 | 0 | 235.267 | 0 | 255.299 | 0.03 | 269.767 | 0.954 | 226.167 | -5.135 | 889.442 | 40.619 | 0.30696
2019-02-19 10:45:00 | 1.362 | 7.08 | 0.87 | 11.807 | 0.543 | 27.2 | 1.425 | 49 | -6.017 | 889.517 | 38.176 | 0.27854
2019-02-19 11:00:00 | 2.548 | 69.187 | 2.61 | 62.192 | 2.623 | 66.167 | 2.881 | 60.6 | -6.157 | 889.983 | 36.549 | 0.42989
2019-02-19 11:15:00 | 2.562 | 87.22 | 2.749 | 80.164 | 2.833 | 82.333 | 3.138 | 77.933 | -6.136 | 890.217 | 36.48 | 0.79797
2019-02-19 11:30:00 | 2.38 | 100.708 | 2.243 | 93.363 | 2.441 | 94.933 | 2.762 | 89.267 | -5.525 | 889.883 | 36.144 | 1.5362
2019-02-19 11:45:00 | 2.968 | 105.57 | 2.756 | 101.752 | 2.852 | 102.167 | 3.112 | 94.433 | -5.202 | 889.65 | 34.485 | 1.6173
2019-02-19 12:00:00 | 3.643 | 103.167 | 3.446 | 96.876 | 3.775 | 102.6 | 4.282 | 97.933 | -5.135 | 889.55 | 34.603 | 4.4119
2019-02-19 12:15:00 | 5.381 | 109.853 | 5.006 | 105.144 | 4.568 | 107.433 | 4.781 | 98.333 | -4.623 | 889.667 | 32.875 | 7.4567
2019-02-19 12:30:00 | 5.156 | 102.53 | 4.553 | 96.67 | 4.351 | 98.233 | 4.894 | 97.533 | -4.616 | 889.667 | 33.168 | 7.5128
2019-02-19 12:45:00 | 4.356 | 100.197 | 4.476 | 94.74 | 4.374 | 102.6 | 4.775 | 97.6 | -4.035 | 889.783 | 33.088 | 8.2589
2019-02-19 13:00:00 | 4.82 | 103.233 | 4.816 | 94.531 | 4.415 | 103.4 | 4.645 | 93.867 | -3.89 | 889.967 | 32 | 10.4382
2019-02-19 13:15:00 | 4.055 | 99.933 | 4.044 | 95.46 | 4.045 | 99.233 | 4.633 | 97.433 | -3.638 | 889.683 | 31.141 | 8.8622
2019-02-19 13:30:00 | 4.354 | 95.688 | 4.565 | 90.073 | 4.331 | 94.1 | 4.41 | 89.3 | -2.932 | 889.75 | 29.531 | 7.5974
2019-02-19 13:45:00 | 4.911 | 98.533 | 4.919 | 90.748 | 4.536 | 97.1 | 4.896 | 90.7 | -3.121 | 889.633 | 29.269 | 9.0818
2019-02-19 14:00:00 | 5.664 | 79.818 | 5.659 | 74.372 | 5.568 | 80.367 | 5.62 | 79.767 | -2.43 | 889.633 | 28.549 | 9.5948
2019-02-19 14:15:00 | 4.947 | 77.588 | 4.771 | 71.6 | 4.798 | 77.067 | 5.116 | 74.633 | -2.23 | 889.45 | 28.293 | 13.3594
2019-02-19 14:30:00 | 5.513 | 80.188 | 5.517 | 72.944 | 5.51 | 78.567 | 5.843 | 75.9 | -2.214 | 889.667 | 27.776 | 13.9129
2019-02-19 14:45:00 | 5.177 | 74.535 | 5.401 | 68.741 | 5.632 | 73.167 | 5.984 | 69.667 | -2.23 | 889.9 | 27.456 | 13.1142
2019-02-19 15:00:00 | 5.727 | 84.888 | 5.836 | 77.164 | 6.066 | 80.667 | 6.309 | 76.6 | -2.296 | 889.667 | 27.557 | 16.4539
2019-02-19 15:15:00 | 5.485 | 77.23 | 5.485 | 72.439 | 5.633 | 78 | 6.125 | 74.067 | -2.245 | 889.9 | 27.92 | 17.4522
2019-02-19 15:30:00 | 5.047 | 69.948 | 5.113 | 65.868 | 5.264 | 71.4 | 5.733 | 68.367 | -2.622 | 889.767 | 28.128 | 14.4259
2019-02-19 15:45:00 | 4.428 | 78.772 | 4.431 | 71.118 | 4.479 | 74.433 | 4.672 | 69.467 | -2.781 | 889.85 | 27.787 | 11.4998
2019-02-19 16:00:00 | 4.719 | 74.628 | 4.721 | 66.956 | 4.876 | 73.1 | 5.155 | 71.5 | -2.593 | 889.75 | 27.525 | 11.1694
2019-02-19 16:15:00 | 4.509 | 80.363 | 4.724 | 76.129 | 4.753 | 81.633 | 4.865 | 77.433 | -2.274 | 889.717 | 27.488 | 14.4906
2019-02-19 16:30:00 | 4.944 | 75.54 | 5.03 | 70.02 | 5.035 | 77.4 | 4.978 | 74.733 | -2.287 | 889.633 | 27.12 | 12.5657
2019-02-19 16:45:00 | 4.547 | 71.15 | 4.418 | 64.586 | 4.509 | 70.833 | 4.887 | 67.8 | -2.576 | 889.433 | 26.853 | 8.8544
2019-02-19 17:00:00 | 4.724 | 64.945 | 4.572 | 64.511 | 4.572 | 75.167 | 4.688 | 73.6 | -2.508 | 889.55 | 26.581 | 7.7807
2019-02-19 17:15:00 | 3.784 | 74.267 | 3.671 | 67.124 | 3.75 | 70.033 | 3.963 | 67.633 | -2.482 | 889.767 | 26.549 | 5.9794
2019-02-19 17:30:00 | 3.737 | 64.79 | 3.549 | 57.968 | 3.473 | 63.267 | 3.632 | 61.167 | -2.642 | 889.6 | 26.16 | 3.3382
2019-02-19 17:45:00 | 2.918 | 60.376 | 2.851 | 59.093 | 3.062 | 63.133 | 3.339 | 60.733 | -2.618 | 889.733 | 26.464 | 2.2198
2019-02-19 18:00:00 | 2.623 | 58.153 | 2.397 | 49.562 | 2.536 | 52.9 | 2.571 | 50.767 | -2.49 | 889.733 | 26.56 | 2.4522
2019-02-19 18:15:00 | 3.316 | 63.063 | 3.115 | 60.64 | 3.1 | 64.167 | 3.211 | 59.533 | -2.659 | 889.617 | 26.912 | 2.0763
2019-02-19 18:30:00 | 2.816 | 77.687 | 2.872 | 72.527 | 2.832 | 79.733 | 3.09 | 71.467 | -2.91 | 890.067 | 27.579 | 2.2049
2019-02-19 18:45:00 | 2.816 | 67.368 | 2.727 | 60.24 | 2.741 | 65.433 | 2.752 | 61.667 | -3.006 | 889.517 | 28.347 | 1.5576
2019-02-19 19:00:00 | 3.042 | 62.067 | 2.963 | 56.641 | 2.942 | 61.2 | 3.182 | 59.3 | -3.304 | 889.65 | 29.184 | 1.5704
2019-02-19 19:15:00 | 2.355 | 65.933 | 2.617 | 60.019 | 2.598 | 64.333 | 2.821 | 57.767 | -3.874 | 889.767 | 29.947 | 1.0865
2019-02-19 19:30:00 | 1.851 | 57.285 | 2.205 | 56.877 | 2.293 | 61.4 | 2.37 | 56.6 | -4.159 | 889.967 | 30.773 | 0.38228
2019-02-19 19:45:00 | 1.738 | 62.64 | 2.25 | 59.115 | 2.518 | 66.133 | 2.663 | 59.5 | -4.424 | 890.117 | 31.488 | 0.14638
2019-02-19 20:00:00 | 0.903 | 72.07 | 1.154 | 91.242 | 1.35 | 85.067 | 2.069 | 68.867 | -4.524 | 889.917 | 31.808 | 0.31976
2019-02-19 20:15:00 | 0.516 | 72.1 | 1.464 | 69.828 | 1.829 | 69.367 | 2.217 | 69 | -4.935 | 889.867 | 32.336 | 0.31976
2019-02-19 20:30:00 | 0 | 72.1 | 1.606 | 68.482 | 1.975 | 71.033 | 2.217 | 68.9 | -5.085 | 889.967 | 33.403 | 0.30412
2019-02-19 20:45:00 | 0 | 72.1 | 0.477 | 66.258 | 0.897 | 71.9 | 1.596 | 69.8 | -5.485 | 890 | 34.368 | 0.29418
2019-02-19 21:00:00 | 0.723 | 87.1 | 1.464 | 82.826 | 1.622 | 91.9 | 1.825 | 70.9 | -5.602 | 889.933 | 34.171 | 0.29133
2019-02-19 21:15:00 | 1.643 | 157.5 | 1.358 | 107.284 | 1.418 | 111.167 | 1.788 | 71 | -5.035 | 890.033 | 33.477 | 0.2956
2019-02-19 21:30:00 | 1.765 | 171.933 | 1.173 | 111.495 | 1.179 | 114.3 | 1.682 | 71 | -5.435 | 890.133 | 33.536 | 0.29986
2019-02-19 21:45:00 | 0.239 | 178.2 | 0 | 123.299 | 0.2 | 118 | 1.238 | 71 | -5.369 | 889.517 | 33.648 | 0.30981
2019-02-19 22:00:00 | 1.621 | 179.367 | 0.087 | 110.24 | 1.166 | 105.867 | 1.364 | 71 | -5.502 | 889.817 | 33.632 | 0.30554
2019-02-19 22:15:00 | 2.005 | 189.367 | 1.037 | 131.896 | 0.033 | 106 | 0.951 | 70.933 | -6.096 | 890.25 | 33.733 | 0.29844
2019-02-19 22:30:00 | 2.624 | 193.987 | 1.823 | 160.814 | 0.537 | 138 | 1.238 | 71 | -5.859 | 889.433 | 33.451 | 0.29418
2019-02-19 22:45:00 | 2.332 | 195.28 | 0.745 | 165.092 | 0.217 | 138 | 1.488 | 71 | -5.607 | 889.683 | 33.749 | 0.29844
2019-02-19 23:00:00 | 2.523 | 196.827 | 1.107 | 164.945 | 0.233 | 138 | 1.675 | 71 | -6.076 | 890.033 | 34.123 | 0.30128
2019-02-19 23:15:00 | 3.074 | 212.4 | 1.455 | 165.732 | 0.33 | 138 | 1.407 | 71 | -6.412 | 889.75 | 35.28 | 0.30554
2019-02-19 23:30:00 | 3.442 | 208.387 | 1.953 | 172.714 | 1.189 | 140.433 | 1.96 | 107.1 | -6.239 | 889.467 | 36.085 | 0.3027
2019-02-19 23:45:00 | 2.945 | 208.7 | 1.255 | 168.229 | 0.483 | 154.067 | 1.47 | 106.933 | -6.645 | 889.5 | 36.512 | 0.30696